## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7854 | 0.96189 | 0.87787 | 1.7824 | 0.96506 | 0.88043 | 20.6163 | 11.1069 | 10.1368 | 20.5819 | 11.1435 | 10.1663 | 1.6646 | -9.5088 | 14.9627 | 8.7194e-11 | 10.0233 | -14.6022 | 1.8789 | 11.6401 | 2.8315 | -6.901e-11 | -11.1269 | -2.4137 | -72.6823 | 93.0642 | 123.1958 | 107.3543 | -86.9578 | -56.9287 |  | 0.12176 | 1.3532 | 1.5023 | 0 | 1.3439 | 1.4558 | -24.2223 | -137.6903 | 133.9118 | 0 | -134.9449 | 132.4571
Line_1 | 1.1526 | 0.48537 | 0.44273 | 1.1498 | 0.48253 | 0.44021 | 13.309 | 5.6046 | 5.1122 | 13.2767 | 5.5718 | 5.0832 | 3.1738 | 6.1198 | -6.2434 | 5.7847e-11 | -5.0116 | 7.3011 | 1.5135 | -4.9376 | -1.1427 | -4.2415e-11 | 5.5635 | 1.2068 | -74.7804 | -86.9453 | -57.1009 | 105.2444 | 93.0422 | 123.0713 |  | 0.26419 | 1.403 | 1.2416 | 0 | 1.3439 | 1.4558 | -49.285 | -125.8427 | 133.2713 | 0 | -134.9449 | 132.4571
Line_2 | 1.1526 | 0.48537 | 0.44273 | 1.1498 | 0.48253 | 0.44021 | 13.309 | 5.6046 | 5.1122 | 13.2767 | 5.5718 | 5.0832 | 3.1738 | 6.1198 | -6.2434 | 5.7847e-11 | -5.0116 | 7.3011 | 1.5135 | -4.9376 | -1.1427 | -4.2415e-11 | 5.5635 | 1.2068 | -74.7804 | -86.9453 | -57.1009 | 105.2444 | 93.0422 | 123.0713 |  | 0.26419 | 1.403 | 1.2416 | 0 | 1.3439 | 1.4558 | -49.285 | -125.8427 | 133.2713 | 0 | -134.9449 | 132.4571

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7854 | 0.96189 | 0.87787 | 1.7824 | 0.96506 | 0.88043 | 20.6163 | 11.1069 | 10.1368 | 20.5819 | 11.1435 | 10.1663 | 1.6646 | -9.5088 | 14.9627 | 8.7194e-11 | 10.0233 | -14.6022 | 1.8789 | 11.6401 | 2.8315 | -6.901e-11 | -11.1269 | -2.4137 | -72.6823 | 93.0642 | 123.1958 | 107.3543 | -86.9578 | -56.9287 |  | 0.12176 | 1.3532 | 1.5023 | 0 | 1.3439 | 1.4558 | -24.2223 | -137.6903 | 133.9118 | 0 | -134.9449 | 132.4571
Line_1 | 1.1526 | 0.48537 | 0.44273 | 1.1498 | 0.48253 | 0.44021 | 13.309 | 5.6046 | 5.1122 | 13.2767 | 5.5718 | 5.0832 | 3.1738 | 6.1198 | -6.2434 | 5.7847e-11 | -5.0116 | 7.3011 | 1.5135 | -4.9376 | -1.1427 | -4.2415e-11 | 5.5635 | 1.2068 | -74.7804 | -86.9453 | -57.1009 | 105.2444 | 93.0422 | 123.0713 |  | 0.26419 | 1.403 | 1.2416 | 0 | 1.3439 | 1.4558 | -49.285 | -125.8427 | 133.2713 | 0 | -134.9449 | 132.4571
Line_2 | 1.1526 | 0.48537 | 0.44273 | 1.1498 | 0.48253 | 0.44021 | 13.309 | 5.6046 | 5.1122 | 13.2767 | 5.5718 | 5.0832 | 3.1738 | 6.1198 | -6.2434 | 5.7847e-11 | -5.0116 | 7.3011 | 1.5135 | -4.9376 | -1.1427 | -4.2415e-11 | 5.5635 | 1.2068 | -74.7804 | -86.9453 | -57.1009 | 105.2444 | 93.0422 | 123.0713 |  | 0.26419 | 1.403 | 1.2416 | 0 | 1.3439 | 1.4558 | -49.285 | -125.8427 | 133.2713 | 0 | -134.9449 | 132.4571

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45159 | 0.21458 | 0.37946 | 0.45072 | 0.21553 | 0.37995 | 5.2145 | 2.4777 | 4.3816 | 5.2044 | 2.4887 | 4.3873 | 3.7242 | -2.7457 | 4.0265 | -3.6134 | 2.7789 | -3.9657 | 2.3556 | 1.3898 | -3.4728 | -2.2266 | -1.3743 | 3.5532 | -40.7684 | 81.9939 | 167.9126 | 139.3039 | -97.8926 | -12.2258 |  | 0.84507 | 1.242 | 1.2135 | 0.81553 | 1.2457 | 1.2136 | -8.4549 | -124.853 | 127.136 | -9.0543 | -124.2067 | 125.9145
Line_1 | 0.45057 | 0.10855 | 0.19054 | 0.44964 | 0.10776 | 0.18998 | 5.2027 | 1.2534 | 2.2002 | 5.192 | 1.2444 | 2.1937 | 3.0436 | 1.4434 | -1.8515 | -2.6273 | -1.3895 | 1.9829 | 3.5718 | -0.62348 | 1.734 | -3.3207 | 0.68714 | -1.7766 | -60.7126 | -97.627 | -12.4481 | 119.2963 | 82.1074 | 167.7742 |  | 0.90197 | 1.2544 | 1.1529 | 0.81553 | 1.2457 | 1.2136 | -11.1474 | -120.9891 | 124.4288 | -9.0543 | -124.2067 | 125.9145
Line_2 | 0.45057 | 0.10855 | 0.19054 | 0.44964 | 0.10776 | 0.18998 | 5.2027 | 1.2534 | 2.2002 | 5.192 | 1.2444 | 2.1937 | 3.0436 | 1.4434 | -1.8515 | -2.6273 | -1.3895 | 1.9829 | 3.5718 | -0.62348 | 1.734 | -3.3207 | 0.68714 | -1.7766 | -60.7126 | -97.627 | -12.4481 | 119.2963 | 82.1074 | 167.7742 |  | 0.90197 | 1.2544 | 1.1529 | 0.81553 | 1.2457 | 1.2136 | -11.1474 | -120.9891 | 124.4288 | -9.0543 | -124.2067 | 125.9145

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45159 | 0.21458 | 0.37946 | 0.45072 | 0.21553 | 0.37995 | 5.2145 | 2.4777 | 4.3816 | 5.2044 | 2.4887 | 4.3873 | 3.7242 | -2.7457 | 4.0265 | -3.6134 | 2.7789 | -3.9657 | 2.3556 | 1.3898 | -3.4728 | -2.2266 | -1.3743 | 3.5532 | -40.7684 | 81.9939 | 167.9126 | 139.3039 | -97.8926 | -12.2258 |  | 0.84507 | 1.242 | 1.2135 | 0.81553 | 1.2457 | 1.2136 | -8.4549 | -124.853 | 127.136 | -9.0543 | -124.2067 | 125.9145
Line_1 | 0.45057 | 0.10855 | 0.19054 | 0.44964 | 0.10776 | 0.18998 | 5.2027 | 1.2534 | 2.2002 | 5.192 | 1.2444 | 2.1937 | 3.0436 | 1.4434 | -1.8515 | -2.6273 | -1.3895 | 1.9829 | 3.5718 | -0.62348 | 1.734 | -3.3207 | 0.68714 | -1.7766 | -60.7126 | -97.627 | -12.4481 | 119.2963 | 82.1074 | 167.7742 |  | 0.90197 | 1.2544 | 1.1529 | 0.81553 | 1.2457 | 1.2136 | -11.1474 | -120.9891 | 124.4288 | -9.0543 | -124.2067 | 125.9145
Line_2 | 0.45057 | 0.10855 | 0.19054 | 0.44964 | 0.10776 | 0.18998 | 5.2027 | 1.2534 | 2.2002 | 5.192 | 1.2444 | 2.1937 | 3.0436 | 1.4434 | -1.8515 | -2.6273 | -1.3895 | 1.9829 | 3.5718 | -0.62348 | 1.734 | -3.3207 | 0.68714 | -1.7766 | -60.7126 | -97.627 | -12.4481 | 119.2963 | 82.1074 | 167.7742 |  | 0.90197 | 1.2544 | 1.1529 | 0.81553 | 1.2457 | 1.2136 | -11.1474 | -120.9891 | 124.4288 | -9.0543 | -124.2067 | 125.9145

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.591 | 0.84667 | 0.73885 | 1.5888 | 0.84892 | 0.74097 | 18.371 | 9.7765 | 8.5315 | 18.3457 | 9.8025 | 8.5559 | 2.536 | -1.6647 | 11.6903 | -4.3297e-11 | 2.4037 | -11.1774 | 1.4869 | 11.111 | 1.8282 | 1.6095e-12 | -10.7083 | -1.5357 | -58.9727 | 119.3321 | 123.3787 | 121.0919 | -60.7845 | -56.7668 |  | 0.16002 | 1.1492 | 1.3869 | 0 | 1.1196 | 1.3187 | -28.5884 | -142.147 | 132.2669 | 0 | -138.133 | 131.056
Line_1 | 0.88038 | 0.42654 | 0.3725 | 0.87825 | 0.42446 | 0.37048 | 10.1657 | 4.9253 | 4.3013 | 10.1412 | 4.9012 | 4.278 | 3.7501 | 2.8535 | -4.2007 | -2.3926e-11 | -1.2018 | 5.5887 | 1.004 | -5.0758 | -0.62383 | -1.0813e-12 | 5.3541 | 0.76783 | -63.6746 | -60.9019 | -56.9233 | 116.3755 | 119.2155 | 123.2332 |  | 0.38189 | 1.1822 | 0.98733 | 0 | 1.1196 | 1.3187 | -48.6869 | -121.5578 | 131.5236 | 0 | -138.133 | 131.056
Line_2 | 0.88038 | 0.42654 | 0.3725 | 0.87825 | 0.42446 | 0.37048 | 10.1657 | 4.9253 | 4.3013 | 10.1412 | 4.9012 | 4.278 | 3.7501 | 2.8535 | -4.2007 | -2.3926e-11 | -1.2018 | 5.5887 | 1.004 | -5.0758 | -0.62383 | -1.0813e-12 | 5.3541 | 0.76783 | -63.6746 | -60.9019 | -56.9233 | 116.3755 | 119.2155 | 123.2332 |  | 0.38189 | 1.1822 | 0.98733 | 0 | 1.1196 | 1.3187 | -48.6869 | -121.5578 | 131.5236 | 0 | -138.133 | 131.056

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.591 | 0.84667 | 0.73885 | 1.5888 | 0.84892 | 0.74097 | 18.371 | 9.7765 | 8.5315 | 18.3457 | 9.8025 | 8.5559 | 2.536 | -1.6647 | 11.6903 | -4.3297e-11 | 2.4037 | -11.1774 | 1.4869 | 11.111 | 1.8282 | 1.6095e-12 | -10.7083 | -1.5357 | -58.9727 | 119.3321 | 123.3787 | 121.0919 | -60.7845 | -56.7668 |  | 0.16002 | 1.1492 | 1.3869 | 0 | 1.1196 | 1.3187 | -28.5884 | -142.147 | 132.2669 | 0 | -138.133 | 131.056
Line_1 | 0.88038 | 0.42654 | 0.3725 | 0.87825 | 0.42446 | 0.37048 | 10.1657 | 4.9253 | 4.3013 | 10.1412 | 4.9012 | 4.278 | 3.7501 | 2.8535 | -4.2007 | -2.3926e-11 | -1.2018 | 5.5887 | 1.004 | -5.0758 | -0.62383 | -1.0813e-12 | 5.3541 | 0.76783 | -63.6746 | -60.9019 | -56.9233 | 116.3755 | 119.2155 | 123.2332 |  | 0.38189 | 1.1822 | 0.98733 | 0 | 1.1196 | 1.3187 | -48.6869 | -121.5578 | 131.5236 | 0 | -138.133 | 131.056
Line_2 | 0.88038 | 0.42654 | 0.3725 | 0.87825 | 0.42446 | 0.37048 | 10.1657 | 4.9253 | 4.3013 | 10.1412 | 4.9012 | 4.278 | 3.7501 | 2.8535 | -4.2007 | -2.3926e-11 | -1.2018 | 5.5887 | 1.004 | -5.0758 | -0.62383 | -1.0813e-12 | 5.3541 | 0.76783 | -63.6746 | -60.9019 | -56.9233 | 116.3755 | 119.2155 | 123.2332 |  | 0.38189 | 1.1822 | 0.98733 | 0 | 1.1196 | 1.3187 | -48.6869 | -121.5578 | 131.5236 | 0 | -138.133 | 131.056

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52691 | 0.28041 | 0.2447 | 0.52619 | 0.28115 | 0.2454 | 6.0843 | 3.2379 | 2.8255 | 6.0759 | 3.2465 | 2.8336 | 3.3147 | -0.72411 | 3.0848 | -3.0355 | 0.81095 | -3.0354 | 2.9542 | 3.3458 | -0.44713 | -2.7838 | -3.3061 | 0.47649 | -47.9487 | 130.3562 | 134.4028 | 132.116 | -49.7604 | -45.7428 |  | 0.72977 | 1.0573 | 1.1032 | 0.67789 | 1.0486 | 1.0843 | -6.2402 | -127.4319 | 126.1554 | -5.3606 | -125.9787 | 125.3359
Line_1 | 0.29157 | 0.14127 | 0.12337 | 0.29087 | 0.14058 | 0.1227 | 3.3668 | 1.6312 | 1.4245 | 3.3586 | 1.6232 | 1.4168 | 1.9594 | 0.59018 | -1.3713 | -1.5458 | -0.40547 | 1.5177 | 1.7871 | -1.6272 | 0.25331 | -1.6716 | 1.6531 | -0.23824 | -52.6506 | -49.8778 | -45.8993 | 127.3995 | 130.2396 | 134.2572 |  | 0.7877 | 1.0611 | 0.97889 | 0.67789 | 1.0486 | 1.0843 | -10.2828 | -119.9424 | 123.6347 | -5.3606 | -125.9787 | 125.3359
Line_2 | 0.29157 | 0.14127 | 0.12337 | 0.29087 | 0.14058 | 0.1227 | 3.3668 | 1.6312 | 1.4245 | 3.3586 | 1.6232 | 1.4168 | 1.9594 | 0.59018 | -1.3713 | -1.5458 | -0.40547 | 1.5177 | 1.7871 | -1.6272 | 0.25331 | -1.6716 | 1.6531 | -0.23824 | -52.6506 | -49.8778 | -45.8993 | 127.3995 | 130.2396 | 134.2572 |  | 0.7877 | 1.0611 | 0.97889 | 0.67789 | 1.0486 | 1.0843 | -10.2828 | -119.9424 | 123.6347 | -5.3606 | -125.9787 | 125.3359

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52691 | 0.28041 | 0.2447 | 0.52619 | 0.28115 | 0.2454 | 6.0843 | 3.2379 | 2.8255 | 6.0759 | 3.2465 | 2.8336 | 3.3147 | -0.72411 | 3.0848 | -3.0355 | 0.81095 | -3.0354 | 2.9542 | 3.3458 | -0.44713 | -2.7838 | -3.3061 | 0.47649 | -47.9487 | 130.3562 | 134.4028 | 132.116 | -49.7604 | -45.7428 |  | 0.72977 | 1.0573 | 1.1032 | 0.67789 | 1.0486 | 1.0843 | -6.2402 | -127.4319 | 126.1554 | -5.3606 | -125.9787 | 125.3359
Line_1 | 0.29157 | 0.14127 | 0.12337 | 0.29087 | 0.14058 | 0.1227 | 3.3668 | 1.6312 | 1.4245 | 3.3586 | 1.6232 | 1.4168 | 1.9594 | 0.59018 | -1.3713 | -1.5458 | -0.40547 | 1.5177 | 1.7871 | -1.6272 | 0.25331 | -1.6716 | 1.6531 | -0.23824 | -52.6506 | -49.8778 | -45.8993 | 127.3995 | 130.2396 | 134.2572 |  | 0.7877 | 1.0611 | 0.97889 | 0.67789 | 1.0486 | 1.0843 | -10.2828 | -119.9424 | 123.6347 | -5.3606 | -125.9787 | 125.3359
Line_2 | 0.29157 | 0.14127 | 0.12337 | 0.29087 | 0.14058 | 0.1227 | 3.3668 | 1.6312 | 1.4245 | 3.3586 | 1.6232 | 1.4168 | 1.9594 | 0.59018 | -1.3713 | -1.5458 | -0.40547 | 1.5177 | 1.7871 | -1.6272 | 0.25331 | -1.6716 | 1.6531 | -0.23824 | -52.6506 | -49.8778 | -45.8993 | 127.3995 | 130.2396 | 134.2572 |  | 0.7877 | 1.0611 | 0.97889 | 0.67789 | 1.0486 | 1.0843 | -10.2828 | -119.9424 | 123.6347 | -5.3606 | -125.9787 | 125.3359

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44729 | 3.6933 | 3.7388 | 0.44972 | 3.6936 | 3.7382 | 5.1649 | 42.6464 | 43.1718 | 5.1929 | 42.6503 | 43.1645 | 0.88557 | 7.0925 | 7.2707 | -0.78293 | 8.5795e-11 | 1.1398e-10 | 7.71 | 8.0364 | 8.2588 | -7.6336 | -7.8234e-11 | 1.9731e-11 | -83.4455 | -171.2891 | 15.6866 | 96.5228 | 8.7483 | -164.3494 |  | 1.5026 | 0.25134 | 0.25487 | 1.4777 | 0 | 0 | 0.002274 | -122.7193 | 64.3273 | 0.66673 | 0 | 0
Line_1 | 0.22703 | 1.1282 | 0.92874 | 0.22486 | 1.127 | 0.92715 | 2.6215 | 13.0269 | 10.7242 | 2.5964 | 13.013 | 10.7058 | -0.031203 | 2.3387 | 1.0159 | 0.39147 | 3.4944e-11 | 2.4535e-11 | -3.6323 | -0.21162 | 1.9961 | 3.8168 | -5.8247e-12 | -1.4872e-11 | 96.551 | 155.7593 | 56.7845 | -83.4772 | -24.1489 | -123.3065 |  | 1.3856 | 0.18026 | 0.20885 | 1.4777 | 0 | 0 | 6.0588 | 150.5889 | 119.811 | 0.66673 | 0 | 0
Line_2 | 0.22703 | 1.1282 | 0.92874 | 0.22486 | 1.127 | 0.92715 | 2.6215 | 13.0269 | 10.7242 | 2.5964 | 13.013 | 10.7058 | -0.031203 | 2.3387 | 1.0159 | 0.39147 | 3.4944e-11 | 2.4535e-11 | -3.6323 | -0.21162 | 1.9961 | 3.8168 | -5.8247e-12 | -1.4872e-11 | 96.551 | 155.7593 | 56.7845 | -83.4772 | -24.1489 | -123.3065 |  | 1.3856 | 0.18026 | 0.20885 | 1.4777 | 0 | 0 | 6.0588 | 150.5889 | 119.811 | 0.66673 | 0 | 0

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44729 | 3.6933 | 3.7388 | 0.44972 | 3.6936 | 3.7382 | 5.1649 | 42.6464 | 43.1718 | 5.1929 | 42.6503 | 43.1645 | 0.88557 | 7.0925 | 7.2707 | -0.78293 | 8.5795e-11 | 1.1398e-10 | 7.71 | 8.0364 | 8.2588 | -7.6336 | -7.8234e-11 | 1.9731e-11 | -83.4455 | -171.2891 | 15.6866 | 96.5228 | 8.7483 | -164.3494 |  | 1.5026 | 0.25134 | 0.25487 | 1.4777 | 0 | 0 | 0.002274 | -122.7193 | 64.3273 | 0.66673 | 0 | 0
Line_1 | 0.22703 | 1.1282 | 0.92874 | 0.22486 | 1.127 | 0.92715 | 2.6215 | 13.0269 | 10.7242 | 2.5964 | 13.013 | 10.7058 | -0.031203 | 2.3387 | 1.0159 | 0.39147 | 3.4944e-11 | 2.4535e-11 | -3.6323 | -0.21162 | 1.9961 | 3.8168 | -5.8247e-12 | -1.4872e-11 | 96.551 | 155.7593 | 56.7845 | -83.4772 | -24.1489 | -123.3065 |  | 1.3856 | 0.18026 | 0.20885 | 1.4777 | 0 | 0 | 6.0588 | 150.5889 | 119.811 | 0.66673 | 0 | 0
Line_2 | 0.22703 | 1.1282 | 0.92874 | 0.22486 | 1.127 | 0.92715 | 2.6215 | 13.0269 | 10.7242 | 2.5964 | 13.013 | 10.7058 | -0.031203 | 2.3387 | 1.0159 | 0.39147 | 3.4944e-11 | 2.4535e-11 | -3.6323 | -0.21162 | 1.9961 | 3.8168 | -5.8247e-12 | -1.4872e-11 | 96.551 | 155.7593 | 56.7845 | -83.4772 | -24.1489 | -123.3065 |  | 1.3856 | 0.18026 | 0.20885 | 1.4777 | 0 | 0 | 6.0588 | 150.5889 | 119.811 | 0.66673 | 0 | 0

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082234 | 0.79643 | 0.74886 | 0.082637 | 0.79684 | 0.74838 | 0.94956 | 9.1963 | 8.6471 | 0.95421 | 9.2011 | 8.6415 | 1.193 | 7.9611 | 4.0799 | -1.1929 | -7.6378 | -3.7783 | 0.23163 | 2.4899 | 6.9703 | -0.24098 | -2.1095 | -6.6384 | -9.4101 | -138.3872 | 46.7011 | 169.9992 | 41.6737 | -133.3606 |  | 1.2798 | 0.90703 | 0.93402 | 1.2754 | 0.86118 | 0.88391 | 1.5779 | -121.0197 | 106.3594 | 1.42 | -122.8863 | 106.9925
Line_1 | 0.041798 | 0.40772 | 0.3749 | 0.041318 | 0.40717 | 0.37423 | 0.48264 | 4.708 | 4.3289 | 0.4771 | 4.7016 | 4.3212 | -0.576 | 1.4567 | 3.5119 | 0.59645 | -1.1253 | -3.3195 | -0.14386 | 3.8922 | 2.1931 | 0.12049 | -3.8894 | -1.8895 | 169.0526 | 163.1612 | 77.4211 | -10.0008 | -16.7503 | -102.6561 |  | 1.2301 | 0.88274 | 0.95644 | 1.2754 | 0.86118 | 0.88391 | 3.0757 | -127.3577 | 109.405 | 1.42 | -122.8863 | 106.9925
Line_2 | 0.041798 | 0.40772 | 0.3749 | 0.041318 | 0.40717 | 0.37423 | 0.48264 | 4.708 | 4.3289 | 0.4771 | 4.7016 | 4.3212 | -0.576 | 1.4567 | 3.5119 | 0.59645 | -1.1253 | -3.3195 | -0.14386 | 3.8922 | 2.1931 | 0.12049 | -3.8894 | -1.8895 | 169.0526 | 163.1612 | 77.4211 | -10.0008 | -16.7503 | -102.6561 |  | 1.2301 | 0.88274 | 0.95644 | 1.2754 | 0.86118 | 0.88391 | 3.0757 | -127.3577 | 109.405 | 1.42 | -122.8863 | 106.9925

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082234 | 0.79643 | 0.74886 | 0.082637 | 0.79684 | 0.74838 | 0.94956 | 9.1963 | 8.6471 | 0.95421 | 9.2011 | 8.6415 | 1.193 | 7.9611 | 4.0799 | -1.1929 | -7.6378 | -3.7783 | 0.23163 | 2.4899 | 6.9703 | -0.24098 | -2.1095 | -6.6384 | -9.4101 | -138.3872 | 46.7011 | 169.9992 | 41.6737 | -133.3606 |  | 1.2798 | 0.90703 | 0.93402 | 1.2754 | 0.86118 | 0.88391 | 1.5779 | -121.0197 | 106.3594 | 1.42 | -122.8863 | 106.9925
Line_1 | 0.041798 | 0.40772 | 0.3749 | 0.041318 | 0.40717 | 0.37423 | 0.48264 | 4.708 | 4.3289 | 0.4771 | 4.7016 | 4.3212 | -0.576 | 1.4567 | 3.5119 | 0.59645 | -1.1253 | -3.3195 | -0.14386 | 3.8922 | 2.1931 | 0.12049 | -3.8894 | -1.8895 | 169.0526 | 163.1612 | 77.4211 | -10.0008 | -16.7503 | -102.6561 |  | 1.2301 | 0.88274 | 0.95644 | 1.2754 | 0.86118 | 0.88391 | 3.0757 | -127.3577 | 109.405 | 1.42 | -122.8863 | 106.9925
Line_2 | 0.041798 | 0.40772 | 0.3749 | 0.041318 | 0.40717 | 0.37423 | 0.48264 | 4.708 | 4.3289 | 0.4771 | 4.7016 | 4.3212 | -0.576 | 1.4567 | 3.5119 | 0.59645 | -1.1253 | -3.3195 | -0.14386 | 3.8922 | 2.1931 | 0.12049 | -3.8894 | -1.8895 | 169.0526 | 163.1612 | 77.4211 | -10.0008 | -16.7503 | -102.6561 |  | 1.2301 | 0.88274 | 0.95644 | 1.2754 | 0.86118 | 0.88391 | 3.0757 | -127.3577 | 109.405 | 1.42 | -122.8863 | 106.9925

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49667 | 3.1507 | 3.1075 | 0.49859 | 3.1513 | 3.1066 | 5.7351 | 36.3813 | 35.8824 | 5.7572 | 36.3883 | 35.8717 | 3.5446 | 9.9073 | 9.6473 | -3.3007 | -1.0777e-10 | -7.7388e-12 | 6.7891 | 5.841 | 5.7123 | -6.6744 | -7.9314e-11 | -1.3299e-10 | -64.4046 | -164.2273 | 24.9461 | 115.4865 | 15.8099 | -155.0893 |  | 1.3354 | 0.31612 | 0.31246 | 1.2933 | 0 | 0 | -1.9738 | -133.705 | 55.5762 | -0.82748 | 0 | 0
Line_1 | 0.25096 | 0.96786 | 0.61978 | 0.24929 | 0.96703 | 0.61854 | 2.8978 | 11.1758 | 7.1567 | 2.8786 | 11.1663 | 7.1423 | -0.97899 | 3.09 | 0.84932 | 1.6504 | -1.5888e-11 | -1.6826e-11 | -3.1156 | -0.72454 | 1.7615 | 3.3372 | -3.7864e-11 | -2.0504e-11 | 115.4085 | 164.8357 | 61.0601 | -64.5135 | -15.0762 | -119.0471 |  | 1.127 | 0.28399 | 0.27326 | 1.2933 | 0 | 0 | 7.9648 | 151.6394 | 125.3192 | -0.82748 | 0 | 0
Line_2 | 0.25096 | 0.96786 | 0.61978 | 0.24929 | 0.96703 | 0.61854 | 2.8978 | 11.1758 | 7.1567 | 2.8786 | 11.1663 | 7.1423 | -0.97899 | 3.09 | 0.84932 | 1.6504 | -1.5888e-11 | -1.6826e-11 | -3.1156 | -0.72454 | 1.7615 | 3.3372 | -3.7864e-11 | -2.0504e-11 | 115.4085 | 164.8357 | 61.0601 | -64.5135 | -15.0762 | -119.0471 |  | 1.127 | 0.28399 | 0.27326 | 1.2933 | 0 | 0 | 7.9648 | 151.6394 | 125.3192 | -0.82748 | 0 | 0

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49667 | 3.1507 | 3.1075 | 0.49859 | 3.1513 | 3.1066 | 5.7351 | 36.3813 | 35.8824 | 5.7572 | 36.3883 | 35.8717 | 3.5446 | 9.9073 | 9.6473 | -3.3007 | -1.0777e-10 | -7.7388e-12 | 6.7891 | 5.841 | 5.7123 | -6.6744 | -7.9314e-11 | -1.3299e-10 | -64.4046 | -164.2273 | 24.9461 | 115.4865 | 15.8099 | -155.0893 |  | 1.3354 | 0.31612 | 0.31246 | 1.2933 | 0 | 0 | -1.9738 | -133.705 | 55.5762 | -0.82748 | 0 | 0
Line_1 | 0.25096 | 0.96786 | 0.61978 | 0.24929 | 0.96703 | 0.61854 | 2.8978 | 11.1758 | 7.1567 | 2.8786 | 11.1663 | 7.1423 | -0.97899 | 3.09 | 0.84932 | 1.6504 | -1.5888e-11 | -1.6826e-11 | -3.1156 | -0.72454 | 1.7615 | 3.3372 | -3.7864e-11 | -2.0504e-11 | 115.4085 | 164.8357 | 61.0601 | -64.5135 | -15.0762 | -119.0471 |  | 1.127 | 0.28399 | 0.27326 | 1.2933 | 0 | 0 | 7.9648 | 151.6394 | 125.3192 | -0.82748 | 0 | 0
Line_2 | 0.25096 | 0.96786 | 0.61978 | 0.24929 | 0.96703 | 0.61854 | 2.8978 | 11.1758 | 7.1567 | 2.8786 | 11.1663 | 7.1423 | -0.97899 | 3.09 | 0.84932 | 1.6504 | -1.5888e-11 | -1.6826e-11 | -3.1156 | -0.72454 | 1.7615 | 3.3372 | -3.7864e-11 | -2.0504e-11 | 115.4085 | 164.8357 | 61.0601 | -64.5135 | -15.0762 | -119.0471 |  | 1.127 | 0.28399 | 0.27326 | 1.2933 | 0 | 0 | 7.9648 | 151.6394 | 125.3192 | -0.82748 | 0 | 0

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21721 | 0.77047 | 0.79372 | 0.21793 | 0.77087 | 0.79314 | 2.5081 | 8.8966 | 9.1651 | 2.5165 | 8.9012 | 9.1584 | 1.6356 | 6.4851 | 3.9341 | -1.5897 | -5.899 | -3.2973 | 2.3146 | 3.3978 | 6.0979 | -2.2973 | -3.0449 | -5.7233 | -55.3196 | -147.635 | 48.3972 | 124.5691 | 32.4199 | -131.6463 |  | 1.13 | 0.82293 | 0.79179 | 1.1102 | 0.7458 | 0.72121 | -0.56572 | -119.9833 | 105.5686 | -0.11369 | -120.2789 | 108.4065
Line_1 | 0.10961 | 0.26899 | 0.23086 | 0.10897 | 0.26865 | 0.23023 | 1.2657 | 3.106 | 2.6657 | 1.2582 | 3.1021 | 2.6584 | -0.67799 | 1.0651 | 2.0308 | 0.79485 | -0.7586 | -1.819 | -1.1211 | 2.0984 | 0.81516 | 1.1486 | -2.1857 | -0.60601 | 124.4756 | 168.7389 | 90.0346 | -55.4309 | -11.1381 | -90.0194 |  | 1.0352 | 0.75764 | 0.82092 | 1.1102 | 0.7458 | 0.72121 | 3.3129 | -128.1733 | 111.9048 | -0.11369 | -120.2789 | 108.4065
Line_2 | 0.10961 | 0.26899 | 0.23086 | 0.10897 | 0.26865 | 0.23023 | 1.2657 | 3.106 | 2.6657 | 1.2582 | 3.1021 | 2.6584 | -0.67799 | 1.0651 | 2.0308 | 0.79485 | -0.7586 | -1.819 | -1.1211 | 2.0984 | 0.81516 | 1.1486 | -2.1857 | -0.60601 | 124.4756 | 168.7389 | 90.0346 | -55.4309 | -11.1381 | -90.0194 |  | 1.0352 | 0.75764 | 0.82092 | 1.1102 | 0.7458 | 0.72121 | 3.3129 | -128.1733 | 111.9048 | -0.11369 | -120.2789 | 108.4065

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21721 | 0.77047 | 0.79372 | 0.21793 | 0.77087 | 0.79314 | 2.5081 | 8.8966 | 9.1651 | 2.5165 | 8.9012 | 9.1584 | 1.6356 | 6.4851 | 3.9341 | -1.5897 | -5.899 | -3.2973 | 2.3146 | 3.3978 | 6.0979 | -2.2973 | -3.0449 | -5.7233 | -55.3196 | -147.635 | 48.3972 | 124.5691 | 32.4199 | -131.6463 |  | 1.13 | 0.82293 | 0.79179 | 1.1102 | 0.7458 | 0.72121 | -0.56572 | -119.9833 | 105.5686 | -0.11369 | -120.2789 | 108.4065
Line_1 | 0.10961 | 0.26899 | 0.23086 | 0.10897 | 0.26865 | 0.23023 | 1.2657 | 3.106 | 2.6657 | 1.2582 | 3.1021 | 2.6584 | -0.67799 | 1.0651 | 2.0308 | 0.79485 | -0.7586 | -1.819 | -1.1211 | 2.0984 | 0.81516 | 1.1486 | -2.1857 | -0.60601 | 124.4756 | 168.7389 | 90.0346 | -55.4309 | -11.1381 | -90.0194 |  | 1.0352 | 0.75764 | 0.82092 | 1.1102 | 0.7458 | 0.72121 | 3.3129 | -128.1733 | 111.9048 | -0.11369 | -120.2789 | 108.4065
Line_2 | 0.10961 | 0.26899 | 0.23086 | 0.10897 | 0.26865 | 0.23023 | 1.2657 | 3.106 | 2.6657 | 1.2582 | 3.1021 | 2.6584 | -0.67799 | 1.0651 | 2.0308 | 0.79485 | -0.7586 | -1.819 | -1.1211 | 2.0984 | 0.81516 | 1.1486 | -2.1857 | -0.60601 | 124.4756 | 168.7389 | 90.0346 | -55.4309 | -11.1381 | -90.0194 |  | 1.0352 | 0.75764 | 0.82092 | 1.1102 | 0.7458 | 0.72121 | 3.3129 | -128.1733 | 111.9048 | -0.11369 | -120.2789 | 108.4065