## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6307 | 0.78929 | 0.68815 | 1.6285 | 0.79135 | 0.69019 | 18.8292 | 9.114 | 7.9461 | 18.8041 | 9.1378 | 7.9697 | 6.2631 | -10.1459 | 9.6517 | -4.476 | 10.3267 | -9.6092 | 5.7322 | 7.0321 | 0.83517 | -4.0335 | -6.8093 | -0.55828 | -72.3936 | 89.2434 | 128.0632 | 107.6059 | -90.7061 | -51.9989 |  | 0.45091 | 1.3545 | 1.2192 | 0.32042 | 1.3537 | 1.2078 | -29.9282 | -125.4826 | 133.0087 | -30.3715 | -124.1066 | 131.3262
Line_1 | 2.5024 | 0.59243 | 0.43364 | 2.5048 | 0.59008 | 0.43113 | 28.8947 | 6.8408 | 5.0073 | 28.9231 | 6.8136 | 4.9782 | 9.7851e-11 | 8.3038 | -5.8037 | 7.1683 | -8.5886 | 5.2547 | -8.8458e-11 | -4.1168 | -3.298 | 5.874 | 3.3629 | 2.9219 | 110.3083 | -102.6368 | -77.7737 | -69.7038 | 77.2762 | 102.2499 |  | 0 | 1.3549 | 1.3331 | 0.32042 | 1.3537 | 1.2078 | 0 | -129.008 | 131.8344 | -30.3715 | -124.1066 | 131.3262
Line_2 | 0.88341 | 0.2489 | 0.35667 | 0.88145 | 0.24694 | 0.35527 | 10.2007 | 2.874 | 4.1184 | 10.1781 | 2.8514 | 4.1023 | 4.3292 | 2.1418 | -3.7896 | -2.6923 | -1.7381 | 4.3544 | 2.9113 | -3.2889 | 2.2605 | -1.8405 | 3.4465 | -2.3636 | -64.7293 | -60.9003 | -20.4015 | 115.2709 | 119.1308 | 159.8197 |  | 0.51144 | 1.3656 | 1.0714 | 0.32042 | 1.3537 | 1.2078 | -30.8091 | -117.8272 | 128.7822 | -30.3715 | -124.1066 | 131.3262

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6307 | 0.78929 | 0.68815 | 1.6285 | 0.79135 | 0.69019 | 18.8292 | 9.114 | 7.9461 | 18.8041 | 9.1378 | 7.9697 | 6.2631 | -10.1459 | 9.6517 | -4.476 | 10.3267 | -9.6092 | 5.7322 | 7.0321 | 0.83517 | -4.0335 | -6.8093 | -0.55828 | -72.3936 | 89.2434 | 128.0632 | 107.6059 | -90.7061 | -51.9989 |  | 0.45091 | 1.3545 | 1.2192 | 0.32042 | 1.3537 | 1.2078 | -29.9282 | -125.4826 | 133.0087 | -30.3715 | -124.1066 | 131.3262
Line_1 | 2.5024 | 0.59243 | 0.43364 | 2.5048 | 0.59008 | 0.43113 | 28.8947 | 6.8408 | 5.0073 | 28.9231 | 6.8136 | 4.9782 | 9.7851e-11 | 8.3038 | -5.8037 | 7.1683 | -8.5886 | 5.2547 | -8.8458e-11 | -4.1168 | -3.298 | 5.874 | 3.3629 | 2.9219 | 110.3083 | -102.6368 | -77.7737 | -69.7038 | 77.2762 | 102.2499 |  | 0 | 1.3549 | 1.3331 | 0.32042 | 1.3537 | 1.2078 | 0 | -129.008 | 131.8344 | -30.3715 | -124.1066 | 131.3262
Line_2 | 0.88341 | 0.2489 | 0.35667 | 0.88145 | 0.24694 | 0.35527 | 10.2007 | 2.874 | 4.1184 | 10.1781 | 2.8514 | 4.1023 | 4.3292 | 2.1418 | -3.7896 | -2.6923 | -1.7381 | 4.3544 | 2.9113 | -3.2889 | 2.2605 | -1.8405 | 3.4465 | -2.3636 | -64.7293 | -60.9003 | -20.4015 | 115.2709 | 119.1308 | 159.8197 |  | 0.51144 | 1.3656 | 1.0714 | 0.32042 | 1.3537 | 1.2078 | -30.8091 | -117.8272 | 128.7822 | -30.3715 | -124.1066 | 131.3262

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43585 | 0.1984 | 0.33942 | 0.43511 | 0.19882 | 0.33993 | 5.0327 | 2.2909 | 3.9192 | 5.0242 | 2.2958 | 3.9252 | 4.05 | -2.7452 | 2.8877 | -3.9069 | 2.7644 | -2.864 | 2.4551 | 0.62982 | -3.3778 | -2.3339 | -0.63341 | 3.4614 | -40.7572 | 72.3817 | 174.6003 | 139.2625 | -107.4391 | -5.4924 |  | 0.94106 | 1.2295 | 1.1339 | 0.90581 | 1.2353 | 1.1446 | -9.5331 | -120.5397 | 125.1275 | -9.8836 | -120.3446 | 124.1118
Line_1 | 0.79807 | 0.18373 | 0.1611 | 0.79891 | 0.18311 | 0.16038 | 9.2153 | 2.1216 | 1.8602 | 9.225 | 2.1144 | 1.8519 | -5.894 | 2.5532 | -1.9554 | 6.6752 | -2.5376 | 1.8582 | -4.4256 | -0.72285 | 1.0224 | 5.0265 | 0.61851 | -1.0198 | 133.1527 | -106.4546 | -27.3077 | -46.8637 | 73.3535 | 152.8698 |  | 0.79982 | 1.2507 | 1.1862 | 0.90581 | 1.2353 | 1.1446 | -9.9456 | -122.2623 | 125.0889 | -9.8836 | -120.3446 | 124.1118
Line_2 | 0.36989 | 0.01616 | 0.20018 | 0.36922 | 0.015933 | 0.19981 | 4.2711 | 0.1866 | 2.3115 | 4.2634 | 0.18398 | 2.3072 | 3.007 | 0.22848 | -0.90071 | -2.7683 | -0.22678 | 1.0058 | 2.8929 | -0.015493 | 2.4131 | -2.6925 | 0.014894 | -2.4417 | -54.0716 | -114.2969 | 11.561 | 125.9117 | 63.4131 | -168.2763 |  | 0.97694 | 1.2273 | 1.1143 | 0.90581 | 1.2353 | 1.1446 | -10.1793 | -118.1761 | 122.0294 | -9.8836 | -120.3446 | 124.1118

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43585 | 0.1984 | 0.33942 | 0.43511 | 0.19882 | 0.33993 | 5.0327 | 2.2909 | 3.9192 | 5.0242 | 2.2958 | 3.9252 | 4.05 | -2.7452 | 2.8877 | -3.9069 | 2.7644 | -2.864 | 2.4551 | 0.62982 | -3.3778 | -2.3339 | -0.63341 | 3.4614 | -40.7572 | 72.3817 | 174.6003 | 139.2625 | -107.4391 | -5.4924 |  | 0.94106 | 1.2295 | 1.1339 | 0.90581 | 1.2353 | 1.1446 | -9.5331 | -120.5397 | 125.1275 | -9.8836 | -120.3446 | 124.1118
Line_1 | 0.79807 | 0.18373 | 0.1611 | 0.79891 | 0.18311 | 0.16038 | 9.2153 | 2.1216 | 1.8602 | 9.225 | 2.1144 | 1.8519 | -5.894 | 2.5532 | -1.9554 | 6.6752 | -2.5376 | 1.8582 | -4.4256 | -0.72285 | 1.0224 | 5.0265 | 0.61851 | -1.0198 | 133.1527 | -106.4546 | -27.3077 | -46.8637 | 73.3535 | 152.8698 |  | 0.79982 | 1.2507 | 1.1862 | 0.90581 | 1.2353 | 1.1446 | -9.9456 | -122.2623 | 125.0889 | -9.8836 | -120.3446 | 124.1118
Line_2 | 0.36989 | 0.01616 | 0.20018 | 0.36922 | 0.015933 | 0.19981 | 4.2711 | 0.1866 | 2.3115 | 4.2634 | 0.18398 | 2.3072 | 3.007 | 0.22848 | -0.90071 | -2.7683 | -0.22678 | 1.0058 | 2.8929 | -0.015493 | 2.4131 | -2.6925 | 0.014894 | -2.4417 | -54.0716 | -114.2969 | 11.561 | 125.9117 | 63.4131 | -168.2763 |  | 0.97694 | 1.2273 | 1.1143 | 0.90581 | 1.2353 | 1.1446 | -10.1793 | -118.1761 | 122.0294 | -9.8836 | -120.3446 | 124.1118

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3915 | 0.66235 | 0.56303 | 1.3899 | 0.6639 | 0.56458 | 16.0675 | 7.6482 | 6.5013 | 16.0496 | 7.666 | 6.5192 | 7.3874 | -4.8037 | 6.4843 | -4.9835 | 5.0342 | -6.375 | 4.826 | 7.3758 | 1.0881 | -3.5912 | -7.1898 | -0.92967 | -62.6393 | 113.8833 | 120.6705 | 117.3613 | -66.1098 | -59.34 |  | 0.54919 | 1.1509 | 1.0113 | 0.38273 | 1.1449 | 0.98823 | -29.4833 | -123.0412 | 130.1967 | -26.862 | -121.1108 | 128.9571
Line_1 | 1.9181 | 0.56379 | 0.49289 | 1.92 | 0.56182 | 0.4909 | 22.1488 | 6.5101 | 5.6914 | 22.1706 | 6.4873 | 5.6684 | -4.392e-11 | 5.7914 | -5.1439 | 7.2004 | -6.0674 | 4.7767 | 5.8779e-12 | -5.1909 | -3.7008 | 4.4893 | 4.2842 | 2.926 | 121.2147 | -85.8557 | -82.5131 | -58.8045 | 94.1151 | 97.4671 |  | 0 | 1.1946 | 1.1134 | 0.38273 | 1.1449 | 0.98823 | 0 | -127.7257 | 133.2202 | -26.862 | -121.1108 | 128.9571
Line_2 | 0.54249 | 0.23423 | 0.22489 | 0.54124 | 0.23326 | 0.22411 | 6.2642 | 2.7046 | 2.5968 | 6.2497 | 2.6935 | 2.5878 | 3.431 | -0.53225 | -1.1624 | -2.2169 | 1.0332 | 1.5983 | 1.5555 | -2.962 | 1.8711 | -0.89814 | 2.9056 | -1.9964 | -48.9224 | -11.7324 | 0.026196 | 131.0835 | 168.4643 | -179.7232 |  | 0.60138 | 1.1127 | 0.84826 | 0.38273 | 1.1449 | 0.98823 | -24.5337 | -111.9191 | 121.8766 | -26.862 | -121.1108 | 128.9571

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.3915 | 0.66235 | 0.56303 | 1.3899 | 0.6639 | 0.56458 | 16.0675 | 7.6482 | 6.5013 | 16.0496 | 7.666 | 6.5192 | 7.3874 | -4.8037 | 6.4843 | -4.9835 | 5.0342 | -6.375 | 4.826 | 7.3758 | 1.0881 | -3.5912 | -7.1898 | -0.92967 | -62.6393 | 113.8833 | 120.6705 | 117.3613 | -66.1098 | -59.34 |  | 0.54919 | 1.1509 | 1.0113 | 0.38273 | 1.1449 | 0.98823 | -29.4833 | -123.0412 | 130.1967 | -26.862 | -121.1108 | 128.9571
Line_1 | 1.9181 | 0.56379 | 0.49289 | 1.92 | 0.56182 | 0.4909 | 22.1488 | 6.5101 | 5.6914 | 22.1706 | 6.4873 | 5.6684 | -4.392e-11 | 5.7914 | -5.1439 | 7.2004 | -6.0674 | 4.7767 | 5.8779e-12 | -5.1909 | -3.7008 | 4.4893 | 4.2842 | 2.926 | 121.2147 | -85.8557 | -82.5131 | -58.8045 | 94.1151 | 97.4671 |  | 0 | 1.1946 | 1.1134 | 0.38273 | 1.1449 | 0.98823 | 0 | -127.7257 | 133.2202 | -26.862 | -121.1108 | 128.9571
Line_2 | 0.54249 | 0.23423 | 0.22489 | 0.54124 | 0.23326 | 0.22411 | 6.2642 | 2.7046 | 2.5968 | 6.2497 | 2.6935 | 2.5878 | 3.431 | -0.53225 | -1.1624 | -2.2169 | 1.0332 | 1.5983 | 1.5555 | -2.962 | 1.8711 | -0.89814 | 2.9056 | -1.9964 | -48.9224 | -11.7324 | 0.026196 | 131.0835 | 168.4643 | -179.7232 |  | 0.60138 | 1.1127 | 0.84826 | 0.38273 | 1.1449 | 0.98823 | -24.5337 | -111.9191 | 121.8766 | -26.862 | -121.1108 | 128.9571

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50545 | 0.2406 | 0.20452 | 0.50489 | 0.24116 | 0.20508 | 5.8364 | 2.7782 | 2.3616 | 5.8299 | 2.7846 | 2.3681 | 3.9454 | -1.0324 | 2.2698 | -3.6249 | 1.0635 | -2.2593 | 3.0552 | 2.7525 | -0.49083 | -2.8895 | -2.7321 | 0.51322 | -47.4737 | 129.0489 | 135.8361 | 132.5269 | -50.9442 | -44.1744 |  | 0.85497 | 1.0582 | 0.98333 | 0.79515 | 1.0529 | 0.97839 | -9.7209 | -120.3911 | 123.6339 | -8.9142 | -119.6751 | 123.0278
Line_1 | 0.69675 | 0.2048 | 0.17904 | 0.69744 | 0.20408 | 0.17832 | 8.0454 | 2.3648 | 2.0674 | 8.0533 | 2.3565 | 2.059 | -4.3098 | 1.595 | -2.0354 | 5.2631 | -1.6292 | 1.9815 | -3.0509 | -1.9959 | -0.46516 | 3.6477 | 1.8712 | 0.36349 | 136.3803 | -70.6902 | -67.3475 | -43.639 | 109.2807 | 112.6327 |  | 0.65632 | 1.0804 | 1.0099 | 0.79515 | 1.0529 | 0.97839 | -8.3251 | -122.0601 | 125.5257 | -8.9142 | -119.6751 | 123.0278
Line_2 | 0.19706 | 0.085082 | 0.081689 | 0.1966 | 0.084732 | 0.081406 | 2.2754 | 0.98244 | 0.94326 | 2.2702 | 0.9784 | 0.94 | 1.8014 | -0.49966 | -0.22328 | -1.6382 | 0.56563 | 0.27786 | 0.84657 | -0.87182 | 0.86201 | -0.75821 | 0.86093 | -0.87671 | -33.7568 | 3.4332 | 15.1918 | 146.2491 | -176.3701 | -164.5576 |  | 0.87474 | 1.0228 | 0.94401 | 0.79515 | 1.0529 | 0.97839 | -8.5855 | -116.3845 | 119.7133 | -8.9142 | -119.6751 | 123.0278

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50545 | 0.2406 | 0.20452 | 0.50489 | 0.24116 | 0.20508 | 5.8364 | 2.7782 | 2.3616 | 5.8299 | 2.7846 | 2.3681 | 3.9454 | -1.0324 | 2.2698 | -3.6249 | 1.0635 | -2.2593 | 3.0552 | 2.7525 | -0.49083 | -2.8895 | -2.7321 | 0.51322 | -47.4737 | 129.0489 | 135.8361 | 132.5269 | -50.9442 | -44.1744 |  | 0.85497 | 1.0582 | 0.98333 | 0.79515 | 1.0529 | 0.97839 | -9.7209 | -120.3911 | 123.6339 | -8.9142 | -119.6751 | 123.0278
Line_1 | 0.69675 | 0.2048 | 0.17904 | 0.69744 | 0.20408 | 0.17832 | 8.0454 | 2.3648 | 2.0674 | 8.0533 | 2.3565 | 2.059 | -4.3098 | 1.595 | -2.0354 | 5.2631 | -1.6292 | 1.9815 | -3.0509 | -1.9959 | -0.46516 | 3.6477 | 1.8712 | 0.36349 | 136.3803 | -70.6902 | -67.3475 | -43.639 | 109.2807 | 112.6327 |  | 0.65632 | 1.0804 | 1.0099 | 0.79515 | 1.0529 | 0.97839 | -8.3251 | -122.0601 | 125.5257 | -8.9142 | -119.6751 | 123.0278
Line_2 | 0.19706 | 0.085082 | 0.081689 | 0.1966 | 0.084732 | 0.081406 | 2.2754 | 0.98244 | 0.94326 | 2.2702 | 0.9784 | 0.94 | 1.8014 | -0.49966 | -0.22328 | -1.6382 | 0.56563 | 0.27786 | 0.84657 | -0.87182 | 0.86201 | -0.75821 | 0.86093 | -0.87671 | -33.7568 | 3.4332 | 15.1918 | 146.2491 | -176.3701 | -164.5576 |  | 0.87474 | 1.0228 | 0.94401 | 0.79515 | 1.0529 | 0.97839 | -8.5855 | -116.3845 | 119.7133 | -8.9142 | -119.6751 | 123.0278

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3761 | 2.8144 | 2.9525 | 0.37775 | 2.8142 | 2.9524 | 4.3428 | 32.4979 | 34.093 | 4.3619 | 32.4961 | 34.091 | -0.85153 | 12.849 | 7.1837 | 0.85732 | -8.5099 | -2.7646 | 5.808 | 6.2009 | 16.3885 | -5.8008 | -2.0687 | -10.6395 | -92.924 | -166.178 | 24.6126 | 87.1761 | 13.8581 | -155.4218 |  | 1.3517 | 0.43901 | 0.52485 | 1.3443 | 0.2695 | 0.32245 | 5.4168 | -140.4163 | 90.9428 | 5.5831 | -152.4788 | 100.0123
Line_1 | 0.3431 | 3.6639 | 3.5267 | 0.34133 | 3.664 | 3.5275 | 3.9617 | 42.3069 | 40.7228 | 3.9413 | 42.3079 | 40.7319 | 2.367 | 8.8484e-11 | 1.0761e-10 | -2.4612 | 10.663 | 4.815 | -5.1323 | -7.3327e-11 | -9.4505e-12 | 4.6922 | 4.0381 | 12.2197 | 68.0833 | 6.8114 | -148.5124 | -112.0949 | -173.2208 | 31.5186 |  | 1.4266 | 0 | 0 | 1.3443 | 0.2695 | 0.32245 | 2.8423 | 0 | 0 | 5.5831 | -152.4788 | 100.0123
Line_2 | 0.12692 | 0.93873 | 0.69621 | 0.1256 | 0.93767 | 0.69526 | 1.4655 | 10.8395 | 8.0392 | 1.4503 | 10.8273 | 8.0282 | -1.445 | 3.7095 | 2.4615 | 1.6038 | -2.1531 | -2.0504 | -1.1449 | 2.0391 | 2.7329 | 1.1086 | -1.9695 | -1.5803 | 150.5159 | 164.998 | 62.4968 | -29.0702 | -14.9281 | -117.6095 |  | 1.258 | 0.39052 | 0.45751 | 1.3443 | 0.2695 | 0.32245 | 8.906 | -166.204 | 110.4879 | 5.5831 | -152.4788 | 100.0123

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3761 | 2.8144 | 2.9525 | 0.37775 | 2.8142 | 2.9524 | 4.3428 | 32.4979 | 34.093 | 4.3619 | 32.4961 | 34.091 | -0.85153 | 12.849 | 7.1837 | 0.85732 | -8.5099 | -2.7646 | 5.808 | 6.2009 | 16.3885 | -5.8008 | -2.0687 | -10.6395 | -92.924 | -166.178 | 24.6126 | 87.1761 | 13.8581 | -155.4218 |  | 1.3517 | 0.43901 | 0.52485 | 1.3443 | 0.2695 | 0.32245 | 5.4168 | -140.4163 | 90.9428 | 5.5831 | -152.4788 | 100.0123
Line_1 | 0.3431 | 3.6639 | 3.5267 | 0.34133 | 3.664 | 3.5275 | 3.9617 | 42.3069 | 40.7228 | 3.9413 | 42.3079 | 40.7319 | 2.367 | 8.8484e-11 | 1.0761e-10 | -2.4612 | 10.663 | 4.815 | -5.1323 | -7.3327e-11 | -9.4505e-12 | 4.6922 | 4.0381 | 12.2197 | 68.0833 | 6.8114 | -148.5124 | -112.0949 | -173.2208 | 31.5186 |  | 1.4266 | 0 | 0 | 1.3443 | 0.2695 | 0.32245 | 2.8423 | 0 | 0 | 5.5831 | -152.4788 | 100.0123
Line_2 | 0.12692 | 0.93873 | 0.69621 | 0.1256 | 0.93767 | 0.69526 | 1.4655 | 10.8395 | 8.0392 | 1.4503 | 10.8273 | 8.0282 | -1.445 | 3.7095 | 2.4615 | 1.6038 | -2.1531 | -2.0504 | -1.1449 | 2.0391 | 2.7329 | 1.1086 | -1.9695 | -1.5803 | 150.5159 | 164.998 | 62.4968 | -29.0702 | -14.9281 | -117.6095 |  | 1.258 | 0.39052 | 0.45751 | 1.3443 | 0.2695 | 0.32245 | 8.906 | -166.204 | 110.4879 | 5.5831 | -152.4788 | 100.0123

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046322 | 0.69971 | 0.67141 | 0.046605 | 0.69978 | 0.67124 | 0.53488 | 8.0796 | 7.7528 | 0.53815 | 8.0803 | 7.7508 | 0.63809 | 7.3073 | 3.9412 | -0.64485 | -7.0432 | -3.7024 | -0.10826 | 1.6987 | 6.7352 | 0.10422 | -1.4596 | -6.416 | 13.1561 | -138.0861 | 50.3565 | -167.6357 | 41.9711 | -129.7016 |  | 1.21 | 0.92853 | 1.0066 | 1.2138 | 0.89017 | 0.95572 | 3.5269 | -124.9989 | 110.0219 | 3.1833 | -126.3209 | 110.3109
Line_1 | 0.060598 | 0.99131 | 0.93657 | 0.059959 | 0.99134 | 0.93699 | 0.69973 | 11.4467 | 10.8146 | 0.69234 | 11.447 | 10.8195 | 0.20494 | -8.027 | -5.9622 | -0.21422 | 8.9244 | 6.3344 | -0.8552 | -4.7479 | -7.1248 | 0.81263 | 4.9178 | 8.1731 | 78.8924 | 24.8691 | -121.9549 | -101.5844 | -155.1779 | 58.0875 |  | 1.2568 | 0.81474 | 0.85906 | 1.2138 | 0.89017 | 0.95572 | 2.3686 | -124.5269 | 108.1218 | 3.1833 | -126.3209 | 110.3109
Line_2 | 0.089574 | 0.3835 | 0.2871 | 0.089642 | 0.383 | 0.28676 | 1.0343 | 4.4282 | 3.3152 | 1.0351 | 4.4225 | 3.3112 | -0.84498 | 2.1439 | 2.6975 | 0.85907 | -1.8812 | -2.632 | 0.87297 | 3.5116 | 1.9454 | -0.91686 | -3.4582 | -1.7571 | -130.355 | 172.166 | 76.6899 | 50.0469 | -7.7752 | -103.4161 |  | 1.1746 | 0.9291 | 1.0032 | 1.2138 | 0.89017 | 0.95572 | 3.7117 | -129.2389 | 112.4879 | 3.1833 | -126.3209 | 110.3109

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.046322 | 0.69971 | 0.67141 | 0.046605 | 0.69978 | 0.67124 | 0.53488 | 8.0796 | 7.7528 | 0.53815 | 8.0803 | 7.7508 | 0.63809 | 7.3073 | 3.9412 | -0.64485 | -7.0432 | -3.7024 | -0.10826 | 1.6987 | 6.7352 | 0.10422 | -1.4596 | -6.416 | 13.1561 | -138.0861 | 50.3565 | -167.6357 | 41.9711 | -129.7016 |  | 1.21 | 0.92853 | 1.0066 | 1.2138 | 0.89017 | 0.95572 | 3.5269 | -124.9989 | 110.0219 | 3.1833 | -126.3209 | 110.3109
Line_1 | 0.060598 | 0.99131 | 0.93657 | 0.059959 | 0.99134 | 0.93699 | 0.69973 | 11.4467 | 10.8146 | 0.69234 | 11.447 | 10.8195 | 0.20494 | -8.027 | -5.9622 | -0.21422 | 8.9244 | 6.3344 | -0.8552 | -4.7479 | -7.1248 | 0.81263 | 4.9178 | 8.1731 | 78.8924 | 24.8691 | -121.9549 | -101.5844 | -155.1779 | 58.0875 |  | 1.2568 | 0.81474 | 0.85906 | 1.2138 | 0.89017 | 0.95572 | 2.3686 | -124.5269 | 108.1218 | 3.1833 | -126.3209 | 110.3109
Line_2 | 0.089574 | 0.3835 | 0.2871 | 0.089642 | 0.383 | 0.28676 | 1.0343 | 4.4282 | 3.3152 | 1.0351 | 4.4225 | 3.3112 | -0.84498 | 2.1439 | 2.6975 | 0.85907 | -1.8812 | -2.632 | 0.87297 | 3.5116 | 1.9454 | -0.91686 | -3.4582 | -1.7571 | -130.355 | 172.166 | 76.6899 | 50.0469 | -7.7752 | -103.4161 |  | 1.1746 | 0.9291 | 1.0032 | 1.2138 | 0.89017 | 0.95572 | 3.7117 | -129.2389 | 112.4879 | 3.1833 | -126.3209 | 110.3109

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44959 | 2.2196 | 2.3949 | 0.45081 | 2.2196 | 2.3946 | 5.1914 | 25.6295 | 27.6536 | 5.2055 | 25.6293 | 27.6503 | 0.4855 | 14.2181 | 10.2712 | -0.40108 | -9.1689 | -4.5204 | 5.8175 | 2.3166 | 12.3195 | -5.7707 | -0.010962 | -8.2681 | -79.7898 | -154.9076 | 38.922 | 100.254 | 25.1252 | -141.1076 |  | 1.1245 | 0.56207 | 0.58001 | 1.1112 | 0.35775 | 0.3408 | 5.4396 | -145.6534 | 89.1029 | 6.2782 | -154.8063 | 100.2261
Line_1 | 0.41635 | 2.8679 | 2.7635 | 0.41479 | 2.8676 | 2.7643 | 4.8076 | 33.1153 | 31.91 | 4.7896 | 33.1126 | 31.9198 | 1.15 | -1.0126e-10 | -4.275e-11 | -1.2283 | 11.7921 | 5.8619 | -5.8055 | -6.505e-11 | -1.0909e-10 | 5.1788 | 1.13 | 9.1636 | 83.0074 | 19.7521 | -137.1961 | -97.0643 | -160.2803 | 42.833 |  | 1.231 | 0 | 0 | 1.1112 | 0.35775 | 0.3408 | 4.212 | 0 | 0 | 6.2782 | -154.8063 | 100.2261
Line_2 | 0.1359 | 0.69097 | 0.41039 | 0.1351 | 0.69037 | 0.40989 | 1.5693 | 7.9786 | 4.7388 | 1.56 | 7.9717 | 4.733 | -1.4072 | 4.0879 | 1.4988 | 1.6293 | -2.6232 | -1.3416 | -0.62229 | 0.96347 | 1.6351 | 0.5919 | -1.1191 | -0.89551 | 166.0425 | -177.9795 | 66.6288 | -13.6866 | 2.0899 | -113.497 |  | 0.98049 | 0.5264 | 0.46807 | 1.1112 | 0.35775 | 0.3408 | 9.8984 | -164.7177 | 114.1202 | 6.2782 | -154.8063 | 100.2261

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44959 | 2.2196 | 2.3949 | 0.45081 | 2.2196 | 2.3946 | 5.1914 | 25.6295 | 27.6536 | 5.2055 | 25.6293 | 27.6503 | 0.4855 | 14.2181 | 10.2712 | -0.40108 | -9.1689 | -4.5204 | 5.8175 | 2.3166 | 12.3195 | -5.7707 | -0.010962 | -8.2681 | -79.7898 | -154.9076 | 38.922 | 100.254 | 25.1252 | -141.1076 |  | 1.1245 | 0.56207 | 0.58001 | 1.1112 | 0.35775 | 0.3408 | 5.4396 | -145.6534 | 89.1029 | 6.2782 | -154.8063 | 100.2261
Line_1 | 0.41635 | 2.8679 | 2.7635 | 0.41479 | 2.8676 | 2.7643 | 4.8076 | 33.1153 | 31.91 | 4.7896 | 33.1126 | 31.9198 | 1.15 | -1.0126e-10 | -4.275e-11 | -1.2283 | 11.7921 | 5.8619 | -5.8055 | -6.505e-11 | -1.0909e-10 | 5.1788 | 1.13 | 9.1636 | 83.0074 | 19.7521 | -137.1961 | -97.0643 | -160.2803 | 42.833 |  | 1.231 | 0 | 0 | 1.1112 | 0.35775 | 0.3408 | 4.212 | 0 | 0 | 6.2782 | -154.8063 | 100.2261
Line_2 | 0.1359 | 0.69097 | 0.41039 | 0.1351 | 0.69037 | 0.40989 | 1.5693 | 7.9786 | 4.7388 | 1.56 | 7.9717 | 4.733 | -1.4072 | 4.0879 | 1.4988 | 1.6293 | -2.6232 | -1.3416 | -0.62229 | 0.96347 | 1.6351 | 0.5919 | -1.1191 | -0.89551 | 166.0425 | -177.9795 | 66.6288 | -13.6866 | 2.0899 | -113.497 |  | 0.98049 | 0.5264 | 0.46807 | 1.1112 | 0.35775 | 0.3408 | 9.8984 | -164.7177 | 114.1202 | 6.2782 | -154.8063 | 100.2261

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18823 | 0.6634 | 0.71436 | 0.18875 | 0.66335 | 0.71423 | 2.1735 | 7.6603 | 8.2487 | 2.1794 | 7.6597 | 8.2472 | 1.0094 | 6.1068 | 4.1697 | -0.99782 | -5.6462 | -3.6513 | 2.0195 | 2.1111 | 6.1171 | -2.0117 | -1.9197 | -5.7356 | -60.6124 | -145.4693 | 54.4727 | 119.4175 | 34.5756 | -125.5679 |  | 1.0387 | 0.84349 | 0.89748 | 1.0303 | 0.77857 | 0.82443 | 2.8297 | -126.3992 | 110.1923 | 3.0352 | -126.6461 | 111.9512
Line_1 | 0.17169 | 0.88195 | 0.81967 | 0.17104 | 0.88192 | 0.82005 | 1.9825 | 10.1839 | 9.4647 | 1.975 | 10.1835 | 9.4691 | -0.29307 | -5.9155 | -4.3571 | 0.27007 | 7.1864 | 4.8508 | -2.1241 | -3.3096 | -5.1415 | 2.0168 | 3.3493 | 6.1166 | 100.7208 | 28.4089 | -119.6715 | -79.3379 | -151.6348 | 60.3673 |  | 1.0816 | 0.6656 | 0.71205 | 1.0303 | 0.77857 | 0.82443 | 2.8652 | -122.3651 | 110.0491 | 3.0352 | -126.6461 | 111.9512
Line_2 | 0.061489 | 0.23403 | 0.13249 | 0.061172 | 0.23375 | 0.1322 | 0.71002 | 2.7024 | 1.5298 | 0.70635 | 2.6991 | 1.5265 | -0.68893 | 1.7379 | 1.2385 | 0.72775 | -1.5402 | -1.1994 | -0.0034005 | 1.4188 | 0.47263 | -0.0051845 | -1.4296 | -0.38099 | -176.8176 | -169.5907 | 94.4646 | 3.4434 | 10.4869 | -85.6705 |  | 0.97031 | 0.83019 | 0.86653 | 1.0303 | 0.77857 | 0.82443 | 3.4652 | -130.363 | 115.3522 | 3.0352 | -126.6461 | 111.9512

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18823 | 0.6634 | 0.71436 | 0.18875 | 0.66335 | 0.71423 | 2.1735 | 7.6603 | 8.2487 | 2.1794 | 7.6597 | 8.2472 | 1.0094 | 6.1068 | 4.1697 | -0.99782 | -5.6462 | -3.6513 | 2.0195 | 2.1111 | 6.1171 | -2.0117 | -1.9197 | -5.7356 | -60.6124 | -145.4693 | 54.4727 | 119.4175 | 34.5756 | -125.5679 |  | 1.0387 | 0.84349 | 0.89748 | 1.0303 | 0.77857 | 0.82443 | 2.8297 | -126.3992 | 110.1923 | 3.0352 | -126.6461 | 111.9512
Line_1 | 0.17169 | 0.88195 | 0.81967 | 0.17104 | 0.88192 | 0.82005 | 1.9825 | 10.1839 | 9.4647 | 1.975 | 10.1835 | 9.4691 | -0.29307 | -5.9155 | -4.3571 | 0.27007 | 7.1864 | 4.8508 | -2.1241 | -3.3096 | -5.1415 | 2.0168 | 3.3493 | 6.1166 | 100.7208 | 28.4089 | -119.6715 | -79.3379 | -151.6348 | 60.3673 |  | 1.0816 | 0.6656 | 0.71205 | 1.0303 | 0.77857 | 0.82443 | 2.8652 | -122.3651 | 110.0491 | 3.0352 | -126.6461 | 111.9512
Line_2 | 0.061489 | 0.23403 | 0.13249 | 0.061172 | 0.23375 | 0.1322 | 0.71002 | 2.7024 | 1.5298 | 0.70635 | 2.6991 | 1.5265 | -0.68893 | 1.7379 | 1.2385 | 0.72775 | -1.5402 | -1.1994 | -0.0034005 | 1.4188 | 0.47263 | -0.0051845 | -1.4296 | -0.38099 | -176.8176 | -169.5907 | 94.4646 | 3.4434 | 10.4869 | -85.6705 |  | 0.97031 | 0.83019 | 0.86653 | 1.0303 | 0.77857 | 0.82443 | 3.4652 | -130.363 | 115.3522 | 3.0352 | -126.6461 | 111.9512