## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.3036 | 3.3036 | 0 | 0 | 114.4404 | 114.4404 | 37.7713 | -20.7457 | 43.3355 | -24.018 | -70.8485 | 109.1515 | 0.50232 | 0.27733 | -21.9239 | -21.6675
Line_1 | 4.0718 | 4.0718 | 7.8074 | 0 | 141.0522 | 141.0522 | -1e-07 | 25.8644 | -1e-07 | 29.3462 | 109.7241 | -70.2759 | 0 | 0.27733 | 0 | -21.6675
Line_2 | 0.76909 | 0.76909 | 0 | 0 | 26.6421 | 26.6421 | 6.0414 | -5.1187 | 6.3751 | -5.3281 | -67.816 | 112.184 | 0.32967 | 0.27733 | -21.2767 | -21.6675

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.77289 | 0.77289 | 0 | 0 | 26.7736 | 26.7736 | 20.4887 | -19.5569 | 16.8303 | -15.773 | -45.3926 | 134.6074 | 0.99034 | 0.93842 | -5.9915 | -6.5057
Line_1 | 1.057 | 1.057 | 2.0668 | 0 | 36.615 | 36.615 | -23.4304 | 25.1732 | -21.4091 | 23.3865 | 130.6015 | -49.3985 | 0.86682 | 0.93842 | -6.9796 | -6.5057
Line_2 | 0.29104 | 0.29104 | 0 | 0 | 10.0818 | 10.0818 | 5.7485 | -5.6164 | 7.7635 | -7.6135 | -60.0901 | 119.9099 | 0.95817 | 0.93842 | -6.6085 | -6.5057

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.6307 | 2.6307 | 0 | 0 | 91.1286 | 91.1286 | 45.9418 | -25.214 | 27.0858 | -14.8368 | -57.966 | 122.034 | 0.58524 | 0.32103 | -27.4438 | -27.4919
Line_1 | 3.1965 | 3.1965 | 5.555 | 0 | 110.73 | 110.73 | -1e-07 | 30.6038 | -1e-07 | 18.0852 | 121.9273 | -58.0727 | 0 | 0.32103 | 0 | -27.4919
Line_2 | 0.56587 | 0.56587 | 0 | 0 | 19.6023 | 19.6023 | 6.3489 | -5.3898 | 3.8151 | -3.2484 | -58.5686 | 121.4314 | 0.37786 | 0.32103 | -27.5665 | -27.4919

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.76941 | 0.76941 | 0 | 0 | 26.6531 | 26.6531 | 18.1535 | -16.3803 | 15.0311 | -13.9833 | -46.4658 | 133.5342 | 0.88427 | 0.80805 | -6.841 | -5.9797
Line_1 | 0.93491 | 0.93491 | 1.6247 | 0 | 32.3861 | 32.3861 | -17.2541 | 19.872 | -15.481 | 17.028 | 133.4275 | -46.5725 | 0.71577 | 0.80805 | -4.6729 | -5.9797
Line_2 | 0.1655 | 0.1655 | 0 | 0 | 5.7333 | 5.7333 | 3.5737 | -3.4917 | 3.0933 | -3.0448 | -47.0684 | 132.9316 | 0.8244 | 0.80805 | -6.1904 | -5.9797

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.34465 | 2.8163 | 2.9394 | 0.34465 | 2.8163 | 2.9394 | 3.9797 | 32.5201 | 33.9408 | 3.9797 | 32.5201 | 33.9408 | -2.8467 | 27.5894 | -9.8021 | 2.9085 | -23.4649 | 14.2948 | -3.6108 | 3.3833 | 16.3211 | 3.6809 | 1.2964 | -11.2236 | 130.3426 | -157.3314 | 16.2542 | -49.6574 | 22.6686 | -163.7458 | 1.1554 | 0.85474 | 0.56093 | 1.1788 | 0.72265 | 0.53548 | 2.0909 | -150.3401 | 137.2424 | 2.0284 | -160.4937 | 158.117
Line_1 | 0.19448 | 3.4668 | 3.5514 | 0.19448 | 3.4668 | 3.5514 | 2.2456 | 40.0309 | 41.0075 | 2.2456 | 40.0309 | 41.0075 | 1.8069 | -22.6769 | 23.5803 | -1.7872 | 28.9265 | -17.0221 | 1.975 | 7.4181 | -6.4306 | -1.9527 | -0.32717 | 13.8717 | -45.5053 | 20.1544 | -162.7055 | 134.4947 | -159.8456 | 17.2945 | 1.192 | 0.59602 | 0.59602 | 1.1788 | 0.72265 | 0.53548 | 2.0403 | -177.9597 | -177.9597 | 2.0284 | -160.4937 | 158.117
Line_2 | 0.15134 | 0.66475 | 0.6148 | 0.15134 | 0.66475 | 0.6148 | 1.7476 | 7.6758 | 7.0991 | 1.7476 | 7.6758 | 7.0991 | 1.1332 | 5.6914 | -2.5307 | -1.1212 | -5.4616 | 2.7272 | 1.7417 | 1.2299 | 2.8712 | -1.7282 | -0.96922 | -2.6482 | -54.9959 | -170.5566 | 22.2743 | 125.0041 | 9.4434 | -157.7257 | 1.189 | 0.75859 | 0.53912 | 1.1788 | 0.72265 | 0.53548 | 1.9557 | -158.3623 | 153.6676 | 2.0284 | -160.4937 | 158.117

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26375 | 1.2082 | 1.1737 | 0.26375 | 1.2082 | 1.1737 | 3.0455 | 13.9508 | 13.5526 | 3.0455 | 13.9508 | 13.5526 | -1.7236 | 14.6366 | 0.36638 | 1.7598 | -13.8776 | 0.34995 | -3.0377 | 0.70931 | 11.719 | 3.0787 | 0.15191 | -10.9062 | 120.8148 | -135.4144 | 31.9789 | -59.1852 | 44.5856 | -148.0211 | 1.1468 | 1.0504 | 0.86513 | 1.1644 | 0.99481 | 0.80515 | 1.244 | -132.6399 | 120.1882 | 1.0629 | -136.0415 | 123.8167
Line_1 | 0.14172 | 1.5139 | 1.518 | 0.14172 | 1.5139 | 1.518 | 1.6364 | 17.4815 | 17.5279 | 1.6364 | 17.4815 | 17.5279 | 1.1337 | -16.1122 | 1.4292 | -1.1232 | 17.3041 | -0.23098 | 1.5511 | -0.38203 | -12.7512 | -1.5392 | 1.7343 | 14.1107 | -52.8182 | 38.235 | -147.1211 | 127.1818 | -141.765 | 32.8789 | 1.174 | 0.92193 | 0.73203 | 1.1644 | 0.99481 | 0.80515 | 1.0196 | -140.4067 | 129.274 | 1.0629 | -136.0415 | 123.8167
Line_2 | 0.1239 | 0.3405 | 0.34491 | 0.1239 | 0.3405 | 0.34491 | 1.4307 | 3.9318 | 3.9827 | 1.4307 | 3.9318 | 3.9827 | 0.64456 | 3.4868 | 0.18083 | -0.63657 | -3.4265 | -0.11897 | 1.5486 | 1.9546 | 3.2746 | -1.5395 | -1.8862 | -3.2044 | -66.4724 | -164.8737 | 35.9428 | 113.5276 | 15.1263 | -144.0572 | 1.1724 | 1.0167 | 0.82347 | 1.1644 | 0.99481 | 0.80515 | 0.92914 | -135.5993 | 122.7821 | 1.0629 | -136.0415 | 123.8167

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14068 | 2.2375 | 2.3511 | 0.14068 | 2.2375 | 2.3511 | 1.6245 | 25.8369 | 27.1481 | 1.6245 | 25.8369 | 27.1481 | -1.6231 | 22.5203 | -0.019694 | 1.6429 | -17.5218 | 5.5385 | -0.15684 | -0.52064 | 13.7841 | 0.16852 | 3.4745 | -10.5228 | 176.1521 | -146.6212 | 31.3043 | -3.8479 | 33.3788 | -148.6957 | 1.0038 | 0.87187 | 0.50774 | 1.0166 | 0.69137 | 0.43802 | 1.6715 | -147.9456 | 121.3861 | 2.0088 | -157.8373 | 149.0637
Line_1 | 0.088507 | 2.7229 | 2.7871 | 0.088507 | 2.7229 | 2.7871 | 1.022 | 31.441 | 32.1826 | 1.022 | 31.441 | 32.1826 | 1.0131 | -14.0477 | 14.5542 | -1.0053 | 21.4498 | -6.7988 | 0.26704 | 7.8991 | -7.7655 | -0.26242 | -3.5248 | 12.3486 | -12.6212 | 31.4946 | -149.7721 | 167.3788 | -148.5054 | 30.2279 | 1.0252 | 0.51259 | 0.51259 | 1.0166 | 0.69137 | 0.43802 | 2.1453 | -177.8547 | -177.8547 | 2.0088 | -157.8373 | 149.0637
Line_2 | 0.054898 | 0.49207 | 0.43864 | 0.054898 | 0.49207 | 0.43864 | 0.6339 | 5.682 | 5.065 | 0.6339 | 5.682 | 5.065 | 0.64057 | 4.1698 | -1.0682 | -0.63756 | -3.928 | 1.2602 | -0.092125 | 0.092595 | 1.9394 | 0.093903 | 0.050265 | -1.8258 | 10.3873 | -157.1042 | 24.4491 | -169.6127 | 22.8958 | -155.5509 | 1.0209 | 0.73405 | 0.43713 | 1.0166 | 0.69137 | 0.43802 | 2.2033 | -155.8321 | 143.2941 | 2.0088 | -157.8373 | 149.0637

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064934 | 1.0328 | 1.0852 | 0.064934 | 1.0328 | 1.0852 | 0.7498 | 11.9253 | 12.5306 | 0.7498 | 11.9253 | 12.5306 | -0.74591 | 11.3062 | 2.3283 | 0.75012 | -10.2413 | -1.1526 | 0.070648 | 0.82643 | 9.4403 | -0.06816 | -0.19713 | -8.7455 | -173.8109 | -136.5841 | 41.3413 | 6.1891 | 43.4159 | -138.6587 | 0.99927 | 0.95061 | 0.77596 | 1.0046 | 0.85895 | 0.70397 | 0.77863 | -132.4035 | 117.4865 | 0.99722 | -135.4814 | 123.8333
Line_1 | 0.040852 | 1.2568 | 1.2864 | 0.040852 | 1.2568 | 1.2864 | 0.47172 | 14.512 | 14.8543 | 0.47172 | 14.512 | 14.8543 | 0.47461 | -10.8711 | 0.48087 | -0.47294 | 12.4481 | 1.1714 | 0.030585 | 0.28236 | -9.4148 | -0.0296 | 0.64954 | 10.3912 | -2.5841 | 41.5316 | -139.7351 | 177.4159 | -138.4684 | 40.2649 | 1.0082 | 0.74937 | 0.63463 | 1.0046 | 0.85895 | 0.70397 | 1.1031 | -139.9562 | 133.1889 | 0.99722 | -135.4814 | 123.8333
Line_2 | 0.025339 | 0.22712 | 0.20246 | 0.025339 | 0.22712 | 0.20246 | 0.29259 | 2.6226 | 2.3378 | 0.29259 | 2.6226 | 2.3378 | 0.27783 | 2.2583 | 0.059675 | -0.27718 | -2.2068 | -0.018751 | -0.097381 | 0.48284 | 1.6698 | 0.09776 | -0.45241 | -1.6456 | 20.4244 | -147.0671 | 34.4862 | -159.5756 | 32.9329 | -145.5138 | 1.0062 | 0.88055 | 0.71472 | 1.0046 | 0.85895 | 0.70397 | 1.1082 | -134.9983 | 122.4394 | 0.99722 | -135.4814 | 123.8333

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5088 | 0.84354 | 0.74237 | 1.5065 | 0.84579 | 0.74453 | 17.4225 | 9.7404 | 8.5721 | 17.3957 | 9.7664 | 8.5971 | 5.0007 | -10.4759 | 10.7956 | -3.8179 | 10.8727 | -10.5349 | 4.9037 | 8.1714 | 1.4658 | -3.5571 | -7.7774 | -1.1561 | -73.0434 | 90.1675 | 126.117 | 106.9602 | -89.7933 | -53.9486 |  | 0.402 | 1.364 | 1.2709 | 0.29997 | 1.3688 | 1.2328 | -28.6047 | -127.7874 | 133.8493 | -30.0646 | -125.37 | 132.3137
Line_1 | 2.4009 | 0.61259 | 0.45925 | 2.4035 | 0.61012 | 0.45664 | 27.7235 | 7.0736 | 5.3029 | 27.7531 | 7.045 | 5.2728 | 9.2096e-11 | 8.5723 | -6.1562 | 6.365 | -8.8208 | 5.6445 | -8.194e-11 | -4.5756 | -3.5728 | 5.366 | 3.8965 | 3.2233 | 109.8159 | -101.4561 | -77.4426 | -70.1972 | 78.463 | 102.585 |  | 0 | 1.3737 | 1.3422 | 0.29997 | 1.3688 | 1.2328 | 0 | -129.5479 | 132.6866 | -30.0646 | -125.37 | 132.3137
Line_2 | 0.904 | 0.27982 | 0.37453 | 0.90193 | 0.27775 | 0.37299 | 10.4385 | 3.2311 | 4.3247 | 10.4146 | 3.2072 | 4.3069 | 4.3126 | 2.5299 | -4.255 | -2.5471 | -2.052 | 4.8903 | 2.9257 | -3.6834 | 1.9803 | -1.8089 | 3.8809 | -2.0673 | -65.4483 | -63.2615 | -24.9821 | 114.5544 | 116.7633 | 155.2289 |  | 0.49925 | 1.383 | 1.0852 | 0.29997 | 1.3688 | 1.2328 | -31.2952 | -118.7786 | 130.0604 | -30.0646 | -125.37 | 132.3137

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5088 | 0.84354 | 0.74237 | 1.5065 | 0.84579 | 0.74453 | 17.4225 | 9.7404 | 8.5721 | 17.3957 | 9.7664 | 8.5971 | 5.0007 | -10.4759 | 10.7956 | -3.8179 | 10.8727 | -10.5349 | 4.9037 | 8.1714 | 1.4658 | -3.5571 | -7.7774 | -1.1561 | -73.0434 | 90.1675 | 126.117 | 106.9602 | -89.7933 | -53.9486 |  | 0.402 | 1.364 | 1.2709 | 0.29997 | 1.3688 | 1.2328 | -28.6047 | -127.7874 | 133.8493 | -30.0646 | -125.37 | 132.3137
Line_1 | 2.4009 | 0.61259 | 0.45925 | 2.4035 | 0.61012 | 0.45664 | 27.7235 | 7.0736 | 5.3029 | 27.7531 | 7.045 | 5.2728 | 9.2096e-11 | 8.5723 | -6.1562 | 6.365 | -8.8208 | 5.6445 | -8.194e-11 | -4.5756 | -3.5728 | 5.366 | 3.8965 | 3.2233 | 109.8159 | -101.4561 | -77.4426 | -70.1972 | 78.463 | 102.585 |  | 0 | 1.3737 | 1.3422 | 0.29997 | 1.3688 | 1.2328 | 0 | -129.5479 | 132.6866 | -30.0646 | -125.37 | 132.3137
Line_2 | 0.904 | 0.27982 | 0.37453 | 0.90193 | 0.27775 | 0.37299 | 10.4385 | 3.2311 | 4.3247 | 10.4146 | 3.2072 | 4.3069 | 4.3126 | 2.5299 | -4.255 | -2.5471 | -2.052 | 4.8903 | 2.9257 | -3.6834 | 1.9803 | -1.8089 | 3.8809 | -2.0673 | -65.4483 | -63.2615 | -24.9821 | 114.5544 | 116.7633 | 155.2289 |  | 0.49925 | 1.383 | 1.0852 | 0.29997 | 1.3688 | 1.2328 | -31.2952 | -118.7786 | 130.0604 | -30.0646 | -125.37 | 132.3137

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40386 | 0.21432 | 0.3567 | 0.40307 | 0.21488 | 0.35726 | 4.6634 | 2.4748 | 4.1188 | 4.6543 | 2.4812 | 4.1253 | 3.6864 | -2.897 | 3.3044 | -3.5962 | 2.926 | -3.2486 | 2.2045 | 1.0045 | -3.374 | -2.1023 | -0.98782 | 3.4488 | -40.452 | 77.7484 | 171.5213 | 139.5781 | -102.0918 | -8.5749 |  | 0.92105 | 1.239 | 1.1466 | 0.89502 | 1.2446 | 1.1485 | -9.5715 | -121.3752 | 125.9237 | -10.1114 | -120.7469 | 124.7125
Line_1 | 0.77783 | 0.19124 | 0.17213 | 0.77872 | 0.19055 | 0.17136 | 8.9816 | 2.2083 | 1.9876 | 8.9919 | 2.2003 | 1.9787 | -5.7081 | 2.6334 | -2.1307 | 6.4245 | -2.6194 | 2.0367 | -4.279 | -0.89723 | 1.0084 | 4.8471 | 0.79867 | -1.0082 | 132.8732 | -103.6064 | -29.1207 | -47.1445 | 76.2096 | 151.0483 |  | 0.79428 | 1.2598 | 1.186 | 0.89502 | 1.2446 | 1.1485 | -10.2698 | -122.4213 | 125.5519 | -10.1114 | -120.7469 | 124.7125
Line_2 | 0.38207 | 0.025605 | 0.2059 | 0.38135 | 0.025062 | 0.20548 | 4.4118 | 0.29566 | 2.3775 | 4.4035 | 0.28939 | 2.3727 | 3.0928 | 0.31528 | -1.0948 | -2.8283 | -0.30651 | 1.2119 | 2.9589 | -0.18519 | 2.4109 | -2.7447 | 0.18915 | -2.4407 | -54.2373 | -87.9627 | 8.1395 | 125.7481 | 90.9326 | -171.6943 |  | 0.97018 | 1.2367 | 1.1137 | 0.89502 | 1.2446 | 1.1485 | -10.5043 | -118.3916 | 122.5631 | -10.1114 | -120.7469 | 124.7125

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40386 | 0.21432 | 0.3567 | 0.40307 | 0.21488 | 0.35726 | 4.6634 | 2.4748 | 4.1188 | 4.6543 | 2.4812 | 4.1253 | 3.6864 | -2.897 | 3.3044 | -3.5962 | 2.926 | -3.2486 | 2.2045 | 1.0045 | -3.374 | -2.1023 | -0.98782 | 3.4488 | -40.452 | 77.7484 | 171.5213 | 139.5781 | -102.0918 | -8.5749 |  | 0.92105 | 1.239 | 1.1466 | 0.89502 | 1.2446 | 1.1485 | -9.5715 | -121.3752 | 125.9237 | -10.1114 | -120.7469 | 124.7125
Line_1 | 0.77783 | 0.19124 | 0.17213 | 0.77872 | 0.19055 | 0.17136 | 8.9816 | 2.2083 | 1.9876 | 8.9919 | 2.2003 | 1.9787 | -5.7081 | 2.6334 | -2.1307 | 6.4245 | -2.6194 | 2.0367 | -4.279 | -0.89723 | 1.0084 | 4.8471 | 0.79867 | -1.0082 | 132.8732 | -103.6064 | -29.1207 | -47.1445 | 76.2096 | 151.0483 |  | 0.79428 | 1.2598 | 1.186 | 0.89502 | 1.2446 | 1.1485 | -10.2698 | -122.4213 | 125.5519 | -10.1114 | -120.7469 | 124.7125
Line_2 | 0.38207 | 0.025605 | 0.2059 | 0.38135 | 0.025062 | 0.20548 | 4.4118 | 0.29566 | 2.3775 | 4.4035 | 0.28939 | 2.3727 | 3.0928 | 0.31528 | -1.0948 | -2.8283 | -0.30651 | 1.2119 | 2.9589 | -0.18519 | 2.4109 | -2.7447 | 0.18915 | -2.4407 | -54.2373 | -87.9627 | 8.1395 | 125.7481 | 90.9326 | -171.6943 |  | 0.97018 | 1.2367 | 1.1137 | 0.89502 | 1.2446 | 1.1485 | -10.5043 | -118.3916 | 122.5631 | -10.1114 | -120.7469 | 124.7125

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.313 | 0.70617 | 0.6088 | 1.3114 | 0.70784 | 0.61044 | 15.1615 | 8.1542 | 7.0298 | 15.1424 | 8.1734 | 7.0488 | 6.0801 | -4.7229 | 7.3724 | -4.3616 | 5.2383 | -7.017 | 4.2963 | 8.1203 | 1.4347 | -3.2752 | -7.8432 | -1.2223 | -63.2953 | 113.812 | 120.0607 | 116.7123 | -66.1953 | -59.9647 |  | 0.49104 | 1.152 | 1.0684 | 0.36021 | 1.1539 | 1.0105 | -28.0493 | -126.0052 | 131.0733 | -26.3842 | -122.4574 | 129.9165
Line_1 | 1.8582 | 0.57952 | 0.51045 | 1.8602 | 0.57746 | 0.50837 | 21.457 | 6.6918 | 5.8941 | 21.4797 | 6.668 | 5.8702 | -4.2069e-11 | 5.9248 | -5.3449 | 6.493 | -6.1276 | 5.0407 | 5.2321e-12 | -5.4961 | -3.8539 | 4.2079 | 4.6538 | 3.1267 | 120.6909 | -85.2172 | -81.8804 | -59.3301 | 94.7585 | 98.1055 |  | 0 | 1.2077 | 1.118 | 0.36021 | 1.1539 | 1.0105 | 0 | -128.0675 | 133.9126 | -26.3842 | -122.4574 | 129.9165
Line_2 | 0.56065 | 0.24955 | 0.23611 | 0.55933 | 0.2485 | 0.23522 | 6.4739 | 2.8816 | 2.7263 | 6.4586 | 2.8694 | 2.7161 | 3.4708 | -0.31963 | -1.4815 | -2.1313 | 0.88929 | 1.9763 | 1.6146 | -3.2319 | 1.79 | -0.93264 | 3.1895 | -1.9044 | -50.0282 | -17.0641 | -6.3853 | 129.9824 | 163.1222 | 173.8557 |  | 0.5913 | 1.1271 | 0.85226 | 0.36021 | 1.1539 | 1.0105 | -25.08 | -112.7122 | 123.2271 | -26.3842 | -122.4574 | 129.9165

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.313 | 0.70617 | 0.6088 | 1.3114 | 0.70784 | 0.61044 | 15.1615 | 8.1542 | 7.0298 | 15.1424 | 8.1734 | 7.0488 | 6.0801 | -4.7229 | 7.3724 | -4.3616 | 5.2383 | -7.017 | 4.2963 | 8.1203 | 1.4347 | -3.2752 | -7.8432 | -1.2223 | -63.2953 | 113.812 | 120.0607 | 116.7123 | -66.1953 | -59.9647 |  | 0.49104 | 1.152 | 1.0684 | 0.36021 | 1.1539 | 1.0105 | -28.0493 | -126.0052 | 131.0733 | -26.3842 | -122.4574 | 129.9165
Line_1 | 1.8582 | 0.57952 | 0.51045 | 1.8602 | 0.57746 | 0.50837 | 21.457 | 6.6918 | 5.8941 | 21.4797 | 6.668 | 5.8702 | -4.2069e-11 | 5.9248 | -5.3449 | 6.493 | -6.1276 | 5.0407 | 5.2321e-12 | -5.4961 | -3.8539 | 4.2079 | 4.6538 | 3.1267 | 120.6909 | -85.2172 | -81.8804 | -59.3301 | 94.7585 | 98.1055 |  | 0 | 1.2077 | 1.118 | 0.36021 | 1.1539 | 1.0105 | 0 | -128.0675 | 133.9126 | -26.3842 | -122.4574 | 129.9165
Line_2 | 0.56065 | 0.24955 | 0.23611 | 0.55933 | 0.2485 | 0.23522 | 6.4739 | 2.8816 | 2.7263 | 6.4586 | 2.8694 | 2.7161 | 3.4708 | -0.31963 | -1.4815 | -2.1313 | 0.88929 | 1.9763 | 1.6146 | -3.2319 | 1.79 | -0.93264 | 3.1895 | -1.9044 | -50.0282 | -17.0641 | -6.3853 | 129.9824 | 163.1222 | 173.8557 |  | 0.5913 | 1.1271 | 0.85226 | 0.36021 | 1.1539 | 1.0105 | -25.08 | -112.7122 | 123.2271 | -26.3842 | -122.4574 | 129.9165

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48264 | 0.25957 | 0.22378 | 0.48203 | 0.26019 | 0.22439 | 5.5731 | 2.9973 | 2.584 | 5.566 | 3.0044 | 2.591 | 3.6395 | -1.0501 | 2.5365 | -3.404 | 1.121 | -2.4929 | 2.8835 | 3.0106 | -0.49511 | -2.7423 | -2.9777 | 0.52499 | -47.8692 | 129.238 | 135.4867 | 132.1383 | -50.7692 | -44.5386 |  | 0.83317 | 1.0638 | 1.0001 | 0.78534 | 1.059 | 0.98326 | -9.4795 | -121.533 | 124.4417 | -9.0066 | -120.1397 | 123.5691
Line_1 | 0.68305 | 0.21302 | 0.18763 | 0.68377 | 0.21226 | 0.18687 | 7.8872 | 2.4598 | 2.1666 | 7.8955 | 2.451 | 2.1578 | -4.205 | 1.6321 | -2.136 | 5.0856 | -1.6572 | 2.0892 | -2.9742 | -2.1168 | -0.46748 | 3.5474 | 1.9978 | 0.36979 | 136.1169 | -69.7912 | -66.4544 | -43.904 | 110.1845 | 113.5316 |  | 0.65302 | 1.0867 | 1.0092 | 0.78534 | 1.059 | 0.98326 | -8.611 | -122.1579 | 125.8906 | -9.0066 | -120.1397 | 123.5691
Line_2 | 0.20608 | 0.09173 | 0.086788 | 0.2056 | 0.091342 | 0.086462 | 2.3797 | 1.0592 | 1.0021 | 2.374 | 1.0547 | 0.99838 | 1.8658 | -0.45919 | -0.34012 | -1.6816 | 0.53619 | 0.40377 | 0.89917 | -0.98928 | 0.88113 | -0.80515 | 0.97986 | -0.89478 | -34.6022 | -1.6381 | 9.0407 | 145.4084 | 178.5482 | -170.7183 |  | 0.87035 | 1.0297 | 0.94248 | 0.78534 | 1.059 | 0.98326 | -8.8714 | -116.5373 | 120.1473 | -9.0066 | -120.1397 | 123.5691

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48264 | 0.25957 | 0.22378 | 0.48203 | 0.26019 | 0.22439 | 5.5731 | 2.9973 | 2.584 | 5.566 | 3.0044 | 2.591 | 3.6395 | -1.0501 | 2.5365 | -3.404 | 1.121 | -2.4929 | 2.8835 | 3.0106 | -0.49511 | -2.7423 | -2.9777 | 0.52499 | -47.8692 | 129.238 | 135.4867 | 132.1383 | -50.7692 | -44.5386 |  | 0.83317 | 1.0638 | 1.0001 | 0.78534 | 1.059 | 0.98326 | -9.4795 | -121.533 | 124.4417 | -9.0066 | -120.1397 | 123.5691
Line_1 | 0.68305 | 0.21302 | 0.18763 | 0.68377 | 0.21226 | 0.18687 | 7.8872 | 2.4598 | 2.1666 | 7.8955 | 2.451 | 2.1578 | -4.205 | 1.6321 | -2.136 | 5.0856 | -1.6572 | 2.0892 | -2.9742 | -2.1168 | -0.46748 | 3.5474 | 1.9978 | 0.36979 | 136.1169 | -69.7912 | -66.4544 | -43.904 | 110.1845 | 113.5316 |  | 0.65302 | 1.0867 | 1.0092 | 0.78534 | 1.059 | 0.98326 | -8.611 | -122.1579 | 125.8906 | -9.0066 | -120.1397 | 123.5691
Line_2 | 0.20608 | 0.09173 | 0.086788 | 0.2056 | 0.091342 | 0.086462 | 2.3797 | 1.0592 | 1.0021 | 2.374 | 1.0547 | 0.99838 | 1.8658 | -0.45919 | -0.34012 | -1.6816 | 0.53619 | 0.40377 | 0.89917 | -0.98928 | 0.88113 | -0.80515 | 0.97986 | -0.89478 | -34.6022 | -1.6381 | 9.0407 | 145.4084 | 178.5482 | -170.7183 |  | 0.87035 | 1.0297 | 0.94248 | 0.78534 | 1.059 | 0.98326 | -8.8714 | -116.5373 | 120.1473 | -9.0066 | -120.1397 | 123.5691

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41247 | 2.8026 | 2.9518 | 0.41426 | 2.8026 | 2.9515 | 4.7628 | 32.362 | 34.0843 | 4.7835 | 32.3621 | 34.0813 | -0.72223 | 12.2531 | 7.3311 | 0.80678 | -8.174 | -2.791 | 6.5673 | 6.9023 | 15.3359 | -6.4952 | -2.2529 | -10.2068 | -91.8992 | -164.5834 | 23.0829 | 88.1771 | 15.455 | -156.9531 |  | 1.3872 | 0.43457 | 0.49871 | 1.3683 | 0.262 | 0.31048 | 4.3766 | -135.1901 | 87.5335 | 5.2577 | -149.136 | 97.7533
Line_1 | 0.35273 | 3.6367 | 3.5282 | 0.35088 | 3.6367 | 3.529 | 4.073 | 41.9925 | 40.7398 | 4.0517 | 41.9928 | 40.749 | 2.3356 | 8.5122e-11 | 1.0496e-10 | -2.4216 | 10.1138 | 4.885 | -5.3831 | -7.1272e-11 | -6.2698e-12 | 4.9869 | 4.3305 | 11.6706 | 69.5233 | 7.7179 | -149.5657 | -110.6432 | -172.3154 | 30.4661 |  | 1.4407 | 0 | 0 | 1.3683 | 0.262 | 0.31048 | 2.9779 | 0 | 0 | 5.2577 | -149.136 | 97.7533
Line_2 | 0.14133 | 0.94065 | 0.71367 | 0.13986 | 0.93958 | 0.71263 | 1.6319 | 10.8617 | 8.2408 | 1.6149 | 10.8493 | 8.2287 | -1.4268 | 3.537 | 2.5667 | 1.6148 | -1.9399 | -2.0939 | -1.526 | 2.1138 | 2.6806 | 1.5083 | -2.0776 | -1.4638 | 141.8922 | 163.8227 | 62.9018 | -37.7887 | -16.0996 | -117.2027 |  | 1.2802 | 0.37936 | 0.45036 | 1.3683 | 0.262 | 0.31048 | 8.8165 | -165.3138 | 109.1453 | 5.2577 | -149.136 | 97.7533

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.41247 | 2.8026 | 2.9518 | 0.41426 | 2.8026 | 2.9515 | 4.7628 | 32.362 | 34.0843 | 4.7835 | 32.3621 | 34.0813 | -0.72223 | 12.2531 | 7.3311 | 0.80678 | -8.174 | -2.791 | 6.5673 | 6.9023 | 15.3359 | -6.4952 | -2.2529 | -10.2068 | -91.8992 | -164.5834 | 23.0829 | 88.1771 | 15.455 | -156.9531 |  | 1.3872 | 0.43457 | 0.49871 | 1.3683 | 0.262 | 0.31048 | 4.3766 | -135.1901 | 87.5335 | 5.2577 | -149.136 | 97.7533
Line_1 | 0.35273 | 3.6367 | 3.5282 | 0.35088 | 3.6367 | 3.529 | 4.073 | 41.9925 | 40.7398 | 4.0517 | 41.9928 | 40.749 | 2.3356 | 8.5122e-11 | 1.0496e-10 | -2.4216 | 10.1138 | 4.885 | -5.3831 | -7.1272e-11 | -6.2698e-12 | 4.9869 | 4.3305 | 11.6706 | 69.5233 | 7.7179 | -149.5657 | -110.6432 | -172.3154 | 30.4661 |  | 1.4407 | 0 | 0 | 1.3683 | 0.262 | 0.31048 | 2.9779 | 0 | 0 | 5.2577 | -149.136 | 97.7533
Line_2 | 0.14133 | 0.94065 | 0.71367 | 0.13986 | 0.93958 | 0.71263 | 1.6319 | 10.8617 | 8.2408 | 1.6149 | 10.8493 | 8.2287 | -1.4268 | 3.537 | 2.5667 | 1.6148 | -1.9399 | -2.0939 | -1.526 | 2.1138 | 2.6806 | 1.5083 | -2.0776 | -1.4638 | 141.8922 | 163.8227 | 62.9018 | -37.7887 | -16.0996 | -117.2027 |  | 1.2802 | 0.37936 | 0.45036 | 1.3683 | 0.262 | 0.31048 | 8.8165 | -165.3138 | 109.1453 | 5.2577 | -149.136 | 97.7533

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.056874 | 0.70074 | 0.6675 | 0.057376 | 0.70088 | 0.6673 | 0.65673 | 8.0914 | 7.7076 | 0.66252 | 8.0931 | 7.7053 | 0.79046 | 7.2944 | 3.7178 | -0.79402 | -7.042 | -3.4779 | 0.1612 | 1.5335 | 6.7272 | -0.16864 | -1.2355 | -6.4672 | -8.1528 | -135.8265 | 48.0405 | 171.2776 | 44.2343 | -132.0224 |  | 1.2284 | 0.9212 | 0.99722 | 1.2252 | 0.88342 | 0.95299 | 3.3739 | -123.954 | 109.1128 | 3.2684 | -125.8142 | 109.7073
Line_1 | 0.068141 | 0.98404 | 0.93449 | 0.067414 | 0.98405 | 0.93492 | 0.78682 | 11.3628 | 10.7905 | 0.77843 | 11.3628 | 10.7956 | 0.13791 | -7.9725 | -5.8756 | -0.15019 | 8.8249 | 6.2405 | -0.98486 | -4.5868 | -7.181 | 0.94185 | 4.7837 | 8.1792 | 84.5889 | 25.7749 | -122.995 | -95.792 | -154.2748 | 57.05 |  | 1.2639 | 0.80947 | 0.85987 | 1.2252 | 0.88342 | 0.95299 | 2.5605 | -124.3122 | 107.7146 | 3.2684 | -125.8142 | 109.7073
Line_2 | 0.086257 | 0.3898 | 0.29575 | 0.086263 | 0.38928 | 0.29535 | 0.99601 | 4.501 | 3.415 | 0.99608 | 4.495 | 3.4104 | -0.92604 | 2.0632 | 2.8416 | 0.94422 | -1.783 | -2.7626 | 0.7289 | 3.5996 | 1.9161 | -0.77321 | -3.5482 | -1.712 | -137.8661 | 170.803 | 78.0264 | 42.582 | -9.1346 | -102.0793 |  | 1.1832 | 0.92178 | 1.0036 | 1.2252 | 0.88342 | 0.95299 | 3.9271 | -129.0177 | 112.0184 | 3.2684 | -125.8142 | 109.7073

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.056874 | 0.70074 | 0.6675 | 0.057376 | 0.70088 | 0.6673 | 0.65673 | 8.0914 | 7.7076 | 0.66252 | 8.0931 | 7.7053 | 0.79046 | 7.2944 | 3.7178 | -0.79402 | -7.042 | -3.4779 | 0.1612 | 1.5335 | 6.7272 | -0.16864 | -1.2355 | -6.4672 | -8.1528 | -135.8265 | 48.0405 | 171.2776 | 44.2343 | -132.0224 |  | 1.2284 | 0.9212 | 0.99722 | 1.2252 | 0.88342 | 0.95299 | 3.3739 | -123.954 | 109.1128 | 3.2684 | -125.8142 | 109.7073
Line_1 | 0.068141 | 0.98404 | 0.93449 | 0.067414 | 0.98405 | 0.93492 | 0.78682 | 11.3628 | 10.7905 | 0.77843 | 11.3628 | 10.7956 | 0.13791 | -7.9725 | -5.8756 | -0.15019 | 8.8249 | 6.2405 | -0.98486 | -4.5868 | -7.181 | 0.94185 | 4.7837 | 8.1792 | 84.5889 | 25.7749 | -122.995 | -95.792 | -154.2748 | 57.05 |  | 1.2639 | 0.80947 | 0.85987 | 1.2252 | 0.88342 | 0.95299 | 2.5605 | -124.3122 | 107.7146 | 3.2684 | -125.8142 | 109.7073
Line_2 | 0.086257 | 0.3898 | 0.29575 | 0.086263 | 0.38928 | 0.29535 | 0.99601 | 4.501 | 3.415 | 0.99608 | 4.495 | 3.4104 | -0.92604 | 2.0632 | 2.8416 | 0.94422 | -1.783 | -2.7626 | 0.7289 | 3.5996 | 1.9161 | -0.77321 | -3.5482 | -1.712 | -137.8661 | 170.803 | 78.0264 | 42.582 | -9.1346 | -102.0793 |  | 1.1832 | 0.92178 | 1.0036 | 1.2252 | 0.88342 | 0.95299 | 3.9271 | -129.0177 | 112.0184 | 3.2684 | -125.8142 | 109.7073

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48077 | 2.2133 | 2.3896 | 0.48211 | 2.2135 | 2.3892 | 5.5515 | 25.5568 | 27.5925 | 5.5669 | 25.5587 | 27.5876 | 0.7644 | 13.7961 | 10.19 | -0.53564 | -8.907 | -4.4853 | 6.3985 | 3.1186 | 11.2065 | -6.2785 | -0.21223 | -7.8502 | -79.3449 | -153.5215 | 37.6398 | 100.6802 | 26.5133 | -142.3911 |  | 1.1608 | 0.55344 | 0.54894 | 1.1319 | 0.34859 | 0.32773 | 3.8426 | -140.7838 | 85.3597 | 5.8039 | -152.1218 | 97.8668
Line_1 | 0.42436 | 2.8519 | 2.7649 | 0.42275 | 2.8516 | 2.7658 | 4.9001 | 32.9312 | 31.9263 | 4.8815 | 32.9278 | 31.9365 | 1.1246 | -1.0075e-10 | -4.0538e-11 | -1.1681 | 11.3812 | 5.8767 | -5.972 | -6.3601e-11 | -1.0943e-10 | 5.4006 | 1.4902 | 8.6609 | 83.6652 | 20.4519 | -138.0049 | -96.4007 | -159.5814 | 42.0249 |  | 1.2402 | 0 | 0 | 1.1319 | 0.34859 | 0.32773 | 4.3297 | 0 | 0 | 5.8039 | -152.1218 | 97.8668
Line_2 | 0.14754 | 0.69243 | 0.42612 | 0.14664 | 0.69183 | 0.42553 | 1.7036 | 7.9955 | 4.9205 | 1.6933 | 7.9886 | 4.9136 | -1.4469 | 3.9772 | 1.6142 | 1.7037 | -2.4742 | -1.3914 | -0.89292 | 1.0696 | 1.615 | 0.87795 | -1.278 | -0.81072 | 158.3061 | -179.5137 | 67.76 | -21.4584 | 0.56055 | -112.3614 |  | 0.99802 | 0.51511 | 0.46406 | 1.1319 | 0.34859 | 0.32773 | 9.9861 | -164.4609 | 112.7749 | 5.8039 | -152.1218 | 97.8668

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48077 | 2.2133 | 2.3896 | 0.48211 | 2.2135 | 2.3892 | 5.5515 | 25.5568 | 27.5925 | 5.5669 | 25.5587 | 27.5876 | 0.7644 | 13.7961 | 10.19 | -0.53564 | -8.907 | -4.4853 | 6.3985 | 3.1186 | 11.2065 | -6.2785 | -0.21223 | -7.8502 | -79.3449 | -153.5215 | 37.6398 | 100.6802 | 26.5133 | -142.3911 |  | 1.1608 | 0.55344 | 0.54894 | 1.1319 | 0.34859 | 0.32773 | 3.8426 | -140.7838 | 85.3597 | 5.8039 | -152.1218 | 97.8668
Line_1 | 0.42436 | 2.8519 | 2.7649 | 0.42275 | 2.8516 | 2.7658 | 4.9001 | 32.9312 | 31.9263 | 4.8815 | 32.9278 | 31.9365 | 1.1246 | -1.0075e-10 | -4.0538e-11 | -1.1681 | 11.3812 | 5.8767 | -5.972 | -6.3601e-11 | -1.0943e-10 | 5.4006 | 1.4902 | 8.6609 | 83.6652 | 20.4519 | -138.0049 | -96.4007 | -159.5814 | 42.0249 |  | 1.2402 | 0 | 0 | 1.1319 | 0.34859 | 0.32773 | 4.3297 | 0 | 0 | 5.8039 | -152.1218 | 97.8668
Line_2 | 0.14754 | 0.69243 | 0.42612 | 0.14664 | 0.69183 | 0.42553 | 1.7036 | 7.9955 | 4.9205 | 1.6933 | 7.9886 | 4.9136 | -1.4469 | 3.9772 | 1.6142 | 1.7037 | -2.4742 | -1.3914 | -0.89292 | 1.0696 | 1.615 | 0.87795 | -1.278 | -0.81072 | 158.3061 | -179.5137 | 67.76 | -21.4584 | 0.56055 | -112.3614 |  | 0.99802 | 0.51511 | 0.46406 | 1.1319 | 0.34859 | 0.32773 | 9.9861 | -164.4609 | 112.7749 | 5.8039 | -152.1218 | 97.8668

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20487 | 0.65968 | 0.7117 | 0.20544 | 0.6597 | 0.71152 | 2.3656 | 7.6173 | 8.218 | 2.3722 | 7.6175 | 8.2159 | 1.1588 | 6.0499 | 4.0284 | -1.12 | -5.6174 | -3.5177 | 2.2174 | 2.048 | 6.0453 | -2.1983 | -1.7851 | -5.7491 | -59.9875 | -143.7487 | 52.8792 | 120.0241 | 36.3006 | -127.1641 |  | 1.0576 | 0.83851 | 0.88398 | 1.0401 | 0.77377 | 0.82034 | 2.4201 | -125.0467 | 109.2009 | 3.025 | -126.0696 | 111.3752
Line_1 | 0.17825 | 0.87675 | 0.81876 | 0.17756 | 0.8767 | 0.81916 | 2.0582 | 10.1238 | 9.4542 | 2.0503 | 10.1232 | 9.4588 | -0.33892 | -5.8796 | -4.3126 | 0.32156 | 7.1058 | 4.7968 | -2.2098 | -3.2177 | -5.1791 | 2.108 | 3.2961 | 6.0992 | 101.7504 | 29.0919 | -120.4818 | -78.3018 | -150.9541 | 59.5589 |  | 1.0862 | 0.66205 | 0.71287 | 1.0401 | 0.77377 | 0.82034 | 3.031 | -122.2174 | 109.7342 | 3.025 | -126.0696 | 111.3752
Line_2 | 0.067269 | 0.23767 | 0.14033 | 0.066911 | 0.23738 | 0.14 | 0.77676 | 2.7444 | 1.6204 | 0.77262 | 2.741 | 1.6166 | -0.75197 | 1.6988 | 1.3307 | 0.79848 | -1.4884 | -1.2791 | -0.097084 | 1.4946 | 0.45202 | 0.090272 | -1.5109 | -0.35008 | 176.34 | -171.582 | 96.1945 | -3.4252 | 8.5009 | -83.9311 |  | 0.97611 | 0.82448 | 0.86729 | 1.0401 | 0.77377 | 0.82034 | 3.6966 | -130.2413 | 114.9563 | 3.025 | -126.0696 | 111.3752

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20487 | 0.65968 | 0.7117 | 0.20544 | 0.6597 | 0.71152 | 2.3656 | 7.6173 | 8.218 | 2.3722 | 7.6175 | 8.2159 | 1.1588 | 6.0499 | 4.0284 | -1.12 | -5.6174 | -3.5177 | 2.2174 | 2.048 | 6.0453 | -2.1983 | -1.7851 | -5.7491 | -59.9875 | -143.7487 | 52.8792 | 120.0241 | 36.3006 | -127.1641 |  | 1.0576 | 0.83851 | 0.88398 | 1.0401 | 0.77377 | 0.82034 | 2.4201 | -125.0467 | 109.2009 | 3.025 | -126.0696 | 111.3752
Line_1 | 0.17825 | 0.87675 | 0.81876 | 0.17756 | 0.8767 | 0.81916 | 2.0582 | 10.1238 | 9.4542 | 2.0503 | 10.1232 | 9.4588 | -0.33892 | -5.8796 | -4.3126 | 0.32156 | 7.1058 | 4.7968 | -2.2098 | -3.2177 | -5.1791 | 2.108 | 3.2961 | 6.0992 | 101.7504 | 29.0919 | -120.4818 | -78.3018 | -150.9541 | 59.5589 |  | 1.0862 | 0.66205 | 0.71287 | 1.0401 | 0.77377 | 0.82034 | 3.031 | -122.2174 | 109.7342 | 3.025 | -126.0696 | 111.3752
Line_2 | 0.067269 | 0.23767 | 0.14033 | 0.066911 | 0.23738 | 0.14 | 0.77676 | 2.7444 | 1.6204 | 0.77262 | 2.741 | 1.6166 | -0.75197 | 1.6988 | 1.3307 | 0.79848 | -1.4884 | -1.2791 | -0.097084 | 1.4946 | 0.45202 | 0.090272 | -1.5109 | -0.35008 | 176.34 | -171.582 | 96.1945 | -3.4252 | 8.5009 | -83.9311 |  | 0.97611 | 0.82448 | 0.86729 | 1.0401 | 0.77377 | 0.82034 | 3.6966 | -130.2413 | 114.9563 | 3.025 | -126.0696 | 111.3752