## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6882e-14 | 5.1672e-15 | -6.6078e-15 | -1.1127e-14 | 1.6498e-14 | -7.08e-15 | -3.8261e-16 | -8.8317e-15 | 1.6924e-14 | -5.8824e-15 | 1.6865e-16 | -8.7655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6882e-14 | 5.1672e-15 | -6.6078e-15 | -1.1127e-14 | 1.6498e-14 | -7.08e-15 | -3.8261e-16 | -8.8317e-15 | 1.6924e-14 | -5.8824e-15 | 1.6865e-16 | -8.7655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3863e-15 | 0 | 3.9523e-15 | -2.765e-15 | 6.186e-15 | -1.9215e-15 | 2.7631e-15 | 0 | 1.0535e-15 | -3.8159e-18 | -9.9884e-16 | 3.472e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.3863e-15 | 0 | 3.9523e-15 | -2.765e-15 | 6.186e-15 | -1.9215e-15 | 2.7631e-15 | 0 | 1.0535e-15 | -3.8159e-18 | -9.9884e-16 | 3.472e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.611e-15 | 7.7903e-16 | -8.4844e-16 | -5.0292e-15 | 1.5581e-15 | 2.8925e-15 | -4.7399e-15 | 3.3178e-15 | 4.252e-15 | 4.6435e-15 | 6.6355e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.611e-15 | 7.7903e-16 | -8.4844e-16 | -5.0292e-15 | 1.5581e-15 | 2.8925e-15 | -4.7399e-15 | 3.3178e-15 | 4.252e-15 | 4.6435e-15 | 6.6355e-15 | 3.2299e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0768e-15 | -4.6434e-15 | -1.1534e-15 | -7.8056e-16 | 3.8881e-15 | 1.5605e-15 | -2.3521e-15 | -1.5106e-15 | -4.9876e-15 | 2.3571e-15 | 3.8323e-15 | 4.2412e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0768e-15 | -4.6434e-15 | -1.1534e-15 | -7.8056e-16 | 3.8881e-15 | 1.5605e-15 | -2.3521e-15 | -1.5106e-15 | -4.9876e-15 | 2.3571e-15 | 3.8323e-15 | 4.2412e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7805 | 0.61848 | 0.67896 | 1.7831 | 0.6214 | 0.68088 | 20.5595 | 7.1416 | 7.8399 | 20.5889 | 7.1753 | 7.8622 | 8.6886e-11 | -4.1324 | 13.1302 | 7.3349 | 6.0601 | -10.6761 | -8.8588e-11 | 8.3828 | -0.68557 | 3.4798 | -7.0281 | 0.82366 | 116.1478 | 97.543 | 134.4148 | -63.9032 | -82.5208 | -45.7793 |  | 0 | 1.3087 | 1.6771 | 0.39432 | 1.2933 | 1.3619 | 0 | -146.2152 | 131.4259 | -38.5227 | -131.7503 | 129.8091
Line_1 | 0.8936 | 0.31279 | 0.34229 | 0.89153 | 0.3107 | 0.34044 | 10.3184 | 3.6117 | 3.9524 | 10.2945 | 3.5877 | 3.9311 | 5.5191 | 3.5274 | -4.7392 | -3.6675 | -3.0301 | 5.3381 | 2.6186 | -3.1904 | 0.44476 | -1.7399 | 3.514 | -0.41183 | -63.9283 | -82.4677 | -45.9494 | 116.0968 | 97.4792 | 134.2207 |  | 0.59204 | 1.3169 | 1.2043 | 0.39432 | 1.2933 | 1.3619 | -38.546 | -124.5952 | 128.6893 | -38.5227 | -131.7503 | 129.8091
Line_2 | 0.8936 | 0.31279 | 0.34229 | 0.89153 | 0.3107 | 0.34044 | 10.3184 | 3.6117 | 3.9524 | 10.2945 | 3.5877 | 3.9311 | 5.5191 | 3.5274 | -4.7392 | -3.6675 | -3.0301 | 5.3381 | 2.6186 | -3.1904 | 0.44476 | -1.7399 | 3.514 | -0.41183 | -63.9283 | -82.4677 | -45.9494 | 116.0968 | 97.4792 | 134.2207 |  | 0.59204 | 1.3169 | 1.2043 | 0.39432 | 1.2933 | 1.3619 | -38.546 | -124.5952 | 128.6893 | -38.5227 | -131.7503 | 129.8091
Line_3 | 0.00095477 | 0.00095477 | 0.00095477 | 0.00095477 | 0.00095477 | 0.00095477 | 0.011025 | 0.011025 | 0.011025 | 0.011025 | 0.011025 | 0.011025 | 0.0059084 | 0.0070604 | -0.012969 | 0.0059084 | 0.0070604 | -0.012969 | 0.0027737 | -0.012686 | -0.0028474 | 0.0027737 | -0.012686 | -0.0028474 | -63.694 | -63.694 | -63.694 | -63.694 | -63.694 | -63.694 |  | 0.59204 | 1.3169 | 1.2043 | 0.59204 | 1.3169 | 1.2043 | -38.546 | -124.5952 | 128.6893 | -38.546 | -124.5952 | 128.6893

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7805 | 0.61848 | 0.67896 | 1.7831 | 0.6214 | 0.68088 | 20.5595 | 7.1416 | 7.8399 | 20.5889 | 7.1753 | 7.8622 | 8.6886e-11 | -4.1324 | 13.1302 | 7.3349 | 6.0601 | -10.6761 | -8.8588e-11 | 8.3828 | -0.68557 | 3.4798 | -7.0281 | 0.82366 | 116.1478 | 97.543 | 134.4148 | -63.9032 | -82.5208 | -45.7793 |  | 0 | 1.3087 | 1.6771 | 0.39432 | 1.2933 | 1.3619 | 0 | -146.2152 | 131.4259 | -38.5227 | -131.7503 | 129.8091
Line_1 | 0.8936 | 0.31279 | 0.34229 | 0.89153 | 0.3107 | 0.34044 | 10.3184 | 3.6117 | 3.9524 | 10.2945 | 3.5877 | 3.9311 | 5.5191 | 3.5274 | -4.7392 | -3.6675 | -3.0301 | 5.3381 | 2.6186 | -3.1904 | 0.44476 | -1.7399 | 3.514 | -0.41183 | -63.9283 | -82.4677 | -45.9494 | 116.0968 | 97.4792 | 134.2207 |  | 0.59204 | 1.3169 | 1.2043 | 0.39432 | 1.2933 | 1.3619 | -38.546 | -124.5952 | 128.6893 | -38.5227 | -131.7503 | 129.8091
Line_2 | 0.8936 | 0.31279 | 0.34229 | 0.89153 | 0.3107 | 0.34044 | 10.3184 | 3.6117 | 3.9524 | 10.2945 | 3.5877 | 3.9311 | 5.5191 | 3.5274 | -4.7392 | -3.6675 | -3.0301 | 5.3381 | 2.6186 | -3.1904 | 0.44476 | -1.7399 | 3.514 | -0.41183 | -63.9283 | -82.4677 | -45.9494 | 116.0968 | 97.4792 | 134.2207 |  | 0.59204 | 1.3169 | 1.2043 | 0.39432 | 1.2933 | 1.3619 | -38.546 | -124.5952 | 128.6893 | -38.5227 | -131.7503 | 129.8091
Line_3 | 0.00095477 | 0.00095477 | 0.00095477 | 0.00095477 | 0.00095477 | 0.00095477 | 0.011025 | 0.011025 | 0.011025 | 0.011025 | 0.011025 | 0.011025 | 0.0059084 | 0.0070604 | -0.012969 | 0.0059084 | 0.0070604 | -0.012969 | 0.0027737 | -0.012686 | -0.0028474 | 0.0027737 | -0.012686 | -0.0028474 | -63.694 | -63.694 | -63.694 | -63.694 | -63.694 | -63.694 |  | 0.59204 | 1.3169 | 1.2043 | 0.59204 | 1.3169 | 1.2043 | -38.546 | -124.5952 | 128.6893 | -38.546 | -124.5952 | 128.6893

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69031 | 0.11895 | 0.32862 | 0.69117 | 0.11958 | 0.32884 | 7.971 | 1.3735 | 3.7946 | 7.981 | 1.3808 | 3.7971 | -3.6055 | -1.655 | 3.3057 | 4.5002 | 1.6616 | -2.9661 | -5.2886 | -0.081638 | -3.5812 | 5.8793 | 0.20355 | 3.4733 | 118.9605 | 48.8833 | 173.2381 | -61.0693 | -130.7876 | -6.9203 |  | 0.803 | 1.2064 | 1.2844 | 0.92769 | 1.2123 | 1.2029 | -5.3236 | -128.2926 | 125.9473 | -8.5009 | -123.8032 | 123.5763
Line_1 | 0.34624 | 0.060037 | 0.16479 | 0.34559 | 0.059791 | 0.16442 | 3.998 | 0.69324 | 1.9028 | 3.9905 | 0.6904 | 1.8985 | 2.4786 | 0.83488 | -1.4036 | -2.2501 | -0.83078 | 1.4831 | 3.0913 | 0.12678 | 1.7104 | -2.9396 | -0.10178 | -1.7367 | -61.0721 | -130.2076 | -7.1082 | 118.9307 | 49.2124 | 173.0797 |  | 0.99105 | 1.2181 | 1.1628 | 0.92769 | 1.2123 | 1.2029 | -9.7948 | -121.5733 | 122.266 | -8.5009 | -123.8032 | 123.5763
Line_2 | 0.34624 | 0.060037 | 0.16479 | 0.34559 | 0.059791 | 0.16442 | 3.998 | 0.69324 | 1.9028 | 3.9905 | 0.6904 | 1.8985 | 2.4786 | 0.83488 | -1.4036 | -2.2501 | -0.83078 | 1.4831 | 3.0913 | 0.12678 | 1.7104 | -2.9396 | -0.10178 | -1.7367 | -61.0721 | -130.2076 | -7.1082 | 118.9307 | 49.2124 | 173.0797 |  | 0.99105 | 1.2181 | 1.1628 | 0.92769 | 1.2123 | 1.2029 | -9.7948 | -121.5733 | 122.266 | -8.5009 | -123.8032 | 123.5763
Line_3 | 0.00029664 | 0.00029664 | 0.00029664 | 0.00029664 | 0.00029664 | 0.00029664 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0025287 | 0.0014318 | -0.0039605 | 0.0025287 | 0.0014318 | -0.0039605 | 0.0022648 | -0.0039191 | 0.00042267 | 0.0022648 | -0.0039191 | 0.00042267 | -51.6425 | -51.6425 | -51.6425 | -51.6425 | -51.6425 | -51.6425 |  | 0.99105 | 1.2181 | 1.1628 | 0.99105 | 1.2181 | 1.1628 | -9.7948 | -121.5733 | 122.266 | -9.7948 | -121.5733 | 122.266

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.69031 | 0.11895 | 0.32862 | 0.69117 | 0.11958 | 0.32884 | 7.971 | 1.3735 | 3.7946 | 7.981 | 1.3808 | 3.7971 | -3.6055 | -1.655 | 3.3057 | 4.5002 | 1.6616 | -2.9661 | -5.2886 | -0.081638 | -3.5812 | 5.8793 | 0.20355 | 3.4733 | 118.9605 | 48.8833 | 173.2381 | -61.0693 | -130.7876 | -6.9203 |  | 0.803 | 1.2064 | 1.2844 | 0.92769 | 1.2123 | 1.2029 | -5.3236 | -128.2926 | 125.9473 | -8.5009 | -123.8032 | 123.5763
Line_1 | 0.34624 | 0.060037 | 0.16479 | 0.34559 | 0.059791 | 0.16442 | 3.998 | 0.69324 | 1.9028 | 3.9905 | 0.6904 | 1.8985 | 2.4786 | 0.83488 | -1.4036 | -2.2501 | -0.83078 | 1.4831 | 3.0913 | 0.12678 | 1.7104 | -2.9396 | -0.10178 | -1.7367 | -61.0721 | -130.2076 | -7.1082 | 118.9307 | 49.2124 | 173.0797 |  | 0.99105 | 1.2181 | 1.1628 | 0.92769 | 1.2123 | 1.2029 | -9.7948 | -121.5733 | 122.266 | -8.5009 | -123.8032 | 123.5763
Line_2 | 0.34624 | 0.060037 | 0.16479 | 0.34559 | 0.059791 | 0.16442 | 3.998 | 0.69324 | 1.9028 | 3.9905 | 0.6904 | 1.8985 | 2.4786 | 0.83488 | -1.4036 | -2.2501 | -0.83078 | 1.4831 | 3.0913 | 0.12678 | 1.7104 | -2.9396 | -0.10178 | -1.7367 | -61.0721 | -130.2076 | -7.1082 | 118.9307 | 49.2124 | 173.0797 |  | 0.99105 | 1.2181 | 1.1628 | 0.92769 | 1.2123 | 1.2029 | -9.7948 | -121.5733 | 122.266 | -8.5009 | -123.8032 | 123.5763
Line_3 | 0.00029664 | 0.00029664 | 0.00029664 | 0.00029664 | 0.00029664 | 0.00029664 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0034253 | 0.0025287 | 0.0014318 | -0.0039605 | 0.0025287 | 0.0014318 | -0.0039605 | 0.0022648 | -0.0039191 | 0.00042267 | 0.0022648 | -0.0039191 | 0.00042267 | -51.6425 | -51.6425 | -51.6425 | -51.6425 | -51.6425 | -51.6425 |  | 0.99105 | 1.2181 | 1.1628 | 0.99105 | 1.2181 | 1.1628 | -9.7948 | -121.5733 | 122.266 | -9.7948 | -121.5733 | 122.266

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1463 | 0.49524 | 0.40897 | 1.1478 | 0.49698 | 0.41065 | 13.2359 | 5.7185 | 4.7224 | 13.2535 | 5.7387 | 4.7418 | -3.1879e-11 | 1.4431 | 7.402 | 6.1218 | 0.87046 | -5.5628 | 6.6514e-12 | 6.6911 | 0.012767 | 1.2709 | -6.1347 | 0.3581 | 136.9968 | 130.8413 | 132.7658 | -43.1107 | -49.3867 | -47.5181 |  | 0 | 1.197 | 1.5674 | 0.47175 | 1.0797 | 1.1756 | 0 | -151.3299 | 132.8646 | -31.3825 | -131.3108 | 128.7986
Line_1 | 0.57516 | 0.24981 | 0.20663 | 0.57389 | 0.24849 | 0.20533 | 6.6413 | 2.8846 | 2.386 | 6.6267 | 2.8693 | 2.3709 | 4.6054 | 1.0209 | -2.3276 | -3.0609 | -0.43523 | 2.7814 | 0.95739 | -2.9355 | 0.27662 | -0.63546 | 3.0673 | -0.17905 | -43.1681 | -49.4865 | -47.6506 | 136.8893 | 130.6133 | 132.4819 |  | 0.70827 | 1.0774 | 0.98241 | 0.47175 | 1.0797 | 1.1756 | -31.4245 | -120.3101 | 125.572 | -31.3825 | -131.3108 | 128.7986
Line_2 | 0.57516 | 0.24981 | 0.20663 | 0.57389 | 0.24849 | 0.20533 | 6.6413 | 2.8846 | 2.386 | 6.6267 | 2.8693 | 2.3709 | 4.6054 | 1.0209 | -2.3276 | -3.0609 | -0.43523 | 2.7814 | 0.95739 | -2.9355 | 0.27662 | -0.63546 | 3.0673 | -0.17905 | -43.1681 | -49.4865 | -47.6506 | 136.8893 | 130.6133 | 132.4819 |  | 0.70827 | 1.0774 | 0.98241 | 0.47175 | 1.0797 | 1.1756 | -31.4245 | -120.3101 | 125.572 | -31.3825 | -131.3108 | 128.7986
Line_3 | 0.00058993 | 0.00058993 | 0.00058993 | 0.00058993 | 0.00058993 | 0.00058993 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0046779 | 0.0019349 | -0.0066128 | 0.0046779 | 0.0019349 | -0.0066128 | 0.0011812 | -0.0070799 | 0.0010275 | 0.0011812 | -0.0070799 | 0.0010275 | -45.5956 | -45.5956 | -45.5956 | -45.5956 | -45.5956 | -45.5956 |  | 0.70827 | 1.0774 | 0.98241 | 0.70827 | 1.0774 | 0.98241 | -31.4245 | -120.3101 | 125.572 | -31.4245 | -120.3101 | 125.572

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1463 | 0.49524 | 0.40897 | 1.1478 | 0.49698 | 0.41065 | 13.2359 | 5.7185 | 4.7224 | 13.2535 | 5.7387 | 4.7418 | -3.1879e-11 | 1.4431 | 7.402 | 6.1218 | 0.87046 | -5.5628 | 6.6514e-12 | 6.6911 | 0.012767 | 1.2709 | -6.1347 | 0.3581 | 136.9968 | 130.8413 | 132.7658 | -43.1107 | -49.3867 | -47.5181 |  | 0 | 1.197 | 1.5674 | 0.47175 | 1.0797 | 1.1756 | 0 | -151.3299 | 132.8646 | -31.3825 | -131.3108 | 128.7986
Line_1 | 0.57516 | 0.24981 | 0.20663 | 0.57389 | 0.24849 | 0.20533 | 6.6413 | 2.8846 | 2.386 | 6.6267 | 2.8693 | 2.3709 | 4.6054 | 1.0209 | -2.3276 | -3.0609 | -0.43523 | 2.7814 | 0.95739 | -2.9355 | 0.27662 | -0.63546 | 3.0673 | -0.17905 | -43.1681 | -49.4865 | -47.6506 | 136.8893 | 130.6133 | 132.4819 |  | 0.70827 | 1.0774 | 0.98241 | 0.47175 | 1.0797 | 1.1756 | -31.4245 | -120.3101 | 125.572 | -31.3825 | -131.3108 | 128.7986
Line_2 | 0.57516 | 0.24981 | 0.20663 | 0.57389 | 0.24849 | 0.20533 | 6.6413 | 2.8846 | 2.386 | 6.6267 | 2.8693 | 2.3709 | 4.6054 | 1.0209 | -2.3276 | -3.0609 | -0.43523 | 2.7814 | 0.95739 | -2.9355 | 0.27662 | -0.63546 | 3.0673 | -0.17905 | -43.1681 | -49.4865 | -47.6506 | 136.8893 | 130.6133 | 132.4819 |  | 0.70827 | 1.0774 | 0.98241 | 0.47175 | 1.0797 | 1.1756 | -31.4245 | -120.3101 | 125.572 | -31.3825 | -131.3108 | 128.7986
Line_3 | 0.00058993 | 0.00058993 | 0.00058993 | 0.00058993 | 0.00058993 | 0.00058993 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0068119 | 0.0046779 | 0.0019349 | -0.0066128 | 0.0046779 | 0.0019349 | -0.0066128 | 0.0011812 | -0.0070799 | 0.0010275 | 0.0011812 | -0.0070799 | 0.0010275 | -45.5956 | -45.5956 | -45.5956 | -45.5956 | -45.5956 | -45.5956 |  | 0.70827 | 1.0774 | 0.98241 | 0.70827 | 1.0774 | 0.98241 | -31.4245 | -120.3101 | 125.572 | -31.4245 | -120.3101 | 125.572

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3882 | 0.16772 | 0.13851 | 0.38872 | 0.16831 | 0.13908 | 4.4826 | 1.9367 | 1.5993 | 4.4885 | 1.9435 | 1.6059 | -2.3739 | -0.12519 | 1.852 | 3.0759 | 0.39657 | -1.6468 | -1.7849 | 2.0173 | -0.34057 | 1.9375 | -1.9567 | 0.37952 | 141.0109 | 134.8554 | 136.7799 | -39.0966 | -45.3726 | -43.504 |  | 0.66259 | 1.0436 | 1.1774 | 0.8099 | 1.0273 | 1.0524 | -2.0505 | -131.5935 | 126.3597 | -6.8898 | -123.9157 | 123.5185
Line_1 | 0.19479 | 0.084603 | 0.06998 | 0.19436 | 0.084156 | 0.069538 | 2.2492 | 0.97692 | 0.80806 | 2.2443 | 0.97175 | 0.80295 | 1.7168 | 0.26734 | -0.77496 | -1.5379 | -0.19828 | 0.82341 | 1.0088 | -0.96631 | 0.20085 | -0.96875 | 0.97836 | -0.18976 | -39.154 | -45.4724 | -43.6365 | 140.9034 | 134.6274 | 136.496 |  | 0.88532 | 1.0263 | 0.99073 | 0.8099 | 1.0273 | 1.0524 | -8.7144 | -120.0075 | 121.8335 | -6.8898 | -123.9157 | 123.5185
Line_2 | 0.19479 | 0.084603 | 0.06998 | 0.19436 | 0.084156 | 0.069538 | 2.2492 | 0.97692 | 0.80806 | 2.2443 | 0.97175 | 0.80295 | 1.7168 | 0.26734 | -0.77496 | -1.5379 | -0.19828 | 0.82341 | 1.0088 | -0.96631 | 0.20085 | -0.96875 | 0.97836 | -0.18976 | -39.154 | -45.4724 | -43.6365 | 140.9034 | 134.6274 | 136.496 |  | 0.88532 | 1.0263 | 0.99073 | 0.8099 | 1.0273 | 1.0524 | -8.7144 | -120.0075 | 121.8335 | -6.8898 | -123.9157 | 123.5185
Line_3 | 0.00019979 | 0.00019979 | 0.00019979 | 0.00019979 | 0.00019979 | 0.00019979 | 0.002307 | 0.002307 | 0.002307 | 0.002307 | 0.002307 | 0.002307 | 0.0017155 | 0.00047503 | -0.0021905 | 0.0017155 | 0.00047503 | -0.0021905 | 0.0011084 | -0.0023195 | 0.0006524 | 0.0011084 | -0.0023195 | 0.0006524 | -41.5815 | -41.5815 | -41.5815 | -41.5815 | -41.5815 | -41.5815 |  | 0.88532 | 1.0263 | 0.99073 | 0.88532 | 1.0263 | 0.99073 | -8.7144 | -120.0075 | 121.8335 | -8.7144 | -120.0075 | 121.8335

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3882 | 0.16772 | 0.13851 | 0.38872 | 0.16831 | 0.13908 | 4.4826 | 1.9367 | 1.5993 | 4.4885 | 1.9435 | 1.6059 | -2.3739 | -0.12519 | 1.852 | 3.0759 | 0.39657 | -1.6468 | -1.7849 | 2.0173 | -0.34057 | 1.9375 | -1.9567 | 0.37952 | 141.0109 | 134.8554 | 136.7799 | -39.0966 | -45.3726 | -43.504 |  | 0.66259 | 1.0436 | 1.1774 | 0.8099 | 1.0273 | 1.0524 | -2.0505 | -131.5935 | 126.3597 | -6.8898 | -123.9157 | 123.5185
Line_1 | 0.19479 | 0.084603 | 0.06998 | 0.19436 | 0.084156 | 0.069538 | 2.2492 | 0.97692 | 0.80806 | 2.2443 | 0.97175 | 0.80295 | 1.7168 | 0.26734 | -0.77496 | -1.5379 | -0.19828 | 0.82341 | 1.0088 | -0.96631 | 0.20085 | -0.96875 | 0.97836 | -0.18976 | -39.154 | -45.4724 | -43.6365 | 140.9034 | 134.6274 | 136.496 |  | 0.88532 | 1.0263 | 0.99073 | 0.8099 | 1.0273 | 1.0524 | -8.7144 | -120.0075 | 121.8335 | -6.8898 | -123.9157 | 123.5185
Line_2 | 0.19479 | 0.084603 | 0.06998 | 0.19436 | 0.084156 | 0.069538 | 2.2492 | 0.97692 | 0.80806 | 2.2443 | 0.97175 | 0.80295 | 1.7168 | 0.26734 | -0.77496 | -1.5379 | -0.19828 | 0.82341 | 1.0088 | -0.96631 | 0.20085 | -0.96875 | 0.97836 | -0.18976 | -39.154 | -45.4724 | -43.6365 | 140.9034 | 134.6274 | 136.496 |  | 0.88532 | 1.0263 | 0.99073 | 0.8099 | 1.0273 | 1.0524 | -8.7144 | -120.0075 | 121.8335 | -6.8898 | -123.9157 | 123.5185
Line_3 | 0.00019979 | 0.00019979 | 0.00019979 | 0.00019979 | 0.00019979 | 0.00019979 | 0.002307 | 0.002307 | 0.002307 | 0.002307 | 0.002307 | 0.002307 | 0.0017155 | 0.00047503 | -0.0021905 | 0.0017155 | 0.00047503 | -0.0021905 | 0.0011084 | -0.0023195 | 0.0006524 | 0.0011084 | -0.0023195 | 0.0006524 | -41.5815 | -41.5815 | -41.5815 | -41.5815 | -41.5815 | -41.5815 |  | 0.88532 | 1.0263 | 0.99073 | 0.88532 | 1.0263 | 0.99073 | -8.7144 | -120.0075 | 121.8335 | -8.7144 | -120.0075 | 121.8335

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17687 | 2.0247 | 1.3417 | 0.17864 | 2.0254 | 1.3432 | 2.0423 | 23.3797 | 15.4927 | 2.0627 | 23.3869 | 15.5099 | 1.9488 | 4.1506e-11 | 2.6234e-11 | -1.5523 | 6.2916 | 0.88106 | 2.4753 | -1.6494e-11 | -1.3291e-11 | -2.371 | 0.50902 | 4.0991 | -54.7603 | -12.8191 | -128.6958 | 124.9069 | 167.1256 | 51.3644 |  | 1.5426 | 0 | 0 | 1.3739 | 0.2699 | 0.27033 | -2.9746 | 0 | 0 | 1.694 | 171.751 | 129.2339
Line_1 | 0.09074 | 1.0136 | 0.67221 | 0.089319 | 1.0127 | 0.6716 | 1.0478 | 11.7039 | 7.7621 | 1.0314 | 11.6934 | 7.7549 | -0.6832 | 4.7263 | 0.66805 | 0.77614 | -3.1458 | -0.44053 | -1.1703 | 0.3843 | 3.079 | 1.1855 | -0.25451 | -2.0496 | 124.7657 | 167.0623 | 51.4751 | -55.0931 | -12.8744 | -128.6356 |  | 1.2934 | 0.40516 | 0.40591 | 1.3739 | 0.2699 | 0.27033 | 4.4908 | 171.7109 | 129.2335 | 1.694 | 171.751 | 129.2339
Line_2 | 0.09074 | 1.0136 | 0.67221 | 0.089319 | 1.0127 | 0.6716 | 1.0478 | 11.7039 | 7.7621 | 1.0314 | 11.6934 | 7.7549 | -0.6832 | 4.7263 | 0.66805 | 0.77614 | -3.1458 | -0.44053 | -1.1703 | 0.3843 | 3.079 | 1.1855 | -0.25451 | -2.0496 | 124.7657 | 167.0623 | 51.4751 | -55.0931 | -12.8744 | -128.6356 |  | 1.2934 | 0.40516 | 0.40591 | 1.3739 | 0.2699 | 0.27033 | 4.4908 | 171.7109 | 129.2335 | 1.694 | 171.751 | 129.2339
Line_3 | 0.0006516 | 0.0006516 | 0.0006516 | 0.0006516 | 0.0006516 | 0.0006516 | 0.007524 | 0.007524 | 0.007524 | 0.007524 | 0.007524 | 0.007524 | -0.0052137 | 0.0021622 | 0.0030515 | -0.0052137 | 0.0021622 | 0.0030515 | -0.0082168 | 0.0021489 | 0.00012507 | -0.0082168 | 0.0021489 | 0.00012507 | 126.8864 | 126.8864 | 126.8864 | 126.8864 | 126.8864 | 126.8864 |  | 1.2934 | 0.40516 | 0.40591 | 1.2934 | 0.40516 | 0.40591 | 4.4908 | 171.7109 | 129.2335 | 4.4908 | 171.7109 | 129.2335

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17687 | 2.0247 | 1.3417 | 0.17864 | 2.0254 | 1.3432 | 2.0423 | 23.3797 | 15.4927 | 2.0627 | 23.3869 | 15.5099 | 1.9488 | 4.1506e-11 | 2.6234e-11 | -1.5523 | 6.2916 | 0.88106 | 2.4753 | -1.6494e-11 | -1.3291e-11 | -2.371 | 0.50902 | 4.0991 | -54.7603 | -12.8191 | -128.6958 | 124.9069 | 167.1256 | 51.3644 |  | 1.5426 | 0 | 0 | 1.3739 | 0.2699 | 0.27033 | -2.9746 | 0 | 0 | 1.694 | 171.751 | 129.2339
Line_1 | 0.09074 | 1.0136 | 0.67221 | 0.089319 | 1.0127 | 0.6716 | 1.0478 | 11.7039 | 7.7621 | 1.0314 | 11.6934 | 7.7549 | -0.6832 | 4.7263 | 0.66805 | 0.77614 | -3.1458 | -0.44053 | -1.1703 | 0.3843 | 3.079 | 1.1855 | -0.25451 | -2.0496 | 124.7657 | 167.0623 | 51.4751 | -55.0931 | -12.8744 | -128.6356 |  | 1.2934 | 0.40516 | 0.40591 | 1.3739 | 0.2699 | 0.27033 | 4.4908 | 171.7109 | 129.2335 | 1.694 | 171.751 | 129.2339
Line_2 | 0.09074 | 1.0136 | 0.67221 | 0.089319 | 1.0127 | 0.6716 | 1.0478 | 11.7039 | 7.7621 | 1.0314 | 11.6934 | 7.7549 | -0.6832 | 4.7263 | 0.66805 | 0.77614 | -3.1458 | -0.44053 | -1.1703 | 0.3843 | 3.079 | 1.1855 | -0.25451 | -2.0496 | 124.7657 | 167.0623 | 51.4751 | -55.0931 | -12.8744 | -128.6356 |  | 1.2934 | 0.40516 | 0.40591 | 1.3739 | 0.2699 | 0.27033 | 4.4908 | 171.7109 | 129.2335 | 1.694 | 171.751 | 129.2339
Line_3 | 0.0006516 | 0.0006516 | 0.0006516 | 0.0006516 | 0.0006516 | 0.0006516 | 0.007524 | 0.007524 | 0.007524 | 0.007524 | 0.007524 | 0.007524 | -0.0052137 | 0.0021622 | 0.0030515 | -0.0052137 | 0.0021622 | 0.0030515 | -0.0082168 | 0.0021489 | 0.00012507 | -0.0082168 | 0.0021489 | 0.00012507 | 126.8864 | 126.8864 | 126.8864 | 126.8864 | 126.8864 | 126.8864 |  | 1.2934 | 0.40516 | 0.40591 | 1.2934 | 0.40516 | 0.40591 | 4.4908 | 171.7109 | 129.2335 | 4.4908 | 171.7109 | 129.2335

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10447 | 0.63777 | 0.57312 | 0.104 | 0.63806 | 0.57385 | 1.2064 | 7.3643 | 6.6179 | 1.2009 | 7.3676 | 6.6262 | 1.0968 | -2.0525 | -4.7995 | -1.0737 | 2.7864 | 5.1252 | -1.1218 | -6.4421 | -3.0878 | 1.0258 | 6.482 | 3.7719 | 44.4445 | -12.4325 | -107.1005 | -135.9158 | 167.4999 | 72.9345 |  | 1.3005 | 0.9181 | 0.86236 | 1.2365 | 0.95764 | 0.96035 | -1.2001 | -120.1052 | 105.6548 | 0.39239 | -125.7616 | 109.2858
Line_1 | 0.051865 | 0.31941 | 0.28731 | 0.052002 | 0.31903 | 0.28692 | 0.59888 | 3.6882 | 3.3176 | 0.60046 | 3.6838 | 3.3131 | -0.53435 | 1.5765 | 2.6488 | 0.53687 | -1.3932 | -2.5626 | 0.48487 | 3.2552 | 2.0562 | -0.5129 | -3.241 | -1.8859 | -136.5215 | 167.4248 | 73.0168 | 44.0842 | -12.5001 | -107.0655 |  | 1.2048 | 0.98066 | 1.0107 | 1.2365 | 0.95764 | 0.96035 | 1.2575 | -128.4153 | 110.8376 | 0.39239 | -125.7616 | 109.2858
Line_2 | 0.051865 | 0.31941 | 0.28731 | 0.052002 | 0.31903 | 0.28692 | 0.59888 | 3.6882 | 3.3176 | 0.60046 | 3.6838 | 3.3131 | -0.53435 | 1.5765 | 2.6488 | 0.53687 | -1.3932 | -2.5626 | 0.48487 | 3.2552 | 2.0562 | -0.5129 | -3.241 | -1.8859 | -136.5215 | 167.4248 | 73.0168 | 44.0842 | -12.5001 | -107.0655 |  | 1.2048 | 0.98066 | 1.0107 | 1.2365 | 0.95764 | 0.96035 | 1.2575 | -128.4153 | 110.8376 | 0.39239 | -125.7616 | 109.2858
Line_3 | 0.00025643 | 0.00025643 | 0.00025643 | 0.00025643 | 0.00025643 | 0.00025643 | 0.002961 | 0.002961 | 0.002961 | 0.002961 | 0.002961 | 0.002961 | -0.0022664 | -0.00054838 | 0.0028148 | -0.0022664 | -0.00054838 | 0.0028148 | -0.0027551 | 0.0028515 | -0.0010168 | -0.0027551 | 0.0028515 | -0.0010168 | 130.6989 | 130.6989 | 130.6989 | 130.6989 | 130.6989 | 130.6989 |  | 1.2048 | 0.98066 | 1.0107 | 1.2048 | 0.98066 | 1.0107 | 1.2575 | -128.4153 | 110.8376 | 1.2575 | -128.4153 | 110.8376

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10447 | 0.63777 | 0.57312 | 0.104 | 0.63806 | 0.57385 | 1.2064 | 7.3643 | 6.6179 | 1.2009 | 7.3676 | 6.6262 | 1.0968 | -2.0525 | -4.7995 | -1.0737 | 2.7864 | 5.1252 | -1.1218 | -6.4421 | -3.0878 | 1.0258 | 6.482 | 3.7719 | 44.4445 | -12.4325 | -107.1005 | -135.9158 | 167.4999 | 72.9345 |  | 1.3005 | 0.9181 | 0.86236 | 1.2365 | 0.95764 | 0.96035 | -1.2001 | -120.1052 | 105.6548 | 0.39239 | -125.7616 | 109.2858
Line_1 | 0.051865 | 0.31941 | 0.28731 | 0.052002 | 0.31903 | 0.28692 | 0.59888 | 3.6882 | 3.3176 | 0.60046 | 3.6838 | 3.3131 | -0.53435 | 1.5765 | 2.6488 | 0.53687 | -1.3932 | -2.5626 | 0.48487 | 3.2552 | 2.0562 | -0.5129 | -3.241 | -1.8859 | -136.5215 | 167.4248 | 73.0168 | 44.0842 | -12.5001 | -107.0655 |  | 1.2048 | 0.98066 | 1.0107 | 1.2365 | 0.95764 | 0.96035 | 1.2575 | -128.4153 | 110.8376 | 0.39239 | -125.7616 | 109.2858
Line_2 | 0.051865 | 0.31941 | 0.28731 | 0.052002 | 0.31903 | 0.28692 | 0.59888 | 3.6882 | 3.3176 | 0.60046 | 3.6838 | 3.3131 | -0.53435 | 1.5765 | 2.6488 | 0.53687 | -1.3932 | -2.5626 | 0.48487 | 3.2552 | 2.0562 | -0.5129 | -3.241 | -1.8859 | -136.5215 | 167.4248 | 73.0168 | 44.0842 | -12.5001 | -107.0655 |  | 1.2048 | 0.98066 | 1.0107 | 1.2365 | 0.95764 | 0.96035 | 1.2575 | -128.4153 | 110.8376 | 0.39239 | -125.7616 | 109.2858
Line_3 | 0.00025643 | 0.00025643 | 0.00025643 | 0.00025643 | 0.00025643 | 0.00025643 | 0.002961 | 0.002961 | 0.002961 | 0.002961 | 0.002961 | 0.002961 | -0.0022664 | -0.00054838 | 0.0028148 | -0.0022664 | -0.00054838 | 0.0028148 | -0.0027551 | 0.0028515 | -0.0010168 | -0.0027551 | 0.0028515 | -0.0010168 | 130.6989 | 130.6989 | 130.6989 | 130.6989 | 130.6989 | 130.6989 |  | 1.2048 | 0.98066 | 1.0107 | 1.2048 | 0.98066 | 1.0107 | 1.2575 | -128.4153 | 110.8376 | 1.2575 | -128.4153 | 110.8376

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18753 | 1.5817 | 0.85485 | 0.18906 | 1.5817 | 0.85598 | 2.1654 | 18.2635 | 9.871 | 2.1831 | 18.2639 | 9.884 | 1.5388 | -2.6008e-11 | -9.8434e-12 | -1.1062 | 6.2164 | 0.035932 | 2.5805 | -2.599e-11 | -1.7548e-11 | -2.2805 | -0.50327 | 2.6033 | -62.2175 | 3.0015 | -132.932 | 117.5817 | -177.0588 | 47.15 |  | 1.3875 | 0 | 0 | 1.161 | 0.34148 | 0.26341 | -3.0262 | 0 | 0 | 1.7054 | 178.3126 | 136.3592
Line_1 | 0.095404 | 0.79131 | 0.42818 | 0.094531 | 0.79085 | 0.42799 | 1.1016 | 9.1373 | 4.9442 | 1.0916 | 9.132 | 4.942 | -0.44881 | 4.6676 | 0.03157 | 0.5531 | -3.1082 | -0.017966 | -1.0679 | -0.37742 | 1.9558 | 1.1403 | 0.25164 | -1.3017 | 117.6455 | -177.113 | 47.2648 | -62.4183 | 2.9412 | -132.85 |  | 1.0515 | 0.5125 | 0.39562 | 1.161 | 0.34148 | 0.26341 | 4.8496 | 178.2641 | 136.34 | 1.7054 | 178.3126 | 136.3592
Line_2 | 0.095404 | 0.79131 | 0.42818 | 0.094531 | 0.79085 | 0.42799 | 1.1016 | 9.1373 | 4.9442 | 1.0916 | 9.132 | 4.942 | -0.44881 | 4.6676 | 0.03157 | 0.5531 | -3.1082 | -0.017966 | -1.0679 | -0.37742 | 1.9558 | 1.1403 | 0.25164 | -1.3017 | 117.6455 | -177.113 | 47.2648 | -62.4183 | 2.9412 | -132.85 |  | 1.0515 | 0.5125 | 0.39562 | 1.161 | 0.34148 | 0.26341 | 4.8496 | 178.2641 | 136.34 | 1.7054 | 178.3126 | 136.3592
Line_3 | 0.00037322 | 0.00037322 | 0.00037322 | 0.00037322 | 0.00037322 | 0.00037322 | 0.0043096 | 0.0043096 | 0.0043096 | 0.0043096 | 0.0043096 | 0.0043096 | -0.0035571 | 0.0018792 | 0.0016779 | -0.0035571 | 0.0018792 | 0.0016779 | -0.0028075 | 0.0011605 | -0.00030271 | -0.0028075 | 0.0011605 | -0.00030271 | 146.5668 | 146.5668 | 146.5668 | 146.5668 | 146.5668 | 146.5668 |  | 1.0515 | 0.5125 | 0.39562 | 1.0515 | 0.5125 | 0.39562 | 4.8496 | 178.2641 | 136.34 | 4.8496 | 178.2641 | 136.34

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18753 | 1.5817 | 0.85485 | 0.18906 | 1.5817 | 0.85598 | 2.1654 | 18.2635 | 9.871 | 2.1831 | 18.2639 | 9.884 | 1.5388 | -2.6008e-11 | -9.8434e-12 | -1.1062 | 6.2164 | 0.035932 | 2.5805 | -2.599e-11 | -1.7548e-11 | -2.2805 | -0.50327 | 2.6033 | -62.2175 | 3.0015 | -132.932 | 117.5817 | -177.0588 | 47.15 |  | 1.3875 | 0 | 0 | 1.161 | 0.34148 | 0.26341 | -3.0262 | 0 | 0 | 1.7054 | 178.3126 | 136.3592
Line_1 | 0.095404 | 0.79131 | 0.42818 | 0.094531 | 0.79085 | 0.42799 | 1.1016 | 9.1373 | 4.9442 | 1.0916 | 9.132 | 4.942 | -0.44881 | 4.6676 | 0.03157 | 0.5531 | -3.1082 | -0.017966 | -1.0679 | -0.37742 | 1.9558 | 1.1403 | 0.25164 | -1.3017 | 117.6455 | -177.113 | 47.2648 | -62.4183 | 2.9412 | -132.85 |  | 1.0515 | 0.5125 | 0.39562 | 1.161 | 0.34148 | 0.26341 | 4.8496 | 178.2641 | 136.34 | 1.7054 | 178.3126 | 136.3592
Line_2 | 0.095404 | 0.79131 | 0.42818 | 0.094531 | 0.79085 | 0.42799 | 1.1016 | 9.1373 | 4.9442 | 1.0916 | 9.132 | 4.942 | -0.44881 | 4.6676 | 0.03157 | 0.5531 | -3.1082 | -0.017966 | -1.0679 | -0.37742 | 1.9558 | 1.1403 | 0.25164 | -1.3017 | 117.6455 | -177.113 | 47.2648 | -62.4183 | 2.9412 | -132.85 |  | 1.0515 | 0.5125 | 0.39562 | 1.161 | 0.34148 | 0.26341 | 4.8496 | 178.2641 | 136.34 | 1.7054 | 178.3126 | 136.3592
Line_3 | 0.00037322 | 0.00037322 | 0.00037322 | 0.00037322 | 0.00037322 | 0.00037322 | 0.0043096 | 0.0043096 | 0.0043096 | 0.0043096 | 0.0043096 | 0.0043096 | -0.0035571 | 0.0018792 | 0.0016779 | -0.0035571 | 0.0018792 | 0.0016779 | -0.0028075 | 0.0011605 | -0.00030271 | -0.0028075 | 0.0011605 | -0.00030271 | 146.5668 | 146.5668 | 146.5668 | 146.5668 | 146.5668 | 146.5668 |  | 1.0515 | 0.5125 | 0.39562 | 1.0515 | 0.5125 | 0.39562 | 4.8496 | 178.2641 | 136.34 | 4.8496 | 178.2641 | 136.34

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1202 | 0.36532 | 0.32043 | 0.12081 | 0.36518 | 0.32117 | 1.388 | 4.2183 | 3.7 | 1.395 | 4.2168 | 3.7086 | 1.0015 | -2.1164 | -2.6093 | -0.85824 | 2.5767 | 2.9348 | 1.2704 | -2.6541 | -0.3969 | -1.2098 | 2.4594 | 0.77265 | -54.2713 | 10.9405 | -84.23 | 125.5259 | -169.174 | 95.7579 |  | 1.1655 | 0.80474 | 0.71332 | 1.0633 | 0.84471 | 0.81831 | -2.5225 | -117.6279 | 104.4189 | 0.17434 | -125.5087 | 110.5077
Line_1 | 0.060795 | 0.18273 | 0.16094 | 0.060405 | 0.18259 | 0.16059 | 0.702 | 2.1099 | 1.8584 | 0.6975 | 2.1084 | 1.8543 | -0.39523 | 1.4037 | 1.5516 | 0.42912 | -1.2883 | -1.4674 | -0.59131 | 1.1834 | 0.47952 | 0.60491 | -1.2297 | -0.38632 | 125.4951 | -169.2895 | 95.8168 | -54.4741 | 10.826 | -84.2421 |  | 1.0132 | 0.87016 | 0.87387 | 1.0633 | 0.84471 | 0.81831 | 1.7367 | -129.1573 | 112.9908 | 0.17434 | -125.5087 | 110.5077
Line_2 | 0.060795 | 0.18273 | 0.16094 | 0.060405 | 0.18259 | 0.16059 | 0.702 | 2.1099 | 1.8584 | 0.6975 | 2.1084 | 1.8543 | -0.39523 | 1.4037 | 1.5516 | 0.42912 | -1.2883 | -1.4674 | -0.59131 | 1.1834 | 0.47952 | 0.60491 | -1.2297 | -0.38632 | 125.4951 | -169.2895 | 95.8168 | -54.4741 | 10.826 | -84.2421 |  | 1.0132 | 0.87016 | 0.87387 | 1.0633 | 0.84471 | 0.81831 | 1.7367 | -129.1573 | 112.9908 | 0.17434 | -125.5087 | 110.5077
Line_3 | 0.00016622 | 0.00016622 | 0.00016622 | 0.00016622 | 0.00016622 | 0.00016622 | 0.0019193 | 0.0019193 | 0.0019193 | 0.0019193 | 0.0019193 | 0.0019193 | -0.0015119 | 5.6148e-05 | 0.0014558 | -0.0015119 | 5.6148e-05 | 0.0014558 | -0.0012229 | 0.0016692 | -0.000833 | -0.0012229 | 0.0016692 | -0.000833 | 142.7693 | 142.7693 | 142.7693 | 142.7693 | 142.7693 | 142.7693 |  | 1.0132 | 0.87016 | 0.87387 | 1.0132 | 0.87016 | 0.87387 | 1.7367 | -129.1573 | 112.9908 | 1.7367 | -129.1573 | 112.9908

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1202 | 0.36532 | 0.32043 | 0.12081 | 0.36518 | 0.32117 | 1.388 | 4.2183 | 3.7 | 1.395 | 4.2168 | 3.7086 | 1.0015 | -2.1164 | -2.6093 | -0.85824 | 2.5767 | 2.9348 | 1.2704 | -2.6541 | -0.3969 | -1.2098 | 2.4594 | 0.77265 | -54.2713 | 10.9405 | -84.23 | 125.5259 | -169.174 | 95.7579 |  | 1.1655 | 0.80474 | 0.71332 | 1.0633 | 0.84471 | 0.81831 | -2.5225 | -117.6279 | 104.4189 | 0.17434 | -125.5087 | 110.5077
Line_1 | 0.060795 | 0.18273 | 0.16094 | 0.060405 | 0.18259 | 0.16059 | 0.702 | 2.1099 | 1.8584 | 0.6975 | 2.1084 | 1.8543 | -0.39523 | 1.4037 | 1.5516 | 0.42912 | -1.2883 | -1.4674 | -0.59131 | 1.1834 | 0.47952 | 0.60491 | -1.2297 | -0.38632 | 125.4951 | -169.2895 | 95.8168 | -54.4741 | 10.826 | -84.2421 |  | 1.0132 | 0.87016 | 0.87387 | 1.0633 | 0.84471 | 0.81831 | 1.7367 | -129.1573 | 112.9908 | 0.17434 | -125.5087 | 110.5077
Line_2 | 0.060795 | 0.18273 | 0.16094 | 0.060405 | 0.18259 | 0.16059 | 0.702 | 2.1099 | 1.8584 | 0.6975 | 2.1084 | 1.8543 | -0.39523 | 1.4037 | 1.5516 | 0.42912 | -1.2883 | -1.4674 | -0.59131 | 1.1834 | 0.47952 | 0.60491 | -1.2297 | -0.38632 | 125.4951 | -169.2895 | 95.8168 | -54.4741 | 10.826 | -84.2421 |  | 1.0132 | 0.87016 | 0.87387 | 1.0633 | 0.84471 | 0.81831 | 1.7367 | -129.1573 | 112.9908 | 0.17434 | -125.5087 | 110.5077
Line_3 | 0.00016622 | 0.00016622 | 0.00016622 | 0.00016622 | 0.00016622 | 0.00016622 | 0.0019193 | 0.0019193 | 0.0019193 | 0.0019193 | 0.0019193 | 0.0019193 | -0.0015119 | 5.6148e-05 | 0.0014558 | -0.0015119 | 5.6148e-05 | 0.0014558 | -0.0012229 | 0.0016692 | -0.000833 | -0.0012229 | 0.0016692 | -0.000833 | 142.7693 | 142.7693 | 142.7693 | 142.7693 | 142.7693 | 142.7693 |  | 1.0132 | 0.87016 | 0.87387 | 1.0132 | 0.87016 | 0.87387 | 1.7367 | -129.1573 | 112.9908 | 1.7367 | -129.1573 | 112.9908