## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7655e-15 | -5.4998e-15 | 4.5002e-15 | -7.08e-15 | 0 | 0 | 7.08e-15 | -5.7549e-15 | -5.6655e-15 | -8.7655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7655e-15 | -5.4998e-15 | 4.5002e-15 | -7.08e-15 | 0 | 0 | 7.08e-15 | -5.7549e-15 | -5.6655e-15 | -8.7655e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4525e-15 | 5.7349e-15 | 2.5112e-15 | -6.9507e-16 | -3.9307e-15 | -3.472e-15 | -2.7698e-15 | -1.4338e-15 | 3.6575e-15 | 2.7641e-15 | 3.1736e-15 | -1.9215e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4525e-15 | 5.7349e-15 | 2.5112e-15 | -6.9507e-16 | -3.9307e-15 | -3.472e-15 | -2.7698e-15 | -1.4338e-15 | 3.6575e-15 | 2.7641e-15 | 3.1736e-15 | -1.9215e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6435e-15 | 8.672e-15 | -1.6969e-15 | -9.6726e-15 | -5.8565e-15 | 3.5674e-15 | 5.0292e-15 | -1.6739e-14 | 8.504e-15 | -3.8572e-16 | 4.8758e-15 | -9.015e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.6435e-15 | 8.672e-15 | -1.6969e-15 | -9.6726e-15 | -5.8565e-15 | 3.5674e-15 | 5.0292e-15 | -1.6739e-14 | 8.504e-15 | -3.8572e-16 | 4.8758e-15 | -9.015e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2382e-15 | 8.4868e-15 | 3.0875e-15 | -3.9587e-15 | -2.5273e-15 | 3.0539e-16 | 1.2399e-15 | -8.3347e-16 | 1.4421e-15 | -2.4372e-15 | -2.491e-15 | -5.5982e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.2382e-15 | 8.4868e-15 | 3.0875e-15 | -3.9587e-15 | -2.5273e-15 | 3.0539e-16 | 1.2399e-15 | -8.3347e-16 | 1.4421e-15 | -2.4372e-15 | -2.491e-15 | -5.5982e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7328 | 0.52939 | 0.69054 | 1.7353 | 0.53209 | 0.69206 | 20.0084 | 6.1129 | 7.9737 | 20.0379 | 6.1441 | 7.9913 | 9.2356e-11 | -2.8167 | 12.1365 | 6.6487 | 4.4606 | -9.7816 | -9.2964e-11 | 7.7373 | -3.1212 | 3.7685 | -6.8017 | 2.9865 | 115.875 | 108.6674 | 147.5284 | -64.1667 | -71.4329 | -32.6718 |  | 0 | 1.347 | 1.5716 | 0.3814 | 1.3239 | 1.2798 | 0 | -141.329 | 133.106 | -34.622 | -128.176 | 130.3501
Line_1 | 0.86966 | 0.26805 | 0.34764 | 0.86767 | 0.26605 | 0.34603 | 10.042 | 3.0951 | 4.0142 | 10.019 | 3.072 | 3.9956 | 5.0031 | 2.6549 | -4.3156 | -3.3243 | -2.2303 | 4.8908 | 2.8347 | -3.1824 | 1.4596 | -1.8842 | 3.4009 | -1.4932 | -64.1784 | -71.4167 | -32.8684 | 115.8333 | 108.5671 | 147.3282 |  | 0.57263 | 1.339 | 1.1349 | 0.3814 | 1.3239 | 1.2798 | -34.6435 | -121.5802 | 128.4457 | -34.622 | -128.176 | 130.3501
Line_2 | 0.86966 | 0.26805 | 0.34764 | 0.86767 | 0.26605 | 0.34603 | 10.042 | 3.0951 | 4.0142 | 10.019 | 3.072 | 3.9956 | 5.0031 | 2.6549 | -4.3156 | -3.3243 | -2.2303 | 4.8908 | 2.8347 | -3.1824 | 1.4596 | -1.8842 | 3.4009 | -1.4932 | -64.1784 | -71.4167 | -32.8684 | 115.8333 | 108.5671 | 147.3282 |  | 0.57263 | 1.339 | 1.1349 | 0.3814 | 1.3239 | 1.2798 | -34.6435 | -121.5802 | 128.4457 | -34.622 | -128.176 | 130.3501
Line_3 | 0.00090712 | 0.00090712 | 0.00090712 | 0.00090712 | 0.00090712 | 0.00090712 | 0.010475 | 0.010475 | 0.010475 | 0.010475 | 0.010475 | 0.010475 | 0.005493 | 0.0063116 | -0.011805 | 0.005493 | 0.0063116 | -0.011805 | 0.0024091 | -0.012525 | -0.0014013 | 0.0024091 | -0.012525 | -0.0014013 | -58.3242 | -58.3242 | -58.3242 | -58.3242 | -58.3242 | -58.3242 |  | 0.57263 | 1.339 | 1.1349 | 0.57263 | 1.339 | 1.1349 | -34.6435 | -121.5802 | 128.4457 | -34.6435 | -121.5802 | 128.4457

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7328 | 0.52939 | 0.69054 | 1.7353 | 0.53209 | 0.69206 | 20.0084 | 6.1129 | 7.9737 | 20.0379 | 6.1441 | 7.9913 | 9.2356e-11 | -2.8167 | 12.1365 | 6.6487 | 4.4606 | -9.7816 | -9.2964e-11 | 7.7373 | -3.1212 | 3.7685 | -6.8017 | 2.9865 | 115.875 | 108.6674 | 147.5284 | -64.1667 | -71.4329 | -32.6718 |  | 0 | 1.347 | 1.5716 | 0.3814 | 1.3239 | 1.2798 | 0 | -141.329 | 133.106 | -34.622 | -128.176 | 130.3501
Line_1 | 0.86966 | 0.26805 | 0.34764 | 0.86767 | 0.26605 | 0.34603 | 10.042 | 3.0951 | 4.0142 | 10.019 | 3.072 | 3.9956 | 5.0031 | 2.6549 | -4.3156 | -3.3243 | -2.2303 | 4.8908 | 2.8347 | -3.1824 | 1.4596 | -1.8842 | 3.4009 | -1.4932 | -64.1784 | -71.4167 | -32.8684 | 115.8333 | 108.5671 | 147.3282 |  | 0.57263 | 1.339 | 1.1349 | 0.3814 | 1.3239 | 1.2798 | -34.6435 | -121.5802 | 128.4457 | -34.622 | -128.176 | 130.3501
Line_2 | 0.86966 | 0.26805 | 0.34764 | 0.86767 | 0.26605 | 0.34603 | 10.042 | 3.0951 | 4.0142 | 10.019 | 3.072 | 3.9956 | 5.0031 | 2.6549 | -4.3156 | -3.3243 | -2.2303 | 4.8908 | 2.8347 | -3.1824 | 1.4596 | -1.8842 | 3.4009 | -1.4932 | -64.1784 | -71.4167 | -32.8684 | 115.8333 | 108.5671 | 147.3282 |  | 0.57263 | 1.339 | 1.1349 | 0.3814 | 1.3239 | 1.2798 | -34.6435 | -121.5802 | 128.4457 | -34.622 | -128.176 | 130.3501
Line_3 | 0.00090712 | 0.00090712 | 0.00090712 | 0.00090712 | 0.00090712 | 0.00090712 | 0.010475 | 0.010475 | 0.010475 | 0.010475 | 0.010475 | 0.010475 | 0.005493 | 0.0063116 | -0.011805 | 0.005493 | 0.0063116 | -0.011805 | 0.0024091 | -0.012525 | -0.0014013 | 0.0024091 | -0.012525 | -0.0014013 | -58.3242 | -58.3242 | -58.3242 | -58.3242 | -58.3242 | -58.3242 |  | 0.57263 | 1.339 | 1.1349 | 0.57263 | 1.339 | 1.1349 | -34.6435 | -121.5802 | 128.4457 | -34.6435 | -121.5802 | 128.4457

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6691 | 0.049372 | 0.36897 | 0.66997 | 0.049712 | 0.36921 | 7.7261 | 0.57009 | 4.2605 | 7.7362 | 0.57403 | 4.2633 | -4.1921 | -0.68665 | 2.9139 | 4.9881 | 0.67457 | -2.5281 | -4.694 | -0.16297 | -4.3785 | 5.3266 | 0.19865 | 4.29 | 123.4405 | 40.3784 | -176.8733 | -56.5792 | -138.6582 | 2.9921 |  | 0.81457 | 1.2379 | 1.2345 | 0.9433 | 1.225 | 1.168 | -8.3269 | -126.2703 | 126.7703 | -9.6992 | -122.2496 | 123.5025
Line_1 | 0.33561 | 0.024882 | 0.18498 | 0.33499 | 0.024856 | 0.18461 | 3.8753 | 0.28731 | 2.136 | 3.8681 | 0.28701 | 2.1316 | 2.6984 | 0.33546 | -1.1724 | -2.494 | -0.33729 | 1.264 | 2.8246 | 0.10256 | 2.1248 | -2.6633 | -0.099323 | -2.145 | -56.5673 | -137.2048 | 2.8354 | 123.4208 | 41.3418 | -177.0079 |  | 1.008 | 1.2209 | 1.1361 | 0.9433 | 1.225 | 1.168 | -10.2584 | -120.204 | 121.7249 | -9.6992 | -122.2496 | 123.5025
Line_2 | 0.33561 | 0.024882 | 0.18498 | 0.33499 | 0.024856 | 0.18461 | 3.8753 | 0.28731 | 2.136 | 3.8681 | 0.28701 | 2.1316 | 2.6984 | 0.33546 | -1.1724 | -2.494 | -0.33729 | 1.264 | 2.8246 | 0.10256 | 2.1248 | -2.6633 | -0.099323 | -2.145 | -56.5673 | -137.2048 | 2.8354 | 123.4208 | 41.3418 | -177.0079 |  | 1.008 | 1.2209 | 1.1361 | 0.9433 | 1.225 | 1.168 | -10.2584 | -120.204 | 121.7249 | -9.6992 | -122.2496 | 123.5025
Line_3 | 0.00028613 | 0.00028613 | 0.00028613 | 0.00028613 | 0.00028613 | 0.00028613 | 0.0033039 | 0.0033039 | 0.0033039 | 0.0033039 | 0.0033039 | 0.0033039 | 0.002911 | 0.00063913 | -0.0035502 | 0.002911 | 0.00063913 | -0.0035502 | 0.0016177 | -0.0039829 | 0.0012193 | 0.0016177 | -0.0039829 | 0.0012193 | -39.3204 | -39.3204 | -39.3204 | -39.3204 | -39.3204 | -39.3204 |  | 1.008 | 1.2209 | 1.1361 | 1.008 | 1.2209 | 1.1361 | -10.2584 | -120.204 | 121.7249 | -10.2584 | -120.204 | 121.7249

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.6691 | 0.049372 | 0.36897 | 0.66997 | 0.049712 | 0.36921 | 7.7261 | 0.57009 | 4.2605 | 7.7362 | 0.57403 | 4.2633 | -4.1921 | -0.68665 | 2.9139 | 4.9881 | 0.67457 | -2.5281 | -4.694 | -0.16297 | -4.3785 | 5.3266 | 0.19865 | 4.29 | 123.4405 | 40.3784 | -176.8733 | -56.5792 | -138.6582 | 2.9921 |  | 0.81457 | 1.2379 | 1.2345 | 0.9433 | 1.225 | 1.168 | -8.3269 | -126.2703 | 126.7703 | -9.6992 | -122.2496 | 123.5025
Line_1 | 0.33561 | 0.024882 | 0.18498 | 0.33499 | 0.024856 | 0.18461 | 3.8753 | 0.28731 | 2.136 | 3.8681 | 0.28701 | 2.1316 | 2.6984 | 0.33546 | -1.1724 | -2.494 | -0.33729 | 1.264 | 2.8246 | 0.10256 | 2.1248 | -2.6633 | -0.099323 | -2.145 | -56.5673 | -137.2048 | 2.8354 | 123.4208 | 41.3418 | -177.0079 |  | 1.008 | 1.2209 | 1.1361 | 0.9433 | 1.225 | 1.168 | -10.2584 | -120.204 | 121.7249 | -9.6992 | -122.2496 | 123.5025
Line_2 | 0.33561 | 0.024882 | 0.18498 | 0.33499 | 0.024856 | 0.18461 | 3.8753 | 0.28731 | 2.136 | 3.8681 | 0.28701 | 2.1316 | 2.6984 | 0.33546 | -1.1724 | -2.494 | -0.33729 | 1.264 | 2.8246 | 0.10256 | 2.1248 | -2.6633 | -0.099323 | -2.145 | -56.5673 | -137.2048 | 2.8354 | 123.4208 | 41.3418 | -177.0079 |  | 1.008 | 1.2209 | 1.1361 | 0.9433 | 1.225 | 1.168 | -10.2584 | -120.204 | 121.7249 | -9.6992 | -122.2496 | 123.5025
Line_3 | 0.00028613 | 0.00028613 | 0.00028613 | 0.00028613 | 0.00028613 | 0.00028613 | 0.0033039 | 0.0033039 | 0.0033039 | 0.0033039 | 0.0033039 | 0.0033039 | 0.002911 | 0.00063913 | -0.0035502 | 0.002911 | 0.00063913 | -0.0035502 | 0.0016177 | -0.0039829 | 0.0012193 | 0.0016177 | -0.0039829 | 0.0012193 | -39.3204 | -39.3204 | -39.3204 | -39.3204 | -39.3204 | -39.3204 |  | 1.008 | 1.2209 | 1.1361 | 1.008 | 1.2209 | 1.1361 | -10.2584 | -120.204 | 121.7249 | -10.2584 | -120.204 | 121.7249

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0795 | 0.46955 | 0.4067 | 1.0812 | 0.47093 | 0.40781 | 12.4653 | 5.4219 | 4.6962 | 12.4851 | 5.4379 | 4.709 | -3.3354e-11 | 2.3376 | 6.5464 | 5.3496 | -0.22165 | -4.7841 | 5.9313e-12 | 6.2869 | -1.9842 | 1.7448 | -6.045 | 1.9721 | 134.9591 | 145.0071 | 152.1421 | -45.1369 | -35.2463 | -28.1723 |  | 0 | 1.2371 | 1.4566 | 0.4507 | 1.1124 | 1.0989 | 0 | -145.3892 | 135.28 | -27.0725 | -127.3462 | 129.4256
Line_1 | 0.54189 | 0.23665 | 0.20501 | 0.54062 | 0.23547 | 0.20391 | 6.2572 | 2.7326 | 2.3673 | 6.2426 | 2.7189 | 2.3545 | 4.0253 | 0.42411 | -1.9568 | -2.6748 | 0.11082 | 2.392 | 1.3128 | -2.9697 | 0.98805 | -0.87242 | 3.0225 | -0.98603 | -45.1758 | -35.3867 | -28.3737 | 134.8631 | 144.7537 | 151.8277 |  | 0.67666 | 1.0978 | 0.92601 | 0.4507 | 1.1124 | 1.0989 | -27.1124 | -117.259 | 124.8358 | -27.0725 | -127.3462 | 129.4256
Line_2 | 0.54189 | 0.23665 | 0.20501 | 0.54062 | 0.23547 | 0.20391 | 6.2572 | 2.7326 | 2.3673 | 6.2426 | 2.7189 | 2.3545 | 4.0253 | 0.42411 | -1.9568 | -2.6748 | 0.11082 | 2.392 | 1.3128 | -2.9697 | 0.98805 | -0.87242 | 3.0225 | -0.98603 | -45.1758 | -35.3867 | -28.3737 | 134.8631 | 144.7537 | 151.8277 |  | 0.67666 | 1.0978 | 0.92601 | 0.4507 | 1.1124 | 1.0989 | -27.1124 | -117.259 | 124.8358 | -27.0725 | -127.3462 | 129.4256
Line_3 | 0.00055905 | 0.00055905 | 0.00055905 | 0.00055905 | 0.00055905 | 0.00055905 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0042692 | 0.0014816 | -0.0057508 | 0.0042692 | 0.0014816 | -0.0057508 | 0.00092419 | -0.00693 | 0.0016313 | 0.00092419 | -0.00693 | 0.0016313 | -39.3273 | -39.3273 | -39.3273 | -39.3273 | -39.3273 | -39.3273 |  | 0.67666 | 1.0978 | 0.92601 | 0.67666 | 1.0978 | 0.92601 | -27.1124 | -117.259 | 124.8358 | -27.1124 | -117.259 | 124.8358

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.0795 | 0.46955 | 0.4067 | 1.0812 | 0.47093 | 0.40781 | 12.4653 | 5.4219 | 4.6962 | 12.4851 | 5.4379 | 4.709 | -3.3354e-11 | 2.3376 | 6.5464 | 5.3496 | -0.22165 | -4.7841 | 5.9313e-12 | 6.2869 | -1.9842 | 1.7448 | -6.045 | 1.9721 | 134.9591 | 145.0071 | 152.1421 | -45.1369 | -35.2463 | -28.1723 |  | 0 | 1.2371 | 1.4566 | 0.4507 | 1.1124 | 1.0989 | 0 | -145.3892 | 135.28 | -27.0725 | -127.3462 | 129.4256
Line_1 | 0.54189 | 0.23665 | 0.20501 | 0.54062 | 0.23547 | 0.20391 | 6.2572 | 2.7326 | 2.3673 | 6.2426 | 2.7189 | 2.3545 | 4.0253 | 0.42411 | -1.9568 | -2.6748 | 0.11082 | 2.392 | 1.3128 | -2.9697 | 0.98805 | -0.87242 | 3.0225 | -0.98603 | -45.1758 | -35.3867 | -28.3737 | 134.8631 | 144.7537 | 151.8277 |  | 0.67666 | 1.0978 | 0.92601 | 0.4507 | 1.1124 | 1.0989 | -27.1124 | -117.259 | 124.8358 | -27.0725 | -127.3462 | 129.4256
Line_2 | 0.54189 | 0.23665 | 0.20501 | 0.54062 | 0.23547 | 0.20391 | 6.2572 | 2.7326 | 2.3673 | 6.2426 | 2.7189 | 2.3545 | 4.0253 | 0.42411 | -1.9568 | -2.6748 | 0.11082 | 2.392 | 1.3128 | -2.9697 | 0.98805 | -0.87242 | 3.0225 | -0.98603 | -45.1758 | -35.3867 | -28.3737 | 134.8631 | 144.7537 | 151.8277 |  | 0.67666 | 1.0978 | 0.92601 | 0.4507 | 1.1124 | 1.0989 | -27.1124 | -117.259 | 124.8358 | -27.0725 | -127.3462 | 129.4256
Line_3 | 0.00055905 | 0.00055905 | 0.00055905 | 0.00055905 | 0.00055905 | 0.00055905 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0064553 | 0.0042692 | 0.0014816 | -0.0057508 | 0.0042692 | 0.0014816 | -0.0057508 | 0.00092419 | -0.00693 | 0.0016313 | 0.00092419 | -0.00693 | 0.0016313 | -39.3273 | -39.3273 | -39.3273 | -39.3273 | -39.3273 | -39.3273 |  | 0.67666 | 1.0978 | 0.92601 | 0.67666 | 1.0978 | 0.92601 | -27.1124 | -117.259 | 124.8358 | -27.1124 | -117.259 | 124.8358

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38335 | 0.16674 | 0.14442 | 0.38396 | 0.16723 | 0.14482 | 4.4266 | 1.9254 | 1.6677 | 4.4336 | 1.9311 | 1.6722 | -2.6508 | 0.63005 | 1.4957 | 3.3276 | -0.35877 | -1.2801 | -1.2212 | 2.0172 | -1.122 | 1.4476 | -1.9918 | 1.1191 | 148.1865 | 158.2345 | 165.3695 | -31.9094 | -22.0189 | -14.9448 |  | 0.65934 | 1.0976 | 1.1212 | 0.81849 | 1.048 | 1.0168 | -7.0791 | -129.1111 | 128.4948 | -8.3991 | -122.2299 | 123.8933
Line_1 | 0.19243 | 0.084037 | 0.072802 | 0.19198 | 0.083617 | 0.07241 | 2.222 | 0.97038 | 0.84064 | 2.2168 | 0.96553 | 0.83612 | 1.8368 | -0.11125 | -0.58852 | -1.6638 | 0.17939 | 0.64003 | 0.78168 | -0.99273 | 0.56096 | -0.7238 | 0.99589 | -0.55955 | -31.9484 | -22.1592 | -15.1463 | 148.0906 | 157.9811 | 165.0552 |  | 0.89838 | 1.0294 | 0.96716 | 0.81849 | 1.048 | 1.0168 | -8.8955 | -118.5532 | 121.2267 | -8.3991 | -122.2299 | 123.8933
Line_2 | 0.19243 | 0.084037 | 0.072802 | 0.19198 | 0.083617 | 0.07241 | 2.222 | 0.97038 | 0.84064 | 2.2168 | 0.96553 | 0.83612 | 1.8368 | -0.11125 | -0.58852 | -1.6638 | 0.17939 | 0.64003 | 0.78168 | -0.99273 | 0.56096 | -0.7238 | 0.99589 | -0.55955 | -31.9484 | -22.1592 | -15.1463 | 148.0906 | 157.9811 | 165.0552 |  | 0.89838 | 1.0294 | 0.96716 | 0.81849 | 1.048 | 1.0168 | -8.8955 | -118.5532 | 121.2267 | -8.3991 | -122.2299 | 123.8933
Line_3 | 0.00019852 | 0.00019852 | 0.00019852 | 0.00019852 | 0.00019852 | 0.00019852 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0019673 | -0.00010102 | -0.0018663 | 0.0019673 | -0.00010102 | -0.0018663 | 0.00060914 | -0.0023577 | 0.0011969 | 0.00060914 | -0.0023577 | 0.0011969 | -26.0998 | -26.0998 | -26.0998 | -26.0998 | -26.0998 | -26.0998 |  | 0.89838 | 1.0294 | 0.96716 | 0.89838 | 1.0294 | 0.96716 | -8.8955 | -118.5532 | 121.2267 | -8.8955 | -118.5532 | 121.2267

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38335 | 0.16674 | 0.14442 | 0.38396 | 0.16723 | 0.14482 | 4.4266 | 1.9254 | 1.6677 | 4.4336 | 1.9311 | 1.6722 | -2.6508 | 0.63005 | 1.4957 | 3.3276 | -0.35877 | -1.2801 | -1.2212 | 2.0172 | -1.122 | 1.4476 | -1.9918 | 1.1191 | 148.1865 | 158.2345 | 165.3695 | -31.9094 | -22.0189 | -14.9448 |  | 0.65934 | 1.0976 | 1.1212 | 0.81849 | 1.048 | 1.0168 | -7.0791 | -129.1111 | 128.4948 | -8.3991 | -122.2299 | 123.8933
Line_1 | 0.19243 | 0.084037 | 0.072802 | 0.19198 | 0.083617 | 0.07241 | 2.222 | 0.97038 | 0.84064 | 2.2168 | 0.96553 | 0.83612 | 1.8368 | -0.11125 | -0.58852 | -1.6638 | 0.17939 | 0.64003 | 0.78168 | -0.99273 | 0.56096 | -0.7238 | 0.99589 | -0.55955 | -31.9484 | -22.1592 | -15.1463 | 148.0906 | 157.9811 | 165.0552 |  | 0.89838 | 1.0294 | 0.96716 | 0.81849 | 1.048 | 1.0168 | -8.8955 | -118.5532 | 121.2267 | -8.3991 | -122.2299 | 123.8933
Line_2 | 0.19243 | 0.084037 | 0.072802 | 0.19198 | 0.083617 | 0.07241 | 2.222 | 0.97038 | 0.84064 | 2.2168 | 0.96553 | 0.83612 | 1.8368 | -0.11125 | -0.58852 | -1.6638 | 0.17939 | 0.64003 | 0.78168 | -0.99273 | 0.56096 | -0.7238 | 0.99589 | -0.55955 | -31.9484 | -22.1592 | -15.1463 | 148.0906 | 157.9811 | 165.0552 |  | 0.89838 | 1.0294 | 0.96716 | 0.81849 | 1.048 | 1.0168 | -8.8955 | -118.5532 | 121.2267 | -8.3991 | -122.2299 | 123.8933
Line_3 | 0.00019852 | 0.00019852 | 0.00019852 | 0.00019852 | 0.00019852 | 0.00019852 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0022924 | 0.0019673 | -0.00010102 | -0.0018663 | 0.0019673 | -0.00010102 | -0.0018663 | 0.00060914 | -0.0023577 | 0.0011969 | 0.00060914 | -0.0023577 | 0.0011969 | -26.0998 | -26.0998 | -26.0998 | -26.0998 | -26.0998 | -26.0998 |  | 0.89838 | 1.0294 | 0.96716 | 0.89838 | 1.0294 | 0.96716 | -8.8955 | -118.5532 | 121.2267 | -8.8955 | -118.5532 | 121.2267

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16579 | 2.0189 | 1.347 | 0.16703 | 2.0195 | 1.3484 | 1.9143 | 23.3121 | 15.5538 | 1.9288 | 23.3197 | 15.5699 | 2.4926 | 4.9302e-11 | 3.1353e-11 | -2.1142 | 6.2256 | 0.76959 | 1.463 | -2.2608e-11 | -1.7319e-11 | -1.5046 | 0.64547 | 4.0497 | -31.6756 | -12.576 | -129.2903 | 147.7836 | 167.3702 | 50.7708 |  | 1.5098 | 0 | 0 | 1.3454 | 0.2684 | 0.26475 | -1.2656 | 0 | 0 | 3.2219 | 173.2894 | 130.0109
Line_1 | 0.084738 | 1.0107 | 0.67475 | 0.083517 | 1.0098 | 0.6742 | 0.97847 | 11.6704 | 7.7913 | 0.96438 | 11.6599 | 7.785 | -0.96853 | 4.6767 | 0.58406 | 1.0571 | -3.1128 | -0.38479 | -0.77325 | 0.48665 | 3.0418 | 0.75229 | -0.32273 | -2.0248 | 147.3062 | 167.3094 | 50.8807 | -32.2164 | -12.6298 | -129.2292 |  | 1.2666 | 0.4029 | 0.39754 | 1.3454 | 0.2684 | 0.26475 | 5.9093 | 173.25 | 130.0115 | 3.2219 | 173.2894 | 130.0109
Line_2 | 0.084738 | 1.0107 | 0.67475 | 0.083517 | 1.0098 | 0.6742 | 0.97847 | 11.6704 | 7.7913 | 0.96438 | 11.6599 | 7.785 | -0.96853 | 4.6767 | 0.58406 | 1.0571 | -3.1128 | -0.38479 | -0.77325 | 0.48665 | 3.0418 | 0.75229 | -0.32273 | -2.0248 | 147.3062 | 167.3094 | 50.8807 | -32.2164 | -12.6298 | -129.2292 |  | 1.2666 | 0.4029 | 0.39754 | 1.3454 | 0.2684 | 0.26475 | 5.9093 | 173.25 | 130.0115 | 3.2219 | 173.2894 | 130.0109
Line_3 | 0.00063775 | 0.00063775 | 0.00063775 | 0.00063775 | 0.00063775 | 0.00063775 | 0.007364 | 0.007364 | 0.007364 | 0.007364 | 0.007364 | 0.007364 | -0.0050372 | 0.0021106 | 0.0029266 | -0.0050372 | 0.0021106 | 0.0029266 | -0.0078504 | 0.0020853 | 7.2344e-05 | -0.0078504 | 0.0020853 | 7.2344e-05 | 128.5954 | 128.5954 | 128.5954 | 128.5954 | 128.5954 | 128.5954 |  | 1.2666 | 0.4029 | 0.39754 | 1.2666 | 0.4029 | 0.39754 | 5.9093 | 173.25 | 130.0115 | 5.9093 | 173.25 | 130.0115

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16579 | 2.0189 | 1.347 | 0.16703 | 2.0195 | 1.3484 | 1.9143 | 23.3121 | 15.5538 | 1.9288 | 23.3197 | 15.5699 | 2.4926 | 4.9302e-11 | 3.1353e-11 | -2.1142 | 6.2256 | 0.76959 | 1.463 | -2.2608e-11 | -1.7319e-11 | -1.5046 | 0.64547 | 4.0497 | -31.6756 | -12.576 | -129.2903 | 147.7836 | 167.3702 | 50.7708 |  | 1.5098 | 0 | 0 | 1.3454 | 0.2684 | 0.26475 | -1.2656 | 0 | 0 | 3.2219 | 173.2894 | 130.0109
Line_1 | 0.084738 | 1.0107 | 0.67475 | 0.083517 | 1.0098 | 0.6742 | 0.97847 | 11.6704 | 7.7913 | 0.96438 | 11.6599 | 7.785 | -0.96853 | 4.6767 | 0.58406 | 1.0571 | -3.1128 | -0.38479 | -0.77325 | 0.48665 | 3.0418 | 0.75229 | -0.32273 | -2.0248 | 147.3062 | 167.3094 | 50.8807 | -32.2164 | -12.6298 | -129.2292 |  | 1.2666 | 0.4029 | 0.39754 | 1.3454 | 0.2684 | 0.26475 | 5.9093 | 173.25 | 130.0115 | 3.2219 | 173.2894 | 130.0109
Line_2 | 0.084738 | 1.0107 | 0.67475 | 0.083517 | 1.0098 | 0.6742 | 0.97847 | 11.6704 | 7.7913 | 0.96438 | 11.6599 | 7.785 | -0.96853 | 4.6767 | 0.58406 | 1.0571 | -3.1128 | -0.38479 | -0.77325 | 0.48665 | 3.0418 | 0.75229 | -0.32273 | -2.0248 | 147.3062 | 167.3094 | 50.8807 | -32.2164 | -12.6298 | -129.2292 |  | 1.2666 | 0.4029 | 0.39754 | 1.3454 | 0.2684 | 0.26475 | 5.9093 | 173.25 | 130.0115 | 3.2219 | 173.2894 | 130.0109
Line_3 | 0.00063775 | 0.00063775 | 0.00063775 | 0.00063775 | 0.00063775 | 0.00063775 | 0.007364 | 0.007364 | 0.007364 | 0.007364 | 0.007364 | 0.007364 | -0.0050372 | 0.0021106 | 0.0029266 | -0.0050372 | 0.0021106 | 0.0029266 | -0.0078504 | 0.0020853 | 7.2344e-05 | -0.0078504 | 0.0020853 | 7.2344e-05 | 128.5954 | 128.5954 | 128.5954 | 128.5954 | 128.5954 | 128.5954 |  | 1.2666 | 0.4029 | 0.39754 | 1.2666 | 0.4029 | 0.39754 | 5.9093 | 173.25 | 130.0115 | 5.9093 | 173.25 | 130.0115

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15841 | 0.65779 | 0.53281 | 0.15802 | 0.65816 | 0.53346 | 1.8291 | 7.5955 | 6.1524 | 1.8247 | 7.5997 | 6.1599 | 1.5896 | -2.605 | -4.7238 | -1.5366 | 3.3779 | 4.9457 | -1.7373 | -6.2639 | -2.8371 | 1.6108 | 6.3811 | 3.463 | 48.0308 | -8.9099 | -105.5209 | -132.2182 | 171.0294 | 74.5267 |  | 1.2874 | 0.89316 | 0.89565 | 1.22 | 0.95004 | 0.98014 | 0.4897 | -121.4912 | 105.4681 | 1.43 | -126.8654 | 109.527
Line_1 | 0.078938 | 0.32949 | 0.26705 | 0.079012 | 0.32908 | 0.26673 | 0.9115 | 3.8047 | 3.0836 | 0.91236 | 3.7999 | 3.0799 | -0.75874 | 1.8828 | 2.5326 | 0.76828 | -1.6889 | -2.4728 | 0.77047 | 3.2242 | 1.8865 | -0.80541 | -3.1906 | -1.7315 | -132.6154 | 170.9662 | 74.6242 | 47.7818 | -8.9706 | -105.4733 |  | 1.1863 | 0.98133 | 1.0241 | 1.22 | 0.95004 | 0.98014 | 1.9451 | -129.3176 | 111.3055 | 1.43 | -126.8654 | 109.527
Line_2 | 0.078938 | 0.32949 | 0.26705 | 0.079012 | 0.32908 | 0.26673 | 0.9115 | 3.8047 | 3.0836 | 0.91236 | 3.7999 | 3.0799 | -0.75874 | 1.8828 | 2.5326 | 0.76828 | -1.6889 | -2.4728 | 0.77047 | 3.2242 | 1.8865 | -0.80541 | -3.1906 | -1.7315 | -132.6154 | 170.9662 | 74.6242 | 47.7818 | -8.9706 | -105.4733 |  | 1.1863 | 0.98133 | 1.0241 | 1.22 | 0.95004 | 0.98014 | 1.9451 | -129.3176 | 111.3055 | 1.43 | -126.8654 | 109.527
Line_3 | 0.00025035 | 0.00025035 | 0.00025035 | 0.00025035 | 0.00025035 | 0.00025035 | 0.0028908 | 0.0028908 | 0.0028908 | 0.0028908 | 0.0028908 | 0.0028908 | -0.002583 | 6.411e-06 | 0.0025766 | -0.002583 | 6.411e-06 | 0.0025766 | -0.0022559 | 0.0028368 | -0.0014582 | -0.0022559 | 0.0028368 | -0.0014582 | 140.8119 | 140.8119 | 140.8119 | 140.8119 | 140.8119 | 140.8119 |  | 1.1863 | 0.98133 | 1.0241 | 1.1863 | 0.98133 | 1.0241 | 1.9451 | -129.3176 | 111.3055 | 1.9451 | -129.3176 | 111.3055

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15841 | 0.65779 | 0.53281 | 0.15802 | 0.65816 | 0.53346 | 1.8291 | 7.5955 | 6.1524 | 1.8247 | 7.5997 | 6.1599 | 1.5896 | -2.605 | -4.7238 | -1.5366 | 3.3779 | 4.9457 | -1.7373 | -6.2639 | -2.8371 | 1.6108 | 6.3811 | 3.463 | 48.0308 | -8.9099 | -105.5209 | -132.2182 | 171.0294 | 74.5267 |  | 1.2874 | 0.89316 | 0.89565 | 1.22 | 0.95004 | 0.98014 | 0.4897 | -121.4912 | 105.4681 | 1.43 | -126.8654 | 109.527
Line_1 | 0.078938 | 0.32949 | 0.26705 | 0.079012 | 0.32908 | 0.26673 | 0.9115 | 3.8047 | 3.0836 | 0.91236 | 3.7999 | 3.0799 | -0.75874 | 1.8828 | 2.5326 | 0.76828 | -1.6889 | -2.4728 | 0.77047 | 3.2242 | 1.8865 | -0.80541 | -3.1906 | -1.7315 | -132.6154 | 170.9662 | 74.6242 | 47.7818 | -8.9706 | -105.4733 |  | 1.1863 | 0.98133 | 1.0241 | 1.22 | 0.95004 | 0.98014 | 1.9451 | -129.3176 | 111.3055 | 1.43 | -126.8654 | 109.527
Line_2 | 0.078938 | 0.32949 | 0.26705 | 0.079012 | 0.32908 | 0.26673 | 0.9115 | 3.8047 | 3.0836 | 0.91236 | 3.7999 | 3.0799 | -0.75874 | 1.8828 | 2.5326 | 0.76828 | -1.6889 | -2.4728 | 0.77047 | 3.2242 | 1.8865 | -0.80541 | -3.1906 | -1.7315 | -132.6154 | 170.9662 | 74.6242 | 47.7818 | -8.9706 | -105.4733 |  | 1.1863 | 0.98133 | 1.0241 | 1.22 | 0.95004 | 0.98014 | 1.9451 | -129.3176 | 111.3055 | 1.43 | -126.8654 | 109.527
Line_3 | 0.00025035 | 0.00025035 | 0.00025035 | 0.00025035 | 0.00025035 | 0.00025035 | 0.0028908 | 0.0028908 | 0.0028908 | 0.0028908 | 0.0028908 | 0.0028908 | -0.002583 | 6.411e-06 | 0.0025766 | -0.002583 | 6.411e-06 | 0.0025766 | -0.0022559 | 0.0028368 | -0.0014582 | -0.0022559 | 0.0028368 | -0.0014582 | 140.8119 | 140.8119 | 140.8119 | 140.8119 | 140.8119 | 140.8119 |  | 1.1863 | 0.98133 | 1.0241 | 1.1863 | 0.98133 | 1.0241 | 1.9451 | -129.3176 | 111.3055 | 1.9451 | -129.3176 | 111.3055

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16302 | 1.5706 | 0.8722 | 0.16428 | 1.5707 | 0.87325 | 1.8824 | 18.1357 | 10.0713 | 1.8969 | 18.1368 | 10.0834 | 1.8739 | -2.9133e-11 | -1.159e-11 | -1.451 | 6.1324 | -0.031712 | 1.7366 | -2.6311e-11 | -1.888e-11 | -1.5917 | -0.35534 | 2.5822 | -43.9997 | 3.0915 | -133.7193 | 135.6363 | -176.9678 | 46.3626 |  | 1.3572 | 0 | 0 | 1.1354 | 0.33869 | 0.2561 | -1.1772 | 0 | 0 | 3.2846 | 179.7159 | 137.0662
Line_1 | 0.082988 | 0.78582 | 0.43678 | 0.08214 | 0.78534 | 0.43663 | 0.95827 | 9.0738 | 5.0435 | 0.94847 | 9.0684 | 5.0417 | -0.62361 | 4.6047 | -0.019456 | 0.72549 | -3.0662 | 0.015856 | -0.76224 | -0.26643 | 1.9398 | 0.79586 | 0.17767 | -1.2911 | 135.5408 | -177.0202 | 46.4736 | -44.3637 | 3.0322 | -133.6374 |  | 1.0277 | 0.50832 | 0.38464 | 1.1354 | 0.33869 | 0.2561 | 6.2534 | 179.6683 | 137.0483 | 3.2846 | 179.7159 | 137.0662
Line_2 | 0.082988 | 0.78582 | 0.43678 | 0.08214 | 0.78534 | 0.43663 | 0.95827 | 9.0738 | 5.0435 | 0.94847 | 9.0684 | 5.0417 | -0.62361 | 4.6047 | -0.019456 | 0.72549 | -3.0662 | 0.015856 | -0.76224 | -0.26643 | 1.9398 | 0.79586 | 0.17767 | -1.2911 | 135.5408 | -177.0202 | 46.4736 | -44.3637 | 3.0322 | -133.6374 |  | 1.0277 | 0.50832 | 0.38464 | 1.1354 | 0.33869 | 0.2561 | 6.2534 | 179.6683 | 137.0483 | 3.2846 | 179.7159 | 137.0662
Line_3 | 0.00036507 | 0.00036507 | 0.00036507 | 0.00036507 | 0.00036507 | 0.00036507 | 0.0042155 | 0.0042155 | 0.0042155 | 0.0042155 | 0.0042155 | 0.0042155 | -0.0034215 | 0.0018319 | 0.0015896 | -0.0034215 | 0.0018319 | 0.0015896 | -0.0026576 | 0.0011117 | -0.00031959 | -0.0026576 | 0.0011117 | -0.00031959 | 148.4158 | 148.4158 | 148.4158 | 148.4158 | 148.4158 | 148.4158 |  | 1.0277 | 0.50832 | 0.38464 | 1.0277 | 0.50832 | 0.38464 | 6.2534 | 179.6683 | 137.0483 | 6.2534 | 179.6683 | 137.0483

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16302 | 1.5706 | 0.8722 | 0.16428 | 1.5707 | 0.87325 | 1.8824 | 18.1357 | 10.0713 | 1.8969 | 18.1368 | 10.0834 | 1.8739 | -2.9133e-11 | -1.159e-11 | -1.451 | 6.1324 | -0.031712 | 1.7366 | -2.6311e-11 | -1.888e-11 | -1.5917 | -0.35534 | 2.5822 | -43.9997 | 3.0915 | -133.7193 | 135.6363 | -176.9678 | 46.3626 |  | 1.3572 | 0 | 0 | 1.1354 | 0.33869 | 0.2561 | -1.1772 | 0 | 0 | 3.2846 | 179.7159 | 137.0662
Line_1 | 0.082988 | 0.78582 | 0.43678 | 0.08214 | 0.78534 | 0.43663 | 0.95827 | 9.0738 | 5.0435 | 0.94847 | 9.0684 | 5.0417 | -0.62361 | 4.6047 | -0.019456 | 0.72549 | -3.0662 | 0.015856 | -0.76224 | -0.26643 | 1.9398 | 0.79586 | 0.17767 | -1.2911 | 135.5408 | -177.0202 | 46.4736 | -44.3637 | 3.0322 | -133.6374 |  | 1.0277 | 0.50832 | 0.38464 | 1.1354 | 0.33869 | 0.2561 | 6.2534 | 179.6683 | 137.0483 | 3.2846 | 179.7159 | 137.0662
Line_2 | 0.082988 | 0.78582 | 0.43678 | 0.08214 | 0.78534 | 0.43663 | 0.95827 | 9.0738 | 5.0435 | 0.94847 | 9.0684 | 5.0417 | -0.62361 | 4.6047 | -0.019456 | 0.72549 | -3.0662 | 0.015856 | -0.76224 | -0.26643 | 1.9398 | 0.79586 | 0.17767 | -1.2911 | 135.5408 | -177.0202 | 46.4736 | -44.3637 | 3.0322 | -133.6374 |  | 1.0277 | 0.50832 | 0.38464 | 1.1354 | 0.33869 | 0.2561 | 6.2534 | 179.6683 | 137.0483 | 3.2846 | 179.7159 | 137.0662
Line_3 | 0.00036507 | 0.00036507 | 0.00036507 | 0.00036507 | 0.00036507 | 0.00036507 | 0.0042155 | 0.0042155 | 0.0042155 | 0.0042155 | 0.0042155 | 0.0042155 | -0.0034215 | 0.0018319 | 0.0015896 | -0.0034215 | 0.0018319 | 0.0015896 | -0.0026576 | 0.0011117 | -0.00031959 | -0.0026576 | 0.0011117 | -0.00031959 | 148.4158 | 148.4158 | 148.4158 | 148.4158 | 148.4158 | 148.4158 |  | 1.0277 | 0.50832 | 0.38464 | 1.0277 | 0.50832 | 0.38464 | 6.2534 | 179.6683 | 137.0483 | 6.2534 | 179.6683 | 137.0483

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11058 | 0.39008 | 0.2923 | 0.11108 | 0.39005 | 0.29303 | 1.2768 | 4.5043 | 3.3751 | 1.2826 | 4.5039 | 3.3837 | 1.2878 | -2.3999 | -2.5329 | -1.1498 | 2.9391 | 2.779 | 0.7314 | -2.4934 | -0.17267 | -0.70382 | 2.3453 | 0.53357 | -29.7005 | 15.0209 | -80.3907 | 150.0176 | -165.0877 | 99.6169 |  | 1.1599 | 0.76832 | 0.75219 | 1.0511 | 0.83485 | 0.83631 | -0.10551 | -118.8848 | 103.5092 | 1.489 | -126.4989 | 110.4855
Line_1 | 0.05591 | 0.19521 | 0.14684 | 0.055538 | 0.19503 | 0.14652 | 0.6456 | 2.2541 | 1.6956 | 0.64129 | 2.252 | 1.6918 | -0.54265 | 1.6053 | 1.4535 | 0.57491 | -1.4695 | -1.3895 | -0.34607 | 1.138 | 0.35587 | 0.35191 | -1.1726 | -0.26679 | 149.8994 | -165.1888 | 99.7002 | -29.9824 | 14.9123 | -80.3831 |  | 0.99693 | 0.87295 | 0.88256 | 1.0511 | 0.83485 | 0.83631 | 2.4269 | -129.8564 | 113.4573 | 1.489 | -126.4989 | 110.4855
Line_2 | 0.05591 | 0.19521 | 0.14684 | 0.055538 | 0.19503 | 0.14652 | 0.6456 | 2.2541 | 1.6956 | 0.64129 | 2.252 | 1.6918 | -0.54265 | 1.6053 | 1.4535 | 0.57491 | -1.4695 | -1.3895 | -0.34607 | 1.138 | 0.35587 | 0.35191 | -1.1726 | -0.26679 | 149.8994 | -165.1888 | 99.7002 | -29.9824 | 14.9123 | -80.3831 |  | 0.99693 | 0.87295 | 0.88256 | 1.0511 | 0.83485 | 0.83631 | 2.4269 | -129.8564 | 113.4573 | 1.489 | -126.4989 | 110.4855
Line_3 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0019122 | 0.0019122 | 0.0019122 | 0.0019122 | 0.0019122 | 0.0019122 | -0.0016899 | 0.00042401 | 0.0012659 | -0.0016899 | 0.00042401 | 0.0012659 | -0.00088225 | 0.0016145 | -0.0011161 | -0.00088225 | 0.0016145 | -0.0011161 | 154.859 | 154.859 | 154.859 | 154.859 | 154.859 | 154.859 |  | 0.99693 | 0.87295 | 0.88256 | 0.99693 | 0.87295 | 0.88256 | 2.4269 | -129.8564 | 113.4573 | 2.4269 | -129.8564 | 113.4573

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.11058 | 0.39008 | 0.2923 | 0.11108 | 0.39005 | 0.29303 | 1.2768 | 4.5043 | 3.3751 | 1.2826 | 4.5039 | 3.3837 | 1.2878 | -2.3999 | -2.5329 | -1.1498 | 2.9391 | 2.779 | 0.7314 | -2.4934 | -0.17267 | -0.70382 | 2.3453 | 0.53357 | -29.7005 | 15.0209 | -80.3907 | 150.0176 | -165.0877 | 99.6169 |  | 1.1599 | 0.76832 | 0.75219 | 1.0511 | 0.83485 | 0.83631 | -0.10551 | -118.8848 | 103.5092 | 1.489 | -126.4989 | 110.4855
Line_1 | 0.05591 | 0.19521 | 0.14684 | 0.055538 | 0.19503 | 0.14652 | 0.6456 | 2.2541 | 1.6956 | 0.64129 | 2.252 | 1.6918 | -0.54265 | 1.6053 | 1.4535 | 0.57491 | -1.4695 | -1.3895 | -0.34607 | 1.138 | 0.35587 | 0.35191 | -1.1726 | -0.26679 | 149.8994 | -165.1888 | 99.7002 | -29.9824 | 14.9123 | -80.3831 |  | 0.99693 | 0.87295 | 0.88256 | 1.0511 | 0.83485 | 0.83631 | 2.4269 | -129.8564 | 113.4573 | 1.489 | -126.4989 | 110.4855
Line_2 | 0.05591 | 0.19521 | 0.14684 | 0.055538 | 0.19503 | 0.14652 | 0.6456 | 2.2541 | 1.6956 | 0.64129 | 2.252 | 1.6918 | -0.54265 | 1.6053 | 1.4535 | 0.57491 | -1.4695 | -1.3895 | -0.34607 | 1.138 | 0.35587 | 0.35191 | -1.1726 | -0.26679 | 149.8994 | -165.1888 | 99.7002 | -29.9824 | 14.9123 | -80.3831 |  | 0.99693 | 0.87295 | 0.88256 | 1.0511 | 0.83485 | 0.83631 | 2.4269 | -129.8564 | 113.4573 | 1.489 | -126.4989 | 110.4855
Line_3 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0001656 | 0.0019122 | 0.0019122 | 0.0019122 | 0.0019122 | 0.0019122 | 0.0019122 | -0.0016899 | 0.00042401 | 0.0012659 | -0.0016899 | 0.00042401 | 0.0012659 | -0.00088225 | 0.0016145 | -0.0011161 | -0.00088225 | 0.0016145 | -0.0011161 | 154.859 | 154.859 | 154.859 | 154.859 | 154.859 | 154.859 |  | 0.99693 | 0.87295 | 0.88256 | 0.99693 | 0.87295 | 0.88256 | 2.4269 | -129.8564 | 113.4573 | 2.4269 | -129.8564 | 113.4573