## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6534e-15 | 7.1662e-15 | -5.6288e-15 | -1.696e-14 | 1.447e-14 | 0 | -1.955e-16 | -1.12e-14 | -5.158e-15 | -5.865e-16 | 4.5227e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6534e-15 | 7.1662e-15 | -5.6288e-15 | -1.696e-14 | 1.447e-14 | 0 | -1.955e-16 | -1.12e-14 | -5.158e-15 | -5.865e-16 | 4.5227e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1253e-15 | -1.8991e-14 | -3.1058e-15 | -1.3107e-15 | -1.5682e-15 | 7.1535e-15 | 2.834e-15 | 1.7579e-14 | 4.5887e-15 | -5.5713e-15 | 1.7407e-15 | 2.6115e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1253e-15 | -1.8991e-14 | -3.1058e-15 | -1.3107e-15 | -1.5682e-15 | 7.1535e-15 | 2.834e-15 | 1.7579e-14 | 4.5887e-15 | -5.5713e-15 | 1.7407e-15 | 2.6115e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5017e-15 | 6.9435e-15 | -2.211e-15 | -7.5017e-15 | -3.9841e-15 | 8.8438e-15 | -4.5654e-15 | -1.898e-15 | 1.0212e-16 | 4.5654e-15 | -4.5488e-16 | -4.0847e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5017e-15 | 6.9435e-15 | -2.211e-15 | -7.5017e-15 | -3.9841e-15 | 8.8438e-15 | -4.5654e-15 | -1.898e-15 | 1.0212e-16 | 4.5654e-15 | -4.5488e-16 | -4.0847e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8329e-15 | -3.7597e-15 | -2.8044e-15 | -1.8329e-15 | 1.8225e-15 | 2.3424e-15 | -2.3473e-15 | 1.9162e-15 | -1.5265e-15 | 2.3473e-15 | 1.6663e-15 | 2.1698e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8329e-15 | -3.7597e-15 | -2.8044e-15 | -1.8329e-15 | 1.8225e-15 | 2.3424e-15 | -2.3473e-15 | 1.9162e-15 | -1.5265e-15 | 2.3473e-15 | 1.6663e-15 | 2.1698e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2474 | 0.85474 | 0.71407 | 2.245 | 0.85748 | 0.7163 | 25.9512 | 9.8697 | 8.2454 | 25.923 | 9.9013 | 8.2711 | 4.2802 | -9.5614 | 11.408 | 1.128e-10 | 9.6004 | -11.7503 | 4.1295 | 7.7264 | 1.7147 | -1.0623e-10 | -7.9899 | -1.7267 | -67.7311 | 86.1224 | 120.9923 | 112.3006 | -93.8803 | -59.1354 |  | 0.22918 | 1.2455 | 1.3991 | 0 | 1.2615 | 1.4359 | -23.7573 | -132.8185 | 129.5403 | 0 | -133.6492 | 129.2241
Line_1 | 1.1357 | 0.43135 | 0.36046 | 1.1332 | 0.42874 | 0.35815 | 13.1142 | 4.9808 | 4.1623 | 13.0845 | 4.9507 | 4.1355 | 2.9503 | 5.6764 | -5.0957 | 6.3798e-11 | -4.8002 | 5.8751 | 1.3494 | -3.4304 | -0.83707 | -4.5239e-11 | 3.995 | 0.86333 | -75.6687 | -93.8421 | -59.3346 | 104.3588 | 86.1197 | 120.8646 |  | 0.24738 | 1.3316 | 1.2407 | 0 | 1.2615 | 1.4359 | -51.0901 | -124.9877 | 129.994 | 0 | -133.6492 | 129.2241
Line_2 | 1.1357 | 0.43135 | 0.36046 | 1.1332 | 0.42874 | 0.35815 | 13.1142 | 4.9808 | 4.1623 | 13.0845 | 4.9507 | 4.1355 | 2.9503 | 5.6764 | -5.0957 | 6.3798e-11 | -4.8002 | 5.8751 | 1.3494 | -3.4304 | -0.83707 | -4.5239e-11 | 3.995 | 0.86333 | -75.6687 | -93.8421 | -59.3346 | 104.3588 | 86.1197 | 120.8646 |  | 0.24738 | 1.3316 | 1.2407 | 0 | 1.2615 | 1.4359 | -51.0901 | -124.9877 | 129.994 | 0 | -133.6492 | 129.2241
Line_3 | 0.0011916 | 0.0011916 | 0.0011916 | 0.0011916 | 0.0011916 | 0.0011916 | 0.01376 | 0.01376 | 0.01376 | 0.01376 | 0.01376 | 0.01376 | 0.0030702 | 0.012185 | -0.015255 | 0.0030702 | 0.012185 | -0.015255 | 0.0014699 | -0.013683 | -0.0076617 | 0.0014699 | -0.013683 | -0.0076617 | -76.6731 | -76.6731 | -76.6731 | -76.6731 | -76.6731 | -76.6731 |  | 0.24738 | 1.3316 | 1.2407 | 0.24738 | 1.3316 | 1.2407 | -51.0901 | -124.9877 | 129.994 | -51.0901 | -124.9877 | 129.994

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2474 | 0.85474 | 0.71407 | 2.245 | 0.85748 | 0.7163 | 25.9512 | 9.8697 | 8.2454 | 25.923 | 9.9013 | 8.2711 | 4.2802 | -9.5614 | 11.408 | 1.128e-10 | 9.6004 | -11.7503 | 4.1295 | 7.7264 | 1.7147 | -1.0623e-10 | -7.9899 | -1.7267 | -67.7311 | 86.1224 | 120.9923 | 112.3006 | -93.8803 | -59.1354 |  | 0.22918 | 1.2455 | 1.3991 | 0 | 1.2615 | 1.4359 | -23.7573 | -132.8185 | 129.5403 | 0 | -133.6492 | 129.2241
Line_1 | 1.1357 | 0.43135 | 0.36046 | 1.1332 | 0.42874 | 0.35815 | 13.1142 | 4.9808 | 4.1623 | 13.0845 | 4.9507 | 4.1355 | 2.9503 | 5.6764 | -5.0957 | 6.3798e-11 | -4.8002 | 5.8751 | 1.3494 | -3.4304 | -0.83707 | -4.5239e-11 | 3.995 | 0.86333 | -75.6687 | -93.8421 | -59.3346 | 104.3588 | 86.1197 | 120.8646 |  | 0.24738 | 1.3316 | 1.2407 | 0 | 1.2615 | 1.4359 | -51.0901 | -124.9877 | 129.994 | 0 | -133.6492 | 129.2241
Line_2 | 1.1357 | 0.43135 | 0.36046 | 1.1332 | 0.42874 | 0.35815 | 13.1142 | 4.9808 | 4.1623 | 13.0845 | 4.9507 | 4.1355 | 2.9503 | 5.6764 | -5.0957 | 6.3798e-11 | -4.8002 | 5.8751 | 1.3494 | -3.4304 | -0.83707 | -4.5239e-11 | 3.995 | 0.86333 | -75.6687 | -93.8421 | -59.3346 | 104.3588 | 86.1197 | 120.8646 |  | 0.24738 | 1.3316 | 1.2407 | 0 | 1.2615 | 1.4359 | -51.0901 | -124.9877 | 129.994 | 0 | -133.6492 | 129.2241
Line_3 | 0.0011916 | 0.0011916 | 0.0011916 | 0.0011916 | 0.0011916 | 0.0011916 | 0.01376 | 0.01376 | 0.01376 | 0.01376 | 0.01376 | 0.01376 | 0.0030702 | 0.012185 | -0.015255 | 0.0030702 | 0.012185 | -0.015255 | 0.0014699 | -0.013683 | -0.0076617 | 0.0014699 | -0.013683 | -0.0076617 | -76.6731 | -76.6731 | -76.6731 | -76.6731 | -76.6731 | -76.6731 |  | 0.24738 | 1.3316 | 1.2407 | 0.24738 | 1.3316 | 1.2407 | -51.0901 | -124.9877 | 129.994 | -51.0901 | -124.9877 | 129.994

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55218 | 0.19704 | 0.31226 | 0.55152 | 0.19766 | 0.31257 | 6.376 | 2.2752 | 3.6057 | 6.3684 | 2.2824 | 3.6092 | 4.9065 | -2.7081 | 2.8944 | -4.6077 | 2.7483 | -2.939 | 2.9192 | 0.28303 | -3.198 | -2.671 | -0.32092 | 3.2611 | -37.9869 | 62.7532 | 172.4113 | 142.066 | -117.0876 | -7.7301 |  | 0.89542 | 1.1967 | 1.1963 | 0.83629 | 1.2123 | 1.2163 | -7.2354 | -123.2133 | 124.5583 | -7.8334 | -123.7479 | 124.2959
Line_1 | 0.42313 | 0.099363 | 0.15667 | 0.42233 | 0.098831 | 0.15628 | 4.8859 | 1.1473 | 1.8091 | 4.8767 | 1.1412 | 1.8046 | 2.7054 | 1.4025 | -1.3863 | -2.3587 | -1.3741 | 1.4695 | 3.5312 | -0.10358 | 1.5869 | -3.327 | 0.16046 | -1.6305 | -62.5102 | -116.7439 | -7.9853 | 117.5016 | 62.9124 | 172.2699 |  | 0.91047 | 1.2257 | 1.1647 | 0.83629 | 1.2123 | 1.2163 | -9.9676 | -120.9679 | 123.1548 | -7.8334 | -123.7479 | 124.2959
Line_2 | 0.42313 | 0.099363 | 0.15667 | 0.42233 | 0.098831 | 0.15628 | 4.8859 | 1.1473 | 1.8091 | 4.8767 | 1.1412 | 1.8046 | 2.7054 | 1.4025 | -1.3863 | -2.3587 | -1.3741 | 1.4695 | 3.5312 | -0.10358 | 1.5869 | -3.327 | 0.16046 | -1.6305 | -62.5102 | -116.7439 | -7.9853 | 117.5016 | 62.9124 | 172.2699 |  | 0.91047 | 1.2257 | 1.1647 | 0.83629 | 1.2123 | 1.2163 | -9.9676 | -120.9679 | 123.1548 | -7.8334 | -123.7479 | 124.2959
Line_3 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0025511 | 0.0023114 | -0.0048626 | 0.0025511 | 0.0023114 | -0.0048626 | 0.0028184 | -0.004566 | -8.2517e-05 | 0.0028184 | -0.004566 | -8.2517e-05 | -57.8174 | -57.8174 | -57.8174 | -57.8174 | -57.8174 | -57.8174 |  | 0.91047 | 1.2257 | 1.1647 | 0.91047 | 1.2257 | 1.1647 | -9.9676 | -120.9679 | 123.1548 | -9.9676 | -120.9679 | 123.1548

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55218 | 0.19704 | 0.31226 | 0.55152 | 0.19766 | 0.31257 | 6.376 | 2.2752 | 3.6057 | 6.3684 | 2.2824 | 3.6092 | 4.9065 | -2.7081 | 2.8944 | -4.6077 | 2.7483 | -2.939 | 2.9192 | 0.28303 | -3.198 | -2.671 | -0.32092 | 3.2611 | -37.9869 | 62.7532 | 172.4113 | 142.066 | -117.0876 | -7.7301 |  | 0.89542 | 1.1967 | 1.1963 | 0.83629 | 1.2123 | 1.2163 | -7.2354 | -123.2133 | 124.5583 | -7.8334 | -123.7479 | 124.2959
Line_1 | 0.42313 | 0.099363 | 0.15667 | 0.42233 | 0.098831 | 0.15628 | 4.8859 | 1.1473 | 1.8091 | 4.8767 | 1.1412 | 1.8046 | 2.7054 | 1.4025 | -1.3863 | -2.3587 | -1.3741 | 1.4695 | 3.5312 | -0.10358 | 1.5869 | -3.327 | 0.16046 | -1.6305 | -62.5102 | -116.7439 | -7.9853 | 117.5016 | 62.9124 | 172.2699 |  | 0.91047 | 1.2257 | 1.1647 | 0.83629 | 1.2123 | 1.2163 | -9.9676 | -120.9679 | 123.1548 | -7.8334 | -123.7479 | 124.2959
Line_2 | 0.42313 | 0.099363 | 0.15667 | 0.42233 | 0.098831 | 0.15628 | 4.8859 | 1.1473 | 1.8091 | 4.8767 | 1.1412 | 1.8046 | 2.7054 | 1.4025 | -1.3863 | -2.3587 | -1.3741 | 1.4695 | 3.5312 | -0.10358 | 1.5869 | -3.327 | 0.16046 | -1.6305 | -62.5102 | -116.7439 | -7.9853 | 117.5016 | 62.9124 | 172.2699 |  | 0.91047 | 1.2257 | 1.1647 | 0.83629 | 1.2123 | 1.2163 | -9.9676 | -120.9679 | 123.1548 | -7.8334 | -123.7479 | 124.2959
Line_3 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0003616 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0041754 | 0.0025511 | 0.0023114 | -0.0048626 | 0.0025511 | 0.0023114 | -0.0048626 | 0.0028184 | -0.004566 | -8.2517e-05 | 0.0028184 | -0.004566 | -8.2517e-05 | -57.8174 | -57.8174 | -57.8174 | -57.8174 | -57.8174 | -57.8174 |  | 0.91047 | 1.2257 | 1.1647 | 0.91047 | 1.2257 | 1.1647 | -9.9676 | -120.9679 | 123.1548 | -9.9676 | -120.9679 | 123.1548

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9809 | 0.73024 | 0.60694 | 1.9791 | 0.73218 | 0.60877 | 22.8735 | 8.4321 | 7.0083 | 22.8529 | 8.4545 | 7.0295 | 6.4556 | -3.0411 | 8.572 | -5.9353e-11 | 2.7003 | -8.9974 | 3.1209 | 8.3734 | 1.0955 | 4.0432e-12 | -8.4799 | -1.1755 | -57.231 | 116.1217 | 120.8302 | 122.8117 | -63.9768 | -59.3029 |  | 0.31348 | 1.0565 | 1.2331 | 0 | 1.0526 | 1.2908 | -31.4301 | -133.9181 | 128.1129 | 0 | -136.3137 | 128.1409
Line_1 | 0.87315 | 0.36803 | 0.30625 | 0.8712 | 0.36609 | 0.30439 | 10.0823 | 4.2496 | 3.5363 | 10.0598 | 4.2273 | 3.5147 | 3.4894 | 2.6544 | -3.4629 | -2.6127e-11 | -1.3501 | 4.4987 | 0.908 | -4.0055 | -0.48265 | -1.7858e-12 | 4.24 | 0.58777 | -65.0439 | -64.0973 | -59.4766 | 115.0046 | 116.0232 | 120.6971 |  | 0.35762 | 1.1307 | 0.9887 | 0 | 1.0526 | 1.2908 | -50.4581 | -120.5651 | 128.4581 | 0 | -136.3137 | 128.1409
Line_2 | 0.87315 | 0.36803 | 0.30625 | 0.8712 | 0.36609 | 0.30439 | 10.0823 | 4.2496 | 3.5363 | 10.0598 | 4.2273 | 3.5147 | 3.4894 | 2.6544 | -3.4629 | -2.6127e-11 | -1.3501 | 4.4987 | 0.908 | -4.0055 | -0.48265 | -1.7858e-12 | 4.24 | 0.58777 | -65.0439 | -64.0973 | -59.4766 | 115.0046 | 116.0232 | 120.6971 |  | 0.35762 | 1.1307 | 0.9887 | 0 | 1.0526 | 1.2908 | -50.4581 | -120.5651 | 128.4581 | 0 | -136.3137 | 128.1409
Line_3 | 0.00088535 | 0.00088535 | 0.00088535 | 0.00088535 | 0.00088535 | 0.00088535 | 0.010223 | 0.010223 | 0.010223 | 0.010223 | 0.010223 | 0.010223 | 0.0035585 | 0.0063217 | -0.0098803 | 0.0035585 | 0.0063217 | -0.0098803 | 0.00083855 | -0.0096781 | -0.0021318 | 0.00083855 | -0.0096781 | -0.0021318 | -63.7177 | -63.7177 | -63.7177 | -63.7177 | -63.7177 | -63.7177 |  | 0.35762 | 1.1307 | 0.9887 | 0.35762 | 1.1307 | 0.9887 | -50.4581 | -120.5651 | 128.4581 | -50.4581 | -120.5651 | 128.4581

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9809 | 0.73024 | 0.60694 | 1.9791 | 0.73218 | 0.60877 | 22.8735 | 8.4321 | 7.0083 | 22.8529 | 8.4545 | 7.0295 | 6.4556 | -3.0411 | 8.572 | -5.9353e-11 | 2.7003 | -8.9974 | 3.1209 | 8.3734 | 1.0955 | 4.0432e-12 | -8.4799 | -1.1755 | -57.231 | 116.1217 | 120.8302 | 122.8117 | -63.9768 | -59.3029 |  | 0.31348 | 1.0565 | 1.2331 | 0 | 1.0526 | 1.2908 | -31.4301 | -133.9181 | 128.1129 | 0 | -136.3137 | 128.1409
Line_1 | 0.87315 | 0.36803 | 0.30625 | 0.8712 | 0.36609 | 0.30439 | 10.0823 | 4.2496 | 3.5363 | 10.0598 | 4.2273 | 3.5147 | 3.4894 | 2.6544 | -3.4629 | -2.6127e-11 | -1.3501 | 4.4987 | 0.908 | -4.0055 | -0.48265 | -1.7858e-12 | 4.24 | 0.58777 | -65.0439 | -64.0973 | -59.4766 | 115.0046 | 116.0232 | 120.6971 |  | 0.35762 | 1.1307 | 0.9887 | 0 | 1.0526 | 1.2908 | -50.4581 | -120.5651 | 128.4581 | 0 | -136.3137 | 128.1409
Line_2 | 0.87315 | 0.36803 | 0.30625 | 0.8712 | 0.36609 | 0.30439 | 10.0823 | 4.2496 | 3.5363 | 10.0598 | 4.2273 | 3.5147 | 3.4894 | 2.6544 | -3.4629 | -2.6127e-11 | -1.3501 | 4.4987 | 0.908 | -4.0055 | -0.48265 | -1.7858e-12 | 4.24 | 0.58777 | -65.0439 | -64.0973 | -59.4766 | 115.0046 | 116.0232 | 120.6971 |  | 0.35762 | 1.1307 | 0.9887 | 0 | 1.0526 | 1.2908 | -50.4581 | -120.5651 | 128.4581 | 0 | -136.3137 | 128.1409
Line_3 | 0.00088535 | 0.00088535 | 0.00088535 | 0.00088535 | 0.00088535 | 0.00088535 | 0.010223 | 0.010223 | 0.010223 | 0.010223 | 0.010223 | 0.010223 | 0.0035585 | 0.0063217 | -0.0098803 | 0.0035585 | 0.0063217 | -0.0098803 | 0.00083855 | -0.0096781 | -0.0021318 | 0.00083855 | -0.0096781 | -0.0021318 | -63.7177 | -63.7177 | -63.7177 | -63.7177 | -63.7177 | -63.7177 |  | 0.35762 | 1.1307 | 0.9887 | 0.35762 | 1.1307 | 0.9887 | -50.4581 | -120.5651 | 128.4581 | -50.4581 | -120.5651 | 128.4581

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61003 | 0.22488 | 0.18691 | 0.60948 | 0.22548 | 0.18748 | 7.0441 | 2.5967 | 2.1583 | 7.0377 | 2.6036 | 2.1648 | 4.3127 | -0.85133 | 2.2606 | -3.6995 | 0.82349 | -2.3064 | 3.5569 | 2.523 | -0.3297 | -3.2553 | -2.5367 | 0.32004 | -46.2106 | 127.1421 | 131.8506 | 133.8321 | -52.9564 | -48.2824 |  | 0.79361 | 1.0254 | 1.0585 | 0.7002 | 1.0244 | 1.0756 | -6.6959 | -124.2121 | 123.5529 | -4.8228 | -124.9717 | 123.8173
Line_1 | 0.26889 | 0.11334 | 0.094313 | 0.26829 | 0.11274 | 0.093738 | 3.1049 | 1.3087 | 1.089 | 3.098 | 1.3018 | 1.0824 | 1.7515 | 0.53877 | -1.0601 | -1.4188 | -0.41174 | 1.1532 | 1.7319 | -1.2501 | 0.1691 | -1.6409 | 1.2684 | -0.16002 | -54.0235 | -53.0769 | -48.4562 | 126.025 | 127.0436 | 131.7176 |  | 0.79331 | 1.0402 | 0.9857 | 0.7002 | 1.0244 | 1.0756 | -9.3459 | -119.7619 | 122.4805 | -4.8228 | -124.9717 | 123.8173
Line_2 | 0.26889 | 0.11334 | 0.094313 | 0.26829 | 0.11274 | 0.093738 | 3.1049 | 1.3087 | 1.089 | 3.098 | 1.3018 | 1.0824 | 1.7515 | 0.53877 | -1.0601 | -1.4188 | -0.41174 | 1.1532 | 1.7319 | -1.2501 | 0.1691 | -1.6409 | 1.2684 | -0.16002 | -54.0235 | -53.0769 | -48.4562 | 126.025 | 127.0436 | 131.7176 |  | 0.79331 | 1.0402 | 0.9857 | 0.7002 | 1.0244 | 1.0756 | -9.3459 | -119.7619 | 122.4805 | -4.8228 | -124.9717 | 123.8173
Line_3 | 0.00027265 | 0.00027265 | 0.00027265 | 0.00027265 | 0.00027265 | 0.00027265 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0018161 | 0.0012762 | -0.0030923 | 0.0018161 | 0.0012762 | -0.0030923 | 0.0017145 | -0.0030159 | 0.00026088 | 0.0017145 | -0.0030159 | 0.00026088 | -52.6973 | -52.6973 | -52.6973 | -52.6973 | -52.6973 | -52.6973 |  | 0.79331 | 1.0402 | 0.9857 | 0.79331 | 1.0402 | 0.9857 | -9.3459 | -119.7619 | 122.4805 | -9.3459 | -119.7619 | 122.4805

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61003 | 0.22488 | 0.18691 | 0.60948 | 0.22548 | 0.18748 | 7.0441 | 2.5967 | 2.1583 | 7.0377 | 2.6036 | 2.1648 | 4.3127 | -0.85133 | 2.2606 | -3.6995 | 0.82349 | -2.3064 | 3.5569 | 2.523 | -0.3297 | -3.2553 | -2.5367 | 0.32004 | -46.2106 | 127.1421 | 131.8506 | 133.8321 | -52.9564 | -48.2824 |  | 0.79361 | 1.0254 | 1.0585 | 0.7002 | 1.0244 | 1.0756 | -6.6959 | -124.2121 | 123.5529 | -4.8228 | -124.9717 | 123.8173
Line_1 | 0.26889 | 0.11334 | 0.094313 | 0.26829 | 0.11274 | 0.093738 | 3.1049 | 1.3087 | 1.089 | 3.098 | 1.3018 | 1.0824 | 1.7515 | 0.53877 | -1.0601 | -1.4188 | -0.41174 | 1.1532 | 1.7319 | -1.2501 | 0.1691 | -1.6409 | 1.2684 | -0.16002 | -54.0235 | -53.0769 | -48.4562 | 126.025 | 127.0436 | 131.7176 |  | 0.79331 | 1.0402 | 0.9857 | 0.7002 | 1.0244 | 1.0756 | -9.3459 | -119.7619 | 122.4805 | -4.8228 | -124.9717 | 123.8173
Line_2 | 0.26889 | 0.11334 | 0.094313 | 0.26829 | 0.11274 | 0.093738 | 3.1049 | 1.3087 | 1.089 | 3.098 | 1.3018 | 1.0824 | 1.7515 | 0.53877 | -1.0601 | -1.4188 | -0.41174 | 1.1532 | 1.7319 | -1.2501 | 0.1691 | -1.6409 | 1.2684 | -0.16002 | -54.0235 | -53.0769 | -48.4562 | 126.025 | 127.0436 | 131.7176 |  | 0.79331 | 1.0402 | 0.9857 | 0.7002 | 1.0244 | 1.0756 | -9.3459 | -119.7619 | 122.4805 | -4.8228 | -124.9717 | 123.8173
Line_3 | 0.00027265 | 0.00027265 | 0.00027265 | 0.00027265 | 0.00027265 | 0.00027265 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0031483 | 0.0018161 | 0.0012762 | -0.0030923 | 0.0018161 | 0.0012762 | -0.0030923 | 0.0017145 | -0.0030159 | 0.00026088 | 0.0017145 | -0.0030159 | 0.00026088 | -52.6973 | -52.6973 | -52.6973 | -52.6973 | -52.6973 | -52.6973 |  | 0.79331 | 1.0402 | 0.9857 | 0.79331 | 1.0402 | 0.9857 | -9.3459 | -119.7619 | 122.4805 | -9.3459 | -119.7619 | 122.4805

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38996 | 3.878 | 3.5967 | 0.39215 | 3.8782 | 3.596 | 4.5028 | 44.7796 | 41.5314 | 4.5282 | 44.7815 | 41.5234 | -0.18388 | 10.1717 | 4.9497 | 0.14234 | 1.0186e-10 | 1.2281e-10 | 6.2973 | 7.378 | 9.5087 | -6.4973 | -8.809e-11 | 9.3504e-12 | -91.7588 | -174.5638 | 19.5375 | 88.2577 | 5.4685 | -160.4957 |  | 1.3991 | 0.28061 | 0.25811 | 1.4352 | 0 | 0 | -0.086299 | -138.6088 | 82.0386 | -0.48728 | 0 | 0
Line_1 | 0.19815 | 1.1181 | 0.93191 | 0.19607 | 1.117 | 0.93034 | 2.2881 | 12.9112 | 10.7608 | 2.2641 | 12.8982 | 10.7426 | 0.35149 | 2.2408 | 1.0255 | -0.071169 | 3.8031e-11 | 2.6867e-11 | -3.0648 | -0.22347 | 1.9511 | 3.2486 | -7.6245e-12 | -1.713e-11 | 88.3642 | 155.8601 | 56.4669 | -91.7423 | -24.0487 | -123.6197 |  | 1.3482 | 0.17442 | 0.20484 | 1.4352 | 0 | 0 | 4.9066 | 150.1649 | 118.7399 | -0.48728 | 0 | 0
Line_2 | 0.19815 | 1.1181 | 0.93191 | 0.19607 | 1.117 | 0.93034 | 2.2881 | 12.9112 | 10.7608 | 2.2641 | 12.8982 | 10.7426 | 0.35149 | 2.2408 | 1.0255 | -0.071169 | 3.8031e-11 | 2.6867e-11 | -3.0648 | -0.22347 | 1.9511 | 3.2486 | -7.6245e-12 | -1.713e-11 | 88.3642 | 155.8601 | 56.4669 | -91.7423 | -24.0487 | -123.6197 |  | 1.3482 | 0.17442 | 0.20484 | 1.4352 | 0 | 0 | 4.9066 | 150.1649 | 118.7399 | -0.48728 | 0 | 0
Line_3 | 0.0009555 | 0.0009555 | 0.0009555 | 0.0009555 | 0.0009555 | 0.0009555 | 0.011033 | 0.011033 | 0.011033 | 0.011033 | 0.011033 | 0.011033 | -0.003683 | 0.001454 | 0.002229 | -0.003683 | 0.001454 | 0.002229 | -0.014412 | 0.0012606 | 0.00037294 | -0.014412 | 0.0012606 | 0.00037294 | 109.2417 | 109.2417 | 109.2417 | 109.2417 | 109.2417 | 109.2417 |  | 1.3482 | 0.17442 | 0.20484 | 1.3482 | 0.17442 | 0.20484 | 4.9066 | 150.1649 | 118.7399 | 4.9066 | 150.1649 | 118.7399

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.38996 | 3.878 | 3.5967 | 0.39215 | 3.8782 | 3.596 | 4.5028 | 44.7796 | 41.5314 | 4.5282 | 44.7815 | 41.5234 | -0.18388 | 10.1717 | 4.9497 | 0.14234 | 1.0186e-10 | 1.2281e-10 | 6.2973 | 7.378 | 9.5087 | -6.4973 | -8.809e-11 | 9.3504e-12 | -91.7588 | -174.5638 | 19.5375 | 88.2577 | 5.4685 | -160.4957 |  | 1.3991 | 0.28061 | 0.25811 | 1.4352 | 0 | 0 | -0.086299 | -138.6088 | 82.0386 | -0.48728 | 0 | 0
Line_1 | 0.19815 | 1.1181 | 0.93191 | 0.19607 | 1.117 | 0.93034 | 2.2881 | 12.9112 | 10.7608 | 2.2641 | 12.8982 | 10.7426 | 0.35149 | 2.2408 | 1.0255 | -0.071169 | 3.8031e-11 | 2.6867e-11 | -3.0648 | -0.22347 | 1.9511 | 3.2486 | -7.6245e-12 | -1.713e-11 | 88.3642 | 155.8601 | 56.4669 | -91.7423 | -24.0487 | -123.6197 |  | 1.3482 | 0.17442 | 0.20484 | 1.4352 | 0 | 0 | 4.9066 | 150.1649 | 118.7399 | -0.48728 | 0 | 0
Line_2 | 0.19815 | 1.1181 | 0.93191 | 0.19607 | 1.117 | 0.93034 | 2.2881 | 12.9112 | 10.7608 | 2.2641 | 12.8982 | 10.7426 | 0.35149 | 2.2408 | 1.0255 | -0.071169 | 3.8031e-11 | 2.6867e-11 | -3.0648 | -0.22347 | 1.9511 | 3.2486 | -7.6245e-12 | -1.713e-11 | 88.3642 | 155.8601 | 56.4669 | -91.7423 | -24.0487 | -123.6197 |  | 1.3482 | 0.17442 | 0.20484 | 1.4352 | 0 | 0 | 4.9066 | 150.1649 | 118.7399 | -0.48728 | 0 | 0
Line_3 | 0.0009555 | 0.0009555 | 0.0009555 | 0.0009555 | 0.0009555 | 0.0009555 | 0.011033 | 0.011033 | 0.011033 | 0.011033 | 0.011033 | 0.011033 | -0.003683 | 0.001454 | 0.002229 | -0.003683 | 0.001454 | 0.002229 | -0.014412 | 0.0012606 | 0.00037294 | -0.014412 | 0.0012606 | 0.00037294 | 109.2417 | 109.2417 | 109.2417 | 109.2417 | 109.2417 | 109.2417 |  | 1.3482 | 0.17442 | 0.20484 | 1.3482 | 0.17442 | 0.20484 | 4.9066 | 150.1649 | 118.7399 | 4.9066 | 150.1649 | 118.7399

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.037651 | 0.83096 | 0.72973 | 0.037454 | 0.83124 | 0.72926 | 0.43475 | 9.5951 | 8.4262 | 0.43248 | 9.5984 | 8.4207 | 0.46814 | 8.4243 | 4.4109 | -0.47691 | -7.9357 | -4.1988 | -0.26044 | 3.1889 | 6.5739 | 0.25705 | -2.9346 | -6.0913 | 30.0688 | -143.8678 | 53.0576 | -151.0601 | 36.1813 | -126.9895 |  | 1.2322 | 0.93877 | 0.93952 | 1.2527 | 0.8815 | 0.87857 | 0.98003 | -123.1341 | 109.1973 | 0.61566 | -123.5243 | 108.4318
Line_1 | 0.018649 | 0.38418 | 0.36533 | 0.018727 | 0.38373 | 0.36475 | 0.21534 | 4.4361 | 4.2184 | 0.21624 | 4.431 | 4.2117 | -0.23815 | 1.4846 | 3.2155 | 0.23846 | -1.2124 | -3.0465 | 0.10874 | 3.7074 | 2.3693 | -0.12852 | -3.713 | -2.1002 | -153.3026 | 164.4719 | 73.9206 | 28.9399 | -15.4407 | -106.1502 |  | 1.2158 | 0.90024 | 0.94682 | 1.2527 | 0.8815 | 0.87857 | 2.1562 | -127.3508 | 110.3051 | 0.61566 | -123.5243 | 108.4318
Line_2 | 0.018649 | 0.38418 | 0.36533 | 0.018727 | 0.38373 | 0.36475 | 0.21534 | 4.4361 | 4.2184 | 0.21624 | 4.431 | 4.2117 | -0.23815 | 1.4846 | 3.2155 | 0.23846 | -1.2124 | -3.0465 | 0.10874 | 3.7074 | 2.3693 | -0.12852 | -3.713 | -2.1002 | -153.3026 | 164.4719 | 73.9206 | 28.9399 | -15.4407 | -106.1502 |  | 1.2158 | 0.90024 | 0.94682 | 1.2527 | 0.8815 | 0.87857 | 2.1562 | -127.3508 | 110.3051 | 0.61566 | -123.5243 | 108.4318
Line_3 | 0.00033335 | 0.00033335 | 0.00033335 | 0.00033335 | 0.00033335 | 0.00033335 | 0.0038492 | 0.0038492 | 0.0038492 | 0.0038492 | 0.0038492 | 0.0038492 | -0.0023758 | -0.0011842 | 0.00356 | -0.0023758 | -0.0011842 | 0.00356 | -0.0040318 | 0.0032566 | -0.00078015 | -0.0040318 | 0.0032566 | -0.00078015 | 122.6656 | 122.6656 | 122.6656 | 122.6656 | 122.6656 | 122.6656 |  | 1.2158 | 0.90024 | 0.94682 | 1.2158 | 0.90024 | 0.94682 | 2.1562 | -127.3508 | 110.3051 | 2.1562 | -127.3508 | 110.3051

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.037651 | 0.83096 | 0.72973 | 0.037454 | 0.83124 | 0.72926 | 0.43475 | 9.5951 | 8.4262 | 0.43248 | 9.5984 | 8.4207 | 0.46814 | 8.4243 | 4.4109 | -0.47691 | -7.9357 | -4.1988 | -0.26044 | 3.1889 | 6.5739 | 0.25705 | -2.9346 | -6.0913 | 30.0688 | -143.8678 | 53.0576 | -151.0601 | 36.1813 | -126.9895 |  | 1.2322 | 0.93877 | 0.93952 | 1.2527 | 0.8815 | 0.87857 | 0.98003 | -123.1341 | 109.1973 | 0.61566 | -123.5243 | 108.4318
Line_1 | 0.018649 | 0.38418 | 0.36533 | 0.018727 | 0.38373 | 0.36475 | 0.21534 | 4.4361 | 4.2184 | 0.21624 | 4.431 | 4.2117 | -0.23815 | 1.4846 | 3.2155 | 0.23846 | -1.2124 | -3.0465 | 0.10874 | 3.7074 | 2.3693 | -0.12852 | -3.713 | -2.1002 | -153.3026 | 164.4719 | 73.9206 | 28.9399 | -15.4407 | -106.1502 |  | 1.2158 | 0.90024 | 0.94682 | 1.2527 | 0.8815 | 0.87857 | 2.1562 | -127.3508 | 110.3051 | 0.61566 | -123.5243 | 108.4318
Line_2 | 0.018649 | 0.38418 | 0.36533 | 0.018727 | 0.38373 | 0.36475 | 0.21534 | 4.4361 | 4.2184 | 0.21624 | 4.431 | 4.2117 | -0.23815 | 1.4846 | 3.2155 | 0.23846 | -1.2124 | -3.0465 | 0.10874 | 3.7074 | 2.3693 | -0.12852 | -3.713 | -2.1002 | -153.3026 | 164.4719 | 73.9206 | 28.9399 | -15.4407 | -106.1502 |  | 1.2158 | 0.90024 | 0.94682 | 1.2527 | 0.8815 | 0.87857 | 2.1562 | -127.3508 | 110.3051 | 0.61566 | -123.5243 | 108.4318
Line_3 | 0.00033335 | 0.00033335 | 0.00033335 | 0.00033335 | 0.00033335 | 0.00033335 | 0.0038492 | 0.0038492 | 0.0038492 | 0.0038492 | 0.0038492 | 0.0038492 | -0.0023758 | -0.0011842 | 0.00356 | -0.0023758 | -0.0011842 | 0.00356 | -0.0040318 | 0.0032566 | -0.00078015 | -0.0040318 | 0.0032566 | -0.00078015 | 122.6656 | 122.6656 | 122.6656 | 122.6656 | 122.6656 | 122.6656 |  | 1.2158 | 0.90024 | 0.94682 | 1.2158 | 0.90024 | 0.94682 | 2.1562 | -127.3508 | 110.3051 | 2.1562 | -127.3508 | 110.3051

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43624 | 3.285 | 3.0159 | 0.43797 | 3.2853 | 3.0151 | 5.0373 | 37.9318 | 34.8251 | 5.0572 | 37.9358 | 34.8155 | 2.3285 | 13.3113 | 7.4622 | -2.5089 | -1.1252e-10 | -1.9813e-11 | 5.6407 | 3.9547 | 8.1431 | -5.8381 | -8.8426e-11 | -1.3109e-10 | -68.4977 | -167.425 | 28.7768 | 111.4214 | 12.6064 | -151.2543 |  | 1.2115 | 0.36609 | 0.31716 | 1.2565 | 0 | 0 | -0.92864 | -150.8784 | 76.2752 | -1.8339 | 0 | 0
Line_1 | 0.22062 | 0.96065 | 0.62648 | 0.21898 | 0.95987 | 0.62525 | 2.5475 | 11.0926 | 7.234 | 2.5286 | 11.0836 | 7.2198 | -0.6973 | 2.9763 | 0.87043 | 1.2545 | -1.7052e-11 | -1.7887e-11 | -2.708 | -0.72063 | 1.7307 | 2.9191 | -3.8176e-11 | -2.088e-11 | 111.3577 | 164.7506 | 60.8369 | -68.5786 | -15.1624 | -119.2645 |  | 1.0977 | 0.27607 | 0.2678 | 1.2565 | 0 | 0 | 6.9177 | 151.1398 | 124.1378 | -1.8339 | 0 | 0
Line_2 | 0.22062 | 0.96065 | 0.62648 | 0.21898 | 0.95987 | 0.62525 | 2.5475 | 11.0926 | 7.234 | 2.5286 | 11.0836 | 7.2198 | -0.6973 | 2.9763 | 0.87043 | 1.2545 | -1.7052e-11 | -1.7887e-11 | -2.708 | -0.72063 | 1.7307 | 2.9191 | -3.8176e-11 | -2.088e-11 | 111.3577 | 164.7506 | 60.8369 | -68.5786 | -15.1624 | -119.2645 |  | 1.0977 | 0.27607 | 0.2678 | 1.2565 | 0 | 0 | 6.9177 | 151.1398 | 124.1378 | -1.8339 | 0 | 0
Line_3 | 0.00070194 | 0.00070194 | 0.00070194 | 0.00070194 | 0.00070194 | 0.00070194 | 0.0081053 | 0.0081053 | 0.0081053 | 0.0081053 | 0.0081053 | 0.0081053 | -0.0041779 | 0.0020074 | 0.0021704 | -0.0041779 | 0.0020074 | 0.0021704 | -0.0078551 | 0.00098843 | -2.9817e-05 | -0.0078551 | 0.00098843 | -2.9817e-05 | 124.9249 | 124.9249 | 124.9249 | 124.9249 | 124.9249 | 124.9249 |  | 1.0977 | 0.27607 | 0.2678 | 1.0977 | 0.27607 | 0.2678 | 6.9177 | 151.1398 | 124.1378 | 6.9177 | 151.1398 | 124.1378

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43624 | 3.285 | 3.0159 | 0.43797 | 3.2853 | 3.0151 | 5.0373 | 37.9318 | 34.8251 | 5.0572 | 37.9358 | 34.8155 | 2.3285 | 13.3113 | 7.4622 | -2.5089 | -1.1252e-10 | -1.9813e-11 | 5.6407 | 3.9547 | 8.1431 | -5.8381 | -8.8426e-11 | -1.3109e-10 | -68.4977 | -167.425 | 28.7768 | 111.4214 | 12.6064 | -151.2543 |  | 1.2115 | 0.36609 | 0.31716 | 1.2565 | 0 | 0 | -0.92864 | -150.8784 | 76.2752 | -1.8339 | 0 | 0
Line_1 | 0.22062 | 0.96065 | 0.62648 | 0.21898 | 0.95987 | 0.62525 | 2.5475 | 11.0926 | 7.234 | 2.5286 | 11.0836 | 7.2198 | -0.6973 | 2.9763 | 0.87043 | 1.2545 | -1.7052e-11 | -1.7887e-11 | -2.708 | -0.72063 | 1.7307 | 2.9191 | -3.8176e-11 | -2.088e-11 | 111.3577 | 164.7506 | 60.8369 | -68.5786 | -15.1624 | -119.2645 |  | 1.0977 | 0.27607 | 0.2678 | 1.2565 | 0 | 0 | 6.9177 | 151.1398 | 124.1378 | -1.8339 | 0 | 0
Line_2 | 0.22062 | 0.96065 | 0.62648 | 0.21898 | 0.95987 | 0.62525 | 2.5475 | 11.0926 | 7.234 | 2.5286 | 11.0836 | 7.2198 | -0.6973 | 2.9763 | 0.87043 | 1.2545 | -1.7052e-11 | -1.7887e-11 | -2.708 | -0.72063 | 1.7307 | 2.9191 | -3.8176e-11 | -2.088e-11 | 111.3577 | 164.7506 | 60.8369 | -68.5786 | -15.1624 | -119.2645 |  | 1.0977 | 0.27607 | 0.2678 | 1.2565 | 0 | 0 | 6.9177 | 151.1398 | 124.1378 | -1.8339 | 0 | 0
Line_3 | 0.00070194 | 0.00070194 | 0.00070194 | 0.00070194 | 0.00070194 | 0.00070194 | 0.0081053 | 0.0081053 | 0.0081053 | 0.0081053 | 0.0081053 | 0.0081053 | -0.0041779 | 0.0020074 | 0.0021704 | -0.0041779 | 0.0020074 | 0.0021704 | -0.0078551 | 0.00098843 | -2.9817e-05 | -0.0078551 | 0.00098843 | -2.9817e-05 | 124.9249 | 124.9249 | 124.9249 | 124.9249 | 124.9249 | 124.9249 |  | 1.0977 | 0.27607 | 0.2678 | 1.0977 | 0.27607 | 0.2678 | 6.9177 | 151.1398 | 124.1378 | 6.9177 | 151.1398 | 124.1378

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17378 | 0.80073 | 0.78709 | 0.17438 | 0.80097 | 0.78661 | 2.0067 | 9.246 | 9.0886 | 2.0136 | 9.2488 | 9.083 | 1.0732 | 6.8415 | 4.1836 | -1.0988 | -6.0292 | -3.6123 | 1.8664 | 3.7321 | 6.1441 | -1.8934 | -3.5971 | -5.4835 | -60.3593 | -152.1604 | 53.3222 | 119.5555 | 27.883 | -126.7101 |  | 1.0729 | 0.84288 | 0.81786 | 1.0872 | 0.7591 | 0.72293 | -0.25819 | -123.548 | 109.0707 | -0.57144 | -121.296 | 109.915
Line_1 | 0.087766 | 0.25171 | 0.22036 | 0.087191 | 0.25144 | 0.21981 | 1.0134 | 2.9065 | 2.5445 | 1.0068 | 2.9034 | 2.5382 | -0.4694 | 1.0753 | 1.8541 | 0.54938 | -0.82692 | -1.678 | -0.92485 | 1.9615 | 0.92531 | 0.94671 | -2.043 | -0.74241 | 119.474 | 170.6207 | 86.1044 | -60.4445 | -9.2595 | -93.951 |  | 1.0234 | 0.76963 | 0.81438 | 1.0872 | 0.7591 | 0.72293 | 2.5643 | -128.1108 | 112.6258 | -0.57144 | -121.296 | 109.915
Line_2 | 0.087766 | 0.25171 | 0.22036 | 0.087191 | 0.25144 | 0.21981 | 1.0134 | 2.9065 | 2.5445 | 1.0068 | 2.9034 | 2.5382 | -0.4694 | 1.0753 | 1.8541 | 0.54938 | -0.82692 | -1.678 | -0.92485 | 1.9615 | 0.92531 | 0.94671 | -2.043 | -0.74241 | 119.474 | 170.6207 | 86.1044 | -60.4445 | -9.2595 | -93.951 |  | 1.0234 | 0.76963 | 0.81438 | 1.0872 | 0.7591 | 0.72293 | 2.5643 | -128.1108 | 112.6258 | -0.57144 | -121.296 | 109.915
Line_3 | 0.00024972 | 0.00024972 | 0.00024972 | 0.00024972 | 0.00024972 | 0.00024972 | 0.0028836 | 0.0028836 | 0.0028836 | 0.0028836 | 0.0028836 | 0.0028836 | -0.0017672 | -0.00048181 | 0.002249 | -0.0017672 | -0.00048181 | 0.002249 | -0.0023634 | 0.0021663 | -0.00067577 | -0.0023634 | 0.0021663 | -0.00067577 | 129.3501 | 129.3501 | 129.3501 | 129.3501 | 129.3501 | 129.3501 |  | 1.0234 | 0.76963 | 0.81438 | 1.0234 | 0.76963 | 0.81438 | 2.5643 | -128.1108 | 112.6258 | 2.5643 | -128.1108 | 112.6258

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17378 | 0.80073 | 0.78709 | 0.17438 | 0.80097 | 0.78661 | 2.0067 | 9.246 | 9.0886 | 2.0136 | 9.2488 | 9.083 | 1.0732 | 6.8415 | 4.1836 | -1.0988 | -6.0292 | -3.6123 | 1.8664 | 3.7321 | 6.1441 | -1.8934 | -3.5971 | -5.4835 | -60.3593 | -152.1604 | 53.3222 | 119.5555 | 27.883 | -126.7101 |  | 1.0729 | 0.84288 | 0.81786 | 1.0872 | 0.7591 | 0.72293 | -0.25819 | -123.548 | 109.0707 | -0.57144 | -121.296 | 109.915
Line_1 | 0.087766 | 0.25171 | 0.22036 | 0.087191 | 0.25144 | 0.21981 | 1.0134 | 2.9065 | 2.5445 | 1.0068 | 2.9034 | 2.5382 | -0.4694 | 1.0753 | 1.8541 | 0.54938 | -0.82692 | -1.678 | -0.92485 | 1.9615 | 0.92531 | 0.94671 | -2.043 | -0.74241 | 119.474 | 170.6207 | 86.1044 | -60.4445 | -9.2595 | -93.951 |  | 1.0234 | 0.76963 | 0.81438 | 1.0872 | 0.7591 | 0.72293 | 2.5643 | -128.1108 | 112.6258 | -0.57144 | -121.296 | 109.915
Line_2 | 0.087766 | 0.25171 | 0.22036 | 0.087191 | 0.25144 | 0.21981 | 1.0134 | 2.9065 | 2.5445 | 1.0068 | 2.9034 | 2.5382 | -0.4694 | 1.0753 | 1.8541 | 0.54938 | -0.82692 | -1.678 | -0.92485 | 1.9615 | 0.92531 | 0.94671 | -2.043 | -0.74241 | 119.474 | 170.6207 | 86.1044 | -60.4445 | -9.2595 | -93.951 |  | 1.0234 | 0.76963 | 0.81438 | 1.0872 | 0.7591 | 0.72293 | 2.5643 | -128.1108 | 112.6258 | -0.57144 | -121.296 | 109.915
Line_3 | 0.00024972 | 0.00024972 | 0.00024972 | 0.00024972 | 0.00024972 | 0.00024972 | 0.0028836 | 0.0028836 | 0.0028836 | 0.0028836 | 0.0028836 | 0.0028836 | -0.0017672 | -0.00048181 | 0.002249 | -0.0017672 | -0.00048181 | 0.002249 | -0.0023634 | 0.0021663 | -0.00067577 | -0.0023634 | 0.0021663 | -0.00067577 | 129.3501 | 129.3501 | 129.3501 | 129.3501 | 129.3501 | 129.3501 |  | 1.0234 | 0.76963 | 0.81438 | 1.0234 | 0.76963 | 0.81438 | 2.5643 | -128.1108 | 112.6258 | 2.5643 | -128.1108 | 112.6258