## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1502e-14 | 0 | 1.0551e-14 | -1.1502e-14 | 1.868e-14 | -5.158e-15 | -5.2624e-15 | 0 | -5.8641e-15 | 5.2624e-15 | -6.991e-15 | 5.6288e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1502e-14 | 0 | 1.0551e-14 | -1.1502e-14 | 1.868e-14 | -5.158e-15 | -5.2624e-15 | 0 | -5.8641e-15 | 5.2624e-15 | -6.991e-15 | 5.6288e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4053e-15 | 8.1861e-15 | 1.426e-14 | 4.2026e-15 | 1.9132e-15 | -8.1421e-15 | 5.436e-15 | -2.0856e-15 | 1.1882e-14 | -2.718e-15 | 4.8772e-15 | -7.7412e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.4053e-15 | 8.1861e-15 | 1.426e-14 | 4.2026e-15 | 1.9132e-15 | -8.1421e-15 | 5.436e-15 | -2.0856e-15 | 1.1882e-14 | -2.718e-15 | 4.8772e-15 | -7.7412e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.034e-16 | 5.9187e-15 | -1.5983e-15 | 4.0227e-16 | -1.9346e-15 | 6.0202e-15 | 1.4601e-14 | -4.7057e-15 | 1.3368e-14 | -9.7341e-15 | 5.1606e-15 | -1.3572e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.034e-16 | 5.9187e-15 | -1.5983e-15 | 4.0227e-16 | -1.9346e-15 | 6.0202e-15 | 1.4601e-14 | -4.7057e-15 | 1.3368e-14 | -9.7341e-15 | 5.1606e-15 | -1.3572e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5268e-15 | 2.5515e-15 | 1.1873e-15 | -3.5731e-15 | -1.8225e-15 | -7.2529e-16 | 2.4516e-15 | 2.3329e-15 | 3.7782e-15 | -6.9545e-17 | -1.6663e-15 | -4.4216e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.5268e-15 | 2.5515e-15 | 1.1873e-15 | -3.5731e-15 | -1.8225e-15 | -7.2529e-16 | 2.4516e-15 | 2.3329e-15 | 3.7782e-15 | -6.9545e-17 | -1.6663e-15 | -4.4216e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4606 | 0.75426 | 0.67266 | 2.4581 | 0.7569 | 0.67473 | 28.413 | 8.7095 | 7.7673 | 28.3833 | 8.7399 | 7.7912 | 6.1506 | -8.9246 | 10.0825 | 1.4782e-10 | 8.3964 | -10.6796 | 4.0925 | 7.2239 | 0.18933 | -1.0566e-10 | -7.2967 | 0.28824 | -75.3522 | 90.3398 | 130.9054 | 104.6607 | -89.6526 | -49.2336 |  | 0.26001 | 1.3183 | 1.2983 | 0 | 1.2728 | 1.3712 | -41.7134 | -128.6482 | 131.9812 | 0 | -130.644 | 129.2204
Line_1 | 1.12 | 0.38093 | 0.33941 | 1.1176 | 0.37845 | 0.33737 | 12.9331 | 4.3987 | 3.9192 | 12.9046 | 4.37 | 3.8956 | 2.7579 | 4.9376 | -4.6525 | 6.7077e-11 | -4.1982 | 5.3398 | 1.3901 | -3.1969 | 0.090595 | -4.8217e-11 | 3.6483 | -0.14412 | -75.2071 | -89.6186 | -49.4766 | 104.8135 | 90.3474 | 130.7664 |  | 0.2388 | 1.3373 | 1.1873 | 0 | 1.2728 | 1.3712 | -48.4572 | -122.5397 | 129.4079 | 0 | -130.644 | 129.2204
Line_2 | 1.12 | 0.38093 | 0.33941 | 1.1176 | 0.37845 | 0.33737 | 12.9331 | 4.3987 | 3.9192 | 12.9046 | 4.37 | 3.8956 | 2.7579 | 4.9376 | -4.6525 | 6.7077e-11 | -4.1982 | 5.3398 | 1.3901 | -3.1969 | 0.090595 | -4.8217e-11 | 3.6483 | -0.14412 | -75.2071 | -89.6186 | -49.4766 | 104.8135 | 90.3474 | 130.7664 |  | 0.2388 | 1.3373 | 1.1873 | 0 | 1.2728 | 1.3712 | -48.4572 | -122.5397 | 129.4079 | 0 | -130.644 | 129.2204
Line_3 | 0.001131 | 0.001131 | 0.001131 | 0.001131 | 0.001131 | 0.001131 | 0.01306 | 0.01306 | 0.01306 | 0.01306 | 0.01306 | 0.01306 | 0.0028248 | 0.011455 | -0.01428 | 0.0028248 | 0.011455 | -0.01428 | 0.0013216 | -0.013182 | -0.0060434 | 0.0013216 | -0.013182 | -0.0060434 | -73.5302 | -73.5302 | -73.5302 | -73.5302 | -73.5302 | -73.5302 |  | 0.2388 | 1.3373 | 1.1873 | 0.2388 | 1.3373 | 1.1873 | -48.4572 | -122.5397 | 129.4079 | -48.4572 | -122.5397 | 129.4079

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4606 | 0.75426 | 0.67266 | 2.4581 | 0.7569 | 0.67473 | 28.413 | 8.7095 | 7.7673 | 28.3833 | 8.7399 | 7.7912 | 6.1506 | -8.9246 | 10.0825 | 1.4782e-10 | 8.3964 | -10.6796 | 4.0925 | 7.2239 | 0.18933 | -1.0566e-10 | -7.2967 | 0.28824 | -75.3522 | 90.3398 | 130.9054 | 104.6607 | -89.6526 | -49.2336 |  | 0.26001 | 1.3183 | 1.2983 | 0 | 1.2728 | 1.3712 | -41.7134 | -128.6482 | 131.9812 | 0 | -130.644 | 129.2204
Line_1 | 1.12 | 0.38093 | 0.33941 | 1.1176 | 0.37845 | 0.33737 | 12.9331 | 4.3987 | 3.9192 | 12.9046 | 4.37 | 3.8956 | 2.7579 | 4.9376 | -4.6525 | 6.7077e-11 | -4.1982 | 5.3398 | 1.3901 | -3.1969 | 0.090595 | -4.8217e-11 | 3.6483 | -0.14412 | -75.2071 | -89.6186 | -49.4766 | 104.8135 | 90.3474 | 130.7664 |  | 0.2388 | 1.3373 | 1.1873 | 0 | 1.2728 | 1.3712 | -48.4572 | -122.5397 | 129.4079 | 0 | -130.644 | 129.2204
Line_2 | 1.12 | 0.38093 | 0.33941 | 1.1176 | 0.37845 | 0.33737 | 12.9331 | 4.3987 | 3.9192 | 12.9046 | 4.37 | 3.8956 | 2.7579 | 4.9376 | -4.6525 | 6.7077e-11 | -4.1982 | 5.3398 | 1.3901 | -3.1969 | 0.090595 | -4.8217e-11 | 3.6483 | -0.14412 | -75.2071 | -89.6186 | -49.4766 | 104.8135 | 90.3474 | 130.7664 |  | 0.2388 | 1.3373 | 1.1873 | 0 | 1.2728 | 1.3712 | -48.4572 | -122.5397 | 129.4079 | 0 | -130.644 | 129.2204
Line_3 | 0.001131 | 0.001131 | 0.001131 | 0.001131 | 0.001131 | 0.001131 | 0.01306 | 0.01306 | 0.01306 | 0.01306 | 0.01306 | 0.01306 | 0.0028248 | 0.011455 | -0.01428 | 0.0028248 | 0.011455 | -0.01428 | 0.0013216 | -0.013182 | -0.0060434 | 0.0013216 | -0.013182 | -0.0060434 | -73.5302 | -73.5302 | -73.5302 | -73.5302 | -73.5302 | -73.5302 |  | 0.2388 | 1.3373 | 1.1873 | 0.2388 | 1.3373 | 1.1873 | -48.4572 | -122.5397 | 129.4079 | -48.4572 | -122.5397 | 129.4079

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58765 | 0.14882 | 0.32489 | 0.58692 | 0.14927 | 0.3252 | 6.7856 | 1.7184 | 3.7515 | 6.7772 | 1.7236 | 3.7551 | 5.0891 | -2.0851 | 2.3934 | -4.6897 | 2.09 | -2.4335 | 3.5771 | 0.039741 | -3.6194 | -3.3653 | -0.088954 | 3.7641 | -44.2809 | 59.5932 | -178.843 | 135.7471 | -120.1622 | 1.0302 |  | 0.91673 | 1.2136 | 1.1566 | 0.85172 | 1.2136 | 1.1936 | -9.1777 | -121.4987 | 124.6332 | -8.5904 | -122.5994 | 123.9125
Line_1 | 0.40938 | 0.075036 | 0.16293 | 0.40864 | 0.074635 | 0.1626 | 4.7271 | 0.86644 | 1.8813 | 4.7185 | 0.86181 | 1.8775 | 2.8009 | 1.0582 | -1.1374 | -2.4913 | -1.045 | 1.2167 | 3.355 | -0.0066618 | 1.8391 | -3.1535 | 0.044477 | -1.8821 | -60.2861 | -119.6866 | 0.79687 | 119.7185 | 59.8378 | -178.9698 |  | 0.92457 | 1.2213 | 1.1494 | 0.85172 | 1.2136 | 1.1936 | -10.1423 | -120.0473 | 122.5304 | -8.5904 | -122.5994 | 123.9125
Line_2 | 0.40938 | 0.075036 | 0.16293 | 0.40864 | 0.074635 | 0.1626 | 4.7271 | 0.86644 | 1.8813 | 4.7185 | 0.86181 | 1.8775 | 2.8009 | 1.0582 | -1.1374 | -2.4913 | -1.045 | 1.2167 | 3.355 | -0.0066618 | 1.8391 | -3.1535 | 0.044477 | -1.8821 | -60.2861 | -119.6866 | 0.79687 | 119.7185 | 59.8378 | -178.9698 |  | 0.92457 | 1.2213 | 1.1494 | 0.85172 | 1.2136 | 1.1936 | -10.1423 | -120.0473 | 122.5304 | -8.5904 | -122.5994 | 123.9125
Line_3 | 0.00033518 | 0.00033518 | 0.00033518 | 0.00033518 | 0.00033518 | 0.00033518 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0026712 | 0.001756 | -0.0044272 | 0.0026712 | 0.001756 | -0.0044272 | 0.002381 | -0.0043887 | 0.0004353 | 0.002381 | -0.0043887 | 0.0004353 | -51.8541 | -51.8541 | -51.8541 | -51.8541 | -51.8541 | -51.8541 |  | 0.92457 | 1.2213 | 1.1494 | 0.92457 | 1.2213 | 1.1494 | -10.1423 | -120.0473 | 122.5304 | -10.1423 | -120.0473 | 122.5304

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58765 | 0.14882 | 0.32489 | 0.58692 | 0.14927 | 0.3252 | 6.7856 | 1.7184 | 3.7515 | 6.7772 | 1.7236 | 3.7551 | 5.0891 | -2.0851 | 2.3934 | -4.6897 | 2.09 | -2.4335 | 3.5771 | 0.039741 | -3.6194 | -3.3653 | -0.088954 | 3.7641 | -44.2809 | 59.5932 | -178.843 | 135.7471 | -120.1622 | 1.0302 |  | 0.91673 | 1.2136 | 1.1566 | 0.85172 | 1.2136 | 1.1936 | -9.1777 | -121.4987 | 124.6332 | -8.5904 | -122.5994 | 123.9125
Line_1 | 0.40938 | 0.075036 | 0.16293 | 0.40864 | 0.074635 | 0.1626 | 4.7271 | 0.86644 | 1.8813 | 4.7185 | 0.86181 | 1.8775 | 2.8009 | 1.0582 | -1.1374 | -2.4913 | -1.045 | 1.2167 | 3.355 | -0.0066618 | 1.8391 | -3.1535 | 0.044477 | -1.8821 | -60.2861 | -119.6866 | 0.79687 | 119.7185 | 59.8378 | -178.9698 |  | 0.92457 | 1.2213 | 1.1494 | 0.85172 | 1.2136 | 1.1936 | -10.1423 | -120.0473 | 122.5304 | -8.5904 | -122.5994 | 123.9125
Line_2 | 0.40938 | 0.075036 | 0.16293 | 0.40864 | 0.074635 | 0.1626 | 4.7271 | 0.86644 | 1.8813 | 4.7185 | 0.86181 | 1.8775 | 2.8009 | 1.0582 | -1.1374 | -2.4913 | -1.045 | 1.2167 | 3.355 | -0.0066618 | 1.8391 | -3.1535 | 0.044477 | -1.8821 | -60.2861 | -119.6866 | 0.79687 | 119.7185 | 59.8378 | -178.9698 |  | 0.92457 | 1.2213 | 1.1494 | 0.85172 | 1.2136 | 1.1936 | -10.1423 | -120.0473 | 122.5304 | -8.5904 | -122.5994 | 123.9125
Line_3 | 0.00033518 | 0.00033518 | 0.00033518 | 0.00033518 | 0.00033518 | 0.00033518 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0038703 | 0.0026712 | 0.001756 | -0.0044272 | 0.0026712 | 0.001756 | -0.0044272 | 0.002381 | -0.0043887 | 0.0004353 | 0.002381 | -0.0043887 | 0.0004353 | -51.8541 | -51.8541 | -51.8541 | -51.8541 | -51.8541 | -51.8541 |  | 0.92457 | 1.2213 | 1.1494 | 0.92457 | 1.2213 | 1.1494 | -10.1423 | -120.0473 | 122.5304 | -10.1423 | -120.0473 | 122.5304

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1362 | 0.67011 | 0.55452 | 2.1342 | 0.67208 | 0.55633 | 24.6672 | 7.7378 | 6.403 | 24.6435 | 7.7605 | 6.4239 | 8.6861 | -2.969 | 7.2051 | -6.8465e-11 | 2.1534 | -7.9567 | 2.4679 | 8.3699 | 0.3604 | -3.1987e-12 | -7.9326 | 0.096326 | -63.8692 | 121.5317 | 128.9097 | 116.1549 | -58.5611 | -51.2275 |  | 0.36607 | 1.1477 | 1.1267 | 0 | 1.0592 | 1.2387 | -48.0085 | -128.9373 | 131.7733 | 0 | -133.3737 | 128.0789
Line_1 | 0.85756 | 0.33784 | 0.27985 | 0.85567 | 0.33604 | 0.27816 | 9.9022 | 3.9011 | 3.2314 | 9.8805 | 3.8802 | 3.212 | 3.2561 | 2.2176 | -3.0825 | -2.7416e-11 | -1.0767 | 3.9784 | 0.98255 | -3.8142 | 0.05875 | -1.8832e-12 | 3.9663 | -0.048163 | -65.1406 | -58.7007 | -51.4417 | 114.9003 | 121.4389 | 128.7725 |  | 0.34347 | 1.131 | 0.95408 | 0 | 1.0592 | 1.2387 | -48.3492 | -118.5268 | 127.4664 | 0 | -133.3737 | 128.0789
Line_2 | 0.85756 | 0.33784 | 0.27985 | 0.85567 | 0.33604 | 0.27816 | 9.9022 | 3.9011 | 3.2314 | 9.8805 | 3.8802 | 3.212 | 3.2561 | 2.2176 | -3.0825 | -2.7416e-11 | -1.0767 | 3.9784 | 0.98255 | -3.8142 | 0.05875 | -1.8832e-12 | 3.9663 | -0.048163 | -65.1406 | -58.7007 | -51.4417 | 114.9003 | 121.4389 | 128.7725 |  | 0.34347 | 1.131 | 0.95408 | 0 | 1.0592 | 1.2387 | -48.3492 | -118.5268 | 127.4664 | 0 | -133.3737 | 128.0789
Line_3 | 0.00084098 | 0.00084098 | 0.00084098 | 0.00084098 | 0.00084098 | 0.00084098 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0032535 | 0.0059087 | -0.0091622 | 0.0032535 | 0.0059087 | -0.0091622 | 0.00073468 | -0.009258 | -0.0013759 | 0.00073468 | -0.009258 | -0.0013759 | -61.074 | -61.074 | -61.074 | -61.074 | -61.074 | -61.074 |  | 0.34347 | 1.131 | 0.95408 | 0.34347 | 1.131 | 0.95408 | -48.3492 | -118.5268 | 127.4664 | -48.3492 | -118.5268 | 127.4664

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1362 | 0.67011 | 0.55452 | 2.1342 | 0.67208 | 0.55633 | 24.6672 | 7.7378 | 6.403 | 24.6435 | 7.7605 | 6.4239 | 8.6861 | -2.969 | 7.2051 | -6.8465e-11 | 2.1534 | -7.9567 | 2.4679 | 8.3699 | 0.3604 | -3.1987e-12 | -7.9326 | 0.096326 | -63.8692 | 121.5317 | 128.9097 | 116.1549 | -58.5611 | -51.2275 |  | 0.36607 | 1.1477 | 1.1267 | 0 | 1.0592 | 1.2387 | -48.0085 | -128.9373 | 131.7733 | 0 | -133.3737 | 128.0789
Line_1 | 0.85756 | 0.33784 | 0.27985 | 0.85567 | 0.33604 | 0.27816 | 9.9022 | 3.9011 | 3.2314 | 9.8805 | 3.8802 | 3.212 | 3.2561 | 2.2176 | -3.0825 | -2.7416e-11 | -1.0767 | 3.9784 | 0.98255 | -3.8142 | 0.05875 | -1.8832e-12 | 3.9663 | -0.048163 | -65.1406 | -58.7007 | -51.4417 | 114.9003 | 121.4389 | 128.7725 |  | 0.34347 | 1.131 | 0.95408 | 0 | 1.0592 | 1.2387 | -48.3492 | -118.5268 | 127.4664 | 0 | -133.3737 | 128.0789
Line_2 | 0.85756 | 0.33784 | 0.27985 | 0.85567 | 0.33604 | 0.27816 | 9.9022 | 3.9011 | 3.2314 | 9.8805 | 3.8802 | 3.212 | 3.2561 | 2.2176 | -3.0825 | -2.7416e-11 | -1.0767 | 3.9784 | 0.98255 | -3.8142 | 0.05875 | -1.8832e-12 | 3.9663 | -0.048163 | -65.1406 | -58.7007 | -51.4417 | 114.9003 | 121.4389 | 128.7725 |  | 0.34347 | 1.131 | 0.95408 | 0 | 1.0592 | 1.2387 | -48.3492 | -118.5268 | 127.4664 | 0 | -133.3737 | 128.0789
Line_3 | 0.00084098 | 0.00084098 | 0.00084098 | 0.00084098 | 0.00084098 | 0.00084098 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0097108 | 0.0032535 | 0.0059087 | -0.0091622 | 0.0032535 | 0.0059087 | -0.0091622 | 0.00073468 | -0.009258 | -0.0013759 | 0.00073468 | -0.009258 | -0.0013759 | -61.074 | -61.074 | -61.074 | -61.074 | -61.074 | -61.074 |  | 0.34347 | 1.131 | 0.95408 | 0.34347 | 1.131 | 0.95408 | -48.3492 | -118.5268 | 127.4664 | -48.3492 | -118.5268 | 127.4664

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64448 | 0.20217 | 0.16729 | 0.64386 | 0.20276 | 0.16784 | 7.4419 | 2.3344 | 1.9317 | 7.4347 | 2.3413 | 1.938 | 4.5636 | -0.53152 | 1.8639 | -3.7709 | 0.4607 | -1.9379 | 3.9279 | 2.3995 | -0.61808 | -3.6981 | -2.3641 | 0.65887 | -50.218 | 135.1829 | 142.5609 | 129.8061 | -44.9099 | -37.5763 |  | 0.8091 | 1.0528 | 1.0166 | 0.71041 | 1.0287 | 1.0561 | -9.4992 | -122.327 | 124.2155 | -5.7522 | -123.8824 | 123.6458
Line_1 | 0.25872 | 0.10192 | 0.084427 | 0.25815 | 0.10138 | 0.083919 | 2.9874 | 1.1769 | 0.97488 | 2.9808 | 1.1706 | 0.96902 | 1.7776 | 0.33692 | -0.89227 | -1.4791 | -0.23035 | 0.96893 | 1.6093 | -1.1723 | 0.33008 | -1.5155 | 1.182 | -0.32943 | -51.4895 | -45.0495 | -37.7905 | 128.5515 | 135.0901 | 142.4237 |  | 0.80265 | 1.0364 | 0.97588 | 0.71041 | 1.0287 | 1.0561 | -9.3345 | -119.0145 | 121.9085 | -5.7522 | -123.8824 | 123.6458
Line_2 | 0.25872 | 0.10192 | 0.084427 | 0.25815 | 0.10138 | 0.083919 | 2.9874 | 1.1769 | 0.97488 | 2.9808 | 1.1706 | 0.96902 | 1.7776 | 0.33692 | -0.89227 | -1.4791 | -0.23035 | 0.96893 | 1.6093 | -1.1723 | 0.33008 | -1.5155 | 1.182 | -0.32943 | -51.4895 | -45.0495 | -37.7905 | 128.5515 | 135.0901 | 142.4237 |  | 0.80265 | 1.0364 | 0.97588 | 0.71041 | 1.0287 | 1.0561 | -9.3345 | -119.0145 | 121.9085 | -5.7522 | -123.8824 | 123.6458
Line_3 | 0.00025372 | 0.00025372 | 0.00025372 | 0.00025372 | 0.00025372 | 0.00025372 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0018508 | 0.0009588 | -0.0028096 | 0.0018508 | 0.0009588 | -0.0028096 | 0.0014506 | -0.0028809 | 0.00052928 | 0.0014506 | -0.0028809 | 0.00052928 | -47.4228 | -47.4228 | -47.4228 | -47.4228 | -47.4228 | -47.4228 |  | 0.80265 | 1.0364 | 0.97588 | 0.80265 | 1.0364 | 0.97588 | -9.3345 | -119.0145 | 121.9085 | -9.3345 | -119.0145 | 121.9085

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64448 | 0.20217 | 0.16729 | 0.64386 | 0.20276 | 0.16784 | 7.4419 | 2.3344 | 1.9317 | 7.4347 | 2.3413 | 1.938 | 4.5636 | -0.53152 | 1.8639 | -3.7709 | 0.4607 | -1.9379 | 3.9279 | 2.3995 | -0.61808 | -3.6981 | -2.3641 | 0.65887 | -50.218 | 135.1829 | 142.5609 | 129.8061 | -44.9099 | -37.5763 |  | 0.8091 | 1.0528 | 1.0166 | 0.71041 | 1.0287 | 1.0561 | -9.4992 | -122.327 | 124.2155 | -5.7522 | -123.8824 | 123.6458
Line_1 | 0.25872 | 0.10192 | 0.084427 | 0.25815 | 0.10138 | 0.083919 | 2.9874 | 1.1769 | 0.97488 | 2.9808 | 1.1706 | 0.96902 | 1.7776 | 0.33692 | -0.89227 | -1.4791 | -0.23035 | 0.96893 | 1.6093 | -1.1723 | 0.33008 | -1.5155 | 1.182 | -0.32943 | -51.4895 | -45.0495 | -37.7905 | 128.5515 | 135.0901 | 142.4237 |  | 0.80265 | 1.0364 | 0.97588 | 0.71041 | 1.0287 | 1.0561 | -9.3345 | -119.0145 | 121.9085 | -5.7522 | -123.8824 | 123.6458
Line_2 | 0.25872 | 0.10192 | 0.084427 | 0.25815 | 0.10138 | 0.083919 | 2.9874 | 1.1769 | 0.97488 | 2.9808 | 1.1706 | 0.96902 | 1.7776 | 0.33692 | -0.89227 | -1.4791 | -0.23035 | 0.96893 | 1.6093 | -1.1723 | 0.33008 | -1.5155 | 1.182 | -0.32943 | -51.4895 | -45.0495 | -37.7905 | 128.5515 | 135.0901 | 142.4237 |  | 0.80265 | 1.0364 | 0.97588 | 0.71041 | 1.0287 | 1.0561 | -9.3345 | -119.0145 | 121.9085 | -5.7522 | -123.8824 | 123.6458
Line_3 | 0.00025372 | 0.00025372 | 0.00025372 | 0.00025372 | 0.00025372 | 0.00025372 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0029297 | 0.0018508 | 0.0009588 | -0.0028096 | 0.0018508 | 0.0009588 | -0.0028096 | 0.0014506 | -0.0028809 | 0.00052928 | 0.0014506 | -0.0028809 | 0.00052928 | -47.4228 | -47.4228 | -47.4228 | -47.4228 | -47.4228 | -47.4228 |  | 0.80265 | 1.0364 | 0.97588 | 0.80265 | 1.0364 | 0.97588 | -9.3345 | -119.0145 | 121.9085 | -9.3345 | -119.0145 | 121.9085

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3307 | 3.7443 | 3.7807 | 0.33288 | 3.7441 | 3.7801 | 3.8186 | 43.2352 | 43.6556 | 3.8438 | 43.2335 | 43.649 | 0.023465 | 8.9659 | 6.9869 | -0.27735 | 1.1078e-10 | 1.4282e-10 | 5.2769 | 4.8257 | 12.2765 | -5.3895 | -9.1355e-11 | 1.2501e-12 | -86.362 | -177.4855 | 21.8314 | 93.6567 | 2.5478 | -158.2004 |  | 1.3819 | 0.2355 | 0.32357 | 1.404 | 0 | 0 | 3.3832 | -149.1953 | 82.186 | 0.71078 | 0 | 0
Line_1 | 0.16849 | 1.1179 | 0.92892 | 0.16644 | 1.1168 | 0.92742 | 1.9456 | 12.9086 | 10.7262 | 1.9219 | 12.8956 | 10.7089 | 0.10283 | 2.2185 | 0.97352 | 0.13868 | 4.1678e-11 | 2.9097e-11 | -2.5651 | -0.18102 | 1.9254 | 2.6948 | -9.8639e-12 | -1.9524e-11 | 93.7282 | 156.2636 | 56.2493 | -86.3433 | -23.6479 | -123.838 |  | 1.3195 | 0.17244 | 0.20115 | 1.404 | 0 | 0 | 6.0238 | 151.599 | 119.4275 | 0.71078 | 0 | 0
Line_2 | 0.16849 | 1.1179 | 0.92892 | 0.16644 | 1.1168 | 0.92742 | 1.9456 | 12.9086 | 10.7262 | 1.9219 | 12.8956 | 10.7089 | 0.10283 | 2.2185 | 0.97352 | 0.13868 | 4.1678e-11 | 2.9097e-11 | -2.5651 | -0.18102 | 1.9254 | 2.6948 | -9.8639e-12 | -1.9524e-11 | 93.7282 | 156.2636 | 56.2493 | -86.3433 | -23.6479 | -123.838 |  | 1.3195 | 0.17244 | 0.20115 | 1.404 | 0 | 0 | 6.0238 | 151.599 | 119.4275 | 0.71078 | 0 | 0
Line_3 | 0.00093473 | 0.00093473 | 0.00093473 | 0.00093473 | 0.00093473 | 0.00093473 | 0.010793 | 0.010793 | 0.010793 | 0.010793 | 0.010793 | 0.010793 | -0.0035456 | 0.0014012 | 0.0021444 | -0.0035456 | 0.0014012 | 0.0021444 | -0.013793 | 0.0012249 | 0.00033916 | -0.013793 | 0.0012249 | 0.00033916 | 110.4397 | 110.4397 | 110.4397 | 110.4397 | 110.4397 | 110.4397 |  | 1.3195 | 0.17244 | 0.20115 | 1.3195 | 0.17244 | 0.20115 | 6.0238 | 151.599 | 119.4275 | 6.0238 | 151.599 | 119.4275

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.3307 | 3.7443 | 3.7807 | 0.33288 | 3.7441 | 3.7801 | 3.8186 | 43.2352 | 43.6556 | 3.8438 | 43.2335 | 43.649 | 0.023465 | 8.9659 | 6.9869 | -0.27735 | 1.1078e-10 | 1.4282e-10 | 5.2769 | 4.8257 | 12.2765 | -5.3895 | -9.1355e-11 | 1.2501e-12 | -86.362 | -177.4855 | 21.8314 | 93.6567 | 2.5478 | -158.2004 |  | 1.3819 | 0.2355 | 0.32357 | 1.404 | 0 | 0 | 3.3832 | -149.1953 | 82.186 | 0.71078 | 0 | 0
Line_1 | 0.16849 | 1.1179 | 0.92892 | 0.16644 | 1.1168 | 0.92742 | 1.9456 | 12.9086 | 10.7262 | 1.9219 | 12.8956 | 10.7089 | 0.10283 | 2.2185 | 0.97352 | 0.13868 | 4.1678e-11 | 2.9097e-11 | -2.5651 | -0.18102 | 1.9254 | 2.6948 | -9.8639e-12 | -1.9524e-11 | 93.7282 | 156.2636 | 56.2493 | -86.3433 | -23.6479 | -123.838 |  | 1.3195 | 0.17244 | 0.20115 | 1.404 | 0 | 0 | 6.0238 | 151.599 | 119.4275 | 0.71078 | 0 | 0
Line_2 | 0.16849 | 1.1179 | 0.92892 | 0.16644 | 1.1168 | 0.92742 | 1.9456 | 12.9086 | 10.7262 | 1.9219 | 12.8956 | 10.7089 | 0.10283 | 2.2185 | 0.97352 | 0.13868 | 4.1678e-11 | 2.9097e-11 | -2.5651 | -0.18102 | 1.9254 | 2.6948 | -9.8639e-12 | -1.9524e-11 | 93.7282 | 156.2636 | 56.2493 | -86.3433 | -23.6479 | -123.838 |  | 1.3195 | 0.17244 | 0.20115 | 1.404 | 0 | 0 | 6.0238 | 151.599 | 119.4275 | 0.71078 | 0 | 0
Line_3 | 0.00093473 | 0.00093473 | 0.00093473 | 0.00093473 | 0.00093473 | 0.00093473 | 0.010793 | 0.010793 | 0.010793 | 0.010793 | 0.010793 | 0.010793 | -0.0035456 | 0.0014012 | 0.0021444 | -0.0035456 | 0.0014012 | 0.0021444 | -0.013793 | 0.0012249 | 0.00033916 | -0.013793 | 0.0012249 | 0.00033916 | 110.4397 | 110.4397 | 110.4397 | 110.4397 | 110.4397 | 110.4397 |  | 1.3195 | 0.17244 | 0.20115 | 1.3195 | 0.17244 | 0.20115 | 6.0238 | 151.599 | 119.4275 | 6.0238 | 151.599 | 119.4275

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074568 | 0.7858 | 0.78535 | 0.074233 | 0.78591 | 0.78498 | 0.86104 | 9.0736 | 9.0685 | 0.85717 | 9.075 | 9.0641 | 0.68469 | 7.7598 | 5.1203 | -0.68337 | -7.3829 | -4.7503 | -0.79058 | 3.1179 | 7.1868 | 0.80973 | -3.0105 | -6.557 | 51.5399 | -146.8078 | 54.8844 | -128.961 | 33.2449 | -125.1614 |  | 1.2146 | 0.92166 | 0.97307 | 1.2361 | 0.87858 | 0.89329 | 2.4346 | -124.9178 | 109.4163 | 1.2014 | -124.571 | 108.9171
Line_1 | 0.03684 | 0.3869 | 0.34787 | 0.037117 | 0.38646 | 0.34736 | 0.4254 | 4.4676 | 4.0168 | 0.42859 | 4.4624 | 4.011 | -0.3441 | 1.7225 | 3.0821 | 0.34168 | -1.4546 | -2.9446 | 0.3767 | 3.6504 | 2.2891 | -0.40487 | -3.6408 | -2.0413 | -129.9449 | 167.1284 | 74.2646 | 51.039 | -12.7929 | -105.813 |  | 1.1993 | 0.9035 | 0.95579 | 1.2361 | 0.87858 | 0.89329 | 2.4657 | -128.1327 | 110.8663 | 1.2014 | -124.571 | 108.9171
Line_2 | 0.03684 | 0.3869 | 0.34787 | 0.037117 | 0.38646 | 0.34736 | 0.4254 | 4.4676 | 4.0168 | 0.42859 | 4.4624 | 4.011 | -0.3441 | 1.7225 | 3.0821 | 0.34168 | -1.4546 | -2.9446 | 0.3767 | 3.6504 | 2.2891 | -0.40487 | -3.6408 | -2.0413 | -129.9449 | 167.1284 | 74.2646 | 51.039 | -12.7929 | -105.813 |  | 1.1993 | 0.9035 | 0.95579 | 1.2361 | 0.87858 | 0.89329 | 2.4657 | -128.1327 | 110.8663 | 1.2014 | -124.571 | 108.9171
Line_3 | 0.00031382 | 0.00031382 | 0.00031382 | 0.00031382 | 0.00031382 | 0.00031382 | 0.0036237 | 0.0036237 | 0.0036237 | 0.0036237 | 0.0036237 | 0.0036237 | -0.0025238 | -0.00078661 | 0.0033104 | -0.0025238 | -0.00078661 | 0.0033104 | -0.0035382 | 0.0031781 | -0.0010184 | -0.0035382 | 0.0031781 | -0.0010184 | 127.9657 | 127.9657 | 127.9657 | 127.9657 | 127.9657 | 127.9657 |  | 1.1993 | 0.9035 | 0.95579 | 1.1993 | 0.9035 | 0.95579 | 2.4657 | -128.1327 | 110.8663 | 2.4657 | -128.1327 | 110.8663

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074568 | 0.7858 | 0.78535 | 0.074233 | 0.78591 | 0.78498 | 0.86104 | 9.0736 | 9.0685 | 0.85717 | 9.075 | 9.0641 | 0.68469 | 7.7598 | 5.1203 | -0.68337 | -7.3829 | -4.7503 | -0.79058 | 3.1179 | 7.1868 | 0.80973 | -3.0105 | -6.557 | 51.5399 | -146.8078 | 54.8844 | -128.961 | 33.2449 | -125.1614 |  | 1.2146 | 0.92166 | 0.97307 | 1.2361 | 0.87858 | 0.89329 | 2.4346 | -124.9178 | 109.4163 | 1.2014 | -124.571 | 108.9171
Line_1 | 0.03684 | 0.3869 | 0.34787 | 0.037117 | 0.38646 | 0.34736 | 0.4254 | 4.4676 | 4.0168 | 0.42859 | 4.4624 | 4.011 | -0.3441 | 1.7225 | 3.0821 | 0.34168 | -1.4546 | -2.9446 | 0.3767 | 3.6504 | 2.2891 | -0.40487 | -3.6408 | -2.0413 | -129.9449 | 167.1284 | 74.2646 | 51.039 | -12.7929 | -105.813 |  | 1.1993 | 0.9035 | 0.95579 | 1.2361 | 0.87858 | 0.89329 | 2.4657 | -128.1327 | 110.8663 | 1.2014 | -124.571 | 108.9171
Line_2 | 0.03684 | 0.3869 | 0.34787 | 0.037117 | 0.38646 | 0.34736 | 0.4254 | 4.4676 | 4.0168 | 0.42859 | 4.4624 | 4.011 | -0.3441 | 1.7225 | 3.0821 | 0.34168 | -1.4546 | -2.9446 | 0.3767 | 3.6504 | 2.2891 | -0.40487 | -3.6408 | -2.0413 | -129.9449 | 167.1284 | 74.2646 | 51.039 | -12.7929 | -105.813 |  | 1.1993 | 0.9035 | 0.95579 | 1.2361 | 0.87858 | 0.89329 | 2.4657 | -128.1327 | 110.8663 | 1.2014 | -124.571 | 108.9171
Line_3 | 0.00031382 | 0.00031382 | 0.00031382 | 0.00031382 | 0.00031382 | 0.00031382 | 0.0036237 | 0.0036237 | 0.0036237 | 0.0036237 | 0.0036237 | 0.0036237 | -0.0025238 | -0.00078661 | 0.0033104 | -0.0025238 | -0.00078661 | 0.0033104 | -0.0035382 | 0.0031781 | -0.0010184 | -0.0035382 | 0.0031781 | -0.0010184 | 127.9657 | 127.9657 | 127.9657 | 127.9657 | 127.9657 | 127.9657 |  | 1.1993 | 0.9035 | 0.95579 | 1.1993 | 0.9035 | 0.95579 | 2.4657 | -128.1327 | 110.8663 | 2.4657 | -128.1327 | 110.8663

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39492 | 3.2023 | 3.1439 | 0.39667 | 3.2023 | 3.1432 | 4.5601 | 36.9769 | 36.3022 | 4.5804 | 36.977 | 36.2945 | 2.086 | 11.9783 | 9.9607 | -2.558 | -1.1008e-10 | -2.9819e-11 | 5.0414 | 1.296 | 10.8009 | -5.0158 | -9.1223e-11 | -1.3858e-10 | -63.8095 | -170.1589 | 31.0114 | 116.1142 | 9.8739 | -149.0197 |  | 1.1964 | 0.32583 | 0.40473 | 1.2293 | 0 | 0 | 3.7116 | -163.9836 | 78.3289 | -0.90668 | 0 | 0
Line_1 | 0.19992 | 0.9576 | 0.62706 | 0.19834 | 0.95682 | 0.62588 | 2.3084 | 11.0574 | 7.2406 | 2.2902 | 11.0484 | 7.2271 | -0.77779 | 2.9336 | 0.82473 | 1.279 | -1.8444e-11 | -1.8669e-11 | -2.3544 | -0.66952 | 1.7111 | 2.5079 | -3.853e-11 | -2.1171e-11 | 116.0154 | 165.0171 | 60.3458 | -63.8858 | -14.898 | -119.756 |  | 1.0741 | 0.27213 | 0.26234 | 1.2293 | 0 | 0 | 7.7338 | 152.1609 | 124.6129 | -0.90668 | 0 | 0
Line_2 | 0.19992 | 0.9576 | 0.62706 | 0.19834 | 0.95682 | 0.62588 | 2.3084 | 11.0574 | 7.2406 | 2.2902 | 11.0484 | 7.2271 | -0.77779 | 2.9336 | 0.82473 | 1.279 | -1.8444e-11 | -1.8669e-11 | -2.3544 | -0.66952 | 1.7111 | 2.5079 | -3.853e-11 | -2.1171e-11 | 116.0154 | 165.0171 | 60.3458 | -63.8858 | -14.898 | -119.756 |  | 1.0741 | 0.27213 | 0.26234 | 1.2293 | 0 | 0 | 7.7338 | 152.1609 | 124.6129 | -0.90668 | 0 | 0
Line_3 | 0.00068671 | 0.00068671 | 0.00068671 | 0.00068671 | 0.00068671 | 0.00068671 | 0.0079295 | 0.0079295 | 0.0079295 | 0.0079295 | 0.0079295 | 0.0079295 | -0.004014 | 0.0019343 | 0.0020797 | -0.004014 | 0.0019343 | 0.0020797 | -0.0075119 | 0.00095637 | -4.4987e-05 | -0.0075119 | 0.00095637 | -4.4987e-05 | 125.8521 | 125.8521 | 125.8521 | 125.8521 | 125.8521 | 125.8521 |  | 1.0741 | 0.27213 | 0.26234 | 1.0741 | 0.27213 | 0.26234 | 7.7338 | 152.1609 | 124.6129 | 7.7338 | 152.1609 | 124.6129

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39492 | 3.2023 | 3.1439 | 0.39667 | 3.2023 | 3.1432 | 4.5601 | 36.9769 | 36.3022 | 4.5804 | 36.977 | 36.2945 | 2.086 | 11.9783 | 9.9607 | -2.558 | -1.1008e-10 | -2.9819e-11 | 5.0414 | 1.296 | 10.8009 | -5.0158 | -9.1223e-11 | -1.3858e-10 | -63.8095 | -170.1589 | 31.0114 | 116.1142 | 9.8739 | -149.0197 |  | 1.1964 | 0.32583 | 0.40473 | 1.2293 | 0 | 0 | 3.7116 | -163.9836 | 78.3289 | -0.90668 | 0 | 0
Line_1 | 0.19992 | 0.9576 | 0.62706 | 0.19834 | 0.95682 | 0.62588 | 2.3084 | 11.0574 | 7.2406 | 2.2902 | 11.0484 | 7.2271 | -0.77779 | 2.9336 | 0.82473 | 1.279 | -1.8444e-11 | -1.8669e-11 | -2.3544 | -0.66952 | 1.7111 | 2.5079 | -3.853e-11 | -2.1171e-11 | 116.0154 | 165.0171 | 60.3458 | -63.8858 | -14.898 | -119.756 |  | 1.0741 | 0.27213 | 0.26234 | 1.2293 | 0 | 0 | 7.7338 | 152.1609 | 124.6129 | -0.90668 | 0 | 0
Line_2 | 0.19992 | 0.9576 | 0.62706 | 0.19834 | 0.95682 | 0.62588 | 2.3084 | 11.0574 | 7.2406 | 2.2902 | 11.0484 | 7.2271 | -0.77779 | 2.9336 | 0.82473 | 1.279 | -1.8444e-11 | -1.8669e-11 | -2.3544 | -0.66952 | 1.7111 | 2.5079 | -3.853e-11 | -2.1171e-11 | 116.0154 | 165.0171 | 60.3458 | -63.8858 | -14.898 | -119.756 |  | 1.0741 | 0.27213 | 0.26234 | 1.2293 | 0 | 0 | 7.7338 | 152.1609 | 124.6129 | -0.90668 | 0 | 0
Line_3 | 0.00068671 | 0.00068671 | 0.00068671 | 0.00068671 | 0.00068671 | 0.00068671 | 0.0079295 | 0.0079295 | 0.0079295 | 0.0079295 | 0.0079295 | 0.0079295 | -0.004014 | 0.0019343 | 0.0020797 | -0.004014 | 0.0019343 | 0.0020797 | -0.0075119 | 0.00095637 | -4.4987e-05 | -0.0075119 | 0.00095637 | -4.4987e-05 | 125.8521 | 125.8521 | 125.8521 | 125.8521 | 125.8521 | 125.8521 |  | 1.0741 | 0.27213 | 0.26234 | 1.0741 | 0.27213 | 0.26234 | 7.7338 | 152.1609 | 124.6129 | 7.7338 | 152.1609 | 124.6129

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15122 | 0.77347 | 0.82845 | 0.15181 | 0.77356 | 0.82807 | 1.7461 | 8.9313 | 9.5662 | 1.753 | 8.9323 | 9.5618 | 1.0837 | 6.3623 | 4.8087 | -1.1452 | -5.6748 | -3.9878 | 1.5021 | 3.5903 | 6.6252 | -1.4967 | -3.6417 | -5.7905 | -52.4481 | -154.9566 | 54.8401 | 127.4705 | 25.0895 | -125.1944 |  | 1.0608 | 0.81796 | 0.85577 | 1.0751 | 0.75488 | 0.73531 | 1.7435 | -125.5198 | 108.8671 | 0.049846 | -122.2211 | 110.2507
Line_1 | 0.076439 | 0.25259 | 0.20777 | 0.075905 | 0.25233 | 0.20727 | 0.88264 | 2.9167 | 2.3991 | 0.87648 | 2.9136 | 2.3933 | -0.50703 | 1.2038 | 1.7574 | 0.57258 | -0.96156 | -1.6106 | -0.73493 | 1.9085 | 0.87887 | 0.74834 | -1.9781 | -0.70926 | 127.3585 | 173.5922 | 86.5483 | -52.5295 | -6.2969 | -93.5171 |  | 1.0116 | 0.77363 | 0.81902 | 1.0751 | 0.75488 | 0.73531 | 2.7564 | -128.6498 | 113.1177 | 0.049846 | -122.2211 | 110.2507
Line_2 | 0.076439 | 0.25259 | 0.20777 | 0.075905 | 0.25233 | 0.20727 | 0.88264 | 2.9167 | 2.3991 | 0.87648 | 2.9136 | 2.3933 | -0.50703 | 1.2038 | 1.7574 | 0.57258 | -0.96156 | -1.6106 | -0.73493 | 1.9085 | 0.87887 | 0.74834 | -1.9781 | -0.70926 | 127.3585 | 173.5922 | 86.5483 | -52.5295 | -6.2969 | -93.5171 |  | 1.0116 | 0.77363 | 0.81902 | 1.0751 | 0.75488 | 0.73531 | 2.7564 | -128.6498 | 113.1177 | 0.049846 | -122.2211 | 110.2507
Line_3 | 0.00023535 | 0.00023535 | 0.00023535 | 0.00023535 | 0.00023535 | 0.00023535 | 0.0027176 | 0.0027176 | 0.0027176 | 0.0027176 | 0.0027176 | 0.0027176 | -0.0018077 | -0.00027367 | 0.0020814 | -0.0018077 | -0.00027367 | 0.0020814 | -0.0020712 | 0.0020846 | -0.0007887 | -0.0020712 | 0.0020846 | -0.0007887 | 133.871 | 133.871 | 133.871 | 133.871 | 133.871 | 133.871 |  | 1.0116 | 0.77363 | 0.81902 | 1.0116 | 0.77363 | 0.81902 | 2.7564 | -128.6498 | 113.1177 | 2.7564 | -128.6498 | 113.1177

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15122 | 0.77347 | 0.82845 | 0.15181 | 0.77356 | 0.82807 | 1.7461 | 8.9313 | 9.5662 | 1.753 | 8.9323 | 9.5618 | 1.0837 | 6.3623 | 4.8087 | -1.1452 | -5.6748 | -3.9878 | 1.5021 | 3.5903 | 6.6252 | -1.4967 | -3.6417 | -5.7905 | -52.4481 | -154.9566 | 54.8401 | 127.4705 | 25.0895 | -125.1944 |  | 1.0608 | 0.81796 | 0.85577 | 1.0751 | 0.75488 | 0.73531 | 1.7435 | -125.5198 | 108.8671 | 0.049846 | -122.2211 | 110.2507
Line_1 | 0.076439 | 0.25259 | 0.20777 | 0.075905 | 0.25233 | 0.20727 | 0.88264 | 2.9167 | 2.3991 | 0.87648 | 2.9136 | 2.3933 | -0.50703 | 1.2038 | 1.7574 | 0.57258 | -0.96156 | -1.6106 | -0.73493 | 1.9085 | 0.87887 | 0.74834 | -1.9781 | -0.70926 | 127.3585 | 173.5922 | 86.5483 | -52.5295 | -6.2969 | -93.5171 |  | 1.0116 | 0.77363 | 0.81902 | 1.0751 | 0.75488 | 0.73531 | 2.7564 | -128.6498 | 113.1177 | 0.049846 | -122.2211 | 110.2507
Line_2 | 0.076439 | 0.25259 | 0.20777 | 0.075905 | 0.25233 | 0.20727 | 0.88264 | 2.9167 | 2.3991 | 0.87648 | 2.9136 | 2.3933 | -0.50703 | 1.2038 | 1.7574 | 0.57258 | -0.96156 | -1.6106 | -0.73493 | 1.9085 | 0.87887 | 0.74834 | -1.9781 | -0.70926 | 127.3585 | 173.5922 | 86.5483 | -52.5295 | -6.2969 | -93.5171 |  | 1.0116 | 0.77363 | 0.81902 | 1.0751 | 0.75488 | 0.73531 | 2.7564 | -128.6498 | 113.1177 | 0.049846 | -122.2211 | 110.2507
Line_3 | 0.00023535 | 0.00023535 | 0.00023535 | 0.00023535 | 0.00023535 | 0.00023535 | 0.0027176 | 0.0027176 | 0.0027176 | 0.0027176 | 0.0027176 | 0.0027176 | -0.0018077 | -0.00027367 | 0.0020814 | -0.0018077 | -0.00027367 | 0.0020814 | -0.0020712 | 0.0020846 | -0.0007887 | -0.0020712 | 0.0020846 | -0.0007887 | 133.871 | 133.871 | 133.871 | 133.871 | 133.871 | 133.871 |  | 1.0116 | 0.77363 | 0.81902 | 1.0116 | 0.77363 | 0.81902 | 2.7564 | -128.6498 | 113.1177 | 2.7564 | -128.6498 | 113.1177