## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7156e-14 | -1.7114e-14 | -1.5945e-14 | 5.8489e-15 | 1.8054e-14 | 1.0316e-14 | 5.0669e-15 | -7.7926e-15 | 6.0995e-15 | -5.4579e-15 | -1.0776e-15 | -1.1258e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7156e-14 | -1.7114e-14 | -1.5945e-14 | 5.8489e-15 | 1.8054e-14 | 1.0316e-14 | 5.0669e-15 | -7.7926e-15 | 6.0995e-15 | -5.4579e-15 | -1.0776e-15 | -1.1258e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.164e-15 | 4.8772e-15 | 2.0239e-15 | -7.0173e-15 | 1.3236e-14 | -5.083e-15 | 5.8001e-17 | -1.9132e-15 | 3.6001e-15 | 5.4553e-15 | -6.8988e-16 | -5.6707e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.164e-15 | 4.8772e-15 | 2.0239e-15 | -7.0173e-15 | 1.3236e-14 | -5.083e-15 | 5.8001e-17 | -1.9132e-15 | 3.6001e-15 | 5.4553e-15 | -6.8988e-16 | -5.6707e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8671e-15 | 3.6809e-15 | -2.4152e-15 | -4.8671e-15 | 1.6313e-15 | 4.4219e-15 | 2.0113e-16 | 3.111e-15 | -4.3198e-15 | -2.0113e-16 | -2.5045e-15 | -2.0423e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.8671e-15 | 3.6809e-15 | -2.4152e-15 | -4.8671e-15 | 1.6313e-15 | 4.4219e-15 | 2.0113e-16 | 3.111e-15 | -4.3198e-15 | -2.0113e-16 | -2.5045e-15 | -2.0423e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8825e-16 | 1.458e-15 | 0 | -2.4748e-15 | 7.2901e-16 | 4.6203e-16 | -4.7526e-15 | 1.3331e-15 | 0 | 4.7178e-15 | 6.6654e-16 | -6.4336e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8825e-16 | 1.458e-15 | 0 | -2.4748e-15 | 7.2901e-16 | 4.6203e-16 | -4.7526e-15 | 1.3331e-15 | 0 | 4.7178e-15 | 6.6654e-16 | -6.4336e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7785 | 0.96284 | 0.87862 | 1.7755 | 0.96602 | 0.88118 | 20.5361 | 11.1179 | 10.1454 | 20.5016 | 11.1546 | 10.175 | 1.6334 | -9.5119 | 14.9902 | 8.6543e-11 | 10.0372 | -14.6207 | 1.866 | 11.6659 | 2.8626 | -6.8734e-11 | -11.1502 | -2.4474 | -72.6271 | 93.033 | 123.1213 | 107.4099 | -86.9891 | -57.0033 |  | 0.12076 | 1.3539 | 1.5042 | 0 | 1.345 | 1.4569 | -23.8244 | -137.7747 | 133.9326 | 0 | -134.9962 | 132.4997
Line_1 | 1.152 | 0.48586 | 0.44311 | 1.1492 | 0.48301 | 0.44059 | 13.3025 | 5.6102 | 5.1166 | 13.2701 | 5.5773 | 5.0875 | 3.1725 | 6.1282 | -6.2515 | 5.7667e-11 | -5.0186 | 7.3103 | 1.5118 | -4.9484 | -1.1588 | -4.2329e-11 | 5.5751 | 1.2237 | -74.7923 | -86.9765 | -57.1752 | 105.2325 | 93.0109 | 122.9967 |  | 0.26418 | 1.404 | 1.2426 | 0 | 1.345 | 1.4569 | -49.3139 | -125.897 | 133.3259 | 0 | -134.9962 | 132.4997
Line_2 | 1.152 | 0.48586 | 0.44311 | 1.1492 | 0.48301 | 0.44059 | 13.3025 | 5.6102 | 5.1166 | 13.2701 | 5.5773 | 5.0875 | 3.1725 | 6.1282 | -6.2515 | 5.7667e-11 | -5.0186 | 7.3103 | 1.5118 | -4.9484 | -1.1588 | -4.2329e-11 | 5.5751 | 1.2237 | -74.7923 | -86.9765 | -57.1752 | 105.2325 | 93.0109 | 122.9967 |  | 0.26418 | 1.404 | 1.2426 | 0 | 1.345 | 1.4569 | -49.3139 | -125.897 | 133.3259 | 0 | -134.9962 | 132.4997
Line_3 | 0.001291 | 0.001291 | 0.001291 | 0.001291 | 0.001291 | 0.001291 | 0.014907 | 0.014907 | 0.014907 | 0.014907 | 0.014907 | 0.014907 | 0.0035809 | 0.012889 | -0.01647 | 0.0035809 | 0.012889 | -0.01647 | 0.0016392 | -0.01649 | -0.0084774 | 0.0016392 | -0.01649 | -0.0084774 | -73.9098 | -73.9098 | -73.9098 | -73.9098 | -73.9098 | -73.9098 |  | 0.26418 | 1.404 | 1.2426 | 0.26418 | 1.404 | 1.2426 | -49.3139 | -125.897 | 133.3259 | -49.3139 | -125.897 | 133.3259

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7785 | 0.96284 | 0.87862 | 1.7755 | 0.96602 | 0.88118 | 20.5361 | 11.1179 | 10.1454 | 20.5016 | 11.1546 | 10.175 | 1.6334 | -9.5119 | 14.9902 | 8.6543e-11 | 10.0372 | -14.6207 | 1.866 | 11.6659 | 2.8626 | -6.8734e-11 | -11.1502 | -2.4474 | -72.6271 | 93.033 | 123.1213 | 107.4099 | -86.9891 | -57.0033 |  | 0.12076 | 1.3539 | 1.5042 | 0 | 1.345 | 1.4569 | -23.8244 | -137.7747 | 133.9326 | 0 | -134.9962 | 132.4997
Line_1 | 1.152 | 0.48586 | 0.44311 | 1.1492 | 0.48301 | 0.44059 | 13.3025 | 5.6102 | 5.1166 | 13.2701 | 5.5773 | 5.0875 | 3.1725 | 6.1282 | -6.2515 | 5.7667e-11 | -5.0186 | 7.3103 | 1.5118 | -4.9484 | -1.1588 | -4.2329e-11 | 5.5751 | 1.2237 | -74.7923 | -86.9765 | -57.1752 | 105.2325 | 93.0109 | 122.9967 |  | 0.26418 | 1.404 | 1.2426 | 0 | 1.345 | 1.4569 | -49.3139 | -125.897 | 133.3259 | 0 | -134.9962 | 132.4997
Line_2 | 1.152 | 0.48586 | 0.44311 | 1.1492 | 0.48301 | 0.44059 | 13.3025 | 5.6102 | 5.1166 | 13.2701 | 5.5773 | 5.0875 | 3.1725 | 6.1282 | -6.2515 | 5.7667e-11 | -5.0186 | 7.3103 | 1.5118 | -4.9484 | -1.1588 | -4.2329e-11 | 5.5751 | 1.2237 | -74.7923 | -86.9765 | -57.1752 | 105.2325 | 93.0109 | 122.9967 |  | 0.26418 | 1.404 | 1.2426 | 0 | 1.345 | 1.4569 | -49.3139 | -125.897 | 133.3259 | 0 | -134.9962 | 132.4997
Line_3 | 0.001291 | 0.001291 | 0.001291 | 0.001291 | 0.001291 | 0.001291 | 0.014907 | 0.014907 | 0.014907 | 0.014907 | 0.014907 | 0.014907 | 0.0035809 | 0.012889 | -0.01647 | 0.0035809 | 0.012889 | -0.01647 | 0.0016392 | -0.01649 | -0.0084774 | 0.0016392 | -0.01649 | -0.0084774 | -73.9098 | -73.9098 | -73.9098 | -73.9098 | -73.9098 | -73.9098 |  | 0.26418 | 1.404 | 1.2426 | 0.26418 | 1.404 | 1.2426 | -49.3139 | -125.897 | 133.3259 | -49.3139 | -125.897 | 133.3259

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4503 | 0.21538 | 0.37976 | 0.44943 | 0.21633 | 0.38026 | 5.1996 | 2.487 | 4.3851 | 5.1895 | 2.498 | 4.3909 | 3.7126 | -2.7543 | 4.041 | -3.6039 | 2.7884 | -3.9792 | 2.3425 | 1.4001 | -3.4669 | -2.2138 | -1.384 | 3.5465 | -40.6967 | 82.0551 | 167.7912 | 139.3763 | -97.832 | -12.3475 |  | 0.84426 | 1.2424 | 1.2142 | 0.81501 | 1.2462 | 1.2139 | -8.446 | -124.8901 | 127.1643 | -9.062 | -124.2291 | 125.9434
Line_1 | 0.45086 | 0.10895 | 0.1907 | 0.44993 | 0.10817 | 0.19013 | 5.2061 | 1.2581 | 2.202 | 5.1954 | 1.249 | 2.1954 | 3.0436 | 1.4485 | -1.8578 | -2.6263 | -1.3942 | 1.9896 | 3.5728 | -0.62803 | 1.7306 | -3.3214 | 0.69199 | -1.7732 | -60.7362 | -97.5673 | -12.5701 | 119.2727 | 82.168 | 167.6525 |  | 0.90153 | 1.255 | 1.1531 | 0.81501 | 1.2462 | 1.2139 | -11.1626 | -121.0072 | 124.4604 | -9.062 | -124.2291 | 125.9434
Line_2 | 0.45086 | 0.10895 | 0.1907 | 0.44993 | 0.10817 | 0.19013 | 5.2061 | 1.2581 | 2.202 | 5.1954 | 1.249 | 2.1954 | 3.0436 | 1.4485 | -1.8578 | -2.6263 | -1.3942 | 1.9896 | 3.5728 | -0.62803 | 1.7306 | -3.3214 | 0.69199 | -1.7732 | -60.7362 | -97.5673 | -12.5701 | 119.2727 | 82.168 | 167.6525 |  | 0.90153 | 1.255 | 1.1531 | 0.81501 | 1.2462 | 1.2139 | -11.1626 | -121.0072 | 124.4604 | -9.062 | -124.2291 | 125.9434
Line_3 | 0.00042183 | 0.00042183 | 0.00042183 | 0.00042183 | 0.00042183 | 0.00042183 | 0.0048709 | 0.0048709 | 0.0048709 | 0.0048709 | 0.0048709 | 0.0048709 | 0.003212 | 0.0024028 | -0.0056148 | 0.003212 | 0.0024028 | -0.0056148 | 0.0029943 | -0.0056207 | 0.00013589 | 0.0029943 | -0.0056207 | 0.00013589 | -54.1532 | -54.1532 | -54.1532 | -54.1532 | -54.1532 | -54.1532 |  | 0.90153 | 1.255 | 1.1531 | 0.90153 | 1.255 | 1.1531 | -11.1626 | -121.0072 | 124.4604 | -11.1626 | -121.0072 | 124.4604

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4503 | 0.21538 | 0.37976 | 0.44943 | 0.21633 | 0.38026 | 5.1996 | 2.487 | 4.3851 | 5.1895 | 2.498 | 4.3909 | 3.7126 | -2.7543 | 4.041 | -3.6039 | 2.7884 | -3.9792 | 2.3425 | 1.4001 | -3.4669 | -2.2138 | -1.384 | 3.5465 | -40.6967 | 82.0551 | 167.7912 | 139.3763 | -97.832 | -12.3475 |  | 0.84426 | 1.2424 | 1.2142 | 0.81501 | 1.2462 | 1.2139 | -8.446 | -124.8901 | 127.1643 | -9.062 | -124.2291 | 125.9434
Line_1 | 0.45086 | 0.10895 | 0.1907 | 0.44993 | 0.10817 | 0.19013 | 5.2061 | 1.2581 | 2.202 | 5.1954 | 1.249 | 2.1954 | 3.0436 | 1.4485 | -1.8578 | -2.6263 | -1.3942 | 1.9896 | 3.5728 | -0.62803 | 1.7306 | -3.3214 | 0.69199 | -1.7732 | -60.7362 | -97.5673 | -12.5701 | 119.2727 | 82.168 | 167.6525 |  | 0.90153 | 1.255 | 1.1531 | 0.81501 | 1.2462 | 1.2139 | -11.1626 | -121.0072 | 124.4604 | -9.062 | -124.2291 | 125.9434
Line_2 | 0.45086 | 0.10895 | 0.1907 | 0.44993 | 0.10817 | 0.19013 | 5.2061 | 1.2581 | 2.202 | 5.1954 | 1.249 | 2.1954 | 3.0436 | 1.4485 | -1.8578 | -2.6263 | -1.3942 | 1.9896 | 3.5728 | -0.62803 | 1.7306 | -3.3214 | 0.69199 | -1.7732 | -60.7362 | -97.5673 | -12.5701 | 119.2727 | 82.168 | 167.6525 |  | 0.90153 | 1.255 | 1.1531 | 0.81501 | 1.2462 | 1.2139 | -11.1626 | -121.0072 | 124.4604 | -9.062 | -124.2291 | 125.9434
Line_3 | 0.00042183 | 0.00042183 | 0.00042183 | 0.00042183 | 0.00042183 | 0.00042183 | 0.0048709 | 0.0048709 | 0.0048709 | 0.0048709 | 0.0048709 | 0.0048709 | 0.003212 | 0.0024028 | -0.0056148 | 0.003212 | 0.0024028 | -0.0056148 | 0.0029943 | -0.0056207 | 0.00013589 | 0.0029943 | -0.0056207 | 0.00013589 | -54.1532 | -54.1532 | -54.1532 | -54.1532 | -54.1532 | -54.1532 |  | 0.90153 | 1.255 | 1.1531 | 0.90153 | 1.255 | 1.1531 | -11.1626 | -121.0072 | 124.4604 | -11.1626 | -121.0072 | 124.4604

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5863 | 0.84752 | 0.73974 | 1.5841 | 0.84977 | 0.74187 | 18.3169 | 9.7863 | 8.5418 | 18.2916 | 9.8123 | 8.5664 | 2.4979 | -1.659 | 11.7199 | -4.3103e-11 | 2.4122 | -11.1951 | 1.4922 | 11.1209 | 1.8506 | 1.7183e-12 | -10.7244 | -1.5643 | -58.8695 | 119.2579 | 123.2761 | 121.1958 | -60.8588 | -56.8694 |  | 0.15885 | 1.1489 | 1.3891 | 0 | 1.1203 | 1.3196 | -28.0152 | -142.2573 | 132.249 | 0 | -138.1826 | 131.0853
Line_1 | 0.88012 | 0.42697 | 0.37296 | 0.878 | 0.42489 | 0.37093 | 10.1628 | 4.9303 | 4.3065 | 10.1382 | 4.9062 | 4.2832 | 3.7503 | 2.8601 | -4.2073 | -2.3886e-11 | -1.2061 | 5.5976 | 1.002 | -5.0827 | -0.63666 | -1.0634e-12 | 5.3622 | 0.78217 | -63.6864 | -60.976 | -57.0255 | 116.3638 | 119.1412 | 123.1306 |  | 0.38197 | 1.1829 | 0.98807 | 0 | 1.1203 | 1.3196 | -48.7278 | -121.6087 | 131.5793 | 0 | -138.1826 | 131.0853
Line_2 | 0.88012 | 0.42697 | 0.37296 | 0.878 | 0.42489 | 0.37093 | 10.1628 | 4.9303 | 4.3065 | 10.1382 | 4.9062 | 4.2832 | 3.7503 | 2.8601 | -4.2073 | -2.3886e-11 | -1.2061 | 5.5976 | 1.002 | -5.0827 | -0.63666 | -1.0634e-12 | 5.3622 | 0.78217 | -63.6864 | -60.976 | -57.0255 | 116.3638 | 119.1412 | 123.1306 |  | 0.38197 | 1.1829 | 0.98807 | 0 | 1.1203 | 1.3196 | -48.7278 | -121.6087 | 131.5793 | 0 | -138.1826 | 131.0853
Line_3 | 0.00096087 | 0.00096087 | 0.00096087 | 0.00096087 | 0.00096087 | 0.00096087 | 0.011095 | 0.011095 | 0.011095 | 0.011095 | 0.011095 | 0.011095 | 0.0041328 | 0.0065448 | -0.010678 | 0.0041328 | 0.0065448 | -0.010678 | 0.00093835 | -0.011377 | -0.0024846 | 0.00093835 | -0.011377 | -0.0024846 | -61.5197 | -61.5197 | -61.5197 | -61.5197 | -61.5197 | -61.5197 |  | 0.38197 | 1.1829 | 0.98807 | 0.38197 | 1.1829 | 0.98807 | -48.7278 | -121.6087 | 131.5793 | -48.7278 | -121.6087 | 131.5793

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5863 | 0.84752 | 0.73974 | 1.5841 | 0.84977 | 0.74187 | 18.3169 | 9.7863 | 8.5418 | 18.2916 | 9.8123 | 8.5664 | 2.4979 | -1.659 | 11.7199 | -4.3103e-11 | 2.4122 | -11.1951 | 1.4922 | 11.1209 | 1.8506 | 1.7183e-12 | -10.7244 | -1.5643 | -58.8695 | 119.2579 | 123.2761 | 121.1958 | -60.8588 | -56.8694 |  | 0.15885 | 1.1489 | 1.3891 | 0 | 1.1203 | 1.3196 | -28.0152 | -142.2573 | 132.249 | 0 | -138.1826 | 131.0853
Line_1 | 0.88012 | 0.42697 | 0.37296 | 0.878 | 0.42489 | 0.37093 | 10.1628 | 4.9303 | 4.3065 | 10.1382 | 4.9062 | 4.2832 | 3.7503 | 2.8601 | -4.2073 | -2.3886e-11 | -1.2061 | 5.5976 | 1.002 | -5.0827 | -0.63666 | -1.0634e-12 | 5.3622 | 0.78217 | -63.6864 | -60.976 | -57.0255 | 116.3638 | 119.1412 | 123.1306 |  | 0.38197 | 1.1829 | 0.98807 | 0 | 1.1203 | 1.3196 | -48.7278 | -121.6087 | 131.5793 | 0 | -138.1826 | 131.0853
Line_2 | 0.88012 | 0.42697 | 0.37296 | 0.878 | 0.42489 | 0.37093 | 10.1628 | 4.9303 | 4.3065 | 10.1382 | 4.9062 | 4.2832 | 3.7503 | 2.8601 | -4.2073 | -2.3886e-11 | -1.2061 | 5.5976 | 1.002 | -5.0827 | -0.63666 | -1.0634e-12 | 5.3622 | 0.78217 | -63.6864 | -60.976 | -57.0255 | 116.3638 | 119.1412 | 123.1306 |  | 0.38197 | 1.1829 | 0.98807 | 0 | 1.1203 | 1.3196 | -48.7278 | -121.6087 | 131.5793 | 0 | -138.1826 | 131.0853
Line_3 | 0.00096087 | 0.00096087 | 0.00096087 | 0.00096087 | 0.00096087 | 0.00096087 | 0.011095 | 0.011095 | 0.011095 | 0.011095 | 0.011095 | 0.011095 | 0.0041328 | 0.0065448 | -0.010678 | 0.0041328 | 0.0065448 | -0.010678 | 0.00093835 | -0.011377 | -0.0024846 | 0.00093835 | -0.011377 | -0.0024846 | -61.5197 | -61.5197 | -61.5197 | -61.5197 | -61.5197 | -61.5197 |  | 0.38197 | 1.1829 | 0.98807 | 0.38197 | 1.1829 | 0.98807 | -48.7278 | -121.6087 | 131.5793 | -48.7278 | -121.6087 | 131.5793

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5259 | 0.28098 | 0.24525 | 0.52518 | 0.28173 | 0.24595 | 6.0726 | 3.2445 | 2.8319 | 6.0642 | 3.2531 | 2.84 | 3.3067 | -0.72891 | 3.0954 | -3.0311 | 0.81749 | -3.0445 | 2.9449 | 3.3514 | -0.44086 | -2.7736 | -3.3124 | 0.46956 | -47.8782 | 130.2492 | 134.2674 | 132.1871 | -49.8675 | -45.8781 |  | 0.72916 | 1.0571 | 1.1041 | 0.67751 | 1.0488 | 1.0847 | -6.1905 | -127.4805 | 126.1617 | -5.3533 | -126.0041 | 125.3542
Line_1 | 0.29179 | 0.14156 | 0.12365 | 0.29108 | 0.14086 | 0.12298 | 3.3693 | 1.6345 | 1.4278 | 3.3611 | 1.6265 | 1.42 | 1.959 | 0.5941 | -1.3753 | -1.5445 | -0.40875 | 1.5223 | 1.7889 | -1.6302 | 0.25004 | -1.6733 | 1.6562 | -0.23478 | -52.6951 | -49.9847 | -46.0343 | 127.3551 | 130.1325 | 134.1219 |  | 0.78737 | 1.0615 | 0.97904 | 0.67751 | 1.0488 | 1.0847 | -10.2948 | -119.9608 | 123.6614 | -5.3533 | -126.0041 | 125.3542
Line_2 | 0.29179 | 0.14156 | 0.12365 | 0.29108 | 0.14086 | 0.12298 | 3.3693 | 1.6345 | 1.4278 | 3.3611 | 1.6265 | 1.42 | 1.959 | 0.5941 | -1.3753 | -1.5445 | -0.40875 | 1.5223 | 1.7889 | -1.6302 | 0.25004 | -1.6733 | 1.6562 | -0.23478 | -52.6951 | -49.9847 | -46.0343 | 127.3551 | 130.1325 | 134.1219 |  | 0.78737 | 1.0615 | 0.97904 | 0.67751 | 1.0488 | 1.0847 | -10.2948 | -119.9608 | 123.6614 | -5.3533 | -126.0041 | 125.3542
Line_3 | 0.00031856 | 0.00031856 | 0.00031856 | 0.00031856 | 0.00031856 | 0.00031856 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0022111 | 0.0013717 | -0.0035828 | 0.0022111 | 0.0013717 | -0.0035828 | 0.0018707 | -0.0036557 | 0.00036457 | 0.0018707 | -0.0036557 | 0.00036457 | -50.5284 | -50.5284 | -50.5284 | -50.5284 | -50.5284 | -50.5284 |  | 0.78737 | 1.0615 | 0.97904 | 0.78737 | 1.0615 | 0.97904 | -10.2948 | -119.9608 | 123.6614 | -10.2948 | -119.9608 | 123.6614

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5259 | 0.28098 | 0.24525 | 0.52518 | 0.28173 | 0.24595 | 6.0726 | 3.2445 | 2.8319 | 6.0642 | 3.2531 | 2.84 | 3.3067 | -0.72891 | 3.0954 | -3.0311 | 0.81749 | -3.0445 | 2.9449 | 3.3514 | -0.44086 | -2.7736 | -3.3124 | 0.46956 | -47.8782 | 130.2492 | 134.2674 | 132.1871 | -49.8675 | -45.8781 |  | 0.72916 | 1.0571 | 1.1041 | 0.67751 | 1.0488 | 1.0847 | -6.1905 | -127.4805 | 126.1617 | -5.3533 | -126.0041 | 125.3542
Line_1 | 0.29179 | 0.14156 | 0.12365 | 0.29108 | 0.14086 | 0.12298 | 3.3693 | 1.6345 | 1.4278 | 3.3611 | 1.6265 | 1.42 | 1.959 | 0.5941 | -1.3753 | -1.5445 | -0.40875 | 1.5223 | 1.7889 | -1.6302 | 0.25004 | -1.6733 | 1.6562 | -0.23478 | -52.6951 | -49.9847 | -46.0343 | 127.3551 | 130.1325 | 134.1219 |  | 0.78737 | 1.0615 | 0.97904 | 0.67751 | 1.0488 | 1.0847 | -10.2948 | -119.9608 | 123.6614 | -5.3533 | -126.0041 | 125.3542
Line_2 | 0.29179 | 0.14156 | 0.12365 | 0.29108 | 0.14086 | 0.12298 | 3.3693 | 1.6345 | 1.4278 | 3.3611 | 1.6265 | 1.42 | 1.959 | 0.5941 | -1.3753 | -1.5445 | -0.40875 | 1.5223 | 1.7889 | -1.6302 | 0.25004 | -1.6733 | 1.6562 | -0.23478 | -52.6951 | -49.9847 | -46.0343 | 127.3551 | 130.1325 | 134.1219 |  | 0.78737 | 1.0615 | 0.97904 | 0.67751 | 1.0488 | 1.0847 | -10.2948 | -119.9608 | 123.6614 | -5.3533 | -126.0041 | 125.3542
Line_3 | 0.00031856 | 0.00031856 | 0.00031856 | 0.00031856 | 0.00031856 | 0.00031856 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0036784 | 0.0022111 | 0.0013717 | -0.0035828 | 0.0022111 | 0.0013717 | -0.0035828 | 0.0018707 | -0.0036557 | 0.00036457 | 0.0018707 | -0.0036557 | 0.00036457 | -50.5284 | -50.5284 | -50.5284 | -50.5284 | -50.5284 | -50.5284 |  | 0.78737 | 1.0615 | 0.97904 | 0.78737 | 1.0615 | 0.97904 | -10.2948 | -119.9608 | 123.6614 | -10.2948 | -119.9608 | 123.6614

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44737 | 3.6935 | 3.7382 | 0.44979 | 3.6938 | 3.7375 | 5.1657 | 42.6487 | 43.1646 | 5.1938 | 42.6527 | 43.1574 | 0.87925 | 7.0895 | 7.2685 | -0.77307 | 8.5551e-11 | 1.1363e-10 | 7.7176 | 8.0661 | 8.2266 | -7.6406 | -7.8054e-11 | 1.9906e-11 | -83.5226 | -171.2344 | 15.6334 | 96.4458 | 8.803 | -164.4027 |  | 1.5037 | 0.2518 | 0.25432 | 1.4786 | 0 | 0 | -0.022189 | -122.5477 | 64.1714 | 0.66827 | 0 | 0
Line_1 | 0.22707 | 1.1276 | 0.92851 | 0.2249 | 1.1264 | 0.92691 | 2.6219 | 13.0201 | 10.7215 | 2.5969 | 13.0062 | 10.7031 | -0.026646 | 2.3351 | 1.0147 | 0.38654 | 3.4836e-11 | 2.4493e-11 | -3.6356 | -0.21227 | 1.9943 | 3.8203 | -5.7896e-12 | -1.4786e-11 | 96.4747 | 155.7712 | 56.7435 | -83.5542 | -24.1369 | -123.3476 |  | 1.3867 | 0.18008 | 0.20871 | 1.4786 | 0 | 0 | 6.0548 | 150.5769 | 119.7767 | 0.66827 | 0 | 0
Line_2 | 0.22707 | 1.1276 | 0.92851 | 0.2249 | 1.1264 | 0.92691 | 2.6219 | 13.0201 | 10.7215 | 2.5969 | 13.0062 | 10.7031 | -0.026646 | 2.3351 | 1.0147 | 0.38654 | 3.4836e-11 | 2.4493e-11 | -3.6356 | -0.21227 | 1.9943 | 3.8203 | -5.7896e-12 | -1.4786e-11 | 96.4747 | 155.7712 | 56.7435 | -83.5542 | -24.1369 | -123.3476 |  | 1.3867 | 0.18008 | 0.20871 | 1.4786 | 0 | 0 | 6.0548 | 150.5769 | 119.7767 | 0.66827 | 0 | 0
Line_3 | 0.0009844 | 0.0009844 | 0.0009844 | 0.0009844 | 0.0009844 | 0.0009844 | 0.011367 | 0.011367 | 0.011367 | 0.011367 | 0.011367 | 0.011367 | -0.0039046 | 0.0015639 | 0.0023406 | -0.0039046 | 0.0015639 | 0.0023406 | -0.015271 | 0.0013207 | 0.00038662 | -0.015271 | 0.0013207 | 0.00038662 | 110.3972 | 110.3972 | 110.3972 | 110.3972 | 110.3972 | 110.3972 |  | 1.3867 | 0.18008 | 0.20871 | 1.3867 | 0.18008 | 0.20871 | 6.0548 | 150.5769 | 119.7767 | 6.0548 | 150.5769 | 119.7767

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44737 | 3.6935 | 3.7382 | 0.44979 | 3.6938 | 3.7375 | 5.1657 | 42.6487 | 43.1646 | 5.1938 | 42.6527 | 43.1574 | 0.87925 | 7.0895 | 7.2685 | -0.77307 | 8.5551e-11 | 1.1363e-10 | 7.7176 | 8.0661 | 8.2266 | -7.6406 | -7.8054e-11 | 1.9906e-11 | -83.5226 | -171.2344 | 15.6334 | 96.4458 | 8.803 | -164.4027 |  | 1.5037 | 0.2518 | 0.25432 | 1.4786 | 0 | 0 | -0.022189 | -122.5477 | 64.1714 | 0.66827 | 0 | 0
Line_1 | 0.22707 | 1.1276 | 0.92851 | 0.2249 | 1.1264 | 0.92691 | 2.6219 | 13.0201 | 10.7215 | 2.5969 | 13.0062 | 10.7031 | -0.026646 | 2.3351 | 1.0147 | 0.38654 | 3.4836e-11 | 2.4493e-11 | -3.6356 | -0.21227 | 1.9943 | 3.8203 | -5.7896e-12 | -1.4786e-11 | 96.4747 | 155.7712 | 56.7435 | -83.5542 | -24.1369 | -123.3476 |  | 1.3867 | 0.18008 | 0.20871 | 1.4786 | 0 | 0 | 6.0548 | 150.5769 | 119.7767 | 0.66827 | 0 | 0
Line_2 | 0.22707 | 1.1276 | 0.92851 | 0.2249 | 1.1264 | 0.92691 | 2.6219 | 13.0201 | 10.7215 | 2.5969 | 13.0062 | 10.7031 | -0.026646 | 2.3351 | 1.0147 | 0.38654 | 3.4836e-11 | 2.4493e-11 | -3.6356 | -0.21227 | 1.9943 | 3.8203 | -5.7896e-12 | -1.4786e-11 | 96.4747 | 155.7712 | 56.7435 | -83.5542 | -24.1369 | -123.3476 |  | 1.3867 | 0.18008 | 0.20871 | 1.4786 | 0 | 0 | 6.0548 | 150.5769 | 119.7767 | 0.66827 | 0 | 0
Line_3 | 0.0009844 | 0.0009844 | 0.0009844 | 0.0009844 | 0.0009844 | 0.0009844 | 0.011367 | 0.011367 | 0.011367 | 0.011367 | 0.011367 | 0.011367 | -0.0039046 | 0.0015639 | 0.0023406 | -0.0039046 | 0.0015639 | 0.0023406 | -0.015271 | 0.0013207 | 0.00038662 | -0.015271 | 0.0013207 | 0.00038662 | 110.3972 | 110.3972 | 110.3972 | 110.3972 | 110.3972 | 110.3972 |  | 1.3867 | 0.18008 | 0.20871 | 1.3867 | 0.18008 | 0.20871 | 6.0548 | 150.5769 | 119.7767 | 6.0548 | 150.5769 | 119.7767

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082334 | 0.79682 | 0.74839 | 0.082743 | 0.79723 | 0.74791 | 0.95071 | 9.2009 | 8.6417 | 0.95544 | 9.2057 | 8.6361 | 1.1933 | 7.9653 | 4.0707 | -1.193 | -7.6412 | -3.7701 | 0.24113 | 2.4866 | 6.9657 | -0.25071 | -2.1035 | -6.6364 | -9.8546 | -138.3143 | 46.6277 | 169.5556 | 41.7466 | -133.4343 |  | 1.2805 | 0.90691 | 0.93361 | 1.276 | 0.86093 | 0.88379 | 1.5695 | -120.9772 | 106.3258 | 1.4233 | -122.8624 | 106.9651
Line_1 | 0.041857 | 0.40774 | 0.37516 | 0.041372 | 0.40718 | 0.37449 | 0.48333 | 4.7081 | 4.332 | 0.47772 | 4.7017 | 4.3243 | -0.57592 | 1.4524 | 3.5151 | 0.59652 | -1.1207 | -3.3222 | -0.14863 | 3.8923 | 2.1931 | 0.12535 | -3.8896 | -1.8891 | 168.6124 | 163.1225 | 77.4191 | -10.4444 | -16.7888 | -102.6582 |  | 1.2306 | 0.8824 | 0.9564 | 1.276 | 0.86093 | 0.88379 | 3.0829 | -127.3405 | 109.3792 | 1.4233 | -122.8624 | 106.9651
Line_2 | 0.041857 | 0.40774 | 0.37516 | 0.041372 | 0.40718 | 0.37449 | 0.48333 | 4.7081 | 4.332 | 0.47772 | 4.7017 | 4.3243 | -0.57592 | 1.4524 | 3.5151 | 0.59652 | -1.1207 | -3.3222 | -0.14863 | 3.8923 | 2.1931 | 0.12535 | -3.8896 | -1.8891 | 168.6124 | 163.1225 | 77.4191 | -10.4444 | -16.7888 | -102.6582 |  | 1.2306 | 0.8824 | 0.9564 | 1.276 | 0.86093 | 0.88379 | 3.0829 | -127.3405 | 109.3792 | 1.4233 | -122.8624 | 106.9651
Line_3 | 0.00038055 | 0.00038055 | 0.00038055 | 0.00038055 | 0.00038055 | 0.00038055 | 0.0043943 | 0.0043943 | 0.0043943 | 0.0043943 | 0.0043943 | 0.0043943 | -0.0028865 | -0.0011541 | 0.0040406 | -0.0028865 | -0.0011541 | 0.0040406 | -0.0045729 | 0.0037018 | -0.0011559 | -0.0045729 | 0.0037018 | -0.0011559 | 125.3442 | 125.3442 | 125.3442 | 125.3442 | 125.3442 | 125.3442 |  | 1.2306 | 0.8824 | 0.9564 | 1.2306 | 0.8824 | 0.9564 | 3.0829 | -127.3405 | 109.3792 | 3.0829 | -127.3405 | 109.3792

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.082334 | 0.79682 | 0.74839 | 0.082743 | 0.79723 | 0.74791 | 0.95071 | 9.2009 | 8.6417 | 0.95544 | 9.2057 | 8.6361 | 1.1933 | 7.9653 | 4.0707 | -1.193 | -7.6412 | -3.7701 | 0.24113 | 2.4866 | 6.9657 | -0.25071 | -2.1035 | -6.6364 | -9.8546 | -138.3143 | 46.6277 | 169.5556 | 41.7466 | -133.4343 |  | 1.2805 | 0.90691 | 0.93361 | 1.276 | 0.86093 | 0.88379 | 1.5695 | -120.9772 | 106.3258 | 1.4233 | -122.8624 | 106.9651
Line_1 | 0.041857 | 0.40774 | 0.37516 | 0.041372 | 0.40718 | 0.37449 | 0.48333 | 4.7081 | 4.332 | 0.47772 | 4.7017 | 4.3243 | -0.57592 | 1.4524 | 3.5151 | 0.59652 | -1.1207 | -3.3222 | -0.14863 | 3.8923 | 2.1931 | 0.12535 | -3.8896 | -1.8891 | 168.6124 | 163.1225 | 77.4191 | -10.4444 | -16.7888 | -102.6582 |  | 1.2306 | 0.8824 | 0.9564 | 1.276 | 0.86093 | 0.88379 | 3.0829 | -127.3405 | 109.3792 | 1.4233 | -122.8624 | 106.9651
Line_2 | 0.041857 | 0.40774 | 0.37516 | 0.041372 | 0.40718 | 0.37449 | 0.48333 | 4.7081 | 4.332 | 0.47772 | 4.7017 | 4.3243 | -0.57592 | 1.4524 | 3.5151 | 0.59652 | -1.1207 | -3.3222 | -0.14863 | 3.8923 | 2.1931 | 0.12535 | -3.8896 | -1.8891 | 168.6124 | 163.1225 | 77.4191 | -10.4444 | -16.7888 | -102.6582 |  | 1.2306 | 0.8824 | 0.9564 | 1.276 | 0.86093 | 0.88379 | 3.0829 | -127.3405 | 109.3792 | 1.4233 | -122.8624 | 106.9651
Line_3 | 0.00038055 | 0.00038055 | 0.00038055 | 0.00038055 | 0.00038055 | 0.00038055 | 0.0043943 | 0.0043943 | 0.0043943 | 0.0043943 | 0.0043943 | 0.0043943 | -0.0028865 | -0.0011541 | 0.0040406 | -0.0028865 | -0.0011541 | 0.0040406 | -0.0045729 | 0.0037018 | -0.0011559 | -0.0045729 | 0.0037018 | -0.0011559 | 125.3442 | 125.3442 | 125.3442 | 125.3442 | 125.3442 | 125.3442 |  | 1.2306 | 0.8824 | 0.9564 | 1.2306 | 0.8824 | 0.9564 | 3.0829 | -127.3405 | 109.3792 | 3.0829 | -127.3405 | 109.3792

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49702 | 3.1512 | 3.1065 | 0.49893 | 3.1519 | 3.1056 | 5.7391 | 36.3875 | 35.8712 | 5.7612 | 36.3945 | 35.8605 | 3.5445 | 9.9166 | 9.6293 | -3.2941 | -1.0777e-10 | -7.5971e-12 | 6.8004 | 5.8832 | 5.6705 | -6.6876 | -7.9226e-11 | -1.3292e-10 | -64.4947 | -164.1769 | 24.8972 | 115.3964 | 15.8603 | -155.1382 |  | 1.3362 | 0.31688 | 0.31153 | 1.294 | 0 | 0 | -2.0238 | -133.4976 | 55.3904 | -0.82717 | 0 | 0
Line_1 | 0.25113 | 0.96747 | 0.61981 | 0.24947 | 0.96664 | 0.61857 | 2.8999 | 11.1713 | 7.157 | 2.8806 | 11.1618 | 7.1426 | -0.97562 | 3.0866 | 0.84923 | 1.6471 | -1.5857e-11 | -1.6805e-11 | -3.1216 | -0.72537 | 1.7609 | 3.3438 | -3.7832e-11 | -2.0514e-11 | 115.3189 | 164.8349 | 61.0227 | -64.6036 | -15.0769 | -119.0846 |  | 1.1278 | 0.28382 | 0.27316 | 1.294 | 0 | 0 | 7.9628 | 151.6098 | 125.2765 | -0.82717 | 0 | 0
Line_2 | 0.25113 | 0.96747 | 0.61981 | 0.24947 | 0.96664 | 0.61857 | 2.8999 | 11.1713 | 7.157 | 2.8806 | 11.1618 | 7.1426 | -0.97562 | 3.0866 | 0.84923 | 1.6471 | -1.5857e-11 | -1.6805e-11 | -3.1216 | -0.72537 | 1.7609 | 3.3438 | -3.7832e-11 | -2.0514e-11 | 115.3189 | 164.8349 | 61.0227 | -64.6036 | -15.0769 | -119.0846 |  | 1.1278 | 0.28382 | 0.27316 | 1.294 | 0 | 0 | 7.9628 | 151.6098 | 125.2765 | -0.82717 | 0 | 0
Line_3 | 0.00072287 | 0.00072287 | 0.00072287 | 0.00072287 | 0.00072287 | 0.00072287 | 0.008347 | 0.008347 | 0.008347 | 0.008347 | 0.008347 | 0.008347 | -0.004415 | 0.0021351 | 0.0022799 | -0.004415 | 0.0021351 | 0.0022799 | -0.0083144 | 0.0010265 | -2.6069e-05 | -0.0083144 | 0.0010265 | -2.6069e-05 | 125.9316 | 125.9316 | 125.9316 | 125.9316 | 125.9316 | 125.9316 |  | 1.1278 | 0.28382 | 0.27316 | 1.1278 | 0.28382 | 0.27316 | 7.9628 | 151.6098 | 125.2765 | 7.9628 | 151.6098 | 125.2765

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49702 | 3.1512 | 3.1065 | 0.49893 | 3.1519 | 3.1056 | 5.7391 | 36.3875 | 35.8712 | 5.7612 | 36.3945 | 35.8605 | 3.5445 | 9.9166 | 9.6293 | -3.2941 | -1.0777e-10 | -7.5971e-12 | 6.8004 | 5.8832 | 5.6705 | -6.6876 | -7.9226e-11 | -1.3292e-10 | -64.4947 | -164.1769 | 24.8972 | 115.3964 | 15.8603 | -155.1382 |  | 1.3362 | 0.31688 | 0.31153 | 1.294 | 0 | 0 | -2.0238 | -133.4976 | 55.3904 | -0.82717 | 0 | 0
Line_1 | 0.25113 | 0.96747 | 0.61981 | 0.24947 | 0.96664 | 0.61857 | 2.8999 | 11.1713 | 7.157 | 2.8806 | 11.1618 | 7.1426 | -0.97562 | 3.0866 | 0.84923 | 1.6471 | -1.5857e-11 | -1.6805e-11 | -3.1216 | -0.72537 | 1.7609 | 3.3438 | -3.7832e-11 | -2.0514e-11 | 115.3189 | 164.8349 | 61.0227 | -64.6036 | -15.0769 | -119.0846 |  | 1.1278 | 0.28382 | 0.27316 | 1.294 | 0 | 0 | 7.9628 | 151.6098 | 125.2765 | -0.82717 | 0 | 0
Line_2 | 0.25113 | 0.96747 | 0.61981 | 0.24947 | 0.96664 | 0.61857 | 2.8999 | 11.1713 | 7.157 | 2.8806 | 11.1618 | 7.1426 | -0.97562 | 3.0866 | 0.84923 | 1.6471 | -1.5857e-11 | -1.6805e-11 | -3.1216 | -0.72537 | 1.7609 | 3.3438 | -3.7832e-11 | -2.0514e-11 | 115.3189 | 164.8349 | 61.0227 | -64.6036 | -15.0769 | -119.0846 |  | 1.1278 | 0.28382 | 0.27316 | 1.294 | 0 | 0 | 7.9628 | 151.6098 | 125.2765 | -0.82717 | 0 | 0
Line_3 | 0.00072287 | 0.00072287 | 0.00072287 | 0.00072287 | 0.00072287 | 0.00072287 | 0.008347 | 0.008347 | 0.008347 | 0.008347 | 0.008347 | 0.008347 | -0.004415 | 0.0021351 | 0.0022799 | -0.004415 | 0.0021351 | 0.0022799 | -0.0083144 | 0.0010265 | -2.6069e-05 | -0.0083144 | 0.0010265 | -2.6069e-05 | 125.9316 | 125.9316 | 125.9316 | 125.9316 | 125.9316 | 125.9316 |  | 1.1278 | 0.28382 | 0.27316 | 1.1278 | 0.28382 | 0.27316 | 7.9628 | 151.6098 | 125.2765 | 7.9628 | 151.6098 | 125.2765

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21768 | 0.77086 | 0.79312 | 0.2184 | 0.77126 | 0.79254 | 2.5135 | 8.9011 | 9.1582 | 2.5219 | 8.9057 | 9.1514 | 1.6367 | 6.4915 | 3.9245 | -1.5895 | -5.9035 | -3.291 | 2.3229 | 3.3989 | 6.0901 | -2.3059 | -3.0419 | -5.7193 | -55.4257 | -147.5717 | 48.3465 | 124.463 | 32.4832 | -131.6971 |  | 1.1305 | 0.82321 | 0.7911 | 1.1105 | 0.74572 | 0.72104 | -0.59321 | -119.9358 | 105.5483 | -0.11688 | -120.2559 | 108.3858
Line_1 | 0.10985 | 0.26898 | 0.23109 | 0.1092 | 0.26864 | 0.23046 | 1.2684 | 3.1059 | 2.6685 | 1.261 | 3.102 | 2.6611 | -0.67754 | 1.0622 | 2.0329 | 0.79477 | -0.75554 | -1.8205 | -1.1253 | 2.0989 | 0.81575 | 1.153 | -2.1863 | -0.60633 | 124.3698 | 168.6847 | 90.019 | -55.537 | -11.1921 | -90.0351 |  | 1.0356 | 0.75739 | 0.82088 | 1.1105 | 0.74572 | 0.72104 | 3.3176 | -128.1595 | 111.883 | -0.11688 | -120.2559 | 108.3858
Line_2 | 0.10985 | 0.26898 | 0.23109 | 0.1092 | 0.26864 | 0.23046 | 1.2684 | 3.1059 | 2.6685 | 1.261 | 3.102 | 2.6611 | -0.67754 | 1.0622 | 2.0329 | 0.79477 | -0.75554 | -1.8205 | -1.1253 | 2.0989 | 0.81575 | 1.153 | -2.1863 | -0.60633 | 124.3698 | 168.6847 | 90.019 | -55.537 | -11.1921 | -90.0351 |  | 1.0356 | 0.75739 | 0.82088 | 1.1105 | 0.74572 | 0.72104 | 3.3176 | -128.1595 | 111.883 | -0.11688 | -120.2559 | 108.3858
Line_3 | 0.00028423 | 0.00028423 | 0.00028423 | 0.00028423 | 0.00028423 | 0.00028423 | 0.003282 | 0.003282 | 0.003282 | 0.003282 | 0.003282 | 0.003282 | -0.0020787 | -0.00046656 | 0.0025452 | -0.0020787 | -0.00046656 | 0.0025452 | -0.002689 | 0.0024416 | -0.00088332 | -0.002689 | 0.0024416 | -0.00088332 | 131.0222 | 131.0222 | 131.0222 | 131.0222 | 131.0222 | 131.0222 |  | 1.0356 | 0.75739 | 0.82088 | 1.0356 | 0.75739 | 0.82088 | 3.3176 | -128.1595 | 111.883 | 3.3176 | -128.1595 | 111.883

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21768 | 0.77086 | 0.79312 | 0.2184 | 0.77126 | 0.79254 | 2.5135 | 8.9011 | 9.1582 | 2.5219 | 8.9057 | 9.1514 | 1.6367 | 6.4915 | 3.9245 | -1.5895 | -5.9035 | -3.291 | 2.3229 | 3.3989 | 6.0901 | -2.3059 | -3.0419 | -5.7193 | -55.4257 | -147.5717 | 48.3465 | 124.463 | 32.4832 | -131.6971 |  | 1.1305 | 0.82321 | 0.7911 | 1.1105 | 0.74572 | 0.72104 | -0.59321 | -119.9358 | 105.5483 | -0.11688 | -120.2559 | 108.3858
Line_1 | 0.10985 | 0.26898 | 0.23109 | 0.1092 | 0.26864 | 0.23046 | 1.2684 | 3.1059 | 2.6685 | 1.261 | 3.102 | 2.6611 | -0.67754 | 1.0622 | 2.0329 | 0.79477 | -0.75554 | -1.8205 | -1.1253 | 2.0989 | 0.81575 | 1.153 | -2.1863 | -0.60633 | 124.3698 | 168.6847 | 90.019 | -55.537 | -11.1921 | -90.0351 |  | 1.0356 | 0.75739 | 0.82088 | 1.1105 | 0.74572 | 0.72104 | 3.3176 | -128.1595 | 111.883 | -0.11688 | -120.2559 | 108.3858
Line_2 | 0.10985 | 0.26898 | 0.23109 | 0.1092 | 0.26864 | 0.23046 | 1.2684 | 3.1059 | 2.6685 | 1.261 | 3.102 | 2.6611 | -0.67754 | 1.0622 | 2.0329 | 0.79477 | -0.75554 | -1.8205 | -1.1253 | 2.0989 | 0.81575 | 1.153 | -2.1863 | -0.60633 | 124.3698 | 168.6847 | 90.019 | -55.537 | -11.1921 | -90.0351 |  | 1.0356 | 0.75739 | 0.82088 | 1.1105 | 0.74572 | 0.72104 | 3.3176 | -128.1595 | 111.883 | -0.11688 | -120.2559 | 108.3858
Line_3 | 0.00028423 | 0.00028423 | 0.00028423 | 0.00028423 | 0.00028423 | 0.00028423 | 0.003282 | 0.003282 | 0.003282 | 0.003282 | 0.003282 | 0.003282 | -0.0020787 | -0.00046656 | 0.0025452 | -0.0020787 | -0.00046656 | 0.0025452 | -0.002689 | 0.0024416 | -0.00088332 | -0.002689 | 0.0024416 | -0.00088332 | 131.0222 | 131.0222 | 131.0222 | 131.0222 | 131.0222 | 131.0222 |  | 1.0356 | 0.75739 | 0.82088 | 1.0356 | 0.75739 | 0.82088 | 3.3176 | -128.1595 | 111.883 | 3.3176 | -128.1595 | 111.883