## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1502e-14 | 1.214e-14 | 5.8641e-15 | -2.8267e-14 | 8.2438e-15 | 1.6415e-14 | -5.2624e-15 | -1.7039e-15 | 1.0551e-14 | -9.775e-16 | 6.853e-15 | 4.6872e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1502e-14 | 1.214e-14 | 5.8641e-15 | -2.8267e-14 | 8.2438e-15 | 1.6415e-14 | -5.2624e-15 | -1.7039e-15 | 1.0551e-14 | -9.775e-16 | 6.853e-15 | 4.6872e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8667e-17 | 1.4114e-14 | 6.0716e-15 | -2.8533e-15 | -6.1005e-15 | -7.1535e-15 | -2.776e-15 | -1.5666e-14 | 1.08e-14 | 5.5133e-15 | 1.0272e-14 | -2.6115e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8667e-17 | 1.4114e-14 | 6.0716e-15 | -2.8533e-15 | -6.1005e-15 | -7.1535e-15 | -2.776e-15 | -1.5666e-14 | 1.08e-14 | 5.5133e-15 | 1.0272e-14 | -2.6115e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8358e-15 | -2.6561e-15 | 2.4152e-15 | -2.0313e-15 | 3.9841e-15 | -2.0423e-16 | 9.6335e-15 | -3.0325e-16 | 4.3198e-15 | -9.8347e-15 | 4.5488e-16 | -4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.8358e-15 | -2.6561e-15 | 2.4152e-15 | -2.0313e-15 | 3.9841e-15 | -2.0423e-16 | 9.6335e-15 | -3.0325e-16 | 4.3198e-15 | -9.8347e-15 | 4.5488e-16 | -4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7642e-15 | 6.0407e-16 | 2.0792e-15 | -4.8105e-15 | 8.5395e-16 | -1.1551e-15 | 9.2727e-17 | -2.1246e-15 | -2.8951e-15 | 2.2894e-15 | 3.4576e-15 | 1.6084e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.7642e-15 | 6.0407e-16 | 2.0792e-15 | -4.8105e-15 | 8.5395e-16 | -1.1551e-15 | 9.2727e-17 | -2.1246e-15 | -2.8951e-15 | 2.2894e-15 | 3.4576e-15 | 1.6084e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9299 | 0.64744 | 0.18673 | 3.9291 | 0.64846 | 0.18788 | 45.3791 | 7.476 | 2.1562 | 45.3698 | 7.4878 | 2.1694 | 22.1078 | -6.638 | 2.1794 | 2.285e-10 | 7.2997 | -2.4973 | 16.2891 | -2.974 | 1.0695 | -2.8178e-10 | 0.64945 | -1.7397 | -59.9067 | 47.5629 | 82.5217 | 120.1053 | -132.3906 | -97.5263 |  | 0.60514 | 0.97296 | 1.1259 | 0 | 0.97873 | 1.4029 | -23.5238 | -108.3033 | 108.659 | 0 | -127.3065 | 117.3361
Line_1 | 1.0817 | 0.32591 | 0.095876 | 1.0799 | 0.32423 | 0.093938 | 12.4906 | 3.7633 | 1.1071 | 12.4699 | 3.7439 | 1.0847 | 2.2627 | 3.9989 | -1.1321 | 8.4585e-11 | -3.6499 | 1.2486 | 0.78929 | 0.79537 | -0.82903 | -5.2801e-11 | -0.32473 | 0.86984 | -78.9226 | -132.2173 | -97.615 | 101.1177 | 47.6094 | 82.4737 |  | 0.19186 | 1.0834 | 1.2675 | 0 | 0.97873 | 1.4029 | -59.6927 | -120.9682 | 118.5989 | 0 | -127.3065 | 117.3361
Line_2 | 1.0817 | 0.32591 | 0.095876 | 1.0799 | 0.32423 | 0.093938 | 12.4906 | 3.7633 | 1.1071 | 12.4699 | 3.7439 | 1.0847 | 2.2627 | 3.9989 | -1.1321 | 8.4585e-11 | -3.6499 | 1.2486 | 0.78929 | 0.79537 | -0.82903 | -5.2801e-11 | -0.32473 | 0.86984 | -78.9226 | -132.2173 | -97.615 | 101.1177 | 47.6094 | 82.4737 |  | 0.19186 | 1.0834 | 1.2675 | 0 | 0.97873 | 1.4029 | -59.6927 | -120.9682 | 118.5989 | 0 | -127.3065 | 117.3361
Line_3 | 0.00088071 | 0.00088071 | 0.00088071 | 0.00088071 | 0.00088071 | 0.00088071 | 0.01017 | 0.01017 | 0.01017 | 0.01017 | 0.01017 | 0.01017 | 0.0016674 | 0.0095429 | -0.01121 | 0.0016674 | 0.0095429 | -0.01121 | 0.0010132 | -0.0055075 | -0.0063623 | 0.0010132 | -0.0055075 | -0.0063623 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 |  | 0.19186 | 1.0834 | 1.2675 | 0.19186 | 1.0834 | 1.2675 | -59.6927 | -120.9682 | 118.5989 | -59.6927 | -120.9682 | 118.5989

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 3.9299 | 0.64744 | 0.18673 | 3.9291 | 0.64846 | 0.18788 | 45.3791 | 7.476 | 2.1562 | 45.3698 | 7.4878 | 2.1694 | 22.1078 | -6.638 | 2.1794 | 2.285e-10 | 7.2997 | -2.4973 | 16.2891 | -2.974 | 1.0695 | -2.8178e-10 | 0.64945 | -1.7397 | -59.9067 | 47.5629 | 82.5217 | 120.1053 | -132.3906 | -97.5263 |  | 0.60514 | 0.97296 | 1.1259 | 0 | 0.97873 | 1.4029 | -23.5238 | -108.3033 | 108.659 | 0 | -127.3065 | 117.3361
Line_1 | 1.0817 | 0.32591 | 0.095876 | 1.0799 | 0.32423 | 0.093938 | 12.4906 | 3.7633 | 1.1071 | 12.4699 | 3.7439 | 1.0847 | 2.2627 | 3.9989 | -1.1321 | 8.4585e-11 | -3.6499 | 1.2486 | 0.78929 | 0.79537 | -0.82903 | -5.2801e-11 | -0.32473 | 0.86984 | -78.9226 | -132.2173 | -97.615 | 101.1177 | 47.6094 | 82.4737 |  | 0.19186 | 1.0834 | 1.2675 | 0 | 0.97873 | 1.4029 | -59.6927 | -120.9682 | 118.5989 | 0 | -127.3065 | 117.3361
Line_2 | 1.0817 | 0.32591 | 0.095876 | 1.0799 | 0.32423 | 0.093938 | 12.4906 | 3.7633 | 1.1071 | 12.4699 | 3.7439 | 1.0847 | 2.2627 | 3.9989 | -1.1321 | 8.4585e-11 | -3.6499 | 1.2486 | 0.78929 | 0.79537 | -0.82903 | -5.2801e-11 | -0.32473 | 0.86984 | -78.9226 | -132.2173 | -97.615 | 101.1177 | 47.6094 | 82.4737 |  | 0.19186 | 1.0834 | 1.2675 | 0 | 0.97873 | 1.4029 | -59.6927 | -120.9682 | 118.5989 | 0 | -127.3065 | 117.3361
Line_3 | 0.00088071 | 0.00088071 | 0.00088071 | 0.00088071 | 0.00088071 | 0.00088071 | 0.01017 | 0.01017 | 0.01017 | 0.01017 | 0.01017 | 0.01017 | 0.0016674 | 0.0095429 | -0.01121 | 0.0016674 | 0.0095429 | -0.01121 | 0.0010132 | -0.0055075 | -0.0063623 | 0.0010132 | -0.0055075 | -0.0063623 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 | -90.9778 |  | 0.19186 | 1.0834 | 1.2675 | 0.19186 | 1.0834 | 1.2675 | -59.6927 | -120.9682 | 118.5989 | -59.6927 | -120.9682 | 118.5989

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.8198 | 0.25042 | 0.17002 | 0.81963 | 0.25049 | 0.16991 | 9.4662 | 2.8916 | 1.9632 | 9.4643 | 2.8924 | 1.9619 | 8.4466 | -2.1862 | 0.16324 | -7.3379 | 2.4285 | -0.27916 | 4.8864 | -2.2705 | -2.2605 | -4.2302 | 2.1744 | 2.3821 | -35.1137 | 15.9516 | -156.5363 | 144.9021 | -163.9864 | 23.3762 |  | 1.0308 | 1.09 | 1.1544 | 0.89494 | 1.127 | 1.2225 | -5.0641 | -117.9652 | 117.5941 | -5.1349 | -122.1463 | 120.0601
Line_1 | 0.35185 | 0.12534 | 0.084804 | 0.3514 | 0.12525 | 0.084955 | 4.0628 | 1.4473 | 0.97923 | 4.0576 | 1.4462 | 0.98097 | 1.8651 | 1.2155 | -0.13752 | -1.6704 | -1.2143 | 0.13958 | 3.322 | 1.1379 | 1.1612 | -3.2243 | -1.0872 | -1.1911 | -67.7705 | -163.7748 | 23.0742 | 112.2529 | 16.0136 | -156.6238 |  | 0.93773 | 1.1504 | 1.1941 | 0.89494 | 1.127 | 1.2225 | -7.0821 | -120.6619 | 119.8284 | -5.1349 | -122.1463 | 120.0601
Line_2 | 0.35185 | 0.12534 | 0.084804 | 0.3514 | 0.12525 | 0.084955 | 4.0628 | 1.4473 | 0.97923 | 4.0576 | 1.4462 | 0.98097 | 1.8651 | 1.2155 | -0.13752 | -1.6704 | -1.2143 | 0.13958 | 3.322 | 1.1379 | 1.1612 | -3.2243 | -1.0872 | -1.1911 | -67.7705 | -163.7748 | 23.0742 | 112.2529 | 16.0136 | -156.6238 |  | 0.93773 | 1.1504 | 1.1941 | 0.89494 | 1.127 | 1.2225 | -7.0821 | -120.6619 | 119.8284 | -5.1349 | -122.1463 | 120.0601
Line_3 | 0.00021406 | 0.00021406 | 0.00021406 | 0.00021406 | 0.00021406 | 0.00021406 | 0.0024718 | 0.0024718 | 0.0024718 | 0.0024718 | 0.0024718 | 0.0024718 | 0.00088985 | 0.0019698 | -0.0028596 | 0.00088985 | 0.0019698 | -0.0028596 | 0.0021403 | -0.0020509 | -0.00073074 | 0.0021403 | -0.0020509 | -0.00073074 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 |  | 0.93773 | 1.1504 | 1.1941 | 0.93773 | 1.1504 | 1.1941 | -7.0821 | -120.6619 | 119.8284 | -7.0821 | -120.6619 | 119.8284

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.8198 | 0.25042 | 0.17002 | 0.81963 | 0.25049 | 0.16991 | 9.4662 | 2.8916 | 1.9632 | 9.4643 | 2.8924 | 1.9619 | 8.4466 | -2.1862 | 0.16324 | -7.3379 | 2.4285 | -0.27916 | 4.8864 | -2.2705 | -2.2605 | -4.2302 | 2.1744 | 2.3821 | -35.1137 | 15.9516 | -156.5363 | 144.9021 | -163.9864 | 23.3762 |  | 1.0308 | 1.09 | 1.1544 | 0.89494 | 1.127 | 1.2225 | -5.0641 | -117.9652 | 117.5941 | -5.1349 | -122.1463 | 120.0601
Line_1 | 0.35185 | 0.12534 | 0.084804 | 0.3514 | 0.12525 | 0.084955 | 4.0628 | 1.4473 | 0.97923 | 4.0576 | 1.4462 | 0.98097 | 1.8651 | 1.2155 | -0.13752 | -1.6704 | -1.2143 | 0.13958 | 3.322 | 1.1379 | 1.1612 | -3.2243 | -1.0872 | -1.1911 | -67.7705 | -163.7748 | 23.0742 | 112.2529 | 16.0136 | -156.6238 |  | 0.93773 | 1.1504 | 1.1941 | 0.89494 | 1.127 | 1.2225 | -7.0821 | -120.6619 | 119.8284 | -5.1349 | -122.1463 | 120.0601
Line_2 | 0.35185 | 0.12534 | 0.084804 | 0.3514 | 0.12525 | 0.084955 | 4.0628 | 1.4473 | 0.97923 | 4.0576 | 1.4462 | 0.98097 | 1.8651 | 1.2155 | -0.13752 | -1.6704 | -1.2143 | 0.13958 | 3.322 | 1.1379 | 1.1612 | -3.2243 | -1.0872 | -1.1911 | -67.7705 | -163.7748 | 23.0742 | 112.2529 | 16.0136 | -156.6238 |  | 0.93773 | 1.1504 | 1.1941 | 0.89494 | 1.127 | 1.2225 | -7.0821 | -120.6619 | 119.8284 | -5.1349 | -122.1463 | 120.0601
Line_3 | 0.00021406 | 0.00021406 | 0.00021406 | 0.00021406 | 0.00021406 | 0.00021406 | 0.0024718 | 0.0024718 | 0.0024718 | 0.0024718 | 0.0024718 | 0.0024718 | 0.00088985 | 0.0019698 | -0.0028596 | 0.00088985 | 0.0019698 | -0.0028596 | 0.0021403 | -0.0020509 | -0.00073074 | 0.0021403 | -0.0020509 | -0.00073074 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 | -74.5062 |  | 0.93773 | 1.1504 | 1.1941 | 0.93773 | 1.1504 | 1.1941 | -7.0821 | -120.6619 | 119.8284 | -7.0821 | -120.6619 | 119.8284

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8328 | 0.54103 | 0.37692 | 2.8322 | 0.54208 | 0.37797 | 32.7101 | 6.2473 | 4.3523 | 32.703 | 6.2594 | 4.3644 | 19.5087 | -4.5269 | 4.3214 | -9.6818e-11 | 3.4959 | -5.1003 | 9.4083 | 2.4849 | 1.0718 | 1.9314e-11 | -4.2771 | -2.379 | -49.7226 | 96.637 | 95.8134 | 130.2968 | -83.4113 | -84.2535 |  | 0.66214 | 0.8266 | 1.023 | 0 | 0.88252 | 1.2895 | -23.9764 | -112.1267 | 109.7436 | 0 | -134.1505 | 120.7526
Line_1 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 |  | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_2 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 |  | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_3 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.0026671 | 0.0060841 | -0.0087512 | 0.0026671 | 0.0060841 | -0.0087512 | 0.00074689 | -0.0063547 | -0.002468 | 0.00074689 | -0.0063547 | -0.002468 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 |  | 0.31578 | 1.003 | 1.0367 | 0.31578 | 1.003 | 1.0367 | -58.0413 | -119.9319 | 122.064 | -58.0413 | -119.9319 | 122.064

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.8328 | 0.54103 | 0.37692 | 2.8322 | 0.54208 | 0.37797 | 32.7101 | 6.2473 | 4.3523 | 32.703 | 6.2594 | 4.3644 | 19.5087 | -4.5269 | 4.3214 | -9.6818e-11 | 3.4959 | -5.1003 | 9.4083 | 2.4849 | 1.0718 | 1.9314e-11 | -4.2771 | -2.379 | -49.7226 | 96.637 | 95.8134 | 130.2968 | -83.4113 | -84.2535 |  | 0.66214 | 0.8266 | 1.023 | 0 | 0.88252 | 1.2895 | -23.9764 | -112.1267 | 109.7436 | 0 | -134.1505 | 120.7526
Line_1 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 |  | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_2 | 0.87429 | 0.27279 | 0.19074 | 0.8727 | 0.27104 | 0.18899 | 10.0954 | 3.1499 | 2.2025 | 10.0771 | 3.1297 | 2.1822 | 3.1368 | 2.5417 | -2.0447 | -3.0176e-11 | -1.748 | 2.5502 | 0.56871 | -1.8767 | -1.0161 | -3.8542e-12 | 2.1386 | 1.1895 | -68.3174 | -83.4914 | -84.3604 | 111.7366 | 96.5887 | 95.7465 |  | 0.31578 | 1.003 | 1.0367 | 0 | 0.88252 | 1.2895 | -58.0413 | -119.9319 | 122.064 | 0 | -134.1505 | 120.7526
Line_3 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.00075959 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.008771 | 0.0026671 | 0.0060841 | -0.0087512 | 0.0026671 | 0.0060841 | -0.0087512 | 0.00074689 | -0.0063547 | -0.002468 | 0.00074689 | -0.0063547 | -0.002468 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 | -73.6854 |  | 0.31578 | 1.003 | 1.0367 | 0.31578 | 1.003 | 1.0367 | -58.0413 | -119.9319 | 122.064 | -58.0413 | -119.9319 | 122.064

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75478 | 0.14416 | 0.10043 | 0.75462 | 0.14444 | 0.10071 | 8.7155 | 1.6646 | 1.1596 | 8.7136 | 1.6678 | 1.1629 | 6.4539 | -1.1366 | 1.1422 | -5.0692 | 1.0658 | -1.1996 | 4.6227 | 1.0946 | 0.26015 | -3.9521 | -1.2229 | -0.35444 | -41.0743 | 105.2853 | 104.4618 | 138.9451 | -74.763 | -75.6052 |  | 0.91087 | 0.948 | 1.0102 | 0.73767 | 0.97266 | 1.0757 | -5.462 | -118.6359 | 117.2927 | -3.1134 | -123.6907 | 120.8552
Line_1 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 |  | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_2 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 |  | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_3 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0015741 | -0.0019143 | -0.00023308 | 0.0015741 | -0.0019143 | -0.00023308 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 |  | 0.79814 | 1.0008 | 1.008 | 0.79814 | 1.0008 | 1.008 | -7.4829 | -119.9751 | 120.641 | -7.4829 | -119.9751 | 120.641

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75478 | 0.14416 | 0.10043 | 0.75462 | 0.14444 | 0.10071 | 8.7155 | 1.6646 | 1.1596 | 8.7136 | 1.6678 | 1.1629 | 6.4539 | -1.1366 | 1.1422 | -5.0692 | 1.0658 | -1.1996 | 4.6227 | 1.0946 | 0.26015 | -3.9521 | -1.2229 | -0.35444 | -41.0743 | 105.2853 | 104.4618 | 138.9451 | -74.763 | -75.6052 |  | 0.91087 | 0.948 | 1.0102 | 0.73767 | 0.97266 | 1.0757 | -5.462 | -118.6359 | 117.2927 | -3.1134 | -123.6907 | 120.8552
Line_1 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 |  | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_2 | 0.23295 | 0.072684 | 0.050822 | 0.23253 | 0.072218 | 0.050354 | 2.6899 | 0.83928 | 0.58684 | 2.685 | 0.8339 | 0.58144 | 1.3163 | 0.59254 | -0.56763 | -1.0931 | -0.5329 | 0.5998 | 1.6961 | -0.59527 | -0.16656 | -1.6517 | 0.61147 | 0.17722 | -59.6691 | -74.8431 | -75.7121 | 120.3849 | 105.237 | 104.3948 |  | 0.79814 | 1.0008 | 1.008 | 0.73767 | 0.97266 | 1.0757 | -7.4829 | -119.9751 | 120.641 | -3.1134 | -123.6907 | 120.8552
Line_3 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.00020239 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.002337 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0010007 | 0.0013435 | -0.0023442 | 0.0015741 | -0.0019143 | -0.00023308 | 0.0015741 | -0.0019143 | -0.00023308 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 | -65.0371 |  | 0.79814 | 1.0008 | 1.008 | 0.79814 | 1.0008 | 1.008 | -7.4829 | -119.9751 | 120.641 | -7.4829 | -119.9751 | 120.641

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37568 | 4.92 | 3.0192 | 0.3763 | 4.9199 | 3.0185 | 4.338 | 56.811 | 34.8631 | 4.3451 | 56.8106 | 34.8546 | -3.3231 | 30.9744 | -1.3084 | 4.3105 | 1.8799e-10 | 1.3315e-10 | 2.4352 | 9.038 | 15.4326 | -3.5056 | -1.3654e-10 | -4.6767e-11 | -148.6633 | 176.0887 | 39.1408 | 31.4781 | -3.8983 | -140.875 |  | 0.94971 | 0.56796 | 0.44425 | 1.2787 | 0 | 0 | -4.8981 | -167.6447 | 133.987 | -7.6427 | 0 | 0
Line_1 | 0.18911 | 1.076 | 0.94998 | 0.18815 | 1.0752 | 0.94845 | 2.1836 | 12.4247 | 10.9694 | 2.1726 | 12.4155 | 10.9518 | 2.1911 | 1.8516 | 1.1269 | -2.1552 | 4.8834e-11 | 3.6057e-11 | -1.4799 | -0.30562 | 1.776 | 1.7528 | -1.391e-11 | -2.5812e-11 | 31.9693 | 155.9169 | 55.4358 | -148.5219 | -23.9926 | -124.6305 |  | 1.2109 | 0.15104 | 0.19175 | 1.2787 | 0 | 0 | -2.0665 | 146.5442 | 113.0394 | -7.6427 | 0 | 0
Line_2 | 0.18911 | 1.076 | 0.94998 | 0.18815 | 1.0752 | 0.94845 | 2.1836 | 12.4247 | 10.9694 | 2.1726 | 12.4155 | 10.9518 | 2.1911 | 1.8516 | 1.1269 | -2.1552 | 4.8834e-11 | 3.6057e-11 | -1.4799 | -0.30562 | 1.776 | 1.7528 | -1.391e-11 | -2.5812e-11 | 31.9693 | 155.9169 | 55.4358 | -148.5219 | -23.9926 | -124.6305 |  | 1.2109 | 0.15104 | 0.19175 | 1.2787 | 0 | 0 | -2.0665 | 146.5442 | 113.0394 | -7.6427 | 0 | 0
Line_3 | 0.00085129 | 0.00085129 | 0.00085129 | 0.00085129 | 0.00085129 | 0.00085129 | 0.0098299 | 0.0098299 | 0.0098299 | 0.0098299 | 0.0098299 | 0.0098299 | -0.0029103 | 0.0010597 | 0.0018506 | -0.0029103 | 0.0010597 | 0.0018506 | -0.011541 | 0.0010399 | 0.00035814 | -0.011541 | 0.0010399 | 0.00035814 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 |  | 1.2109 | 0.15104 | 0.19175 | 1.2109 | 0.15104 | 0.19175 | -2.0665 | 146.5442 | 113.0394 | -2.0665 | 146.5442 | 113.0394

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.37568 | 4.92 | 3.0192 | 0.3763 | 4.9199 | 3.0185 | 4.338 | 56.811 | 34.8631 | 4.3451 | 56.8106 | 34.8546 | -3.3231 | 30.9744 | -1.3084 | 4.3105 | 1.8799e-10 | 1.3315e-10 | 2.4352 | 9.038 | 15.4326 | -3.5056 | -1.3654e-10 | -4.6767e-11 | -148.6633 | 176.0887 | 39.1408 | 31.4781 | -3.8983 | -140.875 |  | 0.94971 | 0.56796 | 0.44425 | 1.2787 | 0 | 0 | -4.8981 | -167.6447 | 133.987 | -7.6427 | 0 | 0
Line_1 | 0.18911 | 1.076 | 0.94998 | 0.18815 | 1.0752 | 0.94845 | 2.1836 | 12.4247 | 10.9694 | 2.1726 | 12.4155 | 10.9518 | 2.1911 | 1.8516 | 1.1269 | -2.1552 | 4.8834e-11 | 3.6057e-11 | -1.4799 | -0.30562 | 1.776 | 1.7528 | -1.391e-11 | -2.5812e-11 | 31.9693 | 155.9169 | 55.4358 | -148.5219 | -23.9926 | -124.6305 |  | 1.2109 | 0.15104 | 0.19175 | 1.2787 | 0 | 0 | -2.0665 | 146.5442 | 113.0394 | -7.6427 | 0 | 0
Line_2 | 0.18911 | 1.076 | 0.94998 | 0.18815 | 1.0752 | 0.94845 | 2.1836 | 12.4247 | 10.9694 | 2.1726 | 12.4155 | 10.9518 | 2.1911 | 1.8516 | 1.1269 | -2.1552 | 4.8834e-11 | 3.6057e-11 | -1.4799 | -0.30562 | 1.776 | 1.7528 | -1.391e-11 | -2.5812e-11 | 31.9693 | 155.9169 | 55.4358 | -148.5219 | -23.9926 | -124.6305 |  | 1.2109 | 0.15104 | 0.19175 | 1.2787 | 0 | 0 | -2.0665 | 146.5442 | 113.0394 | -7.6427 | 0 | 0
Line_3 | 0.00085129 | 0.00085129 | 0.00085129 | 0.00085129 | 0.00085129 | 0.00085129 | 0.0098299 | 0.0098299 | 0.0098299 | 0.0098299 | 0.0098299 | 0.0098299 | -0.0029103 | 0.0010597 | 0.0018506 | -0.0029103 | 0.0010597 | 0.0018506 | -0.011541 | 0.0010399 | 0.00035814 | -0.011541 | 0.0010399 | 0.00035814 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 | 102.0862 |  | 1.2109 | 0.15104 | 0.19175 | 1.2109 | 0.15104 | 0.19175 | -2.0665 | 146.5442 | 113.0394 | -2.0665 | 146.5442 | 113.0394

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15116 | 0.96326 | 0.72703 | 0.15095 | 0.96335 | 0.72678 | 1.7454 | 11.1228 | 8.395 | 1.743 | 11.1238 | 8.3921 | -1.3441 | 10.1295 | 5.7244 | 1.4765 | -8.9105 | -5.5052 | -1.3671 | 5.4685 | 5.7551 | 1.4558 | -5.4683 | -4.75 | 133.501 | -156.7372 | 71.829 | -46.4332 | 23.2783 | -108.1792 |  | 1.0984 | 1.0349 | 0.96691 | 1.1896 | 0.93984 | 0.86643 | -1.0128 | -128.3744 | 116.9823 | -1.8384 | -125.1844 | 112.6092
Line_1 | 0.0751 | 0.31943 | 0.34644 | 0.075473 | 0.31928 | 0.34606 | 0.86718 | 3.6884 | 4.0004 | 0.87149 | 3.6867 | 3.996 | 0.7132 | 1.5649 | 2.3805 | -0.73826 | -1.4335 | -2.2521 | 0.72959 | 3.1357 | 2.8118 | -0.72789 | -3.1545 | -2.6297 | -46.2263 | 169.1747 | 63.2295 | 133.5668 | -10.7467 | -116.8137 |  | 1.1765 | 0.95013 | 0.92095 | 1.1896 | 0.93984 | 0.86643 | -0.57536 | -127.3472 | 112.9779 | -1.8384 | -125.1844 | 112.6092
Line_2 | 0.0751 | 0.31943 | 0.34644 | 0.075473 | 0.31928 | 0.34606 | 0.86718 | 3.6884 | 4.0004 | 0.87149 | 3.6867 | 3.996 | 0.7132 | 1.5649 | 2.3805 | -0.73826 | -1.4335 | -2.2521 | 0.72959 | 3.1357 | 2.8118 | -0.72789 | -3.1545 | -2.6297 | -46.2263 | 169.1747 | 63.2295 | 133.5668 | -10.7467 | -116.8137 |  | 1.1765 | 0.95013 | 0.92095 | 1.1896 | 0.93984 | 0.86643 | -0.57536 | -127.3472 | 112.9779 | -1.8384 | -125.1844 | 112.6092
Line_3 | 0.00020935 | 0.00020935 | 0.00020935 | 0.00020935 | 0.00020935 | 0.00020935 | 0.0024173 | 0.0024173 | 0.0024173 | 0.0024173 | 0.0024173 | 0.0024173 | -0.00093194 | -0.0012877 | 0.0022196 | -0.00093194 | -0.0012877 | 0.0022196 | -0.002687 | 0.0019018 | 0.00017178 | -0.002687 | 0.0019018 | 0.00017178 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 |  | 1.1765 | 0.95013 | 0.92095 | 1.1765 | 0.95013 | 0.92095 | -0.57536 | -127.3472 | 112.9779 | -0.57536 | -127.3472 | 112.9779

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15116 | 0.96326 | 0.72703 | 0.15095 | 0.96335 | 0.72678 | 1.7454 | 11.1228 | 8.395 | 1.743 | 11.1238 | 8.3921 | -1.3441 | 10.1295 | 5.7244 | 1.4765 | -8.9105 | -5.5052 | -1.3671 | 5.4685 | 5.7551 | 1.4558 | -5.4683 | -4.75 | 133.501 | -156.7372 | 71.829 | -46.4332 | 23.2783 | -108.1792 |  | 1.0984 | 1.0349 | 0.96691 | 1.1896 | 0.93984 | 0.86643 | -1.0128 | -128.3744 | 116.9823 | -1.8384 | -125.1844 | 112.6092
Line_1 | 0.0751 | 0.31943 | 0.34644 | 0.075473 | 0.31928 | 0.34606 | 0.86718 | 3.6884 | 4.0004 | 0.87149 | 3.6867 | 3.996 | 0.7132 | 1.5649 | 2.3805 | -0.73826 | -1.4335 | -2.2521 | 0.72959 | 3.1357 | 2.8118 | -0.72789 | -3.1545 | -2.6297 | -46.2263 | 169.1747 | 63.2295 | 133.5668 | -10.7467 | -116.8137 |  | 1.1765 | 0.95013 | 0.92095 | 1.1896 | 0.93984 | 0.86643 | -0.57536 | -127.3472 | 112.9779 | -1.8384 | -125.1844 | 112.6092
Line_2 | 0.0751 | 0.31943 | 0.34644 | 0.075473 | 0.31928 | 0.34606 | 0.86718 | 3.6884 | 4.0004 | 0.87149 | 3.6867 | 3.996 | 0.7132 | 1.5649 | 2.3805 | -0.73826 | -1.4335 | -2.2521 | 0.72959 | 3.1357 | 2.8118 | -0.72789 | -3.1545 | -2.6297 | -46.2263 | 169.1747 | 63.2295 | 133.5668 | -10.7467 | -116.8137 |  | 1.1765 | 0.95013 | 0.92095 | 1.1896 | 0.93984 | 0.86643 | -0.57536 | -127.3472 | 112.9779 | -1.8384 | -125.1844 | 112.6092
Line_3 | 0.00020935 | 0.00020935 | 0.00020935 | 0.00020935 | 0.00020935 | 0.00020935 | 0.0024173 | 0.0024173 | 0.0024173 | 0.0024173 | 0.0024173 | 0.0024173 | -0.00093194 | -0.0012877 | 0.0022196 | -0.00093194 | -0.0012877 | 0.0022196 | -0.002687 | 0.0019018 | 0.00017178 | -0.002687 | 0.0019018 | 0.00017178 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 | 108.5525 |  | 1.1765 | 0.95013 | 0.92095 | 1.1765 | 0.95013 | 0.92095 | -0.57536 | -127.3472 | 112.9779 | -0.57536 | -127.3472 | 112.9779

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36144 | 3.8267 | 2.6185 | 0.36244 | 3.8269 | 2.6179 | 4.1735 | 44.187 | 30.2363 | 4.1851 | 44.1893 | 30.2287 | 0.18271 | 28.2835 | 0.58395 | -0.31232 | -1.3147e-10 | -4.005e-11 | 3.686 | 3.1405 | 11.9425 | -4.9895 | -1.1274e-10 | -1.1218e-10 | -92.8492 | -171.6624 | 38.0012 | 87.1507 | 8.3523 | -142.0154 |  | 0.88427 | 0.64402 | 0.39544 | 1.1945 | 0 | 0 | -5.687 | -165.3265 | 125.2019 | -6.4311 | 0 | 0
Line_1 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 |  | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_2 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 |  | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_3 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | -0.0037898 | 0.0017748 | 0.002015 | -0.0037898 | 0.0017748 | 0.002015 | -0.007153 | 0.00093221 | -1.2159e-05 | -0.007153 | 0.00093221 | -1.2159e-05 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 |  | 1.0505 | 0.26017 | 0.26151 | 1.0505 | 0.26017 | 0.26151 | 2.412 | 148.0386 | 119.982 | 2.412 | 148.0386 | 119.982

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36144 | 3.8267 | 2.6185 | 0.36244 | 3.8269 | 2.6179 | 4.1735 | 44.187 | 30.2363 | 4.1851 | 44.1893 | 30.2287 | 0.18271 | 28.2835 | 0.58395 | -0.31232 | -1.3147e-10 | -4.005e-11 | 3.686 | 3.1405 | 11.9425 | -4.9895 | -1.1274e-10 | -1.1218e-10 | -92.8492 | -171.6624 | 38.0012 | 87.1507 | 8.3523 | -142.0154 |  | 0.88427 | 0.64402 | 0.39544 | 1.1945 | 0 | 0 | -5.687 | -165.3265 | 125.2019 | -6.4311 | 0 | 0
Line_1 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 |  | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_2 | 0.18276 | 0.9457 | 0.64487 | 0.18122 | 0.94506 | 0.64361 | 2.1104 | 10.92 | 7.4463 | 2.0926 | 10.9126 | 7.4318 | 0.19963 | 2.7302 | 1.0048 | 0.15616 | -1.8219e-11 | -1.9831e-11 | -2.208 | -0.78563 | 1.668 | 2.4948 | -3.8695e-11 | -2.1547e-11 | 87.2459 | 164.092 | 61.0474 | -92.8493 | -15.8211 | -119.0373 |  | 1.0505 | 0.26017 | 0.26151 | 1.1945 | 0 | 0 | 2.412 | 148.0386 | 119.982 | -6.4311 | 0 | 0
Line_3 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.00066732 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | 0.0077055 | -0.0037898 | 0.0017748 | 0.002015 | -0.0037898 | 0.0017748 | 0.002015 | -0.007153 | 0.00093221 | -1.2159e-05 | -0.007153 | 0.00093221 | -1.2159e-05 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 | 120.3277 |  | 1.0505 | 0.26017 | 0.26151 | 1.0505 | 0.26017 | 0.26151 | 2.412 | 148.0386 | 119.982 | 2.412 | 148.0386 | 119.982

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12032 | 0.90266 | 0.75182 | 0.12061 | 0.90279 | 0.75155 | 1.3893 | 10.4231 | 8.6812 | 1.3927 | 10.4246 | 8.6781 | 0.024835 | 8.3238 | 4.4051 | -0.044391 | -6.707 | -4.0095 | 1.3355 | 4.701 | 5.9101 | -1.4604 | -4.824 | -4.7539 | -90.4701 | -158.2979 | 63.0508 | 89.5201 | 21.7187 | -116.9577 |  | 0.96144 | 0.91715 | 0.84909 | 1.0491 | 0.79252 | 0.71663 | -1.5355 | -128.8417 | 116.352 | -2.221 | -122.5559 | 112.8982
Line_1 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 |  | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_2 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 |  | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_3 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0019914 | 0.0016199 | -0.00015274 | -0.0019914 | 0.0016199 | -0.00015274 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 |  | 1.0093 | 0.79222 | 0.79625 | 1.0093 | 0.79222 | 0.79625 | 0.71357 | -127.5039 | 113.7881 | 0.71357 | -127.5039 | 113.7881

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12032 | 0.90266 | 0.75182 | 0.12061 | 0.90279 | 0.75155 | 1.3893 | 10.4231 | 8.6812 | 1.3927 | 10.4246 | 8.6781 | 0.024835 | 8.3238 | 4.4051 | -0.044391 | -6.707 | -4.0095 | 1.3355 | 4.701 | 5.9101 | -1.4604 | -4.824 | -4.7539 | -90.4701 | -158.2979 | 63.0508 | 89.5201 | 21.7187 | -116.9577 |  | 0.96144 | 0.91715 | 0.84909 | 1.0491 | 0.79252 | 0.71663 | -1.5355 | -128.8417 | 116.352 | -2.221 | -122.5559 | 112.8982
Line_1 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 |  | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_2 | 0.060756 | 0.21443 | 0.21351 | 0.060304 | 0.21432 | 0.21309 | 0.70155 | 2.476 | 2.4654 | 0.69633 | 2.4747 | 2.4605 | 0.014086 | 0.98037 | 1.5624 | 0.022196 | -0.83373 | -1.419 | -0.70793 | 1.699 | 1.1886 | 0.73018 | -1.7752 | -1.0467 | 89.5737 | 172.4829 | 76.5255 | -90.4799 | -7.399 | -103.5167 |  | 1.0093 | 0.79222 | 0.79625 | 1.0491 | 0.79252 | 0.71663 | 0.71357 | -127.5039 | 113.7881 | -2.221 | -122.5559 | 112.8982
Line_3 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.00019352 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | 0.0022346 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0010588 | -0.00071392 | 0.0017727 | -0.0019914 | 0.0016199 | -0.00015274 | -0.0019914 | 0.0016199 | -0.00015274 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 | 118.7125 |  | 1.0093 | 0.79222 | 0.79625 | 1.0093 | 0.79222 | 0.79625 | 0.71357 | -127.5039 | 113.7881 | 0.71357 | -127.5039 | 113.7881