## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2076 | 0.81114 | 0.62525 | 2.2056 | 0.81295 | 0.62726 | 25.4913 | 9.3662 | 7.2198 | 25.4676 | 9.3871 | 7.243 | 9.1407 | -11.4114 | 8.1097 | -4.6854 | 11.2717 | -8.5278 | 7.2203 | 4.9644 | 1.1187 | -3.4102 | -5.2033 | -0.99981 | -73.3266 | 82.3565 | 122.8094 | 106.6697 | -97.5748 | -57.2301 |  | 0.45696 | 1.3287 | 1.1339 | 0.22754 | 1.3225 | 1.1855 | -35.0214 | -121.1543 | 130.6639 | -37.2817 | -122.3538 | 129.4568
Line_1 | 1.8329 | 0.43486 | 0.31931 | 1.8352 | 0.43261 | 0.31707 | 21.1644 | 5.0213 | 3.6871 | 21.1914 | 4.9954 | 3.6613 | 9.5578e-11 | 5.9049 | -4.6075 | 3.8809 | -6.1362 | 4.2401 | -7.4818e-11 | -2.7733 | -0.96508 | 2.8619 | 2.4482 | 0.92712 | 106.3227 | -100.5038 | -63.016 | -73.688 | 79.3967 | 117.1227 |  | 0 | 1.2992 | 1.2767 | 0.22754 | 1.3225 | 1.1855 | 0 | -125.6616 | 128.8142 | -37.2817 | -122.3538 | 129.4568
Line_2 | 0.36838 | 0.38364 | 0.3153 | 0.37054 | 0.38162 | 0.31329 | 4.2537 | 4.4299 | 3.6408 | 4.2787 | 4.4066 | 3.6175 | -0.84231 | 5.3365 | -4.1682 | 0.80451 | -5.1355 | 4.2878 | -0.47951 | -2.6343 | -0.046554 | 0.54832 | 2.7551 | 0.072688 | 108.4506 | -94.0251 | -51.6591 | -71.5585 | 85.8589 | 128.4856 |  | 0.22786 | 1.3434 | 1.145 | 0.22754 | 1.3225 | 1.1855 | -41.8973 | -120.2975 | 128.9808 | -37.2817 | -122.3538 | 129.4568
Line_3 | 1.4638 | 0.06935 | 0.063246 | 1.4661 | 0.068157 | 0.062207 | 16.902 | 0.80078 | 0.7303 | 16.9288 | 0.787 | 0.71831 | 7.6886e-11 | 1.0141 | 0.02584 | 3.2595 | -0.99388 | -0.052539 | -5.9032e-11 | 0.23243 | -0.93206 | 2.0627 | -0.36064 | 0.82075 | 105.7853 | -138.571 | -142.7739 | -74.2241 | 39.7585 | 35.3182 |  | 0 | 1.2992 | 1.2767 | 0.22786 | 1.3434 | 1.145 | 0 | -125.6616 | 128.8142 | -41.8973 | -120.2975 | 128.9808

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2076 | 0.81114 | 0.62525 | 2.2056 | 0.81295 | 0.62726 | 25.4913 | 9.3662 | 7.2198 | 25.4676 | 9.3871 | 7.243 | 9.1407 | -11.4114 | 8.1097 | -4.6854 | 11.2717 | -8.5278 | 7.2203 | 4.9644 | 1.1187 | -3.4102 | -5.2033 | -0.99981 | -73.3266 | 82.3565 | 122.8094 | 106.6697 | -97.5748 | -57.2301 |  | 0.45696 | 1.3287 | 1.1339 | 0.22754 | 1.3225 | 1.1855 | -35.0214 | -121.1543 | 130.6639 | -37.2817 | -122.3538 | 129.4568
Line_1 | 1.8329 | 0.43486 | 0.31931 | 1.8352 | 0.43261 | 0.31707 | 21.1644 | 5.0213 | 3.6871 | 21.1914 | 4.9954 | 3.6613 | 9.5578e-11 | 5.9049 | -4.6075 | 3.8809 | -6.1362 | 4.2401 | -7.4818e-11 | -2.7733 | -0.96508 | 2.8619 | 2.4482 | 0.92712 | 106.3227 | -100.5038 | -63.016 | -73.688 | 79.3967 | 117.1227 |  | 0 | 1.2992 | 1.2767 | 0.22754 | 1.3225 | 1.1855 | 0 | -125.6616 | 128.8142 | -37.2817 | -122.3538 | 129.4568
Line_2 | 0.36838 | 0.38364 | 0.3153 | 0.37054 | 0.38162 | 0.31329 | 4.2537 | 4.4299 | 3.6408 | 4.2787 | 4.4066 | 3.6175 | -0.84231 | 5.3365 | -4.1682 | 0.80451 | -5.1355 | 4.2878 | -0.47951 | -2.6343 | -0.046554 | 0.54832 | 2.7551 | 0.072688 | 108.4506 | -94.0251 | -51.6591 | -71.5585 | 85.8589 | 128.4856 |  | 0.22786 | 1.3434 | 1.145 | 0.22754 | 1.3225 | 1.1855 | -41.8973 | -120.2975 | 128.9808 | -37.2817 | -122.3538 | 129.4568
Line_3 | 1.4638 | 0.06935 | 0.063246 | 1.4661 | 0.068157 | 0.062207 | 16.902 | 0.80078 | 0.7303 | 16.9288 | 0.787 | 0.71831 | 7.6886e-11 | 1.0141 | 0.02584 | 3.2595 | -0.99388 | -0.052539 | -5.9032e-11 | 0.23243 | -0.93206 | 2.0627 | -0.36064 | 0.82075 | 105.7853 | -138.571 | -142.7739 | -74.2241 | 39.7585 | 35.3182 |  | 0 | 1.2992 | 1.2767 | 0.22786 | 1.3434 | 1.145 | 0 | -125.6616 | 128.8142 | -41.8973 | -120.2975 | 128.9808

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53706 | 0.19475 | 0.29974 | 0.53643 | 0.19494 | 0.30018 | 6.2014 | 2.2488 | 3.4612 | 6.1942 | 2.2509 | 3.4662 | 5.1668 | -2.7052 | 2.1703 | -4.8586 | 2.7326 | -2.2128 | 3.1234 | -0.043859 | -3.1968 | -2.9065 | 0.00046466 | 3.2871 | -40.4506 | 60.0911 | 179.0699 | 139.5568 | -119.7319 | -1.0163 |  | 0.97357 | 1.2031 | 1.1164 | 0.91403 | 1.214 | 1.1432 | -9.297 | -118.9801 | 123.243 | -9.555 | -119.7221 | 122.9306
Line_1 | 0.48886 | 0.10929 | 0.14529 | 0.48956 | 0.10892 | 0.14488 | 5.6449 | 1.2619 | 1.6777 | 5.653 | 1.2577 | 1.6729 | -3.8665 | 1.5383 | -1.1981 | 4.1757 | -1.5268 | 1.1487 | -2.8419 | -0.05256 | 1.5643 | 3.0433 | 0.0087568 | -1.529 | 134.3801 | -119.0648 | -4.2203 | -45.6401 | 60.6065 | 176.0147 |  | 0.85008 | 1.2197 | 1.1745 | 0.91403 | 1.214 | 1.1432 | -9.3038 | -121.0218 | 123.228 | -9.555 | -119.7221 | 122.9306
Line_2 | 0.065594 | 0.086252 | 0.15609 | 0.065997 | 0.086019 | 0.15568 | 0.75742 | 0.99595 | 1.8023 | 0.76207 | 0.99326 | 1.7977 | -0.67995 | 1.2146 | -1.0493 | 0.68299 | -1.2058 | 1.0641 | 0.14822 | 0.012926 | 1.7634 | -0.1368 | -0.0092215 | -1.7581 | -177.7712 | -119.7479 | 1.5542 | 1.7711 | 59.8397 | -178.2535 |  | 0.9188 | 1.2196 | 1.1385 | 0.91403 | 1.214 | 1.1432 | -10.0688 | -119.1382 | 122.3097 | -9.555 | -119.7221 | 122.9306
Line_3 | 0.44716 | 0.023188 | 0.018691 | 0.44787 | 0.022819 | 0.018437 | 5.1634 | 0.26775 | 0.21583 | 5.1716 | 0.26349 | 0.2129 | -3.2331 | 0.3252 | -0.090973 | 3.5422 | -0.32119 | 0.08246 | -2.9686 | -0.029963 | -0.23661 | 3.1672 | 0.010414 | 0.22793 | 128.1388 | -115.7576 | -125.7406 | -51.8703 | 62.7188 | 52.199 |  | 0.85008 | 1.2197 | 1.1745 | 0.9188 | 1.2196 | 1.1385 | -9.3038 | -121.0218 | 123.228 | -10.0688 | -119.1382 | 122.3097

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53706 | 0.19475 | 0.29974 | 0.53643 | 0.19494 | 0.30018 | 6.2014 | 2.2488 | 3.4612 | 6.1942 | 2.2509 | 3.4662 | 5.1668 | -2.7052 | 2.1703 | -4.8586 | 2.7326 | -2.2128 | 3.1234 | -0.043859 | -3.1968 | -2.9065 | 0.00046466 | 3.2871 | -40.4506 | 60.0911 | 179.0699 | 139.5568 | -119.7319 | -1.0163 |  | 0.97357 | 1.2031 | 1.1164 | 0.91403 | 1.214 | 1.1432 | -9.297 | -118.9801 | 123.243 | -9.555 | -119.7221 | 122.9306
Line_1 | 0.48886 | 0.10929 | 0.14529 | 0.48956 | 0.10892 | 0.14488 | 5.6449 | 1.2619 | 1.6777 | 5.653 | 1.2577 | 1.6729 | -3.8665 | 1.5383 | -1.1981 | 4.1757 | -1.5268 | 1.1487 | -2.8419 | -0.05256 | 1.5643 | 3.0433 | 0.0087568 | -1.529 | 134.3801 | -119.0648 | -4.2203 | -45.6401 | 60.6065 | 176.0147 |  | 0.85008 | 1.2197 | 1.1745 | 0.91403 | 1.214 | 1.1432 | -9.3038 | -121.0218 | 123.228 | -9.555 | -119.7221 | 122.9306
Line_2 | 0.065594 | 0.086252 | 0.15609 | 0.065997 | 0.086019 | 0.15568 | 0.75742 | 0.99595 | 1.8023 | 0.76207 | 0.99326 | 1.7977 | -0.67995 | 1.2146 | -1.0493 | 0.68299 | -1.2058 | 1.0641 | 0.14822 | 0.012926 | 1.7634 | -0.1368 | -0.0092215 | -1.7581 | -177.7712 | -119.7479 | 1.5542 | 1.7711 | 59.8397 | -178.2535 |  | 0.9188 | 1.2196 | 1.1385 | 0.91403 | 1.214 | 1.1432 | -10.0688 | -119.1382 | 122.3097 | -9.555 | -119.7221 | 122.9306
Line_3 | 0.44716 | 0.023188 | 0.018691 | 0.44787 | 0.022819 | 0.018437 | 5.1634 | 0.26775 | 0.21583 | 5.1716 | 0.26349 | 0.2129 | -3.2331 | 0.3252 | -0.090973 | 3.5422 | -0.32119 | 0.08246 | -2.9686 | -0.029963 | -0.23661 | 3.1672 | 0.010414 | 0.22793 | 128.1388 | -115.7576 | -125.7406 | -51.8703 | 62.7188 | 52.199 |  | 0.85008 | 1.2197 | 1.1745 | 0.9188 | 1.2196 | 1.1385 | -9.3038 | -121.0218 | 123.228 | -10.0688 | -119.1382 | 122.3097

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8598 | 0.71262 | 0.57991 | 1.8583 | 0.71401 | 0.58134 | 21.4746 | 8.2286 | 6.6963 | 21.4579 | 8.2447 | 6.7128 | 11.4609 | -6.6217 | 6.007 | -5.9092 | 6.4304 | -6.3117 | 5.7854 | 6.4429 | 1.3246 | -2.7102 | -6.7086 | -1.5015 | -61.4073 | 107.0426 | 113.8866 | 118.5882 | -72.9227 | -66.0874 |  | 0.59784 | 1.1228 | 0.91862 | 0.30297 | 1.1271 | 0.96649 | -34.623 | -117.1734 | 126.3217 | -36.7732 | -119.1359 | 127.2944
Line_1 | 1.5113 | 0.38711 | 0.31512 | 1.5131 | 0.38526 | 0.31326 | 17.4512 | 4.47 | 3.6387 | 17.4719 | 4.4485 | 3.6172 | -4.3584e-11 | 3.5041 | -3.6336 | 4.7772 | -3.8738 | 3.2471 | 2.6045e-12 | -3.529 | -1.5449 | 2.2801 | 3.1834 | 1.2956 | 117.7317 | -79.716 | -74.4789 | -62.2876 | 100.2767 | 105.5431 |  | 0 | 1.1126 | 1.0851 | 0.30297 | 1.1271 | 0.96649 | 0 | -124.9192 | 128.5554 | -36.7732 | -119.1359 | 127.2944
Line_2 | 0.34457 | 0.33617 | 0.2768 | 0.34615 | 0.33459 | 0.27522 | 3.9787 | 3.8818 | 3.1963 | 3.997 | 3.8635 | 3.178 | -1.1963 | 2.8622 | -2.8547 | 1.132 | -2.5565 | 3.0646 | -0.35683 | -3.4531 | -0.16678 | 0.43018 | 3.5252 | 0.20598 | 122.4353 | -65.0675 | -56.5771 | -57.581 | 114.9138 | 123.4491 |  | 0.31377 | 1.1554 | 0.89466 | 0.30297 | 1.1271 | 0.96649 | -40.9561 | -115.4126 | 126.7666 | -36.7732 | -119.1359 | 127.2944
Line_3 | 1.1675 | 0.10532 | 0.099749 | 1.1693 | 0.1044 | 0.098818 | 13.4809 | 1.2161 | 1.1518 | 13.5014 | 1.2055 | 1.1411 | -3.3707e-11 | 1.3387 | -0.18901 | 3.9076 | -1.3194 | 0.17013 | 1.1941e-12 | 0.19609 | -1.2355 | 1.6361 | -0.44634 | 1.0066 | 116.3408 | -133.2524 | -132.7465 | -63.6754 | 45.8971 | 46.3597 |  | 0 | 1.1126 | 1.0851 | 0.31377 | 1.1554 | 0.89466 | 0 | -124.9192 | 128.5554 | -40.9561 | -115.4126 | 126.7666

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8598 | 0.71262 | 0.57991 | 1.8583 | 0.71401 | 0.58134 | 21.4746 | 8.2286 | 6.6963 | 21.4579 | 8.2447 | 6.7128 | 11.4609 | -6.6217 | 6.007 | -5.9092 | 6.4304 | -6.3117 | 5.7854 | 6.4429 | 1.3246 | -2.7102 | -6.7086 | -1.5015 | -61.4073 | 107.0426 | 113.8866 | 118.5882 | -72.9227 | -66.0874 |  | 0.59784 | 1.1228 | 0.91862 | 0.30297 | 1.1271 | 0.96649 | -34.623 | -117.1734 | 126.3217 | -36.7732 | -119.1359 | 127.2944
Line_1 | 1.5113 | 0.38711 | 0.31512 | 1.5131 | 0.38526 | 0.31326 | 17.4512 | 4.47 | 3.6387 | 17.4719 | 4.4485 | 3.6172 | -4.3584e-11 | 3.5041 | -3.6336 | 4.7772 | -3.8738 | 3.2471 | 2.6045e-12 | -3.529 | -1.5449 | 2.2801 | 3.1834 | 1.2956 | 117.7317 | -79.716 | -74.4789 | -62.2876 | 100.2767 | 105.5431 |  | 0 | 1.1126 | 1.0851 | 0.30297 | 1.1271 | 0.96649 | 0 | -124.9192 | 128.5554 | -36.7732 | -119.1359 | 127.2944
Line_2 | 0.34457 | 0.33617 | 0.2768 | 0.34615 | 0.33459 | 0.27522 | 3.9787 | 3.8818 | 3.1963 | 3.997 | 3.8635 | 3.178 | -1.1963 | 2.8622 | -2.8547 | 1.132 | -2.5565 | 3.0646 | -0.35683 | -3.4531 | -0.16678 | 0.43018 | 3.5252 | 0.20598 | 122.4353 | -65.0675 | -56.5771 | -57.581 | 114.9138 | 123.4491 |  | 0.31377 | 1.1554 | 0.89466 | 0.30297 | 1.1271 | 0.96649 | -40.9561 | -115.4126 | 126.7666 | -36.7732 | -119.1359 | 127.2944
Line_3 | 1.1675 | 0.10532 | 0.099749 | 1.1693 | 0.1044 | 0.098818 | 13.4809 | 1.2161 | 1.1518 | 13.5014 | 1.2055 | 1.1411 | -3.3707e-11 | 1.3387 | -0.18901 | 3.9076 | -1.3194 | 0.17013 | 1.1941e-12 | 0.19609 | -1.2355 | 1.6361 | -0.44634 | 1.0066 | 116.3408 | -133.2524 | -132.7465 | -63.6754 | 45.8971 | 46.3597 |  | 0 | 1.1126 | 1.0851 | 0.31377 | 1.1554 | 0.89466 | 0 | -124.9192 | 128.5554 | -40.9561 | -115.4126 | 126.7666

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58252 | 0.22321 | 0.18164 | 0.58207 | 0.22365 | 0.18209 | 6.7264 | 2.5774 | 2.0974 | 6.7211 | 2.5824 | 2.1026 | 4.9144 | -1.2311 | 1.9964 | -4.3665 | 1.2124 | -2.0295 | 3.4316 | 2.357 | -0.33311 | -3.1279 | -2.3868 | 0.31753 | -44.4917 | 123.9582 | 130.8022 | 135.5038 | -56.0071 | -49.1717 |  | 0.8911 | 1.0317 | 0.96498 | 0.79916 | 1.0366 | 0.97699 | -9.5664 | -118.4638 | 121.3293 | -8.8806 | -119.0787 | 121.9361
Line_1 | 0.47338 | 0.12125 | 0.098702 | 0.47394 | 0.12067 | 0.098122 | 5.4662 | 1.4001 | 1.1397 | 5.4726 | 1.3934 | 1.133 | -3.0446 | 0.7677 | -1.1495 | 3.5161 | -0.80205 | 1.1069 | -2.3734 | -1.2396 | -0.013862 | 2.6009 | 1.2013 | -0.010098 | 134.6474 | -62.8004 | -57.5633 | -45.3719 | 117.1923 | 122.4588 |  | 0.70623 | 1.0414 | 1.0087 | 0.79916 | 1.0366 | 0.97699 | -7.4145 | -121.0291 | 123.1276 | -8.8806 | -119.0787 | 121.9361
Line_2 | 0.10793 | 0.1053 | 0.086702 | 0.10842 | 0.1048 | 0.086206 | 1.2462 | 1.2159 | 1.0011 | 1.252 | 1.2101 | 0.99542 | -0.85354 | 0.44079 | -0.90578 | 0.85048 | -0.41032 | 0.92264 | -0.51738 | -1.1824 | 0.31288 | 0.527 | 1.1855 | -0.30744 | 139.351 | -48.1519 | -39.6615 | -40.6654 | 131.8294 | 140.3648 |  | 0.8009 | 1.0379 | 0.9572 | 0.79916 | 1.0366 | 0.97699 | -9.4266 | -117.7073 | 121.2823 | -8.8806 | -119.0787 | 121.9361
Line_3 | 0.36568 | 0.032988 | 0.031244 | 0.36624 | 0.0327 | 0.030952 | 4.2225 | 0.38091 | 0.36077 | 4.229 | 0.37759 | 0.35741 | -2.3067 | 0.39534 | -0.18765 | 2.6931 | -0.39187 | 0.18125 | -1.89 | -0.03245 | -0.31179 | 2.054 | 0.0035566 | 0.29015 | 133.2565 | -116.3368 | -115.8309 | -46.7597 | 62.8127 | 63.2754 |  | 0.70623 | 1.0414 | 1.0087 | 0.8009 | 1.0379 | 0.9572 | -7.4145 | -121.0291 | 123.1276 | -9.4266 | -117.7073 | 121.2823

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58252 | 0.22321 | 0.18164 | 0.58207 | 0.22365 | 0.18209 | 6.7264 | 2.5774 | 2.0974 | 6.7211 | 2.5824 | 2.1026 | 4.9144 | -1.2311 | 1.9964 | -4.3665 | 1.2124 | -2.0295 | 3.4316 | 2.357 | -0.33311 | -3.1279 | -2.3868 | 0.31753 | -44.4917 | 123.9582 | 130.8022 | 135.5038 | -56.0071 | -49.1717 |  | 0.8911 | 1.0317 | 0.96498 | 0.79916 | 1.0366 | 0.97699 | -9.5664 | -118.4638 | 121.3293 | -8.8806 | -119.0787 | 121.9361
Line_1 | 0.47338 | 0.12125 | 0.098702 | 0.47394 | 0.12067 | 0.098122 | 5.4662 | 1.4001 | 1.1397 | 5.4726 | 1.3934 | 1.133 | -3.0446 | 0.7677 | -1.1495 | 3.5161 | -0.80205 | 1.1069 | -2.3734 | -1.2396 | -0.013862 | 2.6009 | 1.2013 | -0.010098 | 134.6474 | -62.8004 | -57.5633 | -45.3719 | 117.1923 | 122.4588 |  | 0.70623 | 1.0414 | 1.0087 | 0.79916 | 1.0366 | 0.97699 | -7.4145 | -121.0291 | 123.1276 | -8.8806 | -119.0787 | 121.9361
Line_2 | 0.10793 | 0.1053 | 0.086702 | 0.10842 | 0.1048 | 0.086206 | 1.2462 | 1.2159 | 1.0011 | 1.252 | 1.2101 | 0.99542 | -0.85354 | 0.44079 | -0.90578 | 0.85048 | -0.41032 | 0.92264 | -0.51738 | -1.1824 | 0.31288 | 0.527 | 1.1855 | -0.30744 | 139.351 | -48.1519 | -39.6615 | -40.6654 | 131.8294 | 140.3648 |  | 0.8009 | 1.0379 | 0.9572 | 0.79916 | 1.0366 | 0.97699 | -9.4266 | -117.7073 | 121.2823 | -8.8806 | -119.0787 | 121.9361
Line_3 | 0.36568 | 0.032988 | 0.031244 | 0.36624 | 0.0327 | 0.030952 | 4.2225 | 0.38091 | 0.36077 | 4.229 | 0.37759 | 0.35741 | -2.3067 | 0.39534 | -0.18765 | 2.6931 | -0.39187 | 0.18125 | -1.89 | -0.03245 | -0.31179 | 2.054 | 0.0035566 | 0.29015 | 133.2565 | -116.3368 | -115.8309 | -46.7597 | 62.8127 | 63.2754 |  | 0.70623 | 1.0414 | 1.0087 | 0.8009 | 1.0379 | 0.9572 | -7.4145 | -121.0291 | 123.1276 | -9.4266 | -117.7073 | 121.2823

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4235 | 3.1698 | 3.236 | 0.42497 | 3.1694 | 3.2358 | 4.8901 | 36.6021 | 37.366 | 4.9071 | 36.5968 | 37.364 | -2.2482 | 13.044 | 7.6667 | 2.1398 | -6.2163 | -2.9955 | 5.8786 | 5.0732 | 17.168 | -6.0998 | -1.2886 | -8.369 | -103.6117 | -173.2199 | 26.9736 | 76.5282 | 6.8116 | -153.0581 |  | 1.2871 | 0.38238 | 0.50319 | 1.3173 | 0.17347 | 0.2379 | 7.3172 | -151.9672 | 92.9096 | 5.8588 | -161.4775 | 97.2484
Line_1 | 0.23738 | 2.4254 | 2.4293 | 0.23554 | 2.4257 | 2.4301 | 2.741 | 28.0066 | 28.0512 | 2.7198 | 28.0093 | 28.0601 | 1.3561 | 7.1683e-11 | 9.0281e-11 | -1.468 | 4.6682 | 2.662 | -3.4871 | -5.8988e-11 | -1.3253e-11 | 3.2682 | 1.3475 | 6.1218 | 71.899 | 2.4696 | -149.2957 | -108.33 | -177.579 | 30.7496 |  | 1.365 | 0 | 0 | 1.3173 | 0.17347 | 0.2379 | 3.149 | 0 | 0 | 5.8588 | -161.4775 | 97.2484
Line_2 | 0.19303 | 0.77353 | 0.82708 | 0.19132 | 0.77344 | 0.82701 | 2.2289 | 8.932 | 9.5503 | 2.2091 | 8.9309 | 9.5495 | 0.7285 | -1.2585 | 0.070707 | -0.67174 | 1.5481 | 0.33348 | -2.8085 | 0.62414 | -2.0643 | 2.8316 | -0.058962 | 2.2472 | 82.7532 | 20.8437 | -164.4418 | -97.487 | -159.2964 | 15.6893 |  | 1.3017 | 0.15727 | 0.21628 | 1.3173 | 0.17347 | 0.2379 | 7.2945 | 174.4645 | 107.52 | 5.8588 | -161.4775 | 97.2484
Line_3 | 0.0603 | 1.7084 | 1.6449 | 0.059473 | 1.709 | 1.6459 | 0.69629 | 19.7272 | 18.9939 | 0.68674 | 19.7339 | 19.0047 | 0.8028 | 5.5887e-11 | 5.9431e-11 | -0.80052 | 3.1035 | 1.4572 | -0.50874 | -3.3947e-11 | -1.6893e-11 | 0.3979 | 0.012769 | 3.8433 | 35.5116 | -5.7056 | -141.7791 | -146.2755 | 174.2288 | 38.284 |  | 1.365 | 0 | 0 | 1.3017 | 0.15727 | 0.21628 | 3.149 | 0 | 0 | 7.2945 | 174.4645 | 107.52

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4235 | 3.1698 | 3.236 | 0.42497 | 3.1694 | 3.2358 | 4.8901 | 36.6021 | 37.366 | 4.9071 | 36.5968 | 37.364 | -2.2482 | 13.044 | 7.6667 | 2.1398 | -6.2163 | -2.9955 | 5.8786 | 5.0732 | 17.168 | -6.0998 | -1.2886 | -8.369 | -103.6117 | -173.2199 | 26.9736 | 76.5282 | 6.8116 | -153.0581 |  | 1.2871 | 0.38238 | 0.50319 | 1.3173 | 0.17347 | 0.2379 | 7.3172 | -151.9672 | 92.9096 | 5.8588 | -161.4775 | 97.2484
Line_1 | 0.23738 | 2.4254 | 2.4293 | 0.23554 | 2.4257 | 2.4301 | 2.741 | 28.0066 | 28.0512 | 2.7198 | 28.0093 | 28.0601 | 1.3561 | 7.1683e-11 | 9.0281e-11 | -1.468 | 4.6682 | 2.662 | -3.4871 | -5.8988e-11 | -1.3253e-11 | 3.2682 | 1.3475 | 6.1218 | 71.899 | 2.4696 | -149.2957 | -108.33 | -177.579 | 30.7496 |  | 1.365 | 0 | 0 | 1.3173 | 0.17347 | 0.2379 | 3.149 | 0 | 0 | 5.8588 | -161.4775 | 97.2484
Line_2 | 0.19303 | 0.77353 | 0.82708 | 0.19132 | 0.77344 | 0.82701 | 2.2289 | 8.932 | 9.5503 | 2.2091 | 8.9309 | 9.5495 | 0.7285 | -1.2585 | 0.070707 | -0.67174 | 1.5481 | 0.33348 | -2.8085 | 0.62414 | -2.0643 | 2.8316 | -0.058962 | 2.2472 | 82.7532 | 20.8437 | -164.4418 | -97.487 | -159.2964 | 15.6893 |  | 1.3017 | 0.15727 | 0.21628 | 1.3173 | 0.17347 | 0.2379 | 7.2945 | 174.4645 | 107.52 | 5.8588 | -161.4775 | 97.2484
Line_3 | 0.0603 | 1.7084 | 1.6449 | 0.059473 | 1.709 | 1.6459 | 0.69629 | 19.7272 | 18.9939 | 0.68674 | 19.7339 | 19.0047 | 0.8028 | 5.5887e-11 | 5.9431e-11 | -0.80052 | 3.1035 | 1.4572 | -0.50874 | -3.3947e-11 | -1.6893e-11 | 0.3979 | 0.012769 | 3.8433 | 35.5116 | -5.7056 | -141.7791 | -146.2755 | 174.2288 | 38.284 |  | 1.365 | 0 | 0 | 1.3017 | 0.15727 | 0.21628 | 3.149 | 0 | 0 | 7.2945 | 174.4645 | 107.52

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.03134 | 0.73781 | 0.69377 | 0.031125 | 0.73774 | 0.69363 | 0.36188 | 8.5195 | 8.011 | 0.3594 | 8.5187 | 8.0094 | 0.21006 | 7.6792 | 4.5833 | -0.21494 | -7.2976 | -4.3557 | -0.36836 | 2.3775 | 6.7246 | 0.3714 | -2.2339 | -6.2485 | 63.8115 | -144.1201 | 55.9197 | -117.223 | 35.9264 | -124.1288 |  | 1.1718 | 0.94358 | 1.0159 | 1.194 | 0.89589 | 0.95099 | 3.5062 | -126.9177 | 111.6423 | 2.8358 | -127.0531 | 110.9917
Line_1 | 0.0049262 | 0.59001 | 0.57311 | 0.0054656 | 0.59005 | 0.57345 | 0.056883 | 6.8128 | 6.6177 | 0.063111 | 6.8133 | 6.6216 | -0.016452 | -5.1551 | -3.7483 | 0.012684 | 5.4552 | 3.923 | 0.067493 | -2.7068 | -4.5219 | -0.074279 | 2.7385 | 4.9258 | -101.6796 | 26.3573 | -120.534 | 83.1451 | -153.7099 | 59.5262 |  | 1.2213 | 0.85464 | 0.88753 | 1.194 | 0.89589 | 0.95099 | 2.0198 | -125.9401 | 109.8101 | 2.8358 | -127.0531 | 110.9917
Line_2 | 0.025861 | 0.18497 | 0.12673 | 0.02607 | 0.18466 | 0.12673 | 0.29861 | 2.1359 | 1.4634 | 0.30103 | 2.1322 | 1.4634 | -0.20743 | -1.8202 | -0.41595 | 0.20226 | 1.8424 | 0.4327 | 0.28811 | 0.54683 | -1.3267 | -0.29713 | -0.50458 | 1.3227 | -122.7301 | 68.4341 | -141.1811 | 58.5925 | -111.7368 | 39.106 |  | 1.1889 | 0.88986 | 0.95014 | 1.194 | 0.89589 | 0.95099 | 3.0223 | -128.2868 | 111.4119 | 2.8358 | -127.0531 | 110.9917
Line_3 | 0.021403 | 0.46922 | 0.45658 | 0.021159 | 0.46946 | 0.45696 | 0.24714 | 5.4181 | 5.2721 | 0.24432 | 5.4209 | 5.2765 | 0.18864 | -3.3876 | -3.3222 | -0.19212 | 3.6564 | 3.464 | -0.23561 | -3.1569 | -3.2951 | 0.21786 | 3.1464 | 3.6242 | 53.3373 | 11.0784 | -114.9549 | -128.3854 | -168.9999 | 65.1168 |  | 1.2213 | 0.85464 | 0.88753 | 1.1889 | 0.88986 | 0.95014 | 2.0198 | -125.9401 | 109.8101 | 3.0223 | -128.2868 | 111.4119

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.03134 | 0.73781 | 0.69377 | 0.031125 | 0.73774 | 0.69363 | 0.36188 | 8.5195 | 8.011 | 0.3594 | 8.5187 | 8.0094 | 0.21006 | 7.6792 | 4.5833 | -0.21494 | -7.2976 | -4.3557 | -0.36836 | 2.3775 | 6.7246 | 0.3714 | -2.2339 | -6.2485 | 63.8115 | -144.1201 | 55.9197 | -117.223 | 35.9264 | -124.1288 |  | 1.1718 | 0.94358 | 1.0159 | 1.194 | 0.89589 | 0.95099 | 3.5062 | -126.9177 | 111.6423 | 2.8358 | -127.0531 | 110.9917
Line_1 | 0.0049262 | 0.59001 | 0.57311 | 0.0054656 | 0.59005 | 0.57345 | 0.056883 | 6.8128 | 6.6177 | 0.063111 | 6.8133 | 6.6216 | -0.016452 | -5.1551 | -3.7483 | 0.012684 | 5.4552 | 3.923 | 0.067493 | -2.7068 | -4.5219 | -0.074279 | 2.7385 | 4.9258 | -101.6796 | 26.3573 | -120.534 | 83.1451 | -153.7099 | 59.5262 |  | 1.2213 | 0.85464 | 0.88753 | 1.194 | 0.89589 | 0.95099 | 2.0198 | -125.9401 | 109.8101 | 2.8358 | -127.0531 | 110.9917
Line_2 | 0.025861 | 0.18497 | 0.12673 | 0.02607 | 0.18466 | 0.12673 | 0.29861 | 2.1359 | 1.4634 | 0.30103 | 2.1322 | 1.4634 | -0.20743 | -1.8202 | -0.41595 | 0.20226 | 1.8424 | 0.4327 | 0.28811 | 0.54683 | -1.3267 | -0.29713 | -0.50458 | 1.3227 | -122.7301 | 68.4341 | -141.1811 | 58.5925 | -111.7368 | 39.106 |  | 1.1889 | 0.88986 | 0.95014 | 1.194 | 0.89589 | 0.95099 | 3.0223 | -128.2868 | 111.4119 | 2.8358 | -127.0531 | 110.9917
Line_3 | 0.021403 | 0.46922 | 0.45658 | 0.021159 | 0.46946 | 0.45696 | 0.24714 | 5.4181 | 5.2721 | 0.24432 | 5.4209 | 5.2765 | 0.18864 | -3.3876 | -3.3222 | -0.19212 | 3.6564 | 3.464 | -0.23561 | -3.1569 | -3.2951 | 0.21786 | 3.1464 | 3.6242 | 53.3373 | 11.0784 | -114.9549 | -128.3854 | -168.9999 | 65.1168 |  | 1.2213 | 0.85464 | 0.88753 | 1.1889 | 0.88986 | 0.95014 | 2.0198 | -125.9401 | 109.8101 | 3.0223 | -128.2868 | 111.4119

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51867 | 2.5961 | 2.6245 | 0.5198 | 2.5957 | 2.6244 | 5.9891 | 29.9768 | 30.3056 | 6.0021 | 29.9723 | 30.3045 | -0.32204 | 16.0144 | 10.3543 | 0.21404 | -7.4968 | -4.2887 | 6.22 | 0.83189 | 14.1676 | -6.5216 | 0.86749 | -7.2921 | -84.779 | -162.4653 | 39.4575 | 95.2921 | 17.5619 | -140.5707 |  | 1.0399 | 0.53495 | 0.57903 | 1.0871 | 0.25179 | 0.27916 | 8.1848 | -159.4917 | 93.2967 | 7.1719 | -169.0386 | 98.9681
Line_1 | 0.29157 | 1.9858 | 1.9489 | 0.28997 | 1.9858 | 1.9497 | 3.3667 | 22.9306 | 22.5043 | 3.3482 | 22.9305 | 22.5137 | 0.35433 | -6.9681e-11 | -3.5133e-11 | -0.56119 | 5.7711 | 3.4293 | -3.9192 | -5.0517e-11 | -7.7817e-11 | 3.5965 | -0.17581 | 5.2669 | 88.3831 | 12.7539 | -138.0061 | -91.6969 | -167.2937 | 42.0361 |  | 1.1688 | 0 | 0 | 1.0871 | 0.25179 | 0.27916 | 3.5491 | 0 | 0 | 7.1719 | -169.0386 | 98.9681
Line_2 | 0.23601 | 0.63953 | 0.68245 | 0.23465 | 0.63945 | 0.68251 | 2.7252 | 7.3847 | 7.8803 | 2.7095 | 7.3838 | 7.8809 | -0.19003 | -1.3159 | -0.38412 | 0.34715 | 1.7257 | 0.85947 | -2.8717 | 1.247 | -2.0829 | 2.9251 | -0.69168 | 2.0252 | 104.0328 | 32.9287 | -148.1547 | -76.0599 | -147.1976 | 31.9638 |  | 1.056 | 0.24549 | 0.26877 | 1.0871 | 0.25179 | 0.27916 | 10.2469 | 169.4697 | 111.3963 | 7.1719 | -169.0386 | 98.9681
Line_3 | 0.090602 | 1.4026 | 1.2827 | 0.08987 | 1.403 | 1.2835 | 1.0462 | 16.1963 | 14.8108 | 1.0377 | 16.2004 | 14.8203 | 0.92904 | -4.3014e-11 | -2.7795e-11 | -0.91959 | 3.8556 | 1.7466 | -0.79508 | -4.2956e-11 | -4.8835e-11 | 0.59608 | -0.9756 | 3.5799 | 44.1064 | 3.7336 | -132.658 | -136.8018 | -176.3304 | 47.4036 |  | 1.1688 | 0 | 0 | 1.056 | 0.24549 | 0.26877 | 3.5491 | 0 | 0 | 10.2469 | 169.4697 | 111.3963

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51867 | 2.5961 | 2.6245 | 0.5198 | 2.5957 | 2.6244 | 5.9891 | 29.9768 | 30.3056 | 6.0021 | 29.9723 | 30.3045 | -0.32204 | 16.0144 | 10.3543 | 0.21404 | -7.4968 | -4.2887 | 6.22 | 0.83189 | 14.1676 | -6.5216 | 0.86749 | -7.2921 | -84.779 | -162.4653 | 39.4575 | 95.2921 | 17.5619 | -140.5707 |  | 1.0399 | 0.53495 | 0.57903 | 1.0871 | 0.25179 | 0.27916 | 8.1848 | -159.4917 | 93.2967 | 7.1719 | -169.0386 | 98.9681
Line_1 | 0.29157 | 1.9858 | 1.9489 | 0.28997 | 1.9858 | 1.9497 | 3.3667 | 22.9306 | 22.5043 | 3.3482 | 22.9305 | 22.5137 | 0.35433 | -6.9681e-11 | -3.5133e-11 | -0.56119 | 5.7711 | 3.4293 | -3.9192 | -5.0517e-11 | -7.7817e-11 | 3.5965 | -0.17581 | 5.2669 | 88.3831 | 12.7539 | -138.0061 | -91.6969 | -167.2937 | 42.0361 |  | 1.1688 | 0 | 0 | 1.0871 | 0.25179 | 0.27916 | 3.5491 | 0 | 0 | 7.1719 | -169.0386 | 98.9681
Line_2 | 0.23601 | 0.63953 | 0.68245 | 0.23465 | 0.63945 | 0.68251 | 2.7252 | 7.3847 | 7.8803 | 2.7095 | 7.3838 | 7.8809 | -0.19003 | -1.3159 | -0.38412 | 0.34715 | 1.7257 | 0.85947 | -2.8717 | 1.247 | -2.0829 | 2.9251 | -0.69168 | 2.0252 | 104.0328 | 32.9287 | -148.1547 | -76.0599 | -147.1976 | 31.9638 |  | 1.056 | 0.24549 | 0.26877 | 1.0871 | 0.25179 | 0.27916 | 10.2469 | 169.4697 | 111.3963 | 7.1719 | -169.0386 | 98.9681
Line_3 | 0.090602 | 1.4026 | 1.2827 | 0.08987 | 1.403 | 1.2835 | 1.0462 | 16.1963 | 14.8108 | 1.0377 | 16.2004 | 14.8203 | 0.92904 | -4.3014e-11 | -2.7795e-11 | -0.91959 | 3.8556 | 1.7466 | -0.79508 | -4.2956e-11 | -4.8835e-11 | 0.59608 | -0.9756 | 3.5799 | 44.1064 | 3.7336 | -132.658 | -136.8018 | -176.3304 | 47.4036 |  | 1.1688 | 0 | 0 | 1.056 | 0.24549 | 0.26877 | 3.5491 | 0 | 0 | 10.2469 | 169.4697 | 111.3963

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17833 | 0.72242 | 0.72462 | 0.17872 | 0.72227 | 0.72456 | 2.0592 | 8.3418 | 8.3672 | 2.0637 | 8.34 | 8.3665 | 0.74199 | 6.7149 | 4.4366 | -0.75984 | -6.0159 | -3.9718 | 1.9153 | 2.5251 | 6.1822 | -1.9495 | -2.4204 | -5.6077 | -66.0149 | -149.4619 | 57.9101 | 114.0483 | 30.5708 | -122.1243 |  | 0.99747 | 0.86001 | 0.90944 | 1.0139 | 0.77753 | 0.82134 | 2.8084 | -128.8532 | 112.2449 | 2.7538 | -127.5123 | 112.5666
Line_1 | 0.099628 | 0.55716 | 0.54168 | 0.099079 | 0.55719 | 0.54199 | 1.1504 | 6.4336 | 6.2548 | 1.1441 | 6.4339 | 6.2584 | -0.31162 | -3.9494 | -2.9334 | 0.2831 | 4.4443 | 3.2151 | -1.1639 | -2.3371 | -3.5514 | 1.1248 | 2.2963 | 4.0106 | 106.9437 | 25.2206 | -118.7653 | -73.1193 | -154.8369 | 61.2842 |  | 1.0473 | 0.71331 | 0.73642 | 1.0139 | 0.77753 | 0.82134 | 1.9548 | -124.1645 | 111.6788 | 2.7538 | -127.5123 | 112.5666
Line_2 | 0.081831 | 0.17561 | 0.18632 | 0.081363 | 0.17559 | 0.18634 | 0.9449 | 2.0278 | 2.1514 | 0.9395 | 2.0275 | 2.1517 | -0.4609 | -1.5415 | -0.71743 | 0.47674 | 1.5716 | 0.75667 | -0.82118 | -0.072823 | -1.609 | 0.82463 | 0.12413 | 1.5971 | 122.8597 | 48.1275 | -132.2296 | -57.2125 | -132.0284 | 47.9173 |  | 0.9966 | 0.76103 | 0.81883 | 1.0139 | 0.77753 | 0.82134 | 3.5561 | -129.1677 | 113.7382 | 2.7538 | -127.5123 | 112.5666
Line_3 | 0.03073 | 0.40113 | 0.36301 | 0.030476 | 0.40128 | 0.36333 | 0.35484 | 4.6318 | 4.1917 | 0.35191 | 4.6336 | 4.1954 | 0.19453 | -2.5162 | -2.2348 | -0.19645 | 2.872 | 2.4033 | -0.31666 | -2.1411 | -2.1295 | 0.29052 | 2.0461 | 2.4548 | 60.3913 | 15.4403 | -111.9388 | -120.5103 | -164.6342 | 68.1307 |  | 1.0473 | 0.71331 | 0.73642 | 0.9966 | 0.76103 | 0.81883 | 1.9548 | -124.1645 | 111.6788 | 3.5561 | -129.1677 | 113.7382

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.17833 | 0.72242 | 0.72462 | 0.17872 | 0.72227 | 0.72456 | 2.0592 | 8.3418 | 8.3672 | 2.0637 | 8.34 | 8.3665 | 0.74199 | 6.7149 | 4.4366 | -0.75984 | -6.0159 | -3.9718 | 1.9153 | 2.5251 | 6.1822 | -1.9495 | -2.4204 | -5.6077 | -66.0149 | -149.4619 | 57.9101 | 114.0483 | 30.5708 | -122.1243 |  | 0.99747 | 0.86001 | 0.90944 | 1.0139 | 0.77753 | 0.82134 | 2.8084 | -128.8532 | 112.2449 | 2.7538 | -127.5123 | 112.5666
Line_1 | 0.099628 | 0.55716 | 0.54168 | 0.099079 | 0.55719 | 0.54199 | 1.1504 | 6.4336 | 6.2548 | 1.1441 | 6.4339 | 6.2584 | -0.31162 | -3.9494 | -2.9334 | 0.2831 | 4.4443 | 3.2151 | -1.1639 | -2.3371 | -3.5514 | 1.1248 | 2.2963 | 4.0106 | 106.9437 | 25.2206 | -118.7653 | -73.1193 | -154.8369 | 61.2842 |  | 1.0473 | 0.71331 | 0.73642 | 1.0139 | 0.77753 | 0.82134 | 1.9548 | -124.1645 | 111.6788 | 2.7538 | -127.5123 | 112.5666
Line_2 | 0.081831 | 0.17561 | 0.18632 | 0.081363 | 0.17559 | 0.18634 | 0.9449 | 2.0278 | 2.1514 | 0.9395 | 2.0275 | 2.1517 | -0.4609 | -1.5415 | -0.71743 | 0.47674 | 1.5716 | 0.75667 | -0.82118 | -0.072823 | -1.609 | 0.82463 | 0.12413 | 1.5971 | 122.8597 | 48.1275 | -132.2296 | -57.2125 | -132.0284 | 47.9173 |  | 0.9966 | 0.76103 | 0.81883 | 1.0139 | 0.77753 | 0.82134 | 3.5561 | -129.1677 | 113.7382 | 2.7538 | -127.5123 | 112.5666
Line_3 | 0.03073 | 0.40113 | 0.36301 | 0.030476 | 0.40128 | 0.36333 | 0.35484 | 4.6318 | 4.1917 | 0.35191 | 4.6336 | 4.1954 | 0.19453 | -2.5162 | -2.2348 | -0.19645 | 2.872 | 2.4033 | -0.31666 | -2.1411 | -2.1295 | 0.29052 | 2.0461 | 2.4548 | 60.3913 | 15.4403 | -111.9388 | -120.5103 | -164.6342 | 68.1307 |  | 1.0473 | 0.71331 | 0.73642 | 0.9966 | 0.76103 | 0.81883 | 1.9548 | -124.1645 | 111.6788 | 3.5561 | -129.1677 | 113.7382