## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7464 | 0.98506 | 0.83081 | 1.7437 | 0.98764 | 0.83331 | 20.1653 | 11.3745 | 9.5934 | 20.1348 | 11.4043 | 9.6222 | 4.1186 | -12.5128 | 12.1568 | -2.5376 | 13.0504 | -11.826 | 3.8515 | 9.5349 | 3.2876 | -2.052 | -8.9907 | -2.9011 | -77.5602 | 87.869 | 119.7945 | 102.4425 | -92.0969 | -60.2649 |  | 0.27963 | 1.3831 | 1.3127 | 0.16208 | 1.3896 | 1.2655 | -34.4794 | -129.4389 | 134.927 | -38.5965 | -126.6607 | 133.5182
Line_1 | 1.543 | 0.5176 | 0.42226 | 1.5457 | 0.51492 | 0.41966 | 17.817 | 5.9767 | 4.8759 | 17.8485 | 5.9458 | 4.8458 | 7.6916e-11 | 6.8992 | -6.0777 | 2.2633 | -7.015 | 5.8416 | -5.336e-11 | -4.4672 | -1.8272 | 1.8017 | 4.3653 | 1.8657 | 102.8919 | -94.7036 | -64.3117 | -77.1178 | 85.2327 | 115.8057 |  | 0 | 1.3752 | 1.3016 | 0.16208 | 1.3896 | 1.2655 | 0 | -127.6268 | 132.421 | -38.5965 | -126.6607 | 133.5182
Line_2 | 0.19585 | 0.47637 | 0.41804 | 0.1984 | 0.47389 | 0.41563 | 2.2615 | 5.5007 | 4.8271 | 2.2909 | 5.472 | 4.7993 | -0.37941 | 6.4694 | -5.6232 | 0.27425 | -6.0354 | 5.9844 | -0.28426 | -4.3362 | -0.94986 | 0.25032 | 4.6254 | 1.0354 | 98.9448 | -89.1227 | -56.4133 | -80.9851 | 90.805 | 123.7026 |  | 0.20963 | 1.4159 | 1.1814 | 0.16208 | 1.3896 | 1.2655 | -44.2141 | -122.9555 | 133.1745 | -38.5965 | -126.6607 | 133.5182
Line_3 | 1.3464 | 0.063978 | 0.05837 | 1.3491 | 0.062751 | 0.057339 | 15.5474 | 0.73875 | 0.674 | 15.5779 | 0.72459 | 0.6621 | 6.6652e-11 | 0.9905 | 0.11375 | 2.7593 | -0.96627 | -0.14406 | -4.7226e-11 | 0.22586 | -0.86987 | 1.7464 | -0.3447 | 0.76883 | 103.4606 | -140.4723 | -145.0289 | -76.5446 | 37.4113 | 32.5614 |  | 0 | 1.3752 | 1.3016 | 0.20963 | 1.4159 | 1.1814 | 0 | -127.6268 | 132.421 | -44.2141 | -122.9555 | 133.1745

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7464 | 0.98506 | 0.83081 | 1.7437 | 0.98764 | 0.83331 | 20.1653 | 11.3745 | 9.5934 | 20.1348 | 11.4043 | 9.6222 | 4.1186 | -12.5128 | 12.1568 | -2.5376 | 13.0504 | -11.826 | 3.8515 | 9.5349 | 3.2876 | -2.052 | -8.9907 | -2.9011 | -77.5602 | 87.869 | 119.7945 | 102.4425 | -92.0969 | -60.2649 |  | 0.27963 | 1.3831 | 1.3127 | 0.16208 | 1.3896 | 1.2655 | -34.4794 | -129.4389 | 134.927 | -38.5965 | -126.6607 | 133.5182
Line_1 | 1.543 | 0.5176 | 0.42226 | 1.5457 | 0.51492 | 0.41966 | 17.817 | 5.9767 | 4.8759 | 17.8485 | 5.9458 | 4.8458 | 7.6916e-11 | 6.8992 | -6.0777 | 2.2633 | -7.015 | 5.8416 | -5.336e-11 | -4.4672 | -1.8272 | 1.8017 | 4.3653 | 1.8657 | 102.8919 | -94.7036 | -64.3117 | -77.1178 | 85.2327 | 115.8057 |  | 0 | 1.3752 | 1.3016 | 0.16208 | 1.3896 | 1.2655 | 0 | -127.6268 | 132.421 | -38.5965 | -126.6607 | 133.5182
Line_2 | 0.19585 | 0.47637 | 0.41804 | 0.1984 | 0.47389 | 0.41563 | 2.2615 | 5.5007 | 4.8271 | 2.2909 | 5.472 | 4.7993 | -0.37941 | 6.4694 | -5.6232 | 0.27425 | -6.0354 | 5.9844 | -0.28426 | -4.3362 | -0.94986 | 0.25032 | 4.6254 | 1.0354 | 98.9448 | -89.1227 | -56.4133 | -80.9851 | 90.805 | 123.7026 |  | 0.20963 | 1.4159 | 1.1814 | 0.16208 | 1.3896 | 1.2655 | -44.2141 | -122.9555 | 133.1745 | -38.5965 | -126.6607 | 133.5182
Line_3 | 1.3464 | 0.063978 | 0.05837 | 1.3491 | 0.062751 | 0.057339 | 15.5474 | 0.73875 | 0.674 | 15.5779 | 0.72459 | 0.6621 | 6.6652e-11 | 0.9905 | 0.11375 | 2.7593 | -0.96627 | -0.14406 | -4.7226e-11 | 0.22586 | -0.86987 | 1.7464 | -0.3447 | 0.76883 | 103.4606 | -140.4723 | -145.0289 | -76.5446 | 37.4113 | 32.5614 |  | 0 | 1.3752 | 1.3016 | 0.20963 | 1.4159 | 1.1814 | 0 | -127.6268 | 132.421 | -44.2141 | -122.9555 | 133.1745

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43169 | 0.22925 | 0.36491 | 0.43085 | 0.22988 | 0.36551 | 4.9847 | 2.6472 | 4.2136 | 4.975 | 2.6544 | 4.2206 | 3.8488 | -3.0575 | 3.4868 | -3.7464 | 3.0902 | -3.4285 | 2.3938 | 1.221 | -3.3496 | -2.2778 | -1.201 | 3.4278 | -41.9973 | 80.2983 | 170.0798 | 138.0298 | -99.5522 | -10.0171 |  | 0.90929 | 1.2437 | 1.1475 | 0.88131 | 1.249 | 1.1487 | -10.1172 | -121.4715 | 126.2299 | -10.6713 | -120.79 | 124.9888
Line_1 | 0.432 | 0.12637 | 0.17925 | 0.43288 | 0.1257 | 0.17863 | 4.9884 | 1.4591 | 2.0698 | 4.9985 | 1.4515 | 2.0627 | -3.3212 | 1.711 | -1.7833 | 3.5209 | -1.7074 | 1.749 | -2.5044 | -0.63867 | 1.6304 | 2.6475 | 0.60951 | -1.5983 | 132.4115 | -100.8724 | -12.7967 | -47.6119 | 78.8556 | 167.4103 |  | 0.83386 | 1.2517 | 1.1674 | 0.88131 | 1.249 | 1.1487 | -10.57 | -121.3413 | 124.7677 | -10.6713 | -120.79 | 124.9888
Line_2 | 0.042708 | 0.10487 | 0.18783 | 0.042556 | 0.10428 | 0.18723 | 0.49315 | 1.2109 | 2.1689 | 0.49139 | 1.2041 | 2.162 | -0.21968 | 1.4035 | -1.6318 | 0.22556 | -1.3828 | 1.6794 | 0.38638 | -0.57378 | 1.8321 | -0.36969 | 0.59146 | -1.8295 | -130.9566 | -97.3066 | -7.7411 | 47.9399 | 82.3672 | 172.4372 |  | 0.90128 | 1.2522 | 1.1312 | 0.88131 | 1.249 | 1.1487 | -11.3352 | -119.5416 | 123.9498 | -10.6713 | -120.79 | 124.9888
Line_3 | 0.43859 | 0.022805 | 0.018394 | 0.43945 | 0.0224 | 0.018136 | 5.0644 | 0.26333 | 0.21239 | 5.0743 | 0.25866 | 0.20942 | -3.1101 | 0.32849 | -0.077869 | 3.4089 | -0.32385 | 0.067437 | -2.8567 | -0.026975 | -0.2354 | 3.0488 | 0.0054444 | 0.2271 | 126.8614 | -116.6469 | -126.9281 | -53.1433 | 61.4215 | 50.4888 |  | 0.83386 | 1.2517 | 1.1674 | 0.90128 | 1.2522 | 1.1312 | -10.57 | -121.3413 | 124.7677 | -11.3352 | -119.5416 | 123.9498

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43169 | 0.22925 | 0.36491 | 0.43085 | 0.22988 | 0.36551 | 4.9847 | 2.6472 | 4.2136 | 4.975 | 2.6544 | 4.2206 | 3.8488 | -3.0575 | 3.4868 | -3.7464 | 3.0902 | -3.4285 | 2.3938 | 1.221 | -3.3496 | -2.2778 | -1.201 | 3.4278 | -41.9973 | 80.2983 | 170.0798 | 138.0298 | -99.5522 | -10.0171 |  | 0.90929 | 1.2437 | 1.1475 | 0.88131 | 1.249 | 1.1487 | -10.1172 | -121.4715 | 126.2299 | -10.6713 | -120.79 | 124.9888
Line_1 | 0.432 | 0.12637 | 0.17925 | 0.43288 | 0.1257 | 0.17863 | 4.9884 | 1.4591 | 2.0698 | 4.9985 | 1.4515 | 2.0627 | -3.3212 | 1.711 | -1.7833 | 3.5209 | -1.7074 | 1.749 | -2.5044 | -0.63867 | 1.6304 | 2.6475 | 0.60951 | -1.5983 | 132.4115 | -100.8724 | -12.7967 | -47.6119 | 78.8556 | 167.4103 |  | 0.83386 | 1.2517 | 1.1674 | 0.88131 | 1.249 | 1.1487 | -10.57 | -121.3413 | 124.7677 | -10.6713 | -120.79 | 124.9888
Line_2 | 0.042708 | 0.10487 | 0.18783 | 0.042556 | 0.10428 | 0.18723 | 0.49315 | 1.2109 | 2.1689 | 0.49139 | 1.2041 | 2.162 | -0.21968 | 1.4035 | -1.6318 | 0.22556 | -1.3828 | 1.6794 | 0.38638 | -0.57378 | 1.8321 | -0.36969 | 0.59146 | -1.8295 | -130.9566 | -97.3066 | -7.7411 | 47.9399 | 82.3672 | 172.4372 |  | 0.90128 | 1.2522 | 1.1312 | 0.88131 | 1.249 | 1.1487 | -11.3352 | -119.5416 | 123.9498 | -10.6713 | -120.79 | 124.9888
Line_3 | 0.43859 | 0.022805 | 0.018394 | 0.43945 | 0.0224 | 0.018136 | 5.0644 | 0.26333 | 0.21239 | 5.0743 | 0.25866 | 0.20942 | -3.1101 | 0.32849 | -0.077869 | 3.4089 | -0.32385 | 0.067437 | -2.8567 | -0.026975 | -0.2354 | 3.0488 | 0.0054444 | 0.2271 | 126.8614 | -116.6469 | -126.9281 | -53.1433 | 61.4215 | 50.4888 |  | 0.83386 | 1.2517 | 1.1674 | 0.90128 | 1.2522 | 1.1312 | -10.57 | -121.3413 | 124.7677 | -11.3352 | -119.5416 | 123.9498

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5862 | 0.85311 | 0.73548 | 1.5842 | 0.85513 | 0.73747 | 18.3164 | 9.8509 | 8.4926 | 18.2932 | 9.8742 | 8.5156 | 6.2582 | -6.1057 | 8.9815 | -3.7531 | 6.8558 | -8.4579 | 3.2759 | 9.876 | 2.5632 | -1.7898 | -9.4671 | -2.2537 | -66.4104 | 110.6968 | 116.9456 | 113.5972 | -69.3104 | -63.0798 |  | 0.38565 | 1.1787 | 1.0998 | 0.2273 | 1.1838 | 1.0279 | -38.7803 | -127.5775 | 132.8737 | -40.9077 | -123.3994 | 131.8404
Line_1 | 1.3461 | 0.45136 | 0.38733 | 1.3482 | 0.44921 | 0.3852 | 15.5438 | 5.2118 | 4.4725 | 15.5681 | 5.187 | 4.4479 | -3.7768e-11 | 3.8809 | -4.5105 | 3.1929 | -4.0905 | 4.2499 | -4.9455e-13 | -4.7004 | -1.7639 | 1.5254 | 4.5794 | 1.6856 | 113.5757 | -75.189 | -69.8442 | -66.4439 | 104.828 | 110.2054 |  | 0 | 1.1696 | 1.0829 | 0.2273 | 1.1838 | 1.0279 | 0 | -125.6442 | 131.5144 | -40.9077 | -123.3994 | 131.8404
Line_2 | 0.23409 | 0.41275 | 0.35964 | 0.236 | 0.41084 | 0.35776 | 2.703 | 4.766 | 4.1528 | 2.7251 | 4.744 | 4.131 | -0.7464 | 3.3891 | -3.7081 | 0.56017 | -2.7654 | 4.208 | -0.30765 | -4.6974 | -0.44812 | 0.26432 | 4.8878 | 0.56803 | 113.8215 | -62.9084 | -55.895 | -66.1681 | 117.1008 | 124.1527 |  | 0.29867 | 1.2154 | 0.89943 | 0.2273 | 1.1838 | 1.0279 | -43.7781 | -117.0991 | 130.9956 | -40.9077 | -123.3994 | 131.8404
Line_3 | 1.1111 | 0.10025 | 0.094952 | 1.1131 | 0.099376 | 0.094063 | 12.8304 | 1.1576 | 1.0964 | 12.8535 | 1.1475 | 1.0862 | -3.1175e-11 | 1.3319 | -0.062522 | 3.5412 | -1.3112 | 0.041585 | -4.4074e-13 | 0.24286 | -1.1856 | 1.4825 | -0.47522 | 0.97603 | 113.5159 | -135.9782 | -135.467 | -66.4944 | 42.9781 | 43.4352 |  | 0 | 1.1696 | 1.0829 | 0.29867 | 1.2154 | 0.89943 | 0 | -125.6442 | 131.5144 | -43.7781 | -117.0991 | 130.9956

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5862 | 0.85311 | 0.73548 | 1.5842 | 0.85513 | 0.73747 | 18.3164 | 9.8509 | 8.4926 | 18.2932 | 9.8742 | 8.5156 | 6.2582 | -6.1057 | 8.9815 | -3.7531 | 6.8558 | -8.4579 | 3.2759 | 9.876 | 2.5632 | -1.7898 | -9.4671 | -2.2537 | -66.4104 | 110.6968 | 116.9456 | 113.5972 | -69.3104 | -63.0798 |  | 0.38565 | 1.1787 | 1.0998 | 0.2273 | 1.1838 | 1.0279 | -38.7803 | -127.5775 | 132.8737 | -40.9077 | -123.3994 | 131.8404
Line_1 | 1.3461 | 0.45136 | 0.38733 | 1.3482 | 0.44921 | 0.3852 | 15.5438 | 5.2118 | 4.4725 | 15.5681 | 5.187 | 4.4479 | -3.7768e-11 | 3.8809 | -4.5105 | 3.1929 | -4.0905 | 4.2499 | -4.9455e-13 | -4.7004 | -1.7639 | 1.5254 | 4.5794 | 1.6856 | 113.5757 | -75.189 | -69.8442 | -66.4439 | 104.828 | 110.2054 |  | 0 | 1.1696 | 1.0829 | 0.2273 | 1.1838 | 1.0279 | 0 | -125.6442 | 131.5144 | -40.9077 | -123.3994 | 131.8404
Line_2 | 0.23409 | 0.41275 | 0.35964 | 0.236 | 0.41084 | 0.35776 | 2.703 | 4.766 | 4.1528 | 2.7251 | 4.744 | 4.131 | -0.7464 | 3.3891 | -3.7081 | 0.56017 | -2.7654 | 4.208 | -0.30765 | -4.6974 | -0.44812 | 0.26432 | 4.8878 | 0.56803 | 113.8215 | -62.9084 | -55.895 | -66.1681 | 117.1008 | 124.1527 |  | 0.29867 | 1.2154 | 0.89943 | 0.2273 | 1.1838 | 1.0279 | -43.7781 | -117.0991 | 130.9956 | -40.9077 | -123.3994 | 131.8404
Line_3 | 1.1111 | 0.10025 | 0.094952 | 1.1131 | 0.099376 | 0.094063 | 12.8304 | 1.1576 | 1.0964 | 12.8535 | 1.1475 | 1.0862 | -3.1175e-11 | 1.3319 | -0.062522 | 3.5412 | -1.3112 | 0.041585 | -4.4074e-13 | 0.24286 | -1.1856 | 1.4825 | -0.47522 | 0.97603 | 113.5159 | -135.9782 | -135.467 | -66.4944 | 42.9781 | 43.4352 |  | 0 | 1.1696 | 1.0829 | 0.29867 | 1.2154 | 0.89943 | 0 | -125.6442 | 131.5144 | -43.7781 | -117.0991 | 130.9956

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51667 | 0.27788 | 0.23956 | 0.51602 | 0.27853 | 0.24021 | 5.966 | 3.2086 | 2.7662 | 5.9584 | 3.2162 | 2.7737 | 3.8933 | -1.1199 | 2.7181 | -3.6238 | 1.2009 | -2.6677 | 2.9868 | 3.2406 | -0.5176 | -2.8254 | -3.2023 | 0.5518 | -47.8066 | 129.3006 | 135.5494 | 132.201 | -50.7066 | -44.476 |  | 0.82249 | 1.0686 | 1.0003 | 0.77118 | 1.0634 | 0.98214 | -10.3124 | -121.6347 | 124.7678 | -9.8564 | -120.1502 | 123.8375
Line_1 | 0.43846 | 0.14702 | 0.12616 | 0.43915 | 0.14631 | 0.12547 | 5.0629 | 1.6976 | 1.4568 | 5.0708 | 1.6895 | 1.4488 | -2.7399 | 0.77919 | -1.4508 | 3.0822 | -0.79933 | 1.4176 | -2.2404 | -1.6271 | 0.11584 | 2.4067 | 1.609 | -0.12331 | 132.1795 | -56.5853 | -51.2404 | -47.8401 | 123.4318 | 128.8092 |  | 0.69907 | 1.0627 | 0.99907 | 0.77118 | 1.0634 | 0.98214 | -8.5483 | -120.9963 | 124.1944 | -9.8564 | -120.1502 | 123.8375
Line_2 | 0.076248 | 0.13444 | 0.11714 | 0.076869 | 0.13382 | 0.11653 | 0.88044 | 1.5524 | 1.3526 | 0.88761 | 1.5452 | 1.3456 | -0.55733 | 0.4684 | -1.2017 | 0.54154 | -0.40155 | 1.2501 | -0.4202 | -1.5781 | 0.4431 | 0.41867 | 1.5933 | -0.42848 | 132.4253 | -44.3046 | -37.2913 | -47.5643 | 135.7046 | 142.7565 |  | 0.79277 | 1.0604 | 0.94691 | 0.77118 | 1.0634 | 0.98214 | -10.5604 | -117.7731 | 122.4689 | -9.8564 | -120.1502 | 123.8375
Line_3 | 0.36192 | 0.032653 | 0.030928 | 0.36257 | 0.032369 | 0.030638 | 4.1791 | 0.37705 | 0.35712 | 4.1866 | 0.37376 | 0.35378 | -2.2597 | 0.39989 | -0.17266 | 2.6392 | -0.39632 | 0.16532 | -1.8517 | -0.025313 | -0.31223 | 2.0127 | -0.0044615 | 0.29137 | 132.1197 | -117.3744 | -116.8632 | -47.8906 | 61.5819 | 62.039 |  | 0.69907 | 1.0627 | 0.99907 | 0.79277 | 1.0604 | 0.94691 | -8.5483 | -120.9963 | 124.1944 | -10.5604 | -117.7731 | 122.4689

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51667 | 0.27788 | 0.23956 | 0.51602 | 0.27853 | 0.24021 | 5.966 | 3.2086 | 2.7662 | 5.9584 | 3.2162 | 2.7737 | 3.8933 | -1.1199 | 2.7181 | -3.6238 | 1.2009 | -2.6677 | 2.9868 | 3.2406 | -0.5176 | -2.8254 | -3.2023 | 0.5518 | -47.8066 | 129.3006 | 135.5494 | 132.201 | -50.7066 | -44.476 |  | 0.82249 | 1.0686 | 1.0003 | 0.77118 | 1.0634 | 0.98214 | -10.3124 | -121.6347 | 124.7678 | -9.8564 | -120.1502 | 123.8375
Line_1 | 0.43846 | 0.14702 | 0.12616 | 0.43915 | 0.14631 | 0.12547 | 5.0629 | 1.6976 | 1.4568 | 5.0708 | 1.6895 | 1.4488 | -2.7399 | 0.77919 | -1.4508 | 3.0822 | -0.79933 | 1.4176 | -2.2404 | -1.6271 | 0.11584 | 2.4067 | 1.609 | -0.12331 | 132.1795 | -56.5853 | -51.2404 | -47.8401 | 123.4318 | 128.8092 |  | 0.69907 | 1.0627 | 0.99907 | 0.77118 | 1.0634 | 0.98214 | -8.5483 | -120.9963 | 124.1944 | -9.8564 | -120.1502 | 123.8375
Line_2 | 0.076248 | 0.13444 | 0.11714 | 0.076869 | 0.13382 | 0.11653 | 0.88044 | 1.5524 | 1.3526 | 0.88761 | 1.5452 | 1.3456 | -0.55733 | 0.4684 | -1.2017 | 0.54154 | -0.40155 | 1.2501 | -0.4202 | -1.5781 | 0.4431 | 0.41867 | 1.5933 | -0.42848 | 132.4253 | -44.3046 | -37.2913 | -47.5643 | 135.7046 | 142.7565 |  | 0.79277 | 1.0604 | 0.94691 | 0.77118 | 1.0634 | 0.98214 | -10.5604 | -117.7731 | 122.4689 | -9.8564 | -120.1502 | 123.8375
Line_3 | 0.36192 | 0.032653 | 0.030928 | 0.36257 | 0.032369 | 0.030638 | 4.1791 | 0.37705 | 0.35712 | 4.1866 | 0.37376 | 0.35378 | -2.2597 | 0.39989 | -0.17266 | 2.6392 | -0.39632 | 0.16532 | -1.8517 | -0.025313 | -0.31223 | 2.0127 | -0.0044615 | 0.29137 | 132.1197 | -117.3744 | -116.8632 | -47.8906 | 61.5819 | 62.039 |  | 0.69907 | 1.0627 | 0.99907 | 0.79277 | 1.0604 | 0.94691 | -8.5483 | -120.9963 | 124.1944 | -10.5604 | -117.7731 | 122.4689

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53532 | 3.0557 | 3.2703 | 0.53741 | 3.0558 | 3.2699 | 6.1813 | 35.2839 | 37.7619 | 6.2054 | 35.2848 | 37.7571 | -1.627 | 9.586 | 8.9259 | 1.7746 | -4.7368 | -3.357 | 8.7011 | 7.6742 | 13.1994 | -8.566 | -2.1494 | -6.9048 | -96.7226 | -167.6138 | 21.284 | 83.3458 | 12.4272 | -158.7536 |  | 1.432 | 0.34802 | 0.42196 | 1.4097 | 0.14742 | 0.20334 | 3.869 | -128.9346 | 77.2161 | 5.05 | -143.1662 | 85.318
Line_1 | 0.28754 | 2.3288 | 2.4443 | 0.28538 | 2.3288 | 2.445 | 3.3202 | 26.8903 | 28.2243 | 3.2953 | 26.8904 | 28.2327 | 1.1952 | 5.9635e-11 | 8.2481e-11 | -1.2741 | 3.4324 | 2.9178 | -4.5732 | -5.3616e-11 | -2.4942e-12 | 4.4673 | 1.9833 | 4.9441 | 79.2702 | 6.8698 | -154.1849 | -100.8684 | -173.1859 | 25.8654 |  | 1.4236 | 0 | 0 | 1.4097 | 0.14742 | 0.20334 | 3.9168 | 0 | 0 | 5.05 | -143.1662 | 85.318
Line_2 | 0.25569 | 0.77306 | 0.85596 | 0.25366 | 0.77249 | 0.85574 | 2.9525 | 8.9265 | 9.8838 | 2.929 | 8.9199 | 9.8812 | 0.6544 | -1.0243 | 0.16761 | -0.50048 | 1.3044 | 0.4392 | -4.0059 | 0.65207 | -1.9928 | 4.0986 | 0.16611 | 1.9607 | 88.2184 | 29.7275 | -172.1967 | -91.9118 | -150.4234 | 7.944 |  | 1.3748 | 0.13603 | 0.20233 | 1.4097 | 0.14742 | 0.20334 | 7.4962 | 177.2464 | 102.6111 | 5.05 | -143.1662 | 85.318
Line_3 | 0.053184 | 1.6437 | 1.6513 | 0.052434 | 1.6442 | 1.6522 | 0.61411 | 18.9798 | 19.0679 | 0.60545 | 18.9859 | 19.0783 | 0.77376 | 4.8278e-11 | 5.4739e-11 | -0.77207 | 2.5822 | 1.4747 | -0.40703 | -2.9547e-11 | -1.056e-11 | 0.31101 | 0.042428 | 3.5673 | 31.6629 | -3.6211 | -144.9974 | -150.5626 | 176.305 | 35.0715 |  | 1.4236 | 0 | 0 | 1.3748 | 0.13603 | 0.20233 | 3.9168 | 0 | 0 | 7.4962 | 177.2464 | 102.6111

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53532 | 3.0557 | 3.2703 | 0.53741 | 3.0558 | 3.2699 | 6.1813 | 35.2839 | 37.7619 | 6.2054 | 35.2848 | 37.7571 | -1.627 | 9.586 | 8.9259 | 1.7746 | -4.7368 | -3.357 | 8.7011 | 7.6742 | 13.1994 | -8.566 | -2.1494 | -6.9048 | -96.7226 | -167.6138 | 21.284 | 83.3458 | 12.4272 | -158.7536 |  | 1.432 | 0.34802 | 0.42196 | 1.4097 | 0.14742 | 0.20334 | 3.869 | -128.9346 | 77.2161 | 5.05 | -143.1662 | 85.318
Line_1 | 0.28754 | 2.3288 | 2.4443 | 0.28538 | 2.3288 | 2.445 | 3.3202 | 26.8903 | 28.2243 | 3.2953 | 26.8904 | 28.2327 | 1.1952 | 5.9635e-11 | 8.2481e-11 | -1.2741 | 3.4324 | 2.9178 | -4.5732 | -5.3616e-11 | -2.4942e-12 | 4.4673 | 1.9833 | 4.9441 | 79.2702 | 6.8698 | -154.1849 | -100.8684 | -173.1859 | 25.8654 |  | 1.4236 | 0 | 0 | 1.4097 | 0.14742 | 0.20334 | 3.9168 | 0 | 0 | 5.05 | -143.1662 | 85.318
Line_2 | 0.25569 | 0.77306 | 0.85596 | 0.25366 | 0.77249 | 0.85574 | 2.9525 | 8.9265 | 9.8838 | 2.929 | 8.9199 | 9.8812 | 0.6544 | -1.0243 | 0.16761 | -0.50048 | 1.3044 | 0.4392 | -4.0059 | 0.65207 | -1.9928 | 4.0986 | 0.16611 | 1.9607 | 88.2184 | 29.7275 | -172.1967 | -91.9118 | -150.4234 | 7.944 |  | 1.3748 | 0.13603 | 0.20233 | 1.4097 | 0.14742 | 0.20334 | 7.4962 | 177.2464 | 102.6111 | 5.05 | -143.1662 | 85.318
Line_3 | 0.053184 | 1.6437 | 1.6513 | 0.052434 | 1.6442 | 1.6522 | 0.61411 | 18.9798 | 19.0679 | 0.60545 | 18.9859 | 19.0783 | 0.77376 | 4.8278e-11 | 5.4739e-11 | -0.77207 | 2.5822 | 1.4747 | -0.40703 | -2.9547e-11 | -1.056e-11 | 0.31101 | 0.042428 | 3.5673 | 31.6629 | -3.6211 | -144.9974 | -150.5626 | 176.305 | 35.0715 |  | 1.4236 | 0 | 0 | 1.3748 | 0.13603 | 0.20233 | 3.9168 | 0 | 0 | 7.4962 | 177.2464 | 102.6111

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.067147 | 0.7177 | 0.69346 | 0.067819 | 0.71785 | 0.69324 | 0.77535 | 8.2873 | 8.0073 | 0.78311 | 8.2891 | 8.0048 | 0.85545 | 7.3316 | 3.9668 | -0.8586 | -7.0671 | -3.708 | 0.43031 | 1.7089 | 6.8987 | -0.43777 | -1.3962 | -6.6182 | -23.179 | -136.8682 | 48.2189 | 156.4335 | 43.1955 | -131.8457 |  | 1.235 | 0.9084 | 0.99382 | 1.2307 | 0.86906 | 0.9477 | 3.5246 | -123.748 | 108.3196 | 3.4493 | -125.6285 | 108.8935
Line_1 | 0.03335 | 0.56672 | 0.57168 | 0.032557 | 0.56669 | 0.57204 | 0.3851 | 6.5439 | 6.6012 | 0.37593 | 6.5436 | 6.6053 | -0.34053 | -5.0011 | -3.4568 | 0.32872 | 5.2162 | 3.6327 | -0.33662 | -2.1801 | -4.7822 | 0.32556 | 2.265 | 5.098 | 138.2417 | 30.9844 | -125.7098 | -41.2735 | -149.1006 | 54.3665 |  | 1.2434 | 0.8337 | 0.89389 | 1.2307 | 0.86906 | 0.9477 | 2.9106 | -125.4619 | 108.4292 | 3.4493 | -125.6285 | 108.8935
Line_2 | 0.03867 | 0.20429 | 0.13929 | 0.038114 | 0.20375 | 0.13909 | 0.44653 | 2.3589 | 1.6084 | 0.4401 | 2.3527 | 1.6061 | -0.52734 | -1.813 | -0.039618 | 0.52987 | 1.8509 | 0.075278 | -0.1244 | 0.9424 | -1.537 | 0.11222 | -0.8688 | 1.5202 | 170.6636 | 79.6773 | -158.5847 | -8.5082 | -100.4829 | 21.7284 |  | 1.2134 | 0.86618 | 0.95597 | 1.2307 | 0.86906 | 0.9477 | 3.9372 | -127.7889 | 109.9388 | 3.4493 | -125.6285 | 108.8935
Line_3 | 0.020816 | 0.45814 | 0.46079 | 0.02057 | 0.45843 | 0.46121 | 0.24036 | 5.2901 | 5.3207 | 0.23752 | 5.2935 | 5.3256 | 0.19873 | -3.2217 | -3.3782 | -0.20326 | 3.4688 | 3.526 | -0.22321 | -3.0121 | -3.3479 | 0.20433 | 2.9985 | 3.6724 | 51.2305 | 11.4643 | -116.3125 | -130.9121 | -168.6304 | 63.7738 |  | 1.2434 | 0.8337 | 0.89389 | 1.2134 | 0.86618 | 0.95597 | 2.9106 | -125.4619 | 108.4292 | 3.9372 | -127.7889 | 109.9388

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.067147 | 0.7177 | 0.69346 | 0.067819 | 0.71785 | 0.69324 | 0.77535 | 8.2873 | 8.0073 | 0.78311 | 8.2891 | 8.0048 | 0.85545 | 7.3316 | 3.9668 | -0.8586 | -7.0671 | -3.708 | 0.43031 | 1.7089 | 6.8987 | -0.43777 | -1.3962 | -6.6182 | -23.179 | -136.8682 | 48.2189 | 156.4335 | 43.1955 | -131.8457 |  | 1.235 | 0.9084 | 0.99382 | 1.2307 | 0.86906 | 0.9477 | 3.5246 | -123.748 | 108.3196 | 3.4493 | -125.6285 | 108.8935
Line_1 | 0.03335 | 0.56672 | 0.57168 | 0.032557 | 0.56669 | 0.57204 | 0.3851 | 6.5439 | 6.6012 | 0.37593 | 6.5436 | 6.6053 | -0.34053 | -5.0011 | -3.4568 | 0.32872 | 5.2162 | 3.6327 | -0.33662 | -2.1801 | -4.7822 | 0.32556 | 2.265 | 5.098 | 138.2417 | 30.9844 | -125.7098 | -41.2735 | -149.1006 | 54.3665 |  | 1.2434 | 0.8337 | 0.89389 | 1.2307 | 0.86906 | 0.9477 | 2.9106 | -125.4619 | 108.4292 | 3.4493 | -125.6285 | 108.8935
Line_2 | 0.03867 | 0.20429 | 0.13929 | 0.038114 | 0.20375 | 0.13909 | 0.44653 | 2.3589 | 1.6084 | 0.4401 | 2.3527 | 1.6061 | -0.52734 | -1.813 | -0.039618 | 0.52987 | 1.8509 | 0.075278 | -0.1244 | 0.9424 | -1.537 | 0.11222 | -0.8688 | 1.5202 | 170.6636 | 79.6773 | -158.5847 | -8.5082 | -100.4829 | 21.7284 |  | 1.2134 | 0.86618 | 0.95597 | 1.2307 | 0.86906 | 0.9477 | 3.9372 | -127.7889 | 109.9388 | 3.4493 | -125.6285 | 108.8935
Line_3 | 0.020816 | 0.45814 | 0.46079 | 0.02057 | 0.45843 | 0.46121 | 0.24036 | 5.2901 | 5.3207 | 0.23752 | 5.2935 | 5.3256 | 0.19873 | -3.2217 | -3.3782 | -0.20326 | 3.4688 | 3.526 | -0.22321 | -3.0121 | -3.3479 | 0.20433 | 2.9985 | 3.6724 | 51.2305 | 11.4643 | -116.3125 | -130.9121 | -168.6304 | 63.7738 |  | 1.2434 | 0.8337 | 0.89389 | 1.2134 | 0.86618 | 0.95597 | 2.9106 | -125.4619 | 108.4292 | 3.9372 | -127.7889 | 109.9388

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61603 | 2.4804 | 2.6783 | 0.61775 | 2.4806 | 2.6778 | 7.1133 | 28.6412 | 30.9266 | 7.1331 | 28.643 | 30.9204 | 0.85541 | 11.8432 | 12.0232 | -0.47701 | -5.7029 | -4.8586 | 8.5604 | 3.7483 | 10.1101 | -8.3583 | -0.099 | -5.8962 | -80.305 | -158.1866 | 34.8092 | 99.7144 | 21.8531 | -145.2259 |  | 1.2094 | 0.43372 | 0.50794 | 1.1737 | 0.19913 | 0.24709 | 3.9886 | -140.6245 | 74.869 | 6.4481 | -157.1523 | 85.285
Line_1 | 0.3328 | 1.8957 | 1.985 | 0.33097 | 1.8955 | 1.9858 | 3.8428 | 21.8894 | 22.9206 | 3.8217 | 21.8874 | 22.9306 | 0.10099 | -6.7143e-11 | -2.8584e-11 | -0.23647 | 4.3252 | 3.8532 | -4.625 | -4.4824e-11 | -8.0732e-11 | 4.4791 | 0.5376 | 4.1539 | 93.4639 | 15.818 | -141.9123 | -86.574 | -164.2376 | 38.1348 |  | 1.2038 | 0 | 0 | 1.1737 | 0.19913 | 0.24709 | 4.7148 | 0 | 0 | 6.4481 | -157.1523 | 85.285
Line_2 | 0.29266 | 0.62925 | 0.705 | 0.29104 | 0.62879 | 0.70503 | 3.3793 | 7.2659 | 8.1406 | 3.3606 | 7.2606 | 8.141 | -0.38193 | -0.97969 | -0.33023 | 0.71348 | 1.3777 | 1.0053 | -3.7399 | 1.2685 | -2.0918 | 3.8792 | -0.4386 | 1.7423 | 106.9102 | 40.6497 | -154.8628 | -73.1302 | -139.4929 | 25.2699 |  | 1.1125 | 0.22059 | 0.26014 | 1.1737 | 0.19913 | 0.24709 | 11.0791 | 168.3289 | 106.166 | 6.4481 | -157.1523 | 85.285
Line_3 | 0.083463 | 1.3503 | 1.3073 | 0.08282 | 1.3507 | 1.3081 | 0.96375 | 15.5924 | 15.0957 | 0.95632 | 15.5967 | 15.1051 | 0.9553 | -4.0678e-11 | -2.5083e-11 | -0.94703 | 3.3045 | 1.8988 | -0.65834 | -4.0649e-11 | -5.0521e-11 | 0.4847 | -0.95783 | 3.4403 | 39.2873 | 4.5652 | -135.0054 | -141.817 | -175.5064 | 45.0613 |  | 1.2038 | 0 | 0 | 1.1125 | 0.22059 | 0.26014 | 4.7148 | 0 | 0 | 11.0791 | 168.3289 | 106.166

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61603 | 2.4804 | 2.6783 | 0.61775 | 2.4806 | 2.6778 | 7.1133 | 28.6412 | 30.9266 | 7.1331 | 28.643 | 30.9204 | 0.85541 | 11.8432 | 12.0232 | -0.47701 | -5.7029 | -4.8586 | 8.5604 | 3.7483 | 10.1101 | -8.3583 | -0.099 | -5.8962 | -80.305 | -158.1866 | 34.8092 | 99.7144 | 21.8531 | -145.2259 |  | 1.2094 | 0.43372 | 0.50794 | 1.1737 | 0.19913 | 0.24709 | 3.9886 | -140.6245 | 74.869 | 6.4481 | -157.1523 | 85.285
Line_1 | 0.3328 | 1.8957 | 1.985 | 0.33097 | 1.8955 | 1.9858 | 3.8428 | 21.8894 | 22.9206 | 3.8217 | 21.8874 | 22.9306 | 0.10099 | -6.7143e-11 | -2.8584e-11 | -0.23647 | 4.3252 | 3.8532 | -4.625 | -4.4824e-11 | -8.0732e-11 | 4.4791 | 0.5376 | 4.1539 | 93.4639 | 15.818 | -141.9123 | -86.574 | -164.2376 | 38.1348 |  | 1.2038 | 0 | 0 | 1.1737 | 0.19913 | 0.24709 | 4.7148 | 0 | 0 | 6.4481 | -157.1523 | 85.285
Line_2 | 0.29266 | 0.62925 | 0.705 | 0.29104 | 0.62879 | 0.70503 | 3.3793 | 7.2659 | 8.1406 | 3.3606 | 7.2606 | 8.141 | -0.38193 | -0.97969 | -0.33023 | 0.71348 | 1.3777 | 1.0053 | -3.7399 | 1.2685 | -2.0918 | 3.8792 | -0.4386 | 1.7423 | 106.9102 | 40.6497 | -154.8628 | -73.1302 | -139.4929 | 25.2699 |  | 1.1125 | 0.22059 | 0.26014 | 1.1737 | 0.19913 | 0.24709 | 11.0791 | 168.3289 | 106.166 | 6.4481 | -157.1523 | 85.285
Line_3 | 0.083463 | 1.3503 | 1.3073 | 0.08282 | 1.3507 | 1.3081 | 0.96375 | 15.5924 | 15.0957 | 0.95632 | 15.5967 | 15.1051 | 0.9553 | -4.0678e-11 | -2.5083e-11 | -0.94703 | 3.3045 | 1.8988 | -0.65834 | -4.0649e-11 | -5.0521e-11 | 0.4847 | -0.95783 | 3.4403 | 39.2873 | 4.5652 | -135.0054 | -141.817 | -175.5064 | 45.0613 |  | 1.2038 | 0 | 0 | 1.1125 | 0.22059 | 0.26014 | 4.7148 | 0 | 0 | 11.0791 | 168.3289 | 106.166

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22593 | 0.68625 | 0.73665 | 0.22656 | 0.68626 | 0.73645 | 2.6089 | 7.9242 | 8.5061 | 2.6161 | 7.9242 | 8.5038 | 1.3269 | 6.1282 | 4.2642 | -1.2794 | -5.6601 | -3.7169 | 2.4368 | 2.2121 | 6.1901 | -2.413 | -1.9276 | -5.8731 | -58.774 | -144.954 | 52.8659 | 121.2356 | 35.0982 | -127.1803 |  | 1.0636 | 0.8222 | 0.88369 | 1.044 | 0.75457 | 0.81733 | 2.6569 | -125.1058 | 108.3039 | 3.3033 | -126.0952 | 110.491
Line_1 | 0.12138 | 0.53272 | 0.54797 | 0.12071 | 0.53273 | 0.5483 | 1.4015 | 6.1514 | 6.3274 | 1.3938 | 6.1514 | 6.3312 | -0.55706 | -3.8004 | -2.8205 | 0.53469 | 4.1725 | 3.1225 | -1.3746 | -2.0137 | -3.767 | 1.3534 | 2.0335 | 4.1264 | 114.8804 | 27.9943 | -122.4552 | -65.1387 | -152.0776 | 57.6057 |  | 1.0583 | 0.69919 | 0.74373 | 1.044 | 0.75457 | 0.81733 | 2.8206 | -124.088 | 110.7213 | 3.3033 | -126.0952 | 110.491
Line_2 | 0.10803 | 0.17133 | 0.19552 | 0.10744 | 0.17116 | 0.19549 | 1.2474 | 1.9783 | 2.2577 | 1.2406 | 1.9764 | 2.2574 | -0.7029 | -1.4596 | -0.52901 | 0.74469 | 1.4876 | 0.59444 | -1.0457 | 0.18669 | -1.7891 | 1.0597 | -0.10591 | 1.7466 | 128.4218 | 58.1672 | -140.8868 | -51.5988 | -122.023 | 39.2863 |  | 1.0101 | 0.74382 | 0.82633 | 1.044 | 0.75457 | 0.81733 | 4.5141 | -129.1216 | 112.6405 | 3.3033 | -126.0952 | 110.491
Line_3 | 0.030158 | 0.39397 | 0.36763 | 0.029915 | 0.39418 | 0.36796 | 0.34823 | 4.5492 | 4.245 | 0.34543 | 4.5516 | 4.2489 | 0.20885 | -2.4185 | -2.2886 | -0.21152 | 2.7543 | 2.4662 | -0.30363 | -2.0659 | -2.1748 | 0.2775 | 1.9687 | 2.4989 | 58.2981 | 15.4082 | -112.8192 | -122.8011 | -164.6774 | 67.2632 |  | 1.0583 | 0.69919 | 0.74373 | 1.0101 | 0.74382 | 0.82633 | 2.8206 | -124.088 | 110.7213 | 4.5141 | -129.1216 | 112.6405

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22593 | 0.68625 | 0.73665 | 0.22656 | 0.68626 | 0.73645 | 2.6089 | 7.9242 | 8.5061 | 2.6161 | 7.9242 | 8.5038 | 1.3269 | 6.1282 | 4.2642 | -1.2794 | -5.6601 | -3.7169 | 2.4368 | 2.2121 | 6.1901 | -2.413 | -1.9276 | -5.8731 | -58.774 | -144.954 | 52.8659 | 121.2356 | 35.0982 | -127.1803 |  | 1.0636 | 0.8222 | 0.88369 | 1.044 | 0.75457 | 0.81733 | 2.6569 | -125.1058 | 108.3039 | 3.3033 | -126.0952 | 110.491
Line_1 | 0.12138 | 0.53272 | 0.54797 | 0.12071 | 0.53273 | 0.5483 | 1.4015 | 6.1514 | 6.3274 | 1.3938 | 6.1514 | 6.3312 | -0.55706 | -3.8004 | -2.8205 | 0.53469 | 4.1725 | 3.1225 | -1.3746 | -2.0137 | -3.767 | 1.3534 | 2.0335 | 4.1264 | 114.8804 | 27.9943 | -122.4552 | -65.1387 | -152.0776 | 57.6057 |  | 1.0583 | 0.69919 | 0.74373 | 1.044 | 0.75457 | 0.81733 | 2.8206 | -124.088 | 110.7213 | 3.3033 | -126.0952 | 110.491
Line_2 | 0.10803 | 0.17133 | 0.19552 | 0.10744 | 0.17116 | 0.19549 | 1.2474 | 1.9783 | 2.2577 | 1.2406 | 1.9764 | 2.2574 | -0.7029 | -1.4596 | -0.52901 | 0.74469 | 1.4876 | 0.59444 | -1.0457 | 0.18669 | -1.7891 | 1.0597 | -0.10591 | 1.7466 | 128.4218 | 58.1672 | -140.8868 | -51.5988 | -122.023 | 39.2863 |  | 1.0101 | 0.74382 | 0.82633 | 1.044 | 0.75457 | 0.81733 | 4.5141 | -129.1216 | 112.6405 | 3.3033 | -126.0952 | 110.491
Line_3 | 0.030158 | 0.39397 | 0.36763 | 0.029915 | 0.39418 | 0.36796 | 0.34823 | 4.5492 | 4.245 | 0.34543 | 4.5516 | 4.2489 | 0.20885 | -2.4185 | -2.2886 | -0.21152 | 2.7543 | 2.4662 | -0.30363 | -2.0659 | -2.1748 | 0.2775 | 1.9687 | 2.4989 | 58.2981 | 15.4082 | -112.8192 | -122.8011 | -164.6774 | 67.2632 |  | 1.0583 | 0.69919 | 0.74373 | 1.0101 | 0.74382 | 0.82633 | 2.8206 | -124.088 | 110.7213 | 4.5141 | -129.1216 | 112.6405