## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7335 | 0.82182 | 0.39063 | 2.7329 | 0.82241 | 0.39137 | 31.5643 | 9.4896 | 4.5106 | 31.557 | 9.4964 | 4.5191 | 17.3667 | -9.2946 | 4.5263 | -8.1276 | 10.36 | -4.6167 | 15.0405 | -2.2606 | 2.2597 | -5.9843 | 0.64378 | -3.1743 | -55.5029 | 56.087 | 84.5525 | 124.5052 | -123.8819 | -95.4315 |  | 0.72786 | 1.008 | 1.1216 | 0.31984 | 1.093 | 1.2398 | -14.6086 | -110.2432 | 111.0828 | -19.1305 | -120.326 | 119.0799
Line_1 | 2.1337 | 0.44903 | 0.22403 | 2.1352 | 0.44732 | 0.22212 | 24.6374 | 5.1849 | 2.5869 | 24.6548 | 5.1652 | 2.5648 | 8.6657e-11 | 5.8878 | -2.558 | 6.047 | -5.6312 | 2.4395 | -1.1393e-10 | -0.39609 | -2.4689 | 5.0611 | -0.40596 | 2.0396 | 120.9732 | -124.3373 | -100.7873 | -59.0587 | 55.5505 | 79.1815 |  | 0 | 1.1381 | 1.3743 | 0.31984 | 1.093 | 1.2398 | 0 | -128.186 | 123.1977 | -19.1305 | -120.326 | 119.0799
Line_2 | 0.61524 | 0.37644 | 0.17307 | 0.61634 | 0.37514 | 0.1715 | 7.1042 | 4.3468 | 1.9985 | 7.1168 | 4.3318 | 1.9804 | -1.6894 | 5.0395 | -2.1395 | 2.0806 | -4.7288 | 2.1773 | -0.2959 | 0.15333 | -1.2448 | 0.92322 | -0.23782 | 1.1347 | 137.0462 | -123.0706 | -88.4525 | -43.0589 | 56.7949 | 91.5524 |  | 0.24143 | 1.1599 | 1.2386 | 0.31984 | 1.093 | 1.2398 | -33.0195 | -121.3278 | 121.7397 | -19.1305 | -120.326 | 119.0799
Line_3 | 1.551 | 0.073771 | 0.066812 | 1.5528 | 0.072106 | 0.065234 | 17.9098 | 0.85184 | 0.77148 | 17.9307 | 0.83261 | 0.75326 | 7.1688e-11 | 0.96878 | -0.232 | 3.6577 | -0.95095 | 0.20873 | -7.5418e-11 | 0.03737 | -1.0345 | 2.3154 | -0.16836 | 0.90931 | 114.6829 | -130.395 | -134.1628 | -65.3542 | 48.6324 | 44.6678 |  | 0 | 1.1381 | 1.3743 | 0.24143 | 1.1599 | 1.2386 | 0 | -128.186 | 123.1977 | -33.0195 | -121.3278 | 121.7397

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7335 | 0.82182 | 0.39063 | 2.7329 | 0.82241 | 0.39137 | 31.5643 | 9.4896 | 4.5106 | 31.557 | 9.4964 | 4.5191 | 17.3667 | -9.2946 | 4.5263 | -8.1276 | 10.36 | -4.6167 | 15.0405 | -2.2606 | 2.2597 | -5.9843 | 0.64378 | -3.1743 | -55.5029 | 56.087 | 84.5525 | 124.5052 | -123.8819 | -95.4315 |  | 0.72786 | 1.008 | 1.1216 | 0.31984 | 1.093 | 1.2398 | -14.6086 | -110.2432 | 111.0828 | -19.1305 | -120.326 | 119.0799
Line_1 | 2.1337 | 0.44903 | 0.22403 | 2.1352 | 0.44732 | 0.22212 | 24.6374 | 5.1849 | 2.5869 | 24.6548 | 5.1652 | 2.5648 | 8.6657e-11 | 5.8878 | -2.558 | 6.047 | -5.6312 | 2.4395 | -1.1393e-10 | -0.39609 | -2.4689 | 5.0611 | -0.40596 | 2.0396 | 120.9732 | -124.3373 | -100.7873 | -59.0587 | 55.5505 | 79.1815 |  | 0 | 1.1381 | 1.3743 | 0.31984 | 1.093 | 1.2398 | 0 | -128.186 | 123.1977 | -19.1305 | -120.326 | 119.0799
Line_2 | 0.61524 | 0.37644 | 0.17307 | 0.61634 | 0.37514 | 0.1715 | 7.1042 | 4.3468 | 1.9985 | 7.1168 | 4.3318 | 1.9804 | -1.6894 | 5.0395 | -2.1395 | 2.0806 | -4.7288 | 2.1773 | -0.2959 | 0.15333 | -1.2448 | 0.92322 | -0.23782 | 1.1347 | 137.0462 | -123.0706 | -88.4525 | -43.0589 | 56.7949 | 91.5524 |  | 0.24143 | 1.1599 | 1.2386 | 0.31984 | 1.093 | 1.2398 | -33.0195 | -121.3278 | 121.7397 | -19.1305 | -120.326 | 119.0799
Line_3 | 1.551 | 0.073771 | 0.066812 | 1.5528 | 0.072106 | 0.065234 | 17.9098 | 0.85184 | 0.77148 | 17.9307 | 0.83261 | 0.75326 | 7.1688e-11 | 0.96878 | -0.232 | 3.6577 | -0.95095 | 0.20873 | -7.5418e-11 | 0.03737 | -1.0345 | 2.3154 | -0.16836 | 0.90931 | 114.6829 | -130.395 | -134.1628 | -65.3542 | 48.6324 | 44.6678 |  | 0 | 1.1381 | 1.3743 | 0.24143 | 1.1599 | 1.2386 | 0 | -128.186 | 123.1977 | -33.0195 | -121.3278 | 121.7397

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67002 | 0.2868 | 0.15867 | 0.66985 | 0.28685 | 0.15874 | 7.7367 | 3.3117 | 1.8321 | 7.7348 | 3.3123 | 1.833 | 7.3472 | -3.2098 | 0.98562 | -6.6814 | 3.4351 | -1.0943 | 3.3455 | -1.668 | -1.8671 | -2.8212 | 1.5978 | 1.8774 | -28.8528 | 34.7697 | 180 | 151.1594 | -145.1889 | -0.073162 |  | 1.0435 | 1.0923 | 1.1524 | 0.93765 | 1.1438 | 1.1855 | -4.3713 | -117.7712 | 117.8285 | -5.9486 | -120.2432 | 120.1641
Line_1 | 0.5501 | 0.15363 | 0.074789 | 0.5505 | 0.15338 | 0.074641 | 6.352 | 1.774 | 0.86359 | 6.3566 | 1.771 | 0.86188 | -4.6615 | 1.9485 | -0.65061 | 5.1107 | -1.8684 | 0.60216 | -2.7338 | 0.72516 | 0.82873 | 3.0669 | -0.78248 | -0.82551 | 143.1234 | -142.7835 | -6.3543 | -36.9166 | 37.0332 | 174.0559 |  | 0.85076 | 1.172 | 1.22 | 0.93765 | 1.1438 | 1.1855 | -6.4861 | -122.3702 | 121.7801 | -5.9486 | -120.2432 | 120.1641
Line_2 | 0.14672 | 0.13384 | 0.084932 | 0.14683 | 0.13373 | 0.084833 | 1.6942 | 1.5455 | 0.98071 | 1.6955 | 1.5441 | 0.97957 | -1.5324 | 1.6077 | -0.50928 | 1.5707 | -1.5667 | 0.49215 | 0.28028 | 0.82408 | 1.0452 | -0.2457 | -0.81536 | -1.0519 | -176.8862 | -147.5495 | 4.791 | 2.9421 | 32.2624 | -174.9096 |  | 0.91953 | 1.169 | 1.1855 | 0.93765 | 1.1438 | 1.1855 | -7.2509 | -120.4111 | 120.7701 | -5.9486 | -120.2432 | 120.1641
Line_3 | 0.44749 | 0.023287 | 0.018655 | 0.44802 | 0.022803 | 0.018239 | 5.1672 | 0.26889 | 0.21541 | 5.1733 | 0.26331 | 0.21061 | -3.2392 | 0.31144 | -0.11109 | 3.5458 | -0.30615 | 0.10422 | -2.972 | -0.048143 | -0.23817 | 3.1712 | 0.031883 | 0.22688 | 130.9774 | -113.5827 | -123.2147 | -49.0595 | 65.5345 | 55.4414 |  | 0.85076 | 1.172 | 1.22 | 0.91953 | 1.169 | 1.1855 | -6.4861 | -122.3702 | 121.7801 | -7.2509 | -120.4111 | 120.7701

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67002 | 0.2868 | 0.15867 | 0.66985 | 0.28685 | 0.15874 | 7.7367 | 3.3117 | 1.8321 | 7.7348 | 3.3123 | 1.833 | 7.3472 | -3.2098 | 0.98562 | -6.6814 | 3.4351 | -1.0943 | 3.3455 | -1.668 | -1.8671 | -2.8212 | 1.5978 | 1.8774 | -28.8528 | 34.7697 | 180 | 151.1594 | -145.1889 | -0.073162 |  | 1.0435 | 1.0923 | 1.1524 | 0.93765 | 1.1438 | 1.1855 | -4.3713 | -117.7712 | 117.8285 | -5.9486 | -120.2432 | 120.1641
Line_1 | 0.5501 | 0.15363 | 0.074789 | 0.5505 | 0.15338 | 0.074641 | 6.352 | 1.774 | 0.86359 | 6.3566 | 1.771 | 0.86188 | -4.6615 | 1.9485 | -0.65061 | 5.1107 | -1.8684 | 0.60216 | -2.7338 | 0.72516 | 0.82873 | 3.0669 | -0.78248 | -0.82551 | 143.1234 | -142.7835 | -6.3543 | -36.9166 | 37.0332 | 174.0559 |  | 0.85076 | 1.172 | 1.22 | 0.93765 | 1.1438 | 1.1855 | -6.4861 | -122.3702 | 121.7801 | -5.9486 | -120.2432 | 120.1641
Line_2 | 0.14672 | 0.13384 | 0.084932 | 0.14683 | 0.13373 | 0.084833 | 1.6942 | 1.5455 | 0.98071 | 1.6955 | 1.5441 | 0.97957 | -1.5324 | 1.6077 | -0.50928 | 1.5707 | -1.5667 | 0.49215 | 0.28028 | 0.82408 | 1.0452 | -0.2457 | -0.81536 | -1.0519 | -176.8862 | -147.5495 | 4.791 | 2.9421 | 32.2624 | -174.9096 |  | 0.91953 | 1.169 | 1.1855 | 0.93765 | 1.1438 | 1.1855 | -7.2509 | -120.4111 | 120.7701 | -5.9486 | -120.2432 | 120.1641
Line_3 | 0.44749 | 0.023287 | 0.018655 | 0.44802 | 0.022803 | 0.018239 | 5.1672 | 0.26889 | 0.21541 | 5.1733 | 0.26331 | 0.21061 | -3.2392 | 0.31144 | -0.11109 | 3.5458 | -0.30615 | 0.10422 | -2.972 | -0.048143 | -0.23817 | 3.1712 | 0.031883 | 0.22688 | 130.9774 | -113.5827 | -123.2147 | -49.0595 | 65.5345 | 55.4414 |  | 0.85076 | 1.172 | 1.22 | 0.91953 | 1.169 | 1.1855 | -6.4861 | -122.3702 | 121.7801 | -7.2509 | -120.4111 | 120.7701

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.887 | 0.72553 | 0.57758 | 1.8865 | 0.72614 | 0.57819 | 21.7893 | 8.3777 | 6.6693 | 21.783 | 8.3848 | 6.6764 | 12.7698 | -6.5968 | 6.3979 | -6.4114 | 7.0872 | -6.1513 | 9.1176 | 3.1152 | 1.9496 | -3.5569 | -4.5201 | -3.1151 | -49.7811 | 92.5557 | 94.5449 | 130.2278 | -87.4364 | -85.4473 |  | 0.72011 | 0.8708 | 1.0029 | 0.33659 | 1.0025 | 1.0328 | -14.2544 | -112.7221 | 111.4918 | -20.7518 | -119.9655 | 121.4112
Line_1 | 1.5075 | 0.40436 | 0.32774 | 1.5089 | 0.40265 | 0.32603 | 17.407 | 4.6691 | 3.7845 | 17.4231 | 4.6494 | 3.7647 | -4.0043e-11 | 4.055 | -3.3992 | 4.9448 | -4.127 | 3.2727 | 8.7751e-12 | -2.9081 | -2.7133 | 3.1529 | 2.1665 | 2.099 | 126.7641 | -92.2535 | -91.2515 | -53.274 | 87.7327 | 88.7367 |  | 0 | 1.0687 | 1.1493 | 0.33659 | 1.0025 | 1.0328 | 0 | -127.8998 | 127.3453 | -20.7518 | -119.9655 | 121.4112
Line_2 | 0.39035 | 0.328 | 0.2573 | 0.3914 | 0.32669 | 0.25598 | 4.5074 | 3.7874 | 2.971 | 4.5195 | 3.7723 | 2.9558 | -1.3806 | 3.309 | -2.6538 | 1.4666 | -2.9602 | 2.8785 | 0.007521 | -2.447 | -1.1062 | 0.404 | 2.3535 | 1.0161 | 143.9649 | -81.4471 | -78.009 | -36.1531 | 98.5214 | 101.9683 |  | 0.3063 | 1.0866 | 0.96772 | 0.33659 | 1.0025 | 1.0328 | -36.3472 | -117.9296 | 124.6198 | -20.7518 | -119.9655 | 121.4112
Line_3 | 1.1397 | 0.10298 | 0.097548 | 1.1414 | 0.10174 | 0.096292 | 13.1605 | 1.1891 | 1.1264 | 13.1796 | 1.1748 | 1.1119 | -3.079e-11 | 1.2707 | -0.32306 | 3.7234 | -1.2509 | 0.30404 | 3.5387e-12 | 0.017853 | -1.2535 | 1.5598 | -0.25459 | 1.0321 | 120.9598 | -128.7047 | -128.2032 | -59.0766 | 50.5664 | 51.0333 |  | 0 | 1.0687 | 1.1493 | 0.3063 | 1.0866 | 0.96772 | 0 | -127.8998 | 127.3453 | -36.3472 | -117.9296 | 124.6198

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.887 | 0.72553 | 0.57758 | 1.8865 | 0.72614 | 0.57819 | 21.7893 | 8.3777 | 6.6693 | 21.783 | 8.3848 | 6.6764 | 12.7698 | -6.5968 | 6.3979 | -6.4114 | 7.0872 | -6.1513 | 9.1176 | 3.1152 | 1.9496 | -3.5569 | -4.5201 | -3.1151 | -49.7811 | 92.5557 | 94.5449 | 130.2278 | -87.4364 | -85.4473 |  | 0.72011 | 0.8708 | 1.0029 | 0.33659 | 1.0025 | 1.0328 | -14.2544 | -112.7221 | 111.4918 | -20.7518 | -119.9655 | 121.4112
Line_1 | 1.5075 | 0.40436 | 0.32774 | 1.5089 | 0.40265 | 0.32603 | 17.407 | 4.6691 | 3.7845 | 17.4231 | 4.6494 | 3.7647 | -4.0043e-11 | 4.055 | -3.3992 | 4.9448 | -4.127 | 3.2727 | 8.7751e-12 | -2.9081 | -2.7133 | 3.1529 | 2.1665 | 2.099 | 126.7641 | -92.2535 | -91.2515 | -53.274 | 87.7327 | 88.7367 |  | 0 | 1.0687 | 1.1493 | 0.33659 | 1.0025 | 1.0328 | 0 | -127.8998 | 127.3453 | -20.7518 | -119.9655 | 121.4112
Line_2 | 0.39035 | 0.328 | 0.2573 | 0.3914 | 0.32669 | 0.25598 | 4.5074 | 3.7874 | 2.971 | 4.5195 | 3.7723 | 2.9558 | -1.3806 | 3.309 | -2.6538 | 1.4666 | -2.9602 | 2.8785 | 0.007521 | -2.447 | -1.1062 | 0.404 | 2.3535 | 1.0161 | 143.9649 | -81.4471 | -78.009 | -36.1531 | 98.5214 | 101.9683 |  | 0.3063 | 1.0866 | 0.96772 | 0.33659 | 1.0025 | 1.0328 | -36.3472 | -117.9296 | 124.6198 | -20.7518 | -119.9655 | 121.4112
Line_3 | 1.1397 | 0.10298 | 0.097548 | 1.1414 | 0.10174 | 0.096292 | 13.1605 | 1.1891 | 1.1264 | 13.1796 | 1.1748 | 1.1119 | -3.079e-11 | 1.2707 | -0.32306 | 3.7234 | -1.2509 | 0.30404 | 3.5387e-12 | 0.017853 | -1.2535 | 1.5598 | -0.25459 | 1.0321 | 120.9598 | -128.7047 | -128.2032 | -59.0766 | 50.5664 | 51.0333 |  | 0 | 1.0687 | 1.1493 | 0.3063 | 1.0866 | 0.96772 | 0 | -127.8998 | 127.3453 | -36.3472 | -117.9296 | 124.6198

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59706 | 0.22957 | 0.18275 | 0.59689 | 0.22976 | 0.18294 | 6.8943 | 2.6508 | 2.1102 | 6.8923 | 2.653 | 2.1125 | 5.4341 | -1.79 | 2.1028 | -4.7967 | 1.8398 | -2.0797 | 3.3179 | 1.7721 | 0.34201 | -2.7598 | -1.9141 | -0.45865 | -36.1889 | 106.1478 | 108.137 | 143.8199 | -73.8443 | -71.8552 |  | 0.9235 | 0.9502 | 1.0096 | 0.80292 | 1.0007 | 1.0081 | -4.7823 | -118.5648 | 117.3748 | -6.2659 | -119.9786 | 120.5817
Line_1 | 0.47698 | 0.12794 | 0.1037 | 0.47742 | 0.1274 | 0.10316 | 5.5077 | 1.4774 | 1.1974 | 5.5128 | 1.4711 | 1.1912 | -3.1981 | 1.1015 | -1.1574 | 3.6946 | -1.1059 | 1.1405 | -2.1179 | -1.0493 | -0.43833 | 2.4376 | 0.9717 | 0.37613 | 140.3562 | -78.6614 | -77.6594 | -39.6819 | 101.3248 | 102.3288 |  | 0.69643 | 1.0297 | 1.0336 | 0.80292 | 1.0007 | 1.0081 | -6.1292 | -122.2718 | 123.0829 | -6.2659 | -119.9786 | 120.5817
Line_2 | 0.12351 | 0.10378 | 0.081411 | 0.12384 | 0.10337 | 0.080994 | 1.4262 | 1.1984 | 0.94005 | 1.43 | 1.1936 | 0.93524 | -1.0915 | 0.77015 | -0.92007 | 1.1021 | -0.73387 | 0.93923 | -0.27825 | -0.95485 | -0.091186 | 0.32216 | 0.94243 | 0.082523 | 157.557 | -67.8549 | -64.4169 | -22.561 | 112.1135 | 115.5604 |  | 0.78979 | 1.0237 | 0.98354 | 0.80292 | 1.0007 | 1.0081 | -8.1413 | -118.9666 | 121.2431 | -6.2659 | -119.9786 | 120.5817
Line_3 | 0.36062 | 0.032585 | 0.030865 | 0.36114 | 0.032191 | 0.030468 | 4.1641 | 0.37626 | 0.3564 | 4.1701 | 0.37171 | 0.35181 | -2.2435 | 0.38443 | -0.19687 | 2.6184 | -0.37994 | 0.19039 | -1.8376 | -0.048286 | -0.31134 | 1.9978 | 0.020744 | 0.28893 | 134.5519 | -115.1126 | -114.6111 | -45.4845 | 64.1585 | 64.6254 |  | 0.69643 | 1.0297 | 1.0336 | 0.78979 | 1.0237 | 0.98354 | -6.1292 | -122.2718 | 123.0829 | -8.1413 | -118.9666 | 121.2431

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59706 | 0.22957 | 0.18275 | 0.59689 | 0.22976 | 0.18294 | 6.8943 | 2.6508 | 2.1102 | 6.8923 | 2.653 | 2.1125 | 5.4341 | -1.79 | 2.1028 | -4.7967 | 1.8398 | -2.0797 | 3.3179 | 1.7721 | 0.34201 | -2.7598 | -1.9141 | -0.45865 | -36.1889 | 106.1478 | 108.137 | 143.8199 | -73.8443 | -71.8552 |  | 0.9235 | 0.9502 | 1.0096 | 0.80292 | 1.0007 | 1.0081 | -4.7823 | -118.5648 | 117.3748 | -6.2659 | -119.9786 | 120.5817
Line_1 | 0.47698 | 0.12794 | 0.1037 | 0.47742 | 0.1274 | 0.10316 | 5.5077 | 1.4774 | 1.1974 | 5.5128 | 1.4711 | 1.1912 | -3.1981 | 1.1015 | -1.1574 | 3.6946 | -1.1059 | 1.1405 | -2.1179 | -1.0493 | -0.43833 | 2.4376 | 0.9717 | 0.37613 | 140.3562 | -78.6614 | -77.6594 | -39.6819 | 101.3248 | 102.3288 |  | 0.69643 | 1.0297 | 1.0336 | 0.80292 | 1.0007 | 1.0081 | -6.1292 | -122.2718 | 123.0829 | -6.2659 | -119.9786 | 120.5817
Line_2 | 0.12351 | 0.10378 | 0.081411 | 0.12384 | 0.10337 | 0.080994 | 1.4262 | 1.1984 | 0.94005 | 1.43 | 1.1936 | 0.93524 | -1.0915 | 0.77015 | -0.92007 | 1.1021 | -0.73387 | 0.93923 | -0.27825 | -0.95485 | -0.091186 | 0.32216 | 0.94243 | 0.082523 | 157.557 | -67.8549 | -64.4169 | -22.561 | 112.1135 | 115.5604 |  | 0.78979 | 1.0237 | 0.98354 | 0.80292 | 1.0007 | 1.0081 | -8.1413 | -118.9666 | 121.2431 | -6.2659 | -119.9786 | 120.5817
Line_3 | 0.36062 | 0.032585 | 0.030865 | 0.36114 | 0.032191 | 0.030468 | 4.1641 | 0.37626 | 0.3564 | 4.1701 | 0.37171 | 0.35181 | -2.2435 | 0.38443 | -0.19687 | 2.6184 | -0.37994 | 0.19039 | -1.8376 | -0.048286 | -0.31134 | 1.9978 | 0.020744 | 0.28893 | 134.5519 | -115.1126 | -114.6111 | -45.4845 | 64.1585 | 64.6254 |  | 0.69643 | 1.0297 | 1.0336 | 0.78979 | 1.0237 | 0.98354 | -6.1292 | -122.2718 | 123.0829 | -8.1413 | -118.9666 | 121.2431

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49127 | 3.8438 | 2.6642 | 0.49164 | 3.8437 | 2.6639 | 5.6727 | 44.3844 | 30.7635 | 5.6769 | 44.3837 | 30.7605 | -3.9091 | 29.0949 | -1.3237 | 4.7613 | -12.5857 | 0.29584 | 4.0023 | 10.1551 | 15.6057 | -4.7627 | -3.3034 | -7.3156 | -135.9938 | -174.8589 | 34.1799 | 44.0718 | 5.1511 | -145.8333 |  | 0.98624 | 0.6943 | 0.5091 | 1.1863 | 0.29317 | 0.23802 | -1.6692 | -155.6182 | 129.0281 | -0.93678 | -160.142 | 126.4824
Line_1 | 0.27864 | 2.8579 | 2.0669 | 0.27743 | 2.8578 | 2.068 | 3.2175 | 32.9997 | 23.8669 | 3.2035 | 32.9992 | 23.8788 | 2.925 | 8.2807e-11 | 7.347e-11 | -2.6546 | 9.211 | 0.049479 | -3.1603 | -6.6805e-11 | -1.8461e-11 | 2.7194 | 2.9584 | 5.6834 | 45.0097 | 2.0868 | -143.0575 | -135.2465 | -177.948 | 36.9812 |  | 1.3384 | 0 | 0 | 1.1863 | 0.29317 | 0.23802 | -2.2045 | 0 | 0 | -0.93678 | -160.142 | 126.4824
Line_2 | 0.21506 | 1.0022 | 0.60663 | 0.21425 | 1.0021 | 0.60702 | 2.4833 | 11.5726 | 7.0048 | 2.474 | 11.5711 | 7.0092 | 2.263 | -2.2227 | 0.1464 | -2.1067 | 3.3747 | -0.34532 | -2.0703 | 0.42046 | -1.4451 | 2.0433 | 0.34504 | 1.6322 | 43.5017 | 14.1012 | -155.5926 | -136.8109 | -165.9798 | 24.5367 |  | 1.2351 | 0.19547 | 0.20736 | 1.1863 | 0.29317 | 0.23802 | 1.0489 | -176.6104 | 120.1921 | -0.93678 | -160.142 | 126.4824
Line_3 | 0.064405 | 1.8889 | 1.4802 | 0.063041 | 1.8892 | 1.4814 | 0.74369 | 21.8116 | 17.0921 | 0.72794 | 21.8145 | 17.1057 | 0.6012 | 5.9259e-11 | 5.1239e-11 | -0.59661 | 4.226 | 0.73036 | -0.79325 | -3.7865e-11 | -1.7824e-11 | 0.67262 | 0.5696 | 3.471 | 50.6376 | -4.2303 | -137.9822 | -130.5237 | 175.7133 | 42.0747 |  | 1.3384 | 0 | 0 | 1.2351 | 0.19547 | 0.20736 | -2.2045 | 0 | 0 | 1.0489 | -176.6104 | 120.1921

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49127 | 3.8438 | 2.6642 | 0.49164 | 3.8437 | 2.6639 | 5.6727 | 44.3844 | 30.7635 | 5.6769 | 44.3837 | 30.7605 | -3.9091 | 29.0949 | -1.3237 | 4.7613 | -12.5857 | 0.29584 | 4.0023 | 10.1551 | 15.6057 | -4.7627 | -3.3034 | -7.3156 | -135.9938 | -174.8589 | 34.1799 | 44.0718 | 5.1511 | -145.8333 |  | 0.98624 | 0.6943 | 0.5091 | 1.1863 | 0.29317 | 0.23802 | -1.6692 | -155.6182 | 129.0281 | -0.93678 | -160.142 | 126.4824
Line_1 | 0.27864 | 2.8579 | 2.0669 | 0.27743 | 2.8578 | 2.068 | 3.2175 | 32.9997 | 23.8669 | 3.2035 | 32.9992 | 23.8788 | 2.925 | 8.2807e-11 | 7.347e-11 | -2.6546 | 9.211 | 0.049479 | -3.1603 | -6.6805e-11 | -1.8461e-11 | 2.7194 | 2.9584 | 5.6834 | 45.0097 | 2.0868 | -143.0575 | -135.2465 | -177.948 | 36.9812 |  | 1.3384 | 0 | 0 | 1.1863 | 0.29317 | 0.23802 | -2.2045 | 0 | 0 | -0.93678 | -160.142 | 126.4824
Line_2 | 0.21506 | 1.0022 | 0.60663 | 0.21425 | 1.0021 | 0.60702 | 2.4833 | 11.5726 | 7.0048 | 2.474 | 11.5711 | 7.0092 | 2.263 | -2.2227 | 0.1464 | -2.1067 | 3.3747 | -0.34532 | -2.0703 | 0.42046 | -1.4451 | 2.0433 | 0.34504 | 1.6322 | 43.5017 | 14.1012 | -155.5926 | -136.8109 | -165.9798 | 24.5367 |  | 1.2351 | 0.19547 | 0.20736 | 1.1863 | 0.29317 | 0.23802 | 1.0489 | -176.6104 | 120.1921 | -0.93678 | -160.142 | 126.4824
Line_3 | 0.064405 | 1.8889 | 1.4802 | 0.063041 | 1.8892 | 1.4814 | 0.74369 | 21.8116 | 17.0921 | 0.72794 | 21.8145 | 17.1057 | 0.6012 | 5.9259e-11 | 5.1239e-11 | -0.59661 | 4.226 | 0.73036 | -0.79325 | -3.7865e-11 | -1.7824e-11 | 0.67262 | 0.5696 | 3.471 | 50.6376 | -4.2303 | -137.9822 | -130.5237 | 175.7133 | 42.0747 |  | 1.3384 | 0 | 0 | 1.2351 | 0.19547 | 0.20736 | -2.2045 | 0 | 0 | 1.0489 | -176.6104 | 120.1921

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1167 | 0.88462 | 0.59867 | 0.11657 | 0.88466 | 0.59852 | 1.3475 | 10.2148 | 6.9129 | 1.3461 | 10.2151 | 6.9112 | -1.4193 | 9.9879 | 4.3505 | 1.5038 | -9.0157 | -4.3525 | -0.42232 | 3.9091 | 5.175 | 0.45775 | -3.7359 | -4.5771 | 162.8192 | -149.1202 | 67.4916 | -17.1014 | 30.893 | -112.5221 |  | 1.0989 | 1.05 | 0.978 | 1.1678 | 0.95535 | 0.91391 | -0.61016 | -127.7457 | 117.4386 | -0.1717 | -126.5993 | 113.9189
Line_1 | 0.061778 | 0.67738 | 0.51803 | 0.061948 | 0.67726 | 0.51847 | 0.71336 | 7.8218 | 5.9817 | 0.71532 | 7.8203 | 5.9868 | 0.86386 | -5.967 | -3.6627 | -0.82813 | 6.5274 | 3.7306 | 0.1044 | -3.5657 | -3.5582 | -0.10964 | 3.6347 | 4.0023 | -7.2458 | 24.3338 | -113.1264 | 172.2866 | -155.7101 | 66.9067 |  | 1.2198 | 0.8887 | 0.85368 | 1.1678 | 0.95535 | 0.91391 | -0.35458 | -124.8052 | 111.0446 | -0.1717 | -126.5993 | 113.9189
Line_2 | 0.05605 | 0.22598 | 0.079902 | 0.056367 | 0.22575 | 0.080245 | 0.64721 | 2.6094 | 0.92263 | 0.65087 | 2.6067 | 0.92659 | 0.67979 | -2.4202 | -0.62756 | -0.67569 | 2.4883 | 0.62186 | 0.35469 | -0.076074 | -0.56235 | -0.34811 | 0.10112 | 0.5748 | -27.1231 | 51.1676 | -109.0221 | 152.5713 | -128.9264 | 71.171 |  | 1.1847 | 0.92798 | 0.91332 | 1.1678 | 0.95535 | 0.91391 | 0.43103 | -127.032 | 112.8408 | -0.1717 | -126.5993 | 113.9189
Line_3 | 0.021245 | 0.48651 | 0.4382 | 0.020851 | 0.48653 | 0.43866 | 0.24532 | 5.6178 | 5.0599 | 0.24076 | 5.618 | 5.0652 | 0.15771 | -3.6551 | -3.0575 | -0.1584 | 3.9479 | 3.1732 | -0.2543 | -3.4007 | -3.0513 | 0.23721 | 3.4048 | 3.3663 | 57.8397 | 12.2599 | -113.8965 | -123.3025 | -167.8079 | 66.1497 |  | 1.2198 | 0.8887 | 0.85368 | 1.1847 | 0.92798 | 0.91332 | -0.35458 | -124.8052 | 111.0446 | 0.43103 | -127.032 | 112.8408

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1167 | 0.88462 | 0.59867 | 0.11657 | 0.88466 | 0.59852 | 1.3475 | 10.2148 | 6.9129 | 1.3461 | 10.2151 | 6.9112 | -1.4193 | 9.9879 | 4.3505 | 1.5038 | -9.0157 | -4.3525 | -0.42232 | 3.9091 | 5.175 | 0.45775 | -3.7359 | -4.5771 | 162.8192 | -149.1202 | 67.4916 | -17.1014 | 30.893 | -112.5221 |  | 1.0989 | 1.05 | 0.978 | 1.1678 | 0.95535 | 0.91391 | -0.61016 | -127.7457 | 117.4386 | -0.1717 | -126.5993 | 113.9189
Line_1 | 0.061778 | 0.67738 | 0.51803 | 0.061948 | 0.67726 | 0.51847 | 0.71336 | 7.8218 | 5.9817 | 0.71532 | 7.8203 | 5.9868 | 0.86386 | -5.967 | -3.6627 | -0.82813 | 6.5274 | 3.7306 | 0.1044 | -3.5657 | -3.5582 | -0.10964 | 3.6347 | 4.0023 | -7.2458 | 24.3338 | -113.1264 | 172.2866 | -155.7101 | 66.9067 |  | 1.2198 | 0.8887 | 0.85368 | 1.1678 | 0.95535 | 0.91391 | -0.35458 | -124.8052 | 111.0446 | -0.1717 | -126.5993 | 113.9189
Line_2 | 0.05605 | 0.22598 | 0.079902 | 0.056367 | 0.22575 | 0.080245 | 0.64721 | 2.6094 | 0.92263 | 0.65087 | 2.6067 | 0.92659 | 0.67979 | -2.4202 | -0.62756 | -0.67569 | 2.4883 | 0.62186 | 0.35469 | -0.076074 | -0.56235 | -0.34811 | 0.10112 | 0.5748 | -27.1231 | 51.1676 | -109.0221 | 152.5713 | -128.9264 | 71.171 |  | 1.1847 | 0.92798 | 0.91332 | 1.1678 | 0.95535 | 0.91391 | 0.43103 | -127.032 | 112.8408 | -0.1717 | -126.5993 | 113.9189
Line_3 | 0.021245 | 0.48651 | 0.4382 | 0.020851 | 0.48653 | 0.43866 | 0.24532 | 5.6178 | 5.0599 | 0.24076 | 5.618 | 5.0652 | 0.15771 | -3.6551 | -3.0575 | -0.1584 | 3.9479 | 3.1732 | -0.2543 | -3.4007 | -3.0513 | 0.23721 | 3.4048 | 3.3663 | 57.8397 | 12.2599 | -113.8965 | -123.3025 | -167.8079 | 66.1497 |  | 1.2198 | 0.8887 | 0.85368 | 1.1847 | 0.92798 | 0.91332 | -0.35458 | -124.8052 | 111.0446 | 0.43103 | -127.032 | 112.8408

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55129 | 2.865 | 2.3515 | 0.55178 | 2.865 | 2.3513 | 6.3658 | 33.0821 | 27.153 | 6.3714 | 33.0824 | 27.1504 | -0.63322 | 24.7632 | 3.1412 | 1.2078 | -10.8308 | -1.5822 | 5.5734 | 3.609 | 12.3012 | -6.503 | -0.15332 | -6.2511 | -98.6344 | -161.1319 | 40.3762 | 81.3888 | 18.8788 | -139.6357 |  | 0.88116 | 0.75645 | 0.46757 | 1.0381 | 0.32742 | 0.2375 | -2.1525 | -152.84 | 116.0515 | 1.9106 | -160.3102 | 116.1605
Line_1 | 0.31509 | 2.1444 | 1.7773 | 0.31367 | 2.1442 | 1.7782 | 3.6384 | 24.7619 | 20.5228 | 3.6219 | 24.7591 | 20.5333 | 1.0068 | -7.4694e-11 | -3.085e-11 | -0.9365 | 8.0734 | 1.385 | -4.1893 | -5.2542e-11 | -6.9706e-11 | 3.6414 | 0.73367 | 4.6759 | 77.5701 | 14.5368 | -137.3785 | -102.5121 | -165.5027 | 42.6598 |  | 1.1842 | 0 | 0 | 1.0381 | 0.32742 | 0.2375 | 1.0836 | 0 | 0 | 1.9106 | -160.3102 | 116.1605
Line_2 | 0.24085 | 0.74554 | 0.57863 | 0.23979 | 0.74531 | 0.57889 | 2.7811 | 8.6087 | 6.6814 | 2.7689 | 8.6061 | 6.6844 | 0.49299 | -1.779 | -0.19529 | -0.27132 | 2.7574 | 0.19722 | -2.8896 | 1.2514 | -1.6315 | 2.8616 | -0.58035 | 1.5753 | 86.6057 | 31.6624 | -146.8146 | -93.5057 | -148.4246 | 33.2968 |  | 1.054 | 0.25266 | 0.24593 | 1.0381 | 0.32742 | 0.2375 | 6.2877 | 176.5384 | 116.3596 | 1.9106 | -160.3102 | 116.1605
Line_3 | 0.086264 | 1.4485 | 1.21 | 0.085249 | 1.4486 | 1.211 | 0.99609 | 16.7254 | 13.9722 | 0.98438 | 16.7272 | 13.9829 | 0.74586 | -4.4509e-11 | -2.4636e-11 | -0.73659 | 4.1714 | 1.2205 | -0.91382 | -4.2707e-11 | -4.5676e-11 | 0.73073 | -0.67888 | 3.2149 | 51.8621 | 5.844 | -132.911 | -128.9412 | -174.2179 | 47.1494 |  | 1.1842 | 0 | 0 | 1.054 | 0.25266 | 0.24593 | 1.0836 | 0 | 0 | 6.2877 | 176.5384 | 116.3596

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55129 | 2.865 | 2.3515 | 0.55178 | 2.865 | 2.3513 | 6.3658 | 33.0821 | 27.153 | 6.3714 | 33.0824 | 27.1504 | -0.63322 | 24.7632 | 3.1412 | 1.2078 | -10.8308 | -1.5822 | 5.5734 | 3.609 | 12.3012 | -6.503 | -0.15332 | -6.2511 | -98.6344 | -161.1319 | 40.3762 | 81.3888 | 18.8788 | -139.6357 |  | 0.88116 | 0.75645 | 0.46757 | 1.0381 | 0.32742 | 0.2375 | -2.1525 | -152.84 | 116.0515 | 1.9106 | -160.3102 | 116.1605
Line_1 | 0.31509 | 2.1444 | 1.7773 | 0.31367 | 2.1442 | 1.7782 | 3.6384 | 24.7619 | 20.5228 | 3.6219 | 24.7591 | 20.5333 | 1.0068 | -7.4694e-11 | -3.085e-11 | -0.9365 | 8.0734 | 1.385 | -4.1893 | -5.2542e-11 | -6.9706e-11 | 3.6414 | 0.73367 | 4.6759 | 77.5701 | 14.5368 | -137.3785 | -102.5121 | -165.5027 | 42.6598 |  | 1.1842 | 0 | 0 | 1.0381 | 0.32742 | 0.2375 | 1.0836 | 0 | 0 | 1.9106 | -160.3102 | 116.1605
Line_2 | 0.24085 | 0.74554 | 0.57863 | 0.23979 | 0.74531 | 0.57889 | 2.7811 | 8.6087 | 6.6814 | 2.7689 | 8.6061 | 6.6844 | 0.49299 | -1.779 | -0.19529 | -0.27132 | 2.7574 | 0.19722 | -2.8896 | 1.2514 | -1.6315 | 2.8616 | -0.58035 | 1.5753 | 86.6057 | 31.6624 | -146.8146 | -93.5057 | -148.4246 | 33.2968 |  | 1.054 | 0.25266 | 0.24593 | 1.0381 | 0.32742 | 0.2375 | 6.2877 | 176.5384 | 116.3596 | 1.9106 | -160.3102 | 116.1605
Line_3 | 0.086264 | 1.4485 | 1.21 | 0.085249 | 1.4486 | 1.211 | 0.99609 | 16.7254 | 13.9722 | 0.98438 | 16.7272 | 13.9829 | 0.74586 | -4.4509e-11 | -2.4636e-11 | -0.73659 | 4.1714 | 1.2205 | -0.91382 | -4.2707e-11 | -4.5676e-11 | 0.73073 | -0.67888 | 3.2149 | 51.8621 | 5.844 | -132.911 | -128.9412 | -174.2179 | 47.1494 |  | 1.1842 | 0 | 0 | 1.054 | 0.25266 | 0.24593 | 1.0836 | 0 | 0 | 6.2877 | 176.5384 | 116.3596

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19398 | 0.79998 | 0.65213 | 0.19416 | 0.8 | 0.65203 | 2.2399 | 9.2374 | 7.5301 | 2.2419 | 9.2376 | 7.5289 | 0.22813 | 8.1122 | 3.6137 | -0.16624 | -6.9285 | -3.5158 | 2.1402 | 3.0465 | 5.402 | -2.2552 | -2.8227 | -4.8257 | -85.1559 | -148.6888 | 60.1665 | 94.8639 | 31.3244 | -119.8469 |  | 0.96089 | 0.93807 | 0.8631 | 1.0086 | 0.80988 | 0.79302 | -1.2401 | -128.1055 | 116.386 | 0.64796 | -126.5096 | 114.0774
Line_1 | 0.11037 | 0.59801 | 0.50204 | 0.10987 | 0.59791 | 0.50243 | 1.2744 | 6.9053 | 5.7971 | 1.2687 | 6.9041 | 5.8015 | 0.0023596 | -4.2931 | -2.747 | 0.0011849 | 4.9757 | 2.8812 | -1.3489 | -2.5365 | -3.1383 | 1.2796 | 2.551 | 3.5868 | 90.7681 | 26.395 | -117.1883 | -89.299 | -153.6535 | 62.8513 |  | 1.0584 | 0.72212 | 0.71945 | 1.0086 | 0.80988 | 0.79302 | 0.86829 | -123.0291 | 111.6162 | 0.64796 | -126.5096 | 114.0774
Line_2 | 0.085324 | 0.21093 | 0.15187 | 0.084951 | 0.21083 | 0.15201 | 0.98523 | 2.4356 | 1.7536 | 0.98093 | 2.4344 | 1.7553 | -0.14001 | -1.8665 | -0.64108 | 0.16506 | 1.9528 | 0.63462 | -0.9825 | -0.21185 | -1.2443 | 0.97554 | 0.27166 | 1.2389 | 100.3439 | 45.6747 | -128.9386 | -79.7489 | -134.4295 | 51.2017 |  | 1.0073 | 0.77124 | 0.79821 | 1.0086 | 0.80988 | 0.79302 | 2.2336 | -127.8497 | 113.8039 | 0.64796 | -126.5096 | 114.0774
Line_3 | 0.029921 | 0.40487 | 0.3546 | 0.029567 | 0.40492 | 0.35499 | 0.3455 | 4.675 | 4.0945 | 0.34141 | 4.6756 | 4.0991 | 0.17245 | -2.569 | -2.125 | -0.17346 | 2.9282 | 2.2745 | -0.32248 | -2.1903 | -2.0402 | 0.29695 | 2.1046 | 2.352 | 62.7323 | 16.5207 | -112.2167 | -118.0562 | -163.5556 | 67.8436 |  | 1.0584 | 0.72212 | 0.71945 | 1.0073 | 0.77124 | 0.79821 | 0.86829 | -123.0291 | 111.6162 | 2.2336 | -127.8497 | 113.8039

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19398 | 0.79998 | 0.65213 | 0.19416 | 0.8 | 0.65203 | 2.2399 | 9.2374 | 7.5301 | 2.2419 | 9.2376 | 7.5289 | 0.22813 | 8.1122 | 3.6137 | -0.16624 | -6.9285 | -3.5158 | 2.1402 | 3.0465 | 5.402 | -2.2552 | -2.8227 | -4.8257 | -85.1559 | -148.6888 | 60.1665 | 94.8639 | 31.3244 | -119.8469 |  | 0.96089 | 0.93807 | 0.8631 | 1.0086 | 0.80988 | 0.79302 | -1.2401 | -128.1055 | 116.386 | 0.64796 | -126.5096 | 114.0774
Line_1 | 0.11037 | 0.59801 | 0.50204 | 0.10987 | 0.59791 | 0.50243 | 1.2744 | 6.9053 | 5.7971 | 1.2687 | 6.9041 | 5.8015 | 0.0023596 | -4.2931 | -2.747 | 0.0011849 | 4.9757 | 2.8812 | -1.3489 | -2.5365 | -3.1383 | 1.2796 | 2.551 | 3.5868 | 90.7681 | 26.395 | -117.1883 | -89.299 | -153.6535 | 62.8513 |  | 1.0584 | 0.72212 | 0.71945 | 1.0086 | 0.80988 | 0.79302 | 0.86829 | -123.0291 | 111.6162 | 0.64796 | -126.5096 | 114.0774
Line_2 | 0.085324 | 0.21093 | 0.15187 | 0.084951 | 0.21083 | 0.15201 | 0.98523 | 2.4356 | 1.7536 | 0.98093 | 2.4344 | 1.7553 | -0.14001 | -1.8665 | -0.64108 | 0.16506 | 1.9528 | 0.63462 | -0.9825 | -0.21185 | -1.2443 | 0.97554 | 0.27166 | 1.2389 | 100.3439 | 45.6747 | -128.9386 | -79.7489 | -134.4295 | 51.2017 |  | 1.0073 | 0.77124 | 0.79821 | 1.0086 | 0.80988 | 0.79302 | 2.2336 | -127.8497 | 113.8039 | 0.64796 | -126.5096 | 114.0774
Line_3 | 0.029921 | 0.40487 | 0.3546 | 0.029567 | 0.40492 | 0.35499 | 0.3455 | 4.675 | 4.0945 | 0.34141 | 4.6756 | 4.0991 | 0.17245 | -2.569 | -2.125 | -0.17346 | 2.9282 | 2.2745 | -0.32248 | -2.1903 | -2.0402 | 0.29695 | 2.1046 | 2.352 | 62.7323 | 16.5207 | -112.2167 | -118.0562 | -163.5556 | 67.8436 |  | 1.0584 | 0.72212 | 0.71945 | 1.0073 | 0.77124 | 0.79821 | 0.86829 | -123.0291 | 111.6162 | 2.2336 | -127.8497 | 113.8039