## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4624e-15 | -5.4742e-17 | 1.8814e-16 | -1.108e-14 | -1.341e-14 | -2.7251e-15 | 8.529e-15 | -7.4381e-15 | 1.3249e-14 | -8.6322e-15 | -2.8767e-15 | -5.262e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4624e-15 | -5.4742e-17 | 1.8814e-16 | -1.108e-14 | -1.341e-14 | -2.7251e-15 | 8.529e-15 | -7.4381e-15 | 1.3249e-14 | -8.6322e-15 | -2.8767e-15 | -5.262e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5829e-15 | -4.2448e-15 | 4.081e-15 | -1.6831e-14 | 2.1224e-15 | 4.4954e-15 | 8.1892e-17 | 6.6705e-15 | 4.4954e-15 | 5.3373e-15 | -3.3352e-15 | -4.081e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.5829e-15 | -4.2448e-15 | 4.081e-15 | -1.6831e-14 | 2.1224e-15 | 4.4954e-15 | 8.1892e-17 | 6.6705e-15 | 4.4954e-15 | 5.3373e-15 | -3.3352e-15 | -4.081e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6034e-15 | 1.2026e-15 | -3.6198e-15 | -1.322e-15 | 3.152e-15 | 0 | -3.7673e-15 | 4.7659e-15 | -1.1609e-16 | 1.0422e-15 | -1.6899e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.6034e-15 | 1.2026e-15 | -3.6198e-15 | -1.322e-15 | 3.152e-15 | 0 | -3.7673e-15 | 4.7659e-15 | -1.1609e-16 | 1.0422e-15 | -1.6899e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3743e-16 | -4.36e-15 | 3.3441e-15 | -2.5346e-15 | 6.7467e-15 | -3.3441e-15 | -4.7944e-15 | 5.4754e-15 | 3.6609e-15 | 4.7256e-15 | -6.0526e-15 | -3.6609e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3743e-16 | -4.36e-15 | 3.3441e-15 | -2.5346e-15 | 6.7467e-15 | -3.3441e-15 | -4.7944e-15 | 5.4754e-15 | 3.6609e-15 | 4.7256e-15 | -6.0526e-15 | -3.6609e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1253 | 0.36349 | 0.54035 | 1.1257 | 0.36311 | 0.54001 | 12.9937 | 4.1972 | 6.2394 | 12.9985 | 4.1928 | 6.2354 | -1.1123 | 2.591 | -4.4438 | 2.1464 | -2.6747 | 4.5649 | -5.4683 | -3.6932 | -4.8796 | 6.5883 | 3.703 | 4.7992 | 103.5513 | -54.4643 | -115.9798 | -76.4498 | 125.5639 | 63.9934 |  | 0.42946 | 1.0749 | 1.0578 | 0.53307 | 1.0895 | 1.0622 | 2.0539 | -109.4129 | 111.6964 | -4.4945 | -108.5952 | 110.4271
Line_1 | 0.56314 | 0.18126 | 0.26984 | 0.56285 | 0.18155 | 0.27 | 6.5025 | 2.093 | 3.1159 | 6.4993 | 2.0964 | 3.1177 | 1.3334 | -1.3572 | 2.3103 | -1.0732 | 1.3373 | -2.2824 | 3.5755 | 1.8517 | 2.3803 | -3.2942 | -1.8515 | -2.3996 | -76.4404 | 125.5703 | 63.94 | 103.5502 | -54.4361 | -116.0066 |  | 0.58685 | 1.0969 | 1.0646 | 0.53307 | 1.0895 | 1.0622 | -6.8916 | -108.1905 | 109.7946 | -4.4945 | -108.5952 | 110.4271
Line_2 | 0.56314 | 0.18126 | 0.26984 | 0.56285 | 0.18155 | 0.27 | 6.5025 | 2.093 | 3.1159 | 6.4993 | 2.0964 | 3.1177 | 1.3334 | -1.3572 | 2.3103 | -1.0732 | 1.3373 | -2.2824 | 3.5755 | 1.8517 | 2.3803 | -3.2942 | -1.8515 | -2.3996 | -76.4404 | 125.5703 | 63.94 | 103.5502 | -54.4361 | -116.0066 |  | 0.58685 | 1.0969 | 1.0646 | 0.53307 | 1.0895 | 1.0622 | -6.8916 | -108.1905 | 109.7946 | -4.4945 | -108.5952 | 110.4271
Line_3 | 0.00013496 | 0.00013496 | 0.00013496 | 0.00013496 | 0.00013496 | 0.00013496 | 0.0015583 | 0.0015583 | 0.0015583 | 0.0015583 | 0.0015583 | 0.0015583 | 0.00069577 | 0.00083301 | -0.0015288 | 0.00069577 | 0.00083301 | -0.0015288 | 0.0005935 | -0.0014926 | 0.00064419 | 0.0005935 | -0.0014926 | 0.00064419 | -47.356 | -47.356 | -47.356 | -47.356 | -47.356 | -47.356 |  | 0.58685 | 1.0969 | 1.0646 | 0.58685 | 1.0969 | 1.0646 | -6.8916 | -108.1905 | 109.7946 | -6.8916 | -108.1905 | 109.7946

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1253 | 0.36349 | 0.54035 | 1.1257 | 0.36311 | 0.54001 | 12.9937 | 4.1972 | 6.2394 | 12.9985 | 4.1928 | 6.2354 | -1.1123 | 2.591 | -4.4438 | 2.1464 | -2.6747 | 4.5649 | -5.4683 | -3.6932 | -4.8796 | 6.5883 | 3.703 | 4.7992 | 103.5513 | -54.4643 | -115.9798 | -76.4498 | 125.5639 | 63.9934 |  | 0.42946 | 1.0749 | 1.0578 | 0.53307 | 1.0895 | 1.0622 | 2.0539 | -109.4129 | 111.6964 | -4.4945 | -108.5952 | 110.4271
Line_1 | 0.56314 | 0.18126 | 0.26984 | 0.56285 | 0.18155 | 0.27 | 6.5025 | 2.093 | 3.1159 | 6.4993 | 2.0964 | 3.1177 | 1.3334 | -1.3572 | 2.3103 | -1.0732 | 1.3373 | -2.2824 | 3.5755 | 1.8517 | 2.3803 | -3.2942 | -1.8515 | -2.3996 | -76.4404 | 125.5703 | 63.94 | 103.5502 | -54.4361 | -116.0066 |  | 0.58685 | 1.0969 | 1.0646 | 0.53307 | 1.0895 | 1.0622 | -6.8916 | -108.1905 | 109.7946 | -4.4945 | -108.5952 | 110.4271
Line_2 | 0.56314 | 0.18126 | 0.26984 | 0.56285 | 0.18155 | 0.27 | 6.5025 | 2.093 | 3.1159 | 6.4993 | 2.0964 | 3.1177 | 1.3334 | -1.3572 | 2.3103 | -1.0732 | 1.3373 | -2.2824 | 3.5755 | 1.8517 | 2.3803 | -3.2942 | -1.8515 | -2.3996 | -76.4404 | 125.5703 | 63.94 | 103.5502 | -54.4361 | -116.0066 |  | 0.58685 | 1.0969 | 1.0646 | 0.53307 | 1.0895 | 1.0622 | -6.8916 | -108.1905 | 109.7946 | -4.4945 | -108.5952 | 110.4271
Line_3 | 0.00013496 | 0.00013496 | 0.00013496 | 0.00013496 | 0.00013496 | 0.00013496 | 0.0015583 | 0.0015583 | 0.0015583 | 0.0015583 | 0.0015583 | 0.0015583 | 0.00069577 | 0.00083301 | -0.0015288 | 0.00069577 | 0.00083301 | -0.0015288 | 0.0005935 | -0.0014926 | 0.00064419 | 0.0005935 | -0.0014926 | 0.00064419 | -47.356 | -47.356 | -47.356 | -47.356 | -47.356 | -47.356 |  | 0.58685 | 1.0969 | 1.0646 | 0.58685 | 1.0969 | 1.0646 | -6.8916 | -108.1905 | 109.7946 | -6.8916 | -108.1905 | 109.7946

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83133 | 0.3375 | 0.41169 | 0.83162 | 0.33723 | 0.4115 | 9.5994 | 3.8971 | 4.7538 | 9.6027 | 3.894 | 4.7515 | -3.3967 | 1.3846 | -3.5331 | 3.9308 | -1.4205 | 3.631 | -5.5534 | -3.9035 | -3.9327 | 6.1641 | 3.9225 | 3.9021 | 112.6047 | -43.2141 | -114.083 | -67.3947 | 136.8047 | 65.887 |  | 0.67815 | 1.0628 | 1.1121 | 0.76132 | 1.0713 | 1.1218 | -8.8474 | -113.6845 | 113.981 | -9.9204 | -113.2877 | 112.9483
Line_1 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16862 | 0.20575 | 4.8035 | 1.9447 | 2.3749 | 4.8014 | 1.947 | 2.3758 | 2.1004 | -0.71902 | 1.8384 | -1.9654 | 0.71025 | -1.8155 | 3.2355 | 1.9643 | 1.9443 | -3.082 | -1.9612 | -1.951 | -67.3839 | 136.8065 | 65.8341 | 112.6053 | -43.1953 | -114.113 |  | 0.80305 | 1.0756 | 1.1267 | 0.76132 | 1.0713 | 1.1218 | -10.375 | -113.0886 | 112.4369 | -9.9204 | -113.2877 | 112.9483
Line_2 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16862 | 0.20575 | 4.8035 | 1.9447 | 2.3749 | 4.8014 | 1.947 | 2.3758 | 2.1004 | -0.71902 | 1.8384 | -1.9654 | 0.71025 | -1.8155 | 3.2355 | 1.9643 | 1.9443 | -3.082 | -1.9612 | -1.951 | -67.3839 | 136.8065 | 65.8341 | 112.6053 | -43.1953 | -114.113 |  | 0.80305 | 1.0756 | 1.1267 | 0.76132 | 1.0713 | 1.1218 | -10.375 | -113.0886 | 112.4369 | -9.9204 | -113.2877 | 112.9483
Line_3 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 0.0010618 | 0.0010618 | 0.0010618 | 0.0010618 | 0.0010618 | 0.0010618 | 0.00078275 | 0.00021111 | -0.00099386 | 0.00078275 | 0.00021111 | -0.00099386 | 0.00033817 | -0.0011224 | 0.00066589 | 0.00033817 | -0.0011224 | 0.00066589 | -33.7408 | -33.7408 | -33.7408 | -33.7408 | -33.7408 | -33.7408 |  | 0.80305 | 1.0756 | 1.1267 | 0.80305 | 1.0756 | 1.1267 | -10.375 | -113.0886 | 112.4369 | -10.375 | -113.0886 | 112.4369

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.83133 | 0.3375 | 0.41169 | 0.83162 | 0.33723 | 0.4115 | 9.5994 | 3.8971 | 4.7538 | 9.6027 | 3.894 | 4.7515 | -3.3967 | 1.3846 | -3.5331 | 3.9308 | -1.4205 | 3.631 | -5.5534 | -3.9035 | -3.9327 | 6.1641 | 3.9225 | 3.9021 | 112.6047 | -43.2141 | -114.083 | -67.3947 | 136.8047 | 65.887 |  | 0.67815 | 1.0628 | 1.1121 | 0.76132 | 1.0713 | 1.1218 | -8.8474 | -113.6845 | 113.981 | -9.9204 | -113.2877 | 112.9483
Line_1 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16862 | 0.20575 | 4.8035 | 1.9447 | 2.3749 | 4.8014 | 1.947 | 2.3758 | 2.1004 | -0.71902 | 1.8384 | -1.9654 | 0.71025 | -1.8155 | 3.2355 | 1.9643 | 1.9443 | -3.082 | -1.9612 | -1.951 | -67.3839 | 136.8065 | 65.8341 | 112.6053 | -43.1953 | -114.113 |  | 0.80305 | 1.0756 | 1.1267 | 0.76132 | 1.0713 | 1.1218 | -10.375 | -113.0886 | 112.4369 | -9.9204 | -113.2877 | 112.9483
Line_2 | 0.416 | 0.16841 | 0.20568 | 0.41581 | 0.16862 | 0.20575 | 4.8035 | 1.9447 | 2.3749 | 4.8014 | 1.947 | 2.3758 | 2.1004 | -0.71902 | 1.8384 | -1.9654 | 0.71025 | -1.8155 | 3.2355 | 1.9643 | 1.9443 | -3.082 | -1.9612 | -1.951 | -67.3839 | 136.8065 | 65.8341 | 112.6053 | -43.1953 | -114.113 |  | 0.80305 | 1.0756 | 1.1267 | 0.76132 | 1.0713 | 1.1218 | -10.375 | -113.0886 | 112.4369 | -9.9204 | -113.2877 | 112.9483
Line_3 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 9.1954e-05 | 0.0010618 | 0.0010618 | 0.0010618 | 0.0010618 | 0.0010618 | 0.0010618 | 0.00078275 | 0.00021111 | -0.00099386 | 0.00078275 | 0.00021111 | -0.00099386 | 0.00033817 | -0.0011224 | 0.00066589 | 0.00033817 | -0.0011224 | 0.00066589 | -33.7408 | -33.7408 | -33.7408 | -33.7408 | -33.7408 | -33.7408 |  | 0.80305 | 1.0756 | 1.1267 | 0.80305 | 1.0756 | 1.1267 | -10.375 | -113.0886 | 112.4369 | -10.375 | -113.0886 | 112.4369

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81801 | 0.20662 | 0.34196 | 0.81843 | 0.20618 | 0.34151 | 9.4456 | 2.3859 | 3.9486 | 9.4504 | 2.3807 | 3.9435 | -0.61991 | 2.0177 | -3.454 | 1.7436 | -2.0535 | 3.4377 | -3.1282 | -0.87717 | -1.4515 | 3.8879 | 0.77962 | 1.312 | 109.3077 | -87.8332 | -90.2565 | -70.704 | 92.1773 | 89.7467 |  | 0.33762 | 0.92214 | 0.94884 | 0.45088 | 0.92261 | 0.93307 | 8.0985 | -111.3298 | 112.5372 | -4.8594 | -108.6126 | 110.6359
Line_1 | 0.40945 | 0.10288 | 0.17055 | 0.40921 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9693 | 4.7252 | 1.1904 | 1.9717 | 1.1543 | -1.0352 | 1.7131 | -0.87182 | 1.0267 | -1.7188 | 2.1346 | 0.36398 | 0.62186 | -1.9439 | -0.38981 | -0.65599 | -70.6993 | 92.1215 | 89.71 | 109.296 | -87.8227 | -90.2533 |  | 0.51328 | 0.92372 | 0.92544 | 0.45088 | 0.92261 | 0.93307 | -9.1021 | -107.2508 | 109.6608 | -4.8594 | -108.6126 | 110.6359
Line_2 | 0.40945 | 0.10288 | 0.17055 | 0.40921 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9693 | 4.7252 | 1.1904 | 1.9717 | 1.1543 | -1.0352 | 1.7131 | -0.87182 | 1.0267 | -1.7188 | 2.1346 | 0.36398 | 0.62186 | -1.9439 | -0.38981 | -0.65599 | -70.6993 | 92.1215 | 89.71 | 109.296 | -87.8227 | -90.2533 |  | 0.51328 | 0.92372 | 0.92544 | 0.45088 | 0.92261 | 0.93307 | -9.1021 | -107.2508 | 109.6608 | -4.8594 | -108.6126 | 110.6359
Line_3 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 0.0011511 | 0.0011511 | 0.0011511 | 0.0011511 | 0.0011511 | 0.0011511 | 0.00050429 | 0.00041975 | -0.00092403 | 0.00050429 | 0.00041975 | -0.00092403 | 0.00030783 | -0.00097689 | 0.00052998 | 0.00030783 | -0.00097689 | 0.00052998 | -40.5029 | -40.5029 | -40.5029 | -40.5029 | -40.5029 | -40.5029 |  | 0.51328 | 0.92372 | 0.92544 | 0.51328 | 0.92372 | 0.92544 | -9.1021 | -107.2508 | 109.6608 | -9.1021 | -107.2508 | 109.6608

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81801 | 0.20662 | 0.34196 | 0.81843 | 0.20618 | 0.34151 | 9.4456 | 2.3859 | 3.9486 | 9.4504 | 2.3807 | 3.9435 | -0.61991 | 2.0177 | -3.454 | 1.7436 | -2.0535 | 3.4377 | -3.1282 | -0.87717 | -1.4515 | 3.8879 | 0.77962 | 1.312 | 109.3077 | -87.8332 | -90.2565 | -70.704 | 92.1773 | 89.7467 |  | 0.33762 | 0.92214 | 0.94884 | 0.45088 | 0.92261 | 0.93307 | 8.0985 | -111.3298 | 112.5372 | -4.8594 | -108.6126 | 110.6359
Line_1 | 0.40945 | 0.10288 | 0.17055 | 0.40921 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9693 | 4.7252 | 1.1904 | 1.9717 | 1.1543 | -1.0352 | 1.7131 | -0.87182 | 1.0267 | -1.7188 | 2.1346 | 0.36398 | 0.62186 | -1.9439 | -0.38981 | -0.65599 | -70.6993 | 92.1215 | 89.71 | 109.296 | -87.8227 | -90.2533 |  | 0.51328 | 0.92372 | 0.92544 | 0.45088 | 0.92261 | 0.93307 | -9.1021 | -107.2508 | 109.6608 | -4.8594 | -108.6126 | 110.6359
Line_2 | 0.40945 | 0.10288 | 0.17055 | 0.40921 | 0.10309 | 0.17076 | 4.7279 | 1.1879 | 1.9693 | 4.7252 | 1.1904 | 1.9717 | 1.1543 | -1.0352 | 1.7131 | -0.87182 | 1.0267 | -1.7188 | 2.1346 | 0.36398 | 0.62186 | -1.9439 | -0.38981 | -0.65599 | -70.6993 | 92.1215 | 89.71 | 109.296 | -87.8227 | -90.2533 |  | 0.51328 | 0.92372 | 0.92544 | 0.45088 | 0.92261 | 0.93307 | -9.1021 | -107.2508 | 109.6608 | -4.8594 | -108.6126 | 110.6359
Line_3 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 9.9684e-05 | 0.0011511 | 0.0011511 | 0.0011511 | 0.0011511 | 0.0011511 | 0.0011511 | 0.00050429 | 0.00041975 | -0.00092403 | 0.00050429 | 0.00041975 | -0.00092403 | 0.00030783 | -0.00097689 | 0.00052998 | 0.00030783 | -0.00097689 | 0.00052998 | -40.5029 | -40.5029 | -40.5029 | -40.5029 | -40.5029 | -40.5029 |  | 0.51328 | 0.92372 | 0.92544 | 0.51328 | 0.92372 | 0.92544 | -9.1021 | -107.2508 | 109.6608 | -9.1021 | -107.2508 | 109.6608

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5797 | 0.14642 | 0.24233 | 0.57999 | 0.14611 | 0.24202 | 6.6938 | 1.6908 | 2.7982 | 6.6971 | 1.6871 | 2.7946 | -2.2667 | 1.2024 | -2.686 | 2.8318 | -1.2199 | 2.6766 | -2.7853 | -0.99029 | -0.58515 | 3.1678 | 0.94016 | 0.51522 | 121.7646 | -75.3763 | -77.7996 | -58.2471 | 104.6342 | 102.2036 |  | 0.53648 | 0.9213 | 0.98242 | 0.63445 | 0.91286 | 0.97535 | -7.3742 | -114.8512 | 114.4902 | -10.0409 | -112.9877 | 113.0994
Line_1 | 0.29016 | 0.072905 | 0.12086 | 0.28999 | 0.073055 | 0.12101 | 3.3505 | 0.84183 | 1.3956 | 3.3486 | 0.84357 | 1.3973 | 1.5584 | -0.61424 | 1.3349 | -1.4159 | 0.60993 | -1.3383 | 1.6799 | 0.45645 | 0.24086 | -1.5839 | -0.47008 | -0.25761 | -58.2424 | 104.5784 | 102.1669 | 121.7529 | -75.3658 | -77.7964 |  | 0.68392 | 0.90906 | 0.97194 | 0.63445 | 0.91286 | 0.97535 | -11.0921 | -112.0381 | 112.3951 | -10.0409 | -112.9877 | 113.0994
Line_2 | 0.29016 | 0.072905 | 0.12086 | 0.28999 | 0.073055 | 0.12101 | 3.3505 | 0.84183 | 1.3956 | 3.3486 | 0.84357 | 1.3973 | 1.5584 | -0.61424 | 1.3349 | -1.4159 | 0.60993 | -1.3383 | 1.6799 | 0.45645 | 0.24086 | -1.5839 | -0.47008 | -0.25761 | -58.2424 | 104.5784 | 102.1669 | 121.7529 | -75.3658 | -77.7964 |  | 0.68392 | 0.90906 | 0.97194 | 0.63445 | 0.91286 | 0.97535 | -11.0921 | -112.0381 | 112.3951 | -10.0409 | -112.9877 | 113.0994
Line_3 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00053363 | 7.7612e-05 | -0.00061124 | 0.00053363 | 7.7612e-05 | -0.00061124 | 0.00016268 | -0.00073745 | 0.00050493 | 0.00016268 | -0.00073745 | 0.00050493 | -28.046 | -28.046 | -28.046 | -28.046 | -28.046 | -28.046 |  | 0.68392 | 0.90906 | 0.97194 | 0.68392 | 0.90906 | 0.97194 | -11.0921 | -112.0381 | 112.3951 | -11.0921 | -112.0381 | 112.3951

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5797 | 0.14642 | 0.24233 | 0.57999 | 0.14611 | 0.24202 | 6.6938 | 1.6908 | 2.7982 | 6.6971 | 1.6871 | 2.7946 | -2.2667 | 1.2024 | -2.686 | 2.8318 | -1.2199 | 2.6766 | -2.7853 | -0.99029 | -0.58515 | 3.1678 | 0.94016 | 0.51522 | 121.7646 | -75.3763 | -77.7996 | -58.2471 | 104.6342 | 102.2036 |  | 0.53648 | 0.9213 | 0.98242 | 0.63445 | 0.91286 | 0.97535 | -7.3742 | -114.8512 | 114.4902 | -10.0409 | -112.9877 | 113.0994
Line_1 | 0.29016 | 0.072905 | 0.12086 | 0.28999 | 0.073055 | 0.12101 | 3.3505 | 0.84183 | 1.3956 | 3.3486 | 0.84357 | 1.3973 | 1.5584 | -0.61424 | 1.3349 | -1.4159 | 0.60993 | -1.3383 | 1.6799 | 0.45645 | 0.24086 | -1.5839 | -0.47008 | -0.25761 | -58.2424 | 104.5784 | 102.1669 | 121.7529 | -75.3658 | -77.7964 |  | 0.68392 | 0.90906 | 0.97194 | 0.63445 | 0.91286 | 0.97535 | -11.0921 | -112.0381 | 112.3951 | -10.0409 | -112.9877 | 113.0994
Line_2 | 0.29016 | 0.072905 | 0.12086 | 0.28999 | 0.073055 | 0.12101 | 3.3505 | 0.84183 | 1.3956 | 3.3486 | 0.84357 | 1.3973 | 1.5584 | -0.61424 | 1.3349 | -1.4159 | 0.60993 | -1.3383 | 1.6799 | 0.45645 | 0.24086 | -1.5839 | -0.47008 | -0.25761 | -58.2424 | 104.5784 | 102.1669 | 121.7529 | -75.3658 | -77.7964 |  | 0.68392 | 0.90906 | 0.97194 | 0.63445 | 0.91286 | 0.97535 | -11.0921 | -112.0381 | 112.3951 | -10.0409 | -112.9877 | 113.0994
Line_3 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 7.0643e-05 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00081571 | 0.00053363 | 7.7612e-05 | -0.00061124 | 0.00053363 | 7.7612e-05 | -0.00061124 | 0.00016268 | -0.00073745 | 0.00050493 | 0.00016268 | -0.00073745 | 0.00050493 | -28.046 | -28.046 | -28.046 | -28.046 | -28.046 | -28.046 |  | 0.68392 | 0.90906 | 0.97194 | 0.68392 | 0.90906 | 0.97194 | -11.0921 | -112.0381 | 112.3951 | -11.0921 | -112.0381 | 112.3951

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55217 | 1.4162 | 1.1904 | 0.55175 | 1.4163 | 1.1905 | 6.3759 | 16.3531 | 13.7453 | 6.371 | 16.3546 | 13.7472 | -1.1819 | -4.2155 | 2.5951 | 1.1575 | 5.8595 | -2.0857 | -5.9836 | -3.9442 | -4.799 | 5.9773 | 4.8585 | 6.1419 | 103.6365 | -7.2172 | -145.8657 | -76.3614 | 172.7666 | 34.153 |  | 0.95661 | 0.35302 | 0.39692 | 0.95562 | 0.46542 | 0.47183 | 2.4628 | -144.1214 | 152.5367 | 2.679 | -147.5689 | 142.9098
Line_1 | 0.27559 | 0.70836 | 0.59528 | 0.27587 | 0.70817 | 0.59527 | 3.1823 | 8.1795 | 6.8737 | 3.1855 | 8.1773 | 6.8736 | 0.57097 | 3.3415 | -0.91424 | -0.57875 | -2.9297 | 1.0429 | 2.9852 | 2.6588 | 3.4074 | -2.9886 | -2.4292 | -3.071 | -76.3808 | 172.748 | 34.1815 | 103.6386 | -7.2334 | -145.847 |  | 0.95507 | 0.52207 | 0.51325 | 0.95562 | 0.46542 | 0.47183 | 2.7911 | -148.7431 | 139.2009 | 2.679 | -147.5689 | 142.9098
Line_2 | 0.27559 | 0.70836 | 0.59528 | 0.27587 | 0.70817 | 0.59527 | 3.1823 | 8.1795 | 6.8737 | 3.1855 | 8.1773 | 6.8736 | 0.57097 | 3.3415 | -0.91424 | -0.57875 | -2.9297 | 1.0429 | 2.9852 | 2.6588 | 3.4074 | -2.9886 | -2.4292 | -3.071 | -76.3808 | 172.748 | 34.1815 | 103.6386 | -7.2334 | -145.847 |  | 0.95507 | 0.52207 | 0.51325 | 0.95562 | 0.46542 | 0.47183 | 2.7911 | -148.7431 | 139.2009 | 2.679 | -147.5689 | 142.9098
Line_3 | 0.00013431 | 0.00013431 | 0.00013431 | 0.00013431 | 0.00013431 | 0.00013431 | 0.0015509 | 0.0015509 | 0.0015509 | 0.0015509 | 0.0015509 | 0.0015509 | -0.00095573 | 0.00016442 | 0.00079131 | -0.00095573 | 0.00016442 | 0.00079131 | -0.0011317 | 0.00079282 | 8.6353e-05 | -0.0011317 | 0.00079282 | 8.6353e-05 | 132.973 | 132.973 | 132.973 | 132.973 | 132.973 | 132.973 |  | 0.95507 | 0.52207 | 0.51325 | 0.95507 | 0.52207 | 0.51325 | 2.7911 | -148.7431 | 139.2009 | 2.7911 | -148.7431 | 139.2009

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55217 | 1.4162 | 1.1904 | 0.55175 | 1.4163 | 1.1905 | 6.3759 | 16.3531 | 13.7453 | 6.371 | 16.3546 | 13.7472 | -1.1819 | -4.2155 | 2.5951 | 1.1575 | 5.8595 | -2.0857 | -5.9836 | -3.9442 | -4.799 | 5.9773 | 4.8585 | 6.1419 | 103.6365 | -7.2172 | -145.8657 | -76.3614 | 172.7666 | 34.153 |  | 0.95661 | 0.35302 | 0.39692 | 0.95562 | 0.46542 | 0.47183 | 2.4628 | -144.1214 | 152.5367 | 2.679 | -147.5689 | 142.9098
Line_1 | 0.27559 | 0.70836 | 0.59528 | 0.27587 | 0.70817 | 0.59527 | 3.1823 | 8.1795 | 6.8737 | 3.1855 | 8.1773 | 6.8736 | 0.57097 | 3.3415 | -0.91424 | -0.57875 | -2.9297 | 1.0429 | 2.9852 | 2.6588 | 3.4074 | -2.9886 | -2.4292 | -3.071 | -76.3808 | 172.748 | 34.1815 | 103.6386 | -7.2334 | -145.847 |  | 0.95507 | 0.52207 | 0.51325 | 0.95562 | 0.46542 | 0.47183 | 2.7911 | -148.7431 | 139.2009 | 2.679 | -147.5689 | 142.9098
Line_2 | 0.27559 | 0.70836 | 0.59528 | 0.27587 | 0.70817 | 0.59527 | 3.1823 | 8.1795 | 6.8737 | 3.1855 | 8.1773 | 6.8736 | 0.57097 | 3.3415 | -0.91424 | -0.57875 | -2.9297 | 1.0429 | 2.9852 | 2.6588 | 3.4074 | -2.9886 | -2.4292 | -3.071 | -76.3808 | 172.748 | 34.1815 | 103.6386 | -7.2334 | -145.847 |  | 0.95507 | 0.52207 | 0.51325 | 0.95562 | 0.46542 | 0.47183 | 2.7911 | -148.7431 | 139.2009 | 2.679 | -147.5689 | 142.9098
Line_3 | 0.00013431 | 0.00013431 | 0.00013431 | 0.00013431 | 0.00013431 | 0.00013431 | 0.0015509 | 0.0015509 | 0.0015509 | 0.0015509 | 0.0015509 | 0.0015509 | -0.00095573 | 0.00016442 | 0.00079131 | -0.00095573 | 0.00016442 | 0.00079131 | -0.0011317 | 0.00079282 | 8.6353e-05 | -0.0011317 | 0.00079282 | 8.6353e-05 | 132.973 | 132.973 | 132.973 | 132.973 | 132.973 | 132.973 |  | 0.95507 | 0.52207 | 0.51325 | 0.95507 | 0.52207 | 0.51325 | 2.7911 | -148.7431 | 139.2009 | 2.7911 | -148.7431 | 139.2009

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44296 | 1.0162 | 0.88428 | 0.44268 | 1.0163 | 0.88438 | 5.1149 | 11.7342 | 10.2108 | 5.1116 | 11.7355 | 10.2119 | -1.6647 | -6.16 | -1.342 | 1.6814 | 6.9995 | 1.6199 | -4.9146 | -4.8098 | -5.7293 | 4.9143 | 5.3102 | 6.4396 | 108.57 | 2.1456 | -135.7465 | -71.4337 | -177.8694 | 44.2711 |  | 1.0145 | 0.66603 | 0.57629 | 1.0161 | 0.74866 | 0.65025 | -0.14191 | -139.8712 | 121.0711 | -0.32165 | -140.6836 | 120.151
Line_1 | 0.22116 | 0.5083 | 0.44218 | 0.22134 | 0.50816 | 0.44219 | 2.5537 | 5.8693 | 5.1059 | 2.5558 | 5.8677 | 5.1059 | 0.8434 | 3.7103 | 0.88045 | -0.84069 | -3.4998 | -0.80996 | 2.4561 | 2.7813 | 3.3972 | -2.4571 | -2.6551 | -3.2198 | -71.4575 | -177.886 | 44.2973 | 108.5663 | 2.1306 | -135.7289 |  | 1.0169 | 0.79004 | 0.68733 | 1.0161 | 0.74866 | 0.65025 | -0.4096 | -141.03 | 119.7677 | -0.32165 | -140.6836 | 120.151
Line_2 | 0.22116 | 0.5083 | 0.44218 | 0.22134 | 0.50816 | 0.44219 | 2.5537 | 5.8693 | 5.1059 | 2.5558 | 5.8677 | 5.1059 | 0.8434 | 3.7103 | 0.88045 | -0.84069 | -3.4998 | -0.80996 | 2.4561 | 2.7813 | 3.3972 | -2.4571 | -2.6551 | -3.2198 | -71.4575 | -177.886 | 44.2973 | 108.5663 | 2.1306 | -135.7289 |  | 1.0169 | 0.79004 | 0.68733 | 1.0161 | 0.74866 | 0.65025 | -0.4096 | -141.03 | 119.7677 | -0.32165 | -140.6836 | 120.151
Line_3 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 0.0010575 | 0.0010575 | 0.0010575 | 0.0010575 | 0.0010575 | 0.0010575 | -0.00090023 | 0.00025071 | 0.00064952 | -0.00090023 | 0.00025071 | 0.00064952 | -0.00058814 | 0.00079694 | -0.00032619 | -0.00058814 | 0.00079694 | -0.00032619 | 146.4332 | 146.4332 | 146.4332 | 146.4332 | 146.4332 | 146.4332 |  | 1.0169 | 0.79004 | 0.68733 | 1.0169 | 0.79004 | 0.68733 | -0.4096 | -141.03 | 119.7677 | -0.4096 | -141.03 | 119.7677

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.44296 | 1.0162 | 0.88428 | 0.44268 | 1.0163 | 0.88438 | 5.1149 | 11.7342 | 10.2108 | 5.1116 | 11.7355 | 10.2119 | -1.6647 | -6.16 | -1.342 | 1.6814 | 6.9995 | 1.6199 | -4.9146 | -4.8098 | -5.7293 | 4.9143 | 5.3102 | 6.4396 | 108.57 | 2.1456 | -135.7465 | -71.4337 | -177.8694 | 44.2711 |  | 1.0145 | 0.66603 | 0.57629 | 1.0161 | 0.74866 | 0.65025 | -0.14191 | -139.8712 | 121.0711 | -0.32165 | -140.6836 | 120.151
Line_1 | 0.22116 | 0.5083 | 0.44218 | 0.22134 | 0.50816 | 0.44219 | 2.5537 | 5.8693 | 5.1059 | 2.5558 | 5.8677 | 5.1059 | 0.8434 | 3.7103 | 0.88045 | -0.84069 | -3.4998 | -0.80996 | 2.4561 | 2.7813 | 3.3972 | -2.4571 | -2.6551 | -3.2198 | -71.4575 | -177.886 | 44.2973 | 108.5663 | 2.1306 | -135.7289 |  | 1.0169 | 0.79004 | 0.68733 | 1.0161 | 0.74866 | 0.65025 | -0.4096 | -141.03 | 119.7677 | -0.32165 | -140.6836 | 120.151
Line_2 | 0.22116 | 0.5083 | 0.44218 | 0.22134 | 0.50816 | 0.44219 | 2.5537 | 5.8693 | 5.1059 | 2.5558 | 5.8677 | 5.1059 | 0.8434 | 3.7103 | 0.88045 | -0.84069 | -3.4998 | -0.80996 | 2.4561 | 2.7813 | 3.3972 | -2.4571 | -2.6551 | -3.2198 | -71.4575 | -177.886 | 44.2973 | 108.5663 | 2.1306 | -135.7289 |  | 1.0169 | 0.79004 | 0.68733 | 1.0161 | 0.74866 | 0.65025 | -0.4096 | -141.03 | 119.7677 | -0.32165 | -140.6836 | 120.151
Line_3 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 9.1579e-05 | 0.0010575 | 0.0010575 | 0.0010575 | 0.0010575 | 0.0010575 | 0.0010575 | -0.00090023 | 0.00025071 | 0.00064952 | -0.00090023 | 0.00025071 | 0.00064952 | -0.00058814 | 0.00079694 | -0.00032619 | -0.00058814 | 0.00079694 | -0.00032619 | 146.4332 | 146.4332 | 146.4332 | 146.4332 | 146.4332 | 146.4332 |  | 1.0169 | 0.79004 | 0.68733 | 1.0169 | 0.79004 | 0.68733 | -0.4096 | -141.03 | 119.7677 | -0.4096 | -141.03 | 119.7677

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30602 | 1.1094 | 0.8925 | 0.30562 | 1.1093 | 0.89278 | 3.5336 | 12.8097 | 10.3058 | 3.529 | 12.8094 | 10.3089 | -1.1635 | -2.6808 | 1.6894 | 1.079 | 4.5653 | -1.1313 | -2.7833 | -2.4109 | -2.6879 | 2.712 | 2.7113 | 3.7432 | 113.7067 | 1.2013 | -144.0586 | -66.2568 | -178.8214 | 35.9636 |  | 0.85372 | 0.28146 | 0.30805 | 0.82709 | 0.41452 | 0.37933 | 1.0202 | -136.8338 | 158.0907 | 2.0471 | -148.1157 | 142.7801
Line_1 | 0.15258 | 0.55477 | 0.44642 | 0.15281 | 0.55466 | 0.44639 | 1.7618 | 6.4059 | 5.1548 | 1.7645 | 6.4047 | 5.1545 | 0.51716 | 2.7543 | -0.42508 | -0.53952 | -2.2826 | 0.56566 | 1.3373 | 1.431 | 2.1362 | -1.356 | -1.3556 | -1.8716 | -66.263 | -178.843 | 35.9932 | 113.7432 | 1.1786 | -144.0364 |  | 0.81383 | 0.48454 | 0.42252 | 0.82709 | 0.41452 | 0.37933 | 2.5946 | -151.3892 | 137.2476 | 2.0471 | -148.1157 | 142.7801
Line_2 | 0.15258 | 0.55477 | 0.44642 | 0.15281 | 0.55466 | 0.44639 | 1.7618 | 6.4059 | 5.1548 | 1.7645 | 6.4047 | 5.1545 | 0.51716 | 2.7543 | -0.42508 | -0.53952 | -2.2826 | 0.56566 | 1.3373 | 1.431 | 2.1362 | -1.356 | -1.3556 | -1.8716 | -66.263 | -178.843 | 35.9932 | 113.7432 | 1.1786 | -144.0364 |  | 0.81383 | 0.48454 | 0.42252 | 0.82709 | 0.41452 | 0.37933 | 2.5946 | -151.3892 | 137.2476 | 2.0471 | -148.1157 | 142.7801
Line_3 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | -0.00068255 | 0.00020031 | 0.00048224 | -0.00068255 | 0.00020031 | 0.00048224 | -0.00063138 | 0.00051606 | -2.1705e-05 | -0.00063138 | 0.00051606 | -2.1705e-05 | 139.8247 | 139.8247 | 139.8247 | 139.8247 | 139.8247 | 139.8247 |  | 0.81383 | 0.48454 | 0.42252 | 0.81383 | 0.48454 | 0.42252 | 2.5946 | -151.3892 | 137.2476 | 2.5946 | -151.3892 | 137.2476

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30602 | 1.1094 | 0.8925 | 0.30562 | 1.1093 | 0.89278 | 3.5336 | 12.8097 | 10.3058 | 3.529 | 12.8094 | 10.3089 | -1.1635 | -2.6808 | 1.6894 | 1.079 | 4.5653 | -1.1313 | -2.7833 | -2.4109 | -2.6879 | 2.712 | 2.7113 | 3.7432 | 113.7067 | 1.2013 | -144.0586 | -66.2568 | -178.8214 | 35.9636 |  | 0.85372 | 0.28146 | 0.30805 | 0.82709 | 0.41452 | 0.37933 | 1.0202 | -136.8338 | 158.0907 | 2.0471 | -148.1157 | 142.7801
Line_1 | 0.15258 | 0.55477 | 0.44642 | 0.15281 | 0.55466 | 0.44639 | 1.7618 | 6.4059 | 5.1548 | 1.7645 | 6.4047 | 5.1545 | 0.51716 | 2.7543 | -0.42508 | -0.53952 | -2.2826 | 0.56566 | 1.3373 | 1.431 | 2.1362 | -1.356 | -1.3556 | -1.8716 | -66.263 | -178.843 | 35.9932 | 113.7432 | 1.1786 | -144.0364 |  | 0.81383 | 0.48454 | 0.42252 | 0.82709 | 0.41452 | 0.37933 | 2.5946 | -151.3892 | 137.2476 | 2.0471 | -148.1157 | 142.7801
Line_2 | 0.15258 | 0.55477 | 0.44642 | 0.15281 | 0.55466 | 0.44639 | 1.7618 | 6.4059 | 5.1548 | 1.7645 | 6.4047 | 5.1545 | 0.51716 | 2.7543 | -0.42508 | -0.53952 | -2.2826 | 0.56566 | 1.3373 | 1.431 | 2.1362 | -1.356 | -1.3556 | -1.8716 | -66.263 | -178.843 | 35.9932 | 113.7432 | 1.1786 | -144.0364 |  | 0.81383 | 0.48454 | 0.42252 | 0.82709 | 0.41452 | 0.37933 | 2.5946 | -151.3892 | 137.2476 | 2.0471 | -148.1157 | 142.7801
Line_3 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 9.8942e-05 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | 0.0011425 | -0.00068255 | 0.00020031 | 0.00048224 | -0.00068255 | 0.00020031 | 0.00048224 | -0.00063138 | 0.00051606 | -2.1705e-05 | -0.00063138 | 0.00051606 | -2.1705e-05 | 139.8247 | 139.8247 | 139.8247 | 139.8247 | 139.8247 | 139.8247 |  | 0.81383 | 0.48454 | 0.42252 | 0.81383 | 0.48454 | 0.42252 | 2.5946 | -151.3892 | 137.2476 | 2.5946 | -151.3892 | 137.2476

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21671 | 0.78373 | 0.63172 | 0.21643 | 0.78371 | 0.63191 | 2.5024 | 9.0497 | 7.2944 | 2.4991 | 9.0495 | 7.2967 | -1.3402 | -4.2704 | -0.93526 | 1.297 | 5.2113 | 1.2173 | -1.7981 | -2.2874 | -3.1281 | 1.7612 | 2.4366 | 3.658 | 125.9536 | 13.6429 | -131.4746 | -54.0099 | -166.38 | 48.5476 |  | 0.89619 | 0.53531 | 0.44759 | 0.87519 | 0.63571 | 0.52836 | -0.74543 | -138.1819 | 121.8795 | -0.37916 | -141.3208 | 120.1422
Line_1 | 0.10805 | 0.39193 | 0.31598 | 0.10822 | 0.39185 | 0.31596 | 1.2477 | 4.5256 | 3.6486 | 1.2496 | 4.5247 | 3.6484 | 0.63664 | 2.8414 | 0.67989 | -0.64849 | -2.6057 | -0.60863 | 0.87088 | 1.2561 | 1.9615 | -0.88058 | -1.2183 | -1.829 | -54.0162 | -166.4016 | 48.5773 | 125.9901 | 13.62 | -131.4524 |  | 0.86464 | 0.68647 | 0.56898 | 0.87519 | 0.63571 | 0.52836 | -0.18421 | -142.5522 | 119.4601 | -0.37916 | -141.3208 | 120.1422
Line_2 | 0.10805 | 0.39193 | 0.31598 | 0.10822 | 0.39185 | 0.31596 | 1.2477 | 4.5256 | 3.6486 | 1.2496 | 4.5247 | 3.6484 | 0.63664 | 2.8414 | 0.67989 | -0.64849 | -2.6057 | -0.60863 | 0.87088 | 1.2561 | 1.9615 | -0.88058 | -1.2183 | -1.829 | -54.0162 | -166.4016 | 48.5773 | 125.9901 | 13.62 | -131.4524 |  | 0.86464 | 0.68647 | 0.56898 | 0.87519 | 0.63571 | 0.52836 | -0.18421 | -142.5522 | 119.4601 | -0.37916 | -141.3208 | 120.1422
Line_3 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 0.00081078 | 0.00081078 | 0.00081078 | 0.00081078 | 0.00081078 | 0.00081078 | -0.00062068 | 0.00023228 | 0.0003884 | -0.00062068 | 0.00023228 | 0.0003884 | -0.00032588 | 0.00050579 | -0.00024892 | -0.00032588 | 0.00050579 | -0.00024892 | 152.1149 | 152.1149 | 152.1149 | 152.1149 | 152.1149 | 152.1149 |  | 0.86464 | 0.68647 | 0.56898 | 0.86464 | 0.68647 | 0.56898 | -0.18421 | -142.5522 | 119.4601 | -0.18421 | -142.5522 | 119.4601

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21671 | 0.78373 | 0.63172 | 0.21643 | 0.78371 | 0.63191 | 2.5024 | 9.0497 | 7.2944 | 2.4991 | 9.0495 | 7.2967 | -1.3402 | -4.2704 | -0.93526 | 1.297 | 5.2113 | 1.2173 | -1.7981 | -2.2874 | -3.1281 | 1.7612 | 2.4366 | 3.658 | 125.9536 | 13.6429 | -131.4746 | -54.0099 | -166.38 | 48.5476 |  | 0.89619 | 0.53531 | 0.44759 | 0.87519 | 0.63571 | 0.52836 | -0.74543 | -138.1819 | 121.8795 | -0.37916 | -141.3208 | 120.1422
Line_1 | 0.10805 | 0.39193 | 0.31598 | 0.10822 | 0.39185 | 0.31596 | 1.2477 | 4.5256 | 3.6486 | 1.2496 | 4.5247 | 3.6484 | 0.63664 | 2.8414 | 0.67989 | -0.64849 | -2.6057 | -0.60863 | 0.87088 | 1.2561 | 1.9615 | -0.88058 | -1.2183 | -1.829 | -54.0162 | -166.4016 | 48.5773 | 125.9901 | 13.62 | -131.4524 |  | 0.86464 | 0.68647 | 0.56898 | 0.87519 | 0.63571 | 0.52836 | -0.18421 | -142.5522 | 119.4601 | -0.37916 | -141.3208 | 120.1422
Line_2 | 0.10805 | 0.39193 | 0.31598 | 0.10822 | 0.39185 | 0.31596 | 1.2477 | 4.5256 | 3.6486 | 1.2496 | 4.5247 | 3.6484 | 0.63664 | 2.8414 | 0.67989 | -0.64849 | -2.6057 | -0.60863 | 0.87088 | 1.2561 | 1.9615 | -0.88058 | -1.2183 | -1.829 | -54.0162 | -166.4016 | 48.5773 | 125.9901 | 13.62 | -131.4524 |  | 0.86464 | 0.68647 | 0.56898 | 0.87519 | 0.63571 | 0.52836 | -0.18421 | -142.5522 | 119.4601 | -0.37916 | -141.3208 | 120.1422
Line_3 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 7.0216e-05 | 0.00081078 | 0.00081078 | 0.00081078 | 0.00081078 | 0.00081078 | 0.00081078 | -0.00062068 | 0.00023228 | 0.0003884 | -0.00062068 | 0.00023228 | 0.0003884 | -0.00032588 | 0.00050579 | -0.00024892 | -0.00032588 | 0.00050579 | -0.00024892 | 152.1149 | 152.1149 | 152.1149 | 152.1149 | 152.1149 | 152.1149 |  | 0.86464 | 0.68647 | 0.56898 | 0.86464 | 0.68647 | 0.56898 | -0.18421 | -142.5522 | 119.4601 | -0.18421 | -142.5522 | 119.4601