## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7204e-15 | 5.4742e-17 | 2.7251e-15 | 1.032e-16 | 2.5246e-14 | 7.987e-15 | 5.514e-15 | 7.4381e-15 | 5.262e-15 | -5.6172e-15 | -6.1366e-15 | 2.5369e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.7204e-15 | 5.4742e-17 | 2.7251e-15 | 1.032e-16 | 2.5246e-14 | 7.987e-15 | 5.514e-15 | 7.4381e-15 | 5.262e-15 | -5.6172e-15 | -6.1366e-15 | 2.5369e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7915e-15 | -5.7609e-15 | -2.2477e-15 | -2.7505e-15 | 1.0006e-14 | -6.7431e-15 | -4.0946e-17 | -1.3038e-14 | 2.0405e-15 | -2.8324e-15 | 6.3672e-15 | 6.1216e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7915e-15 | -5.7609e-15 | -2.2477e-15 | -2.7505e-15 | 1.0006e-14 | -6.7431e-15 | -4.0946e-17 | -1.3038e-14 | 2.0405e-15 | -2.8324e-15 | 6.3672e-15 | 6.1216e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2066e-15 | 8.0297e-16 | -8.9873e-16 | -1.1292e-15 | 3.3658e-15 | 8.9873e-16 | 3.8697e-17 | 5.369e-15 | 5.8926e-15 | -2.4519e-15 | -8.1135e-17 | -5.8926e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2066e-15 | 8.0297e-16 | -8.9873e-16 | -1.1292e-15 | 3.3658e-15 | 8.9873e-16 | 3.8697e-17 | 5.369e-15 | 5.8926e-15 | -2.4519e-15 | -8.1135e-17 | -5.8926e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8717e-17 | 1.4819e-15 | 0 | -2.4659e-15 | -1.3182e-15 | 1.9889e-15 | -2.3972e-15 | 9.0475e-16 | 0 | 2.3285e-15 | -2.8391e-15 | -5.1746e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.8717e-17 | 1.4819e-15 | 0 | -2.4659e-15 | -1.3182e-15 | 1.9889e-15 | -2.3972e-15 | 9.0475e-16 | 0 | 2.3285e-15 | -2.8391e-15 | -5.1746e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.001 | 0.50313 | 0.60519 | 1.001 | 0.50313 | 0.60519 | 11.5586 | 5.8096 | 6.9881 | 11.5586 | 5.8096 | 6.9881 | -0.7688 | 3.759 | -6.2384 | 1.2898 | -3.6274 | 6.4289 | -6.1755 | -4.7337 | -3.5584 | 6.7667 | 4.8831 | 3.7745 | 99.465 | -52.4774 | -103.5539 | -80.535 | 127.5226 | 76.4461 |  | 0.53841 | 1.0405 | 1.0277 | 0.59597 | 1.047 | 1.0668 | 2.3687 | -104.0245 | 106.1464 | -1.327 | -105.8706 | 106.8637
Line_1 | 0.5005 | 0.25156 | 0.3026 | 0.5005 | 0.25156 | 0.3026 | 5.7793 | 2.9048 | 3.4941 | 5.7793 | 2.9048 | 3.4941 | 0.77518 | -1.7808 | 3.2621 | -0.64492 | 1.8137 | -3.2144 | 3.5312 | 2.4789 | 1.9413 | -3.3834 | -2.4415 | -1.8872 | -80.535 | 127.5226 | 76.4461 | 99.465 | -52.4774 | -103.5539 |  | 0.62555 | 1.0507 | 1.0864 | 0.59597 | 1.047 | 1.0668 | -2.9165 | -106.7845 | 107.2031 | -1.327 | -105.8706 | 106.8637
Line_2 | 0.5005 | 0.25156 | 0.3026 | 0.5005 | 0.25156 | 0.3026 | 5.7793 | 2.9048 | 3.4941 | 5.7793 | 2.9048 | 3.4941 | 0.77518 | -1.7808 | 3.2621 | -0.64492 | 1.8137 | -3.2144 | 3.5312 | 2.4789 | 1.9413 | -3.3834 | -2.4415 | -1.8872 | -80.535 | 127.5226 | 76.4461 | 99.465 | -52.4774 | -103.5539 |  | 0.62555 | 1.0507 | 1.0864 | 0.59597 | 1.047 | 1.0668 | -2.9165 | -106.7845 | 107.2031 | -1.327 | -105.8706 | 106.8637
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6446e-16 | -4.7459e-15 | 5.5021e-15 | 5.6539e-16 | 3.5546e-15 | -5.8609e-16 | -1.5174e-15 | 1.4428e-14 | -9.071e-15 | 1.1098e-14 | -1.4069e-14 | 1.0593e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62555 | 1.0507 | 1.0864 | 0.62555 | 1.0507 | 1.0864 | -2.9165 | -106.7845 | 107.2031 | -2.9165 | -106.7845 | 107.2031

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.001 | 0.50313 | 0.60519 | 1.001 | 0.50313 | 0.60519 | 11.5586 | 5.8096 | 6.9881 | 11.5586 | 5.8096 | 6.9881 | -0.7688 | 3.759 | -6.2384 | 1.2898 | -3.6274 | 6.4289 | -6.1755 | -4.7337 | -3.5584 | 6.7667 | 4.8831 | 3.7745 | 99.465 | -52.4774 | -103.5539 | -80.535 | 127.5226 | 76.4461 |  | 0.53841 | 1.0405 | 1.0277 | 0.59597 | 1.047 | 1.0668 | 2.3687 | -104.0245 | 106.1464 | -1.327 | -105.8706 | 106.8637
Line_1 | 0.5005 | 0.25156 | 0.3026 | 0.5005 | 0.25156 | 0.3026 | 5.7793 | 2.9048 | 3.4941 | 5.7793 | 2.9048 | 3.4941 | 0.77518 | -1.7808 | 3.2621 | -0.64492 | 1.8137 | -3.2144 | 3.5312 | 2.4789 | 1.9413 | -3.3834 | -2.4415 | -1.8872 | -80.535 | 127.5226 | 76.4461 | 99.465 | -52.4774 | -103.5539 |  | 0.62555 | 1.0507 | 1.0864 | 0.59597 | 1.047 | 1.0668 | -2.9165 | -106.7845 | 107.2031 | -1.327 | -105.8706 | 106.8637
Line_2 | 0.5005 | 0.25156 | 0.3026 | 0.5005 | 0.25156 | 0.3026 | 5.7793 | 2.9048 | 3.4941 | 5.7793 | 2.9048 | 3.4941 | 0.77518 | -1.7808 | 3.2621 | -0.64492 | 1.8137 | -3.2144 | 3.5312 | 2.4789 | 1.9413 | -3.3834 | -2.4415 | -1.8872 | -80.535 | 127.5226 | 76.4461 | 99.465 | -52.4774 | -103.5539 |  | 0.62555 | 1.0507 | 1.0864 | 0.59597 | 1.047 | 1.0668 | -2.9165 | -106.7845 | 107.2031 | -1.327 | -105.8706 | 106.8637
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.6446e-16 | -4.7459e-15 | 5.5021e-15 | 5.6539e-16 | 3.5546e-15 | -5.8609e-16 | -1.5174e-15 | 1.4428e-14 | -9.071e-15 | 1.1098e-14 | -1.4069e-14 | 1.0593e-14 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62555 | 1.0507 | 1.0864 | 0.62555 | 1.0507 | 1.0864 | -2.9165 | -106.7845 | 107.2031 | -2.9165 | -106.7845 | 107.2031

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75198 | 0.43253 | 0.43806 | 0.75198 | 0.43253 | 0.43806 | 8.6831 | 4.9944 | 5.0582 | 8.6831 | 4.9944 | 5.0582 | -2.7099 | 1.7864 | -4.7418 | 3.0039 | -1.6891 | 4.8416 | -5.8731 | -4.7616 | -2.9536 | 6.2067 | 4.872 | 3.0668 | 108.402 | -41.1265 | -101.6453 | -71.598 | 138.8735 | 78.3547 |  | 0.74491 | 1.0183 | 1.1044 | 0.79412 | 1.0325 | 1.133 | -6.367 | -110.5621 | 110.2729 | -7.4242 | -112.0051 | 110.7062
Line_1 | 0.37599 | 0.21627 | 0.21903 | 0.37599 | 0.21627 | 0.21903 | 4.3415 | 2.4972 | 2.5291 | 4.3415 | 2.4972 | 2.5291 | 1.5755 | -0.82024 | 2.4457 | -1.502 | 0.84456 | -2.4208 | 3.1868 | 2.4636 | 1.5617 | -3.1034 | -2.436 | -1.5334 | -71.598 | 138.8735 | 78.3547 | 108.402 | -41.1265 | -101.6453 |  | 0.81882 | 1.0398 | 1.1474 | 0.79412 | 1.0325 | 1.133 | -7.905 | -112.7117 | 110.9148 | -7.4242 | -112.0051 | 110.7062
Line_2 | 0.37599 | 0.21627 | 0.21903 | 0.37599 | 0.21627 | 0.21903 | 4.3415 | 2.4972 | 2.5291 | 4.3415 | 2.4972 | 2.5291 | 1.5755 | -0.82024 | 2.4457 | -1.502 | 0.84456 | -2.4208 | 3.1868 | 2.4636 | 1.5617 | -3.1034 | -2.436 | -1.5334 | -71.598 | 138.8735 | 78.3547 | 108.402 | -41.1265 | -101.6453 |  | 0.81882 | 1.0398 | 1.1474 | 0.79412 | 1.0325 | 1.133 | -7.905 | -112.7117 | 110.9148 | -7.4242 | -112.0051 | 110.7062
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4292e-15 | -1.691e-15 | 6.7096e-16 | -2.6938e-17 | -2.6675e-15 | 5.9828e-16 | -1.0405e-14 | 8.7169e-15 | -5.562e-15 | 6.8566e-15 | -9.5624e-15 | 6.047e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.81882 | 1.0398 | 1.1474 | 0.81882 | 1.0398 | 1.1474 | -7.905 | -112.7117 | 110.9148 | -7.905 | -112.7117 | 110.9148

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75198 | 0.43253 | 0.43806 | 0.75198 | 0.43253 | 0.43806 | 8.6831 | 4.9944 | 5.0582 | 8.6831 | 4.9944 | 5.0582 | -2.7099 | 1.7864 | -4.7418 | 3.0039 | -1.6891 | 4.8416 | -5.8731 | -4.7616 | -2.9536 | 6.2067 | 4.872 | 3.0668 | 108.402 | -41.1265 | -101.6453 | -71.598 | 138.8735 | 78.3547 |  | 0.74491 | 1.0183 | 1.1044 | 0.79412 | 1.0325 | 1.133 | -6.367 | -110.5621 | 110.2729 | -7.4242 | -112.0051 | 110.7062
Line_1 | 0.37599 | 0.21627 | 0.21903 | 0.37599 | 0.21627 | 0.21903 | 4.3415 | 2.4972 | 2.5291 | 4.3415 | 2.4972 | 2.5291 | 1.5755 | -0.82024 | 2.4457 | -1.502 | 0.84456 | -2.4208 | 3.1868 | 2.4636 | 1.5617 | -3.1034 | -2.436 | -1.5334 | -71.598 | 138.8735 | 78.3547 | 108.402 | -41.1265 | -101.6453 |  | 0.81882 | 1.0398 | 1.1474 | 0.79412 | 1.0325 | 1.133 | -7.905 | -112.7117 | 110.9148 | -7.4242 | -112.0051 | 110.7062
Line_2 | 0.37599 | 0.21627 | 0.21903 | 0.37599 | 0.21627 | 0.21903 | 4.3415 | 2.4972 | 2.5291 | 4.3415 | 2.4972 | 2.5291 | 1.5755 | -0.82024 | 2.4457 | -1.502 | 0.84456 | -2.4208 | 3.1868 | 2.4636 | 1.5617 | -3.1034 | -2.436 | -1.5334 | -71.598 | 138.8735 | 78.3547 | 108.402 | -41.1265 | -101.6453 |  | 0.81882 | 1.0398 | 1.1474 | 0.79412 | 1.0325 | 1.133 | -7.905 | -112.7117 | 110.9148 | -7.4242 | -112.0051 | 110.7062
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.4292e-15 | -1.691e-15 | 6.7096e-16 | -2.6938e-17 | -2.6675e-15 | 5.9828e-16 | -1.0405e-14 | 8.7169e-15 | -5.562e-15 | 6.8566e-15 | -9.5624e-15 | 6.047e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.81882 | 1.0398 | 1.1474 | 0.81882 | 1.0398 | 1.1474 | -7.905 | -112.7117 | 110.9148 | -7.905 | -112.7117 | 110.9148

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71841 | 0.29586 | 0.42388 | 0.71841 | 0.29586 | 0.42388 | 8.2954 | 3.4163 | 4.8946 | 8.2954 | 3.4163 | 4.8946 | -0.72631 | 2.6189 | -4.3329 | 1.2416 | -2.5316 | 4.5123 | -3.7351 | -1.6583 | -0.32907 | 4.0396 | 1.71 | 0.43508 | 104.4612 | -71.3555 | -78.4574 | -75.5388 | 108.6445 | 101.5426 |  | 0.4587 | 0.90736 | 0.8878 | 0.50946 | 0.89422 | 0.92617 | 3.4571 | -103.6975 | 105.8857 | -2.6238 | -105.393 | 107.05
Line_1 | 0.3592 | 0.14793 | 0.21194 | 0.3592 | 0.14793 | 0.21194 | 4.1477 | 1.7082 | 2.4473 | 4.1477 | 1.7082 | 2.4473 | 0.74962 | -1.2439 | 2.301 | -0.6208 | 1.2658 | -2.2561 | 2.096 | 0.86789 | 0.24404 | -2.0198 | -0.85498 | -0.21754 | -75.5388 | 108.6445 | 101.5426 | 104.4612 | -71.3555 | -78.4574 |  | 0.53667 | 0.88796 | 0.9455 | 0.50946 | 0.89422 | 0.92617 | -5.2185 | -106.2591 | 107.5967 | -2.6238 | -105.393 | 107.05
Line_2 | 0.3592 | 0.14793 | 0.21194 | 0.3592 | 0.14793 | 0.21194 | 4.1477 | 1.7082 | 2.4473 | 4.1477 | 1.7082 | 2.4473 | 0.74962 | -1.2439 | 2.301 | -0.6208 | 1.2658 | -2.2561 | 2.096 | 0.86789 | 0.24404 | -2.0198 | -0.85498 | -0.21754 | -75.5388 | 108.6445 | 101.5426 | 104.4612 | -71.3555 | -78.4574 |  | 0.53667 | 0.88796 | 0.9455 | 0.50946 | 0.89422 | 0.92617 | -5.2185 | -106.2591 | 107.5967 | -2.6238 | -105.393 | 107.05
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7253e-15 | -3.3633e-16 | 6.3002e-15 | -1.2658e-15 | -9.6758e-16 | -6.9772e-15 | -2.0722e-15 | -8.6648e-15 | -5.0498e-15 | 1.1561e-16 | 7.9497e-15 | 7.1844e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.53667 | 0.88796 | 0.9455 | 0.53667 | 0.88796 | 0.9455 | -5.2185 | -106.2591 | 107.5967 | -5.2185 | -106.2591 | 107.5967

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71841 | 0.29586 | 0.42388 | 0.71841 | 0.29586 | 0.42388 | 8.2954 | 3.4163 | 4.8946 | 8.2954 | 3.4163 | 4.8946 | -0.72631 | 2.6189 | -4.3329 | 1.2416 | -2.5316 | 4.5123 | -3.7351 | -1.6583 | -0.32907 | 4.0396 | 1.71 | 0.43508 | 104.4612 | -71.3555 | -78.4574 | -75.5388 | 108.6445 | 101.5426 |  | 0.4587 | 0.90736 | 0.8878 | 0.50946 | 0.89422 | 0.92617 | 3.4571 | -103.6975 | 105.8857 | -2.6238 | -105.393 | 107.05
Line_1 | 0.3592 | 0.14793 | 0.21194 | 0.3592 | 0.14793 | 0.21194 | 4.1477 | 1.7082 | 2.4473 | 4.1477 | 1.7082 | 2.4473 | 0.74962 | -1.2439 | 2.301 | -0.6208 | 1.2658 | -2.2561 | 2.096 | 0.86789 | 0.24404 | -2.0198 | -0.85498 | -0.21754 | -75.5388 | 108.6445 | 101.5426 | 104.4612 | -71.3555 | -78.4574 |  | 0.53667 | 0.88796 | 0.9455 | 0.50946 | 0.89422 | 0.92617 | -5.2185 | -106.2591 | 107.5967 | -2.6238 | -105.393 | 107.05
Line_2 | 0.3592 | 0.14793 | 0.21194 | 0.3592 | 0.14793 | 0.21194 | 4.1477 | 1.7082 | 2.4473 | 4.1477 | 1.7082 | 2.4473 | 0.74962 | -1.2439 | 2.301 | -0.6208 | 1.2658 | -2.2561 | 2.096 | 0.86789 | 0.24404 | -2.0198 | -0.85498 | -0.21754 | -75.5388 | 108.6445 | 101.5426 | 104.4612 | -71.3555 | -78.4574 |  | 0.53667 | 0.88796 | 0.9455 | 0.50946 | 0.89422 | 0.92617 | -5.2185 | -106.2591 | 107.5967 | -2.6238 | -105.393 | 107.05
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.7253e-15 | -3.3633e-16 | 6.3002e-15 | -1.2658e-15 | -9.6758e-16 | -6.9772e-15 | -2.0722e-15 | -8.6648e-15 | -5.0498e-15 | 1.1561e-16 | 7.9497e-15 | 7.1844e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.53667 | 0.88796 | 0.9455 | 0.53667 | 0.88796 | 0.9455 | -5.2185 | -106.2591 | 107.5967 | -5.2185 | -106.2591 | 107.5967

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50992 | 0.21 | 0.30087 | 0.50992 | 0.21 | 0.30087 | 5.8881 | 2.4249 | 3.4742 | 5.8881 | 2.4249 | 3.4742 | -1.9905 | 1.353 | -3.2992 | 2.2501 | -1.309 | 3.3896 | -3.0837 | -1.6671 | 0.2535 | 3.2371 | 1.6931 | -0.20009 | 116.9471 | -58.8696 | -65.9715 | -63.0529 | 121.1304 | 114.0285 |  | 0.62335 | 0.88541 | 0.95243 | 0.66954 | 0.88254 | 0.97735 | -5.8955 | -109.8062 | 109.6347 | -7.8566 | -111.1606 | 110.6501
Line_1 | 0.25496 | 0.105 | 0.15044 | 0.25496 | 0.105 | 0.15044 | 2.944 | 1.2125 | 1.7371 | 2.944 | 1.2125 | 1.7371 | 1.19 | -0.64348 | 1.7174 | -1.1251 | 0.65449 | -1.6948 | 1.6569 | 0.85304 | -0.086693 | -1.6185 | -0.84654 | 0.10005 | -63.0529 | 121.1304 | 114.0285 | 116.9471 | -58.8696 | -65.9715 |  | 0.6929 | 0.88129 | 0.98992 | 0.66954 | 0.88254 | 0.97735 | -8.7386 | -111.841 | 111.1386 | -7.8566 | -111.1606 | 110.6501
Line_2 | 0.25496 | 0.105 | 0.15044 | 0.25496 | 0.105 | 0.15044 | 2.944 | 1.2125 | 1.7371 | 2.944 | 1.2125 | 1.7371 | 1.19 | -0.64348 | 1.7174 | -1.1251 | 0.65449 | -1.6948 | 1.6569 | 0.85304 | -0.086693 | -1.6185 | -0.84654 | 0.10005 | -63.0529 | 121.1304 | 114.0285 | 116.9471 | -58.8696 | -65.9715 |  | 0.6929 | 0.88129 | 0.98992 | 0.66954 | 0.88254 | 0.97735 | -8.7386 | -111.841 | 111.1386 | -7.8566 | -111.1606 | 110.6501
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0512e-15 | -6.2658e-16 | -1.6401e-15 | -4.6165e-15 | 2.1297e-15 | 8.4552e-16 | 1.5605e-15 | 4.7486e-15 | -6.3414e-16 | -3.2814e-16 | -3.1023e-15 | -2.1868e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.6929 | 0.88129 | 0.98992 | 0.6929 | 0.88129 | 0.98992 | -8.7386 | -111.841 | 111.1386 | -8.7386 | -111.841 | 111.1386

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50992 | 0.21 | 0.30087 | 0.50992 | 0.21 | 0.30087 | 5.8881 | 2.4249 | 3.4742 | 5.8881 | 2.4249 | 3.4742 | -1.9905 | 1.353 | -3.2992 | 2.2501 | -1.309 | 3.3896 | -3.0837 | -1.6671 | 0.2535 | 3.2371 | 1.6931 | -0.20009 | 116.9471 | -58.8696 | -65.9715 | -63.0529 | 121.1304 | 114.0285 |  | 0.62335 | 0.88541 | 0.95243 | 0.66954 | 0.88254 | 0.97735 | -5.8955 | -109.8062 | 109.6347 | -7.8566 | -111.1606 | 110.6501
Line_1 | 0.25496 | 0.105 | 0.15044 | 0.25496 | 0.105 | 0.15044 | 2.944 | 1.2125 | 1.7371 | 2.944 | 1.2125 | 1.7371 | 1.19 | -0.64348 | 1.7174 | -1.1251 | 0.65449 | -1.6948 | 1.6569 | 0.85304 | -0.086693 | -1.6185 | -0.84654 | 0.10005 | -63.0529 | 121.1304 | 114.0285 | 116.9471 | -58.8696 | -65.9715 |  | 0.6929 | 0.88129 | 0.98992 | 0.66954 | 0.88254 | 0.97735 | -8.7386 | -111.841 | 111.1386 | -7.8566 | -111.1606 | 110.6501
Line_2 | 0.25496 | 0.105 | 0.15044 | 0.25496 | 0.105 | 0.15044 | 2.944 | 1.2125 | 1.7371 | 2.944 | 1.2125 | 1.7371 | 1.19 | -0.64348 | 1.7174 | -1.1251 | 0.65449 | -1.6948 | 1.6569 | 0.85304 | -0.086693 | -1.6185 | -0.84654 | 0.10005 | -63.0529 | 121.1304 | 114.0285 | 116.9471 | -58.8696 | -65.9715 |  | 0.6929 | 0.88129 | 0.98992 | 0.66954 | 0.88254 | 0.97735 | -8.7386 | -111.841 | 111.1386 | -7.8566 | -111.1606 | 110.6501
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.0512e-15 | -6.2658e-16 | -1.6401e-15 | -4.6165e-15 | 2.1297e-15 | 8.4552e-16 | 1.5605e-15 | 4.7486e-15 | -6.3414e-16 | -3.2814e-16 | -3.1023e-15 | -2.1868e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.6929 | 0.88129 | 0.98992 | 0.6929 | 0.88129 | 0.98992 | -8.7386 | -111.841 | 111.1386 | -8.7386 | -111.841 | 111.1386

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67553 | 1.3094 | 1.221 | 0.67553 | 1.3094 | 1.221 | 7.8004 | 15.1198 | 14.0991 | 7.8004 | 15.1198 | 14.0991 | -1.9321 | -5.7517 | 4.5953 | 2.1694 | 6.6433 | -3.82 | -6.3674 | -3.5588 | -5.1943 | 6.6366 | 4.5704 | 6.0739 | 109.3673 | -3.2381 | -152.5246 | -70.6327 | 176.7619 | 27.4754 |  | 0.85304 | 0.44734 | 0.49189 | 0.89511 | 0.53332 | 0.50892 | 2.4877 | -151.4917 | 158.9743 | 1.2658 | -148.7114 | 149.6424
Line_1 | 0.33777 | 0.65471 | 0.61051 | 0.33777 | 0.65471 | 0.61051 | 3.9002 | 7.5599 | 7.0496 | 3.9002 | 7.5599 | 7.0496 | 1.144 | 3.5446 | -1.7162 | -1.0847 | -3.3217 | 1.91 | 3.3856 | 2.5381 | 3.2568 | -3.3183 | -2.2852 | -3.0369 | -70.6327 | 176.7619 | 27.4754 | 109.3673 | -3.2381 | -152.5246 |  | 0.91628 | 0.57667 | 0.52221 | 0.89511 | 0.53332 | 0.50892 | 0.69699 | -147.6334 | 145.2625 | 1.2658 | -148.7114 | 149.6424
Line_2 | 0.33777 | 0.65471 | 0.61051 | 0.33777 | 0.65471 | 0.61051 | 3.9002 | 7.5599 | 7.0496 | 3.9002 | 7.5599 | 7.0496 | 1.144 | 3.5446 | -1.7162 | -1.0847 | -3.3217 | 1.91 | 3.3856 | 2.5381 | 3.2568 | -3.3183 | -2.2852 | -3.0369 | -70.6327 | 176.7619 | 27.4754 | 109.3673 | -3.2381 | -152.5246 |  | 0.91628 | 0.57667 | 0.52221 | 0.89511 | 0.53332 | 0.50892 | 0.69699 | -147.6334 | 145.2625 | 1.2658 | -148.7114 | 149.6424
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3929e-15 | -5.232e-15 | 0 | -5.2799e-17 | 2.2749e-16 | -2.8191e-15 | 4.2873e-15 | 3.1522e-15 | 0 | 4.3401e-15 | 9.8465e-15 | -4.0656e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.91628 | 0.57667 | 0.52221 | 0.91628 | 0.57667 | 0.52221 | 0.69699 | -147.6334 | 145.2625 | 0.69699 | -147.6334 | 145.2625

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67553 | 1.3094 | 1.221 | 0.67553 | 1.3094 | 1.221 | 7.8004 | 15.1198 | 14.0991 | 7.8004 | 15.1198 | 14.0991 | -1.9321 | -5.7517 | 4.5953 | 2.1694 | 6.6433 | -3.82 | -6.3674 | -3.5588 | -5.1943 | 6.6366 | 4.5704 | 6.0739 | 109.3673 | -3.2381 | -152.5246 | -70.6327 | 176.7619 | 27.4754 |  | 0.85304 | 0.44734 | 0.49189 | 0.89511 | 0.53332 | 0.50892 | 2.4877 | -151.4917 | 158.9743 | 1.2658 | -148.7114 | 149.6424
Line_1 | 0.33777 | 0.65471 | 0.61051 | 0.33777 | 0.65471 | 0.61051 | 3.9002 | 7.5599 | 7.0496 | 3.9002 | 7.5599 | 7.0496 | 1.144 | 3.5446 | -1.7162 | -1.0847 | -3.3217 | 1.91 | 3.3856 | 2.5381 | 3.2568 | -3.3183 | -2.2852 | -3.0369 | -70.6327 | 176.7619 | 27.4754 | 109.3673 | -3.2381 | -152.5246 |  | 0.91628 | 0.57667 | 0.52221 | 0.89511 | 0.53332 | 0.50892 | 0.69699 | -147.6334 | 145.2625 | 1.2658 | -148.7114 | 149.6424
Line_2 | 0.33777 | 0.65471 | 0.61051 | 0.33777 | 0.65471 | 0.61051 | 3.9002 | 7.5599 | 7.0496 | 3.9002 | 7.5599 | 7.0496 | 1.144 | 3.5446 | -1.7162 | -1.0847 | -3.3217 | 1.91 | 3.3856 | 2.5381 | 3.2568 | -3.3183 | -2.2852 | -3.0369 | -70.6327 | 176.7619 | 27.4754 | 109.3673 | -3.2381 | -152.5246 |  | 0.91628 | 0.57667 | 0.52221 | 0.89511 | 0.53332 | 0.50892 | 0.69699 | -147.6334 | 145.2625 | 1.2658 | -148.7114 | 149.6424
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.3929e-15 | -5.232e-15 | 0 | -5.2799e-17 | 2.2749e-16 | -2.8191e-15 | 4.2873e-15 | 3.1522e-15 | 0 | 4.3401e-15 | 9.8465e-15 | -4.0656e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.91628 | 0.57667 | 0.52221 | 0.91628 | 0.57667 | 0.52221 | 0.69699 | -147.6334 | 145.2625 | 0.69699 | -147.6334 | 145.2625

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52114 | 0.93892 | 0.91024 | 0.52114 | 0.93892 | 0.91024 | 6.0176 | 10.8417 | 10.5105 | 6.0176 | 10.8417 | 10.5105 | -2.5202 | -6.7203 | -0.046684 | 2.6615 | 7.1787 | 0.47752 | -5.1048 | -4.2514 | -6.2874 | 5.2651 | 4.7715 | 6.7762 | 114.947 | 5.5743 | -141.7343 | -65.053 | -174.4257 | 38.2657 |  | 0.94607 | 0.73348 | 0.59821 | 0.98038 | 0.79507 | 0.6463 | -1.3282 | -142.1075 | 127.8402 | -1.8692 | -140.8147 | 124.2347
Line_1 | 0.26057 | 0.46946 | 0.45512 | 0.26057 | 0.46946 | 0.45512 | 3.0088 | 5.4208 | 5.2553 | 3.0088 | 5.4208 | 5.2553 | 1.366 | 3.704 | 0.34647 | -1.3307 | -3.5894 | -0.23876 | 2.6726 | 2.5158 | 3.5103 | -2.6325 | -2.3858 | -3.3881 | -65.053 | -174.4257 | 38.2657 | 114.947 | 5.5743 | -141.7343 |  | 0.99757 | 0.82599 | 0.67121 | 0.98038 | 0.79507 | 0.6463 | -2.1257 | -140.2407 | 122.6288 | -1.8692 | -140.8147 | 124.2347
Line_2 | 0.26057 | 0.46946 | 0.45512 | 0.26057 | 0.46946 | 0.45512 | 3.0088 | 5.4208 | 5.2553 | 3.0088 | 5.4208 | 5.2553 | 1.366 | 3.704 | 0.34647 | -1.3307 | -3.5894 | -0.23876 | 2.6726 | 2.5158 | 3.5103 | -2.6325 | -2.3858 | -3.3881 | -65.053 | -174.4257 | 38.2657 | 114.947 | 5.5743 | -141.7343 |  | 0.99757 | 0.82599 | 0.67121 | 0.98038 | 0.79507 | 0.6463 | -2.1257 | -140.2407 | 122.6288 | -1.8692 | -140.8147 | 124.2347
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7638e-17 | 3.7536e-15 | 2.5715e-15 | -2.1858e-15 | 8.025e-15 | -2.5715e-15 | -2.3611e-15 | -4.5118e-15 | -4.0165e-15 | 4.8098e-15 | 1.1766e-14 | 4.0165e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.99757 | 0.82599 | 0.67121 | 0.99757 | 0.82599 | 0.67121 | -2.1257 | -140.2407 | 122.6288 | -2.1257 | -140.2407 | 122.6288

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52114 | 0.93892 | 0.91024 | 0.52114 | 0.93892 | 0.91024 | 6.0176 | 10.8417 | 10.5105 | 6.0176 | 10.8417 | 10.5105 | -2.5202 | -6.7203 | -0.046684 | 2.6615 | 7.1787 | 0.47752 | -5.1048 | -4.2514 | -6.2874 | 5.2651 | 4.7715 | 6.7762 | 114.947 | 5.5743 | -141.7343 | -65.053 | -174.4257 | 38.2657 |  | 0.94607 | 0.73348 | 0.59821 | 0.98038 | 0.79507 | 0.6463 | -1.3282 | -142.1075 | 127.8402 | -1.8692 | -140.8147 | 124.2347
Line_1 | 0.26057 | 0.46946 | 0.45512 | 0.26057 | 0.46946 | 0.45512 | 3.0088 | 5.4208 | 5.2553 | 3.0088 | 5.4208 | 5.2553 | 1.366 | 3.704 | 0.34647 | -1.3307 | -3.5894 | -0.23876 | 2.6726 | 2.5158 | 3.5103 | -2.6325 | -2.3858 | -3.3881 | -65.053 | -174.4257 | 38.2657 | 114.947 | 5.5743 | -141.7343 |  | 0.99757 | 0.82599 | 0.67121 | 0.98038 | 0.79507 | 0.6463 | -2.1257 | -140.2407 | 122.6288 | -1.8692 | -140.8147 | 124.2347
Line_2 | 0.26057 | 0.46946 | 0.45512 | 0.26057 | 0.46946 | 0.45512 | 3.0088 | 5.4208 | 5.2553 | 3.0088 | 5.4208 | 5.2553 | 1.366 | 3.704 | 0.34647 | -1.3307 | -3.5894 | -0.23876 | 2.6726 | 2.5158 | 3.5103 | -2.6325 | -2.3858 | -3.3881 | -65.053 | -174.4257 | 38.2657 | 114.947 | 5.5743 | -141.7343 |  | 0.99757 | 0.82599 | 0.67121 | 0.98038 | 0.79507 | 0.6463 | -2.1257 | -140.2407 | 122.6288 | -1.8692 | -140.8147 | 124.2347
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -8.7638e-17 | 3.7536e-15 | 2.5715e-15 | -2.1858e-15 | 8.025e-15 | -2.5715e-15 | -2.3611e-15 | -4.5118e-15 | -4.0165e-15 | 4.8098e-15 | 1.1766e-14 | 4.0165e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.99757 | 0.82599 | 0.67121 | 0.99757 | 0.82599 | 0.67121 | -2.1257 | -140.2407 | 122.6288 | -2.1257 | -140.2407 | 122.6288

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40871 | 1.0247 | 0.92809 | 0.40871 | 1.0247 | 0.92809 | 4.7194 | 11.8318 | 10.7166 | 4.7194 | 11.8318 | 10.7166 | -1.6106 | -4.0473 | 3.1221 | 1.7774 | 5.0955 | -2.2621 | -3.0758 | -1.6657 | -3.3794 | 3.1743 | 2.2852 | 3.8876 | 120.5778 | 5.4525 | -151.0498 | -59.4222 | -174.5475 | 28.9502 |  | 0.73568 | 0.36991 | 0.42932 | 0.77088 | 0.47199 | 0.41971 | 2.9395 | -152.1774 | 161.6834 | 1.3325 | -150.393 | 149.1443
Line_1 | 0.20435 | 0.51233 | 0.46404 | 0.20435 | 0.51233 | 0.46404 | 2.3597 | 5.9159 | 5.3583 | 2.3597 | 5.9159 | 5.3583 | 0.93038 | 2.8098 | -0.91607 | -0.88868 | -2.5478 | 1.1311 | 1.6118 | 1.2974 | 2.0709 | -1.5872 | -1.1426 | -1.9438 | -59.4222 | -174.5475 | 28.9502 | 120.5778 | 5.4525 | -151.0498 |  | 0.78869 | 0.52315 | 0.4226 | 0.77088 | 0.47199 | 0.41971 | 0.58303 | -149.7623 | 142.8129 | 1.3325 | -150.393 | 149.1443
Line_2 | 0.20435 | 0.51233 | 0.46404 | 0.20435 | 0.51233 | 0.46404 | 2.3597 | 5.9159 | 5.3583 | 2.3597 | 5.9159 | 5.3583 | 0.93038 | 2.8098 | -0.91607 | -0.88868 | -2.5478 | 1.1311 | 1.6118 | 1.2974 | 2.0709 | -1.5872 | -1.1426 | -1.9438 | -59.4222 | -174.5475 | 28.9502 | 120.5778 | 5.4525 | -151.0498 |  | 0.78869 | 0.52315 | 0.4226 | 0.77088 | 0.47199 | 0.41971 | 0.58303 | -149.7623 | 142.8129 | 1.3325 | -150.393 | 149.1443
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8018e-15 | 1.517e-15 | -2.7703e-17 | -6.5376e-15 | 6.2398e-16 | 2.4199e-15 | 2.8512e-17 | 2.3185e-15 | -5.0045e-15 | -6.6527e-17 | -1.0705e-15 | 3.1896e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.78869 | 0.52315 | 0.4226 | 0.78869 | 0.52315 | 0.4226 | 0.58303 | -149.7623 | 142.8129 | 0.58303 | -149.7623 | 142.8129

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40871 | 1.0247 | 0.92809 | 0.40871 | 1.0247 | 0.92809 | 4.7194 | 11.8318 | 10.7166 | 4.7194 | 11.8318 | 10.7166 | -1.6106 | -4.0473 | 3.1221 | 1.7774 | 5.0955 | -2.2621 | -3.0758 | -1.6657 | -3.3794 | 3.1743 | 2.2852 | 3.8876 | 120.5778 | 5.4525 | -151.0498 | -59.4222 | -174.5475 | 28.9502 |  | 0.73568 | 0.36991 | 0.42932 | 0.77088 | 0.47199 | 0.41971 | 2.9395 | -152.1774 | 161.6834 | 1.3325 | -150.393 | 149.1443
Line_1 | 0.20435 | 0.51233 | 0.46404 | 0.20435 | 0.51233 | 0.46404 | 2.3597 | 5.9159 | 5.3583 | 2.3597 | 5.9159 | 5.3583 | 0.93038 | 2.8098 | -0.91607 | -0.88868 | -2.5478 | 1.1311 | 1.6118 | 1.2974 | 2.0709 | -1.5872 | -1.1426 | -1.9438 | -59.4222 | -174.5475 | 28.9502 | 120.5778 | 5.4525 | -151.0498 |  | 0.78869 | 0.52315 | 0.4226 | 0.77088 | 0.47199 | 0.41971 | 0.58303 | -149.7623 | 142.8129 | 1.3325 | -150.393 | 149.1443
Line_2 | 0.20435 | 0.51233 | 0.46404 | 0.20435 | 0.51233 | 0.46404 | 2.3597 | 5.9159 | 5.3583 | 2.3597 | 5.9159 | 5.3583 | 0.93038 | 2.8098 | -0.91607 | -0.88868 | -2.5478 | 1.1311 | 1.6118 | 1.2974 | 2.0709 | -1.5872 | -1.1426 | -1.9438 | -59.4222 | -174.5475 | 28.9502 | 120.5778 | 5.4525 | -151.0498 |  | 0.78869 | 0.52315 | 0.4226 | 0.77088 | 0.47199 | 0.41971 | 0.58303 | -149.7623 | 142.8129 | 1.3325 | -150.393 | 149.1443
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.8018e-15 | 1.517e-15 | -2.7703e-17 | -6.5376e-15 | 6.2398e-16 | 2.4199e-15 | 2.8512e-17 | 2.3185e-15 | -5.0045e-15 | -6.6527e-17 | -1.0705e-15 | 3.1896e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.78869 | 0.52315 | 0.4226 | 0.78869 | 0.52315 | 0.4226 | 0.58303 | -149.7623 | 142.8129 | 0.58303 | -149.7623 | 142.8129

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29041 | 0.72396 | 0.65659 | 0.29041 | 0.72396 | 0.65659 | 3.3533 | 8.3596 | 7.5816 | 3.3533 | 8.3596 | 7.5816 | -1.8817 | -4.796 | -0.053024 | 1.9659 | 5.3193 | 0.48344 | -1.9581 | -1.6254 | -3.7586 | 2.0078 | 1.9346 | 4.013 | 132.8507 | 17.9041 | -138.4533 | -47.1493 | -162.0959 | 41.5467 |  | 0.80985 | 0.60577 | 0.49581 | 0.83799 | 0.67709 | 0.53313 | -1.0104 | -143.3745 | 130.7385 | -1.5453 | -142.11 | 124.6774
Line_1 | 0.1452 | 0.36198 | 0.32829 | 0.1452 | 0.36198 | 0.32829 | 1.6767 | 4.1798 | 3.7908 | 1.6767 | 4.1798 | 3.7908 | 1.004 | 2.7905 | 0.34932 | -0.98297 | -2.6597 | -0.24172 | 1.0164 | 1.0446 | 2.0701 | -1.0039 | -0.9673 | -2.0065 | -47.1493 | -162.0959 | 41.5467 | 132.8507 | 17.9041 | -138.4533 |  | 0.85208 | 0.71286 | 0.5538 | 0.83799 | 0.67709 | 0.53313 | -1.7995 | -141.5727 | 121.9683 | -1.5453 | -142.11 | 124.6774
Line_2 | 0.1452 | 0.36198 | 0.32829 | 0.1452 | 0.36198 | 0.32829 | 1.6767 | 4.1798 | 3.7908 | 1.6767 | 4.1798 | 3.7908 | 1.004 | 2.7905 | 0.34932 | -0.98297 | -2.6597 | -0.24172 | 1.0164 | 1.0446 | 2.0701 | -1.0039 | -0.9673 | -2.0065 | -47.1493 | -162.0959 | 41.5467 | 132.8507 | 17.9041 | -138.4533 |  | 0.85208 | 0.71286 | 0.5538 | 0.83799 | 0.67709 | 0.53313 | -1.7995 | -141.5727 | 121.9683 | -1.5453 | -142.11 | 124.6774
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.3374e-17 | 2.2573e-15 | -6.9446e-16 | 1.0719e-15 | 1.984e-15 | 1.3889e-15 | -2.0171e-15 | 3.9461e-15 | 1.1127e-15 | 1.9854e-15 | 1.574e-15 | -2.2255e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85208 | 0.71286 | 0.5538 | 0.85208 | 0.71286 | 0.5538 | -1.7995 | -141.5727 | 121.9683 | -1.7995 | -141.5727 | 121.9683

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29041 | 0.72396 | 0.65659 | 0.29041 | 0.72396 | 0.65659 | 3.3533 | 8.3596 | 7.5816 | 3.3533 | 8.3596 | 7.5816 | -1.8817 | -4.796 | -0.053024 | 1.9659 | 5.3193 | 0.48344 | -1.9581 | -1.6254 | -3.7586 | 2.0078 | 1.9346 | 4.013 | 132.8507 | 17.9041 | -138.4533 | -47.1493 | -162.0959 | 41.5467 |  | 0.80985 | 0.60577 | 0.49581 | 0.83799 | 0.67709 | 0.53313 | -1.0104 | -143.3745 | 130.7385 | -1.5453 | -142.11 | 124.6774
Line_1 | 0.1452 | 0.36198 | 0.32829 | 0.1452 | 0.36198 | 0.32829 | 1.6767 | 4.1798 | 3.7908 | 1.6767 | 4.1798 | 3.7908 | 1.004 | 2.7905 | 0.34932 | -0.98297 | -2.6597 | -0.24172 | 1.0164 | 1.0446 | 2.0701 | -1.0039 | -0.9673 | -2.0065 | -47.1493 | -162.0959 | 41.5467 | 132.8507 | 17.9041 | -138.4533 |  | 0.85208 | 0.71286 | 0.5538 | 0.83799 | 0.67709 | 0.53313 | -1.7995 | -141.5727 | 121.9683 | -1.5453 | -142.11 | 124.6774
Line_2 | 0.1452 | 0.36198 | 0.32829 | 0.1452 | 0.36198 | 0.32829 | 1.6767 | 4.1798 | 3.7908 | 1.6767 | 4.1798 | 3.7908 | 1.004 | 2.7905 | 0.34932 | -0.98297 | -2.6597 | -0.24172 | 1.0164 | 1.0446 | 2.0701 | -1.0039 | -0.9673 | -2.0065 | -47.1493 | -162.0959 | 41.5467 | 132.8507 | 17.9041 | -138.4533 |  | 0.85208 | 0.71286 | 0.5538 | 0.83799 | 0.67709 | 0.53313 | -1.7995 | -141.5727 | 121.9683 | -1.5453 | -142.11 | 124.6774
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.3374e-17 | 2.2573e-15 | -6.9446e-16 | 1.0719e-15 | 1.984e-15 | 1.3889e-15 | -2.0171e-15 | 3.9461e-15 | 1.1127e-15 | 1.9854e-15 | 1.574e-15 | -2.2255e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.85208 | 0.71286 | 0.5538 | 0.85208 | 0.71286 | 0.5538 | -1.7995 | -141.5727 | 121.9683 | -1.7995 | -141.5727 | 121.9683