## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7006e-14 | 1.1945e-14 | -7.7989e-15 | 5.772e-15 | 7.3834e-15 | -5.262e-15 | 8.1162e-15 | 5.8629e-15 | 1.0712e-14 | -8.3226e-15 | -7.4928e-15 | 2.7251e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7006e-14 | 1.1945e-14 | -7.7989e-15 | 5.772e-15 | 7.3834e-15 | -5.262e-15 | 8.1162e-15 | 5.8629e-15 | 1.0712e-14 | -8.3226e-15 | -7.4928e-15 | 2.7251e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7915e-15 | -4.8512e-15 | -2.2477e-15 | 2.7915e-15 | 1.9253e-14 | -2.662e-15 | -4.0946e-17 | 3.9417e-15 | 2.0405e-15 | 4.0946e-17 | 2.8804e-15 | 1.0617e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7915e-15 | -4.8512e-15 | -2.2477e-15 | 2.7915e-15 | 1.9253e-14 | -2.662e-15 | -4.0946e-17 | 3.9417e-15 | 2.0405e-15 | 4.0946e-17 | 2.8804e-15 | 1.0617e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3614e-15 | -8.7348e-15 | -3.4558e-15 | -1.3614e-15 | 9.3755e-15 | 1.0507e-15 | -4.7877e-15 | 8.8411e-16 | -8.9686e-15 | 4.7877e-15 | -2.2467e-15 | -5.6331e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.3614e-15 | -8.7348e-15 | -3.4558e-15 | -1.3614e-15 | 9.3755e-15 | 1.0507e-15 | -4.7877e-15 | 8.8411e-16 | -8.9686e-15 | 4.7877e-15 | -2.2467e-15 | -5.6331e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3972e-15 | -4.9372e-15 | 1.6721e-15 | -1.3743e-16 | 3.7049e-15 | -2.5873e-15 | -6.8717e-17 | 3.0887e-15 | 1.8305e-15 | 4.7944e-15 | 2.2619e-15 | -9.9443e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.3972e-15 | -4.9372e-15 | 1.6721e-15 | -1.3743e-16 | 3.7049e-15 | -2.5873e-15 | -6.8717e-17 | 3.0887e-15 | 1.8305e-15 | 4.7944e-15 | 2.2619e-15 | -9.9443e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1129 | 0.35516 | 0.61586 | 1.1135 | 0.3546 | 0.61566 | 12.8512 | 4.1011 | 7.1114 | 12.8577 | 4.0946 | 7.1091 | -2.3626 | 3.6303 | -3.974 | 3.2898 | -3.6557 | 4.351 | -4.7431 | -2.9908 | -5.9208 | 6.1445 | 2.8482 | 5.7916 | 108.6204 | -69.8016 | -121.8342 | -71.3694 | 110.1689 | 58.1142 |  | 0.41233 | 1.1469 | 1.0027 | 0.54207 | 1.1318 | 1.019 | -7.8579 | -109.2852 | 114.2965 | -9.5339 | -107.7536 | 111.1983
Line_1 | 0.55707 | 0.17698 | 0.30784 | 0.55675 | 0.1773 | 0.30783 | 6.4324 | 2.0436 | 3.5546 | 6.4288 | 2.0473 | 3.5545 | 1.8794 | -1.8341 | 2.2677 | -1.6449 | 1.8278 | -2.1755 | 3.4238 | 1.3847 | 2.8658 | -3.0723 | -1.4241 | -2.8958 | -71.3416 | 110.0842 | 58.0372 | 108.6306 | -69.8311 | -121.8858 |  | 0.60718 | 1.1245 | 1.0281 | 0.54207 | 1.1318 | 1.019 | -10.1046 | -106.9665 | 109.6828 | -9.5339 | -107.7536 | 111.1983
Line_2 | 0.55707 | 0.17698 | 0.30784 | 0.55675 | 0.1773 | 0.30783 | 6.4324 | 2.0436 | 3.5546 | 6.4288 | 2.0473 | 3.5545 | 1.8794 | -1.8341 | 2.2677 | -1.6449 | 1.8278 | -2.1755 | 3.4238 | 1.3847 | 2.8658 | -3.0723 | -1.4241 | -2.8958 | -71.3416 | 110.0842 | 58.0372 | 108.6306 | -69.8311 | -121.8858 |  | 0.60718 | 1.1245 | 1.0281 | 0.54207 | 1.1318 | 1.019 | -10.1046 | -106.9665 | 109.6828 | -9.5339 | -107.7536 | 111.1983
Line_3 | 0.00018761 | 0.00018761 | 0.00018761 | 0.00018761 | 0.00018761 | 0.00018761 | 0.0021663 | 0.0021663 | 0.0021663 | 0.0021663 | 0.0021663 | 0.0021663 | 0.001297 | 0.00011618 | -0.0014131 | 0.001297 | 0.00011618 | -0.0014131 | 0.00021926 | -0.0024333 | 0.0017214 | 0.00021926 | -0.0024333 | 0.0017214 | -19.7001 | -19.7001 | -19.7001 | -19.7001 | -19.7001 | -19.7001 |  | 0.60718 | 1.1245 | 1.0281 | 0.60718 | 1.1245 | 1.0281 | -10.1046 | -106.9665 | 109.6828 | -10.1046 | -106.9665 | 109.6828

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1129 | 0.35516 | 0.61586 | 1.1135 | 0.3546 | 0.61566 | 12.8512 | 4.1011 | 7.1114 | 12.8577 | 4.0946 | 7.1091 | -2.3626 | 3.6303 | -3.974 | 3.2898 | -3.6557 | 4.351 | -4.7431 | -2.9908 | -5.9208 | 6.1445 | 2.8482 | 5.7916 | 108.6204 | -69.8016 | -121.8342 | -71.3694 | 110.1689 | 58.1142 |  | 0.41233 | 1.1469 | 1.0027 | 0.54207 | 1.1318 | 1.019 | -7.8579 | -109.2852 | 114.2965 | -9.5339 | -107.7536 | 111.1983
Line_1 | 0.55707 | 0.17698 | 0.30784 | 0.55675 | 0.1773 | 0.30783 | 6.4324 | 2.0436 | 3.5546 | 6.4288 | 2.0473 | 3.5545 | 1.8794 | -1.8341 | 2.2677 | -1.6449 | 1.8278 | -2.1755 | 3.4238 | 1.3847 | 2.8658 | -3.0723 | -1.4241 | -2.8958 | -71.3416 | 110.0842 | 58.0372 | 108.6306 | -69.8311 | -121.8858 |  | 0.60718 | 1.1245 | 1.0281 | 0.54207 | 1.1318 | 1.019 | -10.1046 | -106.9665 | 109.6828 | -9.5339 | -107.7536 | 111.1983
Line_2 | 0.55707 | 0.17698 | 0.30784 | 0.55675 | 0.1773 | 0.30783 | 6.4324 | 2.0436 | 3.5546 | 6.4288 | 2.0473 | 3.5545 | 1.8794 | -1.8341 | 2.2677 | -1.6449 | 1.8278 | -2.1755 | 3.4238 | 1.3847 | 2.8658 | -3.0723 | -1.4241 | -2.8958 | -71.3416 | 110.0842 | 58.0372 | 108.6306 | -69.8311 | -121.8858 |  | 0.60718 | 1.1245 | 1.0281 | 0.54207 | 1.1318 | 1.019 | -10.1046 | -106.9665 | 109.6828 | -9.5339 | -107.7536 | 111.1983
Line_3 | 0.00018761 | 0.00018761 | 0.00018761 | 0.00018761 | 0.00018761 | 0.00018761 | 0.0021663 | 0.0021663 | 0.0021663 | 0.0021663 | 0.0021663 | 0.0021663 | 0.001297 | 0.00011618 | -0.0014131 | 0.001297 | 0.00011618 | -0.0014131 | 0.00021926 | -0.0024333 | 0.0017214 | 0.00021926 | -0.0024333 | 0.0017214 | -19.7001 | -19.7001 | -19.7001 | -19.7001 | -19.7001 | -19.7001 |  | 0.60718 | 1.1245 | 1.0281 | 0.60718 | 1.1245 | 1.0281 | -10.1046 | -106.9665 | 109.6828 | -10.1046 | -106.9665 | 109.6828

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81733 | 0.33202 | 0.46979 | 0.8177 | 0.33164 | 0.46972 | 9.4378 | 3.8339 | 5.4247 | 9.442 | 3.8294 | 5.4239 | -4.1759 | 2.2297 | -3.4702 | 4.6372 | -2.2359 | 3.7072 | -4.9402 | -3.6214 | -4.644 | 5.6811 | 3.5494 | 4.6111 | 117.1772 | -54.4397 | -118.0173 | -62.811 | 125.5409 | 61.9344 |  | 0.6854 | 1.1093 | 1.0687 | 0.77668 | 1.0955 | 1.0908 | -13.0308 | -112.8192 | 115.2137 | -12.0342 | -112.2506 | 113.1365
Line_1 | 0.40905 | 0.16559 | 0.23491 | 0.40885 | 0.16582 | 0.23486 | 4.7233 | 1.9121 | 2.7126 | 4.721 | 1.9147 | 2.7119 | 2.4361 | -1.1202 | 1.9117 | -2.3186 | 1.118 | -1.8536 | 3.026 | 1.7543 | 2.2994 | -2.8406 | -1.7747 | -2.3056 | -62.7828 | 125.4817 | 61.8669 | 117.189 | -54.4591 | -118.0656 |  | 0.82247 | 1.0886 | 1.1024 | 0.77668 | 1.0955 | 1.0908 | -11.6182 | -111.9569 | 112.1261 | -12.0342 | -112.2506 | 113.1365
Line_2 | 0.40905 | 0.16559 | 0.23491 | 0.40885 | 0.16582 | 0.23486 | 4.7233 | 1.9121 | 2.7126 | 4.721 | 1.9147 | 2.7119 | 2.4361 | -1.1202 | 1.9117 | -2.3186 | 1.118 | -1.8536 | 3.026 | 1.7543 | 2.2994 | -2.8406 | -1.7747 | -2.3056 | -62.7828 | 125.4817 | 61.8669 | 117.189 | -54.4591 | -118.0656 |  | 0.82247 | 1.0886 | 1.1024 | 0.77668 | 1.0955 | 1.0908 | -11.6182 | -111.9569 | 112.1261 | -12.0342 | -112.2506 | 113.1365
Line_3 | 0.00012781 | 0.00012781 | 0.00012781 | 0.00012781 | 0.00012781 | 0.00012781 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0012083 | -0.00043749 | -0.00077081 | 0.0012083 | -0.00043749 | -0.00077081 | -0.00011558 | -0.0015458 | 0.0014327 | -0.00011558 | -0.0015458 | 0.0014327 | -6.1543 | -6.1543 | -6.1543 | -6.1543 | -6.1543 | -6.1543 |  | 0.82247 | 1.0886 | 1.1024 | 0.82247 | 1.0886 | 1.1024 | -11.6182 | -111.9569 | 112.1261 | -11.6182 | -111.9569 | 112.1261

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.81733 | 0.33202 | 0.46979 | 0.8177 | 0.33164 | 0.46972 | 9.4378 | 3.8339 | 5.4247 | 9.442 | 3.8294 | 5.4239 | -4.1759 | 2.2297 | -3.4702 | 4.6372 | -2.2359 | 3.7072 | -4.9402 | -3.6214 | -4.644 | 5.6811 | 3.5494 | 4.6111 | 117.1772 | -54.4397 | -118.0173 | -62.811 | 125.5409 | 61.9344 |  | 0.6854 | 1.1093 | 1.0687 | 0.77668 | 1.0955 | 1.0908 | -13.0308 | -112.8192 | 115.2137 | -12.0342 | -112.2506 | 113.1365
Line_1 | 0.40905 | 0.16559 | 0.23491 | 0.40885 | 0.16582 | 0.23486 | 4.7233 | 1.9121 | 2.7126 | 4.721 | 1.9147 | 2.7119 | 2.4361 | -1.1202 | 1.9117 | -2.3186 | 1.118 | -1.8536 | 3.026 | 1.7543 | 2.2994 | -2.8406 | -1.7747 | -2.3056 | -62.7828 | 125.4817 | 61.8669 | 117.189 | -54.4591 | -118.0656 |  | 0.82247 | 1.0886 | 1.1024 | 0.77668 | 1.0955 | 1.0908 | -11.6182 | -111.9569 | 112.1261 | -12.0342 | -112.2506 | 113.1365
Line_2 | 0.40905 | 0.16559 | 0.23491 | 0.40885 | 0.16582 | 0.23486 | 4.7233 | 1.9121 | 2.7126 | 4.721 | 1.9147 | 2.7119 | 2.4361 | -1.1202 | 1.9117 | -2.3186 | 1.118 | -1.8536 | 3.026 | 1.7543 | 2.2994 | -2.8406 | -1.7747 | -2.3056 | -62.7828 | 125.4817 | 61.8669 | 117.189 | -54.4591 | -118.0656 |  | 0.82247 | 1.0886 | 1.1024 | 0.77668 | 1.0955 | 1.0908 | -11.6182 | -111.9569 | 112.1261 | -12.0342 | -112.2506 | 113.1365
Line_3 | 0.00012781 | 0.00012781 | 0.00012781 | 0.00012781 | 0.00012781 | 0.00012781 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0014758 | 0.0012083 | -0.00043749 | -0.00077081 | 0.0012083 | -0.00043749 | -0.00077081 | -0.00011558 | -0.0015458 | 0.0014327 | -0.00011558 | -0.0015458 | 0.0014327 | -6.1543 | -6.1543 | -6.1543 | -6.1543 | -6.1543 | -6.1543 |  | 0.82247 | 1.0886 | 1.1024 | 0.82247 | 1.0886 | 1.1024 | -11.6182 | -111.9569 | 112.1261 | -11.6182 | -111.9569 | 112.1261

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80276 | 0.24682 | 0.38184 | 0.80332 | 0.24635 | 0.38136 | 9.2694 | 2.85 | 4.4091 | 9.276 | 2.8446 | 4.4035 | -1.2873 | 2.7713 | -3.3076 | 2.3035 | -2.6915 | 3.4551 | -2.5236 | -0.54432 | -2.2272 | 3.5297 | 0.35359 | 1.9683 | 113.912 | -100.531 | -98.1474 | -66.0889 | 79.3972 | 81.8092 |  | 0.30563 | 0.99095 | 0.90439 | 0.45438 | 0.95431 | 0.903 | -3.1143 | -111.6432 | 115.8068 | -9.2173 | -108.0872 | 111.4791
Line_1 | 0.40192 | 0.12304 | 0.19053 | 0.40166 | 0.12317 | 0.19068 | 4.641 | 1.4207 | 2.2001 | 4.638 | 1.4223 | 2.2018 | 1.4079 | -1.3259 | 1.7631 | -1.1517 | 1.3457 | -1.7275 | 2.0171 | 0.12701 | 0.92092 | -1.7648 | -0.1768 | -0.98416 | -66.0684 | 79.2731 | 81.7308 | 113.9111 | -100.6028 | -98.1908 |  | 0.53002 | 0.93752 | 0.90409 | 0.45438 | 0.95431 | 0.903 | -10.9837 | -106.1988 | 109.3107 | -9.2173 | -108.0872 | 111.4791
Line_2 | 0.40192 | 0.12304 | 0.19053 | 0.40166 | 0.12317 | 0.19068 | 4.641 | 1.4207 | 2.2001 | 4.638 | 1.4223 | 2.2018 | 1.4079 | -1.3259 | 1.7631 | -1.1517 | 1.3457 | -1.7275 | 2.0171 | 0.12701 | 0.92092 | -1.7648 | -0.1768 | -0.98416 | -66.0684 | 79.2731 | 81.7308 | 113.9111 | -100.6028 | -98.1908 |  | 0.53002 | 0.93752 | 0.90409 | 0.45438 | 0.95431 | 0.903 | -10.9837 | -106.1988 | 109.3107 | -9.2173 | -108.0872 | 111.4791
Line_3 | 0.00012657 | 0.00012657 | 0.00012657 | 0.00012657 | 0.00012657 | 0.00012657 | 0.0014615 | 0.0014615 | 0.0014615 | 0.0014615 | 0.0014615 | 0.0014615 | 0.00077254 | -2.4111e-05 | -0.00074843 | 0.00077254 | -2.4111e-05 | -0.00074843 | 5.6825e-05 | -0.00137 | 0.0010889 | 5.6825e-05 | -0.00137 | 0.0010889 | -15.1905 | -15.1905 | -15.1905 | -15.1905 | -15.1905 | -15.1905 |  | 0.53002 | 0.93752 | 0.90409 | 0.53002 | 0.93752 | 0.90409 | -10.9837 | -106.1988 | 109.3107 | -10.9837 | -106.1988 | 109.3107

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.80276 | 0.24682 | 0.38184 | 0.80332 | 0.24635 | 0.38136 | 9.2694 | 2.85 | 4.4091 | 9.276 | 2.8446 | 4.4035 | -1.2873 | 2.7713 | -3.3076 | 2.3035 | -2.6915 | 3.4551 | -2.5236 | -0.54432 | -2.2272 | 3.5297 | 0.35359 | 1.9683 | 113.912 | -100.531 | -98.1474 | -66.0889 | 79.3972 | 81.8092 |  | 0.30563 | 0.99095 | 0.90439 | 0.45438 | 0.95431 | 0.903 | -3.1143 | -111.6432 | 115.8068 | -9.2173 | -108.0872 | 111.4791
Line_1 | 0.40192 | 0.12304 | 0.19053 | 0.40166 | 0.12317 | 0.19068 | 4.641 | 1.4207 | 2.2001 | 4.638 | 1.4223 | 2.2018 | 1.4079 | -1.3259 | 1.7631 | -1.1517 | 1.3457 | -1.7275 | 2.0171 | 0.12701 | 0.92092 | -1.7648 | -0.1768 | -0.98416 | -66.0684 | 79.2731 | 81.7308 | 113.9111 | -100.6028 | -98.1908 |  | 0.53002 | 0.93752 | 0.90409 | 0.45438 | 0.95431 | 0.903 | -10.9837 | -106.1988 | 109.3107 | -9.2173 | -108.0872 | 111.4791
Line_2 | 0.40192 | 0.12304 | 0.19053 | 0.40166 | 0.12317 | 0.19068 | 4.641 | 1.4207 | 2.2001 | 4.638 | 1.4223 | 2.2018 | 1.4079 | -1.3259 | 1.7631 | -1.1517 | 1.3457 | -1.7275 | 2.0171 | 0.12701 | 0.92092 | -1.7648 | -0.1768 | -0.98416 | -66.0684 | 79.2731 | 81.7308 | 113.9111 | -100.6028 | -98.1908 |  | 0.53002 | 0.93752 | 0.90409 | 0.45438 | 0.95431 | 0.903 | -10.9837 | -106.1988 | 109.3107 | -9.2173 | -108.0872 | 111.4791
Line_3 | 0.00012657 | 0.00012657 | 0.00012657 | 0.00012657 | 0.00012657 | 0.00012657 | 0.0014615 | 0.0014615 | 0.0014615 | 0.0014615 | 0.0014615 | 0.0014615 | 0.00077254 | -2.4111e-05 | -0.00074843 | 0.00077254 | -2.4111e-05 | -0.00074843 | 5.6825e-05 | -0.00137 | 0.0010889 | 5.6825e-05 | -0.00137 | 0.0010889 | -15.1905 | -15.1905 | -15.1905 | -15.1905 | -15.1905 | -15.1905 |  | 0.53002 | 0.93752 | 0.90409 | 0.53002 | 0.93752 | 0.90409 | -10.9837 | -106.1988 | 109.3107 | -10.9837 | -106.1988 | 109.3107

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56891 | 0.17492 | 0.27061 | 0.56931 | 0.17458 | 0.27026 | 6.5691 | 2.0198 | 3.1247 | 6.5738 | 2.0159 | 3.1207 | -2.6499 | 1.7576 | -2.7343 | 3.1617 | -1.7175 | 2.807 | -2.3048 | -0.86279 | -1.108 | 2.8109 | 0.76541 | 0.97881 | 126.3148 | -88.1282 | -85.7446 | -53.6861 | 91.8 | 94.212 |  | 0.53462 | 0.96937 | 0.94417 | 0.64354 | 0.93275 | 0.95258 | -12.6693 | -114.2745 | 116.3144 | -12.0474 | -112.2201 | 113.4361
Line_1 | 0.28484 | 0.087197 | 0.13503 | 0.28465 | 0.087292 | 0.13513 | 3.289 | 1.0069 | 1.5592 | 3.2869 | 1.008 | 1.5604 | 1.7103 | -0.84924 | 1.4209 | -1.5808 | 0.85876 | -1.4035 | 1.5321 | 0.35699 | 0.45838 | -1.4054 | -0.3827 | -0.48941 | -53.6656 | 91.6759 | 94.1336 | 126.3139 | -88.2 | -85.788 |  | 0.69814 | 0.91494 | 0.95757 | 0.64354 | 0.93275 | 0.95258 | -11.8121 | -111.1241 | 112.0128 | -12.0474 | -112.2201 | 113.4361
Line_2 | 0.28484 | 0.087197 | 0.13503 | 0.28465 | 0.087292 | 0.13513 | 3.289 | 1.0069 | 1.5592 | 3.2869 | 1.008 | 1.5604 | 1.7103 | -0.84924 | 1.4209 | -1.5808 | 0.85876 | -1.4035 | 1.5321 | 0.35699 | 0.45838 | -1.4054 | -0.3827 | -0.48941 | -53.6656 | 91.6759 | 94.1336 | 126.3139 | -88.2 | -85.788 |  | 0.69814 | 0.91494 | 0.95757 | 0.64354 | 0.93275 | 0.95258 | -11.8121 | -111.1241 | 112.0128 | -12.0474 | -112.2201 | 113.4361
Line_3 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 0.0010358 | 0.0010358 | 0.0010358 | 0.0010358 | 0.0010358 | 0.0010358 | 0.00071415 | -0.00029813 | -0.00041602 | 0.00071415 | -0.00029813 | -0.00041602 | -0.00011342 | -0.00089953 | 0.00090034 | -0.00011342 | -0.00089953 | 0.00090034 | -2.7877 | -2.7877 | -2.7877 | -2.7877 | -2.7877 | -2.7877 |  | 0.69814 | 0.91494 | 0.95757 | 0.69814 | 0.91494 | 0.95757 | -11.8121 | -111.1241 | 112.0128 | -11.8121 | -111.1241 | 112.0128

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56891 | 0.17492 | 0.27061 | 0.56931 | 0.17458 | 0.27026 | 6.5691 | 2.0198 | 3.1247 | 6.5738 | 2.0159 | 3.1207 | -2.6499 | 1.7576 | -2.7343 | 3.1617 | -1.7175 | 2.807 | -2.3048 | -0.86279 | -1.108 | 2.8109 | 0.76541 | 0.97881 | 126.3148 | -88.1282 | -85.7446 | -53.6861 | 91.8 | 94.212 |  | 0.53462 | 0.96937 | 0.94417 | 0.64354 | 0.93275 | 0.95258 | -12.6693 | -114.2745 | 116.3144 | -12.0474 | -112.2201 | 113.4361
Line_1 | 0.28484 | 0.087197 | 0.13503 | 0.28465 | 0.087292 | 0.13513 | 3.289 | 1.0069 | 1.5592 | 3.2869 | 1.008 | 1.5604 | 1.7103 | -0.84924 | 1.4209 | -1.5808 | 0.85876 | -1.4035 | 1.5321 | 0.35699 | 0.45838 | -1.4054 | -0.3827 | -0.48941 | -53.6656 | 91.6759 | 94.1336 | 126.3139 | -88.2 | -85.788 |  | 0.69814 | 0.91494 | 0.95757 | 0.64354 | 0.93275 | 0.95258 | -11.8121 | -111.1241 | 112.0128 | -12.0474 | -112.2201 | 113.4361
Line_2 | 0.28484 | 0.087197 | 0.13503 | 0.28465 | 0.087292 | 0.13513 | 3.289 | 1.0069 | 1.5592 | 3.2869 | 1.008 | 1.5604 | 1.7103 | -0.84924 | 1.4209 | -1.5808 | 0.85876 | -1.4035 | 1.5321 | 0.35699 | 0.45838 | -1.4054 | -0.3827 | -0.48941 | -53.6656 | 91.6759 | 94.1336 | 126.3139 | -88.2 | -85.788 |  | 0.69814 | 0.91494 | 0.95757 | 0.64354 | 0.93275 | 0.95258 | -11.8121 | -111.1241 | 112.0128 | -12.0474 | -112.2201 | 113.4361
Line_3 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 8.9699e-05 | 0.0010358 | 0.0010358 | 0.0010358 | 0.0010358 | 0.0010358 | 0.0010358 | 0.00071415 | -0.00029813 | -0.00041602 | 0.00071415 | -0.00029813 | -0.00041602 | -0.00011342 | -0.00089953 | 0.00090034 | -0.00011342 | -0.00089953 | 0.00090034 | -2.7877 | -2.7877 | -2.7877 | -2.7877 | -2.7877 | -2.7877 |  | 0.69814 | 0.91494 | 0.95757 | 0.69814 | 0.91494 | 0.95757 | -11.8121 | -111.1241 | 112.0128 | -11.8121 | -111.1241 | 112.0128

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57612 | 1.5011 | 1.0936 | 0.57564 | 1.5015 | 1.0936 | 6.6525 | 17.3329 | 12.6278 | 6.6469 | 17.3376 | 12.6274 | 0.23365 | -4.3721 | 1.5899 | -0.1163 | 6.5157 | -1.5172 | -6.5337 | -2.7713 | -5.0332 | 6.3547 | 4.1316 | 6.1821 | 94.3279 | -5.2866 | -144.9344 | -85.7051 | 174.6973 | 35.0963 |  | 0.98277 | 0.29865 | 0.41799 | 0.95621 | 0.445 | 0.5041 | 6.376 | -152.9178 | 142.5966 | 5.3434 | -152.924 | 138.8849
Line_1 | 0.28759 | 0.75111 | 0.54661 | 0.28782 | 0.75074 | 0.54678 | 3.3208 | 8.6731 | 6.3117 | 3.3234 | 8.6688 | 6.3137 | -0.031744 | 3.796 | -0.73899 | 0.058152 | -3.2579 | 0.75858 | 3.1311 | 2.4072 | 3.3781 | -3.1774 | -2.0658 | -3.091 | -85.7727 | 174.6842 | 35.1354 | 94.2949 | -5.3027 | -144.9037 |  | 0.94294 | 0.51826 | 0.54787 | 0.95621 | 0.445 | 0.5041 | 4.8081 | -152.9351 | 137.475 | 5.3434 | -152.924 | 138.8849
Line_2 | 0.28759 | 0.75111 | 0.54661 | 0.28782 | 0.75074 | 0.54678 | 3.3208 | 8.6731 | 6.3117 | 3.3234 | 8.6688 | 6.3137 | -0.031744 | 3.796 | -0.73899 | 0.058152 | -3.2579 | 0.75858 | 3.1311 | 2.4072 | 3.3781 | -3.1774 | -2.0658 | -3.091 | -85.7727 | 174.6842 | 35.1354 | 94.2949 | -5.3027 | -144.9037 |  | 0.94294 | 0.51826 | 0.54787 | 0.95621 | 0.445 | 0.5041 | 4.8081 | -152.9351 | 137.475 | 5.3434 | -152.924 | 138.8849
Line_3 | 0.00018654 | 0.00018654 | 0.00018654 | 0.00018654 | 0.00018654 | 0.00018654 | 0.0021539 | 0.0021539 | 0.0021539 | 0.0021539 | 0.0021539 | 0.0021539 | -0.0018554 | 0.0007718 | 0.0010836 | -0.0018554 | 0.0007718 | 0.0010836 | -0.00082619 | 0.00080651 | -0.00046735 | -0.00082619 | 0.00080651 | -0.00046735 | 160.8053 | 160.8053 | 160.8053 | 160.8053 | 160.8053 | 160.8053 |  | 0.94294 | 0.51826 | 0.54787 | 0.94294 | 0.51826 | 0.54787 | 4.8081 | -152.9351 | 137.475 | 4.8081 | -152.9351 | 137.475

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57612 | 1.5011 | 1.0936 | 0.57564 | 1.5015 | 1.0936 | 6.6525 | 17.3329 | 12.6278 | 6.6469 | 17.3376 | 12.6274 | 0.23365 | -4.3721 | 1.5899 | -0.1163 | 6.5157 | -1.5172 | -6.5337 | -2.7713 | -5.0332 | 6.3547 | 4.1316 | 6.1821 | 94.3279 | -5.2866 | -144.9344 | -85.7051 | 174.6973 | 35.0963 |  | 0.98277 | 0.29865 | 0.41799 | 0.95621 | 0.445 | 0.5041 | 6.376 | -152.9178 | 142.5966 | 5.3434 | -152.924 | 138.8849
Line_1 | 0.28759 | 0.75111 | 0.54661 | 0.28782 | 0.75074 | 0.54678 | 3.3208 | 8.6731 | 6.3117 | 3.3234 | 8.6688 | 6.3137 | -0.031744 | 3.796 | -0.73899 | 0.058152 | -3.2579 | 0.75858 | 3.1311 | 2.4072 | 3.3781 | -3.1774 | -2.0658 | -3.091 | -85.7727 | 174.6842 | 35.1354 | 94.2949 | -5.3027 | -144.9037 |  | 0.94294 | 0.51826 | 0.54787 | 0.95621 | 0.445 | 0.5041 | 4.8081 | -152.9351 | 137.475 | 5.3434 | -152.924 | 138.8849
Line_2 | 0.28759 | 0.75111 | 0.54661 | 0.28782 | 0.75074 | 0.54678 | 3.3208 | 8.6731 | 6.3117 | 3.3234 | 8.6688 | 6.3137 | -0.031744 | 3.796 | -0.73899 | 0.058152 | -3.2579 | 0.75858 | 3.1311 | 2.4072 | 3.3781 | -3.1774 | -2.0658 | -3.091 | -85.7727 | 174.6842 | 35.1354 | 94.2949 | -5.3027 | -144.9037 |  | 0.94294 | 0.51826 | 0.54787 | 0.95621 | 0.445 | 0.5041 | 4.8081 | -152.9351 | 137.475 | 5.3434 | -152.924 | 138.8849
Line_3 | 0.00018654 | 0.00018654 | 0.00018654 | 0.00018654 | 0.00018654 | 0.00018654 | 0.0021539 | 0.0021539 | 0.0021539 | 0.0021539 | 0.0021539 | 0.0021539 | -0.0018554 | 0.0007718 | 0.0010836 | -0.0018554 | 0.0007718 | 0.0010836 | -0.00082619 | 0.00080651 | -0.00046735 | -0.00082619 | 0.00080651 | -0.00046735 | 160.8053 | 160.8053 | 160.8053 | 160.8053 | 160.8053 | 160.8053 |  | 0.94294 | 0.51826 | 0.54787 | 0.94294 | 0.51826 | 0.54787 | 4.8081 | -152.9351 | 137.475 | 4.8081 | -152.9351 | 137.475

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46721 | 1.0712 | 0.81824 | 0.46691 | 1.0715 | 0.81819 | 5.3949 | 12.3695 | 9.4482 | 5.3914 | 12.373 | 9.4476 | -0.80176 | -6.5969 | -1.6415 | 0.90698 | 7.665 | 1.6974 | -5.4371 | -4.2241 | -5.6068 | 5.3568 | 4.9498 | 6.2084 | 100.9896 | 4.1831 | -135.1705 | -79.0426 | -175.8313 | 44.8573 |  | 1.0187 | 0.63328 | 0.61834 | 1.0077 | 0.73744 | 0.68126 | 2.6012 | -143.1847 | 118.5108 | 1.3477 | -142.9783 | 119.5665
Line_1 | 0.23332 | 0.53603 | 0.40896 | 0.23345 | 0.53577 | 0.40909 | 2.6942 | 6.1895 | 4.7223 | 2.6957 | 6.1865 | 4.7238 | 0.47753 | 4.1013 | 0.86342 | -0.45349 | -3.8325 | -0.84868 | 2.6579 | 2.6576 | 3.2536 | -2.6784 | -2.4749 | -3.1042 | -79.1036 | -175.842 | 44.8919 | 100.9574 | 4.1687 | -135.1427 |  | 1.0023 | 0.78958 | 0.71284 | 1.0077 | 0.73744 | 0.68126 | 0.71115 | -142.8994 | 120.0299 | 1.3477 | -142.9783 | 119.5665
Line_2 | 0.23332 | 0.53603 | 0.40896 | 0.23345 | 0.53577 | 0.40909 | 2.6942 | 6.1895 | 4.7223 | 2.6957 | 6.1865 | 4.7238 | 0.47753 | 4.1013 | 0.86342 | -0.45349 | -3.8325 | -0.84868 | 2.6579 | 2.6576 | 3.2536 | -2.6784 | -2.4749 | -3.1042 | -79.1036 | -175.842 | 44.8919 | 100.9574 | 4.1687 | -135.1427 |  | 1.0023 | 0.78958 | 0.71284 | 1.0077 | 0.73744 | 0.68126 | 0.71115 | -142.8994 | 120.0299 | 1.3477 | -142.9783 | 119.5665
Line_3 | 0.00012714 | 0.00012714 | 0.00012714 | 0.00012714 | 0.00012714 | 0.00012714 | 0.0014681 | 0.0014681 | 0.0014681 | 0.0014681 | 0.0014681 | 0.0014681 | -0.0014619 | 0.00084817 | 0.00061369 | -0.0014619 | 0.00084817 | 0.00061369 | -0.0001687 | 0.00079016 | -0.00084773 | -0.0001687 | 0.00079016 | -0.00084773 | 174.1283 | 174.1283 | 174.1283 | 174.1283 | 174.1283 | 174.1283 |  | 1.0023 | 0.78958 | 0.71284 | 1.0023 | 0.78958 | 0.71284 | 0.71115 | -142.8994 | 120.0299 | 0.71115 | -142.8994 | 120.0299

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46721 | 1.0712 | 0.81824 | 0.46691 | 1.0715 | 0.81819 | 5.3949 | 12.3695 | 9.4482 | 5.3914 | 12.373 | 9.4476 | -0.80176 | -6.5969 | -1.6415 | 0.90698 | 7.665 | 1.6974 | -5.4371 | -4.2241 | -5.6068 | 5.3568 | 4.9498 | 6.2084 | 100.9896 | 4.1831 | -135.1705 | -79.0426 | -175.8313 | 44.8573 |  | 1.0187 | 0.63328 | 0.61834 | 1.0077 | 0.73744 | 0.68126 | 2.6012 | -143.1847 | 118.5108 | 1.3477 | -142.9783 | 119.5665
Line_1 | 0.23332 | 0.53603 | 0.40896 | 0.23345 | 0.53577 | 0.40909 | 2.6942 | 6.1895 | 4.7223 | 2.6957 | 6.1865 | 4.7238 | 0.47753 | 4.1013 | 0.86342 | -0.45349 | -3.8325 | -0.84868 | 2.6579 | 2.6576 | 3.2536 | -2.6784 | -2.4749 | -3.1042 | -79.1036 | -175.842 | 44.8919 | 100.9574 | 4.1687 | -135.1427 |  | 1.0023 | 0.78958 | 0.71284 | 1.0077 | 0.73744 | 0.68126 | 0.71115 | -142.8994 | 120.0299 | 1.3477 | -142.9783 | 119.5665
Line_2 | 0.23332 | 0.53603 | 0.40896 | 0.23345 | 0.53577 | 0.40909 | 2.6942 | 6.1895 | 4.7223 | 2.6957 | 6.1865 | 4.7238 | 0.47753 | 4.1013 | 0.86342 | -0.45349 | -3.8325 | -0.84868 | 2.6579 | 2.6576 | 3.2536 | -2.6784 | -2.4749 | -3.1042 | -79.1036 | -175.842 | 44.8919 | 100.9574 | 4.1687 | -135.1427 |  | 1.0023 | 0.78958 | 0.71284 | 1.0077 | 0.73744 | 0.68126 | 0.71115 | -142.8994 | 120.0299 | 1.3477 | -142.9783 | 119.5665
Line_3 | 0.00012714 | 0.00012714 | 0.00012714 | 0.00012714 | 0.00012714 | 0.00012714 | 0.0014681 | 0.0014681 | 0.0014681 | 0.0014681 | 0.0014681 | 0.0014681 | -0.0014619 | 0.00084817 | 0.00061369 | -0.0014619 | 0.00084817 | 0.00061369 | -0.0001687 | 0.00079016 | -0.00084773 | -0.0001687 | 0.00079016 | -0.00084773 | 174.1283 | 174.1283 | 174.1283 | 174.1283 | 174.1283 | 174.1283 |  | 1.0023 | 0.78958 | 0.71284 | 1.0023 | 0.78958 | 0.71284 | 0.71115 | -142.8994 | 120.0299 | 0.71115 | -142.8994 | 120.0299

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32407 | 1.164 | 0.82679 | 0.32352 | 1.1642 | 0.82692 | 3.742 | 13.4408 | 9.547 | 3.7357 | 13.443 | 9.5485 | -0.45091 | -2.4637 | 0.98624 | 0.45867 | 4.845 | -0.84844 | -3.2862 | -1.6075 | -2.8214 | 3.0689 | 2.239 | 3.7252 | 102.777 | 3.0064 | -144.0063 | -77.2407 | -177.0195 | 36.0316 |  | 0.88642 | 0.21886 | 0.31306 | 0.83064 | 0.39703 | 0.40013 | 4.964 | -143.8705 | 145.2611 | 4.2589 | -152.2165 | 138.8621
Line_1 | 0.16153 | 0.58233 | 0.41337 | 0.16176 | 0.5821 | 0.41346 | 1.8652 | 6.7241 | 4.7732 | 1.8678 | 6.7215 | 4.7742 | 0.22938 | 3.0195 | -0.3889 | -0.22934 | -2.4225 | 0.42422 | 1.4795 | 1.2777 | 2.0889 | -1.5344 | -1.1195 | -1.8626 | -77.3087 | -177.0381 | 36.0707 | 102.7593 | 2.9805 | -143.9684 |  | 0.80267 | 0.48761 | 0.44516 | 0.83064 | 0.39703 | 0.40013 | 3.8781 | -154.1022 | 136.6167 | 4.2589 | -152.2165 | 138.8621
Line_2 | 0.16153 | 0.58233 | 0.41337 | 0.16176 | 0.5821 | 0.41346 | 1.8652 | 6.7241 | 4.7732 | 1.8678 | 6.7215 | 4.7742 | 0.22938 | 3.0195 | -0.3889 | -0.22934 | -2.4225 | 0.42422 | 1.4795 | 1.2777 | 2.0889 | -1.5344 | -1.1195 | -1.8626 | -77.3087 | -177.0381 | 36.0707 | 102.7593 | 2.9805 | -143.9684 |  | 0.80267 | 0.48761 | 0.44516 | 0.83064 | 0.39703 | 0.40013 | 3.8781 | -154.1022 | 136.6167 | 4.2589 | -152.2165 | 138.8621
Line_3 | 0.00012546 | 0.00012546 | 0.00012546 | 0.00012546 | 0.00012546 | 0.00012546 | 0.0014487 | 0.0014487 | 0.0014487 | 0.0014487 | 0.0014487 | 0.0014487 | -0.0011021 | 0.00053616 | 0.00056592 | -0.0011021 | 0.00053616 | 0.00056592 | -0.00037101 | 0.00045995 | -0.00030927 | -0.00037101 | 0.00045995 | -0.00030927 | 165.2726 | 165.2726 | 165.2726 | 165.2726 | 165.2726 | 165.2726 |  | 0.80267 | 0.48761 | 0.44516 | 0.80267 | 0.48761 | 0.44516 | 3.8781 | -154.1022 | 136.6167 | 3.8781 | -154.1022 | 136.6167

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32407 | 1.164 | 0.82679 | 0.32352 | 1.1642 | 0.82692 | 3.742 | 13.4408 | 9.547 | 3.7357 | 13.443 | 9.5485 | -0.45091 | -2.4637 | 0.98624 | 0.45867 | 4.845 | -0.84844 | -3.2862 | -1.6075 | -2.8214 | 3.0689 | 2.239 | 3.7252 | 102.777 | 3.0064 | -144.0063 | -77.2407 | -177.0195 | 36.0316 |  | 0.88642 | 0.21886 | 0.31306 | 0.83064 | 0.39703 | 0.40013 | 4.964 | -143.8705 | 145.2611 | 4.2589 | -152.2165 | 138.8621
Line_1 | 0.16153 | 0.58233 | 0.41337 | 0.16176 | 0.5821 | 0.41346 | 1.8652 | 6.7241 | 4.7732 | 1.8678 | 6.7215 | 4.7742 | 0.22938 | 3.0195 | -0.3889 | -0.22934 | -2.4225 | 0.42422 | 1.4795 | 1.2777 | 2.0889 | -1.5344 | -1.1195 | -1.8626 | -77.3087 | -177.0381 | 36.0707 | 102.7593 | 2.9805 | -143.9684 |  | 0.80267 | 0.48761 | 0.44516 | 0.83064 | 0.39703 | 0.40013 | 3.8781 | -154.1022 | 136.6167 | 4.2589 | -152.2165 | 138.8621
Line_2 | 0.16153 | 0.58233 | 0.41337 | 0.16176 | 0.5821 | 0.41346 | 1.8652 | 6.7241 | 4.7732 | 1.8678 | 6.7215 | 4.7742 | 0.22938 | 3.0195 | -0.3889 | -0.22934 | -2.4225 | 0.42422 | 1.4795 | 1.2777 | 2.0889 | -1.5344 | -1.1195 | -1.8626 | -77.3087 | -177.0381 | 36.0707 | 102.7593 | 2.9805 | -143.9684 |  | 0.80267 | 0.48761 | 0.44516 | 0.83064 | 0.39703 | 0.40013 | 3.8781 | -154.1022 | 136.6167 | 4.2589 | -152.2165 | 138.8621
Line_3 | 0.00012546 | 0.00012546 | 0.00012546 | 0.00012546 | 0.00012546 | 0.00012546 | 0.0014487 | 0.0014487 | 0.0014487 | 0.0014487 | 0.0014487 | 0.0014487 | -0.0011021 | 0.00053616 | 0.00056592 | -0.0011021 | 0.00053616 | 0.00056592 | -0.00037101 | 0.00045995 | -0.00030927 | -0.00037101 | 0.00045995 | -0.00030927 | 165.2726 | 165.2726 | 165.2726 | 165.2726 | 165.2726 | 165.2726 |  | 0.80267 | 0.48761 | 0.44516 | 0.80267 | 0.48761 | 0.44516 | 3.8781 | -154.1022 | 136.6167 | 3.8781 | -154.1022 | 136.6167

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22943 | 0.82235 | 0.58549 | 0.22904 | 0.82249 | 0.58559 | 2.6492 | 9.4957 | 6.7607 | 2.6447 | 9.4972 | 6.7618 | -0.92678 | -4.3379 | -1.1603 | 0.9293 | 5.5284 | 1.232 | -2.2198 | -1.846 | -3.06 | 2.1098 | 2.1602 | 3.515 | 114.9083 | 15.4314 | -131.3964 | -65.1095 | -164.5947 | 48.6414 |  | 0.90802 | 0.49647 | 0.48406 | 0.87169 | 0.62497 | 0.55084 | 2.2479 | -141.5167 | 117.8378 | 1.1182 | -143.2519 | 119.326
Line_1 | 0.11436 | 0.4114 | 0.29273 | 0.11452 | 0.41124 | 0.29279 | 1.3205 | 4.7505 | 3.3802 | 1.3224 | 4.7486 | 3.3809 | 0.46384 | 3.0631 | 0.63443 | -0.46465 | -2.7642 | -0.616 | 1.0273 | 1.1591 | 1.8709 | -1.0549 | -1.0801 | -1.7575 | -65.1778 | -164.6134 | 48.6807 | 114.8905 | 15.4053 | -131.3586 |  | 0.85355 | 0.68943 | 0.58445 | 0.87169 | 0.62497 | 0.55084 | 0.5213 | -143.8859 | 119.9488 | 1.1182 | -143.2519 | 119.326
Line_2 | 0.11436 | 0.4114 | 0.29273 | 0.11452 | 0.41124 | 0.29279 | 1.3205 | 4.7505 | 3.3802 | 1.3224 | 4.7486 | 3.3809 | 0.46384 | 3.0631 | 0.63443 | -0.46465 | -2.7642 | -0.616 | 1.0273 | 1.1591 | 1.8709 | -1.0549 | -1.0801 | -1.7575 | -65.1778 | -164.6134 | 48.6807 | 114.8905 | 15.4053 | -131.3586 |  | 0.85355 | 0.68943 | 0.58445 | 0.87169 | 0.62497 | 0.55084 | 0.5213 | -143.8859 | 119.9488 | 1.1182 | -143.2519 | 119.326
Line_3 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 0.0010282 | 0.0010282 | 0.0010282 | 0.0010282 | 0.0010282 | 0.0010282 | -0.00087636 | 0.00055355 | 0.00032281 | -0.00087636 | 0.00055355 | 0.00032281 | -4.6924e-05 | 0.00044281 | -0.00050686 | -4.6924e-05 | 0.00044281 | -0.00050686 | 177.4563 | 177.4563 | 177.4563 | 177.4563 | 177.4563 | 177.4563 |  | 0.85355 | 0.68943 | 0.58445 | 0.85355 | 0.68943 | 0.58445 | 0.5213 | -143.8859 | 119.9488 | 0.5213 | -143.8859 | 119.9488

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22943 | 0.82235 | 0.58549 | 0.22904 | 0.82249 | 0.58559 | 2.6492 | 9.4957 | 6.7607 | 2.6447 | 9.4972 | 6.7618 | -0.92678 | -4.3379 | -1.1603 | 0.9293 | 5.5284 | 1.232 | -2.2198 | -1.846 | -3.06 | 2.1098 | 2.1602 | 3.515 | 114.9083 | 15.4314 | -131.3964 | -65.1095 | -164.5947 | 48.6414 |  | 0.90802 | 0.49647 | 0.48406 | 0.87169 | 0.62497 | 0.55084 | 2.2479 | -141.5167 | 117.8378 | 1.1182 | -143.2519 | 119.326
Line_1 | 0.11436 | 0.4114 | 0.29273 | 0.11452 | 0.41124 | 0.29279 | 1.3205 | 4.7505 | 3.3802 | 1.3224 | 4.7486 | 3.3809 | 0.46384 | 3.0631 | 0.63443 | -0.46465 | -2.7642 | -0.616 | 1.0273 | 1.1591 | 1.8709 | -1.0549 | -1.0801 | -1.7575 | -65.1778 | -164.6134 | 48.6807 | 114.8905 | 15.4053 | -131.3586 |  | 0.85355 | 0.68943 | 0.58445 | 0.87169 | 0.62497 | 0.55084 | 0.5213 | -143.8859 | 119.9488 | 1.1182 | -143.2519 | 119.326
Line_2 | 0.11436 | 0.4114 | 0.29273 | 0.11452 | 0.41124 | 0.29279 | 1.3205 | 4.7505 | 3.3802 | 1.3224 | 4.7486 | 3.3809 | 0.46384 | 3.0631 | 0.63443 | -0.46465 | -2.7642 | -0.616 | 1.0273 | 1.1591 | 1.8709 | -1.0549 | -1.0801 | -1.7575 | -65.1778 | -164.6134 | 48.6807 | 114.8905 | 15.4053 | -131.3586 |  | 0.85355 | 0.68943 | 0.58445 | 0.87169 | 0.62497 | 0.55084 | 0.5213 | -143.8859 | 119.9488 | 1.1182 | -143.2519 | 119.326
Line_3 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 8.9044e-05 | 0.0010282 | 0.0010282 | 0.0010282 | 0.0010282 | 0.0010282 | 0.0010282 | -0.00087636 | 0.00055355 | 0.00032281 | -0.00087636 | 0.00055355 | 0.00032281 | -4.6924e-05 | 0.00044281 | -0.00050686 | -4.6924e-05 | 0.00044281 | -0.00050686 | 177.4563 | 177.4563 | 177.4563 | 177.4563 | 177.4563 | 177.4563 |  | 0.85355 | 0.68943 | 0.58445 | 0.85355 | 0.68943 | 0.58445 | 0.5213 | -143.8859 | 119.9488 | 0.5213 | -143.8859 | 119.9488