## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8824e-15 | 1.2167e-14 | -2.1578e-15 | -1.1e-14 | 4.9985e-15 | 1.0789e-15 | -1.1127e-14 | -1.0664e-14 | -9.8444e-15 | -1.151e-14 | 7.6664e-15 | 4.9222e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.8824e-15 | 1.2167e-14 | -2.1578e-15 | -1.1e-14 | 4.9985e-15 | 1.0789e-15 | -1.1127e-14 | -1.0664e-14 | -9.8444e-15 | -1.151e-14 | 7.6664e-15 | 4.9222e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8426e-15 | 4.8328e-15 | 8.9747e-15 | 2.0738e-15 | -2.8996e-15 | 4.9131e-15 | 2.7583e-15 | -2.3037e-15 | 8.3685e-15 | 2.8619e-18 | 1.1132e-14 | -6.8246e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.8426e-15 | 4.8328e-15 | 8.9747e-15 | 2.0738e-15 | -2.8996e-15 | 4.9131e-15 | 2.7583e-15 | -2.3037e-15 | 8.3685e-15 | 2.8619e-18 | 1.1132e-14 | -6.8246e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.611e-15 | 3.5946e-15 | -2.8925e-15 | -4.8363e-15 | 1.4078e-15 | 3.741e-15 | -4.7399e-15 | -8.5455e-15 | -3.2299e-15 | -1.9286e-16 | -5.9317e-15 | -1.022e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.611e-15 | 3.5946e-15 | -2.8925e-15 | -4.8363e-15 | 1.4078e-15 | 3.741e-15 | -4.7399e-15 | -8.5455e-15 | -3.2299e-15 | -1.9286e-16 | -5.9317e-15 | -1.022e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2269e-15 | 4.6434e-15 | -9.1617e-16 | -4.5432e-15 | -8.4645e-15 | 1.4252e-15 | -4.6691e-15 | 1.5106e-15 | 1.6795e-15 | 5.8489e-15 | 3.9216e-15 | -2.6125e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.2269e-15 | 4.6434e-15 | -9.1617e-16 | -4.5432e-15 | -8.4645e-15 | 1.4252e-15 | -4.6691e-15 | 1.5106e-15 | 1.6795e-15 | 5.8489e-15 | 3.9216e-15 | -2.6125e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6586 | 0.39844 | 0.65622 | 1.6595 | 0.39767 | 0.65551 | 19.1522 | 4.6008 | 7.5774 | 19.1617 | 4.5919 | 7.5692 | 2.6265e-10 | 3.3864 | -5.9131 | 2.6175 | -3.6229 | 6.0066 | -9.4229e-11 | -3.3468 | -5.4383 | 2.5769 | 3.2773 | 5.1012 | 105.5173 | -61.6125 | -114.164 | -74.4871 | 118.4319 | 65.7988 |  | 0 | 1.0349 | 1.0602 | 0.19169 | 1.0639 | 1.0411 | 0 | -106.2756 | 108.4409 | -29.9349 | -103.701 | 106.1385
Line_1 | 0.8303 | 0.19825 | 0.3274 | 0.82973 | 0.19883 | 0.32776 | 9.5874 | 2.2892 | 3.7805 | 9.5809 | 2.2959 | 3.7846 | 1.9662 | -1.8677 | 3.0222 | -1.3088 | 1.8115 | -3.0033 | 1.9344 | 1.6175 | 2.4678 | -1.2885 | -1.6387 | -2.5506 | -74.4785 | 118.4337 | 65.7184 | 105.5129 | -61.5681 | -114.2012 |  | 0.2877 | 1.0793 | 1.0321 | 0.19169 | 1.0639 | 1.0411 | -29.9461 | -102.4597 | 104.9523 | -29.9349 | -103.701 | 106.1385
Line_2 | 0.8303 | 0.19825 | 0.3274 | 0.82973 | 0.19883 | 0.32776 | 9.5874 | 2.2892 | 3.7805 | 9.5809 | 2.2959 | 3.7846 | 1.9662 | -1.8677 | 3.0222 | -1.3088 | 1.8115 | -3.0033 | 1.9344 | 1.6175 | 2.4678 | -1.2885 | -1.6387 | -2.5506 | -74.4785 | 118.4337 | 65.7184 | 105.5129 | -61.5681 | -114.2012 |  | 0.2877 | 1.0793 | 1.0321 | 0.19169 | 1.0639 | 1.0411 | -29.9461 | -102.4597 | 104.9523 | -29.9349 | -103.701 | 106.1385
Line_3 | 0.00026423 | 0.00026423 | 0.00026423 | 0.00026423 | 0.00026423 | 0.00026423 | 0.003051 | 0.003051 | 0.003051 | 0.003051 | 0.003051 | 0.003051 | 0.00081766 | 0.002064 | -0.0028817 | 0.00081766 | 0.002064 | -0.0028817 | 0.00031924 | -0.0025659 | 0.0012694 | 0.00031924 | -0.0025659 | 0.0012694 | -51.2733 | -51.2733 | -51.2733 | -51.2733 | -51.2733 | -51.2733 |  | 0.2877 | 1.0793 | 1.0321 | 0.2877 | 1.0793 | 1.0321 | -29.9461 | -102.4597 | 104.9523 | -29.9461 | -102.4597 | 104.9523

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6586 | 0.39844 | 0.65622 | 1.6595 | 0.39767 | 0.65551 | 19.1522 | 4.6008 | 7.5774 | 19.1617 | 4.5919 | 7.5692 | 2.6265e-10 | 3.3864 | -5.9131 | 2.6175 | -3.6229 | 6.0066 | -9.4229e-11 | -3.3468 | -5.4383 | 2.5769 | 3.2773 | 5.1012 | 105.5173 | -61.6125 | -114.164 | -74.4871 | 118.4319 | 65.7988 |  | 0 | 1.0349 | 1.0602 | 0.19169 | 1.0639 | 1.0411 | 0 | -106.2756 | 108.4409 | -29.9349 | -103.701 | 106.1385
Line_1 | 0.8303 | 0.19825 | 0.3274 | 0.82973 | 0.19883 | 0.32776 | 9.5874 | 2.2892 | 3.7805 | 9.5809 | 2.2959 | 3.7846 | 1.9662 | -1.8677 | 3.0222 | -1.3088 | 1.8115 | -3.0033 | 1.9344 | 1.6175 | 2.4678 | -1.2885 | -1.6387 | -2.5506 | -74.4785 | 118.4337 | 65.7184 | 105.5129 | -61.5681 | -114.2012 |  | 0.2877 | 1.0793 | 1.0321 | 0.19169 | 1.0639 | 1.0411 | -29.9461 | -102.4597 | 104.9523 | -29.9349 | -103.701 | 106.1385
Line_2 | 0.8303 | 0.19825 | 0.3274 | 0.82973 | 0.19883 | 0.32776 | 9.5874 | 2.2892 | 3.7805 | 9.5809 | 2.2959 | 3.7846 | 1.9662 | -1.8677 | 3.0222 | -1.3088 | 1.8115 | -3.0033 | 1.9344 | 1.6175 | 2.4678 | -1.2885 | -1.6387 | -2.5506 | -74.4785 | 118.4337 | 65.7184 | 105.5129 | -61.5681 | -114.2012 |  | 0.2877 | 1.0793 | 1.0321 | 0.19169 | 1.0639 | 1.0411 | -29.9461 | -102.4597 | 104.9523 | -29.9349 | -103.701 | 106.1385
Line_3 | 0.00026423 | 0.00026423 | 0.00026423 | 0.00026423 | 0.00026423 | 0.00026423 | 0.003051 | 0.003051 | 0.003051 | 0.003051 | 0.003051 | 0.003051 | 0.00081766 | 0.002064 | -0.0028817 | 0.00081766 | 0.002064 | -0.0028817 | 0.00031924 | -0.0025659 | 0.0012694 | 0.00031924 | -0.0025659 | 0.0012694 | -51.2733 | -51.2733 | -51.2733 | -51.2733 | -51.2733 | -51.2733 |  | 0.2877 | 1.0793 | 1.0321 | 0.2877 | 1.0793 | 1.0321 | -29.9461 | -102.4597 | 104.9523 | -29.9461 | -102.4597 | 104.9523

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45791 | 0.27925 | 0.26713 | 0.45806 | 0.27911 | 0.2671 | 5.2875 | 3.2245 | 3.0846 | 5.2892 | 3.2229 | 3.0842 | -2.936 | 0.23298 | -1.4185 | 3.0848 | -0.23208 | 1.4801 | -4.272 | -3.5468 | -3.2644 | 4.4632 | 3.5675 | 3.271 | 117.75 | -32.5611 | -128.6668 | -62.2459 | 147.4482 | 51.3013 |  | 0.98037 | 1.1023 | 1.1539 | 1.0258 | 1.1093 | 1.1641 | -6.7495 | -118.8029 | 117.8459 | -6.8964 | -118.8296 | 116.9544
Line_1 | 0.22912 | 0.13945 | 0.13357 | 0.22903 | 0.13955 | 0.13355 | 2.6456 | 1.6102 | 1.5423 | 2.6446 | 1.6114 | 1.5421 | 1.5805 | -0.11604 | 0.75479 | -1.5424 | 0.11604 | -0.74006 | 2.2797 | 1.788 | 1.6378 | -2.2316 | -1.7837 | -1.6355 | -62.2313 | 147.4454 | 51.2564 | 117.7541 | -32.5518 | -128.6987 |  | 1.0485 | 1.1127 | 1.1692 | 1.0258 | 1.1093 | 1.1641 | -6.9653 | -118.8413 | 116.5134 | -6.8964 | -118.8296 | 116.9544
Line_2 | 0.22912 | 0.13945 | 0.13357 | 0.22903 | 0.13955 | 0.13355 | 2.6456 | 1.6102 | 1.5423 | 2.6446 | 1.6114 | 1.5421 | 1.5805 | -0.11604 | 0.75479 | -1.5424 | 0.11604 | -0.74006 | 2.2797 | 1.788 | 1.6378 | -2.2316 | -1.7837 | -1.6355 | -62.2313 | 147.4454 | 51.2564 | 117.7541 | -32.5518 | -128.6987 |  | 1.0485 | 1.1127 | 1.1692 | 1.0258 | 1.1093 | 1.1641 | -6.9653 | -118.8413 | 116.5134 | -6.8964 | -118.8296 | 116.9544
Line_3 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00057285 | -0.00011751 | -0.00045534 | 0.00057285 | -0.00011751 | -0.00045534 | 0.00011069 | -0.00060793 | 0.00046474 | 0.00011069 | -0.00060793 | 0.00046474 | -17.9015 | -17.9015 | -17.9015 | -17.9015 | -17.9015 | -17.9015 |  | 1.0485 | 1.1127 | 1.1692 | 1.0485 | 1.1127 | 1.1692 | -6.9653 | -118.8413 | 116.5134 | -6.9653 | -118.8413 | 116.5134

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45791 | 0.27925 | 0.26713 | 0.45806 | 0.27911 | 0.2671 | 5.2875 | 3.2245 | 3.0846 | 5.2892 | 3.2229 | 3.0842 | -2.936 | 0.23298 | -1.4185 | 3.0848 | -0.23208 | 1.4801 | -4.272 | -3.5468 | -3.2644 | 4.4632 | 3.5675 | 3.271 | 117.75 | -32.5611 | -128.6668 | -62.2459 | 147.4482 | 51.3013 |  | 0.98037 | 1.1023 | 1.1539 | 1.0258 | 1.1093 | 1.1641 | -6.7495 | -118.8029 | 117.8459 | -6.8964 | -118.8296 | 116.9544
Line_1 | 0.22912 | 0.13945 | 0.13357 | 0.22903 | 0.13955 | 0.13355 | 2.6456 | 1.6102 | 1.5423 | 2.6446 | 1.6114 | 1.5421 | 1.5805 | -0.11604 | 0.75479 | -1.5424 | 0.11604 | -0.74006 | 2.2797 | 1.788 | 1.6378 | -2.2316 | -1.7837 | -1.6355 | -62.2313 | 147.4454 | 51.2564 | 117.7541 | -32.5518 | -128.6987 |  | 1.0485 | 1.1127 | 1.1692 | 1.0258 | 1.1093 | 1.1641 | -6.9653 | -118.8413 | 116.5134 | -6.8964 | -118.8296 | 116.9544
Line_2 | 0.22912 | 0.13945 | 0.13357 | 0.22903 | 0.13955 | 0.13355 | 2.6456 | 1.6102 | 1.5423 | 2.6446 | 1.6114 | 1.5421 | 1.5805 | -0.11604 | 0.75479 | -1.5424 | 0.11604 | -0.74006 | 2.2797 | 1.788 | 1.6378 | -2.2316 | -1.7837 | -1.6355 | -62.2313 | 147.4454 | 51.2564 | 117.7541 | -32.5518 | -128.6987 |  | 1.0485 | 1.1127 | 1.1692 | 1.0258 | 1.1093 | 1.1641 | -6.9653 | -118.8413 | 116.5134 | -6.8964 | -118.8296 | 116.9544
Line_3 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 4.819e-05 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00055645 | 0.00057285 | -0.00011751 | -0.00045534 | 0.00057285 | -0.00011751 | -0.00045534 | 0.00011069 | -0.00060793 | 0.00046474 | 0.00011069 | -0.00060793 | 0.00046474 | -17.9015 | -17.9015 | -17.9015 | -17.9015 | -17.9015 | -17.9015 |  | 1.0485 | 1.1127 | 1.1692 | 1.0485 | 1.1127 | 1.1692 | -6.9653 | -118.8413 | 116.5134 | -6.9653 | -118.8413 | 116.5134

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2072 | 0.31556 | 0.51626 | 1.2079 | 0.31486 | 0.51556 | 13.9398 | 3.6437 | 5.9612 | 13.9475 | 3.6357 | 5.9532 | -5.3104e-11 | 3.1346 | -5.1903 | 2.426 | -3.1696 | 5.2257 | -4.0839e-11 | -1.0432 | -1.8476 | 1.8054 | 0.7751 | 1.4697 | 113.2603 | -88.9768 | -89.808 | -66.7491 | 91.0101 | 90.1828 |  | 0 | 0.90665 | 0.9242 | 0.21682 | 0.89749 | 0.91186 | 0 | -107.3842 | 109.7864 | -30.0932 | -102.7315 | 105.8914
Line_1 | 0.60431 | 0.15713 | 0.25749 | 0.60395 | 0.15743 | 0.25778 | 6.9779 | 1.8144 | 2.9732 | 6.9738 | 1.8178 | 2.9766 | 1.8223 | -1.593 | 2.6194 | -1.213 | 1.5848 | -2.6129 | 1.3549 | 0.31825 | 0.64197 | -0.9027 | -0.38755 | -0.73486 | -66.7407 | 90.9306 | 90.1334 | 113.2509 | -88.9899 | -89.8172 |  | 0.32543 | 0.89531 | 0.90709 | 0.21682 | 0.89749 | 0.91186 | -30.1099 | -100.3674 | 103.9039 | -30.0932 | -102.7315 | 105.8914
Line_2 | 0.60431 | 0.15713 | 0.25749 | 0.60395 | 0.15743 | 0.25778 | 6.9779 | 1.8144 | 2.9732 | 6.9738 | 1.8178 | 2.9766 | 1.8223 | -1.593 | 2.6194 | -1.213 | 1.5848 | -2.6129 | 1.3549 | 0.31825 | 0.64197 | -0.9027 | -0.38755 | -0.73486 | -66.7407 | 90.9306 | 90.1334 | 113.2509 | -88.9899 | -89.8172 |  | 0.32543 | 0.89531 | 0.90709 | 0.21682 | 0.89749 | 0.91186 | -30.1099 | -100.3674 | 103.9039 | -30.0932 | -102.7315 | 105.8914
Line_3 | 0.00015703 | 0.00015703 | 0.00015703 | 0.00015703 | 0.00015703 | 0.00015703 | 0.0018132 | 0.0018132 | 0.0018132 | 0.0018132 | 0.0018132 | 0.0018132 | 0.00059001 | 0.00056777 | -0.0011578 | 0.00059001 | 0.00056777 | -0.0011578 | 7.5125e-06 | -0.0015208 | 0.0011682 | 7.5125e-06 | -0.0015208 | 0.0011682 | -30.8394 | -30.8394 | -30.8394 | -30.8394 | -30.8394 | -30.8394 |  | 0.32543 | 0.89531 | 0.90709 | 0.32543 | 0.89531 | 0.90709 | -30.1099 | -100.3674 | 103.9039 | -30.1099 | -100.3674 | 103.9039

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.2072 | 0.31556 | 0.51626 | 1.2079 | 0.31486 | 0.51556 | 13.9398 | 3.6437 | 5.9612 | 13.9475 | 3.6357 | 5.9532 | -5.3104e-11 | 3.1346 | -5.1903 | 2.426 | -3.1696 | 5.2257 | -4.0839e-11 | -1.0432 | -1.8476 | 1.8054 | 0.7751 | 1.4697 | 113.2603 | -88.9768 | -89.808 | -66.7491 | 91.0101 | 90.1828 |  | 0 | 0.90665 | 0.9242 | 0.21682 | 0.89749 | 0.91186 | 0 | -107.3842 | 109.7864 | -30.0932 | -102.7315 | 105.8914
Line_1 | 0.60431 | 0.15713 | 0.25749 | 0.60395 | 0.15743 | 0.25778 | 6.9779 | 1.8144 | 2.9732 | 6.9738 | 1.8178 | 2.9766 | 1.8223 | -1.593 | 2.6194 | -1.213 | 1.5848 | -2.6129 | 1.3549 | 0.31825 | 0.64197 | -0.9027 | -0.38755 | -0.73486 | -66.7407 | 90.9306 | 90.1334 | 113.2509 | -88.9899 | -89.8172 |  | 0.32543 | 0.89531 | 0.90709 | 0.21682 | 0.89749 | 0.91186 | -30.1099 | -100.3674 | 103.9039 | -30.0932 | -102.7315 | 105.8914
Line_2 | 0.60431 | 0.15713 | 0.25749 | 0.60395 | 0.15743 | 0.25778 | 6.9779 | 1.8144 | 2.9732 | 6.9738 | 1.8178 | 2.9766 | 1.8223 | -1.593 | 2.6194 | -1.213 | 1.5848 | -2.6129 | 1.3549 | 0.31825 | 0.64197 | -0.9027 | -0.38755 | -0.73486 | -66.7407 | 90.9306 | 90.1334 | 113.2509 | -88.9899 | -89.8172 |  | 0.32543 | 0.89531 | 0.90709 | 0.21682 | 0.89749 | 0.91186 | -30.1099 | -100.3674 | 103.9039 | -30.0932 | -102.7315 | 105.8914
Line_3 | 0.00015703 | 0.00015703 | 0.00015703 | 0.00015703 | 0.00015703 | 0.00015703 | 0.0018132 | 0.0018132 | 0.0018132 | 0.0018132 | 0.0018132 | 0.0018132 | 0.00059001 | 0.00056777 | -0.0011578 | 0.00059001 | 0.00056777 | -0.0011578 | 7.5125e-06 | -0.0015208 | 0.0011682 | 7.5125e-06 | -0.0015208 | 0.0011682 | -30.8394 | -30.8394 | -30.8394 | -30.8394 | -30.8394 | -30.8394 |  | 0.32543 | 0.89531 | 0.90709 | 0.32543 | 0.89531 | 0.90709 | -30.1099 | -100.3674 | 103.9039 | -30.1099 | -100.3674 | 103.9039

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22777 | 0.059538 | 0.097405 | 0.2279 | 0.059406 | 0.097274 | 2.6301 | 0.68749 | 1.1247 | 2.6316 | 0.68597 | 1.1232 | -1.97 | 0.31038 | -1.1244 | 2.0573 | -0.31131 | 1.1244 | -1.0361 | -0.58394 | 0.086247 | 1.1013 | 0.57314 | -0.099345 | 145.4393 | -56.7977 | -57.629 | -34.5701 | 123.1891 | 122.3618 |  | 0.84629 | 0.96191 | 1.0026 | 0.88673 | 0.95082 | 1.005 | -6.819 | -118.806 | 117.9848 | -6.4098 | -118.3017 | 117.3128
Line_1 | 0.11402 | 0.029647 | 0.048581 | 0.11395 | 0.029703 | 0.048637 | 1.3166 | 0.34233 | 0.56097 | 1.3158 | 0.34298 | 0.56161 | 1.051 | -0.15613 | 0.56198 | -1.0286 | 0.15565 | -0.56221 | 0.56689 | 0.28345 | -0.052488 | -0.55063 | -0.28657 | 0.049672 | -34.5616 | 123.1096 | 122.3124 | 145.4299 | -56.8109 | -57.6382 |  | 0.90701 | 0.9453 | 1.0062 | 0.88673 | 0.95082 | 1.005 | -6.2197 | -118.0426 | 116.9765 | -6.4098 | -118.3017 | 117.3128
Line_2 | 0.11402 | 0.029647 | 0.048581 | 0.11395 | 0.029703 | 0.048637 | 1.3166 | 0.34233 | 0.56097 | 1.3158 | 0.34298 | 0.56161 | 1.051 | -0.15613 | 0.56198 | -1.0286 | 0.15565 | -0.56221 | 0.56689 | 0.28345 | -0.052488 | -0.55063 | -0.28657 | 0.049672 | -34.5616 | 123.1096 | 122.3124 | 145.4299 | -56.8109 | -57.6382 |  | 0.90701 | 0.9453 | 1.0062 | 0.88673 | 0.95082 | 1.005 | -6.2197 | -118.0426 | 116.9765 | -6.4098 | -118.3017 | 117.3128
Line_3 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 0.00034211 | 0.00034211 | 0.00034211 | 0.00034211 | 0.00034211 | 0.00034211 | 0.0003076 | -0.00015867 | -0.00014893 | 0.0003076 | -0.00015867 | -0.00014893 | -4.082e-05 | -0.00028179 | 0.00031033 | -4.082e-05 | -0.00028179 | 0.00031033 | 1.3396 | 1.3396 | 1.3396 | 1.3396 | 1.3396 | 1.3396 |  | 0.90701 | 0.9453 | 1.0062 | 0.90701 | 0.9453 | 1.0062 | -6.2197 | -118.0426 | 116.9765 | -6.2197 | -118.0426 | 116.9765

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22777 | 0.059538 | 0.097405 | 0.2279 | 0.059406 | 0.097274 | 2.6301 | 0.68749 | 1.1247 | 2.6316 | 0.68597 | 1.1232 | -1.97 | 0.31038 | -1.1244 | 2.0573 | -0.31131 | 1.1244 | -1.0361 | -0.58394 | 0.086247 | 1.1013 | 0.57314 | -0.099345 | 145.4393 | -56.7977 | -57.629 | -34.5701 | 123.1891 | 122.3618 |  | 0.84629 | 0.96191 | 1.0026 | 0.88673 | 0.95082 | 1.005 | -6.819 | -118.806 | 117.9848 | -6.4098 | -118.3017 | 117.3128
Line_1 | 0.11402 | 0.029647 | 0.048581 | 0.11395 | 0.029703 | 0.048637 | 1.3166 | 0.34233 | 0.56097 | 1.3158 | 0.34298 | 0.56161 | 1.051 | -0.15613 | 0.56198 | -1.0286 | 0.15565 | -0.56221 | 0.56689 | 0.28345 | -0.052488 | -0.55063 | -0.28657 | 0.049672 | -34.5616 | 123.1096 | 122.3124 | 145.4299 | -56.8109 | -57.6382 |  | 0.90701 | 0.9453 | 1.0062 | 0.88673 | 0.95082 | 1.005 | -6.2197 | -118.0426 | 116.9765 | -6.4098 | -118.3017 | 117.3128
Line_2 | 0.11402 | 0.029647 | 0.048581 | 0.11395 | 0.029703 | 0.048637 | 1.3166 | 0.34233 | 0.56097 | 1.3158 | 0.34298 | 0.56161 | 1.051 | -0.15613 | 0.56198 | -1.0286 | 0.15565 | -0.56221 | 0.56689 | 0.28345 | -0.052488 | -0.55063 | -0.28657 | 0.049672 | -34.5616 | 123.1096 | 122.3124 | 145.4299 | -56.8109 | -57.6382 |  | 0.90701 | 0.9453 | 1.0062 | 0.88673 | 0.95082 | 1.005 | -6.2197 | -118.0426 | 116.9765 | -6.4098 | -118.3017 | 117.3128
Line_3 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 2.9627e-05 | 0.00034211 | 0.00034211 | 0.00034211 | 0.00034211 | 0.00034211 | 0.00034211 | 0.0003076 | -0.00015867 | -0.00014893 | 0.0003076 | -0.00015867 | -0.00014893 | -4.082e-05 | -0.00028179 | 0.00031033 | -4.082e-05 | -0.00028179 | 0.00031033 | 1.3396 | 1.3396 | 1.3396 | 1.3396 | 1.3396 | 1.3396 |  | 0.90701 | 0.9453 | 1.0062 | 0.90701 | 0.9453 | 1.0062 | -6.2197 | -118.0426 | 116.9765 | -6.2197 | -118.0426 | 116.9765

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7418 | 1.8903 | 1.5255 | 0.74072 | 1.8907 | 1.5262 | 8.5655 | 21.8269 | 17.6148 | 8.553 | 21.8314 | 17.6228 | -1.1241 | 1.5243e-10 | 1.1829e-10 | 0.79535 | 3.9612 | 0.97363 | -6.8895 | -2.3883e-10 | -1.9547e-10 | 6.5655 | 1.2878 | 3.1807 | 100.1261 | -12.3563 | -131.2463 | -79.8717 | 167.6131 | 48.7848 |  | 0.81497 | 0 | 0 | 0.77323 | 0.19079 | 0.18875 | 0.85977 | 0 | 0 | 3.2211 | -174.3779 | 121.7652
Line_1 | 0.36964 | 0.94584 | 0.76334 | 0.37036 | 0.94533 | 0.76309 | 4.2683 | 10.9216 | 8.8143 | 4.2765 | 10.9157 | 8.8114 | 0.31223 | 2.9739 | 0.73291 | -0.39767 | -1.9806 | -0.48681 | 3.1978 | 0.96673 | 2.3875 | -3.2827 | -0.64388 | -1.5903 | -79.9113 | 167.579 | 48.8387 | 100.1283 | -12.3869 | -131.2152 |  | 0.75276 | 0.28632 | 0.28335 | 0.77323 | 0.19079 | 0.18875 | 4.512 | -174.4131 | 121.7736 | 3.2211 | -174.3779 | 121.7652
Line_2 | 0.36964 | 0.94584 | 0.76334 | 0.37036 | 0.94533 | 0.76309 | 4.2683 | 10.9216 | 8.8143 | 4.2765 | 10.9157 | 8.8114 | 0.31223 | 2.9739 | 0.73291 | -0.39767 | -1.9806 | -0.48681 | 3.1978 | 0.96673 | 2.3875 | -3.2827 | -0.64388 | -1.5903 | -79.9113 | 167.579 | 48.8387 | 100.1283 | -12.3869 | -131.2152 |  | 0.75276 | 0.28632 | 0.28335 | 0.77323 | 0.19079 | 0.18875 | 4.512 | -174.4131 | 121.7736 | 3.2211 | -174.3779 | 121.7652
Line_3 | 0.00034425 | 0.00034425 | 0.00034425 | 0.00034425 | 0.00034425 | 0.00034425 | 0.0039751 | 0.0039751 | 0.0039751 | 0.0039751 | 0.0039751 | 0.0039751 | -0.0017676 | 0.00065499 | 0.0011126 | -0.0017676 | 0.00065499 | 0.0011126 | -0.0024144 | 0.00093079 | -0.00017517 | -0.0024144 | 0.00093079 | -0.00017517 | 130.7208 | 130.7208 | 130.7208 | 130.7208 | 130.7208 | 130.7208 |  | 0.75276 | 0.28632 | 0.28335 | 0.75276 | 0.28632 | 0.28335 | 4.512 | -174.4131 | 121.7736 | 4.512 | -174.4131 | 121.7736

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.7418 | 1.8903 | 1.5255 | 0.74072 | 1.8907 | 1.5262 | 8.5655 | 21.8269 | 17.6148 | 8.553 | 21.8314 | 17.6228 | -1.1241 | 1.5243e-10 | 1.1829e-10 | 0.79535 | 3.9612 | 0.97363 | -6.8895 | -2.3883e-10 | -1.9547e-10 | 6.5655 | 1.2878 | 3.1807 | 100.1261 | -12.3563 | -131.2463 | -79.8717 | 167.6131 | 48.7848 |  | 0.81497 | 0 | 0 | 0.77323 | 0.19079 | 0.18875 | 0.85977 | 0 | 0 | 3.2211 | -174.3779 | 121.7652
Line_1 | 0.36964 | 0.94584 | 0.76334 | 0.37036 | 0.94533 | 0.76309 | 4.2683 | 10.9216 | 8.8143 | 4.2765 | 10.9157 | 8.8114 | 0.31223 | 2.9739 | 0.73291 | -0.39767 | -1.9806 | -0.48681 | 3.1978 | 0.96673 | 2.3875 | -3.2827 | -0.64388 | -1.5903 | -79.9113 | 167.579 | 48.8387 | 100.1283 | -12.3869 | -131.2152 |  | 0.75276 | 0.28632 | 0.28335 | 0.77323 | 0.19079 | 0.18875 | 4.512 | -174.4131 | 121.7736 | 3.2211 | -174.3779 | 121.7652
Line_2 | 0.36964 | 0.94584 | 0.76334 | 0.37036 | 0.94533 | 0.76309 | 4.2683 | 10.9216 | 8.8143 | 4.2765 | 10.9157 | 8.8114 | 0.31223 | 2.9739 | 0.73291 | -0.39767 | -1.9806 | -0.48681 | 3.1978 | 0.96673 | 2.3875 | -3.2827 | -0.64388 | -1.5903 | -79.9113 | 167.579 | 48.8387 | 100.1283 | -12.3869 | -131.2152 |  | 0.75276 | 0.28632 | 0.28335 | 0.77323 | 0.19079 | 0.18875 | 4.512 | -174.4131 | 121.7736 | 3.2211 | -174.3779 | 121.7652
Line_3 | 0.00034425 | 0.00034425 | 0.00034425 | 0.00034425 | 0.00034425 | 0.00034425 | 0.0039751 | 0.0039751 | 0.0039751 | 0.0039751 | 0.0039751 | 0.0039751 | -0.0017676 | 0.00065499 | 0.0011126 | -0.0017676 | 0.00065499 | 0.0011126 | -0.0024144 | 0.00093079 | -0.00017517 | -0.0024144 | 0.00093079 | -0.00017517 | 130.7208 | 130.7208 | 130.7208 | 130.7208 | 130.7208 | 130.7208 |  | 0.75276 | 0.28632 | 0.28335 | 0.75276 | 0.28632 | 0.28335 | 4.512 | -174.4131 | 121.7736 | 4.512 | -174.4131 | 121.7736

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29759 | 0.50917 | 0.46803 | 0.29745 | 0.50927 | 0.46806 | 3.4362 | 5.8794 | 5.4044 | 3.4346 | 5.8805 | 5.4047 | -1.0374 | -3.9994 | -2.4308 | 1.0685 | 4.2215 | 2.4985 | -3.6586 | -4.193 | -4.47 | 3.6598 | 4.3395 | 4.6638 | 104.6582 | 4.8351 | -126.9225 | -75.3555 | -175.179 | 53.0963 |  | 1.1067 | 0.98557 | 0.94149 | 1.11 | 1.0295 | 0.97895 | -1.1718 | -128.8114 | 114.5398 | -1.6308 | -129.3897 | 114.9173
Line_1 | 0.14865 | 0.25473 | 0.23401 | 0.14872 | 0.25463 | 0.23403 | 1.7165 | 2.9413 | 2.7021 | 1.7173 | 2.9403 | 2.7024 | 0.54107 | 2.1667 | 1.2668 | -0.53425 | -2.1108 | -1.2493 | 1.8299 | 2.2072 | 2.3798 | -1.8299 | -2.1697 | -2.3319 | -75.3871 | -175.192 | 53.1228 | 104.6445 | 4.821 | -126.9037 |  | 1.1117 | 1.0516 | 0.99771 | 1.11 | 1.0295 | 0.97895 | -1.8589 | -129.6623 | 115.0969 | -1.6308 | -129.3897 | 114.9173
Line_2 | 0.14865 | 0.25473 | 0.23401 | 0.14872 | 0.25463 | 0.23403 | 1.7165 | 2.9413 | 2.7021 | 1.7173 | 2.9403 | 2.7024 | 0.54107 | 2.1667 | 1.2668 | -0.53425 | -2.1108 | -1.2493 | 1.8299 | 2.2072 | 2.3798 | -1.8299 | -2.1697 | -2.3319 | -75.3871 | -175.192 | 53.1228 | 104.6445 | 4.821 | -126.9037 |  | 1.1117 | 1.0516 | 0.99771 | 1.11 | 1.0295 | 0.97895 | -1.8589 | -129.6623 | 115.0969 | -1.6308 | -129.3897 | 114.9173
Line_3 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 0.00057475 | 0.00057475 | 0.00057475 | 0.00057475 | 0.00057475 | 0.00057475 | -0.00061915 | 0.00024097 | 0.00037818 | -0.00061915 | 0.00024097 | 0.00037818 | -0.00015789 | 0.00055427 | -0.00043106 | -0.00015789 | 0.00055427 | -0.00043106 | 163.8351 | 163.8351 | 163.8351 | 163.8351 | 163.8351 | 163.8351 |  | 1.1117 | 1.0516 | 0.99771 | 1.1117 | 1.0516 | 0.99771 | -1.8589 | -129.6623 | 115.0969 | -1.8589 | -129.6623 | 115.0969

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.29759 | 0.50917 | 0.46803 | 0.29745 | 0.50927 | 0.46806 | 3.4362 | 5.8794 | 5.4044 | 3.4346 | 5.8805 | 5.4047 | -1.0374 | -3.9994 | -2.4308 | 1.0685 | 4.2215 | 2.4985 | -3.6586 | -4.193 | -4.47 | 3.6598 | 4.3395 | 4.6638 | 104.6582 | 4.8351 | -126.9225 | -75.3555 | -175.179 | 53.0963 |  | 1.1067 | 0.98557 | 0.94149 | 1.11 | 1.0295 | 0.97895 | -1.1718 | -128.8114 | 114.5398 | -1.6308 | -129.3897 | 114.9173
Line_1 | 0.14865 | 0.25473 | 0.23401 | 0.14872 | 0.25463 | 0.23403 | 1.7165 | 2.9413 | 2.7021 | 1.7173 | 2.9403 | 2.7024 | 0.54107 | 2.1667 | 1.2668 | -0.53425 | -2.1108 | -1.2493 | 1.8299 | 2.2072 | 2.3798 | -1.8299 | -2.1697 | -2.3319 | -75.3871 | -175.192 | 53.1228 | 104.6445 | 4.821 | -126.9037 |  | 1.1117 | 1.0516 | 0.99771 | 1.11 | 1.0295 | 0.97895 | -1.8589 | -129.6623 | 115.0969 | -1.6308 | -129.3897 | 114.9173
Line_2 | 0.14865 | 0.25473 | 0.23401 | 0.14872 | 0.25463 | 0.23403 | 1.7165 | 2.9413 | 2.7021 | 1.7173 | 2.9403 | 2.7024 | 0.54107 | 2.1667 | 1.2668 | -0.53425 | -2.1108 | -1.2493 | 1.8299 | 2.2072 | 2.3798 | -1.8299 | -2.1697 | -2.3319 | -75.3871 | -175.192 | 53.1228 | 104.6445 | 4.821 | -126.9037 |  | 1.1117 | 1.0516 | 0.99771 | 1.11 | 1.0295 | 0.97895 | -1.8589 | -129.6623 | 115.0969 | -1.6308 | -129.3897 | 114.9173
Line_3 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 4.9775e-05 | 0.00057475 | 0.00057475 | 0.00057475 | 0.00057475 | 0.00057475 | 0.00057475 | -0.00061915 | 0.00024097 | 0.00037818 | -0.00061915 | 0.00024097 | 0.00037818 | -0.00015789 | 0.00055427 | -0.00043106 | -0.00015789 | 0.00055427 | -0.00043106 | 163.8351 | 163.8351 | 163.8351 | 163.8351 | 163.8351 | 163.8351 |  | 1.1117 | 1.0516 | 0.99771 | 1.1117 | 1.0516 | 0.99771 | -1.8589 | -129.6623 | 115.0969 | -1.8589 | -129.6623 | 115.0969

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55222 | 1.4738 | 1.1043 | 0.55134 | 1.474 | 1.1049 | 6.3765 | 17.0183 | 12.751 | 6.3664 | 17.0199 | 12.7578 | -1.3015 | -1.5286e-10 | -1.1391e-10 | 1.1215 | 4.1289 | 0.71191 | -4.527 | 1.8492e-12 | -1.73e-11 | 4.0837 | 0.55543 | 2.2026 | 107.4901 | -0.23672 | -129.5184 | -72.496 | 179.7292 | 50.516 |  | 0.73871 | 0 | 0 | 0.6652 | 0.24478 | 0.18144 | 1.45 | 0 | 0 | 2.1473 | -172.6091 | 122.6046
Line_1 | 0.27524 | 0.73728 | 0.55252 | 0.27567 | 0.73698 | 0.55243 | 3.1781 | 8.5134 | 6.38 | 3.1832 | 8.51 | 6.3789 | 0.51315 | 3.0991 | 0.53584 | -0.56076 | -2.0644 | -0.35596 | 1.9299 | 0.41637 | 1.6535 | -2.0419 | -0.27771 | -1.1013 | -72.5317 | 179.7011 | 50.5635 | 107.504 | -0.27078 | -129.484 |  | 0.62834 | 0.3673 | 0.27244 | 0.6652 | 0.24478 | 0.18144 | 2.5781 | -172.647 | 122.608 | 2.1473 | -172.6091 | 122.6046
Line_2 | 0.27524 | 0.73728 | 0.55252 | 0.27567 | 0.73698 | 0.55243 | 3.1781 | 8.5134 | 6.38 | 3.1832 | 8.51 | 6.3789 | 0.51315 | 3.0991 | 0.53584 | -0.56076 | -2.0644 | -0.35596 | 1.9299 | 0.41637 | 1.6535 | -2.0419 | -0.27771 | -1.1013 | -72.5317 | 179.7011 | 50.5635 | 107.504 | -0.27078 | -129.484 |  | 0.62834 | 0.3673 | 0.27244 | 0.6652 | 0.24478 | 0.18144 | 2.5781 | -172.647 | 122.608 | 2.1473 | -172.6091 | 122.6046
Line_3 | 0.00019871 | 0.00019871 | 0.00019871 | 0.00019871 | 0.00019871 | 0.00019871 | 0.0022945 | 0.0022945 | 0.0022945 | 0.0022945 | 0.0022945 | 0.0022945 | -0.0012288 | 0.00067912 | 0.0005497 | -0.0012288 | 0.00067912 | 0.0005497 | -0.00075406 | 0.00049904 | -0.00029766 | -0.00075406 | 0.00049904 | -0.00029766 | 151.043 | 151.043 | 151.043 | 151.043 | 151.043 | 151.043 |  | 0.62834 | 0.3673 | 0.27244 | 0.62834 | 0.3673 | 0.27244 | 2.5781 | -172.647 | 122.608 | 2.5781 | -172.647 | 122.608

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55222 | 1.4738 | 1.1043 | 0.55134 | 1.474 | 1.1049 | 6.3765 | 17.0183 | 12.751 | 6.3664 | 17.0199 | 12.7578 | -1.3015 | -1.5286e-10 | -1.1391e-10 | 1.1215 | 4.1289 | 0.71191 | -4.527 | 1.8492e-12 | -1.73e-11 | 4.0837 | 0.55543 | 2.2026 | 107.4901 | -0.23672 | -129.5184 | -72.496 | 179.7292 | 50.516 |  | 0.73871 | 0 | 0 | 0.6652 | 0.24478 | 0.18144 | 1.45 | 0 | 0 | 2.1473 | -172.6091 | 122.6046
Line_1 | 0.27524 | 0.73728 | 0.55252 | 0.27567 | 0.73698 | 0.55243 | 3.1781 | 8.5134 | 6.38 | 3.1832 | 8.51 | 6.3789 | 0.51315 | 3.0991 | 0.53584 | -0.56076 | -2.0644 | -0.35596 | 1.9299 | 0.41637 | 1.6535 | -2.0419 | -0.27771 | -1.1013 | -72.5317 | 179.7011 | 50.5635 | 107.504 | -0.27078 | -129.484 |  | 0.62834 | 0.3673 | 0.27244 | 0.6652 | 0.24478 | 0.18144 | 2.5781 | -172.647 | 122.608 | 2.1473 | -172.6091 | 122.6046
Line_2 | 0.27524 | 0.73728 | 0.55252 | 0.27567 | 0.73698 | 0.55243 | 3.1781 | 8.5134 | 6.38 | 3.1832 | 8.51 | 6.3789 | 0.51315 | 3.0991 | 0.53584 | -0.56076 | -2.0644 | -0.35596 | 1.9299 | 0.41637 | 1.6535 | -2.0419 | -0.27771 | -1.1013 | -72.5317 | 179.7011 | 50.5635 | 107.504 | -0.27078 | -129.484 |  | 0.62834 | 0.3673 | 0.27244 | 0.6652 | 0.24478 | 0.18144 | 2.5781 | -172.647 | 122.608 | 2.1473 | -172.6091 | 122.6046
Line_3 | 0.00019871 | 0.00019871 | 0.00019871 | 0.00019871 | 0.00019871 | 0.00019871 | 0.0022945 | 0.0022945 | 0.0022945 | 0.0022945 | 0.0022945 | 0.0022945 | -0.0012288 | 0.00067912 | 0.0005497 | -0.0012288 | 0.00067912 | 0.0005497 | -0.00075406 | 0.00049904 | -0.00029766 | -0.00075406 | 0.00049904 | -0.00029766 | 151.043 | 151.043 | 151.043 | 151.043 | 151.043 | 151.043 |  | 0.62834 | 0.3673 | 0.27244 | 0.62834 | 0.3673 | 0.27244 | 2.5781 | -172.647 | 122.608 | 2.5781 | -172.647 | 122.608

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089057 | 0.30621 | 0.23176 | 0.088925 | 0.30623 | 0.23183 | 1.0283 | 3.5359 | 2.6761 | 1.0268 | 3.536 | 2.6769 | -0.82251 | -2.8806 | -1.6038 | 0.81597 | 3.0352 | 1.6339 | -0.55281 | -0.84553 | -1.4763 | 0.54236 | 0.87548 | 1.5517 | 145.0869 | 34.8875 | -108.1748 | -34.8913 | -145.1379 | 71.8541 |  | 0.9637 | 0.84906 | 0.81457 | 0.95419 | 0.89336 | 0.84175 | -1.0081 | -128.7544 | 114.4547 | -1.2803 | -129.048 | 115.3756
Line_1 | 0.044393 | 0.15316 | 0.11592 | 0.044463 | 0.15311 | 0.11591 | 0.51261 | 1.7685 | 1.3385 | 0.51341 | 1.768 | 1.3385 | 0.40583 | 1.5566 | 0.82466 | -0.40799 | -1.5176 | -0.81695 | 0.26861 | 0.44555 | 0.79432 | -0.27118 | -0.43774 | -0.77584 | -34.9165 | -145.1596 | 71.8896 | 145.1087 | 34.8621 | -108.1459 |  | 0.9494 | 0.91553 | 0.85545 | 0.95419 | 0.89336 | 0.84175 | -1.4175 | -129.1867 | 115.8159 | -1.2803 | -129.048 | 115.3756
Line_2 | 0.044393 | 0.15316 | 0.11592 | 0.044463 | 0.15311 | 0.11591 | 0.51261 | 1.7685 | 1.3385 | 0.51341 | 1.768 | 1.3385 | 0.40583 | 1.5566 | 0.82466 | -0.40799 | -1.5176 | -0.81695 | 0.26861 | 0.44555 | 0.79432 | -0.27118 | -0.43774 | -0.77584 | -34.9165 | -145.1596 | 71.8896 | 145.1087 | 34.8621 | -108.1459 |  | 0.9494 | 0.91553 | 0.85545 | 0.95419 | 0.89336 | 0.84175 | -1.4175 | -129.1867 | 115.8159 | -1.2803 | -129.048 | 115.3756
Line_3 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 0.00035263 | 0.00035263 | 0.00035263 | 0.00035263 | 0.00035263 | 0.00035263 | -0.00033382 | 0.00021655 | 0.00011727 | -0.00033382 | 0.00021655 | 0.00011727 | 2.543e-05 | 0.00023945 | -0.00027793 | 2.543e-05 | 0.00023945 | -0.00027793 | -177.0612 | -177.0612 | -177.0612 | -177.0612 | -177.0612 | -177.0612 |  | 0.9494 | 0.91553 | 0.85545 | 0.9494 | 0.91553 | 0.85545 | -1.4175 | -129.1867 | 115.8159 | -1.4175 | -129.1867 | 115.8159

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.089057 | 0.30621 | 0.23176 | 0.088925 | 0.30623 | 0.23183 | 1.0283 | 3.5359 | 2.6761 | 1.0268 | 3.536 | 2.6769 | -0.82251 | -2.8806 | -1.6038 | 0.81597 | 3.0352 | 1.6339 | -0.55281 | -0.84553 | -1.4763 | 0.54236 | 0.87548 | 1.5517 | 145.0869 | 34.8875 | -108.1748 | -34.8913 | -145.1379 | 71.8541 |  | 0.9637 | 0.84906 | 0.81457 | 0.95419 | 0.89336 | 0.84175 | -1.0081 | -128.7544 | 114.4547 | -1.2803 | -129.048 | 115.3756
Line_1 | 0.044393 | 0.15316 | 0.11592 | 0.044463 | 0.15311 | 0.11591 | 0.51261 | 1.7685 | 1.3385 | 0.51341 | 1.768 | 1.3385 | 0.40583 | 1.5566 | 0.82466 | -0.40799 | -1.5176 | -0.81695 | 0.26861 | 0.44555 | 0.79432 | -0.27118 | -0.43774 | -0.77584 | -34.9165 | -145.1596 | 71.8896 | 145.1087 | 34.8621 | -108.1459 |  | 0.9494 | 0.91553 | 0.85545 | 0.95419 | 0.89336 | 0.84175 | -1.4175 | -129.1867 | 115.8159 | -1.2803 | -129.048 | 115.3756
Line_2 | 0.044393 | 0.15316 | 0.11592 | 0.044463 | 0.15311 | 0.11591 | 0.51261 | 1.7685 | 1.3385 | 0.51341 | 1.768 | 1.3385 | 0.40583 | 1.5566 | 0.82466 | -0.40799 | -1.5176 | -0.81695 | 0.26861 | 0.44555 | 0.79432 | -0.27118 | -0.43774 | -0.77584 | -34.9165 | -145.1596 | 71.8896 | 145.1087 | 34.8621 | -108.1459 |  | 0.9494 | 0.91553 | 0.85545 | 0.95419 | 0.89336 | 0.84175 | -1.4175 | -129.1867 | 115.8159 | -1.2803 | -129.048 | 115.3756
Line_3 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 3.0539e-05 | 0.00035263 | 0.00035263 | 0.00035263 | 0.00035263 | 0.00035263 | 0.00035263 | -0.00033382 | 0.00021655 | 0.00011727 | -0.00033382 | 0.00021655 | 0.00011727 | 2.543e-05 | 0.00023945 | -0.00027793 | 2.543e-05 | 0.00023945 | -0.00027793 | -177.0612 | -177.0612 | -177.0612 | -177.0612 | -177.0612 | -177.0612 |  | 0.9494 | 0.91553 | 0.85545 | 0.9494 | 0.91553 | 0.85545 | -1.4175 | -129.1867 | 115.8159 | -1.4175 | -129.1867 | 115.8159