## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4116e-14 | 5.9134e-15 | -5.3934e-15 | 1.7156e-14 | 2.3341e-14 | 2.3539e-16 | 4.4804e-15 | 6.2639e-16 | 2.3539e-16 | -5.0669e-15 | 5.4623e-15 | 5.3934e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -3.4116e-14 | 5.9134e-15 | -5.3934e-15 | 1.7156e-14 | 2.3341e-14 | 2.3539e-16 | 4.4804e-15 | 6.2639e-16 | 2.3539e-16 | -5.0669e-15 | 5.4623e-15 | 5.3934e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.66e-15 | 1.115e-14 | 6.1183e-15 | -7.7335e-17 | -5.928e-15 | -6.1183e-15 | -8.3666e-15 | -8.876e-15 | 4.1411e-15 | 5.552e-15 | 1.3581e-14 | -4.1411e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.66e-15 | 1.115e-14 | 6.1183e-15 | -7.7335e-17 | -5.928e-15 | -6.1183e-15 | -8.3666e-15 | -8.876e-15 | 4.1411e-15 | 5.552e-15 | 1.3581e-14 | -4.1411e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5017e-15 | 5.9187e-15 | -1.8025e-15 | -7.5017e-15 | 1.328e-15 | -4.0847e-16 | -4.5654e-15 | -4.7057e-15 | 8.946e-15 | 4.5654e-15 | 1.5163e-16 | -8.8438e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5017e-15 | 5.9187e-15 | -1.8025e-15 | -7.5017e-15 | 1.328e-15 | -4.0847e-16 | -4.5654e-15 | -4.7057e-15 | 8.946e-15 | 4.5654e-15 | 1.5163e-16 | -8.8438e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2374e-15 | 3.0307e-15 | 8.4133e-15 | -1.8329e-15 | -1.5726e-15 | -5.3779e-15 | -2.3589e-15 | -2.5828e-15 | 4.5794e-15 | 2.3473e-15 | 3.9158e-15 | -3.3746e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.2374e-15 | 3.0307e-15 | 8.4133e-15 | -1.8329e-15 | -1.5726e-15 | -5.3779e-15 | -2.3589e-15 | -2.5828e-15 | 4.5794e-15 | 2.3473e-15 | 3.9158e-15 | -3.3746e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4461 | 0.75848 | 0.6771 | 2.4436 | 0.76113 | 0.67918 | 28.2457 | 8.7582 | 7.8184 | 28.2158 | 8.7888 | 7.8424 | 6.0346 | -8.9422 | 10.1805 | 1.4897e-10 | 8.4291 | -10.7631 | 4.0291 | 7.3169 | 0.23346 | -9.1019e-11 | -7.3763 | 0.24365 | -75.351 | 90.4504 | 130.7372 | 104.6622 | -89.5428 | -49.4015 |  | 0.25689 | 1.3192 | 1.3025 | 0 | 1.2745 | 1.3728 | -41.6217 | -128.8408 | 132.0508 | 0 | -130.7321 | 129.3017
Line_1 | 1.1207 | 0.38306 | 0.34164 | 1.1182 | 0.38057 | 0.33959 | 12.9405 | 4.4232 | 3.9449 | 12.912 | 4.3944 | 3.9212 | 2.7661 | 4.961 | -4.6869 | 6.8053e-11 | -4.2145 | 5.3815 | 1.3932 | -3.2336 | 0.070177 | -4.1847e-11 | 3.6882 | -0.12183 | -75.1941 | -89.5096 | -49.6425 | 104.8265 | 90.4572 | 130.5985 |  | 0.23934 | 1.3388 | 1.1882 | 0 | 1.2745 | 1.3728 | -48.4617 | -122.6063 | 129.4997 | 0 | -130.7321 | 129.3017
Line_2 | 1.1207 | 0.38306 | 0.34164 | 1.1182 | 0.38057 | 0.33959 | 12.9405 | 4.4232 | 3.9449 | 12.912 | 4.3944 | 3.9212 | 2.7661 | 4.961 | -4.6869 | 6.8053e-11 | -4.2145 | 5.3815 | 1.3932 | -3.2336 | 0.070177 | -4.1847e-11 | 3.6882 | -0.12183 | -75.1941 | -89.5096 | -49.6425 | 104.8265 | 90.4572 | 130.5985 |  | 0.23934 | 1.3388 | 1.1882 | 0 | 1.2745 | 1.3728 | -48.4617 | -122.6063 | 129.4997 | 0 | -130.7321 | 129.3017
Line_3 | 0.0011344 | 0.0011344 | 0.0011344 | 0.0011344 | 0.0011344 | 0.0011344 | 0.013098 | 0.013098 | 0.013098 | 0.013098 | 0.013098 | 0.013098 | 0.0028399 | 0.011485 | -0.014325 | 0.0028399 | 0.011485 | -0.014325 | 0.0013277 | -0.013252 | -0.006086 | 0.0013277 | -0.013252 | -0.006086 | -73.519 | -73.519 | -73.519 | -73.519 | -73.519 | -73.519 |  | 0.23934 | 1.3388 | 1.1882 | 0.23934 | 1.3388 | 1.1882 | -48.4617 | -122.6063 | 129.4997 | -48.4617 | -122.6063 | 129.4997

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.4461 | 0.75848 | 0.6771 | 2.4436 | 0.76113 | 0.67918 | 28.2457 | 8.7582 | 7.8184 | 28.2158 | 8.7888 | 7.8424 | 6.0346 | -8.9422 | 10.1805 | 1.4897e-10 | 8.4291 | -10.7631 | 4.0291 | 7.3169 | 0.23346 | -9.1019e-11 | -7.3763 | 0.24365 | -75.351 | 90.4504 | 130.7372 | 104.6622 | -89.5428 | -49.4015 |  | 0.25689 | 1.3192 | 1.3025 | 0 | 1.2745 | 1.3728 | -41.6217 | -128.8408 | 132.0508 | 0 | -130.7321 | 129.3017
Line_1 | 1.1207 | 0.38306 | 0.34164 | 1.1182 | 0.38057 | 0.33959 | 12.9405 | 4.4232 | 3.9449 | 12.912 | 4.3944 | 3.9212 | 2.7661 | 4.961 | -4.6869 | 6.8053e-11 | -4.2145 | 5.3815 | 1.3932 | -3.2336 | 0.070177 | -4.1847e-11 | 3.6882 | -0.12183 | -75.1941 | -89.5096 | -49.6425 | 104.8265 | 90.4572 | 130.5985 |  | 0.23934 | 1.3388 | 1.1882 | 0 | 1.2745 | 1.3728 | -48.4617 | -122.6063 | 129.4997 | 0 | -130.7321 | 129.3017
Line_2 | 1.1207 | 0.38306 | 0.34164 | 1.1182 | 0.38057 | 0.33959 | 12.9405 | 4.4232 | 3.9449 | 12.912 | 4.3944 | 3.9212 | 2.7661 | 4.961 | -4.6869 | 6.8053e-11 | -4.2145 | 5.3815 | 1.3932 | -3.2336 | 0.070177 | -4.1847e-11 | 3.6882 | -0.12183 | -75.1941 | -89.5096 | -49.6425 | 104.8265 | 90.4572 | 130.5985 |  | 0.23934 | 1.3388 | 1.1882 | 0 | 1.2745 | 1.3728 | -48.4617 | -122.6063 | 129.4997 | 0 | -130.7321 | 129.3017
Line_3 | 0.0011344 | 0.0011344 | 0.0011344 | 0.0011344 | 0.0011344 | 0.0011344 | 0.013098 | 0.013098 | 0.013098 | 0.013098 | 0.013098 | 0.013098 | 0.0028399 | 0.011485 | -0.014325 | 0.0028399 | 0.011485 | -0.014325 | 0.0013277 | -0.013252 | -0.006086 | 0.0013277 | -0.013252 | -0.006086 | -73.519 | -73.519 | -73.519 | -73.519 | -73.519 | -73.519 |  | 0.23934 | 1.3388 | 1.1882 | 0.23934 | 1.3388 | 1.1882 | -48.4617 | -122.6063 | 129.4997 | -48.4617 | -122.6063 | 129.4997

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58495 | 0.14954 | 0.32599 | 0.58422 | 0.15 | 0.3263 | 6.7545 | 1.7267 | 3.7642 | 6.746 | 1.7321 | 3.7678 | 5.0589 | -2.0958 | 2.4241 | -4.6662 | 2.1002 | -2.4627 | 3.5541 | 0.066048 | -3.6207 | -3.3448 | -0.11425 | 3.7644 | -44.2681 | 60.2445 | -179.1117 | 135.7604 | -119.5129 | 0.76129 |  | 0.91533 | 1.2144 | 1.1575 | 0.85104 | 1.2143 | 1.1939 | -9.1781 | -121.5605 | 124.6914 | -8.6061 | -122.6266 | 123.9542
Line_1 | 0.41017 | 0.075411 | 0.16348 | 0.40943 | 0.075001 | 0.16315 | 4.7362 | 0.87077 | 1.8877 | 4.7277 | 0.86603 | 1.8839 | 2.8069 | 1.064 | -1.151 | -2.4954 | -1.0501 | 1.2313 | 3.3586 | -0.018952 | 1.8392 | -3.1561 | 0.057123 | -1.8822 | -60.2786 | -119.0408 | 0.52806 | 119.726 | 60.4871 | -179.2387 |  | 0.92418 | 1.222 | 1.1494 | 0.85104 | 1.2143 | 1.1939 | -10.1653 | -120.0613 | 122.5674 | -8.6061 | -122.6266 | 123.9542
Line_2 | 0.41017 | 0.075411 | 0.16348 | 0.40943 | 0.075001 | 0.16315 | 4.7362 | 0.87077 | 1.8877 | 4.7277 | 0.86603 | 1.8839 | 2.8069 | 1.064 | -1.151 | -2.4954 | -1.0501 | 1.2313 | 3.3586 | -0.018952 | 1.8392 | -3.1561 | 0.057123 | -1.8822 | -60.2786 | -119.0408 | 0.52806 | 119.726 | 60.4871 | -179.2387 |  | 0.92418 | 1.222 | 1.1494 | 0.85104 | 1.2143 | 1.1939 | -10.1653 | -120.0613 | 122.5674 | -8.6061 | -122.6266 | 123.9542
Line_3 | 0.00033685 | 0.00033685 | 0.00033685 | 0.00033685 | 0.00033685 | 0.00033685 | 0.0038897 | 0.0038897 | 0.0038897 | 0.0038897 | 0.0038897 | 0.0038897 | 0.002684 | 0.0017656 | -0.0044495 | 0.002684 | 0.0017656 | -0.0044495 | 0.0023914 | -0.0044133 | 0.00043368 | 0.0023914 | -0.0044133 | 0.00043368 | -51.8658 | -51.8658 | -51.8658 | -51.8658 | -51.8658 | -51.8658 |  | 0.92418 | 1.222 | 1.1494 | 0.92418 | 1.222 | 1.1494 | -10.1653 | -120.0613 | 122.5674 | -10.1653 | -120.0613 | 122.5674

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58495 | 0.14954 | 0.32599 | 0.58422 | 0.15 | 0.3263 | 6.7545 | 1.7267 | 3.7642 | 6.746 | 1.7321 | 3.7678 | 5.0589 | -2.0958 | 2.4241 | -4.6662 | 2.1002 | -2.4627 | 3.5541 | 0.066048 | -3.6207 | -3.3448 | -0.11425 | 3.7644 | -44.2681 | 60.2445 | -179.1117 | 135.7604 | -119.5129 | 0.76129 |  | 0.91533 | 1.2144 | 1.1575 | 0.85104 | 1.2143 | 1.1939 | -9.1781 | -121.5605 | 124.6914 | -8.6061 | -122.6266 | 123.9542
Line_1 | 0.41017 | 0.075411 | 0.16348 | 0.40943 | 0.075001 | 0.16315 | 4.7362 | 0.87077 | 1.8877 | 4.7277 | 0.86603 | 1.8839 | 2.8069 | 1.064 | -1.151 | -2.4954 | -1.0501 | 1.2313 | 3.3586 | -0.018952 | 1.8392 | -3.1561 | 0.057123 | -1.8822 | -60.2786 | -119.0408 | 0.52806 | 119.726 | 60.4871 | -179.2387 |  | 0.92418 | 1.222 | 1.1494 | 0.85104 | 1.2143 | 1.1939 | -10.1653 | -120.0613 | 122.5674 | -8.6061 | -122.6266 | 123.9542
Line_2 | 0.41017 | 0.075411 | 0.16348 | 0.40943 | 0.075001 | 0.16315 | 4.7362 | 0.87077 | 1.8877 | 4.7277 | 0.86603 | 1.8839 | 2.8069 | 1.064 | -1.151 | -2.4954 | -1.0501 | 1.2313 | 3.3586 | -0.018952 | 1.8392 | -3.1561 | 0.057123 | -1.8822 | -60.2786 | -119.0408 | 0.52806 | 119.726 | 60.4871 | -179.2387 |  | 0.92418 | 1.222 | 1.1494 | 0.85104 | 1.2143 | 1.1939 | -10.1653 | -120.0613 | 122.5674 | -8.6061 | -122.6266 | 123.9542
Line_3 | 0.00033685 | 0.00033685 | 0.00033685 | 0.00033685 | 0.00033685 | 0.00033685 | 0.0038897 | 0.0038897 | 0.0038897 | 0.0038897 | 0.0038897 | 0.0038897 | 0.002684 | 0.0017656 | -0.0044495 | 0.002684 | 0.0017656 | -0.0044495 | 0.0023914 | -0.0044133 | 0.00043368 | 0.0023914 | -0.0044133 | 0.00043368 | -51.8658 | -51.8658 | -51.8658 | -51.8658 | -51.8658 | -51.8658 |  | 0.92418 | 1.222 | 1.1494 | 0.92418 | 1.222 | 1.1494 | -10.1653 | -120.0613 | 122.5674 | -10.1653 | -120.0613 | 122.5674

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1234 | 0.67413 | 0.5589 | 2.1213 | 0.67611 | 0.56072 | 24.5187 | 7.7842 | 6.4537 | 24.4948 | 7.807 | 6.4746 | 8.5164 | -2.941 | 7.297 | -5.9151e-11 | 2.1525 | -8.0278 | 2.4159 | 8.4456 | 0.38252 | -5.4815e-12 | -7.9989 | 0.078948 | -63.8882 | 121.5696 | 128.8728 | 116.1364 | -58.524 | -51.2647 |  | 0.36105 | 1.1489 | 1.1322 | 0 | 1.061 | 1.2399 | -48.0507 | -129.2309 | 131.8736 | 0 | -133.4623 | 128.1718
Line_1 | 0.85789 | 0.33986 | 0.28205 | 0.856 | 0.33805 | 0.28036 | 9.9061 | 3.9244 | 3.2568 | 9.8842 | 3.9035 | 3.2373 | 3.2655 | 2.2278 | -3.1075 | -2.3817e-11 | -1.0763 | 4.0139 | 0.98485 | -3.8456 | 0.051648 | -2.7089e-12 | 3.9994 | -0.039474 | -65.0987 | -58.6631 | -51.4774 | 114.9423 | 121.476 | 128.7353 |  | 0.34432 | 1.1325 | 0.95429 | 0 | 1.061 | 1.2399 | -48.3159 | -118.5792 | 127.5704 | 0 | -133.4623 | 128.1718
Line_2 | 0.85789 | 0.33986 | 0.28205 | 0.856 | 0.33805 | 0.28036 | 9.9061 | 3.9244 | 3.2568 | 9.8842 | 3.9035 | 3.2373 | 3.2655 | 2.2278 | -3.1075 | -2.3817e-11 | -1.0763 | 4.0139 | 0.98485 | -3.8456 | 0.051648 | -2.7089e-12 | 3.9994 | -0.039474 | -65.0987 | -58.6631 | -51.4774 | 114.9423 | 121.476 | 128.7353 |  | 0.34432 | 1.1325 | 0.95429 | 0 | 1.061 | 1.2399 | -48.3159 | -118.5792 | 127.5704 | 0 | -133.4623 | 128.1718
Line_3 | 0.00084361 | 0.00084361 | 0.00084361 | 0.00084361 | 0.00084361 | 0.00084361 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0032718 | 0.0059195 | -0.0091913 | 0.0032718 | 0.0059195 | -0.0091913 | 0.00073823 | -0.0093091 | -0.0013903 | 0.00073823 | -0.0093091 | -0.0013903 | -61.0311 | -61.0311 | -61.0311 | -61.0311 | -61.0311 | -61.0311 |  | 0.34432 | 1.1325 | 0.95429 | 0.34432 | 1.1325 | 0.95429 | -48.3159 | -118.5792 | 127.5704 | -48.3159 | -118.5792 | 127.5704

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.1234 | 0.67413 | 0.5589 | 2.1213 | 0.67611 | 0.56072 | 24.5187 | 7.7842 | 6.4537 | 24.4948 | 7.807 | 6.4746 | 8.5164 | -2.941 | 7.297 | -5.9151e-11 | 2.1525 | -8.0278 | 2.4159 | 8.4456 | 0.38252 | -5.4815e-12 | -7.9989 | 0.078948 | -63.8882 | 121.5696 | 128.8728 | 116.1364 | -58.524 | -51.2647 |  | 0.36105 | 1.1489 | 1.1322 | 0 | 1.061 | 1.2399 | -48.0507 | -129.2309 | 131.8736 | 0 | -133.4623 | 128.1718
Line_1 | 0.85789 | 0.33986 | 0.28205 | 0.856 | 0.33805 | 0.28036 | 9.9061 | 3.9244 | 3.2568 | 9.8842 | 3.9035 | 3.2373 | 3.2655 | 2.2278 | -3.1075 | -2.3817e-11 | -1.0763 | 4.0139 | 0.98485 | -3.8456 | 0.051648 | -2.7089e-12 | 3.9994 | -0.039474 | -65.0987 | -58.6631 | -51.4774 | 114.9423 | 121.476 | 128.7353 |  | 0.34432 | 1.1325 | 0.95429 | 0 | 1.061 | 1.2399 | -48.3159 | -118.5792 | 127.5704 | 0 | -133.4623 | 128.1718
Line_2 | 0.85789 | 0.33986 | 0.28205 | 0.856 | 0.33805 | 0.28036 | 9.9061 | 3.9244 | 3.2568 | 9.8842 | 3.9035 | 3.2373 | 3.2655 | 2.2278 | -3.1075 | -2.3817e-11 | -1.0763 | 4.0139 | 0.98485 | -3.8456 | 0.051648 | -2.7089e-12 | 3.9994 | -0.039474 | -65.0987 | -58.6631 | -51.4774 | 114.9423 | 121.476 | 128.7353 |  | 0.34432 | 1.1325 | 0.95429 | 0 | 1.061 | 1.2399 | -48.3159 | -118.5792 | 127.5704 | 0 | -133.4623 | 128.1718
Line_3 | 0.00084361 | 0.00084361 | 0.00084361 | 0.00084361 | 0.00084361 | 0.00084361 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0097411 | 0.0032718 | 0.0059195 | -0.0091913 | 0.0032718 | 0.0059195 | -0.0091913 | 0.00073823 | -0.0093091 | -0.0013903 | 0.00073823 | -0.0093091 | -0.0013903 | -61.0311 | -61.0311 | -61.0311 | -61.0311 | -61.0311 | -61.0311 |  | 0.34432 | 1.1325 | 0.95429 | 0.34432 | 1.1325 | 0.95429 | -48.3159 | -118.5792 | 127.5704 | -48.3159 | -118.5792 | 127.5704

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64204 | 0.20384 | 0.16899 | 0.64141 | 0.20443 | 0.16954 | 7.4136 | 2.3537 | 1.9514 | 7.4064 | 2.3606 | 1.9577 | 4.5321 | -0.53117 | 1.8869 | -3.7514 | 0.46256 | -1.9593 | 3.9083 | 2.4219 | -0.62098 | -3.6822 | -2.3855 | 0.66236 | -50.2546 | 135.2032 | 142.5064 | 129.77 | -44.8904 | -37.6311 |  | 0.80724 | 1.0534 | 1.018 | 0.70974 | 1.0294 | 1.0564 | -9.4815 | -122.4267 | 124.2901 | -5.7633 | -123.9167 | 123.6902
Line_1 | 0.2594 | 0.10276 | 0.085283 | 0.25883 | 0.10222 | 0.084772 | 2.9953 | 1.1866 | 0.98476 | 2.9887 | 1.1803 | 0.97886 | 1.7832 | 0.33929 | -0.90168 | -1.4825 | -0.23128 | 0.97963 | 1.6116 | -1.1828 | 0.33198 | -1.5171 | 1.1927 | -0.33118 | -51.4651 | -45.0295 | -37.8438 | 128.5759 | 135.1096 | 142.3689 |  | 0.80245 | 1.037 | 0.97573 | 0.70974 | 1.0294 | 1.0564 | -9.3603 | -119.0237 | 121.9436 | -5.7633 | -123.9167 | 123.6902
Line_2 | 0.2594 | 0.10276 | 0.085283 | 0.25883 | 0.10222 | 0.084772 | 2.9953 | 1.1866 | 0.98476 | 2.9887 | 1.1803 | 0.97886 | 1.7832 | 0.33929 | -0.90168 | -1.4825 | -0.23128 | 0.97963 | 1.6116 | -1.1828 | 0.33198 | -1.5171 | 1.1927 | -0.33118 | -51.4651 | -45.0295 | -37.8438 | 128.5759 | 135.1096 | 142.3689 |  | 0.80245 | 1.037 | 0.97573 | 0.70974 | 1.0294 | 1.0564 | -9.3603 | -119.0237 | 121.9436 | -5.7633 | -123.9167 | 123.6902
Line_3 | 0.00025508 | 0.00025508 | 0.00025508 | 0.00025508 | 0.00025508 | 0.00025508 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0018615 | 0.00096276 | -0.0028243 | 0.0018615 | 0.00096276 | -0.0028243 | 0.0014563 | -0.0028986 | 0.00053156 | 0.0014563 | -0.0028986 | 0.00053156 | -47.3975 | -47.3975 | -47.3975 | -47.3975 | -47.3975 | -47.3975 |  | 0.80245 | 1.037 | 0.97573 | 0.80245 | 1.037 | 0.97573 | -9.3603 | -119.0237 | 121.9436 | -9.3603 | -119.0237 | 121.9436

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.64204 | 0.20384 | 0.16899 | 0.64141 | 0.20443 | 0.16954 | 7.4136 | 2.3537 | 1.9514 | 7.4064 | 2.3606 | 1.9577 | 4.5321 | -0.53117 | 1.8869 | -3.7514 | 0.46256 | -1.9593 | 3.9083 | 2.4219 | -0.62098 | -3.6822 | -2.3855 | 0.66236 | -50.2546 | 135.2032 | 142.5064 | 129.77 | -44.8904 | -37.6311 |  | 0.80724 | 1.0534 | 1.018 | 0.70974 | 1.0294 | 1.0564 | -9.4815 | -122.4267 | 124.2901 | -5.7633 | -123.9167 | 123.6902
Line_1 | 0.2594 | 0.10276 | 0.085283 | 0.25883 | 0.10222 | 0.084772 | 2.9953 | 1.1866 | 0.98476 | 2.9887 | 1.1803 | 0.97886 | 1.7832 | 0.33929 | -0.90168 | -1.4825 | -0.23128 | 0.97963 | 1.6116 | -1.1828 | 0.33198 | -1.5171 | 1.1927 | -0.33118 | -51.4651 | -45.0295 | -37.8438 | 128.5759 | 135.1096 | 142.3689 |  | 0.80245 | 1.037 | 0.97573 | 0.70974 | 1.0294 | 1.0564 | -9.3603 | -119.0237 | 121.9436 | -5.7633 | -123.9167 | 123.6902
Line_2 | 0.2594 | 0.10276 | 0.085283 | 0.25883 | 0.10222 | 0.084772 | 2.9953 | 1.1866 | 0.98476 | 2.9887 | 1.1803 | 0.97886 | 1.7832 | 0.33929 | -0.90168 | -1.4825 | -0.23128 | 0.97963 | 1.6116 | -1.1828 | 0.33198 | -1.5171 | 1.1927 | -0.33118 | -51.4651 | -45.0295 | -37.8438 | 128.5759 | 135.1096 | 142.3689 |  | 0.80245 | 1.037 | 0.97573 | 0.70974 | 1.0294 | 1.0564 | -9.3603 | -119.0237 | 121.9436 | -5.7633 | -123.9167 | 123.6902
Line_3 | 0.00025508 | 0.00025508 | 0.00025508 | 0.00025508 | 0.00025508 | 0.00025508 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0029454 | 0.0018615 | 0.00096276 | -0.0028243 | 0.0018615 | 0.00096276 | -0.0028243 | 0.0014563 | -0.0028986 | 0.00053156 | 0.0014563 | -0.0028986 | 0.00053156 | -47.3975 | -47.3975 | -47.3975 | -47.3975 | -47.3975 | -47.3975 |  | 0.80245 | 1.037 | 0.97573 | 0.80245 | 1.037 | 0.97573 | -9.3603 | -119.0237 | 121.9436 | -9.3603 | -119.0237 | 121.9436

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33327 | 3.7416 | 3.7803 | 0.33545 | 3.7415 | 3.7797 | 3.8483 | 43.2044 | 43.6509 | 3.8735 | 43.2028 | 43.6443 | 0.043075 | 8.8994 | 6.9961 | -0.29206 | 1.0196e-10 | 1.4594e-10 | 5.329 | 4.8864 | 12.1871 | -5.4371 | -1.0622e-10 | -1.5215e-11 | -86.2245 | -177.3491 | 21.6907 | 93.7924 | 2.6843 | -158.3413 |  | 1.3848 | 0.23499 | 0.32193 | 1.4057 | 0 | 0 | 3.3124 | -148.5795 | 81.8321 | 0.7176 | 0 | 0
Line_1 | 0.16978 | 1.1182 | 0.92889 | 0.16773 | 1.117 | 0.92739 | 1.9605 | 12.9114 | 10.7259 | 1.9367 | 12.8983 | 10.7085 | 0.098069 | 2.2213 | 0.97421 | 0.14603 | 4.1351e-11 | 2.739e-11 | -2.5879 | -0.18154 | 1.927 | 2.7185 | -1.4911e-11 | -2.3366e-11 | 93.8619 | 156.2537 | 56.2604 | -86.2076 | -23.6578 | -123.827 |  | 1.321 | 0.17262 | 0.20131 | 1.4057 | 0 | 0 | 6.0321 | 151.5814 | 119.4412 | 0.7176 | 0 | 0
Line_2 | 0.16978 | 1.1182 | 0.92889 | 0.16773 | 1.117 | 0.92739 | 1.9605 | 12.9114 | 10.7259 | 1.9367 | 12.8983 | 10.7085 | 0.098069 | 2.2213 | 0.97421 | 0.14603 | 4.1351e-11 | 2.739e-11 | -2.5879 | -0.18154 | 1.927 | 2.7185 | -1.4911e-11 | -2.3366e-11 | 93.8619 | 156.2537 | 56.2604 | -86.2076 | -23.6578 | -123.827 |  | 1.321 | 0.17262 | 0.20131 | 1.4057 | 0 | 0 | 6.0321 | 151.5814 | 119.4412 | 0.7176 | 0 | 0
Line_3 | 0.00093585 | 0.00093585 | 0.00093585 | 0.00093585 | 0.00093585 | 0.00093585 | 0.010806 | 0.010806 | 0.010806 | 0.010806 | 0.010806 | 0.010806 | -0.0035536 | 0.0014049 | 0.0021487 | -0.0035536 | 0.0014049 | 0.0021487 | -0.013826 | 0.0012271 | 0.00034011 | -0.013826 | 0.0012271 | 0.00034011 | 110.4466 | 110.4466 | 110.4466 | 110.4466 | 110.4466 | 110.4466 |  | 1.321 | 0.17262 | 0.20131 | 1.321 | 0.17262 | 0.20131 | 6.0321 | 151.5814 | 119.4412 | 6.0321 | 151.5814 | 119.4412

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.33327 | 3.7416 | 3.7803 | 0.33545 | 3.7415 | 3.7797 | 3.8483 | 43.2044 | 43.6509 | 3.8735 | 43.2028 | 43.6443 | 0.043075 | 8.8994 | 6.9961 | -0.29206 | 1.0196e-10 | 1.4594e-10 | 5.329 | 4.8864 | 12.1871 | -5.4371 | -1.0622e-10 | -1.5215e-11 | -86.2245 | -177.3491 | 21.6907 | 93.7924 | 2.6843 | -158.3413 |  | 1.3848 | 0.23499 | 0.32193 | 1.4057 | 0 | 0 | 3.3124 | -148.5795 | 81.8321 | 0.7176 | 0 | 0
Line_1 | 0.16978 | 1.1182 | 0.92889 | 0.16773 | 1.117 | 0.92739 | 1.9605 | 12.9114 | 10.7259 | 1.9367 | 12.8983 | 10.7085 | 0.098069 | 2.2213 | 0.97421 | 0.14603 | 4.1351e-11 | 2.739e-11 | -2.5879 | -0.18154 | 1.927 | 2.7185 | -1.4911e-11 | -2.3366e-11 | 93.8619 | 156.2537 | 56.2604 | -86.2076 | -23.6578 | -123.827 |  | 1.321 | 0.17262 | 0.20131 | 1.4057 | 0 | 0 | 6.0321 | 151.5814 | 119.4412 | 0.7176 | 0 | 0
Line_2 | 0.16978 | 1.1182 | 0.92889 | 0.16773 | 1.117 | 0.92739 | 1.9605 | 12.9114 | 10.7259 | 1.9367 | 12.8983 | 10.7085 | 0.098069 | 2.2213 | 0.97421 | 0.14603 | 4.1351e-11 | 2.739e-11 | -2.5879 | -0.18154 | 1.927 | 2.7185 | -1.4911e-11 | -2.3366e-11 | 93.8619 | 156.2537 | 56.2604 | -86.2076 | -23.6578 | -123.827 |  | 1.321 | 0.17262 | 0.20131 | 1.4057 | 0 | 0 | 6.0321 | 151.5814 | 119.4412 | 0.7176 | 0 | 0
Line_3 | 0.00093585 | 0.00093585 | 0.00093585 | 0.00093585 | 0.00093585 | 0.00093585 | 0.010806 | 0.010806 | 0.010806 | 0.010806 | 0.010806 | 0.010806 | -0.0035536 | 0.0014049 | 0.0021487 | -0.0035536 | 0.0014049 | 0.0021487 | -0.013826 | 0.0012271 | 0.00034011 | -0.013826 | 0.0012271 | 0.00034011 | 110.4466 | 110.4466 | 110.4466 | 110.4466 | 110.4466 | 110.4466 |  | 1.321 | 0.17262 | 0.20131 | 1.321 | 0.17262 | 0.20131 | 6.0321 | 151.5814 | 119.4412 | 6.0321 | 151.5814 | 119.4412

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074122 | 0.78548 | 0.78482 | 0.073796 | 0.7856 | 0.78444 | 0.85588 | 9.0699 | 9.0623 | 0.85212 | 9.0713 | 9.0579 | 0.69727 | 7.7575 | 5.1011 | -0.69647 | -7.3836 | -4.7322 | -0.77264 | 3.1018 | 7.186 | 0.79106 | -2.9898 | -6.5621 | 50.3617 | -146.6392 | 54.7207 | -130.1498 | 33.4137 | -125.3255 |  | 1.216 | 0.92114 | 0.97243 | 1.2369 | 0.87815 | 0.89319 | 2.4264 | -124.8452 | 109.3508 | 1.2117 | -124.5419 | 108.8773
Line_1 | 0.036634 | 0.38738 | 0.34833 | 0.036898 | 0.38693 | 0.34782 | 0.42301 | 4.4731 | 4.0221 | 0.42606 | 4.4679 | 4.0162 | -0.35026 | 1.7184 | 3.0908 | 0.34823 | -1.4492 | -2.9524 | 0.36736 | 3.6556 | 2.2865 | -0.39553 | -3.6461 | -2.0375 | -131.1523 | 167.0551 | 74.3447 | 49.8502 | -12.866 | -105.7329 |  | 1.1999 | 0.90305 | 0.95587 | 1.2369 | 0.87815 | 0.89319 | 2.4827 | -128.1217 | 110.8372 | 1.2117 | -124.5419 | 108.8773
Line_2 | 0.036634 | 0.38738 | 0.34833 | 0.036898 | 0.38693 | 0.34782 | 0.42301 | 4.4731 | 4.0221 | 0.42606 | 4.4679 | 4.0162 | -0.35026 | 1.7184 | 3.0908 | 0.34823 | -1.4492 | -2.9524 | 0.36736 | 3.6556 | 2.2865 | -0.39553 | -3.6461 | -2.0375 | -131.1523 | 167.0551 | 74.3447 | 49.8502 | -12.866 | -105.7329 |  | 1.1999 | 0.90305 | 0.95587 | 1.2369 | 0.87815 | 0.89319 | 2.4827 | -128.1217 | 110.8372 | 1.2117 | -124.5419 | 108.8773
Line_3 | 0.00031518 | 0.00031518 | 0.00031518 | 0.00031518 | 0.00031518 | 0.00031518 | 0.0036393 | 0.0036393 | 0.0036393 | 0.0036393 | 0.0036393 | 0.0036393 | -0.0025333 | -0.00079157 | 0.0033249 | -0.0025333 | -0.00079157 | 0.0033249 | -0.003557 | 0.0031897 | -0.0010231 | -0.003557 | 0.0031897 | -0.0010231 | 127.9413 | 127.9413 | 127.9413 | 127.9413 | 127.9413 | 127.9413 |  | 1.1999 | 0.90305 | 0.95587 | 1.1999 | 0.90305 | 0.95587 | 2.4827 | -128.1217 | 110.8372 | 2.4827 | -128.1217 | 110.8372

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.074122 | 0.78548 | 0.78482 | 0.073796 | 0.7856 | 0.78444 | 0.85588 | 9.0699 | 9.0623 | 0.85212 | 9.0713 | 9.0579 | 0.69727 | 7.7575 | 5.1011 | -0.69647 | -7.3836 | -4.7322 | -0.77264 | 3.1018 | 7.186 | 0.79106 | -2.9898 | -6.5621 | 50.3617 | -146.6392 | 54.7207 | -130.1498 | 33.4137 | -125.3255 |  | 1.216 | 0.92114 | 0.97243 | 1.2369 | 0.87815 | 0.89319 | 2.4264 | -124.8452 | 109.3508 | 1.2117 | -124.5419 | 108.8773
Line_1 | 0.036634 | 0.38738 | 0.34833 | 0.036898 | 0.38693 | 0.34782 | 0.42301 | 4.4731 | 4.0221 | 0.42606 | 4.4679 | 4.0162 | -0.35026 | 1.7184 | 3.0908 | 0.34823 | -1.4492 | -2.9524 | 0.36736 | 3.6556 | 2.2865 | -0.39553 | -3.6461 | -2.0375 | -131.1523 | 167.0551 | 74.3447 | 49.8502 | -12.866 | -105.7329 |  | 1.1999 | 0.90305 | 0.95587 | 1.2369 | 0.87815 | 0.89319 | 2.4827 | -128.1217 | 110.8372 | 1.2117 | -124.5419 | 108.8773
Line_2 | 0.036634 | 0.38738 | 0.34833 | 0.036898 | 0.38693 | 0.34782 | 0.42301 | 4.4731 | 4.0221 | 0.42606 | 4.4679 | 4.0162 | -0.35026 | 1.7184 | 3.0908 | 0.34823 | -1.4492 | -2.9524 | 0.36736 | 3.6556 | 2.2865 | -0.39553 | -3.6461 | -2.0375 | -131.1523 | 167.0551 | 74.3447 | 49.8502 | -12.866 | -105.7329 |  | 1.1999 | 0.90305 | 0.95587 | 1.2369 | 0.87815 | 0.89319 | 2.4827 | -128.1217 | 110.8372 | 1.2117 | -124.5419 | 108.8773
Line_3 | 0.00031518 | 0.00031518 | 0.00031518 | 0.00031518 | 0.00031518 | 0.00031518 | 0.0036393 | 0.0036393 | 0.0036393 | 0.0036393 | 0.0036393 | 0.0036393 | -0.0025333 | -0.00079157 | 0.0033249 | -0.0025333 | -0.00079157 | 0.0033249 | -0.003557 | 0.0031897 | -0.0010231 | -0.003557 | 0.0031897 | -0.0010231 | 127.9413 | 127.9413 | 127.9413 | 127.9413 | 127.9413 | 127.9413 |  | 1.1999 | 0.90305 | 0.95587 | 1.1999 | 0.90305 | 0.95587 | 2.4827 | -128.1217 | 110.8372 | 2.4827 | -128.1217 | 110.8372

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39734 | 3.1984 | 3.1449 | 0.3991 | 3.1984 | 3.1442 | 4.5881 | 36.9322 | 36.314 | 4.6084 | 36.9325 | 36.3062 | 2.1225 | 11.8673 | 9.9869 | -2.5819 | -1.1902e-10 | -3.9328e-11 | 5.0826 | 1.3829 | 10.6893 | -5.0501 | -8.5882e-11 | -1.4042e-10 | -63.7274 | -170.03 | 30.8637 | 116.1951 | 10.003 | -149.1675 |  | 1.2005 | 0.3235 | 0.40284 | 1.2308 | 0 | 0 | 3.6069 | -163.3835 | 77.8093 | -0.88381 | 0 | 0
Line_1 | 0.20113 | 0.95785 | 0.62684 | 0.19955 | 0.95707 | 0.62566 | 2.3225 | 11.0603 | 7.2381 | 2.3042 | 11.0513 | 7.2245 | -0.78572 | 2.9376 | 0.82452 | 1.291 | -2.1484e-11 | -2.0543e-11 | -2.3706 | -0.67022 | 1.7123 | 2.5251 | -3.8306e-11 | -2.0494e-11 | 116.0964 | 165.0169 | 60.3568 | -63.8049 | -14.8981 | -119.7452 |  | 1.0753 | 0.27242 | 0.26257 | 1.2308 | 0 | 0 | 7.7592 | 152.1646 | 124.6454 | -0.88381 | 0 | 0
Line_2 | 0.20113 | 0.95785 | 0.62684 | 0.19955 | 0.95707 | 0.62566 | 2.3225 | 11.0603 | 7.2381 | 2.3042 | 11.0513 | 7.2245 | -0.78572 | 2.9376 | 0.82452 | 1.291 | -2.1484e-11 | -2.0543e-11 | -2.3706 | -0.67022 | 1.7123 | 2.5251 | -3.8306e-11 | -2.0494e-11 | 116.0964 | 165.0169 | 60.3568 | -63.8049 | -14.8981 | -119.7452 |  | 1.0753 | 0.27242 | 0.26257 | 1.2308 | 0 | 0 | 7.7592 | 152.1646 | 124.6454 | -0.88381 | 0 | 0
Line_3 | 0.00068755 | 0.00068755 | 0.00068755 | 0.00068755 | 0.00068755 | 0.00068755 | 0.0079391 | 0.0079391 | 0.0079391 | 0.0079391 | 0.0079391 | 0.0079391 | -0.0040232 | 0.0019391 | 0.0020841 | -0.0040232 | 0.0019391 | 0.0020841 | -0.0075298 | 0.00095791 | -4.4732e-05 | -0.0075298 | 0.00095791 | -4.4732e-05 | 125.8749 | 125.8749 | 125.8749 | 125.8749 | 125.8749 | 125.8749 |  | 1.0753 | 0.27242 | 0.26257 | 1.0753 | 0.27242 | 0.26257 | 7.7592 | 152.1646 | 124.6454 | 7.7592 | 152.1646 | 124.6454

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.39734 | 3.1984 | 3.1449 | 0.3991 | 3.1984 | 3.1442 | 4.5881 | 36.9322 | 36.314 | 4.6084 | 36.9325 | 36.3062 | 2.1225 | 11.8673 | 9.9869 | -2.5819 | -1.1902e-10 | -3.9328e-11 | 5.0826 | 1.3829 | 10.6893 | -5.0501 | -8.5882e-11 | -1.4042e-10 | -63.7274 | -170.03 | 30.8637 | 116.1951 | 10.003 | -149.1675 |  | 1.2005 | 0.3235 | 0.40284 | 1.2308 | 0 | 0 | 3.6069 | -163.3835 | 77.8093 | -0.88381 | 0 | 0
Line_1 | 0.20113 | 0.95785 | 0.62684 | 0.19955 | 0.95707 | 0.62566 | 2.3225 | 11.0603 | 7.2381 | 2.3042 | 11.0513 | 7.2245 | -0.78572 | 2.9376 | 0.82452 | 1.291 | -2.1484e-11 | -2.0543e-11 | -2.3706 | -0.67022 | 1.7123 | 2.5251 | -3.8306e-11 | -2.0494e-11 | 116.0964 | 165.0169 | 60.3568 | -63.8049 | -14.8981 | -119.7452 |  | 1.0753 | 0.27242 | 0.26257 | 1.2308 | 0 | 0 | 7.7592 | 152.1646 | 124.6454 | -0.88381 | 0 | 0
Line_2 | 0.20113 | 0.95785 | 0.62684 | 0.19955 | 0.95707 | 0.62566 | 2.3225 | 11.0603 | 7.2381 | 2.3042 | 11.0513 | 7.2245 | -0.78572 | 2.9376 | 0.82452 | 1.291 | -2.1484e-11 | -2.0543e-11 | -2.3706 | -0.67022 | 1.7123 | 2.5251 | -3.8306e-11 | -2.0494e-11 | 116.0964 | 165.0169 | 60.3568 | -63.8049 | -14.8981 | -119.7452 |  | 1.0753 | 0.27242 | 0.26257 | 1.2308 | 0 | 0 | 7.7592 | 152.1646 | 124.6454 | -0.88381 | 0 | 0
Line_3 | 0.00068755 | 0.00068755 | 0.00068755 | 0.00068755 | 0.00068755 | 0.00068755 | 0.0079391 | 0.0079391 | 0.0079391 | 0.0079391 | 0.0079391 | 0.0079391 | -0.0040232 | 0.0019391 | 0.0020841 | -0.0040232 | 0.0019391 | 0.0020841 | -0.0075298 | 0.00095791 | -4.4732e-05 | -0.0075298 | 0.00095791 | -4.4732e-05 | 125.8749 | 125.8749 | 125.8749 | 125.8749 | 125.8749 | 125.8749 |  | 1.0753 | 0.27242 | 0.26257 | 1.0753 | 0.27242 | 0.26257 | 7.7592 | 152.1646 | 124.6454 | 7.7592 | 152.1646 | 124.6454

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15263 | 0.77259 | 0.82828 | 0.15322 | 0.77268 | 0.8279 | 1.7624 | 8.9211 | 9.5642 | 1.7693 | 8.9221 | 9.5597 | 1.0986 | 6.3527 | 4.7962 | -1.1587 | -5.6725 | -3.9762 | 1.5164 | 3.5806 | 6.6204 | -1.51 | -3.6249 | -5.7952 | -52.3569 | -154.8137 | 54.6956 | 127.5605 | 25.2328 | -125.3392 |  | 1.0625 | 0.81742 | 0.85477 | 1.0758 | 0.75451 | 0.73518 | 1.7199 | -125.4063 | 108.774 | 0.059813 | -122.1873 | 110.2058
Line_1 | 0.077148 | 0.25306 | 0.20813 | 0.076612 | 0.2528 | 0.20763 | 0.89083 | 2.9221 | 2.4033 | 0.88464 | 2.9191 | 2.3975 | -0.51283 | 1.2028 | 1.7631 | 0.57936 | -0.95895 | -1.6151 | -0.74143 | 1.9128 | 0.87608 | 0.75502 | -1.9827 | -0.70566 | 127.4485 | 173.5123 | 86.6705 | -52.4395 | -6.3766 | -93.3949 |  | 1.012 | 0.77326 | 0.81918 | 1.0758 | 0.75451 | 0.73518 | 2.7776 | -128.6487 | 113.0937 | 0.059813 | -122.1873 | 110.2058
Line_2 | 0.077148 | 0.25306 | 0.20813 | 0.076612 | 0.2528 | 0.20763 | 0.89083 | 2.9221 | 2.4033 | 0.88464 | 2.9191 | 2.3975 | -0.51283 | 1.2028 | 1.7631 | 0.57936 | -0.95895 | -1.6151 | -0.74143 | 1.9128 | 0.87608 | 0.75502 | -1.9827 | -0.70566 | 127.4485 | 173.5123 | 86.6705 | -52.4395 | -6.3766 | -93.3949 |  | 1.012 | 0.77326 | 0.81918 | 1.0758 | 0.75451 | 0.73518 | 2.7776 | -128.6487 | 113.0937 | 0.059813 | -122.1873 | 110.2058
Line_3 | 0.00023643 | 0.00023643 | 0.00023643 | 0.00023643 | 0.00023643 | 0.00023643 | 0.0027301 | 0.0027301 | 0.0027301 | 0.0027301 | 0.0027301 | 0.0027301 | -0.0018165 | -0.00027428 | 0.0020908 | -0.0018165 | -0.00027428 | 0.0020908 | -0.0020817 | 0.0020931 | -0.00079388 | -0.0020817 | 0.0020931 | -0.00079388 | 133.8858 | 133.8858 | 133.8858 | 133.8858 | 133.8858 | 133.8858 |  | 1.012 | 0.77326 | 0.81918 | 1.012 | 0.77326 | 0.81918 | 2.7776 | -128.6487 | 113.0937 | 2.7776 | -128.6487 | 113.0937

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15263 | 0.77259 | 0.82828 | 0.15322 | 0.77268 | 0.8279 | 1.7624 | 8.9211 | 9.5642 | 1.7693 | 8.9221 | 9.5597 | 1.0986 | 6.3527 | 4.7962 | -1.1587 | -5.6725 | -3.9762 | 1.5164 | 3.5806 | 6.6204 | -1.51 | -3.6249 | -5.7952 | -52.3569 | -154.8137 | 54.6956 | 127.5605 | 25.2328 | -125.3392 |  | 1.0625 | 0.81742 | 0.85477 | 1.0758 | 0.75451 | 0.73518 | 1.7199 | -125.4063 | 108.774 | 0.059813 | -122.1873 | 110.2058
Line_1 | 0.077148 | 0.25306 | 0.20813 | 0.076612 | 0.2528 | 0.20763 | 0.89083 | 2.9221 | 2.4033 | 0.88464 | 2.9191 | 2.3975 | -0.51283 | 1.2028 | 1.7631 | 0.57936 | -0.95895 | -1.6151 | -0.74143 | 1.9128 | 0.87608 | 0.75502 | -1.9827 | -0.70566 | 127.4485 | 173.5123 | 86.6705 | -52.4395 | -6.3766 | -93.3949 |  | 1.012 | 0.77326 | 0.81918 | 1.0758 | 0.75451 | 0.73518 | 2.7776 | -128.6487 | 113.0937 | 0.059813 | -122.1873 | 110.2058
Line_2 | 0.077148 | 0.25306 | 0.20813 | 0.076612 | 0.2528 | 0.20763 | 0.89083 | 2.9221 | 2.4033 | 0.88464 | 2.9191 | 2.3975 | -0.51283 | 1.2028 | 1.7631 | 0.57936 | -0.95895 | -1.6151 | -0.74143 | 1.9128 | 0.87608 | 0.75502 | -1.9827 | -0.70566 | 127.4485 | 173.5123 | 86.6705 | -52.4395 | -6.3766 | -93.3949 |  | 1.012 | 0.77326 | 0.81918 | 1.0758 | 0.75451 | 0.73518 | 2.7776 | -128.6487 | 113.0937 | 0.059813 | -122.1873 | 110.2058
Line_3 | 0.00023643 | 0.00023643 | 0.00023643 | 0.00023643 | 0.00023643 | 0.00023643 | 0.0027301 | 0.0027301 | 0.0027301 | 0.0027301 | 0.0027301 | 0.0027301 | -0.0018165 | -0.00027428 | 0.0020908 | -0.0018165 | -0.00027428 | 0.0020908 | -0.0020817 | 0.0020931 | -0.00079388 | -0.0020817 | 0.0020931 | -0.00079388 | 133.8858 | 133.8858 | 133.8858 | 133.8858 | 133.8858 | 133.8858 |  | 1.012 | 0.77326 | 0.81918 | 1.012 | 0.77326 | 0.81918 | 2.7776 | -128.6487 | 113.0937 | 2.7776 | -128.6487 | 113.0937