## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2614e-14 | 7.7926e-15 | -1.5709e-14 | 1.1502e-14 | -7.1662e-15 | -5.8641e-15 | -7.82e-16 | -1.7114e-14 | 1.1493e-14 | -5.2624e-15 | 1.12e-14 | -1.0551e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2614e-14 | 7.7926e-15 | -1.5709e-14 | 1.1502e-14 | -7.1662e-15 | -5.8641e-15 | -7.82e-16 | -1.7114e-14 | 1.1493e-14 | -5.2624e-15 | 1.12e-14 | -1.0551e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.552e-15 | -1.7407e-15 | -9.2708e-15 | 2.7373e-15 | 3.4494e-16 | 0 | -7.7335e-17 | -1.5682e-15 | 7.1068e-15 | 2.8146e-15 | 6.6179e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.552e-15 | -1.7407e-15 | -9.2708e-15 | 2.7373e-15 | 3.4494e-16 | 0 | -7.7335e-17 | -1.5682e-15 | 7.1068e-15 | 2.8146e-15 | 6.6179e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2693e-15 | 2.2378e-15 | 4.0847e-16 | -5.0682e-15 | -2.9593e-15 | -2.4152e-15 | -9.533e-15 | -7.8167e-15 | 8.8438e-15 | 4.6659e-15 | 2.3528e-15 | -4.3198e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.2693e-15 | 2.2378e-15 | 4.0847e-16 | -5.0682e-15 | -2.9593e-15 | -2.4152e-15 | -9.533e-15 | -7.8167e-15 | 8.8438e-15 | 4.6659e-15 | 2.3528e-15 | -4.3198e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.191e-15 | -3.3952e-15 | -2.1114e-15 | -3.024e-15 | 4.8532e-15 | 2.5734e-15 | 2.3182e-17 | 2.2495e-15 | -2.4915e-15 | 2.3241e-15 | -9.1642e-16 | 1.8481e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.191e-15 | -3.3952e-15 | -2.1114e-15 | -3.024e-15 | 4.8532e-15 | 2.5734e-15 | 2.3182e-17 | 2.2495e-15 | -2.4915e-15 | 2.3241e-15 | -9.1642e-16 | 1.8481e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2505 | 0.92428 | 0.71965 | 2.2485 | 0.927 | 0.72193 | 25.9861 | 10.6727 | 8.3098 | 25.9632 | 10.7041 | 8.3362 | 4.1528 | -9.9053 | 11.7855 | 1.0302e-10 | 10.5377 | -11.8913 | 5.3066 | 7.1761 | 3.1011 | -1.1754e-10 | -7.8214 | -3.648 | -58.434 | 80.4353 | 111.2326 | 121.6137 | -99.5714 | -68.8853 |  | 0.25931 | 1.1461 | 1.4665 | 0 | 1.226 | 1.4921 | -6.4795 | -135.4869 | 125.9747 | 0 | -136.1553 | 128.1698
Line_1 | 1.1456 | 0.46617 | 0.36346 | 1.143 | 0.4635 | 0.36097 | 13.2279 | 5.3829 | 4.1969 | 13.1978 | 5.352 | 4.1681 | 3.0687 | 6.2248 | -5.1423 | 6.8251e-11 | -5.2689 | 5.9456 | 1.257 | -3.2473 | -1.7205 | -4.0676e-11 | 3.9107 | 1.824 | -76.3937 | -99.5241 | -69.0477 | 103.6412 | 80.4286 | 111.1147 |  | 0.2507 | 1.3043 | 1.292 | 0 | 1.226 | 1.4921 | -54.1179 | -127.0737 | 129.4516 | 0 | -136.1553 | 128.1698
Line_2 | 1.1456 | 0.46617 | 0.36346 | 1.143 | 0.4635 | 0.36097 | 13.2279 | 5.3829 | 4.1969 | 13.1978 | 5.352 | 4.1681 | 3.0687 | 6.2248 | -5.1423 | 6.8251e-11 | -5.2689 | 5.9456 | 1.257 | -3.2473 | -1.7205 | -4.0676e-11 | 3.9107 | 1.824 | -76.3937 | -99.5241 | -69.0477 | 103.6412 | 80.4286 | 111.1147 |  | 0.2507 | 1.3043 | 1.292 | 0 | 1.226 | 1.4921 | -54.1179 | -127.0737 | 129.4516 | 0 | -136.1553 | 128.1698
Line_3 | 0.0012217 | 0.0012217 | 0.0012217 | 0.0012217 | 0.0012217 | 0.0012217 | 0.014107 | 0.014107 | 0.014107 | 0.014107 | 0.014107 | 0.014107 | 0.0031701 | 0.012633 | -0.015803 | 0.0031701 | 0.012633 | -0.015803 | 0.0015679 | -0.013378 | -0.009082 | 0.0015679 | -0.013378 | -0.009082 | -80.4338 | -80.4338 | -80.4338 | -80.4338 | -80.4338 | -80.4338 |  | 0.2507 | 1.3043 | 1.292 | 0.2507 | 1.3043 | 1.292 | -54.1179 | -127.0737 | 129.4516 | -54.1179 | -127.0737 | 129.4516

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.2505 | 0.92428 | 0.71965 | 2.2485 | 0.927 | 0.72193 | 25.9861 | 10.6727 | 8.3098 | 25.9632 | 10.7041 | 8.3362 | 4.1528 | -9.9053 | 11.7855 | 1.0302e-10 | 10.5377 | -11.8913 | 5.3066 | 7.1761 | 3.1011 | -1.1754e-10 | -7.8214 | -3.648 | -58.434 | 80.4353 | 111.2326 | 121.6137 | -99.5714 | -68.8853 |  | 0.25931 | 1.1461 | 1.4665 | 0 | 1.226 | 1.4921 | -6.4795 | -135.4869 | 125.9747 | 0 | -136.1553 | 128.1698
Line_1 | 1.1456 | 0.46617 | 0.36346 | 1.143 | 0.4635 | 0.36097 | 13.2279 | 5.3829 | 4.1969 | 13.1978 | 5.352 | 4.1681 | 3.0687 | 6.2248 | -5.1423 | 6.8251e-11 | -5.2689 | 5.9456 | 1.257 | -3.2473 | -1.7205 | -4.0676e-11 | 3.9107 | 1.824 | -76.3937 | -99.5241 | -69.0477 | 103.6412 | 80.4286 | 111.1147 |  | 0.2507 | 1.3043 | 1.292 | 0 | 1.226 | 1.4921 | -54.1179 | -127.0737 | 129.4516 | 0 | -136.1553 | 128.1698
Line_2 | 1.1456 | 0.46617 | 0.36346 | 1.143 | 0.4635 | 0.36097 | 13.2279 | 5.3829 | 4.1969 | 13.1978 | 5.352 | 4.1681 | 3.0687 | 6.2248 | -5.1423 | 6.8251e-11 | -5.2689 | 5.9456 | 1.257 | -3.2473 | -1.7205 | -4.0676e-11 | 3.9107 | 1.824 | -76.3937 | -99.5241 | -69.0477 | 103.6412 | 80.4286 | 111.1147 |  | 0.2507 | 1.3043 | 1.292 | 0 | 1.226 | 1.4921 | -54.1179 | -127.0737 | 129.4516 | 0 | -136.1553 | 128.1698
Line_3 | 0.0012217 | 0.0012217 | 0.0012217 | 0.0012217 | 0.0012217 | 0.0012217 | 0.014107 | 0.014107 | 0.014107 | 0.014107 | 0.014107 | 0.014107 | 0.0031701 | 0.012633 | -0.015803 | 0.0031701 | 0.012633 | -0.015803 | 0.0015679 | -0.013378 | -0.009082 | 0.0015679 | -0.013378 | -0.009082 | -80.4338 | -80.4338 | -80.4338 | -80.4338 | -80.4338 | -80.4338 |  | 0.2507 | 1.3043 | 1.292 | 0.2507 | 1.3043 | 1.292 | -54.1179 | -127.0737 | 129.4516 | -54.1179 | -127.0737 | 129.4516

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56364 | 0.24239 | 0.28146 | 0.56317 | 0.24306 | 0.28173 | 6.5083 | 2.7989 | 3.25 | 6.5029 | 2.8066 | 3.2531 | 5.239 | -3.2553 | 2.9944 | -4.9237 | 3.3595 | -3.055 | 2.5477 | 0.15148 | -2.6418 | -2.2042 | -0.18693 | 2.6315 | -30.8169 | 58.3827 | 164.9539 | 149.2518 | -121.5045 | -15.2044 |  | 0.8951 | 1.1643 | 1.2287 | 0.82956 | 1.1988 | 1.2394 | -4.883 | -124.2816 | 123.5343 | -6.632 | -124.6893 | 124.0551
Line_1 | 0.42704 | 0.1221 | 0.14127 | 0.42624 | 0.12153 | 0.14086 | 4.931 | 1.4099 | 1.6312 | 4.9218 | 1.4033 | 1.6266 | 2.4873 | 1.719 | -1.4525 | -2.126 | -1.6797 | 1.5275 | 3.6769 | -0.018523 | 1.2733 | -3.4857 | 0.093465 | -1.3157 | -65.2725 | -121.2295 | -15.4917 | 114.7471 | 58.4955 | 164.7956 |  | 0.90025 | 1.2193 | 1.1841 | 0.82956 | 1.1988 | 1.2394 | -9.3495 | -121.8468 | 123.2704 | -6.632 | -124.6893 | 124.0551
Line_2 | 0.42704 | 0.1221 | 0.14127 | 0.42624 | 0.12153 | 0.14086 | 4.931 | 1.4099 | 1.6312 | 4.9218 | 1.4033 | 1.6266 | 2.4873 | 1.719 | -1.4525 | -2.126 | -1.6797 | 1.5275 | 3.6769 | -0.018523 | 1.2733 | -3.4857 | 0.093465 | -1.3157 | -65.2725 | -121.2295 | -15.4917 | 114.7471 | 58.4955 | 164.7956 |  | 0.90025 | 1.2193 | 1.1841 | 0.82956 | 1.1988 | 1.2394 | -9.3495 | -121.8468 | 123.2704 | -6.632 | -124.6893 | 124.0551
Line_3 | 0.00036953 | 0.00036953 | 0.00036953 | 0.00036953 | 0.00036953 | 0.00036953 | 0.004267 | 0.004267 | 0.004267 | 0.004267 | 0.004267 | 0.004267 | 0.0021885 | 0.0028163 | -0.0050048 | 0.0021885 | 0.0028163 | -0.0050048 | 0.003157 | -0.0043748 | -0.00069348 | 0.003157 | -0.0043748 | -0.00069348 | -64.6184 | -64.6184 | -64.6184 | -64.6184 | -64.6184 | -64.6184 |  | 0.90025 | 1.2193 | 1.1841 | 0.90025 | 1.2193 | 1.1841 | -9.3495 | -121.8468 | 123.2704 | -9.3495 | -121.8468 | 123.2704

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56364 | 0.24239 | 0.28146 | 0.56317 | 0.24306 | 0.28173 | 6.5083 | 2.7989 | 3.25 | 6.5029 | 2.8066 | 3.2531 | 5.239 | -3.2553 | 2.9944 | -4.9237 | 3.3595 | -3.055 | 2.5477 | 0.15148 | -2.6418 | -2.2042 | -0.18693 | 2.6315 | -30.8169 | 58.3827 | 164.9539 | 149.2518 | -121.5045 | -15.2044 |  | 0.8951 | 1.1643 | 1.2287 | 0.82956 | 1.1988 | 1.2394 | -4.883 | -124.2816 | 123.5343 | -6.632 | -124.6893 | 124.0551
Line_1 | 0.42704 | 0.1221 | 0.14127 | 0.42624 | 0.12153 | 0.14086 | 4.931 | 1.4099 | 1.6312 | 4.9218 | 1.4033 | 1.6266 | 2.4873 | 1.719 | -1.4525 | -2.126 | -1.6797 | 1.5275 | 3.6769 | -0.018523 | 1.2733 | -3.4857 | 0.093465 | -1.3157 | -65.2725 | -121.2295 | -15.4917 | 114.7471 | 58.4955 | 164.7956 |  | 0.90025 | 1.2193 | 1.1841 | 0.82956 | 1.1988 | 1.2394 | -9.3495 | -121.8468 | 123.2704 | -6.632 | -124.6893 | 124.0551
Line_2 | 0.42704 | 0.1221 | 0.14127 | 0.42624 | 0.12153 | 0.14086 | 4.931 | 1.4099 | 1.6312 | 4.9218 | 1.4033 | 1.6266 | 2.4873 | 1.719 | -1.4525 | -2.126 | -1.6797 | 1.5275 | 3.6769 | -0.018523 | 1.2733 | -3.4857 | 0.093465 | -1.3157 | -65.2725 | -121.2295 | -15.4917 | 114.7471 | 58.4955 | 164.7956 |  | 0.90025 | 1.2193 | 1.1841 | 0.82956 | 1.1988 | 1.2394 | -9.3495 | -121.8468 | 123.2704 | -6.632 | -124.6893 | 124.0551
Line_3 | 0.00036953 | 0.00036953 | 0.00036953 | 0.00036953 | 0.00036953 | 0.00036953 | 0.004267 | 0.004267 | 0.004267 | 0.004267 | 0.004267 | 0.004267 | 0.0021885 | 0.0028163 | -0.0050048 | 0.0021885 | 0.0028163 | -0.0050048 | 0.003157 | -0.0043748 | -0.00069348 | 0.003157 | -0.0043748 | -0.00069348 | -64.6184 | -64.6184 | -64.6184 | -64.6184 | -64.6184 | -64.6184 |  | 0.90025 | 1.2193 | 1.1841 | 0.90025 | 1.2193 | 1.1841 | -9.3495 | -121.8468 | 123.2704 | -9.3495 | -121.8468 | 123.2704

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0159 | 0.74778 | 0.61552 | 2.0146 | 0.74961 | 0.61728 | 23.2779 | 8.6346 | 7.1074 | 23.2629 | 8.6557 | 7.1277 | 6.7483 | -3.3309 | 8.9402 | -5.6255e-11 | 3.2346 | -9.182 | 4.564 | 7.473 | 1.639 | 3.932e-12 | -8.2459 | -2.3106 | -50.3381 | 110.3661 | 113.0942 | 129.7134 | -69.7317 | -67.0325 |  | 0.34998 | 0.94755 | 1.2788 | 0 | 1.0233 | 1.3284 | -16.267 | -135.6101 | 123.483 | 0 | -138.3133 | 127.0923
Line_1 | 0.88484 | 0.37681 | 0.31061 | 0.8829 | 0.3748 | 0.30864 | 10.2172 | 4.351 | 3.5866 | 10.1948 | 4.3279 | 3.5639 | 3.6106 | 2.9655 | -3.5319 | -2.4249e-11 | -1.6173 | 4.591 | 0.80036 | -3.8227 | -0.96907 | -4.7695e-12 | 4.123 | 1.1553 | -65.4671 | -69.8375 | -67.178 | 114.5876 | 110.2683 | 112.9675 |  | 0.36196 | 1.112 | 1.0212 | 0 | 1.0233 | 1.3284 | -52.9683 | -122.0344 | 128.1648 | 0 | -138.3133 | 127.0923
Line_2 | 0.88484 | 0.37681 | 0.31061 | 0.8829 | 0.3748 | 0.30864 | 10.2172 | 4.351 | 3.5866 | 10.1948 | 4.3279 | 3.5639 | 3.6106 | 2.9655 | -3.5319 | -2.4249e-11 | -1.6173 | 4.591 | 0.80036 | -3.8227 | -0.96907 | -4.7695e-12 | 4.123 | 1.1553 | -65.4671 | -69.8375 | -67.178 | 114.5876 | 110.2683 | 112.9675 |  | 0.36196 | 1.112 | 1.0212 | 0 | 1.0233 | 1.3284 | -52.9683 | -122.0344 | 128.1648 | 0 | -138.3133 | 127.0923
Line_3 | 0.00089974 | 0.00089974 | 0.00089974 | 0.00089974 | 0.00089974 | 0.00089974 | 0.010389 | 0.010389 | 0.010389 | 0.010389 | 0.010389 | 0.010389 | 0.0036506 | 0.0065961 | -0.010247 | 0.0036506 | 0.0065961 | -0.010247 | 0.00090235 | -0.0094842 | -0.0027489 | 0.00090235 | -0.0094842 | -0.0027489 | -66.8523 | -66.8523 | -66.8523 | -66.8523 | -66.8523 | -66.8523 |  | 0.36196 | 1.112 | 1.0212 | 0.36196 | 1.112 | 1.0212 | -52.9683 | -122.0344 | 128.1648 | -52.9683 | -122.0344 | 128.1648

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0159 | 0.74778 | 0.61552 | 2.0146 | 0.74961 | 0.61728 | 23.2779 | 8.6346 | 7.1074 | 23.2629 | 8.6557 | 7.1277 | 6.7483 | -3.3309 | 8.9402 | -5.6255e-11 | 3.2346 | -9.182 | 4.564 | 7.473 | 1.639 | 3.932e-12 | -8.2459 | -2.3106 | -50.3381 | 110.3661 | 113.0942 | 129.7134 | -69.7317 | -67.0325 |  | 0.34998 | 0.94755 | 1.2788 | 0 | 1.0233 | 1.3284 | -16.267 | -135.6101 | 123.483 | 0 | -138.3133 | 127.0923
Line_1 | 0.88484 | 0.37681 | 0.31061 | 0.8829 | 0.3748 | 0.30864 | 10.2172 | 4.351 | 3.5866 | 10.1948 | 4.3279 | 3.5639 | 3.6106 | 2.9655 | -3.5319 | -2.4249e-11 | -1.6173 | 4.591 | 0.80036 | -3.8227 | -0.96907 | -4.7695e-12 | 4.123 | 1.1553 | -65.4671 | -69.8375 | -67.178 | 114.5876 | 110.2683 | 112.9675 |  | 0.36196 | 1.112 | 1.0212 | 0 | 1.0233 | 1.3284 | -52.9683 | -122.0344 | 128.1648 | 0 | -138.3133 | 127.0923
Line_2 | 0.88484 | 0.37681 | 0.31061 | 0.8829 | 0.3748 | 0.30864 | 10.2172 | 4.351 | 3.5866 | 10.1948 | 4.3279 | 3.5639 | 3.6106 | 2.9655 | -3.5319 | -2.4249e-11 | -1.6173 | 4.591 | 0.80036 | -3.8227 | -0.96907 | -4.7695e-12 | 4.123 | 1.1553 | -65.4671 | -69.8375 | -67.178 | 114.5876 | 110.2683 | 112.9675 |  | 0.36196 | 1.112 | 1.0212 | 0 | 1.0233 | 1.3284 | -52.9683 | -122.0344 | 128.1648 | 0 | -138.3133 | 127.0923
Line_3 | 0.00089974 | 0.00089974 | 0.00089974 | 0.00089974 | 0.00089974 | 0.00089974 | 0.010389 | 0.010389 | 0.010389 | 0.010389 | 0.010389 | 0.010389 | 0.0036506 | 0.0065961 | -0.010247 | 0.0036506 | 0.0065961 | -0.010247 | 0.00090235 | -0.0094842 | -0.0027489 | 0.00090235 | -0.0094842 | -0.0027489 | -66.8523 | -66.8523 | -66.8523 | -66.8523 | -66.8523 | -66.8523 |  | 0.36196 | 1.112 | 1.0212 | 0.36196 | 1.112 | 1.0212 | -52.9683 | -122.0344 | 128.1648 | -52.9683 | -122.0344 | 128.1648

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61483 | 0.22806 | 0.18773 | 0.61444 | 0.22862 | 0.18826 | 7.0995 | 2.6335 | 2.1677 | 7.0949 | 2.6399 | 2.1739 | 4.5441 | -1.1548 | 2.342 | -3.9166 | 1.1507 | -2.3691 | 3.4831 | 2.3333 | 0.0085409 | -3.0531 | -2.4077 | -0.073943 | -41.7291 | 118.9751 | 121.7032 | 138.3224 | -61.1227 | -58.4235 |  | 0.80646 | 0.9886 | 1.0804 | 0.69994 | 1.0109 | 1.0903 | -4.258 | -124.6927 | 121.9121 | -3.7398 | -125.5783 | 123.3642
Line_1 | 0.26987 | 0.11492 | 0.094732 | 0.26927 | 0.11431 | 0.094132 | 3.1161 | 1.327 | 1.0939 | 3.1093 | 1.3199 | 1.0869 | 1.6449 | 0.70456 | -1.0911 | -1.3078 | -0.57536 | 1.1846 | 1.8191 | -1.1795 | -0.021137 | -1.7395 | 1.2039 | 0.036972 | -56.8581 | -61.2285 | -58.569 | 123.1966 | 118.8773 | 121.5765 |  | 0.78702 | 1.0354 | 0.99762 | 0.69994 | 1.0109 | 1.0903 | -8.9792 | -120.3776 | 122.5408 | -3.7398 | -125.5783 | 123.3642
Line_2 | 0.26987 | 0.11492 | 0.094732 | 0.26927 | 0.11431 | 0.094132 | 3.1161 | 1.327 | 1.0939 | 3.1093 | 1.3199 | 1.0869 | 1.6449 | 0.70456 | -1.0911 | -1.3078 | -0.57536 | 1.1846 | 1.8191 | -1.1795 | -0.021137 | -1.7395 | 1.2039 | 0.036972 | -56.8581 | -61.2285 | -58.569 | 123.1966 | 118.8773 | 121.5765 |  | 0.78702 | 1.0354 | 0.99762 | 0.69994 | 1.0109 | 1.0903 | -8.9792 | -120.3776 | 122.5408 | -3.7398 | -125.5783 | 123.3642
Line_3 | 0.00027441 | 0.00027441 | 0.00027441 | 0.00027441 | 0.00027441 | 0.00027441 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0016274 | 0.0015334 | -0.0031608 | 0.0016274 | 0.0015334 | -0.0031608 | 0.0018896 | -0.0029003 | -4.3257e-05 | 0.0018896 | -0.0029003 | -4.3257e-05 | -58.2433 | -58.2433 | -58.2433 | -58.2433 | -58.2433 | -58.2433 |  | 0.78702 | 1.0354 | 0.99762 | 0.78702 | 1.0354 | 0.99762 | -8.9792 | -120.3776 | 122.5408 | -8.9792 | -120.3776 | 122.5408

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61483 | 0.22806 | 0.18773 | 0.61444 | 0.22862 | 0.18826 | 7.0995 | 2.6335 | 2.1677 | 7.0949 | 2.6399 | 2.1739 | 4.5441 | -1.1548 | 2.342 | -3.9166 | 1.1507 | -2.3691 | 3.4831 | 2.3333 | 0.0085409 | -3.0531 | -2.4077 | -0.073943 | -41.7291 | 118.9751 | 121.7032 | 138.3224 | -61.1227 | -58.4235 |  | 0.80646 | 0.9886 | 1.0804 | 0.69994 | 1.0109 | 1.0903 | -4.258 | -124.6927 | 121.9121 | -3.7398 | -125.5783 | 123.3642
Line_1 | 0.26987 | 0.11492 | 0.094732 | 0.26927 | 0.11431 | 0.094132 | 3.1161 | 1.327 | 1.0939 | 3.1093 | 1.3199 | 1.0869 | 1.6449 | 0.70456 | -1.0911 | -1.3078 | -0.57536 | 1.1846 | 1.8191 | -1.1795 | -0.021137 | -1.7395 | 1.2039 | 0.036972 | -56.8581 | -61.2285 | -58.569 | 123.1966 | 118.8773 | 121.5765 |  | 0.78702 | 1.0354 | 0.99762 | 0.69994 | 1.0109 | 1.0903 | -8.9792 | -120.3776 | 122.5408 | -3.7398 | -125.5783 | 123.3642
Line_2 | 0.26987 | 0.11492 | 0.094732 | 0.26927 | 0.11431 | 0.094132 | 3.1161 | 1.327 | 1.0939 | 3.1093 | 1.3199 | 1.0869 | 1.6449 | 0.70456 | -1.0911 | -1.3078 | -0.57536 | 1.1846 | 1.8191 | -1.1795 | -0.021137 | -1.7395 | 1.2039 | 0.036972 | -56.8581 | -61.2285 | -58.569 | 123.1966 | 118.8773 | 121.5765 |  | 0.78702 | 1.0354 | 0.99762 | 0.69994 | 1.0109 | 1.0903 | -8.9792 | -120.3776 | 122.5408 | -3.7398 | -125.5783 | 123.3642
Line_3 | 0.00027441 | 0.00027441 | 0.00027441 | 0.00027441 | 0.00027441 | 0.00027441 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0031686 | 0.0016274 | 0.0015334 | -0.0031608 | 0.0016274 | 0.0015334 | -0.0031608 | 0.0018896 | -0.0029003 | -4.3257e-05 | 0.0018896 | -0.0029003 | -4.3257e-05 | -58.2433 | -58.2433 | -58.2433 | -58.2433 | -58.2433 | -58.2433 |  | 0.78702 | 1.0354 | 0.99762 | 0.78702 | 1.0354 | 0.99762 | -8.9792 | -120.3776 | 122.5408 | -8.9792 | -120.3776 | 122.5408

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43382 | 4.0641 | 3.3904 | 0.43597 | 4.0645 | 3.3895 | 5.0093 | 46.9283 | 39.1484 | 5.0341 | 46.9329 | 39.1391 | -0.57414 | 12.5509 | 2.7419 | 0.77997 | 8.2083e-11 | 9.8507e-11 | 6.9361 | 9.7119 | 7.4586 | -7.2704 | -8.7052e-11 | 2.1744e-12 | -98.0523 | -172.9345 | 18.4028 | 81.9696 | 7.0954 | -161.6309 |  | 1.3894 | 0.33817 | 0.20299 | 1.4525 | 0 | 0 | -3.3204 | -135.2016 | 88.2188 | -1.9071 | 0 | 0
Line_1 | 0.22005 | 1.1157 | 0.93569 | 0.21798 | 1.1146 | 0.93407 | 2.5409 | 12.8826 | 10.8045 | 2.5171 | 12.8698 | 10.7857 | 0.68825 | 2.2352 | 1.0776 | -0.38998 | 3.1663e-11 | 2.1722e-11 | -3.3982 | -0.26597 | 1.9623 | 3.6352 | -8.5972e-12 | -1.6292e-11 | 82.1127 | 155.5094 | 56.5885 | -98.0304 | -24.3969 | -123.4962 |  | 1.3646 | 0.17473 | 0.2072 | 1.4525 | 0 | 0 | 3.5621 | 148.7235 | 117.8154 | -1.9071 | 0 | 0
Line_2 | 0.22005 | 1.1157 | 0.93569 | 0.21798 | 1.1146 | 0.93407 | 2.5409 | 12.8826 | 10.8045 | 2.5171 | 12.8698 | 10.7857 | 0.68825 | 2.2352 | 1.0776 | -0.38998 | 3.1663e-11 | 2.1722e-11 | -3.3982 | -0.26597 | 1.9623 | 3.6352 | -8.5972e-12 | -1.6292e-11 | 82.1127 | 155.5094 | 56.5885 | -98.0304 | -24.3969 | -123.4962 |  | 1.3646 | 0.17473 | 0.2072 | 1.4525 | 0 | 0 | 3.5621 | 148.7235 | 117.8154 | -1.9071 | 0 | 0
Line_3 | 0.00096702 | 0.00096702 | 0.00096702 | 0.00096702 | 0.00096702 | 0.00096702 | 0.011166 | 0.011166 | 0.011166 | 0.011166 | 0.011166 | 0.011166 | -0.0037532 | 0.0014746 | 0.0022786 | -0.0037532 | 0.0014746 | 0.0022786 | -0.014768 | 0.0012775 | 0.0004015 | -0.014768 | 0.0012775 | 0.0004015 | 107.8219 | 107.8219 | 107.8219 | 107.8219 | 107.8219 | 107.8219 |  | 1.3646 | 0.17473 | 0.2072 | 1.3646 | 0.17473 | 0.2072 | 3.5621 | 148.7235 | 117.8154 | 3.5621 | 148.7235 | 117.8154

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43382 | 4.0641 | 3.3904 | 0.43597 | 4.0645 | 3.3895 | 5.0093 | 46.9283 | 39.1484 | 5.0341 | 46.9329 | 39.1391 | -0.57414 | 12.5509 | 2.7419 | 0.77997 | 8.2083e-11 | 9.8507e-11 | 6.9361 | 9.7119 | 7.4586 | -7.2704 | -8.7052e-11 | 2.1744e-12 | -98.0523 | -172.9345 | 18.4028 | 81.9696 | 7.0954 | -161.6309 |  | 1.3894 | 0.33817 | 0.20299 | 1.4525 | 0 | 0 | -3.3204 | -135.2016 | 88.2188 | -1.9071 | 0 | 0
Line_1 | 0.22005 | 1.1157 | 0.93569 | 0.21798 | 1.1146 | 0.93407 | 2.5409 | 12.8826 | 10.8045 | 2.5171 | 12.8698 | 10.7857 | 0.68825 | 2.2352 | 1.0776 | -0.38998 | 3.1663e-11 | 2.1722e-11 | -3.3982 | -0.26597 | 1.9623 | 3.6352 | -8.5972e-12 | -1.6292e-11 | 82.1127 | 155.5094 | 56.5885 | -98.0304 | -24.3969 | -123.4962 |  | 1.3646 | 0.17473 | 0.2072 | 1.4525 | 0 | 0 | 3.5621 | 148.7235 | 117.8154 | -1.9071 | 0 | 0
Line_2 | 0.22005 | 1.1157 | 0.93569 | 0.21798 | 1.1146 | 0.93407 | 2.5409 | 12.8826 | 10.8045 | 2.5171 | 12.8698 | 10.7857 | 0.68825 | 2.2352 | 1.0776 | -0.38998 | 3.1663e-11 | 2.1722e-11 | -3.3982 | -0.26597 | 1.9623 | 3.6352 | -8.5972e-12 | -1.6292e-11 | 82.1127 | 155.5094 | 56.5885 | -98.0304 | -24.3969 | -123.4962 |  | 1.3646 | 0.17473 | 0.2072 | 1.4525 | 0 | 0 | 3.5621 | 148.7235 | 117.8154 | -1.9071 | 0 | 0
Line_3 | 0.00096702 | 0.00096702 | 0.00096702 | 0.00096702 | 0.00096702 | 0.00096702 | 0.011166 | 0.011166 | 0.011166 | 0.011166 | 0.011166 | 0.011166 | -0.0037532 | 0.0014746 | 0.0022786 | -0.0037532 | 0.0014746 | 0.0022786 | -0.014768 | 0.0012775 | 0.0004015 | -0.014768 | 0.0012775 | 0.0004015 | 107.8219 | 107.8219 | 107.8219 | 107.8219 | 107.8219 | 107.8219 |  | 1.3646 | 0.17473 | 0.2072 | 1.3646 | 0.17473 | 0.2072 | 3.5621 | 148.7235 | 117.8154 | 3.5621 | 148.7235 | 117.8154

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007435 | 0.88895 | 0.67179 | 0.0081791 | 0.88934 | 0.67123 | 0.085852 | 10.2647 | 7.7572 | 0.094444 | 10.2693 | 7.7507 | 0.02821 | 9.2749 | 3.9011 | -0.029229 | -8.5874 | -3.8398 | 0.10199 | 3.5477 | 5.8831 | -0.1154 | -3.1863 | -5.4742 | -75.1533 | -143.1638 | 53.5803 | 103.9839 | 36.8776 | -126.4626 |  | 1.2326 | 0.96741 | 0.90999 | 1.2605 | 0.89193 | 0.86271 | -0.61472 | -122.2318 | 110.0315 | -0.22912 | -122.7654 | 108.4903
Line_1 | 0.0048355 | 0.37379 | 0.37893 | 0.0040895 | 0.37338 | 0.37831 | 0.055836 | 4.3161 | 4.3755 | 0.047222 | 4.3114 | 4.3683 | -0.015116 | 1.2679 | 3.2356 | 0.014614 | -1.0099 | -3.0419 | -0.066782 | 3.6886 | 2.5028 | 0.057701 | -3.7105 | -2.2247 | 104.2851 | 162.365 | 72.373 | -76.0161 | -17.5395 | -107.6895 |  | 1.2263 | 0.90369 | 0.93488 | 1.2605 | 0.89193 | 0.86271 | 1.5316 | -126.6048 | 110.0955 | -0.22912 | -122.7654 | 108.4903
Line_2 | 0.0048355 | 0.37379 | 0.37893 | 0.0040895 | 0.37338 | 0.37831 | 0.055836 | 4.3161 | 4.3755 | 0.047222 | 4.3114 | 4.3683 | -0.015116 | 1.2679 | 3.2356 | 0.014614 | -1.0099 | -3.0419 | -0.066782 | 3.6886 | 2.5028 | 0.057701 | -3.7105 | -2.2247 | 104.2851 | 162.365 | 72.373 | -76.0161 | -17.5395 | -107.6895 |  | 1.2263 | 0.90369 | 0.93488 | 1.2605 | 0.89193 | 0.86271 | 1.5316 | -126.6048 | 110.0955 | -0.22912 | -122.7654 | 108.4903
Line_3 | 0.00033827 | 0.00033827 | 0.00033827 | 0.00033827 | 0.00033827 | 0.00033827 | 0.003906 | 0.003906 | 0.003906 | 0.003906 | 0.003906 | 0.003906 | -0.0020495 | -0.0015767 | 0.0036262 | -0.0020495 | -0.0015767 | 0.0036262 | -0.0043293 | 0.0031581 | -0.0004304 | -0.0043293 | 0.0031581 | -0.0004304 | 116.8644 | 116.8644 | 116.8644 | 116.8644 | 116.8644 | 116.8644 |  | 1.2263 | 0.90369 | 0.93488 | 1.2263 | 0.90369 | 0.93488 | 1.5316 | -126.6048 | 110.0955 | 1.5316 | -126.6048 | 110.0955

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.007435 | 0.88895 | 0.67179 | 0.0081791 | 0.88934 | 0.67123 | 0.085852 | 10.2647 | 7.7572 | 0.094444 | 10.2693 | 7.7507 | 0.02821 | 9.2749 | 3.9011 | -0.029229 | -8.5874 | -3.8398 | 0.10199 | 3.5477 | 5.8831 | -0.1154 | -3.1863 | -5.4742 | -75.1533 | -143.1638 | 53.5803 | 103.9839 | 36.8776 | -126.4626 |  | 1.2326 | 0.96741 | 0.90999 | 1.2605 | 0.89193 | 0.86271 | -0.61472 | -122.2318 | 110.0315 | -0.22912 | -122.7654 | 108.4903
Line_1 | 0.0048355 | 0.37379 | 0.37893 | 0.0040895 | 0.37338 | 0.37831 | 0.055836 | 4.3161 | 4.3755 | 0.047222 | 4.3114 | 4.3683 | -0.015116 | 1.2679 | 3.2356 | 0.014614 | -1.0099 | -3.0419 | -0.066782 | 3.6886 | 2.5028 | 0.057701 | -3.7105 | -2.2247 | 104.2851 | 162.365 | 72.373 | -76.0161 | -17.5395 | -107.6895 |  | 1.2263 | 0.90369 | 0.93488 | 1.2605 | 0.89193 | 0.86271 | 1.5316 | -126.6048 | 110.0955 | -0.22912 | -122.7654 | 108.4903
Line_2 | 0.0048355 | 0.37379 | 0.37893 | 0.0040895 | 0.37338 | 0.37831 | 0.055836 | 4.3161 | 4.3755 | 0.047222 | 4.3114 | 4.3683 | -0.015116 | 1.2679 | 3.2356 | 0.014614 | -1.0099 | -3.0419 | -0.066782 | 3.6886 | 2.5028 | 0.057701 | -3.7105 | -2.2247 | 104.2851 | 162.365 | 72.373 | -76.0161 | -17.5395 | -107.6895 |  | 1.2263 | 0.90369 | 0.93488 | 1.2605 | 0.89193 | 0.86271 | 1.5316 | -126.6048 | 110.0955 | -0.22912 | -122.7654 | 108.4903
Line_3 | 0.00033827 | 0.00033827 | 0.00033827 | 0.00033827 | 0.00033827 | 0.00033827 | 0.003906 | 0.003906 | 0.003906 | 0.003906 | 0.003906 | 0.003906 | -0.0020495 | -0.0015767 | 0.0036262 | -0.0020495 | -0.0015767 | 0.0036262 | -0.0043293 | 0.0031581 | -0.0004304 | -0.0043293 | 0.0031581 | -0.0004304 | 116.8644 | 116.8644 | 116.8644 | 116.8644 | 116.8644 | 116.8644 |  | 1.2263 | 0.90369 | 0.93488 | 1.2263 | 0.90369 | 0.93488 | 1.5316 | -126.6048 | 110.0955 | 1.5316 | -126.6048 | 110.0955

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45457 | 3.4112 | 2.8757 | 0.45621 | 3.4118 | 2.8748 | 5.2489 | 39.3896 | 33.2056 | 5.2679 | 39.3958 | 33.1948 | 2.2288 | 16.0693 | 4.8636 | -2.2036 | -1.1754e-10 | -2.1231e-11 | 5.8149 | 5.7012 | 6.759 | -6.3043 | -8.1419e-11 | -1.1973e-10 | -73.6485 | -166.2249 | 28.1076 | 106.2746 | 13.8031 | -151.922 |  | 1.1864 | 0.43287 | 0.25077 | 1.2677 | 0 | 0 | -4.6195 | -146.6908 | 82.3695 | -2.9923 | 0 | 0
Line_1 | 0.22977 | 0.96094 | 0.62837 | 0.22811 | 0.96017 | 0.6271 | 2.6532 | 11.0959 | 7.2558 | 2.634 | 11.0871 | 7.2412 | -0.53073 | 2.9757 | 0.91877 | 1.1018 | -1.7678e-11 | -1.8118e-11 | -2.8918 | -0.76419 | 1.7367 | 3.1521 | -3.6148e-11 | -1.9374e-11 | 106.2417 | 164.4859 | 61.2045 | -73.7254 | -15.4256 | -118.8945 |  | 1.1081 | 0.27688 | 0.27078 | 1.2677 | 0 | 0 | 5.8419 | 150.0829 | 123.3237 | -2.9923 | 0 | 0
Line_2 | 0.22977 | 0.96094 | 0.62837 | 0.22811 | 0.96017 | 0.6271 | 2.6532 | 11.0959 | 7.2558 | 2.634 | 11.0871 | 7.2412 | -0.53073 | 2.9757 | 0.91877 | 1.1018 | -1.7678e-11 | -1.8118e-11 | -2.8918 | -0.76419 | 1.7367 | 3.1521 | -3.6148e-11 | -1.9374e-11 | 106.2417 | 164.4859 | 61.2045 | -73.7254 | -15.4256 | -118.8945 |  | 1.1081 | 0.27688 | 0.27078 | 1.2677 | 0 | 0 | 5.8419 | 150.0829 | 123.3237 | -2.9923 | 0 | 0
Line_3 | 0.00070821 | 0.00070821 | 0.00070821 | 0.00070821 | 0.00070821 | 0.00070821 | 0.0081777 | 0.0081777 | 0.0081777 | 0.0081777 | 0.0081777 | 0.0081777 | -0.0042438 | 0.0020296 | 0.0022143 | -0.0042438 | 0.0020296 | 0.0022143 | -0.0080069 | 0.0010038 | -1.711e-05 | -0.0080069 | 0.0010038 | -1.711e-05 | 123.7664 | 123.7664 | 123.7664 | 123.7664 | 123.7664 | 123.7664 |  | 1.1081 | 0.27688 | 0.27078 | 1.1081 | 0.27688 | 0.27078 | 5.8419 | 150.0829 | 123.3237 | 5.8419 | 150.0829 | 123.3237

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45457 | 3.4112 | 2.8757 | 0.45621 | 3.4118 | 2.8748 | 5.2489 | 39.3896 | 33.2056 | 5.2679 | 39.3958 | 33.1948 | 2.2288 | 16.0693 | 4.8636 | -2.2036 | -1.1754e-10 | -2.1231e-11 | 5.8149 | 5.7012 | 6.759 | -6.3043 | -8.1419e-11 | -1.1973e-10 | -73.6485 | -166.2249 | 28.1076 | 106.2746 | 13.8031 | -151.922 |  | 1.1864 | 0.43287 | 0.25077 | 1.2677 | 0 | 0 | -4.6195 | -146.6908 | 82.3695 | -2.9923 | 0 | 0
Line_1 | 0.22977 | 0.96094 | 0.62837 | 0.22811 | 0.96017 | 0.6271 | 2.6532 | 11.0959 | 7.2558 | 2.634 | 11.0871 | 7.2412 | -0.53073 | 2.9757 | 0.91877 | 1.1018 | -1.7678e-11 | -1.8118e-11 | -2.8918 | -0.76419 | 1.7367 | 3.1521 | -3.6148e-11 | -1.9374e-11 | 106.2417 | 164.4859 | 61.2045 | -73.7254 | -15.4256 | -118.8945 |  | 1.1081 | 0.27688 | 0.27078 | 1.2677 | 0 | 0 | 5.8419 | 150.0829 | 123.3237 | -2.9923 | 0 | 0
Line_2 | 0.22977 | 0.96094 | 0.62837 | 0.22811 | 0.96017 | 0.6271 | 2.6532 | 11.0959 | 7.2558 | 2.634 | 11.0871 | 7.2412 | -0.53073 | 2.9757 | 0.91877 | 1.1018 | -1.7678e-11 | -1.8118e-11 | -2.8918 | -0.76419 | 1.7367 | 3.1521 | -3.6148e-11 | -1.9374e-11 | 106.2417 | 164.4859 | 61.2045 | -73.7254 | -15.4256 | -118.8945 |  | 1.1081 | 0.27688 | 0.27078 | 1.2677 | 0 | 0 | 5.8419 | 150.0829 | 123.3237 | -2.9923 | 0 | 0
Line_3 | 0.00070821 | 0.00070821 | 0.00070821 | 0.00070821 | 0.00070821 | 0.00070821 | 0.0081777 | 0.0081777 | 0.0081777 | 0.0081777 | 0.0081777 | 0.0081777 | -0.0042438 | 0.0020296 | 0.0022143 | -0.0042438 | 0.0020296 | 0.0022143 | -0.0080069 | 0.0010038 | -1.711e-05 | -0.0080069 | 0.0010038 | -1.711e-05 | 123.7664 | 123.7664 | 123.7664 | 123.7664 | 123.7664 | 123.7664 |  | 1.1081 | 0.27688 | 0.27078 | 1.1081 | 0.27688 | 0.27078 | 5.8419 | 150.0829 | 123.3237 | 5.8419 | 150.0829 | 123.3237

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18095 | 0.83945 | 0.74808 | 0.18152 | 0.83977 | 0.74756 | 2.0894 | 9.6931 | 8.6381 | 2.096 | 9.6968 | 8.6321 | 0.87354 | 7.4681 | 3.7563 | -0.87183 | -6.4168 | -3.4041 | 2.0411 | 4.0138 | 5.7419 | -2.1102 | -3.787 | -5.1212 | -68.79 | -151.4387 | 53.8408 | 111.1291 | 28.5973 | -126.1851 |  | 1.0626 | 0.87468 | 0.79433 | 1.0894 | 0.76839 | 0.71239 | -1.9599 | -123.1822 | 110.6488 | -1.3184 | -120.8546 | 110.2029
Line_1 | 0.091343 | 0.24464 | 0.2281 | 0.090758 | 0.2444 | 0.22754 | 1.0547 | 2.8248 | 2.6339 | 1.048 | 2.822 | 2.6274 | -0.35323 | 0.9621 | 1.8732 | 0.43591 | -0.72777 | -1.6813 | -1.0269 | 1.9533 | 1.008 | 1.0551 | -2.0427 | -0.82269 | 111.0745 | 168.6292 | 84.1763 | -68.8709 | -11.2442 | -95.8709 |  | 1.0296 | 0.77081 | 0.80761 | 1.0894 | 0.76839 | 0.71239 | 2.0929 | -127.5935 | 112.4623 | -1.3184 | -120.8546 | 110.2029
Line_2 | 0.091343 | 0.24464 | 0.2281 | 0.090758 | 0.2444 | 0.22754 | 1.0547 | 2.8248 | 2.6339 | 1.048 | 2.822 | 2.6274 | -0.35323 | 0.9621 | 1.8732 | 0.43591 | -0.72777 | -1.6813 | -1.0269 | 1.9533 | 1.008 | 1.0551 | -2.0427 | -0.82269 | 111.0745 | 168.6292 | 84.1763 | -68.8709 | -11.2442 | -95.8709 |  | 1.0296 | 0.77081 | 0.80761 | 1.0894 | 0.76839 | 0.71239 | 2.0929 | -127.5935 | 112.4623 | -1.3184 | -120.8546 | 110.2029
Line_3 | 0.00025097 | 0.00025097 | 0.00025097 | 0.00025097 | 0.00025097 | 0.00025097 | 0.002898 | 0.002898 | 0.002898 | 0.002898 | 0.002898 | 0.002898 | -0.0016078 | -0.00067944 | 0.0022873 | -0.0016078 | -0.00067944 | 0.0022873 | -0.0025135 | 0.0021279 | -0.00049604 | -0.0025135 | 0.0021279 | -0.00049604 | 124.6987 | 124.6987 | 124.6987 | 124.6987 | 124.6987 | 124.6987 |  | 1.0296 | 0.77081 | 0.80761 | 1.0296 | 0.77081 | 0.80761 | 2.0929 | -127.5935 | 112.4623 | 2.0929 | -127.5935 | 112.4623

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18095 | 0.83945 | 0.74808 | 0.18152 | 0.83977 | 0.74756 | 2.0894 | 9.6931 | 8.6381 | 2.096 | 9.6968 | 8.6321 | 0.87354 | 7.4681 | 3.7563 | -0.87183 | -6.4168 | -3.4041 | 2.0411 | 4.0138 | 5.7419 | -2.1102 | -3.787 | -5.1212 | -68.79 | -151.4387 | 53.8408 | 111.1291 | 28.5973 | -126.1851 |  | 1.0626 | 0.87468 | 0.79433 | 1.0894 | 0.76839 | 0.71239 | -1.9599 | -123.1822 | 110.6488 | -1.3184 | -120.8546 | 110.2029
Line_1 | 0.091343 | 0.24464 | 0.2281 | 0.090758 | 0.2444 | 0.22754 | 1.0547 | 2.8248 | 2.6339 | 1.048 | 2.822 | 2.6274 | -0.35323 | 0.9621 | 1.8732 | 0.43591 | -0.72777 | -1.6813 | -1.0269 | 1.9533 | 1.008 | 1.0551 | -2.0427 | -0.82269 | 111.0745 | 168.6292 | 84.1763 | -68.8709 | -11.2442 | -95.8709 |  | 1.0296 | 0.77081 | 0.80761 | 1.0894 | 0.76839 | 0.71239 | 2.0929 | -127.5935 | 112.4623 | -1.3184 | -120.8546 | 110.2029
Line_2 | 0.091343 | 0.24464 | 0.2281 | 0.090758 | 0.2444 | 0.22754 | 1.0547 | 2.8248 | 2.6339 | 1.048 | 2.822 | 2.6274 | -0.35323 | 0.9621 | 1.8732 | 0.43591 | -0.72777 | -1.6813 | -1.0269 | 1.9533 | 1.008 | 1.0551 | -2.0427 | -0.82269 | 111.0745 | 168.6292 | 84.1763 | -68.8709 | -11.2442 | -95.8709 |  | 1.0296 | 0.77081 | 0.80761 | 1.0894 | 0.76839 | 0.71239 | 2.0929 | -127.5935 | 112.4623 | -1.3184 | -120.8546 | 110.2029
Line_3 | 0.00025097 | 0.00025097 | 0.00025097 | 0.00025097 | 0.00025097 | 0.00025097 | 0.002898 | 0.002898 | 0.002898 | 0.002898 | 0.002898 | 0.002898 | -0.0016078 | -0.00067944 | 0.0022873 | -0.0016078 | -0.00067944 | 0.0022873 | -0.0025135 | 0.0021279 | -0.00049604 | -0.0025135 | 0.0021279 | -0.00049604 | 124.6987 | 124.6987 | 124.6987 | 124.6987 | 124.6987 | 124.6987 |  | 1.0296 | 0.77081 | 0.80761 | 1.0296 | 0.77081 | 0.80761 | 2.0929 | -127.5935 | 112.4623 | 2.0929 | -127.5935 | 112.4623