## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9907 | 0.90809 | 0.6925 | 1.9886 | 0.9101 | 0.69457 | 22.9863 | 10.4857 | 7.9964 | 22.962 | 10.5089 | 8.0202 | 6.535 | -12.0364 | 9.5748 | -3.627 | 12.3909 | -9.6812 | 6.3417 | 5.8776 | 2.3861 | -2.9183 | -6.0326 | -2.4638 | -70.0524 | 80.8831 | 115.5436 | 109.9573 | -99.071 | -64.501 |  | 0.39616 | 1.2774 | 1.234 | 0.20274 | 1.3114 | 1.2456 | -25.9124 | -125.1441 | 129.537 | -31.2224 | -125.0305 | 129.7776
Line_1 | 1.692 | 0.48326 | 0.35686 | 1.6944 | 0.48087 | 0.35445 | 19.5373 | 5.5802 | 4.1206 | 19.5654 | 5.5526 | 4.0929 | 8.537e-11 | 6.5736 | -5.1135 | 3.0296 | -6.6791 | 4.8197 | -6.6243e-11 | -3.2209 | -1.778 | 2.5604 | 2.9002 | 1.6614 | 108.5962 | -101.4758 | -69.3528 | -71.424 | 78.4409 | 110.7576 |  | 0 | 1.3118 | 1.3138 | 0.20274 | 1.3114 | 1.2456 | 0 | -127.5794 | 129.8196 | -31.2224 | -125.0305 | 129.7776
Line_2 | 0.29527 | 0.43235 | 0.34475 | 0.29747 | 0.43019 | 0.34258 | 3.4095 | 4.9923 | 3.9808 | 3.4348 | 4.9674 | 3.9558 | -0.69402 | 6.0388 | -4.6606 | 0.59736 | -5.7117 | 4.8615 | -0.26614 | -2.9719 | -0.79679 | 0.35791 | 3.1324 | 0.80241 | 117.9671 | -96.1928 | -59.7119 | -62.1506 | 83.7104 | 120.4052 |  | 0.21801 | 1.3482 | 1.1877 | 0.20274 | 1.3114 | 1.2456 | -41.0521 | -122.3965 | 129.9899 | -31.2224 | -125.0305 | 129.7776
Line_3 | 1.4003 | 0.066585 | 0.060601 | 1.4028 | 0.065215 | 0.059395 | 16.1698 | 0.76886 | 0.69976 | 16.198 | 0.75304 | 0.68584 | 7.2494e-11 | 0.99311 | 0.028732 | 2.9838 | -0.97073 | -0.057048 | -5.237e-11 | 0.17617 | -0.91892 | 1.8887 | -0.29725 | 0.81259 | 106.631 | -137.6386 | -141.9713 | -73.3846 | 40.5781 | 35.974 |  | 0 | 1.3118 | 1.3138 | 0.21801 | 1.3482 | 1.1877 | 0 | -127.5794 | 129.8196 | -41.0521 | -122.3965 | 129.9899

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.9907 | 0.90809 | 0.6925 | 1.9886 | 0.9101 | 0.69457 | 22.9863 | 10.4857 | 7.9964 | 22.962 | 10.5089 | 8.0202 | 6.535 | -12.0364 | 9.5748 | -3.627 | 12.3909 | -9.6812 | 6.3417 | 5.8776 | 2.3861 | -2.9183 | -6.0326 | -2.4638 | -70.0524 | 80.8831 | 115.5436 | 109.9573 | -99.071 | -64.501 |  | 0.39616 | 1.2774 | 1.234 | 0.20274 | 1.3114 | 1.2456 | -25.9124 | -125.1441 | 129.537 | -31.2224 | -125.0305 | 129.7776
Line_1 | 1.692 | 0.48326 | 0.35686 | 1.6944 | 0.48087 | 0.35445 | 19.5373 | 5.5802 | 4.1206 | 19.5654 | 5.5526 | 4.0929 | 8.537e-11 | 6.5736 | -5.1135 | 3.0296 | -6.6791 | 4.8197 | -6.6243e-11 | -3.2209 | -1.778 | 2.5604 | 2.9002 | 1.6614 | 108.5962 | -101.4758 | -69.3528 | -71.424 | 78.4409 | 110.7576 |  | 0 | 1.3118 | 1.3138 | 0.20274 | 1.3114 | 1.2456 | 0 | -127.5794 | 129.8196 | -31.2224 | -125.0305 | 129.7776
Line_2 | 0.29527 | 0.43235 | 0.34475 | 0.29747 | 0.43019 | 0.34258 | 3.4095 | 4.9923 | 3.9808 | 3.4348 | 4.9674 | 3.9558 | -0.69402 | 6.0388 | -4.6606 | 0.59736 | -5.7117 | 4.8615 | -0.26614 | -2.9719 | -0.79679 | 0.35791 | 3.1324 | 0.80241 | 117.9671 | -96.1928 | -59.7119 | -62.1506 | 83.7104 | 120.4052 |  | 0.21801 | 1.3482 | 1.1877 | 0.20274 | 1.3114 | 1.2456 | -41.0521 | -122.3965 | 129.9899 | -31.2224 | -125.0305 | 129.7776
Line_3 | 1.4003 | 0.066585 | 0.060601 | 1.4028 | 0.065215 | 0.059395 | 16.1698 | 0.76886 | 0.69976 | 16.198 | 0.75304 | 0.68584 | 7.2494e-11 | 0.99311 | 0.028732 | 2.9838 | -0.97073 | -0.057048 | -5.237e-11 | 0.17617 | -0.91892 | 1.8887 | -0.29725 | 0.81259 | 106.631 | -137.6386 | -141.9713 | -73.3846 | 40.5781 | 35.974 |  | 0 | 1.3118 | 1.3138 | 0.21801 | 1.3482 | 1.1877 | 0 | -127.5794 | 129.8196 | -41.0521 | -122.3965 | 129.9899

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49694 | 0.23046 | 0.30403 | 0.49631 | 0.23082 | 0.30448 | 5.7382 | 2.6611 | 3.5107 | 5.7309 | 2.6653 | 3.5158 | 4.7749 | -3.1731 | 2.7219 | -4.5595 | 3.2288 | -2.7474 | 2.5888 | 0.32259 | -2.9706 | -2.368 | -0.34378 | 3.0108 | -36.6815 | 65.2586 | 171.2806 | 143.3461 | -114.6008 | -8.8147 |  | 0.94655 | 1.1986 | 1.1476 | 0.89649 | 1.2183 | 1.1593 | -8.2164 | -120.5462 | 123.779 | -9.2088 | -120.6782 | 123.5661
Line_1 | 0.46383 | 0.12722 | 0.14864 | 0.46457 | 0.12673 | 0.14815 | 5.3558 | 1.469 | 1.7164 | 5.3644 | 1.4633 | 1.7107 | -3.7005 | 1.7908 | -1.4617 | 3.9571 | -1.7733 | 1.4143 | -2.5386 | -0.22489 | 1.409 | 2.7329 | 0.18338 | -1.3903 | 136.1935 | -114.4975 | -12.1627 | -43.8394 | 65.2258 | 168.0755 |  | 0.83788 | 1.2286 | 1.1829 | 0.89649 | 1.2183 | 1.1593 | -9.356 | -121.6553 | 123.8897 | -9.2088 | -120.6782 | 123.5661
Line_2 | 0.067893 | 0.10447 | 0.15721 | 0.068039 | 0.10409 | 0.15675 | 0.78396 | 1.2063 | 1.8153 | 0.78565 | 1.202 | 1.81 | -0.59734 | 1.474 | -1.313 | 0.60239 | -1.4555 | 1.333 | 0.38372 | -0.14864 | 1.6163 | -0.36497 | 0.1604 | -1.6205 | -157.4057 | -114.0537 | -6.0763 | 22.0012 | 65.6103 | 174.1245 |  | 0.90562 | 1.2281 | 1.1471 | 0.89649 | 1.2183 | 1.1593 | -10.1211 | -119.8122 | 123.0135 | -9.2088 | -120.6782 | 123.5661
Line_3 | 0.4407 | 0.022929 | 0.018453 | 0.44147 | 0.022493 | 0.01814 | 5.0888 | 0.26476 | 0.21307 | 5.0977 | 0.25973 | 0.20947 | -3.1406 | 0.32354 | -0.087355 | 3.441 | -0.31868 | 0.077929 | -2.8838 | -0.033564 | -0.23641 | 3.0776 | 0.013654 | 0.2273 | 128.0849 | -115.7327 | -125.8306 | -51.9303 | 62.6412 | 51.9377 |  | 0.83788 | 1.2286 | 1.1829 | 0.90562 | 1.2281 | 1.1471 | -9.356 | -121.6553 | 123.8897 | -10.1211 | -119.8122 | 123.0135

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49694 | 0.23046 | 0.30403 | 0.49631 | 0.23082 | 0.30448 | 5.7382 | 2.6611 | 3.5107 | 5.7309 | 2.6653 | 3.5158 | 4.7749 | -3.1731 | 2.7219 | -4.5595 | 3.2288 | -2.7474 | 2.5888 | 0.32259 | -2.9706 | -2.368 | -0.34378 | 3.0108 | -36.6815 | 65.2586 | 171.2806 | 143.3461 | -114.6008 | -8.8147 |  | 0.94655 | 1.1986 | 1.1476 | 0.89649 | 1.2183 | 1.1593 | -8.2164 | -120.5462 | 123.779 | -9.2088 | -120.6782 | 123.5661
Line_1 | 0.46383 | 0.12722 | 0.14864 | 0.46457 | 0.12673 | 0.14815 | 5.3558 | 1.469 | 1.7164 | 5.3644 | 1.4633 | 1.7107 | -3.7005 | 1.7908 | -1.4617 | 3.9571 | -1.7733 | 1.4143 | -2.5386 | -0.22489 | 1.409 | 2.7329 | 0.18338 | -1.3903 | 136.1935 | -114.4975 | -12.1627 | -43.8394 | 65.2258 | 168.0755 |  | 0.83788 | 1.2286 | 1.1829 | 0.89649 | 1.2183 | 1.1593 | -9.356 | -121.6553 | 123.8897 | -9.2088 | -120.6782 | 123.5661
Line_2 | 0.067893 | 0.10447 | 0.15721 | 0.068039 | 0.10409 | 0.15675 | 0.78396 | 1.2063 | 1.8153 | 0.78565 | 1.202 | 1.81 | -0.59734 | 1.474 | -1.313 | 0.60239 | -1.4555 | 1.333 | 0.38372 | -0.14864 | 1.6163 | -0.36497 | 0.1604 | -1.6205 | -157.4057 | -114.0537 | -6.0763 | 22.0012 | 65.6103 | 174.1245 |  | 0.90562 | 1.2281 | 1.1471 | 0.89649 | 1.2183 | 1.1593 | -10.1211 | -119.8122 | 123.0135 | -9.2088 | -120.6782 | 123.5661
Line_3 | 0.4407 | 0.022929 | 0.018453 | 0.44147 | 0.022493 | 0.01814 | 5.0888 | 0.26476 | 0.21307 | 5.0977 | 0.25973 | 0.20947 | -3.1406 | 0.32354 | -0.087355 | 3.441 | -0.31868 | 0.077929 | -2.8838 | -0.033564 | -0.23641 | 3.0776 | 0.013654 | 0.2273 | 128.0849 | -115.7327 | -125.8306 | -51.9303 | 62.6412 | 51.9377 |  | 0.83788 | 1.2286 | 1.1829 | 0.90562 | 1.2281 | 1.1471 | -9.356 | -121.6553 | 123.8897 | -10.1211 | -119.8122 | 123.0135

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7213 | 0.77782 | 0.64717 | 1.7198 | 0.77933 | 0.64869 | 19.8754 | 8.9815 | 7.4729 | 19.8581 | 8.9989 | 7.4904 | 8.7555 | -6.5621 | 7.3374 | -4.8049 | 6.8627 | -7.2465 | 5.3003 | 7.176 | 1.9359 | -2.4338 | -7.43 | -2.1605 | -60.5942 | 105.7665 | 111.4923 | 119.4128 | -74.2225 | -68.5079 |  | 0.51495 | 1.0827 | 1.0155 | 0.27123 | 1.124 | 1.0095 | -29.4051 | -121.7923 | 126.2725 | -33.7239 | -121.4959 | 128.0939
Line_1 | 1.4239 | 0.41951 | 0.34937 | 1.4258 | 0.41755 | 0.34742 | 16.4418 | 4.8441 | 4.0342 | 16.4632 | 4.8214 | 4.0116 | -3.9158e-11 | 3.8197 | -4.0051 | 3.936 | -4.0738 | 3.7058 | 3.5756e-14 | -3.9174 | -1.9009 | 2.1089 | 3.5736 | 1.6336 | 118.1191 | -80.2408 | -75.723 | -61.9064 | 99.7616 | 104.3054 |  | 0 | 1.1295 | 1.0989 | 0.27123 | 1.124 | 1.0095 | 0 | -125.9638 | 129.6672 | -33.7239 | -121.4959 | 128.0939
Line_2 | 0.29457 | 0.36837 | 0.30876 | 0.29621 | 0.3667 | 0.30709 | 3.4014 | 4.2536 | 3.5652 | 3.4203 | 4.2343 | 3.546 | -1.0083 | 3.2281 | -3.22 | 0.86895 | -2.7888 | 3.5407 | -0.23234 | -3.7756 | -0.48931 | 0.3249 | 3.8564 | 0.52697 | 125.8393 | -67.3606 | -60.3996 | -54.2248 | 112.6313 | 119.6286 |  | 0.30422 | 1.1678 | 0.91354 | 0.27123 | 1.124 | 1.0095 | -41.1849 | -116.8303 | 128.2409 | -33.7239 | -121.4959 | 128.0939
Line_3 | 1.1319 | 0.10216 | 0.096761 | 1.1337 | 0.10117 | 0.095762 | 13.0696 | 1.1796 | 1.1173 | 13.0912 | 1.1682 | 1.1058 | -3.1109e-11 | 1.321 | -0.15797 | 3.6735 | -1.3009 | 0.13805 | -1.0611e-12 | 0.17355 | -1.2176 | 1.5382 | -0.41105 | 1.0007 | 116.1132 | -133.4483 | -132.9408 | -63.9055 | 45.6345 | 46.0955 |  | 0 | 1.1295 | 1.0989 | 0.30422 | 1.1678 | 0.91354 | 0 | -125.9638 | 129.6672 | -41.1849 | -116.8303 | 128.2409

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7213 | 0.77782 | 0.64717 | 1.7198 | 0.77933 | 0.64869 | 19.8754 | 8.9815 | 7.4729 | 19.8581 | 8.9989 | 7.4904 | 8.7555 | -6.5621 | 7.3374 | -4.8049 | 6.8627 | -7.2465 | 5.3003 | 7.176 | 1.9359 | -2.4338 | -7.43 | -2.1605 | -60.5942 | 105.7665 | 111.4923 | 119.4128 | -74.2225 | -68.5079 |  | 0.51495 | 1.0827 | 1.0155 | 0.27123 | 1.124 | 1.0095 | -29.4051 | -121.7923 | 126.2725 | -33.7239 | -121.4959 | 128.0939
Line_1 | 1.4239 | 0.41951 | 0.34937 | 1.4258 | 0.41755 | 0.34742 | 16.4418 | 4.8441 | 4.0342 | 16.4632 | 4.8214 | 4.0116 | -3.9158e-11 | 3.8197 | -4.0051 | 3.936 | -4.0738 | 3.7058 | 3.5756e-14 | -3.9174 | -1.9009 | 2.1089 | 3.5736 | 1.6336 | 118.1191 | -80.2408 | -75.723 | -61.9064 | 99.7616 | 104.3054 |  | 0 | 1.1295 | 1.0989 | 0.27123 | 1.124 | 1.0095 | 0 | -125.9638 | 129.6672 | -33.7239 | -121.4959 | 128.0939
Line_2 | 0.29457 | 0.36837 | 0.30876 | 0.29621 | 0.3667 | 0.30709 | 3.4014 | 4.2536 | 3.5652 | 3.4203 | 4.2343 | 3.546 | -1.0083 | 3.2281 | -3.22 | 0.86895 | -2.7888 | 3.5407 | -0.23234 | -3.7756 | -0.48931 | 0.3249 | 3.8564 | 0.52697 | 125.8393 | -67.3606 | -60.3996 | -54.2248 | 112.6313 | 119.6286 |  | 0.30422 | 1.1678 | 0.91354 | 0.27123 | 1.124 | 1.0095 | -41.1849 | -116.8303 | 128.2409 | -33.7239 | -121.4959 | 128.0939
Line_3 | 1.1319 | 0.10216 | 0.096761 | 1.1337 | 0.10117 | 0.095762 | 13.0696 | 1.1796 | 1.1173 | 13.0912 | 1.1682 | 1.1058 | -3.1109e-11 | 1.321 | -0.15797 | 3.6735 | -1.3009 | 0.13805 | -1.0611e-12 | 0.17355 | -1.2176 | 1.5382 | -0.41105 | 1.0007 | 116.1132 | -133.4483 | -132.9408 | -63.9055 | 45.6345 | 46.0955 |  | 0 | 1.1295 | 1.0989 | 0.30422 | 1.1678 | 0.91354 | 0 | -125.9638 | 129.6672 | -41.1849 | -116.8303 | 128.2409

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55109 | 0.24903 | 0.2072 | 0.55061 | 0.24951 | 0.20769 | 6.3634 | 2.8756 | 2.3926 | 6.3579 | 2.8811 | 2.3982 | 4.4991 | -1.3503 | 2.3614 | -4.0913 | 1.382 | -2.3559 | 3.1634 | 2.6307 | -0.26458 | -2.8668 | -2.6605 | 0.24262 | -43.6823 | 122.6785 | 128.4042 | 136.3247 | -57.3106 | -51.596 |  | 0.8643 | 1.0283 | 0.99315 | 0.78576 | 1.0406 | 0.98756 | -8.5704 | -120.1517 | 122.0114 | -8.6557 | -119.8611 | 122.524
Line_1 | 0.45588 | 0.13431 | 0.11186 | 0.45648 | 0.13368 | 0.11123 | 5.2641 | 1.5509 | 1.2916 | 5.271 | 1.5437 | 1.2844 | -2.93 | 0.86197 | -1.3038 | 3.3362 | -0.88577 | 1.2681 | -2.2338 | -1.3798 | -0.055993 | 2.4542 | 1.34 | 0.028924 | 135.031 | -63.3288 | -58.811 | -44.9945 | 116.6735 | 121.2173 |  | 0.69991 | 1.049 | 1.0104 | 0.78576 | 1.0406 | 0.98756 | -7.647 | -121.3359 | 123.648 | -8.6557 | -119.8611 | 122.524
Line_2 | 0.094311 | 0.11794 | 0.098853 | 0.094836 | 0.1174 | 0.098319 | 1.089 | 1.3619 | 1.1415 | 1.0951 | 1.3557 | 1.1353 | -0.76608 | 0.5421 | -1.059 | 0.75506 | -0.49624 | 1.0878 | -0.40032 | -1.3165 | 0.27682 | 0.41265 | 1.3205 | -0.27155 | 142.7512 | -50.4486 | -43.4876 | -37.3129 | 129.5432 | 136.5405 |  | 0.79372 | 1.0454 | 0.95894 | 0.78576 | 1.0406 | 0.98756 | -9.6592 | -118.0681 | 121.8632 | -8.6557 | -119.8611 | 122.524
Line_3 | 0.36238 | 0.032707 | 0.03098 | 0.36298 | 0.032392 | 0.03066 | 4.1844 | 0.37767 | 0.35772 | 4.1913 | 0.37403 | 0.35403 | -2.2655 | 0.39479 | -0.18248 | 2.6451 | -0.391 | 0.17558 | -1.8561 | -0.033149 | -0.31199 | 2.0176 | 0.0041939 | 0.29056 | 133.0252 | -116.5363 | -116.0289 | -46.9935 | 62.5465 | 63.0074 |  | 0.69991 | 1.049 | 1.0104 | 0.79372 | 1.0454 | 0.95894 | -7.647 | -121.3359 | 123.648 | -9.6592 | -118.0681 | 121.8632

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.55109 | 0.24903 | 0.2072 | 0.55061 | 0.24951 | 0.20769 | 6.3634 | 2.8756 | 2.3926 | 6.3579 | 2.8811 | 2.3982 | 4.4991 | -1.3503 | 2.3614 | -4.0913 | 1.382 | -2.3559 | 3.1634 | 2.6307 | -0.26458 | -2.8668 | -2.6605 | 0.24262 | -43.6823 | 122.6785 | 128.4042 | 136.3247 | -57.3106 | -51.596 |  | 0.8643 | 1.0283 | 0.99315 | 0.78576 | 1.0406 | 0.98756 | -8.5704 | -120.1517 | 122.0114 | -8.6557 | -119.8611 | 122.524
Line_1 | 0.45588 | 0.13431 | 0.11186 | 0.45648 | 0.13368 | 0.11123 | 5.2641 | 1.5509 | 1.2916 | 5.271 | 1.5437 | 1.2844 | -2.93 | 0.86197 | -1.3038 | 3.3362 | -0.88577 | 1.2681 | -2.2338 | -1.3798 | -0.055993 | 2.4542 | 1.34 | 0.028924 | 135.031 | -63.3288 | -58.811 | -44.9945 | 116.6735 | 121.2173 |  | 0.69991 | 1.049 | 1.0104 | 0.78576 | 1.0406 | 0.98756 | -7.647 | -121.3359 | 123.648 | -8.6557 | -119.8611 | 122.524
Line_2 | 0.094311 | 0.11794 | 0.098853 | 0.094836 | 0.1174 | 0.098319 | 1.089 | 1.3619 | 1.1415 | 1.0951 | 1.3557 | 1.1353 | -0.76608 | 0.5421 | -1.059 | 0.75506 | -0.49624 | 1.0878 | -0.40032 | -1.3165 | 0.27682 | 0.41265 | 1.3205 | -0.27155 | 142.7512 | -50.4486 | -43.4876 | -37.3129 | 129.5432 | 136.5405 |  | 0.79372 | 1.0454 | 0.95894 | 0.78576 | 1.0406 | 0.98756 | -9.6592 | -118.0681 | 121.8632 | -8.6557 | -119.8611 | 122.524
Line_3 | 0.36238 | 0.032707 | 0.03098 | 0.36298 | 0.032392 | 0.03066 | 4.1844 | 0.37767 | 0.35772 | 4.1913 | 0.37403 | 0.35403 | -2.2655 | 0.39479 | -0.18248 | 2.6451 | -0.391 | 0.17558 | -1.8561 | -0.033149 | -0.31199 | 2.0176 | 0.0041939 | 0.29056 | 133.0252 | -116.5363 | -116.0289 | -46.9935 | 62.5465 | 63.0074 |  | 0.69991 | 1.049 | 1.0104 | 0.79372 | 1.0454 | 0.95894 | -7.647 | -121.3359 | 123.648 | -9.6592 | -118.0681 | 121.8632

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48879 | 3.2255 | 3.1344 | 0.4904 | 3.2254 | 3.134 | 5.644 | 37.2452 | 36.1933 | 5.6626 | 37.2442 | 36.1889 | -2.3777 | 13.4142 | 6.0684 | 2.4905 | -6.3093 | -2.3418 | 7.0412 | 7.4186 | 14.1496 | -7.2144 | -2.1086 | -7.1506 | -104.9732 | -170.3171 | 24.4964 | 75.1243 | 9.7151 | -155.536 |  | 1.3168 | 0.41157 | 0.42538 | 1.3478 | 0.17861 | 0.20792 | 3.6857 | -141.3728 | 91.283 | 4.1698 | -151.8053 | 96.3308
Line_1 | 0.26914 | 2.4481 | 2.3615 | 0.26722 | 2.4481 | 2.3623 | 3.1078 | 28.2681 | 27.268 | 3.0856 | 28.2687 | 27.2773 | 1.5613 | 5.9925e-11 | 7.8238e-11 | -1.6141 | 4.6384 | 2.1571 | -4.0443 | -5.832e-11 | -1.2001e-11 | 3.8328 | 1.9949 | 5.2452 | 71.5233 | 4.972 | -151.3616 | -108.6677 | -175.0776 | 28.6861 |  | 1.3949 | 0 | 0 | 1.3478 | 0.17861 | 0.20792 | 2.6328 | 0 | 0 | 4.1698 | -151.8053 | 96.3308
Line_2 | 0.22623 | 0.81239 | 0.79745 | 0.22446 | 0.81204 | 0.79738 | 2.6122 | 9.3807 | 9.2081 | 2.5918 | 9.3766 | 9.2073 | 0.98604 | -1.2741 | 0.1732 | -0.87642 | 1.6709 | 0.18465 | -3.3388 | 0.62643 | -1.8747 | 3.3816 | 0.11363 | 1.9054 | 79.842 | 24.4387 | -168.2733 | -100.36 | -155.6956 | 11.8657 |  | 1.3327 | 0.15135 | 0.20446 | 1.3478 | 0.17861 | 0.20792 | 6.2954 | 178.2561 | 107.0049 | 4.1698 | -151.8053 | 96.3308
Line_3 | 0.056196 | 1.7034 | 1.6149 | 0.055266 | 1.7039 | 1.6159 | 0.6489 | 19.6696 | 18.6477 | 0.63816 | 19.6752 | 18.6589 | 0.75068 | 4.7598e-11 | 5.178e-11 | -0.74828 | 2.975 | 1.3001 | -0.50579 | -3.3464e-11 | -1.5777e-11 | 0.40421 | 0.12811 | 3.5867 | 36.6037 | -4.141 | -143.1366 | -145.3273 | 175.7904 | 36.9293 |  | 1.3949 | 0 | 0 | 1.3327 | 0.15135 | 0.20446 | 2.6328 | 0 | 0 | 6.2954 | 178.2561 | 107.0049

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.48879 | 3.2255 | 3.1344 | 0.4904 | 3.2254 | 3.134 | 5.644 | 37.2452 | 36.1933 | 5.6626 | 37.2442 | 36.1889 | -2.3777 | 13.4142 | 6.0684 | 2.4905 | -6.3093 | -2.3418 | 7.0412 | 7.4186 | 14.1496 | -7.2144 | -2.1086 | -7.1506 | -104.9732 | -170.3171 | 24.4964 | 75.1243 | 9.7151 | -155.536 |  | 1.3168 | 0.41157 | 0.42538 | 1.3478 | 0.17861 | 0.20792 | 3.6857 | -141.3728 | 91.283 | 4.1698 | -151.8053 | 96.3308
Line_1 | 0.26914 | 2.4481 | 2.3615 | 0.26722 | 2.4481 | 2.3623 | 3.1078 | 28.2681 | 27.268 | 3.0856 | 28.2687 | 27.2773 | 1.5613 | 5.9925e-11 | 7.8238e-11 | -1.6141 | 4.6384 | 2.1571 | -4.0443 | -5.832e-11 | -1.2001e-11 | 3.8328 | 1.9949 | 5.2452 | 71.5233 | 4.972 | -151.3616 | -108.6677 | -175.0776 | 28.6861 |  | 1.3949 | 0 | 0 | 1.3478 | 0.17861 | 0.20792 | 2.6328 | 0 | 0 | 4.1698 | -151.8053 | 96.3308
Line_2 | 0.22623 | 0.81239 | 0.79745 | 0.22446 | 0.81204 | 0.79738 | 2.6122 | 9.3807 | 9.2081 | 2.5918 | 9.3766 | 9.2073 | 0.98604 | -1.2741 | 0.1732 | -0.87642 | 1.6709 | 0.18465 | -3.3388 | 0.62643 | -1.8747 | 3.3816 | 0.11363 | 1.9054 | 79.842 | 24.4387 | -168.2733 | -100.36 | -155.6956 | 11.8657 |  | 1.3327 | 0.15135 | 0.20446 | 1.3478 | 0.17861 | 0.20792 | 6.2954 | 178.2561 | 107.0049 | 4.1698 | -151.8053 | 96.3308
Line_3 | 0.056196 | 1.7034 | 1.6149 | 0.055266 | 1.7039 | 1.6159 | 0.6489 | 19.6696 | 18.6477 | 0.63816 | 19.6752 | 18.6589 | 0.75068 | 4.7598e-11 | 5.178e-11 | -0.74828 | 2.975 | 1.3001 | -0.50579 | -3.3464e-11 | -1.5777e-11 | 0.40421 | 0.12811 | 3.5867 | 36.6037 | -4.141 | -143.1366 | -145.3273 | 175.7904 | 36.9293 |  | 1.3949 | 0 | 0 | 1.3327 | 0.15135 | 0.20446 | 2.6328 | 0 | 0 | 6.2954 | 178.2561 | 107.0049

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014694 | 0.76078 | 0.6602 | 0.015272 | 0.76086 | 0.65996 | 0.16967 | 8.7848 | 7.6233 | 0.17635 | 8.7857 | 7.6206 | 0.16518 | 8.0097 | 4.0228 | -0.17188 | -7.5849 | -3.876 | 0.11755 | 2.2857 | 6.3638 | -0.12697 | -2.0305 | -6.0034 | -32.9672 | -140.9914 | 53.2098 | 146.0108 | 39.0561 | -126.8417 |  | 1.1949 | 0.94817 | 0.98759 | 1.2117 | 0.89372 | 0.93771 | 2.4702 | -125.0642 | 110.9112 | 2.4649 | -125.9567 | 110.3105
Line_1 | 0.013129 | 0.5972 | 0.55429 | 0.012453 | 0.59716 | 0.55469 | 0.1516 | 6.8959 | 6.4004 | 0.14379 | 6.8954 | 6.405 | 0.0021711 | -5.2677 | -3.5164 | -0.0077489 | 5.5693 | 3.6507 | -0.18734 | -2.5633 | -4.4193 | 0.17407 | 2.6382 | 4.7691 | 91.3282 | 28.7672 | -122.321 | -90.0841 | -151.3042 | 57.7442 |  | 1.2358 | 0.84954 | 0.88238 | 1.2117 | 0.89372 | 0.93771 | 1.9922 | -125.2849 | 109.17 | 2.4649 | -125.9567 | 110.3105
Line_2 | 0.013476 | 0.20441 | 0.11591 | 0.013272 | 0.204 | 0.11587 | 0.15561 | 2.3604 | 1.3384 | 0.15325 | 2.3556 | 1.338 | -0.18369 | -1.978 | -0.20976 | 0.17963 | 2.0156 | 0.22529 | 0.037112 | 0.66396 | -1.2455 | -0.047097 | -0.60771 | 1.2343 | -165.6225 | 70.9726 | -149.6811 | 17.1569 | -109.1785 | 30.6548 |  | 1.2043 | 0.88397 | 0.94374 | 1.2117 | 0.89372 | 0.93771 | 2.9556 | -127.5827 | 110.7594 | 2.4649 | -125.9567 | 110.3105
Line_3 | 0.020923 | 0.46631 | 0.45433 | 0.020628 | 0.46653 | 0.45476 | 0.2416 | 5.3845 | 5.2461 | 0.23819 | 5.387 | 5.2511 | 0.18727 | -3.3437 | -3.2848 | -0.1907 | 3.6037 | 3.423 | -0.23255 | -3.1215 | -3.2617 | 0.21429 | 3.1128 | 3.5835 | 53.149 | 11.6835 | -115.6278 | -128.7112 | -168.403 | 64.4474 |  | 1.2358 | 0.84954 | 0.88238 | 1.2043 | 0.88397 | 0.94374 | 1.9922 | -125.2849 | 109.17 | 2.9556 | -127.5827 | 110.7594

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.014694 | 0.76078 | 0.6602 | 0.015272 | 0.76086 | 0.65996 | 0.16967 | 8.7848 | 7.6233 | 0.17635 | 8.7857 | 7.6206 | 0.16518 | 8.0097 | 4.0228 | -0.17188 | -7.5849 | -3.876 | 0.11755 | 2.2857 | 6.3638 | -0.12697 | -2.0305 | -6.0034 | -32.9672 | -140.9914 | 53.2098 | 146.0108 | 39.0561 | -126.8417 |  | 1.1949 | 0.94817 | 0.98759 | 1.2117 | 0.89372 | 0.93771 | 2.4702 | -125.0642 | 110.9112 | 2.4649 | -125.9567 | 110.3105
Line_1 | 0.013129 | 0.5972 | 0.55429 | 0.012453 | 0.59716 | 0.55469 | 0.1516 | 6.8959 | 6.4004 | 0.14379 | 6.8954 | 6.405 | 0.0021711 | -5.2677 | -3.5164 | -0.0077489 | 5.5693 | 3.6507 | -0.18734 | -2.5633 | -4.4193 | 0.17407 | 2.6382 | 4.7691 | 91.3282 | 28.7672 | -122.321 | -90.0841 | -151.3042 | 57.7442 |  | 1.2358 | 0.84954 | 0.88238 | 1.2117 | 0.89372 | 0.93771 | 1.9922 | -125.2849 | 109.17 | 2.4649 | -125.9567 | 110.3105
Line_2 | 0.013476 | 0.20441 | 0.11591 | 0.013272 | 0.204 | 0.11587 | 0.15561 | 2.3604 | 1.3384 | 0.15325 | 2.3556 | 1.338 | -0.18369 | -1.978 | -0.20976 | 0.17963 | 2.0156 | 0.22529 | 0.037112 | 0.66396 | -1.2455 | -0.047097 | -0.60771 | 1.2343 | -165.6225 | 70.9726 | -149.6811 | 17.1569 | -109.1785 | 30.6548 |  | 1.2043 | 0.88397 | 0.94374 | 1.2117 | 0.89372 | 0.93771 | 2.9556 | -127.5827 | 110.7594 | 2.4649 | -125.9567 | 110.3105
Line_3 | 0.020923 | 0.46631 | 0.45433 | 0.020628 | 0.46653 | 0.45476 | 0.2416 | 5.3845 | 5.2461 | 0.23819 | 5.387 | 5.2511 | 0.18727 | -3.3437 | -3.2848 | -0.1907 | 3.6037 | 3.423 | -0.23255 | -3.1215 | -3.2617 | 0.21429 | 3.1128 | 3.5835 | 53.149 | 11.6835 | -115.6278 | -128.7112 | -168.403 | 64.4474 |  | 1.2358 | 0.84954 | 0.88238 | 1.2043 | 0.88397 | 0.94374 | 1.9922 | -125.2849 | 109.17 | 2.9556 | -127.5827 | 110.7594

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56726 | 2.6001 | 2.5866 | 0.56852 | 2.6 | 2.5863 | 6.5502 | 30.0228 | 29.8678 | 6.5647 | 30.0222 | 29.8638 | 0.051781 | 15.7137 | 9.2507 | 0.14706 | -7.2894 | -3.8496 | 7.0892 | 2.7638 | 11.7911 | -7.3263 | 0.21333 | -6.3782 | -85.4616 | -160.2221 | 37.3835 | 94.5784 | 19.8069 | -142.6446 |  | 1.0823 | 0.53143 | 0.50177 | 1.1162 | 0.2429 | 0.24946 | 4.1199 | -150.2468 | 89.2676 | 5.7283 | -161.8694 | 96.2422
Line_1 | 0.31431 | 1.9782 | 1.9265 | 0.31264 | 1.9781 | 1.9273 | 3.6294 | 22.8423 | 22.2448 | 3.61 | 22.8408 | 22.2548 | 0.37928 | -6.9584e-11 | -3.2844e-11 | -0.51045 | 5.5371 | 3.1072 | -4.2962 | -4.4999e-11 | -7.4752e-11 | 3.9972 | 0.35003 | 4.6007 | 88.513 | 14.5627 | -139.7675 | -91.5491 | -165.4866 | 40.2763 |  | 1.1883 | 0 | 0 | 1.1162 | 0.2429 | 0.24946 | 3.5581 | 0 | 0 | 5.7283 | -161.8694 | 96.2422
Line_2 | 0.26123 | 0.65653 | 0.66862 | 0.25982 | 0.65625 | 0.66872 | 3.0165 | 7.5809 | 7.7206 | 3.0001 | 7.5777 | 7.7217 | -0.12742 | -1.2502 | -0.30621 | 0.36339 | 1.7523 | 0.74236 | -3.2599 | 1.269 | -1.9761 | 3.3291 | -0.56336 | 1.7775 | 102.0306 | 36.0775 | -151.2144 | -78.0421 | -144.0473 | 28.9101 |  | 1.0815 | 0.23499 | 0.259 | 1.1162 | 0.2429 | 0.24946 | 9.7923 | 170.6513 | 109.9771 | 5.7283 | -161.8694 | 96.2422
Line_3 | 0.085972 | 1.3881 | 1.2779 | 0.085207 | 1.3884 | 1.2787 | 0.99272 | 16.0287 | 14.7555 | 0.98389 | 16.0323 | 14.7652 | 0.90267 | -4.2631e-11 | -2.6791e-11 | -0.89383 | 3.6573 | 1.6913 | -0.75949 | -3.9545e-11 | -4.7069e-11 | 0.57737 | -0.90405 | 3.43 | 43.6348 | 4.603 | -133.8394 | -137.3472 | -175.464 | 46.2244 |  | 1.1883 | 0 | 0 | 1.0815 | 0.23499 | 0.259 | 3.5581 | 0 | 0 | 9.7923 | 170.6513 | 109.9771

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.56726 | 2.6001 | 2.5866 | 0.56852 | 2.6 | 2.5863 | 6.5502 | 30.0228 | 29.8678 | 6.5647 | 30.0222 | 29.8638 | 0.051781 | 15.7137 | 9.2507 | 0.14706 | -7.2894 | -3.8496 | 7.0892 | 2.7638 | 11.7911 | -7.3263 | 0.21333 | -6.3782 | -85.4616 | -160.2221 | 37.3835 | 94.5784 | 19.8069 | -142.6446 |  | 1.0823 | 0.53143 | 0.50177 | 1.1162 | 0.2429 | 0.24946 | 4.1199 | -150.2468 | 89.2676 | 5.7283 | -161.8694 | 96.2422
Line_1 | 0.31431 | 1.9782 | 1.9265 | 0.31264 | 1.9781 | 1.9273 | 3.6294 | 22.8423 | 22.2448 | 3.61 | 22.8408 | 22.2548 | 0.37928 | -6.9584e-11 | -3.2844e-11 | -0.51045 | 5.5371 | 3.1072 | -4.2962 | -4.4999e-11 | -7.4752e-11 | 3.9972 | 0.35003 | 4.6007 | 88.513 | 14.5627 | -139.7675 | -91.5491 | -165.4866 | 40.2763 |  | 1.1883 | 0 | 0 | 1.1162 | 0.2429 | 0.24946 | 3.5581 | 0 | 0 | 5.7283 | -161.8694 | 96.2422
Line_2 | 0.26123 | 0.65653 | 0.66862 | 0.25982 | 0.65625 | 0.66872 | 3.0165 | 7.5809 | 7.7206 | 3.0001 | 7.5777 | 7.7217 | -0.12742 | -1.2502 | -0.30621 | 0.36339 | 1.7523 | 0.74236 | -3.2599 | 1.269 | -1.9761 | 3.3291 | -0.56336 | 1.7775 | 102.0306 | 36.0775 | -151.2144 | -78.0421 | -144.0473 | 28.9101 |  | 1.0815 | 0.23499 | 0.259 | 1.1162 | 0.2429 | 0.24946 | 9.7923 | 170.6513 | 109.9771 | 5.7283 | -161.8694 | 96.2422
Line_3 | 0.085972 | 1.3881 | 1.2779 | 0.085207 | 1.3884 | 1.2787 | 0.99272 | 16.0287 | 14.7555 | 0.98389 | 16.0323 | 14.7652 | 0.90267 | -4.2631e-11 | -2.6791e-11 | -0.89383 | 3.6573 | 1.6913 | -0.75949 | -3.9545e-11 | -4.7069e-11 | 0.57737 | -0.90405 | 3.43 | 43.6348 | 4.603 | -133.8394 | -137.3472 | -175.464 | 46.2244 |  | 1.1883 | 0 | 0 | 1.0815 | 0.23499 | 0.259 | 3.5581 | 0 | 0 | 9.7923 | 170.6513 | 109.9771

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20222 | 0.72396 | 0.71091 | 0.20267 | 0.72392 | 0.71076 | 2.335 | 8.3595 | 8.2089 | 2.3402 | 8.3591 | 8.2072 | 0.87698 | 6.7521 | 4.11 | -0.85699 | -6.0622 | -3.7175 | 2.2151 | 2.4918 | 5.9741 | -2.246 | -2.2709 | -5.5293 | -66.6466 | -147.1348 | 55.8622 | 113.3854 | 32.9017 | -124.1731 |  | 1.0203 | 0.86095 | 0.88336 | 1.0272 | 0.77444 | 0.81182 | 1.7547 | -126.8784 | 111.3352 | 2.5001 | -126.562 | 111.913
Line_1 | 0.11142 | 0.55545 | 0.53421 | 0.11083 | 0.55543 | 0.53454 | 1.2866 | 6.4137 | 6.1685 | 1.2798 | 6.4136 | 6.1724 | -0.35251 | -3.9627 | -2.8287 | 0.33148 | 4.4395 | 3.0772 | -1.3115 | -2.2248 | -3.5484 | 1.2721 | 2.2272 | 3.9547 | 107.1496 | 26.8576 | -120.2535 | -72.895 | -153.2042 | 59.7995 |  | 1.0555 | 0.70857 | 0.73566 | 1.0272 | 0.77444 | 0.81182 | 2.1044 | -123.8309 | 111.1852 | 2.5001 | -126.562 | 111.913
Line_2 | 0.093797 | 0.18162 | 0.18129 | 0.093293 | 0.18152 | 0.18132 | 1.0831 | 2.0972 | 2.0934 | 1.0773 | 2.096 | 2.0938 | -0.49821 | -1.5834 | -0.60398 | 0.52551 | 1.6227 | 0.64029 | -0.96885 | 0.023604 | -1.6006 | 0.97384 | 0.043699 | 1.5746 | 120.9056 | 52.0535 | -136.1194 | -59.1473 | -128.1046 | 44.0419 |  | 1.0059 | 0.75511 | 0.81721 | 1.0272 | 0.77444 | 0.81182 | 3.6919 | -128.8005 | 113.2066 | 2.5001 | -126.562 | 111.913
Line_3 | 0.030225 | 0.39854 | 0.36313 | 0.029949 | 0.39869 | 0.36347 | 0.34901 | 4.6019 | 4.193 | 0.34582 | 4.6037 | 4.197 | 0.19603 | -2.4809 | -2.2326 | -0.19808 | 2.8275 | 2.4006 | -0.31188 | -2.1161 | -2.1285 | 0.28594 | 2.0224 | 2.4498 | 59.9537 | 15.7057 | -112.4484 | -121.0195 | -164.3747 | 67.6253 |  | 1.0555 | 0.70857 | 0.73566 | 1.0059 | 0.75511 | 0.81721 | 2.1044 | -123.8309 | 111.1852 | 3.6919 | -128.8005 | 113.2066

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20222 | 0.72396 | 0.71091 | 0.20267 | 0.72392 | 0.71076 | 2.335 | 8.3595 | 8.2089 | 2.3402 | 8.3591 | 8.2072 | 0.87698 | 6.7521 | 4.11 | -0.85699 | -6.0622 | -3.7175 | 2.2151 | 2.4918 | 5.9741 | -2.246 | -2.2709 | -5.5293 | -66.6466 | -147.1348 | 55.8622 | 113.3854 | 32.9017 | -124.1731 |  | 1.0203 | 0.86095 | 0.88336 | 1.0272 | 0.77444 | 0.81182 | 1.7547 | -126.8784 | 111.3352 | 2.5001 | -126.562 | 111.913
Line_1 | 0.11142 | 0.55545 | 0.53421 | 0.11083 | 0.55543 | 0.53454 | 1.2866 | 6.4137 | 6.1685 | 1.2798 | 6.4136 | 6.1724 | -0.35251 | -3.9627 | -2.8287 | 0.33148 | 4.4395 | 3.0772 | -1.3115 | -2.2248 | -3.5484 | 1.2721 | 2.2272 | 3.9547 | 107.1496 | 26.8576 | -120.2535 | -72.895 | -153.2042 | 59.7995 |  | 1.0555 | 0.70857 | 0.73566 | 1.0272 | 0.77444 | 0.81182 | 2.1044 | -123.8309 | 111.1852 | 2.5001 | -126.562 | 111.913
Line_2 | 0.093797 | 0.18162 | 0.18129 | 0.093293 | 0.18152 | 0.18132 | 1.0831 | 2.0972 | 2.0934 | 1.0773 | 2.096 | 2.0938 | -0.49821 | -1.5834 | -0.60398 | 0.52551 | 1.6227 | 0.64029 | -0.96885 | 0.023604 | -1.6006 | 0.97384 | 0.043699 | 1.5746 | 120.9056 | 52.0535 | -136.1194 | -59.1473 | -128.1046 | 44.0419 |  | 1.0059 | 0.75511 | 0.81721 | 1.0272 | 0.77444 | 0.81182 | 3.6919 | -128.8005 | 113.2066 | 2.5001 | -126.562 | 111.913
Line_3 | 0.030225 | 0.39854 | 0.36313 | 0.029949 | 0.39869 | 0.36347 | 0.34901 | 4.6019 | 4.193 | 0.34582 | 4.6037 | 4.197 | 0.19603 | -2.4809 | -2.2326 | -0.19808 | 2.8275 | 2.4006 | -0.31188 | -2.1161 | -2.1285 | 0.28594 | 2.0224 | 2.4498 | 59.9537 | 15.7057 | -112.4484 | -121.0195 | -164.3747 | 67.6253 |  | 1.0555 | 0.70857 | 0.73566 | 1.0059 | 0.75511 | 0.81721 | 2.1044 | -123.8309 | 111.1852 | 3.6919 | -128.8005 | 113.2066