## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7507 | 0.98334 | 0.82911 | 1.7481 | 0.98591 | 0.83161 | 20.2153 | 11.3546 | 9.5738 | 20.1849 | 11.3843 | 9.6026 | 4.1585 | -12.5046 | 12.1194 | -2.5548 | 13.0328 | -11.7972 | 3.8743 | 9.4982 | 3.2622 | -2.0622 | -8.96 | -2.8768 | -77.5518 | 87.856 | 119.8501 | 102.4507 | -92.1096 | -60.2093 |  | 0.28115 | 1.383 | 1.311 | 0.16266 | 1.3893 | 1.2645 | -34.5781 | -129.3634 | 134.9153 | -38.6387 | -126.6181 | 133.4949
Line_1 | 1.5457 | 0.51676 | 0.42139 | 1.5485 | 0.51408 | 0.4188 | 17.8487 | 5.967 | 4.8658 | 17.8802 | 5.9361 | 4.8358 | 7.7004e-11 | 6.8885 | -6.0654 | 2.277 | -7.0064 | 5.8274 | -5.2822e-11 | -4.4531 | -1.8153 | 1.8093 | 4.3496 | 1.8536 | 102.9002 | -94.7218 | -64.2679 | -77.1095 | 85.2142 | 115.8497 |  | 0 | 1.3746 | 1.3012 | 0.16266 | 1.3893 | 1.2645 | 0 | -127.6027 | 132.3936 | -38.6387 | -126.6181 | 133.4949
Line_2 | 0.19745 | 0.47548 | 0.41721 | 0.19999 | 0.473 | 0.4148 | 2.2799 | 5.4904 | 4.8176 | 2.3093 | 5.4617 | 4.7897 | -0.38293 | 6.4576 | -5.611 | 0.27775 | -6.0264 | 5.9698 | -0.28668 | -4.3227 | -0.93803 | 0.25288 | 4.6104 | 1.0231 | 98.9743 | -89.1282 | -56.3464 | -80.956 | 90.7993 | 123.7697 |  | 0.20981 | 1.4154 | 1.1809 | 0.16266 | 1.3893 | 1.2645 | -44.2048 | -122.9263 | 133.1444 | -38.6387 | -126.6181 | 133.4949
Line_3 | 1.3476 | 0.064029 | 0.058418 | 1.3502 | 0.062804 | 0.057388 | 15.5607 | 0.73935 | 0.67455 | 15.5911 | 0.7252 | 0.66266 | 6.6671e-11 | 0.99083 | 0.11325 | 2.764 | -0.96664 | -0.14353 | -4.6716e-11 | 0.22627 | -0.87036 | 1.7494 | -0.34521 | 0.76923 | 103.4699 | -140.4666 | -145.0198 | -76.5352 | 37.4209 | 32.5751 |  | 0 | 1.3746 | 1.3012 | 0.20981 | 1.4154 | 1.1809 | 0 | -127.6027 | 132.3936 | -44.2048 | -122.9263 | 133.1444

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7507 | 0.98334 | 0.82911 | 1.7481 | 0.98591 | 0.83161 | 20.2153 | 11.3546 | 9.5738 | 20.1849 | 11.3843 | 9.6026 | 4.1585 | -12.5046 | 12.1194 | -2.5548 | 13.0328 | -11.7972 | 3.8743 | 9.4982 | 3.2622 | -2.0622 | -8.96 | -2.8768 | -77.5518 | 87.856 | 119.8501 | 102.4507 | -92.1096 | -60.2093 |  | 0.28115 | 1.383 | 1.311 | 0.16266 | 1.3893 | 1.2645 | -34.5781 | -129.3634 | 134.9153 | -38.6387 | -126.6181 | 133.4949
Line_1 | 1.5457 | 0.51676 | 0.42139 | 1.5485 | 0.51408 | 0.4188 | 17.8487 | 5.967 | 4.8658 | 17.8802 | 5.9361 | 4.8358 | 7.7004e-11 | 6.8885 | -6.0654 | 2.277 | -7.0064 | 5.8274 | -5.2822e-11 | -4.4531 | -1.8153 | 1.8093 | 4.3496 | 1.8536 | 102.9002 | -94.7218 | -64.2679 | -77.1095 | 85.2142 | 115.8497 |  | 0 | 1.3746 | 1.3012 | 0.16266 | 1.3893 | 1.2645 | 0 | -127.6027 | 132.3936 | -38.6387 | -126.6181 | 133.4949
Line_2 | 0.19745 | 0.47548 | 0.41721 | 0.19999 | 0.473 | 0.4148 | 2.2799 | 5.4904 | 4.8176 | 2.3093 | 5.4617 | 4.7897 | -0.38293 | 6.4576 | -5.611 | 0.27775 | -6.0264 | 5.9698 | -0.28668 | -4.3227 | -0.93803 | 0.25288 | 4.6104 | 1.0231 | 98.9743 | -89.1282 | -56.3464 | -80.956 | 90.7993 | 123.7697 |  | 0.20981 | 1.4154 | 1.1809 | 0.16266 | 1.3893 | 1.2645 | -44.2048 | -122.9263 | 133.1444 | -38.6387 | -126.6181 | 133.4949
Line_3 | 1.3476 | 0.064029 | 0.058418 | 1.3502 | 0.062804 | 0.057388 | 15.5607 | 0.73935 | 0.67455 | 15.5911 | 0.7252 | 0.66266 | 6.6671e-11 | 0.99083 | 0.11325 | 2.764 | -0.96664 | -0.14353 | -4.6716e-11 | 0.22627 | -0.87036 | 1.7494 | -0.34521 | 0.76923 | 103.4699 | -140.4666 | -145.0198 | -76.5352 | 37.4209 | 32.5751 |  | 0 | 1.3746 | 1.3012 | 0.20981 | 1.4154 | 1.1809 | 0 | -127.6027 | 132.3936 | -44.2048 | -122.9263 | 133.1444

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4327 | 0.22866 | 0.36439 | 0.43186 | 0.22927 | 0.365 | 4.9963 | 2.6403 | 4.2077 | 4.9867 | 2.6474 | 4.2146 | 3.8598 | -3.0522 | 3.4737 | -3.7558 | 3.0844 | -3.4164 | 2.4021 | 1.2094 | -3.3507 | -2.2855 | -1.1901 | 3.4292 | -42.0147 | 80.1721 | 170.175 | 138.0121 | -99.6778 | -9.9218 |  | 0.90991 | 1.2434 | 1.147 | 0.88165 | 1.2488 | 1.1485 | -10.1192 | -121.4444 | 126.2072 | -10.6659 | -120.7763 | 124.9707
Line_1 | 0.43257 | 0.12607 | 0.17898 | 0.43344 | 0.12541 | 0.17836 | 4.9949 | 1.4558 | 2.0666 | 5.005 | 1.4481 | 2.0595 | -3.326 | 1.7081 | -1.7775 | 3.5267 | -1.7045 | 1.743 | -2.5087 | -0.63336 | 1.6312 | 2.6522 | 0.60405 | -1.599 | 132.4132 | -100.9897 | -12.704 | -47.6101 | 78.7374 | 167.5031 |  | 0.83406 | 1.2514 | 1.1674 | 0.88165 | 1.2488 | 1.1485 | -10.5608 | -121.3347 | 124.7526 | -10.6659 | -120.7763 | 124.9707
Line_2 | 0.04261 | 0.10455 | 0.18758 | 0.042467 | 0.10397 | 0.18699 | 0.49201 | 1.2073 | 2.166 | 0.49037 | 1.2005 | 2.1591 | -0.22332 | 1.4004 | -1.626 | 0.22909 | -1.3799 | 1.6733 | 0.38322 | -0.56853 | 1.8329 | -0.36665 | 0.58603 | -1.8302 | -131.5575 | -97.4384 | -7.644 | 47.3364 | 82.234 | 172.5343 |  | 0.90149 | 1.2519 | 1.1312 | 0.88165 | 1.2488 | 1.1485 | -11.3261 | -119.5342 | 123.9337 | -10.6659 | -120.7763 | 124.9707
Line_3 | 0.43869 | 0.022809 | 0.018397 | 0.43955 | 0.022406 | 0.01814 | 5.0656 | 0.26338 | 0.21243 | 5.0755 | 0.25872 | 0.20947 | -3.1116 | 0.32848 | -0.077982 | 3.4105 | -0.32385 | 0.06757 | -2.8581 | -0.02697 | -0.23541 | 3.0502 | 0.0054566 | 0.22711 | 126.8707 | -116.6409 | -126.9193 | -53.1341 | 61.4311 | 50.5025 |  | 0.83406 | 1.2514 | 1.1674 | 0.90149 | 1.2519 | 1.1312 | -10.5608 | -121.3347 | 124.7526 | -11.3261 | -119.5342 | 123.9337

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4327 | 0.22866 | 0.36439 | 0.43186 | 0.22927 | 0.365 | 4.9963 | 2.6403 | 4.2077 | 4.9867 | 2.6474 | 4.2146 | 3.8598 | -3.0522 | 3.4737 | -3.7558 | 3.0844 | -3.4164 | 2.4021 | 1.2094 | -3.3507 | -2.2855 | -1.1901 | 3.4292 | -42.0147 | 80.1721 | 170.175 | 138.0121 | -99.6778 | -9.9218 |  | 0.90991 | 1.2434 | 1.147 | 0.88165 | 1.2488 | 1.1485 | -10.1192 | -121.4444 | 126.2072 | -10.6659 | -120.7763 | 124.9707
Line_1 | 0.43257 | 0.12607 | 0.17898 | 0.43344 | 0.12541 | 0.17836 | 4.9949 | 1.4558 | 2.0666 | 5.005 | 1.4481 | 2.0595 | -3.326 | 1.7081 | -1.7775 | 3.5267 | -1.7045 | 1.743 | -2.5087 | -0.63336 | 1.6312 | 2.6522 | 0.60405 | -1.599 | 132.4132 | -100.9897 | -12.704 | -47.6101 | 78.7374 | 167.5031 |  | 0.83406 | 1.2514 | 1.1674 | 0.88165 | 1.2488 | 1.1485 | -10.5608 | -121.3347 | 124.7526 | -10.6659 | -120.7763 | 124.9707
Line_2 | 0.04261 | 0.10455 | 0.18758 | 0.042467 | 0.10397 | 0.18699 | 0.49201 | 1.2073 | 2.166 | 0.49037 | 1.2005 | 2.1591 | -0.22332 | 1.4004 | -1.626 | 0.22909 | -1.3799 | 1.6733 | 0.38322 | -0.56853 | 1.8329 | -0.36665 | 0.58603 | -1.8302 | -131.5575 | -97.4384 | -7.644 | 47.3364 | 82.234 | 172.5343 |  | 0.90149 | 1.2519 | 1.1312 | 0.88165 | 1.2488 | 1.1485 | -11.3261 | -119.5342 | 123.9337 | -10.6659 | -120.7763 | 124.9707
Line_3 | 0.43869 | 0.022809 | 0.018397 | 0.43955 | 0.022406 | 0.01814 | 5.0656 | 0.26338 | 0.21243 | 5.0755 | 0.25872 | 0.20947 | -3.1116 | 0.32848 | -0.077982 | 3.4105 | -0.32385 | 0.06757 | -2.8581 | -0.02697 | -0.23541 | 3.0502 | 0.0054566 | 0.22711 | 126.8707 | -116.6409 | -126.9193 | -53.1341 | 61.4311 | 50.5025 |  | 0.83406 | 1.2514 | 1.1674 | 0.90149 | 1.2519 | 1.1312 | -10.5608 | -121.3347 | 124.7526 | -11.3261 | -119.5342 | 123.9337

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5893 | 0.85167 | 0.73398 | 1.5873 | 0.85368 | 0.73597 | 18.3518 | 9.8343 | 8.4753 | 18.3287 | 9.8575 | 8.4983 | 6.3088 | -6.1114 | 8.9477 | -3.7743 | 6.8484 | -8.4354 | 3.2888 | 9.8532 | 2.5472 | -1.7961 | -9.4467 | -2.2386 | -66.4055 | 110.7158 | 116.9826 | 113.6019 | -69.2911 | -63.0424 |  | 0.38768 | 1.179 | 1.0977 | 0.22805 | 1.1837 | 1.027 | -38.8727 | -127.4753 | 132.8728 | -40.9495 | -123.3507 | 131.8206
Line_1 | 1.348 | 0.45065 | 0.38658 | 1.3501 | 0.4485 | 0.38445 | 15.5659 | 5.2036 | 4.4639 | 15.5902 | 5.1788 | 4.4393 | -3.7962e-11 | 3.8745 | -4.502 | 3.2093 | -4.0871 | 4.2389 | -1.2944e-12 | -4.6904 | -1.7565 | 1.5299 | 4.5686 | 1.678 | 113.5833 | -75.1831 | -69.8253 | -66.4361 | 104.8337 | 110.2242 |  | 0 | 1.1691 | 1.0826 | 0.22805 | 1.1837 | 1.027 | 0 | -125.625 | 131.4886 | -40.9495 | -123.3507 | 131.8206
Line_2 | 0.23526 | 0.41202 | 0.35891 | 0.23716 | 0.41012 | 0.35703 | 2.7165 | 4.7576 | 4.1443 | 2.7385 | 4.7357 | 4.1226 | -0.75048 | 3.3815 | -3.6998 | 0.56492 | -2.7614 | 4.1965 | -0.30974 | -4.6883 | -0.44106 | 0.26622 | 4.8781 | 0.56065 | 113.8069 | -62.873 | -55.8368 | -66.1821 | 117.1361 | 124.2109 |  | 0.29887 | 1.215 | 0.89905 | 0.22805 | 1.1837 | 1.027 | -43.7659 | -117.0717 | 130.9614 | -40.9495 | -123.3507 | 131.8206
Line_3 | 1.1119 | 0.10032 | 0.095015 | 1.1139 | 0.099444 | 0.094127 | 12.839 | 1.1584 | 1.0971 | 12.8621 | 1.1483 | 1.0869 | -3.1311e-11 | 1.3323 | -0.063315 | 3.5459 | -1.3115 | 0.042401 | -1.0978e-12 | 0.24312 | -1.1861 | 1.4845 | -0.47573 | 0.97625 | 113.5281 | -135.9669 | -135.4557 | -66.4822 | 42.9912 | 43.4484 |  | 0 | 1.1691 | 1.0826 | 0.29887 | 1.215 | 0.89905 | 0 | -125.625 | 131.4886 | -43.7659 | -117.0717 | 130.9614

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.5893 | 0.85167 | 0.73398 | 1.5873 | 0.85368 | 0.73597 | 18.3518 | 9.8343 | 8.4753 | 18.3287 | 9.8575 | 8.4983 | 6.3088 | -6.1114 | 8.9477 | -3.7743 | 6.8484 | -8.4354 | 3.2888 | 9.8532 | 2.5472 | -1.7961 | -9.4467 | -2.2386 | -66.4055 | 110.7158 | 116.9826 | 113.6019 | -69.2911 | -63.0424 |  | 0.38768 | 1.179 | 1.0977 | 0.22805 | 1.1837 | 1.027 | -38.8727 | -127.4753 | 132.8728 | -40.9495 | -123.3507 | 131.8206
Line_1 | 1.348 | 0.45065 | 0.38658 | 1.3501 | 0.4485 | 0.38445 | 15.5659 | 5.2036 | 4.4639 | 15.5902 | 5.1788 | 4.4393 | -3.7962e-11 | 3.8745 | -4.502 | 3.2093 | -4.0871 | 4.2389 | -1.2944e-12 | -4.6904 | -1.7565 | 1.5299 | 4.5686 | 1.678 | 113.5833 | -75.1831 | -69.8253 | -66.4361 | 104.8337 | 110.2242 |  | 0 | 1.1691 | 1.0826 | 0.22805 | 1.1837 | 1.027 | 0 | -125.625 | 131.4886 | -40.9495 | -123.3507 | 131.8206
Line_2 | 0.23526 | 0.41202 | 0.35891 | 0.23716 | 0.41012 | 0.35703 | 2.7165 | 4.7576 | 4.1443 | 2.7385 | 4.7357 | 4.1226 | -0.75048 | 3.3815 | -3.6998 | 0.56492 | -2.7614 | 4.1965 | -0.30974 | -4.6883 | -0.44106 | 0.26622 | 4.8781 | 0.56065 | 113.8069 | -62.873 | -55.8368 | -66.1821 | 117.1361 | 124.2109 |  | 0.29887 | 1.215 | 0.89905 | 0.22805 | 1.1837 | 1.027 | -43.7659 | -117.0717 | 130.9614 | -40.9495 | -123.3507 | 131.8206
Line_3 | 1.1119 | 0.10032 | 0.095015 | 1.1139 | 0.099444 | 0.094127 | 12.839 | 1.1584 | 1.0971 | 12.8621 | 1.1483 | 1.0869 | -3.1311e-11 | 1.3323 | -0.063315 | 3.5459 | -1.3115 | 0.042401 | -1.0978e-12 | 0.24312 | -1.1861 | 1.4845 | -0.47573 | 0.97625 | 113.5281 | -135.9669 | -135.4557 | -66.4822 | 42.9912 | 43.4484 |  | 0 | 1.1691 | 1.0826 | 0.29887 | 1.215 | 0.89905 | 0 | -125.625 | 131.4886 | -43.7659 | -117.0717 | 130.9614

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51742 | 0.27727 | 0.23896 | 0.51677 | 0.27793 | 0.2396 | 5.9746 | 3.2017 | 2.7592 | 5.9671 | 3.2092 | 2.7667 | 3.9029 | -1.1187 | 2.7091 | -3.6306 | 1.1982 | -2.6599 | 2.9925 | 3.2328 | -0.51849 | -2.8306 | -3.1949 | 0.55255 | -47.8061 | 129.3151 | 135.582 | 132.2012 | -50.6917 | -44.443 |  | 0.82317 | 1.0685 | 0.99966 | 0.7715 | 1.0632 | 0.98194 | -10.3272 | -121.5972 | 124.7474 | -9.8568 | -120.1339 | 123.8218
Line_1 | 0.43887 | 0.14671 | 0.12586 | 0.43956 | 0.14601 | 0.12516 | 5.0676 | 1.6941 | 1.4533 | 5.0756 | 1.686 | 1.4453 | -2.7428 | 0.77754 | -1.4472 | 3.0865 | -0.79799 | 1.4137 | -2.2431 | -1.6234 | 0.11624 | 2.4097 | 1.6052 | -0.12373 | 132.1827 | -56.5837 | -51.2259 | -47.8367 | 123.4331 | 128.8236 |  | 0.6992 | 1.0625 | 0.99906 | 0.7715 | 1.0632 | 0.98194 | -8.5406 | -120.9913 | 124.182 | -9.8568 | -120.1339 | 123.8218
Line_2 | 0.07659 | 0.13414 | 0.11685 | 0.07721 | 0.13352 | 0.11623 | 0.88439 | 1.5489 | 1.3492 | 0.89155 | 1.5417 | 1.3422 | -0.55974 | 0.46658 | -1.1982 | 0.54403 | -0.40019 | 1.2462 | -0.42242 | -1.5745 | 0.4434 | 0.42087 | 1.5896 | -0.42882 | 132.4062 | -44.2736 | -37.2375 | -47.5827 | 135.7354 | 142.8102 |  | 0.79292 | 1.0602 | 0.94691 | 0.7715 | 1.0632 | 0.98194 | -10.5527 | -117.7669 | 122.4552 | -9.8568 | -120.1339 | 123.8218
Line_3 | 0.36199 | 0.032659 | 0.030933 | 0.36264 | 0.032375 | 0.030644 | 4.1799 | 0.37711 | 0.35719 | 4.1874 | 0.37383 | 0.35385 | -2.2606 | 0.39988 | -0.1728 | 2.6401 | -0.39632 | 0.16546 | -1.8524 | -0.025325 | -0.31222 | 2.0134 | -0.004445 | 0.29136 | 132.1274 | -117.3675 | -116.8563 | -47.8828 | 61.5905 | 62.0477 |  | 0.6992 | 1.0625 | 0.99906 | 0.79292 | 1.0602 | 0.94691 | -8.5406 | -120.9913 | 124.182 | -10.5527 | -117.7669 | 122.4552

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.51742 | 0.27727 | 0.23896 | 0.51677 | 0.27793 | 0.2396 | 5.9746 | 3.2017 | 2.7592 | 5.9671 | 3.2092 | 2.7667 | 3.9029 | -1.1187 | 2.7091 | -3.6306 | 1.1982 | -2.6599 | 2.9925 | 3.2328 | -0.51849 | -2.8306 | -3.1949 | 0.55255 | -47.8061 | 129.3151 | 135.582 | 132.2012 | -50.6917 | -44.443 |  | 0.82317 | 1.0685 | 0.99966 | 0.7715 | 1.0632 | 0.98194 | -10.3272 | -121.5972 | 124.7474 | -9.8568 | -120.1339 | 123.8218
Line_1 | 0.43887 | 0.14671 | 0.12586 | 0.43956 | 0.14601 | 0.12516 | 5.0676 | 1.6941 | 1.4533 | 5.0756 | 1.686 | 1.4453 | -2.7428 | 0.77754 | -1.4472 | 3.0865 | -0.79799 | 1.4137 | -2.2431 | -1.6234 | 0.11624 | 2.4097 | 1.6052 | -0.12373 | 132.1827 | -56.5837 | -51.2259 | -47.8367 | 123.4331 | 128.8236 |  | 0.6992 | 1.0625 | 0.99906 | 0.7715 | 1.0632 | 0.98194 | -8.5406 | -120.9913 | 124.182 | -9.8568 | -120.1339 | 123.8218
Line_2 | 0.07659 | 0.13414 | 0.11685 | 0.07721 | 0.13352 | 0.11623 | 0.88439 | 1.5489 | 1.3492 | 0.89155 | 1.5417 | 1.3422 | -0.55974 | 0.46658 | -1.1982 | 0.54403 | -0.40019 | 1.2462 | -0.42242 | -1.5745 | 0.4434 | 0.42087 | 1.5896 | -0.42882 | 132.4062 | -44.2736 | -37.2375 | -47.5827 | 135.7354 | 142.8102 |  | 0.79292 | 1.0602 | 0.94691 | 0.7715 | 1.0632 | 0.98194 | -10.5527 | -117.7669 | 122.4552 | -9.8568 | -120.1339 | 123.8218
Line_3 | 0.36199 | 0.032659 | 0.030933 | 0.36264 | 0.032375 | 0.030644 | 4.1799 | 0.37711 | 0.35719 | 4.1874 | 0.37383 | 0.35385 | -2.2606 | 0.39988 | -0.1728 | 2.6401 | -0.39632 | 0.16546 | -1.8524 | -0.025325 | -0.31222 | 2.0134 | -0.004445 | 0.29136 | 132.1274 | -117.3675 | -116.8563 | -47.8828 | 61.5905 | 62.0477 |  | 0.6992 | 1.0625 | 0.99906 | 0.79292 | 1.0602 | 0.94691 | -8.5406 | -120.9913 | 124.182 | -10.5527 | -117.7669 | 122.4552

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53426 | 3.0557 | 3.2707 | 0.53634 | 3.0558 | 3.2703 | 6.1691 | 35.284 | 37.7667 | 6.1932 | 35.2849 | 37.7619 | -1.6307 | 9.5964 | 8.9267 | 1.7743 | -4.742 | -3.3583 | 8.6764 | 7.6415 | 13.2403 | -8.544 | -2.1381 | -6.9206 | -96.7351 | -167.6655 | 21.3317 | 83.3338 | 12.3755 | -158.7059 |  | 1.4311 | 0.34767 | 0.42282 | 1.409 | 0.14742 | 0.20371 | 3.9091 | -129.1355 | 77.3435 | 5.0657 | -143.3546 | 85.4086
Line_1 | 0.28704 | 2.329 | 2.4446 | 0.28489 | 2.329 | 2.4454 | 3.3145 | 26.8932 | 28.2282 | 3.2896 | 26.8933 | 28.2366 | 1.1945 | 6.0604e-11 | 8.2713e-11 | -1.2743 | 3.4378 | 2.9191 | -4.5631 | -5.3456e-11 | -2.8348e-12 | 4.4565 | 1.9748 | 4.9562 | 79.2477 | 6.8271 | -154.1442 | -100.8914 | -173.2285 | 25.906 |  | 1.4231 | 0 | 0 | 1.409 | 0.14742 | 0.20371 | 3.9169 | 0 | 0 | 5.0657 | -143.3546 | 85.4086
Line_2 | 0.25513 | 0.77268 | 0.85595 | 0.2531 | 0.77212 | 0.85573 | 2.946 | 8.9222 | 9.8837 | 2.9226 | 8.9156 | 9.8811 | 0.6529 | -1.0252 | 0.16655 | -0.50006 | 1.3042 | 0.43916 | -3.9953 | 0.65209 | -1.9943 | 4.0875 | 0.16334 | 1.9644 | 88.2215 | 29.6576 | -172.13 | -91.9092 | -150.4934 | 8.0106 |  | 1.3742 | 0.13618 | 0.20248 | 1.409 | 0.14742 | 0.20371 | 7.5025 | 177.1977 | 102.6439 | 5.0657 | -143.3546 | 85.4086
Line_3 | 0.053251 | 1.6441 | 1.6515 | 0.0525 | 1.6446 | 1.6524 | 0.61489 | 18.9839 | 19.0698 | 0.60622 | 18.9901 | 19.0802 | 0.77433 | 4.8926e-11 | 5.4858e-11 | -0.77264 | 2.5857 | 1.4756 | -0.4076 | -2.9331e-11 | -1.0799e-11 | 0.31146 | 0.041332 | 3.5705 | 31.6789 | -3.6443 | -144.9707 | -150.5426 | 176.2819 | 35.0981 |  | 1.4231 | 0 | 0 | 1.3742 | 0.13618 | 0.20248 | 3.9169 | 0 | 0 | 7.5025 | 177.1977 | 102.6439

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53426 | 3.0557 | 3.2707 | 0.53634 | 3.0558 | 3.2703 | 6.1691 | 35.284 | 37.7667 | 6.1932 | 35.2849 | 37.7619 | -1.6307 | 9.5964 | 8.9267 | 1.7743 | -4.742 | -3.3583 | 8.6764 | 7.6415 | 13.2403 | -8.544 | -2.1381 | -6.9206 | -96.7351 | -167.6655 | 21.3317 | 83.3338 | 12.3755 | -158.7059 |  | 1.4311 | 0.34767 | 0.42282 | 1.409 | 0.14742 | 0.20371 | 3.9091 | -129.1355 | 77.3435 | 5.0657 | -143.3546 | 85.4086
Line_1 | 0.28704 | 2.329 | 2.4446 | 0.28489 | 2.329 | 2.4454 | 3.3145 | 26.8932 | 28.2282 | 3.2896 | 26.8933 | 28.2366 | 1.1945 | 6.0604e-11 | 8.2713e-11 | -1.2743 | 3.4378 | 2.9191 | -4.5631 | -5.3456e-11 | -2.8348e-12 | 4.4565 | 1.9748 | 4.9562 | 79.2477 | 6.8271 | -154.1442 | -100.8914 | -173.2285 | 25.906 |  | 1.4231 | 0 | 0 | 1.409 | 0.14742 | 0.20371 | 3.9169 | 0 | 0 | 5.0657 | -143.3546 | 85.4086
Line_2 | 0.25513 | 0.77268 | 0.85595 | 0.2531 | 0.77212 | 0.85573 | 2.946 | 8.9222 | 9.8837 | 2.9226 | 8.9156 | 9.8811 | 0.6529 | -1.0252 | 0.16655 | -0.50006 | 1.3042 | 0.43916 | -3.9953 | 0.65209 | -1.9943 | 4.0875 | 0.16334 | 1.9644 | 88.2215 | 29.6576 | -172.13 | -91.9092 | -150.4934 | 8.0106 |  | 1.3742 | 0.13618 | 0.20248 | 1.409 | 0.14742 | 0.20371 | 7.5025 | 177.1977 | 102.6439 | 5.0657 | -143.3546 | 85.4086
Line_3 | 0.053251 | 1.6441 | 1.6515 | 0.0525 | 1.6446 | 1.6524 | 0.61489 | 18.9839 | 19.0698 | 0.60622 | 18.9901 | 19.0802 | 0.77433 | 4.8926e-11 | 5.4858e-11 | -0.77264 | 2.5857 | 1.4756 | -0.4076 | -2.9331e-11 | -1.0799e-11 | 0.31146 | 0.041332 | 3.5705 | 31.6789 | -3.6443 | -144.9707 | -150.5426 | 176.2819 | 35.0981 |  | 1.4231 | 0 | 0 | 1.3742 | 0.13618 | 0.20248 | 3.9169 | 0 | 0 | 7.5025 | 177.1977 | 102.6439

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066641 | 0.71759 | 0.69365 | 0.06731 | 0.71773 | 0.69343 | 0.76951 | 8.286 | 8.0096 | 0.77722 | 8.2877 | 8.007 | 0.85145 | 7.3308 | 3.9744 | -0.8548 | -7.0661 | -3.7155 | 0.42118 | 1.7133 | 6.9 | -0.42859 | -1.4027 | -6.6175 | -22.788 | -136.9383 | 48.2894 | 156.8196 | 43.1254 | -131.7751 |  | 1.2345 | 0.90856 | 0.99416 | 1.2303 | 0.86924 | 0.94782 | 3.5322 | -123.7833 | 108.3471 | 3.4484 | -125.6463 | 108.912
Line_1 | 0.033039 | 0.56679 | 0.57181 | 0.032247 | 0.56676 | 0.57217 | 0.3815 | 6.5447 | 6.6027 | 0.37236 | 6.5444 | 6.6068 | -0.33866 | -5.0012 | -3.4603 | 0.32685 | 5.2167 | 3.6365 | -0.33202 | -2.1844 | -4.7812 | 0.321 | 2.2686 | 5.0979 | 138.4722 | 30.9354 | -125.6629 | -41.0342 | -149.1495 | 54.4133 |  | 1.2431 | 0.83387 | 0.89389 | 1.2303 | 0.86924 | 0.94782 | 2.9054 | -125.4701 | 108.4427 | 3.4484 | -125.6463 | 108.912
Line_2 | 0.038478 | 0.20399 | 0.13922 | 0.037926 | 0.20345 | 0.13903 | 0.44431 | 2.3555 | 1.6076 | 0.43794 | 2.3492 | 1.6054 | -0.52552 | -1.8118 | -0.043524 | 0.52795 | 1.8494 | 0.079013 | -0.11977 | 0.93915 | -1.5362 | 0.10759 | -0.86588 | 1.5195 | 171.0937 | 79.603 | -158.4242 | -8.0698 | -100.5575 | 21.8886 |  | 1.2131 | 0.86637 | 0.95598 | 1.2303 | 0.86924 | 0.94782 | 3.9322 | -127.7976 | 109.953 | 3.4484 | -125.6463 | 108.912
Line_3 | 0.020823 | 0.45823 | 0.46078 | 0.020578 | 0.45852 | 0.4612 | 0.24044 | 5.2912 | 5.3206 | 0.23761 | 5.2946 | 5.3254 | 0.19868 | -3.223 | -3.3781 | -0.2032 | 3.4703 | 3.5259 | -0.22331 | -3.0132 | -3.3478 | 0.20445 | 2.9997 | 3.6724 | 51.2458 | 11.457 | -116.299 | -130.8929 | -168.6374 | 63.7872 |  | 1.2431 | 0.83387 | 0.89389 | 1.2131 | 0.86637 | 0.95598 | 2.9054 | -125.4701 | 108.4427 | 3.9322 | -127.7976 | 109.953

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066641 | 0.71759 | 0.69365 | 0.06731 | 0.71773 | 0.69343 | 0.76951 | 8.286 | 8.0096 | 0.77722 | 8.2877 | 8.007 | 0.85145 | 7.3308 | 3.9744 | -0.8548 | -7.0661 | -3.7155 | 0.42118 | 1.7133 | 6.9 | -0.42859 | -1.4027 | -6.6175 | -22.788 | -136.9383 | 48.2894 | 156.8196 | 43.1254 | -131.7751 |  | 1.2345 | 0.90856 | 0.99416 | 1.2303 | 0.86924 | 0.94782 | 3.5322 | -123.7833 | 108.3471 | 3.4484 | -125.6463 | 108.912
Line_1 | 0.033039 | 0.56679 | 0.57181 | 0.032247 | 0.56676 | 0.57217 | 0.3815 | 6.5447 | 6.6027 | 0.37236 | 6.5444 | 6.6068 | -0.33866 | -5.0012 | -3.4603 | 0.32685 | 5.2167 | 3.6365 | -0.33202 | -2.1844 | -4.7812 | 0.321 | 2.2686 | 5.0979 | 138.4722 | 30.9354 | -125.6629 | -41.0342 | -149.1495 | 54.4133 |  | 1.2431 | 0.83387 | 0.89389 | 1.2303 | 0.86924 | 0.94782 | 2.9054 | -125.4701 | 108.4427 | 3.4484 | -125.6463 | 108.912
Line_2 | 0.038478 | 0.20399 | 0.13922 | 0.037926 | 0.20345 | 0.13903 | 0.44431 | 2.3555 | 1.6076 | 0.43794 | 2.3492 | 1.6054 | -0.52552 | -1.8118 | -0.043524 | 0.52795 | 1.8494 | 0.079013 | -0.11977 | 0.93915 | -1.5362 | 0.10759 | -0.86588 | 1.5195 | 171.0937 | 79.603 | -158.4242 | -8.0698 | -100.5575 | 21.8886 |  | 1.2131 | 0.86637 | 0.95598 | 1.2303 | 0.86924 | 0.94782 | 3.9322 | -127.7976 | 109.953 | 3.4484 | -125.6463 | 108.912
Line_3 | 0.020823 | 0.45823 | 0.46078 | 0.020578 | 0.45852 | 0.4612 | 0.24044 | 5.2912 | 5.3206 | 0.23761 | 5.2946 | 5.3254 | 0.19868 | -3.223 | -3.3781 | -0.2032 | 3.4703 | 3.5259 | -0.22331 | -3.0132 | -3.3478 | 0.20445 | 2.9997 | 3.6724 | 51.2458 | 11.457 | -116.299 | -130.8929 | -168.6374 | 63.7872 |  | 1.2431 | 0.83387 | 0.89389 | 1.2131 | 0.86637 | 0.95598 | 2.9054 | -125.4701 | 108.4427 | 3.9322 | -127.7976 | 109.953

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61503 | 2.4804 | 2.6788 | 0.61674 | 2.4805 | 2.6783 | 7.1017 | 28.6406 | 30.9326 | 7.1215 | 28.6424 | 30.9264 | 0.84505 | 11.8485 | 12.0363 | -0.47426 | -5.7069 | -4.864 | 8.5399 | 3.708 | 10.1578 | -8.3402 | -0.085248 | -5.9143 | -80.2913 | -158.2353 | 34.8528 | 99.7286 | 21.8044 | -145.1823 |  | 1.2084 | 0.43348 | 0.50916 | 1.173 | 0.19927 | 0.2476 | 4.0575 | -140.8575 | 75.0149 | 6.4739 | -157.3398 | 85.383
Line_1 | 0.33233 | 1.8959 | 1.9853 | 0.3305 | 1.8957 | 1.9862 | 3.8374 | 21.8917 | 22.9242 | 3.8162 | 21.8897 | 22.9342 | 0.10081 | -6.6807e-11 | -2.7759e-11 | -0.23814 | 4.33 | 3.8575 | -4.6169 | -4.5177e-11 | -8.1355e-11 | 4.4702 | 0.52681 | 4.1673 | 93.4628 | 15.779 | -141.8754 | -86.5755 | -164.2765 | 38.1717 |  | 1.2034 | 0 | 0 | 1.173 | 0.19927 | 0.2476 | 4.7137 | 0 | 0 | 6.4739 | -157.3398 | 85.383
Line_2 | 0.29214 | 0.62887 | 0.70516 | 0.29052 | 0.62841 | 0.70519 | 3.3733 | 7.2616 | 8.1425 | 3.3546 | 7.2563 | 8.1429 | -0.38284 | -0.98111 | -0.33154 | 0.7124 | 1.3769 | 1.0066 | -3.7312 | 1.2683 | -2.0936 | 3.87 | -0.44156 | 1.747 | 106.945 | 40.5837 | -154.7992 | -73.0956 | -139.559 | 25.3334 |  | 1.1119 | 0.22082 | 0.26032 | 1.173 | 0.19927 | 0.2476 | 11.0867 | 168.3081 | 106.2021 | 6.4739 | -157.3398 | 85.383
Line_3 | 0.083556 | 1.3507 | 1.3074 | 0.082913 | 1.351 | 1.3082 | 0.96482 | 15.5962 | 15.0962 | 0.95739 | 15.6005 | 15.1056 | 0.95579 | -4.0415e-11 | -2.4579e-11 | -0.94751 | 3.3086 | 1.8994 | -0.6592 | -4.0839e-11 | -5.0993e-11 | 0.48525 | -0.95923 | 3.4431 | 39.3074 | 4.5475 | -134.9811 | -141.795 | -175.524 | 45.0856 |  | 1.2034 | 0 | 0 | 1.1119 | 0.22082 | 0.26032 | 4.7137 | 0 | 0 | 11.0867 | 168.3081 | 106.2021

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.61503 | 2.4804 | 2.6788 | 0.61674 | 2.4805 | 2.6783 | 7.1017 | 28.6406 | 30.9326 | 7.1215 | 28.6424 | 30.9264 | 0.84505 | 11.8485 | 12.0363 | -0.47426 | -5.7069 | -4.864 | 8.5399 | 3.708 | 10.1578 | -8.3402 | -0.085248 | -5.9143 | -80.2913 | -158.2353 | 34.8528 | 99.7286 | 21.8044 | -145.1823 |  | 1.2084 | 0.43348 | 0.50916 | 1.173 | 0.19927 | 0.2476 | 4.0575 | -140.8575 | 75.0149 | 6.4739 | -157.3398 | 85.383
Line_1 | 0.33233 | 1.8959 | 1.9853 | 0.3305 | 1.8957 | 1.9862 | 3.8374 | 21.8917 | 22.9242 | 3.8162 | 21.8897 | 22.9342 | 0.10081 | -6.6807e-11 | -2.7759e-11 | -0.23814 | 4.33 | 3.8575 | -4.6169 | -4.5177e-11 | -8.1355e-11 | 4.4702 | 0.52681 | 4.1673 | 93.4628 | 15.779 | -141.8754 | -86.5755 | -164.2765 | 38.1717 |  | 1.2034 | 0 | 0 | 1.173 | 0.19927 | 0.2476 | 4.7137 | 0 | 0 | 6.4739 | -157.3398 | 85.383
Line_2 | 0.29214 | 0.62887 | 0.70516 | 0.29052 | 0.62841 | 0.70519 | 3.3733 | 7.2616 | 8.1425 | 3.3546 | 7.2563 | 8.1429 | -0.38284 | -0.98111 | -0.33154 | 0.7124 | 1.3769 | 1.0066 | -3.7312 | 1.2683 | -2.0936 | 3.87 | -0.44156 | 1.747 | 106.945 | 40.5837 | -154.7992 | -73.0956 | -139.559 | 25.3334 |  | 1.1119 | 0.22082 | 0.26032 | 1.173 | 0.19927 | 0.2476 | 11.0867 | 168.3081 | 106.2021 | 6.4739 | -157.3398 | 85.383
Line_3 | 0.083556 | 1.3507 | 1.3074 | 0.082913 | 1.351 | 1.3082 | 0.96482 | 15.5962 | 15.0962 | 0.95739 | 15.6005 | 15.1056 | 0.95579 | -4.0415e-11 | -2.4579e-11 | -0.94751 | 3.3086 | 1.8994 | -0.6592 | -4.0839e-11 | -5.0993e-11 | 0.48525 | -0.95923 | 3.4431 | 39.3074 | 4.5475 | -134.9811 | -141.795 | -175.524 | 45.0856 |  | 1.2034 | 0 | 0 | 1.1119 | 0.22082 | 0.26032 | 4.7137 | 0 | 0 | 11.0867 | 168.3081 | 106.2021

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22539 | 0.68628 | 0.73682 | 0.22601 | 0.68629 | 0.73662 | 2.6026 | 7.9245 | 8.508 | 2.6098 | 7.9245 | 8.5058 | 1.3226 | 6.1285 | 4.2699 | -1.2761 | -5.66 | -3.7219 | 2.4299 | 2.2133 | 6.1936 | -2.4063 | -1.9314 | -5.8736 | -58.7656 | -145.0099 | 52.9157 | 121.2445 | 35.0422 | -127.1305 |  | 1.063 | 0.82225 | 0.8842 | 1.0437 | 0.75468 | 0.8175 | 2.6752 | -125.1528 | 108.3328 | 3.3065 | -126.1165 | 110.5085
Line_1 | 0.12111 | 0.53281 | 0.54807 | 0.12044 | 0.53281 | 0.5484 | 1.3984 | 6.1523 | 6.3286 | 1.3907 | 6.1524 | 6.3323 | -0.55568 | -3.8006 | -2.8226 | 0.5331 | 4.1732 | 3.125 | -1.3714 | -2.0165 | -3.7664 | 1.3501 | 2.0353 | 4.127 | 114.8735 | 27.9562 | -122.419 | -65.1459 | -152.1156 | 57.6419 |  | 1.0581 | 0.69931 | 0.74372 | 1.0437 | 0.75468 | 0.8175 | 2.8158 | -124.0942 | 110.7325 | 3.3065 | -126.1165 | 110.5085
Line_2 | 0.10775 | 0.1712 | 0.19556 | 0.10716 | 0.17104 | 0.19553 | 1.2442 | 1.9768 | 2.2581 | 1.2374 | 1.9749 | 2.2577 | -0.70159 | -1.4591 | -0.53151 | 0.74304 | 1.4868 | 0.59685 | -1.0424 | 0.18436 | -1.7887 | 1.0563 | -0.10395 | 1.7465 | 128.4516 | 58.0731 | -140.7975 | -51.5693 | -122.1172 | 39.3753 |  | 1.0099 | 0.74397 | 0.82634 | 1.0437 | 0.75468 | 0.8175 | 4.5094 | -129.1283 | 112.6528 | 3.3065 | -126.1165 | 110.5085
Line_3 | 0.030168 | 0.39403 | 0.36761 | 0.029926 | 0.39424 | 0.36795 | 0.34835 | 4.5499 | 4.2448 | 0.34555 | 4.5523 | 4.2487 | 0.20879 | -2.4194 | -2.2885 | -0.21145 | 2.7554 | 2.4661 | -0.30375 | -2.0665 | -2.1747 | 0.27762 | 1.9693 | 2.4989 | 58.3122 | 15.4036 | -112.8079 | -122.7852 | -164.682 | 67.2743 |  | 1.0581 | 0.69931 | 0.74372 | 1.0099 | 0.74397 | 0.82634 | 2.8158 | -124.0942 | 110.7325 | 4.5094 | -129.1283 | 112.6528

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22539 | 0.68628 | 0.73682 | 0.22601 | 0.68629 | 0.73662 | 2.6026 | 7.9245 | 8.508 | 2.6098 | 7.9245 | 8.5058 | 1.3226 | 6.1285 | 4.2699 | -1.2761 | -5.66 | -3.7219 | 2.4299 | 2.2133 | 6.1936 | -2.4063 | -1.9314 | -5.8736 | -58.7656 | -145.0099 | 52.9157 | 121.2445 | 35.0422 | -127.1305 |  | 1.063 | 0.82225 | 0.8842 | 1.0437 | 0.75468 | 0.8175 | 2.6752 | -125.1528 | 108.3328 | 3.3065 | -126.1165 | 110.5085
Line_1 | 0.12111 | 0.53281 | 0.54807 | 0.12044 | 0.53281 | 0.5484 | 1.3984 | 6.1523 | 6.3286 | 1.3907 | 6.1524 | 6.3323 | -0.55568 | -3.8006 | -2.8226 | 0.5331 | 4.1732 | 3.125 | -1.3714 | -2.0165 | -3.7664 | 1.3501 | 2.0353 | 4.127 | 114.8735 | 27.9562 | -122.419 | -65.1459 | -152.1156 | 57.6419 |  | 1.0581 | 0.69931 | 0.74372 | 1.0437 | 0.75468 | 0.8175 | 2.8158 | -124.0942 | 110.7325 | 3.3065 | -126.1165 | 110.5085
Line_2 | 0.10775 | 0.1712 | 0.19556 | 0.10716 | 0.17104 | 0.19553 | 1.2442 | 1.9768 | 2.2581 | 1.2374 | 1.9749 | 2.2577 | -0.70159 | -1.4591 | -0.53151 | 0.74304 | 1.4868 | 0.59685 | -1.0424 | 0.18436 | -1.7887 | 1.0563 | -0.10395 | 1.7465 | 128.4516 | 58.0731 | -140.7975 | -51.5693 | -122.1172 | 39.3753 |  | 1.0099 | 0.74397 | 0.82634 | 1.0437 | 0.75468 | 0.8175 | 4.5094 | -129.1283 | 112.6528 | 3.3065 | -126.1165 | 110.5085
Line_3 | 0.030168 | 0.39403 | 0.36761 | 0.029926 | 0.39424 | 0.36795 | 0.34835 | 4.5499 | 4.2448 | 0.34555 | 4.5523 | 4.2487 | 0.20879 | -2.4194 | -2.2885 | -0.21145 | 2.7554 | 2.4661 | -0.30375 | -2.0665 | -2.1747 | 0.27762 | 1.9693 | 2.4989 | 58.3122 | 15.4036 | -112.8079 | -122.7852 | -164.682 | 67.2743 |  | 1.0581 | 0.69931 | 0.74372 | 1.0099 | 0.74397 | 0.82634 | 2.8158 | -124.0942 | 110.7325 | 4.5094 | -129.1283 | 112.6528