## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7134 | 0.80477 | 0.38637 | 2.7127 | 0.80538 | 0.38717 | 31.3322 | 9.2927 | 4.4614 | 31.3237 | 9.2998 | 4.4706 | 16.9533 | -9.4189 | 4.5278 | -7.9605 | 10.3108 | -4.7168 | 14.5615 | -1.9639 | 1.9679 | -5.8449 | 0.40949 | -2.8124 | -56.8566 | 57.5668 | 88.8053 | 123.1505 | -122.3955 | -91.1743 |  | 0.71327 | 1.0354 | 1.1066 | 0.31528 | 1.1096 | 1.2284 | -16.1966 | -110.6553 | 112.2966 | -20.562 | -120.1212 | 119.6312
Line_1 | 2.1246 | 0.44033 | 0.2203 | 2.1262 | 0.43863 | 0.21838 | 24.5326 | 5.0845 | 2.5438 | 24.5507 | 5.0648 | 2.5216 | 1.1003e-10 | 5.8119 | -2.6333 | 5.9624 | -5.612 | 2.4788 | -1.0326e-10 | -0.47958 | -2.2578 | 4.936 | -0.29689 | 1.8574 | 119.848 | -123.0337 | -97.1996 | -60.1822 | 56.8505 | 82.7865 |  | 0 | 1.1469 | 1.3636 | 0.31528 | 1.1096 | 1.2284 | 0 | -127.7509 | 123.4098 | -20.562 | -120.1212 | 119.6312
Line_2 | 0.60178 | 0.36815 | 0.17313 | 0.60296 | 0.36684 | 0.17155 | 6.9487 | 4.251 | 1.9992 | 6.9623 | 4.2359 | 1.9809 | -1.6457 | 4.979 | -2.2138 | 1.9981 | -4.6988 | 2.238 | -0.32674 | 0.033101 | -1.0581 | 0.90886 | -0.1126 | 0.95501 | 135.0803 | -121.354 | -83.5101 | -45.0208 | 58.5061 | 96.5223 |  | 0.24145 | 1.1713 | 1.2273 | 0.31528 | 1.1096 | 1.2284 | -33.6897 | -120.9731 | 122.0364 | -20.562 | -120.1212 | 119.6312
Line_3 | 1.5512 | 0.073742 | 0.066826 | 1.553 | 0.072121 | 0.065296 | 17.9117 | 0.85149 | 0.77164 | 17.933 | 0.83278 | 0.75398 | 8.7587e-11 | 0.97502 | -0.21478 | 3.6586 | -0.95729 | 0.19148 | -6.683e-11 | 0.055757 | -1.0301 | 2.3159 | -0.18716 | 0.90536 | 114.0113 | -131.0238 | -134.8119 | -66.0234 | 47.9642 | 43.9781 |  | 0 | 1.1469 | 1.3636 | 0.24145 | 1.1713 | 1.2273 | 0 | -127.7509 | 123.4098 | -33.6897 | -120.9731 | 122.0364

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.7134 | 0.80477 | 0.38637 | 2.7127 | 0.80538 | 0.38717 | 31.3322 | 9.2927 | 4.4614 | 31.3237 | 9.2998 | 4.4706 | 16.9533 | -9.4189 | 4.5278 | -7.9605 | 10.3108 | -4.7168 | 14.5615 | -1.9639 | 1.9679 | -5.8449 | 0.40949 | -2.8124 | -56.8566 | 57.5668 | 88.8053 | 123.1505 | -122.3955 | -91.1743 |  | 0.71327 | 1.0354 | 1.1066 | 0.31528 | 1.1096 | 1.2284 | -16.1966 | -110.6553 | 112.2966 | -20.562 | -120.1212 | 119.6312
Line_1 | 2.1246 | 0.44033 | 0.2203 | 2.1262 | 0.43863 | 0.21838 | 24.5326 | 5.0845 | 2.5438 | 24.5507 | 5.0648 | 2.5216 | 1.1003e-10 | 5.8119 | -2.6333 | 5.9624 | -5.612 | 2.4788 | -1.0326e-10 | -0.47958 | -2.2578 | 4.936 | -0.29689 | 1.8574 | 119.848 | -123.0337 | -97.1996 | -60.1822 | 56.8505 | 82.7865 |  | 0 | 1.1469 | 1.3636 | 0.31528 | 1.1096 | 1.2284 | 0 | -127.7509 | 123.4098 | -20.562 | -120.1212 | 119.6312
Line_2 | 0.60178 | 0.36815 | 0.17313 | 0.60296 | 0.36684 | 0.17155 | 6.9487 | 4.251 | 1.9992 | 6.9623 | 4.2359 | 1.9809 | -1.6457 | 4.979 | -2.2138 | 1.9981 | -4.6988 | 2.238 | -0.32674 | 0.033101 | -1.0581 | 0.90886 | -0.1126 | 0.95501 | 135.0803 | -121.354 | -83.5101 | -45.0208 | 58.5061 | 96.5223 |  | 0.24145 | 1.1713 | 1.2273 | 0.31528 | 1.1096 | 1.2284 | -33.6897 | -120.9731 | 122.0364 | -20.562 | -120.1212 | 119.6312
Line_3 | 1.5512 | 0.073742 | 0.066826 | 1.553 | 0.072121 | 0.065296 | 17.9117 | 0.85149 | 0.77164 | 17.933 | 0.83278 | 0.75398 | 8.7587e-11 | 0.97502 | -0.21478 | 3.6586 | -0.95729 | 0.19148 | -6.683e-11 | 0.055757 | -1.0301 | 2.3159 | -0.18716 | 0.90536 | 114.0113 | -131.0238 | -134.8119 | -66.0234 | 47.9642 | 43.9781 |  | 0 | 1.1469 | 1.3636 | 0.24145 | 1.1713 | 1.2273 | 0 | -127.7509 | 123.4098 | -33.6897 | -120.9731 | 122.0364

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66323 | 0.27771 | 0.16796 | 0.66304 | 0.27775 | 0.16806 | 7.6583 | 3.2067 | 1.9395 | 7.6561 | 3.2071 | 1.9406 | 7.224 | -3.1454 | 1.0146 | -6.5801 | 3.3515 | -1.1242 | 3.3657 | -1.5968 | -1.9804 | -2.8639 | 1.5249 | 1.9981 | -29.7442 | 35.3607 | -179.0025 | 150.2673 | -144.5917 | 0.92497 |  | 1.0406 | 1.1001 | 1.1473 | 0.93733 | 1.1481 | 1.1814 | -4.7631 | -117.7248 | 118.123 | -6.2125 | -120.127 | 120.2892
Line_1 | 0.5475 | 0.14915 | 0.079261 | 0.54792 | 0.14891 | 0.079106 | 6.3219 | 1.7223 | 0.91522 | 6.3268 | 1.7194 | 0.91344 | -4.6211 | 1.9014 | -0.66612 | 5.0635 | -1.8274 | 0.61641 | -2.7625 | 0.68958 | 0.89197 | 3.0869 | -0.74666 | -0.88581 | 142.4575 | -142.1598 | -4.9311 | -37.5808 | 37.6483 | 175.4562 |  | 0.85161 | 1.1744 | 1.2164 | 0.93733 | 1.1481 | 1.1814 | -6.6713 | -122.2261 | 121.8212 | -6.2125 | -120.127 | 120.2892
Line_2 | 0.14149 | 0.12919 | 0.089745 | 0.14163 | 0.12909 | 0.089631 | 1.6338 | 1.4917 | 1.0363 | 1.6354 | 1.4905 | 1.035 | -1.482 | 1.5613 | -0.52427 | 1.5166 | -1.5241 | 0.50783 | 0.25515 | 0.78554 | 1.1067 | -0.22308 | -0.7782 | -1.1123 | -177.6676 | -146.9772 | 5.4656 | 2.1552 | 32.8241 | -174.25 |  | 0.92046 | 1.1716 | 1.1817 | 0.93733 | 1.1481 | 1.1814 | -7.4361 | -120.2685 | 120.8136 | -6.2125 | -120.127 | 120.2892
Line_3 | 0.44795 | 0.0233 | 0.018675 | 0.44848 | 0.022828 | 0.018274 | 5.1725 | 0.26904 | 0.21564 | 5.1786 | 0.2636 | 0.21101 | -3.2457 | 0.31249 | -0.11003 | 3.553 | -0.30736 | 0.10312 | -2.9781 | -0.046682 | -0.23811 | 3.1776 | 0.030243 | 0.22703 | 130.7909 | -113.7297 | -123.3776 | -49.2437 | 65.3511 | 55.2412 |  | 0.85161 | 1.1744 | 1.2164 | 0.92046 | 1.1716 | 1.1817 | -6.6713 | -122.2261 | 121.8212 | -7.4361 | -120.2685 | 120.8136

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.66323 | 0.27771 | 0.16796 | 0.66304 | 0.27775 | 0.16806 | 7.6583 | 3.2067 | 1.9395 | 7.6561 | 3.2071 | 1.9406 | 7.224 | -3.1454 | 1.0146 | -6.5801 | 3.3515 | -1.1242 | 3.3657 | -1.5968 | -1.9804 | -2.8639 | 1.5249 | 1.9981 | -29.7442 | 35.3607 | -179.0025 | 150.2673 | -144.5917 | 0.92497 |  | 1.0406 | 1.1001 | 1.1473 | 0.93733 | 1.1481 | 1.1814 | -4.7631 | -117.7248 | 118.123 | -6.2125 | -120.127 | 120.2892
Line_1 | 0.5475 | 0.14915 | 0.079261 | 0.54792 | 0.14891 | 0.079106 | 6.3219 | 1.7223 | 0.91522 | 6.3268 | 1.7194 | 0.91344 | -4.6211 | 1.9014 | -0.66612 | 5.0635 | -1.8274 | 0.61641 | -2.7625 | 0.68958 | 0.89197 | 3.0869 | -0.74666 | -0.88581 | 142.4575 | -142.1598 | -4.9311 | -37.5808 | 37.6483 | 175.4562 |  | 0.85161 | 1.1744 | 1.2164 | 0.93733 | 1.1481 | 1.1814 | -6.6713 | -122.2261 | 121.8212 | -6.2125 | -120.127 | 120.2892
Line_2 | 0.14149 | 0.12919 | 0.089745 | 0.14163 | 0.12909 | 0.089631 | 1.6338 | 1.4917 | 1.0363 | 1.6354 | 1.4905 | 1.035 | -1.482 | 1.5613 | -0.52427 | 1.5166 | -1.5241 | 0.50783 | 0.25515 | 0.78554 | 1.1067 | -0.22308 | -0.7782 | -1.1123 | -177.6676 | -146.9772 | 5.4656 | 2.1552 | 32.8241 | -174.25 |  | 0.92046 | 1.1716 | 1.1817 | 0.93733 | 1.1481 | 1.1814 | -7.4361 | -120.2685 | 120.8136 | -6.2125 | -120.127 | 120.2892
Line_3 | 0.44795 | 0.0233 | 0.018675 | 0.44848 | 0.022828 | 0.018274 | 5.1725 | 0.26904 | 0.21564 | 5.1786 | 0.2636 | 0.21101 | -3.2457 | 0.31249 | -0.11003 | 3.553 | -0.30736 | 0.10312 | -2.9781 | -0.046682 | -0.23811 | 3.1776 | 0.030243 | 0.22703 | 130.7909 | -113.7297 | -123.3776 | -49.2437 | 65.3511 | 55.2412 |  | 0.85161 | 1.1744 | 1.2164 | 0.92046 | 1.1716 | 1.1817 | -6.6713 | -122.2261 | 121.8212 | -7.4361 | -120.2685 | 120.8136

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8944 | 0.71869 | 0.57063 | 1.8938 | 0.71931 | 0.57126 | 21.8743 | 8.2987 | 6.5891 | 21.8675 | 8.3059 | 6.5964 | 12.872 | -6.6225 | 6.2548 | -6.4569 | 7.03 | -6.0785 | 8.9959 | 3.1969 | 1.8588 | -3.5364 | -4.5547 | -2.98 | -50.4234 | 93.2103 | 95.4557 | 129.5842 | -86.7782 | -84.5322 |  | 0.71792 | 0.88613 | 0.99029 | 0.33666 | 1.0085 | 1.0263 | -15.4747 | -112.5577 | 112.0069 | -21.7069 | -119.717 | 121.5843
Line_1 | 1.5135 | 0.40062 | 0.32384 | 1.5149 | 0.39892 | 0.32214 | 17.4764 | 4.626 | 3.7394 | 17.4927 | 4.6063 | 3.7197 | -4.0367e-11 | 4.0051 | -3.3811 | 4.9917 | -4.1031 | 3.2322 | 1.1505e-12 | -2.903 | -2.6286 | 3.1248 | 2.1783 | 2.0312 | 126.2836 | -91.7394 | -90.55 | -53.7532 | 88.2459 | 89.438 |  | 0 | 1.0693 | 1.1453 | 0.33666 | 1.0085 | 1.0263 | 0 | -127.6752 | 127.3133 | -21.7069 | -119.717 | 121.5843
Line_2 | 0.39042 | 0.32506 | 0.2545 | 0.3915 | 0.32375 | 0.25318 | 4.5082 | 3.7535 | 2.9387 | 4.5207 | 3.7384 | 2.9235 | -1.3855 | 3.2601 | -2.6343 | 1.4652 | -2.9269 | 2.8463 | -0.017637 | -2.4639 | -1.0338 | 0.41159 | 2.3764 | 0.9488 | 142.7145 | -80.6102 | -76.829 | -37.3974 | 99.357 | 103.1487 |  | 0.30735 | 1.0887 | 0.96296 | 0.33666 | 1.0085 | 1.0263 | -36.5562 | -117.6906 | 124.5986 | -21.7069 | -119.717 | 121.5843
Line_3 | 1.1436 | 0.10332 | 0.09787 | 1.1453 | 0.1021 | 0.096635 | 13.2057 | 1.1931 | 1.1301 | 13.2247 | 1.1789 | 1.1158 | -3.0444e-11 | 1.2754 | -0.31915 | 3.749 | -1.2557 | 0.30022 | -2.076e-12 | 0.027553 | -1.2543 | 1.5705 | -0.26583 | 1.0317 | 120.7502 | -128.9127 | -128.4111 | -59.285 | 50.3566 | 50.8233 |  | 0 | 1.0693 | 1.1453 | 0.30735 | 1.0887 | 0.96296 | 0 | -127.6752 | 127.3133 | -36.5562 | -117.6906 | 124.5986

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8944 | 0.71869 | 0.57063 | 1.8938 | 0.71931 | 0.57126 | 21.8743 | 8.2987 | 6.5891 | 21.8675 | 8.3059 | 6.5964 | 12.872 | -6.6225 | 6.2548 | -6.4569 | 7.03 | -6.0785 | 8.9959 | 3.1969 | 1.8588 | -3.5364 | -4.5547 | -2.98 | -50.4234 | 93.2103 | 95.4557 | 129.5842 | -86.7782 | -84.5322 |  | 0.71792 | 0.88613 | 0.99029 | 0.33666 | 1.0085 | 1.0263 | -15.4747 | -112.5577 | 112.0069 | -21.7069 | -119.717 | 121.5843
Line_1 | 1.5135 | 0.40062 | 0.32384 | 1.5149 | 0.39892 | 0.32214 | 17.4764 | 4.626 | 3.7394 | 17.4927 | 4.6063 | 3.7197 | -4.0367e-11 | 4.0051 | -3.3811 | 4.9917 | -4.1031 | 3.2322 | 1.1505e-12 | -2.903 | -2.6286 | 3.1248 | 2.1783 | 2.0312 | 126.2836 | -91.7394 | -90.55 | -53.7532 | 88.2459 | 89.438 |  | 0 | 1.0693 | 1.1453 | 0.33666 | 1.0085 | 1.0263 | 0 | -127.6752 | 127.3133 | -21.7069 | -119.717 | 121.5843
Line_2 | 0.39042 | 0.32506 | 0.2545 | 0.3915 | 0.32375 | 0.25318 | 4.5082 | 3.7535 | 2.9387 | 4.5207 | 3.7384 | 2.9235 | -1.3855 | 3.2601 | -2.6343 | 1.4652 | -2.9269 | 2.8463 | -0.017637 | -2.4639 | -1.0338 | 0.41159 | 2.3764 | 0.9488 | 142.7145 | -80.6102 | -76.829 | -37.3974 | 99.357 | 103.1487 |  | 0.30735 | 1.0887 | 0.96296 | 0.33666 | 1.0085 | 1.0263 | -36.5562 | -117.6906 | 124.5986 | -21.7069 | -119.717 | 121.5843
Line_3 | 1.1436 | 0.10332 | 0.09787 | 1.1453 | 0.1021 | 0.096635 | 13.2057 | 1.1931 | 1.1301 | 13.2247 | 1.1789 | 1.1158 | -3.0444e-11 | 1.2754 | -0.31915 | 3.749 | -1.2557 | 0.30022 | -2.076e-12 | 0.027553 | -1.2543 | 1.5705 | -0.26583 | 1.0317 | 120.7502 | -128.9127 | -128.4111 | -59.285 | 50.3566 | 50.8233 |  | 0 | 1.0693 | 1.1453 | 0.30735 | 1.0887 | 0.96296 | 0 | -127.6752 | 127.3133 | -36.5562 | -117.6906 | 124.5986

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59814 | 0.22692 | 0.18017 | 0.59795 | 0.22712 | 0.18037 | 6.9067 | 2.6203 | 2.0805 | 6.9046 | 2.6225 | 2.0828 | 5.4335 | -1.7563 | 2.0697 | -4.793 | 1.7976 | -2.0537 | 3.3409 | 1.7807 | 0.30202 | -2.7953 | -1.9176 | -0.41362 | -36.6719 | 106.9618 | 109.2073 | 143.3358 | -73.0266 | -70.7806 |  | 0.92352 | 0.95453 | 1.0054 | 0.80361 | 1.0022 | 1.0059 | -5.0861 | -118.4334 | 117.5097 | -6.4137 | -119.8762 | 120.6063
Line_1 | 0.47788 | 0.12649 | 0.10225 | 0.47833 | 0.12596 | 0.10171 | 5.5181 | 1.4606 | 1.1807 | 5.5232 | 1.4544 | 1.1745 | -3.1982 | 1.0783 | -1.1463 | 3.6975 | -1.0854 | 1.1272 | -2.1399 | -1.0486 | -0.4138 | 2.4555 | 0.97297 | 0.3536 | 140.0351 | -77.9878 | -76.7985 | -40.0016 | 101.9974 | 103.1895 |  | 0.69736 | 1.0298 | 1.0322 | 0.80361 | 1.0022 | 1.0059 | -6.1787 | -122.1881 | 123.0497 | -6.4137 | -119.8762 | 120.6063
Line_2 | 0.12327 | 0.10264 | 0.080357 | 0.12361 | 0.10222 | 0.079941 | 1.4234 | 1.1851 | 0.92789 | 1.4274 | 1.1804 | 0.92307 | -1.0856 | 0.74672 | -0.90874 | 1.0956 | -0.7122 | 0.92654 | -0.29786 | -0.95642 | -0.06806 | 0.33981 | 0.9446 | 0.060015 | 156.466 | -66.8587 | -63.0775 | -23.6458 | 113.1086 | 116.9003 |  | 0.79083 | 1.0238 | 0.98211 | 0.80361 | 1.0022 | 1.0059 | -8.1908 | -118.8781 | 121.2057 | -6.4137 | -119.8762 | 120.6063
Line_3 | 0.3611 | 0.032624 | 0.030902 | 0.36162 | 0.032238 | 0.030512 | 4.1696 | 0.37671 | 0.35682 | 4.1756 | 0.37225 | 0.35232 | -2.2495 | 0.38501 | -0.19676 | 2.6253 | -0.3806 | 0.19032 | -1.8425 | -0.047458 | -0.31136 | 2.0031 | 0.019855 | 0.28898 | 134.5018 | -115.1612 | -114.6595 | -45.5334 | 64.1081 | 64.5749 |  | 0.69736 | 1.0298 | 1.0322 | 0.79083 | 1.0238 | 0.98211 | -6.1787 | -122.1881 | 123.0497 | -8.1908 | -118.8781 | 121.2057

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.59814 | 0.22692 | 0.18017 | 0.59795 | 0.22712 | 0.18037 | 6.9067 | 2.6203 | 2.0805 | 6.9046 | 2.6225 | 2.0828 | 5.4335 | -1.7563 | 2.0697 | -4.793 | 1.7976 | -2.0537 | 3.3409 | 1.7807 | 0.30202 | -2.7953 | -1.9176 | -0.41362 | -36.6719 | 106.9618 | 109.2073 | 143.3358 | -73.0266 | -70.7806 |  | 0.92352 | 0.95453 | 1.0054 | 0.80361 | 1.0022 | 1.0059 | -5.0861 | -118.4334 | 117.5097 | -6.4137 | -119.8762 | 120.6063
Line_1 | 0.47788 | 0.12649 | 0.10225 | 0.47833 | 0.12596 | 0.10171 | 5.5181 | 1.4606 | 1.1807 | 5.5232 | 1.4544 | 1.1745 | -3.1982 | 1.0783 | -1.1463 | 3.6975 | -1.0854 | 1.1272 | -2.1399 | -1.0486 | -0.4138 | 2.4555 | 0.97297 | 0.3536 | 140.0351 | -77.9878 | -76.7985 | -40.0016 | 101.9974 | 103.1895 |  | 0.69736 | 1.0298 | 1.0322 | 0.80361 | 1.0022 | 1.0059 | -6.1787 | -122.1881 | 123.0497 | -6.4137 | -119.8762 | 120.6063
Line_2 | 0.12327 | 0.10264 | 0.080357 | 0.12361 | 0.10222 | 0.079941 | 1.4234 | 1.1851 | 0.92789 | 1.4274 | 1.1804 | 0.92307 | -1.0856 | 0.74672 | -0.90874 | 1.0956 | -0.7122 | 0.92654 | -0.29786 | -0.95642 | -0.06806 | 0.33981 | 0.9446 | 0.060015 | 156.466 | -66.8587 | -63.0775 | -23.6458 | 113.1086 | 116.9003 |  | 0.79083 | 1.0238 | 0.98211 | 0.80361 | 1.0022 | 1.0059 | -8.1908 | -118.8781 | 121.2057 | -6.4137 | -119.8762 | 120.6063
Line_3 | 0.3611 | 0.032624 | 0.030902 | 0.36162 | 0.032238 | 0.030512 | 4.1696 | 0.37671 | 0.35682 | 4.1756 | 0.37225 | 0.35232 | -2.2495 | 0.38501 | -0.19676 | 2.6253 | -0.3806 | 0.19032 | -1.8425 | -0.047458 | -0.31136 | 2.0031 | 0.019855 | 0.28898 | 134.5018 | -115.1612 | -114.6595 | -45.5334 | 64.1081 | 64.5749 |  | 0.69736 | 1.0298 | 1.0322 | 0.79083 | 1.0238 | 0.98211 | -6.1787 | -122.1881 | 123.0497 | -8.1908 | -118.8781 | 121.2057

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47383 | 3.7968 | 2.7154 | 0.47419 | 3.7966 | 2.7151 | 5.4713 | 43.8414 | 31.3543 | 5.4755 | 43.8398 | 31.3517 | -3.8289 | 27.9689 | -0.66704 | 4.5648 | -12.1499 | 0.046029 | 3.8854 | 9.4347 | 16.1231 | -4.6351 | -3.0343 | -7.5488 | -134.8611 | -175.1712 | 34.0808 | 45.2162 | 4.8396 | -145.9339 |  | 0.99701 | 0.67327 | 0.51466 | 1.1881 | 0.28565 | 0.24078 | -0.28067 | -156.5305 | 126.4499 | -0.22148 | -161.1383 | 124.4155
Line_1 | 0.27014 | 2.8294 | 2.0997 | 0.26893 | 2.8294 | 2.1007 | 3.1194 | 32.671 | 24.2457 | 3.1053 | 32.671 | 24.2573 | 2.8001 | 5.8925e-11 | 6.2189e-11 | -2.5687 | 8.9184 | 0.2522 | -3.0813 | -7.6186e-11 | -3.3061e-11 | 2.6484 | 2.7493 | 5.8353 | 45.9195 | 1.7638 | -143.1486 | -134.3467 | -178.2716 | 36.8903 |  | 1.3347 | 0 | 0 | 1.1881 | 0.28565 | 0.24078 | -1.8172 | 0 | 0 | -0.22148 | -161.1383 | 124.4155
Line_2 | 0.2061 | 0.98357 | 0.62521 | 0.20528 | 0.98348 | 0.62556 | 2.3798 | 11.3573 | 7.2193 | 2.3704 | 11.3562 | 7.2234 | 2.1329 | -2.1581 | 0.13129 | -1.9961 | 3.2314 | -0.29823 | -2.0165 | 0.43701 | -1.5066 | 1.9867 | 0.28493 | 1.7135 | 44.9739 | 13.9064 | -155.5856 | -135.3564 | -166.1773 | 24.5423 |  | 1.2334 | 0.19387 | 0.20948 | 1.1881 | 0.28565 | 0.24078 | 1.5805 | -177.5411 | 119.3949 | -0.22148 | -161.1383 | 124.4155
Line_3 | 0.064637 | 1.879 | 1.4949 | 0.063315 | 1.8793 | 1.496 | 0.74636 | 21.6971 | 17.2615 | 0.73109 | 21.7004 | 17.2748 | 0.62232 | 4.4446e-11 | 4.1988e-11 | -0.61788 | 4.1753 | 0.79269 | -0.77789 | -4.5998e-11 | -2.7409e-11 | 0.65677 | 0.51631 | 3.5308 | 49.5227 | -4.5337 | -138.0086 | -131.6719 | 175.4097 | 42.0482 |  | 1.3347 | 0 | 0 | 1.2334 | 0.19387 | 0.20948 | -1.8172 | 0 | 0 | 1.5805 | -177.5411 | 119.3949

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.47383 | 3.7968 | 2.7154 | 0.47419 | 3.7966 | 2.7151 | 5.4713 | 43.8414 | 31.3543 | 5.4755 | 43.8398 | 31.3517 | -3.8289 | 27.9689 | -0.66704 | 4.5648 | -12.1499 | 0.046029 | 3.8854 | 9.4347 | 16.1231 | -4.6351 | -3.0343 | -7.5488 | -134.8611 | -175.1712 | 34.0808 | 45.2162 | 4.8396 | -145.9339 |  | 0.99701 | 0.67327 | 0.51466 | 1.1881 | 0.28565 | 0.24078 | -0.28067 | -156.5305 | 126.4499 | -0.22148 | -161.1383 | 124.4155
Line_1 | 0.27014 | 2.8294 | 2.0997 | 0.26893 | 2.8294 | 2.1007 | 3.1194 | 32.671 | 24.2457 | 3.1053 | 32.671 | 24.2573 | 2.8001 | 5.8925e-11 | 6.2189e-11 | -2.5687 | 8.9184 | 0.2522 | -3.0813 | -7.6186e-11 | -3.3061e-11 | 2.6484 | 2.7493 | 5.8353 | 45.9195 | 1.7638 | -143.1486 | -134.3467 | -178.2716 | 36.8903 |  | 1.3347 | 0 | 0 | 1.1881 | 0.28565 | 0.24078 | -1.8172 | 0 | 0 | -0.22148 | -161.1383 | 124.4155
Line_2 | 0.2061 | 0.98357 | 0.62521 | 0.20528 | 0.98348 | 0.62556 | 2.3798 | 11.3573 | 7.2193 | 2.3704 | 11.3562 | 7.2234 | 2.1329 | -2.1581 | 0.13129 | -1.9961 | 3.2314 | -0.29823 | -2.0165 | 0.43701 | -1.5066 | 1.9867 | 0.28493 | 1.7135 | 44.9739 | 13.9064 | -155.5856 | -135.3564 | -166.1773 | 24.5423 |  | 1.2334 | 0.19387 | 0.20948 | 1.1881 | 0.28565 | 0.24078 | 1.5805 | -177.5411 | 119.3949 | -0.22148 | -161.1383 | 124.4155
Line_3 | 0.064637 | 1.879 | 1.4949 | 0.063315 | 1.8793 | 1.496 | 0.74636 | 21.6971 | 17.2615 | 0.73109 | 21.7004 | 17.2748 | 0.62232 | 4.4446e-11 | 4.1988e-11 | -0.61788 | 4.1753 | 0.79269 | -0.77789 | -4.5998e-11 | -2.7409e-11 | 0.65677 | 0.51631 | 3.5308 | 49.5227 | -4.5337 | -138.0086 | -131.6719 | 175.4097 | 42.0482 |  | 1.3347 | 0 | 0 | 1.2334 | 0.19387 | 0.20948 | -1.8172 | 0 | 0 | 1.5805 | -177.5411 | 119.3949

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10983 | 0.87339 | 0.60748 | 0.10966 | 0.8734 | 0.60734 | 1.2682 | 10.085 | 7.0146 | 1.2663 | 10.0852 | 7.0129 | -1.3155 | 9.8017 | 4.4074 | 1.3911 | -8.8761 | -4.392 | -0.46877 | 3.8125 | 5.3006 | 0.50152 | -3.6529 | -4.7018 | 160.1511 | -149.1027 | 66.8476 | -19.7689 | 30.912 | -113.1687 |  | 1.1012 | 1.0428 | 0.98275 | 1.1678 | 0.95173 | 0.91746 | -0.23634 | -127.8484 | 117.1045 | 0.056128 | -126.7188 | 113.7823
Line_1 | 0.057956 | 0.67123 | 0.52316 | 0.058159 | 0.67112 | 0.5236 | 0.66921 | 7.7507 | 6.041 | 0.67157 | 7.7495 | 6.046 | 0.80555 | -5.904 | -3.6882 | -0.77307 | 6.4462 | 3.7652 | 0.12668 | -3.5213 | -3.6274 | -0.13191 | 3.5837 | 4.0732 | -9.1389 | 24.2549 | -113.5029 | 170.3725 | -155.7899 | 66.532 |  | 1.2185 | 0.88694 | 0.85633 | 1.1678 | 0.95173 | 0.91746 | -0.20171 | -124.9321 | 111.0206 | 0.056128 | -126.7188 | 113.7823
Line_2 | 0.053055 | 0.22142 | 0.083471 | 0.053404 | 0.22119 | 0.083794 | 0.61262 | 2.5567 | 0.96384 | 0.61666 | 2.5541 | 0.96757 | 0.62062 | -2.3671 | -0.63196 | -0.61804 | 2.4299 | 0.62682 | 0.37489 | -0.044662 | -0.61689 | -0.3696 | 0.069199 | 0.62858 | -30.5335 | 51.7488 | -111.5044 | 149.1757 | -128.3501 | 68.7019 |  | 1.1835 | 0.92602 | 0.91627 | 1.1678 | 0.95173 | 0.91746 | 0.60132 | -127.1703 | 112.8047 | 0.056128 | -126.7188 | 113.7823
Line_3 | 0.021294 | 0.48565 | 0.43959 | 0.020914 | 0.48568 | 0.44004 | 0.24589 | 5.6078 | 5.076 | 0.24149 | 5.6082 | 5.0811 | 0.15984 | -3.6415 | -3.0775 | -0.16072 | 3.9335 | 3.1951 | -0.25342 | -3.3879 | -3.0696 | 0.23634 | 3.3909 | 3.3862 | 57.5566 | 12.1339 | -113.9055 | -123.6155 | -167.9339 | 66.1421 |  | 1.2185 | 0.88694 | 0.85633 | 1.1835 | 0.92602 | 0.91627 | -0.20171 | -124.9321 | 111.0206 | 0.60132 | -127.1703 | 112.8047

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.10983 | 0.87339 | 0.60748 | 0.10966 | 0.8734 | 0.60734 | 1.2682 | 10.085 | 7.0146 | 1.2663 | 10.0852 | 7.0129 | -1.3155 | 9.8017 | 4.4074 | 1.3911 | -8.8761 | -4.392 | -0.46877 | 3.8125 | 5.3006 | 0.50152 | -3.6529 | -4.7018 | 160.1511 | -149.1027 | 66.8476 | -19.7689 | 30.912 | -113.1687 |  | 1.1012 | 1.0428 | 0.98275 | 1.1678 | 0.95173 | 0.91746 | -0.23634 | -127.8484 | 117.1045 | 0.056128 | -126.7188 | 113.7823
Line_1 | 0.057956 | 0.67123 | 0.52316 | 0.058159 | 0.67112 | 0.5236 | 0.66921 | 7.7507 | 6.041 | 0.67157 | 7.7495 | 6.046 | 0.80555 | -5.904 | -3.6882 | -0.77307 | 6.4462 | 3.7652 | 0.12668 | -3.5213 | -3.6274 | -0.13191 | 3.5837 | 4.0732 | -9.1389 | 24.2549 | -113.5029 | 170.3725 | -155.7899 | 66.532 |  | 1.2185 | 0.88694 | 0.85633 | 1.1678 | 0.95173 | 0.91746 | -0.20171 | -124.9321 | 111.0206 | 0.056128 | -126.7188 | 113.7823
Line_2 | 0.053055 | 0.22142 | 0.083471 | 0.053404 | 0.22119 | 0.083794 | 0.61262 | 2.5567 | 0.96384 | 0.61666 | 2.5541 | 0.96757 | 0.62062 | -2.3671 | -0.63196 | -0.61804 | 2.4299 | 0.62682 | 0.37489 | -0.044662 | -0.61689 | -0.3696 | 0.069199 | 0.62858 | -30.5335 | 51.7488 | -111.5044 | 149.1757 | -128.3501 | 68.7019 |  | 1.1835 | 0.92602 | 0.91627 | 1.1678 | 0.95173 | 0.91746 | 0.60132 | -127.1703 | 112.8047 | 0.056128 | -126.7188 | 113.7823
Line_3 | 0.021294 | 0.48565 | 0.43959 | 0.020914 | 0.48568 | 0.44004 | 0.24589 | 5.6078 | 5.076 | 0.24149 | 5.6082 | 5.0811 | 0.15984 | -3.6415 | -3.0775 | -0.16072 | 3.9335 | 3.1951 | -0.25342 | -3.3879 | -3.0696 | 0.23634 | 3.3909 | 3.3862 | 57.5566 | 12.1339 | -113.9055 | -123.6155 | -167.9339 | 66.1421 |  | 1.2185 | 0.88694 | 0.85633 | 1.1835 | 0.92602 | 0.91627 | -0.20171 | -124.9321 | 111.0206 | 0.60132 | -127.1703 | 112.8047

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54514 | 2.8536 | 2.3663 | 0.54564 | 2.8536 | 2.3661 | 6.2948 | 32.9502 | 27.3234 | 6.3005 | 32.95 | 27.3211 | -0.66473 | 24.3988 | 3.5016 | 1.1768 | -10.7003 | -1.7198 | 5.5155 | 3.3222 | 12.577 | -6.4284 | -0.05202 | -6.3698 | -98.1442 | -161.3579 | 40.5286 | 81.8838 | 18.6533 | -139.4841 |  | 0.88254 | 0.74731 | 0.47781 | 1.0373 | 0.32475 | 0.24149 | -1.272 | -153.6041 | 114.9708 | 2.2576 | -161.0682 | 115.4071
Line_1 | 0.312 | 2.1385 | 1.7864 | 0.31058 | 2.1383 | 1.7874 | 3.6027 | 24.6931 | 20.6281 | 3.5862 | 24.6905 | 20.6385 | 0.97774 | -7.3406e-11 | -3.4397e-11 | -0.92748 | 7.9918 | 1.4894 | -4.144 | -4.3883e-11 | -6.3351e-11 | 3.6024 | 0.64969 | 4.7563 | 77.9039 | 14.3239 | -137.2434 | -102.1802 | -165.7158 | 42.7949 |  | 1.1818 | 0 | 0 | 1.0373 | 0.32475 | 0.24149 | 1.1794 | 0 | 0 | 2.2576 | -161.0682 | 115.4071
Line_2 | 0.23792 | 0.73987 | 0.58424 | 0.23687 | 0.73967 | 0.58448 | 2.7473 | 8.5433 | 6.7462 | 2.7351 | 8.541 | 6.749 | 0.45965 | -1.7645 | -0.20861 | -0.24933 | 2.7085 | 0.23033 | -2.8528 | 1.2505 | -1.6581 | 2.826 | -0.59767 | 1.6135 | 87.3298 | 31.464 | -146.5799 | -92.7844 | -148.6244 | 33.5313 |  | 1.0518 | 0.25315 | 0.24772 | 1.0373 | 0.32475 | 0.24149 | 6.4828 | 176.1383 | 116.2493 | 2.2576 | -161.0682 | 115.4071
Line_3 | 0.086814 | 1.4477 | 1.2134 | 0.085814 | 1.4479 | 1.2144 | 1.0024 | 16.7171 | 14.0116 | 0.9909 | 16.719 | 14.0222 | 0.75588 | -4.467e-11 | -2.6633e-11 | -0.74655 | 4.1745 | 1.2458 | -0.91226 | -3.6835e-11 | -4.1088e-11 | 0.72722 | -0.69754 | 3.2424 | 51.5351 | 5.6863 | -132.7926 | -129.2687 | -174.3755 | 47.2676 |  | 1.1818 | 0 | 0 | 1.0518 | 0.25315 | 0.24772 | 1.1794 | 0 | 0 | 6.4828 | 176.1383 | 116.2493

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54514 | 2.8536 | 2.3663 | 0.54564 | 2.8536 | 2.3661 | 6.2948 | 32.9502 | 27.3234 | 6.3005 | 32.95 | 27.3211 | -0.66473 | 24.3988 | 3.5016 | 1.1768 | -10.7003 | -1.7198 | 5.5155 | 3.3222 | 12.577 | -6.4284 | -0.05202 | -6.3698 | -98.1442 | -161.3579 | 40.5286 | 81.8838 | 18.6533 | -139.4841 |  | 0.88254 | 0.74731 | 0.47781 | 1.0373 | 0.32475 | 0.24149 | -1.272 | -153.6041 | 114.9708 | 2.2576 | -161.0682 | 115.4071
Line_1 | 0.312 | 2.1385 | 1.7864 | 0.31058 | 2.1383 | 1.7874 | 3.6027 | 24.6931 | 20.6281 | 3.5862 | 24.6905 | 20.6385 | 0.97774 | -7.3406e-11 | -3.4397e-11 | -0.92748 | 7.9918 | 1.4894 | -4.144 | -4.3883e-11 | -6.3351e-11 | 3.6024 | 0.64969 | 4.7563 | 77.9039 | 14.3239 | -137.2434 | -102.1802 | -165.7158 | 42.7949 |  | 1.1818 | 0 | 0 | 1.0373 | 0.32475 | 0.24149 | 1.1794 | 0 | 0 | 2.2576 | -161.0682 | 115.4071
Line_2 | 0.23792 | 0.73987 | 0.58424 | 0.23687 | 0.73967 | 0.58448 | 2.7473 | 8.5433 | 6.7462 | 2.7351 | 8.541 | 6.749 | 0.45965 | -1.7645 | -0.20861 | -0.24933 | 2.7085 | 0.23033 | -2.8528 | 1.2505 | -1.6581 | 2.826 | -0.59767 | 1.6135 | 87.3298 | 31.464 | -146.5799 | -92.7844 | -148.6244 | 33.5313 |  | 1.0518 | 0.25315 | 0.24772 | 1.0373 | 0.32475 | 0.24149 | 6.4828 | 176.1383 | 116.2493 | 2.2576 | -161.0682 | 115.4071
Line_3 | 0.086814 | 1.4477 | 1.2134 | 0.085814 | 1.4479 | 1.2144 | 1.0024 | 16.7171 | 14.0116 | 0.9909 | 16.719 | 14.0222 | 0.75588 | -4.467e-11 | -2.6633e-11 | -0.74655 | 4.1745 | 1.2458 | -0.91226 | -3.6835e-11 | -4.1088e-11 | 0.72722 | -0.69754 | 3.2424 | 51.5351 | 5.6863 | -132.7926 | -129.2687 | -174.3755 | 47.2676 |  | 1.1818 | 0 | 0 | 1.0518 | 0.25315 | 0.24772 | 1.1794 | 0 | 0 | 6.4828 | 176.1383 | 116.2493

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19111 | 0.79617 | 0.65666 | 0.19129 | 0.79617 | 0.65657 | 2.2068 | 9.1934 | 7.5825 | 2.2088 | 9.1934 | 7.5814 | 0.24109 | 8.0396 | 3.6736 | -0.18711 | -6.8803 | -3.5547 | 2.1066 | 3.0227 | 5.4532 | -2.2183 | -2.8132 | -4.8679 | -84.4371 | -148.8733 | 60.2016 | 95.5873 | 31.1405 | -119.8129 |  | 0.96083 | 0.93426 | 0.86715 | 1.0079 | 0.80854 | 0.79506 | -0.96578 | -128.2683 | 116.2348 | 0.76603 | -126.6211 | 114.0489
Line_1 | 0.10887 | 0.59617 | 0.50451 | 0.10837 | 0.59608 | 0.50488 | 1.2571 | 6.8839 | 5.8256 | 1.2514 | 6.8829 | 5.8299 | -0.0098004 | -4.2756 | -2.7633 | 0.010922 | 4.9499 | 2.9064 | -1.3291 | -2.5346 | -3.158 | 1.2612 | 2.5433 | 3.6107 | 91.3311 | 26.2333 | -117.1589 | -88.7378 | -153.8153 | 62.881 |  | 1.0573 | 0.72203 | 0.72032 | 1.0079 | 0.80854 | 0.79506 | 0.90868 | -123.1068 | 111.6553 | 0.76603 | -126.6211 | 114.0489
Line_2 | 0.083996 | 0.20887 | 0.15395 | 0.083623 | 0.20877 | 0.15408 | 0.9699 | 2.4118 | 1.7776 | 0.9656 | 2.4107 | 1.7792 | -0.15275 | -1.8478 | -0.65276 | 0.17619 | 1.9304 | 0.64831 | -0.96381 | -0.2117 | -1.2621 | 0.95714 | 0.26989 | 1.2572 | 101.2914 | 45.5258 | -128.8118 | -78.8039 | -134.5801 | 51.3276 |  | 1.0061 | 0.77116 | 0.79932 | 1.0079 | 0.80854 | 0.79506 | 2.2859 | -127.9384 | 113.8394 | 0.76603 | -126.6211 | 114.0489
Line_3 | 0.029996 | 0.40487 | 0.35499 | 0.029648 | 0.40492 | 0.35538 | 0.34636 | 4.675 | 4.0991 | 0.34234 | 4.6756 | 4.1036 | 0.17341 | -2.5689 | -2.1304 | -0.17445 | 2.9286 | 2.2808 | -0.32255 | -2.1897 | -2.0445 | 0.29699 | 2.1034 | 2.3573 | 62.6459 | 16.4502 | -112.1659 | -118.1437 | -163.6256 | 67.8946 |  | 1.0573 | 0.72203 | 0.72032 | 1.0061 | 0.77116 | 0.79932 | 0.90868 | -123.1068 | 111.6553 | 2.2859 | -127.9384 | 113.8394

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19111 | 0.79617 | 0.65666 | 0.19129 | 0.79617 | 0.65657 | 2.2068 | 9.1934 | 7.5825 | 2.2088 | 9.1934 | 7.5814 | 0.24109 | 8.0396 | 3.6736 | -0.18711 | -6.8803 | -3.5547 | 2.1066 | 3.0227 | 5.4532 | -2.2183 | -2.8132 | -4.8679 | -84.4371 | -148.8733 | 60.2016 | 95.5873 | 31.1405 | -119.8129 |  | 0.96083 | 0.93426 | 0.86715 | 1.0079 | 0.80854 | 0.79506 | -0.96578 | -128.2683 | 116.2348 | 0.76603 | -126.6211 | 114.0489
Line_1 | 0.10887 | 0.59617 | 0.50451 | 0.10837 | 0.59608 | 0.50488 | 1.2571 | 6.8839 | 5.8256 | 1.2514 | 6.8829 | 5.8299 | -0.0098004 | -4.2756 | -2.7633 | 0.010922 | 4.9499 | 2.9064 | -1.3291 | -2.5346 | -3.158 | 1.2612 | 2.5433 | 3.6107 | 91.3311 | 26.2333 | -117.1589 | -88.7378 | -153.8153 | 62.881 |  | 1.0573 | 0.72203 | 0.72032 | 1.0079 | 0.80854 | 0.79506 | 0.90868 | -123.1068 | 111.6553 | 0.76603 | -126.6211 | 114.0489
Line_2 | 0.083996 | 0.20887 | 0.15395 | 0.083623 | 0.20877 | 0.15408 | 0.9699 | 2.4118 | 1.7776 | 0.9656 | 2.4107 | 1.7792 | -0.15275 | -1.8478 | -0.65276 | 0.17619 | 1.9304 | 0.64831 | -0.96381 | -0.2117 | -1.2621 | 0.95714 | 0.26989 | 1.2572 | 101.2914 | 45.5258 | -128.8118 | -78.8039 | -134.5801 | 51.3276 |  | 1.0061 | 0.77116 | 0.79932 | 1.0079 | 0.80854 | 0.79506 | 2.2859 | -127.9384 | 113.8394 | 0.76603 | -126.6211 | 114.0489
Line_3 | 0.029996 | 0.40487 | 0.35499 | 0.029648 | 0.40492 | 0.35538 | 0.34636 | 4.675 | 4.0991 | 0.34234 | 4.6756 | 4.1036 | 0.17341 | -2.5689 | -2.1304 | -0.17445 | 2.9286 | 2.2808 | -0.32255 | -2.1897 | -2.0445 | 0.29699 | 2.1034 | 2.3573 | 62.6459 | 16.4502 | -112.1659 | -118.1437 | -163.6256 | 67.8946 |  | 1.0573 | 0.72203 | 0.72032 | 1.0061 | 0.77116 | 0.79932 | 0.90868 | -123.1068 | 111.6553 | 2.2859 | -127.9384 | 113.8394