## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.447 | 1.447 | 0 | 0 | 50.1248 | 50.1248 | -0.40169 | 3.6679 | -11.7498 | 15.4558 | 104.9445 | -75.0555 | 0.23455 | 0.31691 | 12.9865 | 1.5941
Line_1 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_2 | 0.72349 | 0.72349 | 0 | 0 | 25.0624 | 25.0624 | 2.6505 | -1.834 | 8.6544 | -7.7279 | -75.0555 | 104.9445 | 0.36114 | 0.31691 | -2.0835 | 1.5941
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.36114 | 0.36114 | -2.0835 | -2.0835

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.046 | 1.046 | 0 | 0 | 36.2336 | 36.2336 | -11.7882 | 13.495 | -15.827 | 17.7635 | 114.8595 | -65.1405 | 0.54465 | 0.61568 | -11.82 | -12.3646
Line_1 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_2 | 0.52299 | 0.52299 | 0 | 0 | 18.1168 | 18.1168 | 7.1742 | -6.7475 | 9.3658 | -8.8817 | -65.1405 | 114.8595 | 0.65121 | 0.61568 | -12.5924 | -12.3646
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.65121 | 0.65121 | -12.5924 | -12.5924

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.1349 | 1.1349 | 0 | 0 | 39.315 | 39.315 | -0.25349 | 4.1115 | -7.4149 | 9.6948 | 110.5969 | -69.4031 | 0.18871 | 0.26785 | 18.6389 | -2.3846
Line_1 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_2 | 0.56746 | 0.56746 | 0 | 0 | 19.6575 | 19.6575 | 3.0202 | -2.0557 | 5.4173 | -4.8474 | -69.4031 | 110.5969 | 0.31552 | 0.26785 | -8.5434 | -2.3846
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.31552 | 0.31552 | -8.5434 | -8.5434

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.80144 | 0.80144 | 0 | 0 | 27.7627 | 27.7627 | -8.3733 | 10.2972 | -8.6145 | 9.7514 | 123.0569 | -56.9431 | 0.43272 | 0.51082 | -11.1297 | -13.5025
Line_1 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_2 | 0.40072 | 0.40072 | 0 | 0 | 13.8814 | 13.8814 | 5.6295 | -5.1486 | 5.1599 | -4.8757 | -56.9431 | 123.0569 | 0.55013 | 0.51082 | -14.4354 | -13.5025
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.55013 | 0.55013 | -14.4354 | -14.4354

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6172e-15 | 2.3081e-15 | -7.7989e-15 | -5.6172e-15 | 1.1157e-14 | -1.0524e-14 | -1.032e-16 | 1.0397e-14 | 1.0712e-14 | -1.032e-16 | -8.2113e-17 | 5.4501e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.30846 | 1.2664 | 1.1621 | 0.30846 | 1.2664 | 1.1621 | 3.5618 | 14.6226 | 13.4184 | 3.5618 | 14.6226 | 13.4184 | -1.9561 | -8.212 | 7.0481 | 2.0056 | 9.0459 | -6.3459 | -3.6202 | -2.5682 | -4.6789 | 3.6764 | 3.5143 | 5.4756 | 119.7791 | 3.2941 | -162.962 | -60.2209 | -176.7059 | 17.038 | 1.1553 | 0.58842 | 0.63046 | 1.1758 | 0.66367 | 0.62464 | 1.3952 | -159.3397 | 163.46 | 1.1647 | -155.4748 | 156.2486
Line_1 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_2 | 0.15423 | 0.63318 | 0.58103 | 0.15423 | 0.63318 | 0.58103 | 1.7809 | 7.3113 | 6.7092 | 1.7809 | 7.3113 | 6.7092 | 1.0152 | 4.7315 | -2.9974 | -1.0028 | -4.523 | 3.173 | 1.8522 | 1.9937 | 2.937 | -1.8382 | -1.7572 | -2.7378 | -60.2209 | -176.7059 | 17.038 | 119.7791 | 3.2941 | -162.962 | 1.186 | 0.70225 | 0.62548 | 1.1758 | 0.66367 | 0.62464 | 1.0525 | -153.8566 | 152.6214 | 1.1647 | -155.4748 | 156.2486
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.6172e-15 | 2.3081e-15 | -7.7989e-15 | -5.6172e-15 | 1.1157e-14 | -1.0524e-14 | -1.032e-16 | 1.0397e-14 | 1.0712e-14 | -1.032e-16 | -8.2113e-17 | 5.4501e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.186 | 0.70225 | 0.62548 | 1.186 | 0.70225 | 0.62548 | 1.0525 | -153.8566 | 152.6214 | 1.0525 | -153.8566 | 152.6214

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.501e-15 | 1.3189e-14 | 3.6667e-15 | -2.8324e-15 | -1.2128e-14 | -8.5764e-15 | -5.6648e-15 | 1.3644e-15 | 1.3072e-14 | 2.7505e-15 | -3.032e-15 | -4.1433e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28034 | 1.0551 | 0.99862 | 0.28034 | 1.0551 | 0.99862 | 3.2371 | 12.1835 | 11.5311 | 3.2371 | 12.1835 | 11.5311 | -1.6769 | -8.4393 | 3.7435 | 1.7178 | 9.0182 | -3.2249 | -3.3271 | -3.1078 | -5.8862 | 3.3735 | 3.7647 | 6.4745 | 117.9411 | 8.7332 | -155.894 | -62.0589 | -171.2668 | 24.106 | 1.151 | 0.73816 | 0.60495 | 1.1695 | 0.80211 | 0.62728 | 1.1923 | -151.0501 | 146.5614 | 0.95582 | -148.6085 | 140.5834
Line_1 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_2 | 0.14017 | 0.52756 | 0.49931 | 0.14017 | 0.52756 | 0.49931 | 1.6185 | 6.0917 | 5.7655 | 1.6185 | 6.0917 | 5.7655 | 0.86911 | 4.6538 | -1.4828 | -0.85889 | -4.5091 | 1.6124 | 1.6983 | 2.0466 | 3.3844 | -1.6867 | -1.8823 | -3.2373 | -62.0589 | -171.2668 | 24.106 | 117.9411 | 8.7332 | -155.894 | 1.1787 | 0.83456 | 0.64087 | 1.1695 | 0.80211 | 0.62728 | 0.84037 | -147.529 | 137.7659 | 0.95582 | -148.6085 | 140.5834
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.501e-15 | 1.3189e-14 | 3.6667e-15 | -2.8324e-15 | -1.2128e-14 | -8.5764e-15 | -5.6648e-15 | 1.3644e-15 | 1.3072e-14 | 2.7505e-15 | -3.032e-15 | -4.1433e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1787 | 0.83456 | 0.64087 | 1.1787 | 0.83456 | 0.64087 | 0.84037 | -147.529 | 137.7659 | 0.84037 | -147.529 | 137.7659

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0518e-15 | -1.2814e-15 | -2.1013e-15 | -1.0518e-15 | -1.2003e-15 | 4.3546e-15 | 4.8651e-15 | 2.7251e-15 | 1.1266e-15 | -4.8651e-15 | 6.0909e-15 | 3.076e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1186 | 1.0008 | 0.88844 | 0.1186 | 1.0008 | 0.88844 | 1.3695 | 11.5565 | 10.2588 | 1.3695 | 11.5565 | 10.2588 | -1.3678 | -5.6952 | 4.8942 | 1.3819 | 6.6952 | -4.1062 | -0.12912 | -0.597 | -2.8907 | 0.13742 | 1.188 | 3.3564 | 176.0168 | 13.5347 | -164.1624 | -3.9832 | -166.4653 | 15.8376 | 1.0032 | 0.49551 | 0.55408 | 1.014 | 0.5884 | 0.51696 | 1.4095 | -160.4812 | 165.2701 | 1.696 | -156.4038 | 156.575
Line_1 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_2 | 0.059301 | 0.50041 | 0.44422 | 0.059301 | 0.50041 | 0.44422 | 0.68475 | 5.7782 | 5.1294 | 0.68475 | 5.7782 | 5.1294 | 0.69444 | 3.5976 | -1.8561 | -0.69093 | -3.3476 | 2.0531 | 0.070786 | 0.74173 | 1.7946 | -0.068711 | -0.59398 | -1.6782 | -3.9832 | -166.4653 | 15.8376 | 176.0168 | 13.5347 | -164.1624 | 1.0194 | 0.63571 | 0.50334 | 1.014 | 0.5884 | 0.51696 | 1.8369 | -154.8158 | 151.802 | 1.696 | -156.4038 | 156.575
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0518e-15 | -1.2814e-15 | -2.1013e-15 | -1.0518e-15 | -1.2003e-15 | 4.3546e-15 | 4.8651e-15 | 2.7251e-15 | 1.1266e-15 | -4.8651e-15 | 6.0909e-15 | 3.076e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0194 | 0.63571 | 0.50334 | 1.0194 | 0.63571 | 0.50334 | 1.8369 | -154.8158 | 151.802 | 1.8369 | -154.8158 | 151.802

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6645e-15 | 5.2647e-15 | -1.3553e-15 | -4.8631e-15 | 8.5845e-17 | 2.4289e-15 | -2.2941e-15 | -6.9573e-15 | -8.8356e-15 | 2.2597e-15 | 8.1897e-15 | 4.497e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.09881 | 0.8338 | 0.74017 | 0.09881 | 0.8338 | 0.74017 | 1.141 | 9.6279 | 8.5468 | 1.141 | 9.6279 | 8.5468 | -1.1401 | -5.8983 | 2.6683 | 1.1499 | 6.5925 | -2.1213 | 0.04346 | -0.67312 | -3.5888 | -0.0377 | 1.0833 | 3.9121 | -176.6309 | 20.887 | -156.81 | 3.3691 | -159.113 | 23.19 | 0.99998 | 0.6166 | 0.52325 | 1.0083 | 0.69391 | 0.52069 | 1.1861 | -152.6026 | 149.8211 | 1.4913 | -149.7813 | 141.6591
Line_1 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_2 | 0.049405 | 0.4169 | 0.37009 | 0.049405 | 0.4169 | 0.37009 | 0.57048 | 4.814 | 4.2734 | 0.57048 | 4.814 | 4.2734 | 0.57737 | 3.4698 | -0.92392 | -0.57493 | -3.2962 | 1.0607 | -0.01741 | 0.6442 | 2.0368 | 0.01885 | -0.54165 | -1.956 | 3.3691 | -159.113 | 23.19 | -176.6309 | 20.887 | -156.81 | 1.0125 | 0.73309 | 0.52338 | 1.0083 | 0.69391 | 0.52069 | 1.642 | -148.5952 | 137.5894 | 1.4913 | -149.7813 | 141.6591
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.6645e-15 | 5.2647e-15 | -1.3553e-15 | -4.8631e-15 | 8.5845e-17 | 2.4289e-15 | -2.2941e-15 | -6.9573e-15 | -8.8356e-15 | 2.2597e-15 | 8.1897e-15 | 4.497e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0125 | 0.73309 | 0.52338 | 1.0125 | 0.73309 | 0.52338 | 1.642 | -148.5952 | 137.5894 | 1.642 | -148.5952 | 137.5894

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99867 | 0.50227 | 0.60385 | 0.99867 | 0.50227 | 0.60385 | 11.5316 | 5.7998 | 6.9727 | 11.5316 | 5.7998 | 6.9727 | -0.77439 | 3.7444 | -6.2218 | 1.293 | -3.6132 | 6.4114 | -6.1818 | -4.7329 | -3.5604 | 6.7702 | 4.8818 | 3.7756 | 99.4751 | -52.4275 | -103.588 | -80.5249 | 127.5725 | 76.412 |  | 0.54026 | 1.0406 | 1.0281 | 0.59771 | 1.0472 | 1.0671 | 2.3349 | -104.0785 | 106.1923 | -1.3373 | -105.9206 | 106.905
Line_1 | 0.49933 | 0.25114 | 0.30193 | 0.49933 | 0.25114 | 0.30193 | 5.7658 | 2.8999 | 3.4863 | 5.7658 | 2.8999 | 3.4863 | 0.77616 | -1.7738 | 3.2531 | -0.6465 | 1.8066 | -3.2057 | 3.5322 | 2.4781 | 1.9416 | -3.3851 | -2.4409 | -1.8878 | -80.5249 | 127.5725 | 76.412 | 99.4751 | -52.4275 | -103.588 |  | 0.62723 | 1.0509 | 1.0867 | 0.59771 | 1.0472 | 1.0671 | -2.9179 | -106.8325 | 107.2421 | -1.3373 | -105.9206 | 106.905
Line_2 | 0.49933 | 0.25114 | 0.30193 | 0.49933 | 0.25114 | 0.30193 | 5.7658 | 2.8999 | 3.4863 | 5.7658 | 2.8999 | 3.4863 | 0.77616 | -1.7738 | 3.2531 | -0.6465 | 1.8066 | -3.2057 | 3.5322 | 2.4781 | 1.9416 | -3.3851 | -2.4409 | -1.8878 | -80.5249 | 127.5725 | 76.412 | 99.4751 | -52.4275 | -103.588 |  | 0.62723 | 1.0509 | 1.0867 | 0.59771 | 1.0472 | 1.0671 | -2.9179 | -106.8325 | 107.2421 | -1.3373 | -105.9206 | 106.905
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1505e-14 | -2.2012e-16 | -8.8999e-15 | 1.2474e-14 | -2.8831e-15 | 1.6274e-14 | -6.8511e-15 | 7.8681e-15 | 2.6275e-15 | 1.1264e-14 | -9.5297e-15 | -3.3885e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62723 | 1.0509 | 1.0867 | 0.62723 | 1.0509 | 1.0867 | -2.9179 | -106.8325 | 107.2421 | -2.9179 | -106.8325 | 107.2421

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.99867 | 0.50227 | 0.60385 | 0.99867 | 0.50227 | 0.60385 | 11.5316 | 5.7998 | 6.9727 | 11.5316 | 5.7998 | 6.9727 | -0.77439 | 3.7444 | -6.2218 | 1.293 | -3.6132 | 6.4114 | -6.1818 | -4.7329 | -3.5604 | 6.7702 | 4.8818 | 3.7756 | 99.4751 | -52.4275 | -103.588 | -80.5249 | 127.5725 | 76.412 |  | 0.54026 | 1.0406 | 1.0281 | 0.59771 | 1.0472 | 1.0671 | 2.3349 | -104.0785 | 106.1923 | -1.3373 | -105.9206 | 106.905
Line_1 | 0.49933 | 0.25114 | 0.30193 | 0.49933 | 0.25114 | 0.30193 | 5.7658 | 2.8999 | 3.4863 | 5.7658 | 2.8999 | 3.4863 | 0.77616 | -1.7738 | 3.2531 | -0.6465 | 1.8066 | -3.2057 | 3.5322 | 2.4781 | 1.9416 | -3.3851 | -2.4409 | -1.8878 | -80.5249 | 127.5725 | 76.412 | 99.4751 | -52.4275 | -103.588 |  | 0.62723 | 1.0509 | 1.0867 | 0.59771 | 1.0472 | 1.0671 | -2.9179 | -106.8325 | 107.2421 | -1.3373 | -105.9206 | 106.905
Line_2 | 0.49933 | 0.25114 | 0.30193 | 0.49933 | 0.25114 | 0.30193 | 5.7658 | 2.8999 | 3.4863 | 5.7658 | 2.8999 | 3.4863 | 0.77616 | -1.7738 | 3.2531 | -0.6465 | 1.8066 | -3.2057 | 3.5322 | 2.4781 | 1.9416 | -3.3851 | -2.4409 | -1.8878 | -80.5249 | 127.5725 | 76.412 | 99.4751 | -52.4275 | -103.588 |  | 0.62723 | 1.0509 | 1.0867 | 0.59771 | 1.0472 | 1.0671 | -2.9179 | -106.8325 | 107.2421 | -1.3373 | -105.9206 | 106.905
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1505e-14 | -2.2012e-16 | -8.8999e-15 | 1.2474e-14 | -2.8831e-15 | 1.6274e-14 | -6.8511e-15 | 7.8681e-15 | 2.6275e-15 | 1.1264e-14 | -9.5297e-15 | -3.3885e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.62723 | 1.0509 | 1.0867 | 0.62723 | 1.0509 | 1.0867 | -2.9179 | -106.8325 | 107.2421 | -2.9179 | -106.8325 | 107.2421

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75092 | 0.43209 | 0.43756 | 0.75092 | 0.43209 | 0.43756 | 8.6709 | 4.9894 | 5.0525 | 8.6709 | 4.9894 | 5.0525 | -2.7038 | 1.7825 | -4.7325 | 2.997 | -1.6854 | 4.8321 | -5.8734 | -4.7592 | -2.9566 | 6.2061 | 4.8693 | 3.0696 | 108.3819 | -41.115 | -101.7001 | -71.6181 | 138.885 | 78.2999 |  | 0.7457 | 1.0186 | 1.1044 | 0.79483 | 1.0327 | 1.133 | -6.3373 | -110.582 | 110.2946 | -7.395 | -112.0227 | 110.7255
Line_1 | 0.37546 | 0.21605 | 0.21878 | 0.37546 | 0.21605 | 0.21878 | 4.3354 | 2.4947 | 2.5263 | 4.3354 | 2.4947 | 2.5263 | 1.5718 | -0.81844 | 2.4409 | -1.4985 | 0.84271 | -2.416 | 3.1862 | 2.4622 | 1.563 | -3.103 | -2.4347 | -1.5348 | -71.6181 | 138.885 | 78.2999 | 108.3819 | -41.115 | -101.7001 |  | 0.81949 | 1.0401 | 1.1473 | 0.79483 | 1.0327 | 1.133 | -7.8763 | -112.7281 | 110.9329 | -7.395 | -112.0227 | 110.7255
Line_2 | 0.37546 | 0.21605 | 0.21878 | 0.37546 | 0.21605 | 0.21878 | 4.3354 | 2.4947 | 2.5263 | 4.3354 | 2.4947 | 2.5263 | 1.5718 | -0.81844 | 2.4409 | -1.4985 | 0.84271 | -2.416 | 3.1862 | 2.4622 | 1.563 | -3.103 | -2.4347 | -1.5348 | -71.6181 | 138.885 | 78.2999 | 108.3819 | -41.115 | -101.7001 |  | 0.81949 | 1.0401 | 1.1473 | 0.79483 | 1.0327 | 1.133 | -7.8763 | -112.7281 | 110.9329 | -7.395 | -112.0227 | 110.7255
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0473e-15 | -2.4564e-15 | -1.9417e-15 | -1.1247e-15 | -4.8358e-15 | 2.5381e-15 | -6.2998e-15 | 3.6997e-15 | 5.0762e-15 | 6.0338e-15 | -1.9805e-15 | 9.7087e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.81949 | 1.0401 | 1.1473 | 0.81949 | 1.0401 | 1.1473 | -7.8763 | -112.7281 | 110.9329 | -7.8763 | -112.7281 | 110.9329

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.75092 | 0.43209 | 0.43756 | 0.75092 | 0.43209 | 0.43756 | 8.6709 | 4.9894 | 5.0525 | 8.6709 | 4.9894 | 5.0525 | -2.7038 | 1.7825 | -4.7325 | 2.997 | -1.6854 | 4.8321 | -5.8734 | -4.7592 | -2.9566 | 6.2061 | 4.8693 | 3.0696 | 108.3819 | -41.115 | -101.7001 | -71.6181 | 138.885 | 78.2999 |  | 0.7457 | 1.0186 | 1.1044 | 0.79483 | 1.0327 | 1.133 | -6.3373 | -110.582 | 110.2946 | -7.395 | -112.0227 | 110.7255
Line_1 | 0.37546 | 0.21605 | 0.21878 | 0.37546 | 0.21605 | 0.21878 | 4.3354 | 2.4947 | 2.5263 | 4.3354 | 2.4947 | 2.5263 | 1.5718 | -0.81844 | 2.4409 | -1.4985 | 0.84271 | -2.416 | 3.1862 | 2.4622 | 1.563 | -3.103 | -2.4347 | -1.5348 | -71.6181 | 138.885 | 78.2999 | 108.3819 | -41.115 | -101.7001 |  | 0.81949 | 1.0401 | 1.1473 | 0.79483 | 1.0327 | 1.133 | -7.8763 | -112.7281 | 110.9329 | -7.395 | -112.0227 | 110.7255
Line_2 | 0.37546 | 0.21605 | 0.21878 | 0.37546 | 0.21605 | 0.21878 | 4.3354 | 2.4947 | 2.5263 | 4.3354 | 2.4947 | 2.5263 | 1.5718 | -0.81844 | 2.4409 | -1.4985 | 0.84271 | -2.416 | 3.1862 | 2.4622 | 1.563 | -3.103 | -2.4347 | -1.5348 | -71.6181 | 138.885 | 78.2999 | 108.3819 | -41.115 | -101.7001 |  | 0.81949 | 1.0401 | 1.1473 | 0.79483 | 1.0327 | 1.133 | -7.8763 | -112.7281 | 110.9329 | -7.395 | -112.0227 | 110.7255
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.0473e-15 | -2.4564e-15 | -1.9417e-15 | -1.1247e-15 | -4.8358e-15 | 2.5381e-15 | -6.2998e-15 | 3.6997e-15 | 5.0762e-15 | 6.0338e-15 | -1.9805e-15 | 9.7087e-16 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.81949 | 1.0401 | 1.1473 | 0.81949 | 1.0401 | 1.1473 | -7.8763 | -112.7281 | 110.9329 | -7.8763 | -112.7281 | 110.9329

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71589 | 0.29483 | 0.4224 | 0.71589 | 0.29483 | 0.4224 | 8.2664 | 3.4044 | 4.8775 | 8.2664 | 3.4044 | 4.8775 | -0.73111 | 2.6077 | -4.3193 | 1.2428 | -2.5209 | 4.4975 | -3.7364 | -1.6564 | -0.33064 | 4.0388 | 1.7077 | 0.43591 | 104.4801 | -71.3365 | -78.4385 | -75.5199 | 108.6635 | 101.5615 |  | 0.46057 | 0.90745 | 0.88816 | 0.51118 | 0.8944 | 0.92642 | 3.4087 | -103.7606 | 105.9389 | -2.6239 | -105.451 | 107.0975
Line_1 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 |  | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975
Line_2 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 |  | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1935e-15 | 2.3637e-15 | -1.0672e-15 | 3.4625e-15 | -3.8166e-16 | -2.8133e-15 | 3.0009e-15 | 8.0756e-15 | -3.394e-16 | -4.1559e-15 | -3.1761e-15 | 1.4557e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.53831 | 0.88817 | 0.94568 | 0.53831 | 0.88817 | 0.94568 | -5.2007 | -106.3145 | 107.6415 | -5.2007 | -106.3145 | 107.6415

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.71589 | 0.29483 | 0.4224 | 0.71589 | 0.29483 | 0.4224 | 8.2664 | 3.4044 | 4.8775 | 8.2664 | 3.4044 | 4.8775 | -0.73111 | 2.6077 | -4.3193 | 1.2428 | -2.5209 | 4.4975 | -3.7364 | -1.6564 | -0.33064 | 4.0388 | 1.7077 | 0.43591 | 104.4801 | -71.3365 | -78.4385 | -75.5199 | 108.6635 | 101.5615 |  | 0.46057 | 0.90745 | 0.88816 | 0.51118 | 0.8944 | 0.92642 | 3.4087 | -103.7606 | 105.9389 | -2.6239 | -105.451 | 107.0975
Line_1 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 |  | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975
Line_2 | 0.35795 | 0.14741 | 0.2112 | 0.35795 | 0.14741 | 0.2112 | 4.1332 | 1.7022 | 2.4387 | 4.1332 | 1.7022 | 2.4387 | 0.74932 | -1.2388 | 2.2933 | -0.6214 | 1.2605 | -2.2487 | 2.095 | 0.86668 | 0.24427 | -2.0194 | -0.85385 | -0.21795 | -75.5199 | 108.6635 | 101.5615 | 104.4801 | -71.3365 | -78.4385 |  | 0.53831 | 0.88817 | 0.94568 | 0.51118 | 0.8944 | 0.92642 | -5.2007 | -106.3145 | 107.6415 | -2.6239 | -105.451 | 107.0975
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.1935e-15 | 2.3637e-15 | -1.0672e-15 | 3.4625e-15 | -3.8166e-16 | -2.8133e-15 | 3.0009e-15 | 8.0756e-15 | -3.394e-16 | -4.1559e-15 | -3.1761e-15 | 1.4557e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.53831 | 0.88817 | 0.94568 | 0.53831 | 0.88817 | 0.94568 | -5.2007 | -106.3145 | 107.6415 | -5.2007 | -106.3145 | 107.6415

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50866 | 0.20948 | 0.30013 | 0.50866 | 0.20948 | 0.30013 | 5.8735 | 2.4189 | 3.4656 | 5.8735 | 2.4189 | 3.4656 | -1.9857 | 1.3499 | -3.2913 | 2.244 | -1.306 | 3.3812 | -3.0822 | -1.6637 | 0.25029 | 3.2349 | 1.6896 | -0.19715 | 116.9294 | -58.8872 | -65.9891 | -63.0706 | 121.1128 | 114.0109 |  | 0.62423 | 0.8857 | 0.95246 | 0.67029 | 0.88285 | 0.97732 | -5.8617 | -109.8326 | 109.662 | -7.8193 | -111.1832 | 110.6739
Line_1 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 |  | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739
Line_2 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 |  | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5066e-16 | 1.7465e-15 | 5.9944e-16 | 8.4516e-16 | 1.4357e-16 | -1.6926e-15 | 1.077e-15 | 1.5491e-15 | -4.7959e-15 | -2.6221e-15 | -1.745e-15 | 4.3728e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.69359 | 0.88161 | 0.98986 | 0.69359 | 0.88161 | 0.98986 | -8.7 | -111.8616 | 111.1607 | -8.7 | -111.8616 | 111.1607

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50866 | 0.20948 | 0.30013 | 0.50866 | 0.20948 | 0.30013 | 5.8735 | 2.4189 | 3.4656 | 5.8735 | 2.4189 | 3.4656 | -1.9857 | 1.3499 | -3.2913 | 2.244 | -1.306 | 3.3812 | -3.0822 | -1.6637 | 0.25029 | 3.2349 | 1.6896 | -0.19715 | 116.9294 | -58.8872 | -65.9891 | -63.0706 | 121.1128 | 114.0109 |  | 0.62423 | 0.8857 | 0.95246 | 0.67029 | 0.88285 | 0.97732 | -5.8617 | -109.8326 | 109.662 | -7.8193 | -111.1832 | 110.6739
Line_1 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 |  | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739
Line_2 | 0.25433 | 0.10474 | 0.15006 | 0.25433 | 0.10474 | 0.15006 | 2.9368 | 1.2095 | 1.7328 | 2.9368 | 1.2095 | 1.7328 | 1.1866 | -0.64207 | 1.7131 | -1.122 | 0.65302 | -1.6906 | 1.6556 | 0.85127 | -0.085289 | -1.6174 | -0.84479 | 0.098575 | -63.0706 | 121.1128 | 114.0109 | 116.9294 | -58.8872 | -65.9891 |  | 0.69359 | 0.88161 | 0.98986 | 0.67029 | 0.88285 | 0.97732 | -8.7 | -111.8616 | 111.1607 | -7.8193 | -111.1832 | 110.6739
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.5066e-16 | 1.7465e-15 | 5.9944e-16 | 8.4516e-16 | 1.4357e-16 | -1.6926e-15 | 1.077e-15 | 1.5491e-15 | -4.7959e-15 | -2.6221e-15 | -1.745e-15 | 4.3728e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.69359 | 0.88161 | 0.98986 | 0.69359 | 0.88161 | 0.98986 | -8.7 | -111.8616 | 111.1607 | -8.7 | -111.8616 | 111.1607

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67331 | 1.3092 | 1.2204 | 0.67331 | 1.3092 | 1.2204 | 7.7747 | 15.1172 | 14.0922 | 7.7747 | 15.1172 | 14.0922 | -1.9374 | -5.7676 | 4.6086 | 2.1732 | 6.6589 | -3.8341 | -6.3576 | -3.5531 | -5.1941 | 6.6251 | 4.5643 | 6.0729 | 109.4148 | -3.1987 | -152.5822 | -70.5852 | 176.8013 | 27.4178 |  | 0.85486 | 0.44811 | 0.49275 | 0.89681 | 0.53403 | 0.50963 | 2.4668 | -151.5641 | 158.9996 | 1.2543 | -148.7702 | 149.6839
Line_1 | 0.33666 | 0.65459 | 0.61021 | 0.33666 | 0.65459 | 0.61021 | 3.8874 | 7.5586 | 7.0461 | 3.8874 | 7.5586 | 7.0461 | 1.1455 | 3.5523 | -1.7234 | -1.0866 | -3.3295 | 1.917 | 3.3794 | 2.535 | 3.2561 | -3.3126 | -2.2822 | -3.0364 | -70.5852 | 176.8013 | 27.4178 | 109.4148 | -3.1987 | -152.5822 |  | 0.91792 | 0.57736 | 0.52285 | 0.89681 | 0.53403 | 0.50963 | 0.68979 | -147.6863 | 145.3093 | 1.2543 | -148.7702 | 149.6839
Line_2 | 0.33666 | 0.65459 | 0.61021 | 0.33666 | 0.65459 | 0.61021 | 3.8874 | 7.5586 | 7.0461 | 3.8874 | 7.5586 | 7.0461 | 1.1455 | 3.5523 | -1.7234 | -1.0866 | -3.3295 | 1.917 | 3.3794 | 2.535 | 3.2561 | -3.3126 | -2.2822 | -3.0364 | -70.5852 | 176.8013 | 27.4178 | 109.4148 | -3.1987 | -152.5822 |  | 0.91792 | 0.57736 | 0.52285 | 0.89681 | 0.53403 | 0.50963 | 0.68979 | -147.6863 | 145.3093 | 1.2543 | -148.7702 | 149.6839
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7444e-14 | 1.1557e-14 | 2.8192e-15 | 0 | -2.9239e-15 | 0 | 4.1384e-15 | 7.3098e-15 | 4.0729e-15 | 0 | 4.6227e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.91792 | 0.57736 | 0.52285 | 0.91792 | 0.57736 | 0.52285 | 0.68979 | -147.6863 | 145.3093 | 0.68979 | -147.6863 | 145.3093

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.67331 | 1.3092 | 1.2204 | 0.67331 | 1.3092 | 1.2204 | 7.7747 | 15.1172 | 14.0922 | 7.7747 | 15.1172 | 14.0922 | -1.9374 | -5.7676 | 4.6086 | 2.1732 | 6.6589 | -3.8341 | -6.3576 | -3.5531 | -5.1941 | 6.6251 | 4.5643 | 6.0729 | 109.4148 | -3.1987 | -152.5822 | -70.5852 | 176.8013 | 27.4178 |  | 0.85486 | 0.44811 | 0.49275 | 0.89681 | 0.53403 | 0.50963 | 2.4668 | -151.5641 | 158.9996 | 1.2543 | -148.7702 | 149.6839
Line_1 | 0.33666 | 0.65459 | 0.61021 | 0.33666 | 0.65459 | 0.61021 | 3.8874 | 7.5586 | 7.0461 | 3.8874 | 7.5586 | 7.0461 | 1.1455 | 3.5523 | -1.7234 | -1.0866 | -3.3295 | 1.917 | 3.3794 | 2.535 | 3.2561 | -3.3126 | -2.2822 | -3.0364 | -70.5852 | 176.8013 | 27.4178 | 109.4148 | -3.1987 | -152.5822 |  | 0.91792 | 0.57736 | 0.52285 | 0.89681 | 0.53403 | 0.50963 | 0.68979 | -147.6863 | 145.3093 | 1.2543 | -148.7702 | 149.6839
Line_2 | 0.33666 | 0.65459 | 0.61021 | 0.33666 | 0.65459 | 0.61021 | 3.8874 | 7.5586 | 7.0461 | 3.8874 | 7.5586 | 7.0461 | 1.1455 | 3.5523 | -1.7234 | -1.0866 | -3.3295 | 1.917 | 3.3794 | 2.535 | 3.2561 | -3.3126 | -2.2822 | -3.0364 | -70.5852 | 176.8013 | 27.4178 | 109.4148 | -3.1987 | -152.5822 |  | 0.91792 | 0.57736 | 0.52285 | 0.89681 | 0.53403 | 0.50963 | 0.68979 | -147.6863 | 145.3093 | 1.2543 | -148.7702 | 149.6839
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7444e-14 | 1.1557e-14 | 2.8192e-15 | 0 | -2.9239e-15 | 0 | 4.1384e-15 | 7.3098e-15 | 4.0729e-15 | 0 | 4.6227e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.91792 | 0.57736 | 0.52285 | 0.91792 | 0.57736 | 0.52285 | 0.68979 | -147.6863 | 145.3093 | 0.68979 | -147.6863 | 145.3093

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52007 | 0.93868 | 0.91013 | 0.52007 | 0.93868 | 0.91013 | 6.0053 | 10.839 | 10.5093 | 6.0053 | 10.839 | 10.5093 | -2.5142 | -6.7251 | -0.038182 | 2.6549 | 7.1833 | 0.46892 | -5.1002 | -4.2488 | -6.288 | 5.2598 | 4.7687 | 6.7767 | 114.932 | 5.597 | -141.774 | -65.068 | -174.403 | 38.226 |  | 0.94688 | 0.73391 | 0.59834 | 0.98111 | 0.79547 | 0.64637 | -1.3094 | -142.1188 | 127.878 | -1.8501 | -140.8243 | 124.2676
Line_1 | 0.26004 | 0.46934 | 0.45507 | 0.26004 | 0.46934 | 0.45507 | 3.0026 | 5.4195 | 5.2546 | 3.0026 | 5.4195 | 5.2546 | 1.3626 | 3.7062 | 0.34214 | -1.3274 | -3.5916 | -0.23446 | 2.6698 | 2.5143 | 3.5105 | -2.6299 | -2.3844 | -3.3883 | -65.068 | -174.403 | 38.226 | 114.932 | 5.597 | -141.774 |  | 0.99826 | 0.82638 | 0.67125 | 0.98111 | 0.79547 | 0.64637 | -2.1065 | -140.2496 | 122.6594 | -1.8501 | -140.8243 | 124.2676
Line_2 | 0.26004 | 0.46934 | 0.45507 | 0.26004 | 0.46934 | 0.45507 | 3.0026 | 5.4195 | 5.2546 | 3.0026 | 5.4195 | 5.2546 | 1.3626 | 3.7062 | 0.34214 | -1.3274 | -3.5916 | -0.23446 | 2.6698 | 2.5143 | 3.5105 | -2.6299 | -2.3844 | -3.3883 | -65.068 | -174.403 | 38.226 | 114.932 | 5.597 | -141.774 |  | 0.99826 | 0.82638 | 0.67125 | 0.98111 | 0.79547 | 0.64637 | -2.1065 | -140.2496 | 122.6594 | -1.8501 | -140.8243 | 124.2676
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7381e-16 | 8.2692e-15 | 7.9277e-15 | -6.9145e-15 | -5.5128e-15 | -4.4959e-15 | -4.7255e-15 | -7.5977e-16 | -5.8364e-16 | 4.9862e-15 | 5.0651e-16 | -4.7702e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.99826 | 0.82638 | 0.67125 | 0.99826 | 0.82638 | 0.67125 | -2.1065 | -140.2496 | 122.6594 | -2.1065 | -140.2496 | 122.6594

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.52007 | 0.93868 | 0.91013 | 0.52007 | 0.93868 | 0.91013 | 6.0053 | 10.839 | 10.5093 | 6.0053 | 10.839 | 10.5093 | -2.5142 | -6.7251 | -0.038182 | 2.6549 | 7.1833 | 0.46892 | -5.1002 | -4.2488 | -6.288 | 5.2598 | 4.7687 | 6.7767 | 114.932 | 5.597 | -141.774 | -65.068 | -174.403 | 38.226 |  | 0.94688 | 0.73391 | 0.59834 | 0.98111 | 0.79547 | 0.64637 | -1.3094 | -142.1188 | 127.878 | -1.8501 | -140.8243 | 124.2676
Line_1 | 0.26004 | 0.46934 | 0.45507 | 0.26004 | 0.46934 | 0.45507 | 3.0026 | 5.4195 | 5.2546 | 3.0026 | 5.4195 | 5.2546 | 1.3626 | 3.7062 | 0.34214 | -1.3274 | -3.5916 | -0.23446 | 2.6698 | 2.5143 | 3.5105 | -2.6299 | -2.3844 | -3.3883 | -65.068 | -174.403 | 38.226 | 114.932 | 5.597 | -141.774 |  | 0.99826 | 0.82638 | 0.67125 | 0.98111 | 0.79547 | 0.64637 | -2.1065 | -140.2496 | 122.6594 | -1.8501 | -140.8243 | 124.2676
Line_2 | 0.26004 | 0.46934 | 0.45507 | 0.26004 | 0.46934 | 0.45507 | 3.0026 | 5.4195 | 5.2546 | 3.0026 | 5.4195 | 5.2546 | 1.3626 | 3.7062 | 0.34214 | -1.3274 | -3.5916 | -0.23446 | 2.6698 | 2.5143 | 3.5105 | -2.6299 | -2.3844 | -3.3883 | -65.068 | -174.403 | 38.226 | 114.932 | 5.597 | -141.774 |  | 0.99826 | 0.82638 | 0.67125 | 0.98111 | 0.79547 | 0.64637 | -2.1065 | -140.2496 | 122.6594 | -1.8501 | -140.8243 | 124.2676
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.7381e-16 | 8.2692e-15 | 7.9277e-15 | -6.9145e-15 | -5.5128e-15 | -4.4959e-15 | -4.7255e-15 | -7.5977e-16 | -5.8364e-16 | 4.9862e-15 | 5.0651e-16 | -4.7702e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.99826 | 0.82638 | 0.67125 | 0.99826 | 0.82638 | 0.67125 | -2.1065 | -140.2496 | 122.6594 | -2.1065 | -140.2496 | 122.6594

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40642 | 1.0245 | 0.92752 | 0.40642 | 1.0245 | 0.92752 | 4.693 | 11.8302 | 10.7101 | 4.693 | 11.8302 | 10.7101 | -1.6138 | -4.0595 | 3.1327 | 1.7788 | 5.1074 | -2.2738 | -3.0618 | -1.6588 | -3.3786 | 3.1593 | 2.2781 | 3.8861 | 120.7046 | 5.508 | -151.133 | -59.2954 | -174.492 | 28.867 |  | 0.7375 | 0.37069 | 0.4302 | 0.77256 | 0.47273 | 0.42039 | 2.9114 | -152.2659 | 161.7042 | 1.3237 | -150.4536 | 149.1986
Line_1 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 |  | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986
Line_2 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 |  | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9098e-15 | 4.914e-15 | 8.2109e-16 | -1.8336e-15 | -5.7132e-15 | 1.5983e-15 | 3.7243e-15 | 1.4231e-15 | 4.4064e-15 | -3.7624e-15 | 2.4183e-15 | -1.2097e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.79029 | 0.52387 | 0.42317 | 0.79029 | 0.52387 | 0.42317 | 0.58304 | -149.8124 | 142.8795 | 0.58304 | -149.8124 | 142.8795

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40642 | 1.0245 | 0.92752 | 0.40642 | 1.0245 | 0.92752 | 4.693 | 11.8302 | 10.7101 | 4.693 | 11.8302 | 10.7101 | -1.6138 | -4.0595 | 3.1327 | 1.7788 | 5.1074 | -2.2738 | -3.0618 | -1.6588 | -3.3786 | 3.1593 | 2.2781 | 3.8861 | 120.7046 | 5.508 | -151.133 | -59.2954 | -174.492 | 28.867 |  | 0.7375 | 0.37069 | 0.4302 | 0.77256 | 0.47273 | 0.42039 | 2.9114 | -152.2659 | 161.7042 | 1.3237 | -150.4536 | 149.1986
Line_1 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 |  | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986
Line_2 | 0.20321 | 0.51226 | 0.46376 | 0.20321 | 0.51226 | 0.46376 | 2.3465 | 5.9151 | 5.355 | 2.3465 | 5.9151 | 5.355 | 0.93061 | 2.8157 | -0.92215 | -0.88938 | -2.5537 | 1.1369 | 1.604 | 1.2939 | 2.07 | -1.5796 | -1.139 | -1.9431 | -59.2954 | -174.492 | 28.867 | 120.7046 | 5.508 | -151.133 |  | 0.79029 | 0.52387 | 0.42317 | 0.77256 | 0.47273 | 0.42039 | 0.58304 | -149.8124 | 142.8795 | 1.3237 | -150.4536 | 149.1986
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.9098e-15 | 4.914e-15 | 8.2109e-16 | -1.8336e-15 | -5.7132e-15 | 1.5983e-15 | 3.7243e-15 | 1.4231e-15 | 4.4064e-15 | -3.7624e-15 | 2.4183e-15 | -1.2097e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.79029 | 0.52387 | 0.42317 | 0.79029 | 0.52387 | 0.42317 | 0.58304 | -149.8124 | 142.8795 | 0.58304 | -149.8124 | 142.8795

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28917 | 0.72379 | 0.65645 | 0.28917 | 0.72379 | 0.65645 | 3.3391 | 8.3576 | 7.58 | 3.3391 | 8.3576 | 7.58 | -1.8765 | -4.8001 | -0.045749 | 1.96 | 5.3231 | 0.47599 | -1.9513 | -1.6217 | -3.7593 | 2.0006 | 1.9307 | 4.0136 | 132.8897 | 17.942 | -138.5168 | -47.1103 | -162.058 | 41.4832 |  | 0.81075 | 0.60623 | 0.49599 | 0.83877 | 0.67752 | 0.53321 | -0.99049 | -143.3908 | 130.7859 | -1.522 | -142.1217 | 124.7198
Line_1 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 |  | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198
Line_2 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 |  | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.288e-15 | -3.4231e-15 | -1.1817e-15 | -4.2254e-15 | 9.3568e-16 | 4.4492e-15 | 7.9504e-15 | 1.5975e-15 | -3.059e-15 | -5.9315e-15 | 2.8983e-15 | 2.781e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8528 | 0.71327 | 0.55382 | 0.8528 | 0.71327 | 0.55382 | -1.7746 | -141.5824 | 122.0076 | -1.7746 | -141.5824 | 122.0076

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.28917 | 0.72379 | 0.65645 | 0.28917 | 0.72379 | 0.65645 | 3.3391 | 8.3576 | 7.58 | 3.3391 | 8.3576 | 7.58 | -1.8765 | -4.8001 | -0.045749 | 1.96 | 5.3231 | 0.47599 | -1.9513 | -1.6217 | -3.7593 | 2.0006 | 1.9307 | 4.0136 | 132.8897 | 17.942 | -138.5168 | -47.1103 | -162.058 | 41.4832 |  | 0.81075 | 0.60623 | 0.49599 | 0.83877 | 0.67752 | 0.53321 | -0.99049 | -143.3908 | 130.7859 | -1.522 | -142.1217 | 124.7198
Line_1 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 |  | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198
Line_2 | 0.14459 | 0.36189 | 0.32823 | 0.14459 | 0.36189 | 0.32823 | 1.6695 | 4.1788 | 3.79 | 1.6695 | 4.1788 | 3.79 | 1.0009 | 2.7923 | 0.34555 | -0.97999 | -2.6615 | -0.23799 | 1.0127 | 1.0426 | 2.0704 | -1.0003 | -0.96537 | -2.0068 | -47.1103 | -162.058 | 41.4832 | 132.8897 | 17.942 | -138.5168 |  | 0.8528 | 0.71327 | 0.55382 | 0.83877 | 0.67752 | 0.53321 | -1.7746 | -141.5824 | 122.0076 | -1.522 | -142.1217 | 124.7198
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.288e-15 | -3.4231e-15 | -1.1817e-15 | -4.2254e-15 | 9.3568e-16 | 4.4492e-15 | 7.9504e-15 | 1.5975e-15 | -3.059e-15 | -5.9315e-15 | 2.8983e-15 | 2.781e-15 | 0 | 0 | 0 | 0 | 0 | 0 |  | 0.8528 | 0.71327 | 0.55382 | 0.8528 | 0.71327 | 0.55382 | -1.7746 | -141.5824 | 122.0076 | -1.7746 | -141.5824 | 122.0076