## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6754e-14 | 4.9985e-15 | 7.08e-15 | 1.151e-14 | 1.334e-15 | 1.6856e-15 | -6.0099e-15 | 7.6664e-15 | 8.7655e-15 | -1.1e-14 | -6.3325e-15 | -1.5845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.6754e-14 | 4.9985e-15 | 7.08e-15 | 1.151e-14 | 1.334e-15 | 1.6856e-15 | -6.0099e-15 | 7.6664e-15 | 8.7655e-15 | -1.1e-14 | -6.3325e-15 | -1.5845e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5377e-15 | 5.2839e-15 | 1.2927e-14 | 4.1552e-15 | -7.0871e-16 | -2.5112e-15 | 5.5224e-15 | -1.8687e-15 | 9.422e-15 | -5.5243e-15 | 9.7623e-15 | -3.6575e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.5377e-15 | 5.2839e-15 | 1.2927e-14 | 4.1552e-15 | -7.0871e-16 | -2.5112e-15 | 5.5224e-15 | -1.8687e-15 | 9.422e-15 | -5.5243e-15 | 9.7623e-15 | -3.6575e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.611e-15 | -2.3371e-15 | 4.763e-15 | 3.8572e-16 | 1.5581e-15 | 3.741e-15 | 4.7399e-15 | -9.9533e-15 | 2.7189e-15 | -9.6726e-15 | 6.6355e-15 | -1.022e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.611e-15 | -2.3371e-15 | 4.763e-15 | 3.8572e-16 | 1.5581e-15 | 3.741e-15 | 4.7399e-15 | -9.9533e-15 | 2.7189e-15 | -9.6726e-15 | 6.6355e-15 | -1.022e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1243e-16 | 1.5329e-15 | 4.0719e-16 | -1.5211e-15 | -1.705e-15 | 2.0359e-16 | -1.1748e-15 | -1.5552e-15 | -7.4642e-16 | 2.3446e-15 | 4.4518e-15 | -3.7321e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 6.1243e-16 | 1.5329e-15 | 4.0719e-16 | -1.5211e-15 | -1.705e-15 | 2.0359e-16 | -1.1748e-15 | -1.5552e-15 | -7.4642e-16 | 2.3446e-15 | 4.4518e-15 | -3.7321e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7662 | 0.69478 | 0.80954 | 1.7689 | 0.69782 | 0.81164 | 20.3938 | 8.0226 | 9.3477 | 20.4259 | 8.0577 | 9.372 | 7.075e-11 | -3.426 | 15.89 | 7.5805 | 5.8586 | -12.7232 | -7.5232e-11 | 10.7821 | -0.54051 | 3.7497 | -9.3277 | 0.81429 | 117.3994 | 105.7899 | 136.6224 | -62.6525 | -74.2929 | -43.5488 |  | 0 | 1.4102 | 1.7009 | 0.41404 | 1.367 | 1.3604 | 0 | -146.5824 | 134.6742 | -36.333 | -132.1606 | 132.7892
Line_1 | 0.88669 | 0.35115 | 0.40781 | 0.88447 | 0.34891 | 0.40582 | 10.2386 | 4.0548 | 4.709 | 10.2129 | 4.0289 | 4.686 | 5.7052 | 3.5536 | -5.5847 | -3.7903 | -2.9293 | 6.3616 | 2.822 | -4.3177 | 0.47435 | -1.8749 | 4.6638 | -0.40715 | -62.6746 | -74.2744 | -43.6964 | 117.3475 | 105.7071 | 136.4512 |  | 0.62167 | 1.3791 | 1.1902 | 0.41404 | 1.367 | 1.3604 | -36.3557 | -124.8188 | 131.4487 | -36.333 | -132.1606 | 132.7892
Line_2 | 0.88669 | 0.35115 | 0.40781 | 0.88447 | 0.34891 | 0.40582 | 10.2386 | 4.0548 | 4.709 | 10.2129 | 4.0289 | 4.686 | 5.7052 | 3.5536 | -5.5847 | -3.7903 | -2.9293 | 6.3616 | 2.822 | -4.3177 | 0.47435 | -1.8749 | 4.6638 | -0.40715 | -62.6746 | -74.2744 | -43.6964 | 117.3475 | 105.7071 | 136.4512 |  | 0.62167 | 1.3791 | 1.1902 | 0.41404 | 1.367 | 1.3604 | -36.3557 | -124.8188 | 131.4487 | -36.333 | -132.1606 | 132.7892
Line_3 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189 | 0.011765 | 0.011765 | 0.011765 | 0.011765 | 0.011765 | 0.011765 | 0.0066752 | 0.0070257 | -0.013701 | 0.0066752 | 0.0070257 | -0.013701 | 0.002989 | -0.014625 | -0.0028937 | 0.002989 | -0.014625 | -0.0028937 | -60.4773 | -60.4773 | -60.4773 | -60.4773 | -60.4773 | -60.4773 |  | 0.62167 | 1.3791 | 1.1902 | 0.62167 | 1.3791 | 1.1902 | -36.3557 | -124.8188 | 131.4487 | -36.3557 | -124.8188 | 131.4487

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7662 | 0.69478 | 0.80954 | 1.7689 | 0.69782 | 0.81164 | 20.3938 | 8.0226 | 9.3477 | 20.4259 | 8.0577 | 9.372 | 7.075e-11 | -3.426 | 15.89 | 7.5805 | 5.8586 | -12.7232 | -7.5232e-11 | 10.7821 | -0.54051 | 3.7497 | -9.3277 | 0.81429 | 117.3994 | 105.7899 | 136.6224 | -62.6525 | -74.2929 | -43.5488 |  | 0 | 1.4102 | 1.7009 | 0.41404 | 1.367 | 1.3604 | 0 | -146.5824 | 134.6742 | -36.333 | -132.1606 | 132.7892
Line_1 | 0.88669 | 0.35115 | 0.40781 | 0.88447 | 0.34891 | 0.40582 | 10.2386 | 4.0548 | 4.709 | 10.2129 | 4.0289 | 4.686 | 5.7052 | 3.5536 | -5.5847 | -3.7903 | -2.9293 | 6.3616 | 2.822 | -4.3177 | 0.47435 | -1.8749 | 4.6638 | -0.40715 | -62.6746 | -74.2744 | -43.6964 | 117.3475 | 105.7071 | 136.4512 |  | 0.62167 | 1.3791 | 1.1902 | 0.41404 | 1.367 | 1.3604 | -36.3557 | -124.8188 | 131.4487 | -36.333 | -132.1606 | 132.7892
Line_2 | 0.88669 | 0.35115 | 0.40781 | 0.88447 | 0.34891 | 0.40582 | 10.2386 | 4.0548 | 4.709 | 10.2129 | 4.0289 | 4.686 | 5.7052 | 3.5536 | -5.5847 | -3.7903 | -2.9293 | 6.3616 | 2.822 | -4.3177 | 0.47435 | -1.8749 | 4.6638 | -0.40715 | -62.6746 | -74.2744 | -43.6964 | 117.3475 | 105.7071 | 136.4512 |  | 0.62167 | 1.3791 | 1.1902 | 0.41404 | 1.367 | 1.3604 | -36.3557 | -124.8188 | 131.4487 | -36.333 | -132.1606 | 132.7892
Line_3 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189 | 0.0010189 | 0.011765 | 0.011765 | 0.011765 | 0.011765 | 0.011765 | 0.011765 | 0.0066752 | 0.0070257 | -0.013701 | 0.0066752 | 0.0070257 | -0.013701 | 0.002989 | -0.014625 | -0.0028937 | 0.002989 | -0.014625 | -0.0028937 | -60.4773 | -60.4773 | -60.4773 | -60.4773 | -60.4773 | -60.4773 |  | 0.62167 | 1.3791 | 1.1902 | 0.62167 | 1.3791 | 1.1902 | -36.3557 | -124.8188 | 131.4487 | -36.3557 | -124.8188 | 131.4487

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73794 | 0.1254 | 0.39124 | 0.73898 | 0.12645 | 0.39163 | 8.521 | 1.448 | 4.5177 | 8.533 | 1.4601 | 4.5222 | -3.9365 | -1.5739 | 4.4235 | 5.0343 | 1.6533 | -3.913 | -5.1848 | 0.89271 | -3.8518 | 5.9172 | -0.75294 | 3.7565 | 120.9293 | 80.0923 | 169.1113 | -59.1021 | -99.7399 | -11.041 |  | 0.76397 | 1.2496 | 1.2983 | 0.91047 | 1.2442 | 1.1995 | -6.2782 | -129.4703 | 128.0636 | -9.4927 | -124.2248 | 125.1282
Line_1 | 0.37027 | 0.063819 | 0.19633 | 0.36949 | 0.063224 | 0.19581 | 4.2755 | 0.73692 | 2.2671 | 4.2665 | 0.73005 | 2.2611 | 2.7977 | 0.84921 | -1.8352 | -2.5171 | -0.82666 | 1.9565 | 3.1462 | -0.34829 | 1.8556 | -2.9586 | 0.37647 | -1.8783 | -59.1025 | -99.2861 | -11.2106 | 120.8979 | 80.2601 | 168.959 |  | 0.98474 | 1.2455 | 1.1512 | 0.91047 | 1.2442 | 1.1995 | -10.7469 | -121.5861 | 123.4717 | -9.4927 | -124.2248 | 125.1282
Line_2 | 0.37027 | 0.063819 | 0.19633 | 0.36949 | 0.063224 | 0.19581 | 4.2755 | 0.73692 | 2.2671 | 4.2665 | 0.73005 | 2.2611 | 2.7977 | 0.84921 | -1.8352 | -2.5171 | -0.82666 | 1.9565 | 3.1462 | -0.34829 | 1.8556 | -2.9586 | 0.37647 | -1.8783 | -59.1025 | -99.2861 | -11.2106 | 120.8979 | 80.2601 | 168.959 |  | 0.98474 | 1.2455 | 1.1512 | 0.91047 | 1.2442 | 1.1995 | -10.7469 | -121.5861 | 123.4717 | -9.4927 | -124.2248 | 125.1282
Line_3 | 0.00035306 | 0.00035306 | 0.00035306 | 0.00035306 | 0.00035306 | 0.00035306 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0031802 | 0.0014654 | -0.0046455 | 0.0031802 | 0.0014654 | -0.0046455 | 0.0024502 | -0.0048617 | 0.00066685 | 0.0024502 | -0.0048617 | 0.00066685 | -48.3595 | -48.3595 | -48.3595 | -48.3595 | -48.3595 | -48.3595 |  | 0.98474 | 1.2455 | 1.1512 | 0.98474 | 1.2455 | 1.1512 | -10.7469 | -121.5861 | 123.4717 | -10.7469 | -121.5861 | 123.4717

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.73794 | 0.1254 | 0.39124 | 0.73898 | 0.12645 | 0.39163 | 8.521 | 1.448 | 4.5177 | 8.533 | 1.4601 | 4.5222 | -3.9365 | -1.5739 | 4.4235 | 5.0343 | 1.6533 | -3.913 | -5.1848 | 0.89271 | -3.8518 | 5.9172 | -0.75294 | 3.7565 | 120.9293 | 80.0923 | 169.1113 | -59.1021 | -99.7399 | -11.041 |  | 0.76397 | 1.2496 | 1.2983 | 0.91047 | 1.2442 | 1.1995 | -6.2782 | -129.4703 | 128.0636 | -9.4927 | -124.2248 | 125.1282
Line_1 | 0.37027 | 0.063819 | 0.19633 | 0.36949 | 0.063224 | 0.19581 | 4.2755 | 0.73692 | 2.2671 | 4.2665 | 0.73005 | 2.2611 | 2.7977 | 0.84921 | -1.8352 | -2.5171 | -0.82666 | 1.9565 | 3.1462 | -0.34829 | 1.8556 | -2.9586 | 0.37647 | -1.8783 | -59.1025 | -99.2861 | -11.2106 | 120.8979 | 80.2601 | 168.959 |  | 0.98474 | 1.2455 | 1.1512 | 0.91047 | 1.2442 | 1.1995 | -10.7469 | -121.5861 | 123.4717 | -9.4927 | -124.2248 | 125.1282
Line_2 | 0.37027 | 0.063819 | 0.19633 | 0.36949 | 0.063224 | 0.19581 | 4.2755 | 0.73692 | 2.2671 | 4.2665 | 0.73005 | 2.2611 | 2.7977 | 0.84921 | -1.8352 | -2.5171 | -0.82666 | 1.9565 | 3.1462 | -0.34829 | 1.8556 | -2.9586 | 0.37647 | -1.8783 | -59.1025 | -99.2861 | -11.2106 | 120.8979 | 80.2601 | 168.959 |  | 0.98474 | 1.2455 | 1.1512 | 0.91047 | 1.2442 | 1.1995 | -10.7469 | -121.5861 | 123.4717 | -9.4927 | -124.2248 | 125.1282
Line_3 | 0.00035306 | 0.00035306 | 0.00035306 | 0.00035306 | 0.00035306 | 0.00035306 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0040768 | 0.0031802 | 0.0014654 | -0.0046455 | 0.0031802 | 0.0014654 | -0.0046455 | 0.0024502 | -0.0048617 | 0.00066685 | 0.0024502 | -0.0048617 | 0.00066685 | -48.3595 | -48.3595 | -48.3595 | -48.3595 | -48.3595 | -48.3595 |  | 0.98474 | 1.2455 | 1.1512 | 0.98474 | 1.2455 | 1.1512 | -10.7469 | -121.5861 | 123.4717 | -10.7469 | -121.5861 | 123.4717

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1041 | 0.58911 | 0.52166 | 1.1058 | 0.59093 | 0.52343 | 12.7491 | 6.8025 | 6.0236 | 12.7685 | 6.8235 | 6.044 | -2.3287e-11 | 2.6996 | 9.6694 | 6.2183 | 0.31607 | -7.0766 | 6.0543e-12 | 8.5021 | -0.14512 | 1.3083 | -7.841 | 0.6386 | 139.6627 | 135.9251 | 137.4813 | -40.4566 | -44.2871 | -42.7637 |  | 0 | 1.3113 | 1.6054 | 0.49767 | 1.15 | 1.1756 | 0 | -151.6907 | 136.6214 | -28.5749 | -131.9788 | 132.0799
Line_1 | 0.55427 | 0.29688 | 0.26311 | 0.55289 | 0.29547 | 0.26171 | 6.4001 | 3.4281 | 3.0382 | 6.3842 | 3.4118 | 3.022 | 4.6794 | 0.91974 | -2.8957 | -3.1092 | -0.15803 | 3.5383 | 0.98624 | -3.7637 | 0.4482 | -0.65417 | 3.9205 | -0.3193 | -40.519 | -44.3856 | -42.8829 | 139.5434 | 135.7129 | 137.2363 |  | 0.7472 | 1.1302 | 0.96446 | 0.49767 | 1.15 | 1.1756 | -28.6173 | -120.6532 | 128.3186 | -28.5749 | -131.9788 | 132.0799
Line_2 | 0.55427 | 0.29688 | 0.26311 | 0.55289 | 0.29547 | 0.26171 | 6.4001 | 3.4281 | 3.0382 | 6.3842 | 3.4118 | 3.022 | 4.6794 | 0.91974 | -2.8957 | -3.1092 | -0.15803 | 3.5383 | 0.98624 | -3.7637 | 0.4482 | -0.65417 | 3.9205 | -0.3193 | -40.519 | -44.3856 | -42.8829 | 139.5434 | 135.7129 | 137.2363 |  | 0.7472 | 1.1302 | 0.96446 | 0.49767 | 1.15 | 1.1756 | -28.6173 | -120.6532 | 128.3186 | -28.5749 | -131.9788 | 132.0799
Line_3 | 0.00063769 | 0.00063769 | 0.00063769 | 0.00063769 | 0.00063769 | 0.00063769 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0053501 | 0.0016527 | -0.0070028 | 0.0053501 | 0.0016527 | -0.0070028 | 0.0012835 | -0.0081564 | 0.0011812 | 0.0012835 | -0.0081564 | 0.0011812 | -42.1073 | -42.1073 | -42.1073 | -42.1073 | -42.1073 | -42.1073 |  | 0.7472 | 1.1302 | 0.96446 | 0.7472 | 1.1302 | 0.96446 | -28.6173 | -120.6532 | 128.3186 | -28.6173 | -120.6532 | 128.3186

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1041 | 0.58911 | 0.52166 | 1.1058 | 0.59093 | 0.52343 | 12.7491 | 6.8025 | 6.0236 | 12.7685 | 6.8235 | 6.044 | -2.3287e-11 | 2.6996 | 9.6694 | 6.2183 | 0.31607 | -7.0766 | 6.0543e-12 | 8.5021 | -0.14512 | 1.3083 | -7.841 | 0.6386 | 139.6627 | 135.9251 | 137.4813 | -40.4566 | -44.2871 | -42.7637 |  | 0 | 1.3113 | 1.6054 | 0.49767 | 1.15 | 1.1756 | 0 | -151.6907 | 136.6214 | -28.5749 | -131.9788 | 132.0799
Line_1 | 0.55427 | 0.29688 | 0.26311 | 0.55289 | 0.29547 | 0.26171 | 6.4001 | 3.4281 | 3.0382 | 6.3842 | 3.4118 | 3.022 | 4.6794 | 0.91974 | -2.8957 | -3.1092 | -0.15803 | 3.5383 | 0.98624 | -3.7637 | 0.4482 | -0.65417 | 3.9205 | -0.3193 | -40.519 | -44.3856 | -42.8829 | 139.5434 | 135.7129 | 137.2363 |  | 0.7472 | 1.1302 | 0.96446 | 0.49767 | 1.15 | 1.1756 | -28.6173 | -120.6532 | 128.3186 | -28.5749 | -131.9788 | 132.0799
Line_2 | 0.55427 | 0.29688 | 0.26311 | 0.55289 | 0.29547 | 0.26171 | 6.4001 | 3.4281 | 3.0382 | 6.3842 | 3.4118 | 3.022 | 4.6794 | 0.91974 | -2.8957 | -3.1092 | -0.15803 | 3.5383 | 0.98624 | -3.7637 | 0.4482 | -0.65417 | 3.9205 | -0.3193 | -40.519 | -44.3856 | -42.8829 | 139.5434 | 135.7129 | 137.2363 |  | 0.7472 | 1.1302 | 0.96446 | 0.49767 | 1.15 | 1.1756 | -28.6173 | -120.6532 | 128.3186 | -28.5749 | -131.9788 | 132.0799
Line_3 | 0.00063769 | 0.00063769 | 0.00063769 | 0.00063769 | 0.00063769 | 0.00063769 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0073634 | 0.0053501 | 0.0016527 | -0.0070028 | 0.0053501 | 0.0016527 | -0.0070028 | 0.0012835 | -0.0081564 | 0.0011812 | 0.0012835 | -0.0081564 | 0.0011812 | -42.1073 | -42.1073 | -42.1073 | -42.1073 | -42.1073 | -42.1073 |  | 0.7472 | 1.1302 | 0.96446 | 0.7472 | 1.1302 | 0.96446 | -28.6173 | -120.6532 | 128.3186 | -28.6173 | -120.6532 | 128.3186

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43426 | 0.23171 | 0.20518 | 0.43492 | 0.23242 | 0.20587 | 5.0144 | 2.6755 | 2.3692 | 5.022 | 2.6838 | 2.3772 | -2.446 | 0.12749 | 2.8364 | 3.4079 | 0.34586 | -2.4421 | -1.8132 | 2.9137 | -0.54428 | 2.0235 | -2.8153 | 0.61663 | 141.9614 | 138.2238 | 139.78 | -38.158 | -41.9884 | -40.465 |  | 0.60721 | 1.0901 | 1.2191 | 0.78919 | 1.0569 | 1.0595 | -1.4887 | -134.2816 | 128.9174 | -7.4575 | -124.9847 | 125.3639
Line_1 | 0.218 | 0.11677 | 0.10349 | 0.21746 | 0.11621 | 0.10294 | 2.5173 | 1.3483 | 1.195 | 2.511 | 1.3419 | 1.1886 | 1.9489 | 0.29286 | -1.1258 | -1.7039 | -0.17293 | 1.221 | 1.0667 | -1.387 | 0.32823 | -1.0117 | 1.4077 | -0.30832 | -38.2203 | -42.0869 | -40.5842 | 141.842 | 138.0116 | 139.535 |  | 0.88259 | 1.0513 | 0.98134 | 0.78919 | 1.0569 | 1.0595 | -9.5265 | -120.1641 | 123.1612 | -7.4575 | -124.9847 | 125.3639
Line_2 | 0.218 | 0.11677 | 0.10349 | 0.21746 | 0.11621 | 0.10294 | 2.5173 | 1.3483 | 1.195 | 2.511 | 1.3419 | 1.1886 | 1.9489 | 0.29286 | -1.1258 | -1.7039 | -0.17293 | 1.221 | 1.0667 | -1.387 | 0.32823 | -1.0117 | 1.4077 | -0.30832 | -38.2203 | -42.0869 | -40.5842 | 141.842 | 138.0116 | 139.535 |  | 0.88259 | 1.0513 | 0.98134 | 0.78919 | 1.0569 | 1.0595 | -9.5265 | -120.1641 | 123.1612 | -7.4575 | -124.9847 | 125.3639
Line_3 | 0.00025081 | 0.00025081 | 0.00025081 | 0.00025081 | 0.00025081 | 0.00025081 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0022073 | 0.00051012 | -0.0027175 | 0.0022073 | 0.00051012 | -0.0027175 | 0.0012889 | -0.0030018 | 0.00083237 | 0.0012889 | -0.0030018 | 0.00083237 | -39.8087 | -39.8087 | -39.8087 | -39.8087 | -39.8087 | -39.8087 |  | 0.88259 | 1.0513 | 0.98134 | 0.88259 | 1.0513 | 0.98134 | -9.5265 | -120.1641 | 123.1612 | -9.5265 | -120.1641 | 123.1612

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.43426 | 0.23171 | 0.20518 | 0.43492 | 0.23242 | 0.20587 | 5.0144 | 2.6755 | 2.3692 | 5.022 | 2.6838 | 2.3772 | -2.446 | 0.12749 | 2.8364 | 3.4079 | 0.34586 | -2.4421 | -1.8132 | 2.9137 | -0.54428 | 2.0235 | -2.8153 | 0.61663 | 141.9614 | 138.2238 | 139.78 | -38.158 | -41.9884 | -40.465 |  | 0.60721 | 1.0901 | 1.2191 | 0.78919 | 1.0569 | 1.0595 | -1.4887 | -134.2816 | 128.9174 | -7.4575 | -124.9847 | 125.3639
Line_1 | 0.218 | 0.11677 | 0.10349 | 0.21746 | 0.11621 | 0.10294 | 2.5173 | 1.3483 | 1.195 | 2.511 | 1.3419 | 1.1886 | 1.9489 | 0.29286 | -1.1258 | -1.7039 | -0.17293 | 1.221 | 1.0667 | -1.387 | 0.32823 | -1.0117 | 1.4077 | -0.30832 | -38.2203 | -42.0869 | -40.5842 | 141.842 | 138.0116 | 139.535 |  | 0.88259 | 1.0513 | 0.98134 | 0.78919 | 1.0569 | 1.0595 | -9.5265 | -120.1641 | 123.1612 | -7.4575 | -124.9847 | 125.3639
Line_2 | 0.218 | 0.11677 | 0.10349 | 0.21746 | 0.11621 | 0.10294 | 2.5173 | 1.3483 | 1.195 | 2.511 | 1.3419 | 1.1886 | 1.9489 | 0.29286 | -1.1258 | -1.7039 | -0.17293 | 1.221 | 1.0667 | -1.387 | 0.32823 | -1.0117 | 1.4077 | -0.30832 | -38.2203 | -42.0869 | -40.5842 | 141.842 | 138.0116 | 139.535 |  | 0.88259 | 1.0513 | 0.98134 | 0.78919 | 1.0569 | 1.0595 | -9.5265 | -120.1641 | 123.1612 | -7.4575 | -124.9847 | 125.3639
Line_3 | 0.00025081 | 0.00025081 | 0.00025081 | 0.00025081 | 0.00025081 | 0.00025081 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0028961 | 0.0022073 | 0.00051012 | -0.0027175 | 0.0022073 | 0.00051012 | -0.0027175 | 0.0012889 | -0.0030018 | 0.00083237 | 0.0012889 | -0.0030018 | 0.00083237 | -39.8087 | -39.8087 | -39.8087 | -39.8087 | -39.8087 | -39.8087 |  | 0.88259 | 1.0513 | 0.98134 | 0.88259 | 1.0513 | 0.98134 | -9.5265 | -120.1641 | 123.1612 | -9.5265 | -120.1641 | 123.1612

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22471 | 2.0303 | 1.3319 | 0.22639 | 2.031 | 1.3333 | 2.5948 | 23.4442 | 15.3791 | 2.6141 | 23.4519 | 15.3961 | 2.8686 | 3.5539e-11 | 2.2337e-11 | -2.3355 | 6.4293 | 0.78622 | 2.8989 | -1.2121e-11 | -9.834e-12 | -2.8065 | 0.55973 | 4.1157 | -47.0475 | -12.6491 | -128.9741 | 132.6351 | 167.2951 | 51.0894 |  | 1.5718 | 0 | 0 | 1.3967 | 0.27519 | 0.27216 | -1.7468 | 0 | 0 | 2.8679 | 172.2706 | 130.2746
Line_1 | 0.11461 | 1.0164 | 0.66727 | 0.11319 | 1.0155 | 0.66667 | 1.3234 | 11.7368 | 7.7049 | 1.307 | 11.7259 | 7.6981 | -1.0408 | 4.8299 | 0.59702 | 1.1678 | -3.2146 | -0.39311 | -1.3914 | 0.42251 | 3.0916 | 1.4032 | -0.27986 | -2.0579 | 132.44 | 167.2317 | 51.2044 | -47.3649 | -12.7049 | -128.9106 |  | 1.313 | 0.41309 | 0.40866 | 1.3967 | 0.27519 | 0.27216 | 5.6428 | 172.231 | 130.2744 | 2.8679 | 172.2706 | 130.2746
Line_2 | 0.11461 | 1.0164 | 0.66727 | 0.11319 | 1.0155 | 0.66667 | 1.3234 | 11.7368 | 7.7049 | 1.307 | 11.7259 | 7.6981 | -1.0408 | 4.8299 | 0.59702 | 1.1678 | -3.2146 | -0.39311 | -1.3914 | 0.42251 | 3.0916 | 1.4032 | -0.27986 | -2.0579 | 132.44 | 167.2317 | 51.2044 | -47.3649 | -12.7049 | -128.9106 |  | 1.313 | 0.41309 | 0.40866 | 1.3967 | 0.27519 | 0.27216 | 5.6428 | 172.231 | 130.2744 | 2.8679 | 172.2706 | 130.2746
Line_3 | 0.00066393 | 0.00066393 | 0.00066393 | 0.00066393 | 0.00066393 | 0.00066393 | 0.0076664 | 0.0076664 | 0.0076664 | 0.0076664 | 0.0076664 | 0.0076664 | -0.0054043 | 0.0022736 | 0.0031307 | -0.0054043 | 0.0022736 | 0.0031307 | -0.0084924 | 0.0022046 | 0.00011809 | -0.0084924 | 0.0022046 | 0.00011809 | 128.1142 | 128.1142 | 128.1142 | 128.1142 | 128.1142 | 128.1142 |  | 1.313 | 0.41309 | 0.40866 | 1.313 | 0.41309 | 0.40866 | 5.6428 | 172.231 | 130.2744 | 5.6428 | 172.231 | 130.2744

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22471 | 2.0303 | 1.3319 | 0.22639 | 2.031 | 1.3333 | 2.5948 | 23.4442 | 15.3791 | 2.6141 | 23.4519 | 15.3961 | 2.8686 | 3.5539e-11 | 2.2337e-11 | -2.3355 | 6.4293 | 0.78622 | 2.8989 | -1.2121e-11 | -9.834e-12 | -2.8065 | 0.55973 | 4.1157 | -47.0475 | -12.6491 | -128.9741 | 132.6351 | 167.2951 | 51.0894 |  | 1.5718 | 0 | 0 | 1.3967 | 0.27519 | 0.27216 | -1.7468 | 0 | 0 | 2.8679 | 172.2706 | 130.2746
Line_1 | 0.11461 | 1.0164 | 0.66727 | 0.11319 | 1.0155 | 0.66667 | 1.3234 | 11.7368 | 7.7049 | 1.307 | 11.7259 | 7.6981 | -1.0408 | 4.8299 | 0.59702 | 1.1678 | -3.2146 | -0.39311 | -1.3914 | 0.42251 | 3.0916 | 1.4032 | -0.27986 | -2.0579 | 132.44 | 167.2317 | 51.2044 | -47.3649 | -12.7049 | -128.9106 |  | 1.313 | 0.41309 | 0.40866 | 1.3967 | 0.27519 | 0.27216 | 5.6428 | 172.231 | 130.2744 | 2.8679 | 172.2706 | 130.2746
Line_2 | 0.11461 | 1.0164 | 0.66727 | 0.11319 | 1.0155 | 0.66667 | 1.3234 | 11.7368 | 7.7049 | 1.307 | 11.7259 | 7.6981 | -1.0408 | 4.8299 | 0.59702 | 1.1678 | -3.2146 | -0.39311 | -1.3914 | 0.42251 | 3.0916 | 1.4032 | -0.27986 | -2.0579 | 132.44 | 167.2317 | 51.2044 | -47.3649 | -12.7049 | -128.9106 |  | 1.313 | 0.41309 | 0.40866 | 1.3967 | 0.27519 | 0.27216 | 5.6428 | 172.231 | 130.2744 | 2.8679 | 172.2706 | 130.2746
Line_3 | 0.00066393 | 0.00066393 | 0.00066393 | 0.00066393 | 0.00066393 | 0.00066393 | 0.0076664 | 0.0076664 | 0.0076664 | 0.0076664 | 0.0076664 | 0.0076664 | -0.0054043 | 0.0022736 | 0.0031307 | -0.0054043 | 0.0022736 | 0.0031307 | -0.0084924 | 0.0022046 | 0.00011809 | -0.0084924 | 0.0022046 | 0.00011809 | 128.1142 | 128.1142 | 128.1142 | 128.1142 | 128.1142 | 128.1142 |  | 1.313 | 0.41309 | 0.40866 | 1.313 | 0.41309 | 0.40866 | 5.6428 | 172.231 | 130.2744 | 5.6428 | 172.231 | 130.2744

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12698 | 0.67551 | 0.58381 | 0.12679 | 0.6759 | 0.58466 | 1.4662 | 7.8002 | 6.7413 | 1.4641 | 7.8046 | 6.751 | 1.7949 | -1.8398 | -5.1801 | -1.7125 | 2.7287 | 5.5506 | -0.77407 | -6.7496 | -2.6513 | 0.66511 | 6.8157 | 3.4225 | 22.7967 | -13.5477 | -103.4329 | -157.6139 | 166.3808 | 76.6048 |  | 1.3332 | 0.89689 | 0.86321 | 1.2548 | 0.94068 | 0.96592 | -0.53243 | -118.7947 | 103.6715 | 1.1609 | -125.4385 | 108.263
Line_1 | 0.06351 | 0.33842 | 0.29278 | 0.063396 | 0.33795 | 0.29233 | 0.73335 | 3.9077 | 3.3808 | 0.73203 | 3.9023 | 3.3755 | -0.83949 | 1.5867 | 2.8734 | 0.85626 | -1.3644 | -2.7753 | 0.30078 | 3.4293 | 1.9029 | -0.33255 | -3.4079 | -1.7113 | -158.1923 | 166.3041 | 76.6959 | 22.3861 | -13.6192 | -103.3952 |  | 1.216 | 0.96696 | 1.0194 | 1.2548 | 0.94068 | 0.96592 | 2.0955 | -128.5253 | 110.2101 | 1.1609 | -125.4385 | 108.263
Line_2 | 0.06351 | 0.33842 | 0.29278 | 0.063396 | 0.33795 | 0.29233 | 0.73335 | 3.9077 | 3.3808 | 0.73203 | 3.9023 | 3.3755 | -0.83949 | 1.5867 | 2.8734 | 0.85626 | -1.3644 | -2.7753 | 0.30078 | 3.4293 | 1.9029 | -0.33255 | -3.4079 | -1.7113 | -158.1923 | 166.3041 | 76.6959 | 22.3861 | -13.6192 | -103.3952 |  | 1.216 | 0.96696 | 1.0194 | 1.2548 | 0.94068 | 0.96592 | 2.0955 | -128.5253 | 110.2101 | 1.1609 | -125.4385 | 108.263
Line_3 | 0.00029494 | 0.00029494 | 0.00029494 | 0.00029494 | 0.00029494 | 0.00029494 | 0.0034057 | 0.0034057 | 0.0034057 | 0.0034057 | 0.0034057 | 0.0034057 | -0.0027213 | -0.00047531 | 0.0031966 | -0.0027213 | -0.00047531 | 0.0031966 | -0.0031216 | 0.0032587 | -0.0013547 | -0.0031216 | 0.0032587 | -0.0013547 | 133.1762 | 133.1762 | 133.1762 | 133.1762 | 133.1762 | 133.1762 |  | 1.216 | 0.96696 | 1.0194 | 1.216 | 0.96696 | 1.0194 | 2.0955 | -128.5253 | 110.2101 | 2.0955 | -128.5253 | 110.2101

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12698 | 0.67551 | 0.58381 | 0.12679 | 0.6759 | 0.58466 | 1.4662 | 7.8002 | 6.7413 | 1.4641 | 7.8046 | 6.751 | 1.7949 | -1.8398 | -5.1801 | -1.7125 | 2.7287 | 5.5506 | -0.77407 | -6.7496 | -2.6513 | 0.66511 | 6.8157 | 3.4225 | 22.7967 | -13.5477 | -103.4329 | -157.6139 | 166.3808 | 76.6048 |  | 1.3332 | 0.89689 | 0.86321 | 1.2548 | 0.94068 | 0.96592 | -0.53243 | -118.7947 | 103.6715 | 1.1609 | -125.4385 | 108.263
Line_1 | 0.06351 | 0.33842 | 0.29278 | 0.063396 | 0.33795 | 0.29233 | 0.73335 | 3.9077 | 3.3808 | 0.73203 | 3.9023 | 3.3755 | -0.83949 | 1.5867 | 2.8734 | 0.85626 | -1.3644 | -2.7753 | 0.30078 | 3.4293 | 1.9029 | -0.33255 | -3.4079 | -1.7113 | -158.1923 | 166.3041 | 76.6959 | 22.3861 | -13.6192 | -103.3952 |  | 1.216 | 0.96696 | 1.0194 | 1.2548 | 0.94068 | 0.96592 | 2.0955 | -128.5253 | 110.2101 | 1.1609 | -125.4385 | 108.263
Line_2 | 0.06351 | 0.33842 | 0.29278 | 0.063396 | 0.33795 | 0.29233 | 0.73335 | 3.9077 | 3.3808 | 0.73203 | 3.9023 | 3.3755 | -0.83949 | 1.5867 | 2.8734 | 0.85626 | -1.3644 | -2.7753 | 0.30078 | 3.4293 | 1.9029 | -0.33255 | -3.4079 | -1.7113 | -158.1923 | 166.3041 | 76.6959 | 22.3861 | -13.6192 | -103.3952 |  | 1.216 | 0.96696 | 1.0194 | 1.2548 | 0.94068 | 0.96592 | 2.0955 | -128.5253 | 110.2101 | 1.1609 | -125.4385 | 108.263
Line_3 | 0.00029494 | 0.00029494 | 0.00029494 | 0.00029494 | 0.00029494 | 0.00029494 | 0.0034057 | 0.0034057 | 0.0034057 | 0.0034057 | 0.0034057 | 0.0034057 | -0.0027213 | -0.00047531 | 0.0031966 | -0.0027213 | -0.00047531 | 0.0031966 | -0.0031216 | 0.0032587 | -0.0013547 | -0.0031216 | 0.0032587 | -0.0013547 | 133.1762 | 133.1762 | 133.1762 | 133.1762 | 133.1762 | 133.1762 |  | 1.216 | 0.96696 | 1.0194 | 1.216 | 0.96696 | 1.0194 | 2.0955 | -128.5253 | 110.2101 | 2.0955 | -128.5253 | 110.2101

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22385 | 1.5817 | 0.84874 | 0.22531 | 1.5817 | 0.84985 | 2.5848 | 18.2635 | 9.8004 | 2.6016 | 18.2643 | 9.8132 | 2.2692 | -2.3169e-11 | -7.956e-12 | -1.6909 | 6.3268 | -0.072195 | 2.8726 | -2.5561e-11 | -1.6985e-11 | -2.5653 | -0.48081 | 2.596 | -53.4398 | 3.327 | -133.9744 | 126.3378 | -176.7346 | 46.113 |  | 1.4163 | 0 | 0 | 1.181 | 0.3474 | 0.26465 | -1.7473 | 0 | 0 | 2.947 | 178.9196 | 137.706
Line_1 | 0.11355 | 0.79135 | 0.42508 | 0.11265 | 0.79087 | 0.42492 | 1.3112 | 9.1377 | 4.9084 | 1.3008 | 9.1321 | 4.9066 | -0.70476 | 4.7507 | -0.049518 | 0.84544 | -3.1634 | 0.036098 | -1.2086 | -0.3605 | 1.9504 | 1.2826 | 0.24041 | -1.298 | 126.3336 | -176.7893 | 46.232 | -53.6622 | 3.2654 | -133.887 |  | 1.067 | 0.5214 | 0.39748 | 1.181 | 0.3474 | 0.26465 | 6.0852 | 178.8713 | 137.6863 | 2.947 | 178.9196 | 137.706
Line_2 | 0.11355 | 0.79135 | 0.42508 | 0.11265 | 0.79087 | 0.42492 | 1.3112 | 9.1377 | 4.9084 | 1.3008 | 9.1321 | 4.9066 | -0.70476 | 4.7507 | -0.049518 | 0.84544 | -3.1634 | 0.036098 | -1.2086 | -0.3605 | 1.9504 | 1.2826 | 0.24041 | -1.298 | 126.3336 | -176.7893 | 46.232 | -53.6622 | 3.2654 | -133.887 |  | 1.067 | 0.5214 | 0.39748 | 1.181 | 0.3474 | 0.26465 | 6.0852 | 178.8713 | 137.6863 | 2.947 | 178.9196 | 137.706
Line_3 | 0.00038097 | 0.00038097 | 0.00038097 | 0.00038097 | 0.00038097 | 0.00038097 | 0.004399 | 0.004399 | 0.004399 | 0.004399 | 0.004399 | 0.004399 | -0.0036866 | 0.0019655 | 0.0017211 | -0.0036866 | 0.0019655 | 0.0017211 | -0.0029052 | 0.0011822 | -0.00030842 | -0.0029052 | 0.0011822 | -0.00030842 | 147.8457 | 147.8457 | 147.8457 | 147.8457 | 147.8457 | 147.8457 |  | 1.067 | 0.5214 | 0.39748 | 1.067 | 0.5214 | 0.39748 | 6.0852 | 178.8713 | 137.6863 | 6.0852 | 178.8713 | 137.6863

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.22385 | 1.5817 | 0.84874 | 0.22531 | 1.5817 | 0.84985 | 2.5848 | 18.2635 | 9.8004 | 2.6016 | 18.2643 | 9.8132 | 2.2692 | -2.3169e-11 | -7.956e-12 | -1.6909 | 6.3268 | -0.072195 | 2.8726 | -2.5561e-11 | -1.6985e-11 | -2.5653 | -0.48081 | 2.596 | -53.4398 | 3.327 | -133.9744 | 126.3378 | -176.7346 | 46.113 |  | 1.4163 | 0 | 0 | 1.181 | 0.3474 | 0.26465 | -1.7473 | 0 | 0 | 2.947 | 178.9196 | 137.706
Line_1 | 0.11355 | 0.79135 | 0.42508 | 0.11265 | 0.79087 | 0.42492 | 1.3112 | 9.1377 | 4.9084 | 1.3008 | 9.1321 | 4.9066 | -0.70476 | 4.7507 | -0.049518 | 0.84544 | -3.1634 | 0.036098 | -1.2086 | -0.3605 | 1.9504 | 1.2826 | 0.24041 | -1.298 | 126.3336 | -176.7893 | 46.232 | -53.6622 | 3.2654 | -133.887 |  | 1.067 | 0.5214 | 0.39748 | 1.181 | 0.3474 | 0.26465 | 6.0852 | 178.8713 | 137.6863 | 2.947 | 178.9196 | 137.706
Line_2 | 0.11355 | 0.79135 | 0.42508 | 0.11265 | 0.79087 | 0.42492 | 1.3112 | 9.1377 | 4.9084 | 1.3008 | 9.1321 | 4.9066 | -0.70476 | 4.7507 | -0.049518 | 0.84544 | -3.1634 | 0.036098 | -1.2086 | -0.3605 | 1.9504 | 1.2826 | 0.24041 | -1.298 | 126.3336 | -176.7893 | 46.232 | -53.6622 | 3.2654 | -133.887 |  | 1.067 | 0.5214 | 0.39748 | 1.181 | 0.3474 | 0.26465 | 6.0852 | 178.8713 | 137.6863 | 2.947 | 178.9196 | 137.706
Line_3 | 0.00038097 | 0.00038097 | 0.00038097 | 0.00038097 | 0.00038097 | 0.00038097 | 0.004399 | 0.004399 | 0.004399 | 0.004399 | 0.004399 | 0.004399 | -0.0036866 | 0.0019655 | 0.0017211 | -0.0036866 | 0.0019655 | 0.0017211 | -0.0029052 | 0.0011822 | -0.00030842 | -0.0029052 | 0.0011822 | -0.00030842 | 147.8457 | 147.8457 | 147.8457 | 147.8457 | 147.8457 | 147.8457 |  | 1.067 | 0.5214 | 0.39748 | 1.067 | 0.5214 | 0.39748 | 6.0852 | 178.8713 | 137.6863 | 6.0852 | 178.8713 | 137.6863

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16214 | 0.39199 | 0.33795 | 0.16281 | 0.3919 | 0.33882 | 1.8723 | 4.5263 | 3.9023 | 1.88 | 4.5253 | 3.9124 | 1.5976 | -1.9569 | -2.751 | -1.3567 | 2.5547 | 3.1642 | 1.6048 | -2.985 | -0.057121 | -1.5224 | 2.7612 | 0.50417 | -47.2645 | 7.9733 | -79.6641 | 132.5335 | -172.1549 | 100.3146 |  | 1.2095 | 0.78855 | 0.70512 | 1.0847 | 0.83127 | 0.81897 | -2.1367 | -115.2755 | 101.5254 | 0.82707 | -124.9295 | 109.3678
Line_1 | 0.081865 | 0.19614 | 0.16984 | 0.081407 | 0.19595 | 0.16941 | 0.9453 | 2.2649 | 1.9612 | 0.94001 | 2.2627 | 1.9562 | -0.62036 | 1.4273 | 1.6888 | 0.67835 | -1.2773 | -1.5821 | -0.74235 | 1.3276 | 0.36292 | 0.76119 | -1.3806 | -0.25208 | 132.4757 | -172.2786 | 100.3733 | -47.4665 | 7.8451 | -79.6854 |  | 1.0234 | 0.86065 | 0.88078 | 1.0847 | 0.83127 | 0.81897 | 2.5914 | -129.352 | 112.5017 | 0.82707 | -124.9295 | 109.3678
Line_2 | 0.081865 | 0.19614 | 0.16984 | 0.081407 | 0.19595 | 0.16941 | 0.9453 | 2.2649 | 1.9612 | 0.94001 | 2.2627 | 1.9562 | -0.62036 | 1.4273 | 1.6888 | 0.67835 | -1.2773 | -1.5821 | -0.74235 | 1.3276 | 0.36292 | 0.76119 | -1.3806 | -0.25208 | 132.4757 | -172.2786 | 100.3733 | -47.4665 | 7.8451 | -79.6854 |  | 1.0234 | 0.86065 | 0.88078 | 1.0847 | 0.83127 | 0.81897 | 2.5914 | -129.352 | 112.5017 | 0.82707 | -124.9295 | 109.3678
Line_3 | 0.00019748 | 0.00019748 | 0.00019748 | 0.00019748 | 0.00019748 | 0.00019748 | 0.0022803 | 0.0022803 | 0.0022803 | 0.0022803 | 0.0022803 | 0.0022803 | -0.0018326 | 0.00012626 | 0.0017063 | -0.0018326 | 0.00012626 | 0.0017063 | -0.0014449 | 0.0019585 | -0.0010594 | -0.0014449 | 0.0019585 | -0.0010594 | 144.3368 | 144.3368 | 144.3368 | 144.3368 | 144.3368 | 144.3368 |  | 1.0234 | 0.86065 | 0.88078 | 1.0234 | 0.86065 | 0.88078 | 2.5914 | -129.352 | 112.5017 | 2.5914 | -129.352 | 112.5017

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.16214 | 0.39199 | 0.33795 | 0.16281 | 0.3919 | 0.33882 | 1.8723 | 4.5263 | 3.9023 | 1.88 | 4.5253 | 3.9124 | 1.5976 | -1.9569 | -2.751 | -1.3567 | 2.5547 | 3.1642 | 1.6048 | -2.985 | -0.057121 | -1.5224 | 2.7612 | 0.50417 | -47.2645 | 7.9733 | -79.6641 | 132.5335 | -172.1549 | 100.3146 |  | 1.2095 | 0.78855 | 0.70512 | 1.0847 | 0.83127 | 0.81897 | -2.1367 | -115.2755 | 101.5254 | 0.82707 | -124.9295 | 109.3678
Line_1 | 0.081865 | 0.19614 | 0.16984 | 0.081407 | 0.19595 | 0.16941 | 0.9453 | 2.2649 | 1.9612 | 0.94001 | 2.2627 | 1.9562 | -0.62036 | 1.4273 | 1.6888 | 0.67835 | -1.2773 | -1.5821 | -0.74235 | 1.3276 | 0.36292 | 0.76119 | -1.3806 | -0.25208 | 132.4757 | -172.2786 | 100.3733 | -47.4665 | 7.8451 | -79.6854 |  | 1.0234 | 0.86065 | 0.88078 | 1.0847 | 0.83127 | 0.81897 | 2.5914 | -129.352 | 112.5017 | 0.82707 | -124.9295 | 109.3678
Line_2 | 0.081865 | 0.19614 | 0.16984 | 0.081407 | 0.19595 | 0.16941 | 0.9453 | 2.2649 | 1.9612 | 0.94001 | 2.2627 | 1.9562 | -0.62036 | 1.4273 | 1.6888 | 0.67835 | -1.2773 | -1.5821 | -0.74235 | 1.3276 | 0.36292 | 0.76119 | -1.3806 | -0.25208 | 132.4757 | -172.2786 | 100.3733 | -47.4665 | 7.8451 | -79.6854 |  | 1.0234 | 0.86065 | 0.88078 | 1.0847 | 0.83127 | 0.81897 | 2.5914 | -129.352 | 112.5017 | 0.82707 | -124.9295 | 109.3678
Line_3 | 0.00019748 | 0.00019748 | 0.00019748 | 0.00019748 | 0.00019748 | 0.00019748 | 0.0022803 | 0.0022803 | 0.0022803 | 0.0022803 | 0.0022803 | 0.0022803 | -0.0018326 | 0.00012626 | 0.0017063 | -0.0018326 | 0.00012626 | 0.0017063 | -0.0014449 | 0.0019585 | -0.0010594 | -0.0014449 | 0.0019585 | -0.0010594 | 144.3368 | 144.3368 | 144.3368 | 144.3368 | 144.3368 | 144.3368 |  | 1.0234 | 0.86065 | 0.88078 | 1.0234 | 0.86065 | 0.88078 | 2.5914 | -129.352 | 112.5017 | 2.5914 | -129.352 | 112.5017