## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3723e-15 | 7.6664e-15 | -9.8444e-15 | -1.151e-14 | 1.1331e-14 | -9.8444e-15 | -1.1382e-14 | -4.9985e-15 | 2.1578e-15 | 1.1e-14 | 9.0004e-15 | 2.1578e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -5.3723e-15 | 7.6664e-15 | -9.8444e-15 | -1.151e-14 | 1.1331e-14 | -9.8444e-15 | -1.1382e-14 | -4.9985e-15 | 2.1578e-15 | 1.1e-14 | 9.0004e-15 | 2.1578e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1552e-15 | -6.186e-15 | -4.8038e-16 | -5.5339e-15 | 8.0547e-15 | 6.4635e-15 | -5.5243e-15 | 9.9884e-16 | 8.6799e-16 | 2.7574e-15 | 4.285e-15 | 4.711e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.1552e-15 | -6.186e-15 | -4.8038e-16 | -5.5339e-15 | 8.0547e-15 | 6.4635e-15 | -5.5243e-15 | 9.9884e-16 | 8.6799e-16 | 2.7574e-15 | 4.285e-15 | 4.711e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4182e-15 | 3.7449e-15 | -8.4844e-16 | 0 | -1.4829e-15 | -1.022e-15 | -9.643e-17 | 4.0217e-15 | 4.252e-15 | 0 | -3.5194e-16 | -3.741e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4182e-15 | 3.7449e-15 | -8.4844e-16 | 0 | -1.4829e-15 | -1.022e-15 | -9.643e-17 | 4.0217e-15 | 4.252e-15 | 0 | -3.5194e-16 | -3.741e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9665e-16 | 1.1888e-15 | -7.1258e-16 | -4.443e-16 | 3.4323e-15 | 4.309e-15 | -2.3871e-15 | 4.2378e-15 | 1.3062e-15 | -7.5108e-18 | -5.8154e-15 | -7.9713e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -9.9665e-16 | 1.1888e-15 | -7.1258e-16 | -4.443e-16 | 3.4323e-15 | 4.309e-15 | -2.3871e-15 | 4.2378e-15 | 1.3062e-15 | -7.5108e-18 | -5.8154e-15 | -7.9713e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7737 | 0.75497 | 0.8681 | 1.7766 | 0.75813 | 0.87038 | 20.4814 | 8.7176 | 10.0239 | 20.5145 | 8.7541 | 10.0502 | 6.226e-11 | -3.4122 | 17.4596 | 7.8918 | 6.187 | -13.9078 | -6.7616e-11 | 12.1363 | 0.34277 | 3.7785 | -10.4983 | 0.094876 | 118.0197 | 106.2729 | 134.4419 | -62.0352 | -73.8087 | -45.7189 |  | 0 | 1.4461 | 1.7421 | 0.42651 | 1.392 | 1.3839 | 0 | -148.0235 | 135.5666 | -36.4503 | -133.2966 | 133.8902
Line_1 | 0.89062 | 0.3814 | 0.4373 | 0.88831 | 0.37906 | 0.43519 | 10.2839 | 4.4041 | 5.0495 | 10.2573 | 4.3771 | 5.0251 | 5.94 | 3.8043 | -6.0812 | -3.9459 | -3.0935 | 6.9539 | 2.8443 | -4.8582 | 0.15527 | -1.8893 | 5.2492 | -0.047438 | -62.0599 | -73.7944 | -45.8522 | 117.9648 | 106.1913 | 134.2811 |  | 0.6404 | 1.4011 | 1.2047 | 0.42651 | 1.392 | 1.3839 | -36.4732 | -125.731 | 132.6852 | -36.4503 | -133.2966 | 133.8902
Line_2 | 0.89062 | 0.3814 | 0.4373 | 0.88831 | 0.37906 | 0.43519 | 10.2839 | 4.4041 | 5.0495 | 10.2573 | 4.3771 | 5.0251 | 5.94 | 3.8043 | -6.0812 | -3.9459 | -3.0935 | 6.9539 | 2.8443 | -4.8582 | 0.15527 | -1.8893 | 5.2492 | -0.047438 | -62.0599 | -73.7944 | -45.8522 | 117.9648 | 106.1913 | 134.2811 |  | 0.6404 | 1.4011 | 1.2047 | 0.42651 | 1.392 | 1.3839 | -36.4732 | -125.731 | 132.6852 | -36.4503 | -133.2966 | 133.8902
Line_3 | 0.0010611 | 0.0010611 | 0.0010611 | 0.0010611 | 0.0010611 | 0.0010611 | 0.012253 | 0.012253 | 0.012253 | 0.012253 | 0.012253 | 0.012253 | 0.0071641 | 0.0072049 | -0.014369 | 0.0071641 | 0.0072049 | -0.014369 | 0.0032007 | -0.015582 | -0.0033786 | 0.0032007 | -0.015582 | -0.0033786 | -60.5465 | -60.5465 | -60.5465 | -60.5465 | -60.5465 | -60.5465 |  | 0.6404 | 1.4011 | 1.2047 | 0.6404 | 1.4011 | 1.2047 | -36.4732 | -125.731 | 132.6852 | -36.4732 | -125.731 | 132.6852

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7737 | 0.75497 | 0.8681 | 1.7766 | 0.75813 | 0.87038 | 20.4814 | 8.7176 | 10.0239 | 20.5145 | 8.7541 | 10.0502 | 6.226e-11 | -3.4122 | 17.4596 | 7.8918 | 6.187 | -13.9078 | -6.7616e-11 | 12.1363 | 0.34277 | 3.7785 | -10.4983 | 0.094876 | 118.0197 | 106.2729 | 134.4419 | -62.0352 | -73.8087 | -45.7189 |  | 0 | 1.4461 | 1.7421 | 0.42651 | 1.392 | 1.3839 | 0 | -148.0235 | 135.5666 | -36.4503 | -133.2966 | 133.8902
Line_1 | 0.89062 | 0.3814 | 0.4373 | 0.88831 | 0.37906 | 0.43519 | 10.2839 | 4.4041 | 5.0495 | 10.2573 | 4.3771 | 5.0251 | 5.94 | 3.8043 | -6.0812 | -3.9459 | -3.0935 | 6.9539 | 2.8443 | -4.8582 | 0.15527 | -1.8893 | 5.2492 | -0.047438 | -62.0599 | -73.7944 | -45.8522 | 117.9648 | 106.1913 | 134.2811 |  | 0.6404 | 1.4011 | 1.2047 | 0.42651 | 1.392 | 1.3839 | -36.4732 | -125.731 | 132.6852 | -36.4503 | -133.2966 | 133.8902
Line_2 | 0.89062 | 0.3814 | 0.4373 | 0.88831 | 0.37906 | 0.43519 | 10.2839 | 4.4041 | 5.0495 | 10.2573 | 4.3771 | 5.0251 | 5.94 | 3.8043 | -6.0812 | -3.9459 | -3.0935 | 6.9539 | 2.8443 | -4.8582 | 0.15527 | -1.8893 | 5.2492 | -0.047438 | -62.0599 | -73.7944 | -45.8522 | 117.9648 | 106.1913 | 134.2811 |  | 0.6404 | 1.4011 | 1.2047 | 0.42651 | 1.392 | 1.3839 | -36.4732 | -125.731 | 132.6852 | -36.4503 | -133.2966 | 133.8902
Line_3 | 0.0010611 | 0.0010611 | 0.0010611 | 0.0010611 | 0.0010611 | 0.0010611 | 0.012253 | 0.012253 | 0.012253 | 0.012253 | 0.012253 | 0.012253 | 0.0071641 | 0.0072049 | -0.014369 | 0.0071641 | 0.0072049 | -0.014369 | 0.0032007 | -0.015582 | -0.0033786 | 0.0032007 | -0.015582 | -0.0033786 | -60.5465 | -60.5465 | -60.5465 | -60.5465 | -60.5465 | -60.5465 |  | 0.6404 | 1.4011 | 1.2047 | 0.6404 | 1.4011 | 1.2047 | -36.4732 | -125.731 | 132.6852 | -36.4732 | -125.731 | 132.6852

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76781 | 0.16082 | 0.41029 | 0.76892 | 0.16201 | 0.41076 | 8.8659 | 1.857 | 4.7376 | 8.8787 | 1.8707 | 4.7431 | -3.8471 | -1.8712 | 5.1049 | 5.0879 | 2.0086 | -4.5157 | -5.3386 | 1.4001 | -3.6414 | 6.1253 | -1.2131 | 3.5519 | 120.255 | 86.0684 | 164.18 | -59.7802 | -93.8485 | -15.9751 |  | 0.74221 | 1.2585 | 1.3236 | 0.89684 | 1.2543 | 1.2113 | -5.522 | -130.7359 | 128.6793 | -9.4942 | -124.9777 | 125.8375
Line_1 | 0.38531 | 0.081722 | 0.20598 | 0.38446 | 0.081004 | 0.20538 | 4.4491 | 0.94365 | 2.3784 | 4.4394 | 0.93535 | 2.3715 | 2.8607 | 1.0419 | -2.1174 | -2.5439 | -1.0043 | 2.2579 | 3.2644 | -0.56707 | 1.7546 | -3.0627 | 0.60654 | -1.776 | -59.7841 | -93.5312 | -16.1437 | 120.2198 | 86.1515 | 164.0249 |  | 0.97559 | 1.2571 | 1.1562 | 0.89684 | 1.2543 | 1.2113 | -11.0133 | -122.0882 | 124.2102 | -9.4942 | -124.9777 | 125.8375
Line_2 | 0.38531 | 0.081722 | 0.20598 | 0.38446 | 0.081004 | 0.20538 | 4.4491 | 0.94365 | 2.3784 | 4.4394 | 0.93535 | 2.3715 | 2.8607 | 1.0419 | -2.1174 | -2.5439 | -1.0043 | 2.2579 | 3.2644 | -0.56707 | 1.7546 | -3.0627 | 0.60654 | -1.776 | -59.7841 | -93.5312 | -16.1437 | 120.2198 | 86.1515 | 164.0249 |  | 0.97559 | 1.2571 | 1.1562 | 0.89684 | 1.2543 | 1.2113 | -11.0133 | -122.0882 | 124.2102 | -9.4942 | -124.9777 | 125.8375
Line_3 | 0.00038427 | 0.00038427 | 0.00038427 | 0.00038427 | 0.00038427 | 0.00038427 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0033332 | 0.0017764 | -0.0051096 | 0.0033332 | 0.0017764 | -0.0051096 | 0.0027619 | -0.0052875 | 0.00045882 | 0.0027619 | -0.0052875 | 0.00045882 | -50.6586 | -50.6586 | -50.6586 | -50.6586 | -50.6586 | -50.6586 |  | 0.97559 | 1.2571 | 1.1562 | 0.97559 | 1.2571 | 1.1562 | -11.0133 | -122.0882 | 124.2102 | -11.0133 | -122.0882 | 124.2102

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76781 | 0.16082 | 0.41029 | 0.76892 | 0.16201 | 0.41076 | 8.8659 | 1.857 | 4.7376 | 8.8787 | 1.8707 | 4.7431 | -3.8471 | -1.8712 | 5.1049 | 5.0879 | 2.0086 | -4.5157 | -5.3386 | 1.4001 | -3.6414 | 6.1253 | -1.2131 | 3.5519 | 120.255 | 86.0684 | 164.18 | -59.7802 | -93.8485 | -15.9751 |  | 0.74221 | 1.2585 | 1.3236 | 0.89684 | 1.2543 | 1.2113 | -5.522 | -130.7359 | 128.6793 | -9.4942 | -124.9777 | 125.8375
Line_1 | 0.38531 | 0.081722 | 0.20598 | 0.38446 | 0.081004 | 0.20538 | 4.4491 | 0.94365 | 2.3784 | 4.4394 | 0.93535 | 2.3715 | 2.8607 | 1.0419 | -2.1174 | -2.5439 | -1.0043 | 2.2579 | 3.2644 | -0.56707 | 1.7546 | -3.0627 | 0.60654 | -1.776 | -59.7841 | -93.5312 | -16.1437 | 120.2198 | 86.1515 | 164.0249 |  | 0.97559 | 1.2571 | 1.1562 | 0.89684 | 1.2543 | 1.2113 | -11.0133 | -122.0882 | 124.2102 | -9.4942 | -124.9777 | 125.8375
Line_2 | 0.38531 | 0.081722 | 0.20598 | 0.38446 | 0.081004 | 0.20538 | 4.4491 | 0.94365 | 2.3784 | 4.4394 | 0.93535 | 2.3715 | 2.8607 | 1.0419 | -2.1174 | -2.5439 | -1.0043 | 2.2579 | 3.2644 | -0.56707 | 1.7546 | -3.0627 | 0.60654 | -1.776 | -59.7841 | -93.5312 | -16.1437 | 120.2198 | 86.1515 | 164.0249 |  | 0.97559 | 1.2571 | 1.1562 | 0.89684 | 1.2543 | 1.2113 | -11.0133 | -122.0882 | 124.2102 | -9.4942 | -124.9777 | 125.8375
Line_3 | 0.00038427 | 0.00038427 | 0.00038427 | 0.00038427 | 0.00038427 | 0.00038427 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0044371 | 0.0033332 | 0.0017764 | -0.0051096 | 0.0033332 | 0.0017764 | -0.0051096 | 0.0027619 | -0.0052875 | 0.00045882 | 0.0027619 | -0.0052875 | 0.00045882 | -50.6586 | -50.6586 | -50.6586 | -50.6586 | -50.6586 | -50.6586 |  | 0.97559 | 1.2571 | 1.1562 | 0.97559 | 1.2571 | 1.1562 | -11.0133 | -122.0882 | 124.2102 | -11.0133 | -122.0882 | 124.2102

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1066 | 0.64078 | 0.57731 | 1.1083 | 0.64274 | 0.57926 | 12.778 | 7.3991 | 6.6662 | 12.7974 | 7.4217 | 6.6887 | -1.9053e-11 | 3.0965 | 11.0268 | 6.4948 | 0.34273 | -8.0171 | 5.5284e-12 | 9.524 | 0.4841 | 1.1607 | -8.7012 | 0.2083 | 141.4306 | 134.5864 | 135 | -38.6973 | -45.6148 | -45.2246 |  | 0 | 1.3535 | 1.6557 | 0.51555 | 1.1733 | 1.199 | 0 | -153.4244 | 137.5138 | -28.5649 | -133.3591 | 133.2871
Line_1 | 0.55556 | 0.32286 | 0.29112 | 0.55414 | 0.32137 | 0.28963 | 6.4151 | 3.7281 | 3.3615 | 6.3987 | 3.7108 | 3.3443 | 4.8877 | 1.0396 | -3.2616 | -3.2474 | -0.17136 | 4.0085 | 0.87589 | -4.1538 | 0.28302 | -0.58035 | 4.3506 | -0.10415 | -38.7676 | -45.7045 | -45.3261 | 141.3027 | 134.3852 | 134.7754 |  | 0.77405 | 1.1486 | 0.97393 | 0.51555 | 1.1733 | 1.199 | -28.608 | -121.6528 | 129.7145 | -28.5649 | -133.3591 | 133.2871
Line_2 | 0.55556 | 0.32286 | 0.29112 | 0.55414 | 0.32137 | 0.28963 | 6.4151 | 3.7281 | 3.3615 | 6.3987 | 3.7108 | 3.3443 | 4.8877 | 1.0396 | -3.2616 | -3.2474 | -0.17136 | 4.0085 | 0.87589 | -4.1538 | 0.28302 | -0.58035 | 4.3506 | -0.10415 | -38.7676 | -45.7045 | -45.3261 | 141.3027 | 134.3852 | 134.7754 |  | 0.77405 | 1.1486 | 0.97393 | 0.51555 | 1.1733 | 1.199 | -28.608 | -121.6528 | 129.7145 | -28.5649 | -133.3591 | 133.2871
Line_3 | 0.00066845 | 0.00066845 | 0.00066845 | 0.00066845 | 0.00066845 | 0.00066845 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0058044 | 0.0016403 | -0.0074447 | 0.0058044 | 0.0016403 | -0.0074447 | 0.0014157 | -0.0087121 | 0.0010423 | 0.0014157 | -0.0087121 | 0.0010423 | -42.3153 | -42.3153 | -42.3153 | -42.3153 | -42.3153 | -42.3153 |  | 0.77405 | 1.1486 | 0.97393 | 0.77405 | 1.1486 | 0.97393 | -28.608 | -121.6528 | 129.7145 | -28.608 | -121.6528 | 129.7145

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1066 | 0.64078 | 0.57731 | 1.1083 | 0.64274 | 0.57926 | 12.778 | 7.3991 | 6.6662 | 12.7974 | 7.4217 | 6.6887 | -1.9053e-11 | 3.0965 | 11.0268 | 6.4948 | 0.34273 | -8.0171 | 5.5284e-12 | 9.524 | 0.4841 | 1.1607 | -8.7012 | 0.2083 | 141.4306 | 134.5864 | 135 | -38.6973 | -45.6148 | -45.2246 |  | 0 | 1.3535 | 1.6557 | 0.51555 | 1.1733 | 1.199 | 0 | -153.4244 | 137.5138 | -28.5649 | -133.3591 | 133.2871
Line_1 | 0.55556 | 0.32286 | 0.29112 | 0.55414 | 0.32137 | 0.28963 | 6.4151 | 3.7281 | 3.3615 | 6.3987 | 3.7108 | 3.3443 | 4.8877 | 1.0396 | -3.2616 | -3.2474 | -0.17136 | 4.0085 | 0.87589 | -4.1538 | 0.28302 | -0.58035 | 4.3506 | -0.10415 | -38.7676 | -45.7045 | -45.3261 | 141.3027 | 134.3852 | 134.7754 |  | 0.77405 | 1.1486 | 0.97393 | 0.51555 | 1.1733 | 1.199 | -28.608 | -121.6528 | 129.7145 | -28.5649 | -133.3591 | 133.2871
Line_2 | 0.55556 | 0.32286 | 0.29112 | 0.55414 | 0.32137 | 0.28963 | 6.4151 | 3.7281 | 3.3615 | 6.3987 | 3.7108 | 3.3443 | 4.8877 | 1.0396 | -3.2616 | -3.2474 | -0.17136 | 4.0085 | 0.87589 | -4.1538 | 0.28302 | -0.58035 | 4.3506 | -0.10415 | -38.7676 | -45.7045 | -45.3261 | 141.3027 | 134.3852 | 134.7754 |  | 0.77405 | 1.1486 | 0.97393 | 0.51555 | 1.1733 | 1.199 | -28.608 | -121.6528 | 129.7145 | -28.5649 | -133.3591 | 133.2871
Line_3 | 0.00066845 | 0.00066845 | 0.00066845 | 0.00066845 | 0.00066845 | 0.00066845 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0077186 | 0.0058044 | 0.0016403 | -0.0074447 | 0.0058044 | 0.0016403 | -0.0074447 | 0.0014157 | -0.0087121 | 0.0010423 | 0.0014157 | -0.0087121 | 0.0010423 | -42.3153 | -42.3153 | -42.3153 | -42.3153 | -42.3153 | -42.3153 |  | 0.77405 | 1.1486 | 0.97393 | 0.77405 | 1.1486 | 0.97393 | -28.608 | -121.6528 | 129.7145 | -28.608 | -121.6528 | 129.7145

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4572 | 0.26474 | 0.23852 | 0.45789 | 0.26555 | 0.23932 | 5.2793 | 3.057 | 2.7542 | 5.2873 | 3.0663 | 2.7634 | -2.321 | -0.036837 | 3.4637 | 3.4286 | 0.63162 | -2.9566 | -2.0547 | 3.3293 | -0.25506 | 2.2611 | -3.192 | 0.36816 | 139.7007 | 132.8566 | 133.2702 | -40.4271 | -47.3446 | -46.9544 |  | 0.58717 | 1.0891 | 1.261 | 0.77678 | 1.0612 | 1.0782 | 1.2171 | -136.5095 | 129.0587 | -7.0231 | -126.1518 | 125.9476
Line_1 | 0.22953 | 0.13339 | 0.12028 | 0.22895 | 0.13277 | 0.11966 | 2.6504 | 1.5403 | 1.3888 | 2.6436 | 1.5331 | 1.3817 | 1.996 | 0.46669 | -1.3552 | -1.7143 | -0.31581 | 1.4783 | 1.1851 | -1.5659 | 0.21405 | -1.1305 | 1.596 | -0.18408 | -40.4974 | -47.4344 | -47.056 | 139.5729 | 132.6554 | 133.0456 |  | 0.87582 | 1.0609 | 0.98788 | 0.77678 | 1.0612 | 1.0782 | -9.7991 | -120.8386 | 123.9683 | -7.0231 | -126.1518 | 125.9476
Line_2 | 0.22953 | 0.13339 | 0.12028 | 0.22895 | 0.13277 | 0.11966 | 2.6504 | 1.5403 | 1.3888 | 2.6436 | 1.5331 | 1.3817 | 1.996 | 0.46669 | -1.3552 | -1.7143 | -0.31581 | 1.4783 | 1.1851 | -1.5659 | 0.21405 | -1.1305 | 1.596 | -0.18408 | -40.4974 | -47.4344 | -47.056 | 139.5729 | 132.6554 | 133.0456 |  | 0.87582 | 1.0609 | 0.98788 | 0.77678 | 1.0612 | 1.0782 | -9.7991 | -120.8386 | 123.9683 | -7.0231 | -126.1518 | 125.9476
Line_3 | 0.00027617 | 0.00027617 | 0.00027617 | 0.00027617 | 0.00027617 | 0.00027617 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0023087 | 0.00077288 | -0.0030816 | 0.0023087 | 0.00077288 | -0.0030816 | 0.0015717 | -0.0032935 | 0.00065426 | 0.0015717 | -0.0032935 | 0.00065426 | -44.0451 | -44.0451 | -44.0451 | -44.0451 | -44.0451 | -44.0451 |  | 0.87582 | 1.0609 | 0.98788 | 0.87582 | 1.0609 | 0.98788 | -9.7991 | -120.8386 | 123.9683 | -9.7991 | -120.8386 | 123.9683

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.4572 | 0.26474 | 0.23852 | 0.45789 | 0.26555 | 0.23932 | 5.2793 | 3.057 | 2.7542 | 5.2873 | 3.0663 | 2.7634 | -2.321 | -0.036837 | 3.4637 | 3.4286 | 0.63162 | -2.9566 | -2.0547 | 3.3293 | -0.25506 | 2.2611 | -3.192 | 0.36816 | 139.7007 | 132.8566 | 133.2702 | -40.4271 | -47.3446 | -46.9544 |  | 0.58717 | 1.0891 | 1.261 | 0.77678 | 1.0612 | 1.0782 | 1.2171 | -136.5095 | 129.0587 | -7.0231 | -126.1518 | 125.9476
Line_1 | 0.22953 | 0.13339 | 0.12028 | 0.22895 | 0.13277 | 0.11966 | 2.6504 | 1.5403 | 1.3888 | 2.6436 | 1.5331 | 1.3817 | 1.996 | 0.46669 | -1.3552 | -1.7143 | -0.31581 | 1.4783 | 1.1851 | -1.5659 | 0.21405 | -1.1305 | 1.596 | -0.18408 | -40.4974 | -47.4344 | -47.056 | 139.5729 | 132.6554 | 133.0456 |  | 0.87582 | 1.0609 | 0.98788 | 0.77678 | 1.0612 | 1.0782 | -9.7991 | -120.8386 | 123.9683 | -7.0231 | -126.1518 | 125.9476
Line_2 | 0.22953 | 0.13339 | 0.12028 | 0.22895 | 0.13277 | 0.11966 | 2.6504 | 1.5403 | 1.3888 | 2.6436 | 1.5331 | 1.3817 | 1.996 | 0.46669 | -1.3552 | -1.7143 | -0.31581 | 1.4783 | 1.1851 | -1.5659 | 0.21405 | -1.1305 | 1.596 | -0.18408 | -40.4974 | -47.4344 | -47.056 | 139.5729 | 132.6554 | 133.0456 |  | 0.87582 | 1.0609 | 0.98788 | 0.77678 | 1.0612 | 1.0782 | -9.7991 | -120.8386 | 123.9683 | -7.0231 | -126.1518 | 125.9476
Line_3 | 0.00027617 | 0.00027617 | 0.00027617 | 0.00027617 | 0.00027617 | 0.00027617 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0031889 | 0.0023087 | 0.00077288 | -0.0030816 | 0.0023087 | 0.00077288 | -0.0030816 | 0.0015717 | -0.0032935 | 0.00065426 | 0.0015717 | -0.0032935 | 0.00065426 | -44.0451 | -44.0451 | -44.0451 | -44.0451 | -44.0451 | -44.0451 |  | 0.87582 | 1.0609 | 0.98788 | 0.87582 | 1.0609 | 0.98788 | -9.7991 | -120.8386 | 123.9683 | -9.7991 | -120.8386 | 123.9683

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24911 | 2.0341 | 1.3265 | 0.25084 | 2.0348 | 1.328 | 2.8764 | 23.4879 | 15.3169 | 2.8964 | 23.4958 | 15.3341 | 3.1178 | 3.1048e-11 | 1.9434e-11 | -2.5198 | 6.5033 | 0.77592 | 3.3548 | -8.7186e-12 | -7.3887e-12 | -3.2266 | 0.54563 | 4.1346 | -48.7742 | -12.6412 | -128.9361 | 130.9479 | 167.3024 | 51.1285 |  | 1.5922 | 0 | 0 | 1.4134 | 0.27776 | 0.27434 | -1.6774 | 0 | 0 | 2.9602 | 172.0983 | 130.4998
Line_1 | 0.12686 | 1.0184 | 0.66459 | 0.12542 | 1.0174 | 0.66399 | 1.4649 | 11.7589 | 7.674 | 1.4482 | 11.7479 | 7.6671 | -1.1168 | 4.8856 | 0.58944 | 1.2599 | -3.2516 | -0.38796 | -1.5928 | 0.412 | 3.1058 | 1.6133 | -0.27281 | -2.0673 | 130.7892 | 167.2384 | 51.2455 | -49.0521 | -12.6976 | -128.8715 |  | 1.328 | 0.41695 | 0.41194 | 1.4134 | 0.27776 | 0.27434 | 5.7532 | 172.0588 | 130.4994 | 2.9602 | 172.0983 | 130.4998
Line_2 | 0.12686 | 1.0184 | 0.66459 | 0.12542 | 1.0174 | 0.66399 | 1.4649 | 11.7589 | 7.674 | 1.4482 | 11.7479 | 7.6671 | -1.1168 | 4.8856 | 0.58944 | 1.2599 | -3.2516 | -0.38796 | -1.5928 | 0.412 | 3.1058 | 1.6133 | -0.27281 | -2.0673 | 130.7892 | 167.2384 | 51.2455 | -49.0521 | -12.6976 | -128.8715 |  | 1.328 | 0.41695 | 0.41194 | 1.4134 | 0.27776 | 0.27434 | 5.7532 | 172.0588 | 130.4994 | 2.9602 | 172.0983 | 130.4998
Line_3 | 0.00067256 | 0.00067256 | 0.00067256 | 0.00067256 | 0.00067256 | 0.00067256 | 0.0077661 | 0.0077661 | 0.0077661 | 0.0077661 | 0.0077661 | 0.0077661 | -0.0055308 | 0.0023342 | 0.0031966 | -0.0055308 | 0.0023342 | 0.0031966 | -0.0087049 | 0.0022443 | 0.00012927 | -0.0087049 | 0.0022443 | 0.00012927 | 128.1836 | 128.1836 | 128.1836 | 128.1836 | 128.1836 | 128.1836 |  | 1.328 | 0.41695 | 0.41194 | 1.328 | 0.41695 | 0.41194 | 5.7532 | 172.0588 | 130.4994 | 5.7532 | 172.0588 | 130.4994

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24911 | 2.0341 | 1.3265 | 0.25084 | 2.0348 | 1.328 | 2.8764 | 23.4879 | 15.3169 | 2.8964 | 23.4958 | 15.3341 | 3.1178 | 3.1048e-11 | 1.9434e-11 | -2.5198 | 6.5033 | 0.77592 | 3.3548 | -8.7186e-12 | -7.3887e-12 | -3.2266 | 0.54563 | 4.1346 | -48.7742 | -12.6412 | -128.9361 | 130.9479 | 167.3024 | 51.1285 |  | 1.5922 | 0 | 0 | 1.4134 | 0.27776 | 0.27434 | -1.6774 | 0 | 0 | 2.9602 | 172.0983 | 130.4998
Line_1 | 0.12686 | 1.0184 | 0.66459 | 0.12542 | 1.0174 | 0.66399 | 1.4649 | 11.7589 | 7.674 | 1.4482 | 11.7479 | 7.6671 | -1.1168 | 4.8856 | 0.58944 | 1.2599 | -3.2516 | -0.38796 | -1.5928 | 0.412 | 3.1058 | 1.6133 | -0.27281 | -2.0673 | 130.7892 | 167.2384 | 51.2455 | -49.0521 | -12.6976 | -128.8715 |  | 1.328 | 0.41695 | 0.41194 | 1.4134 | 0.27776 | 0.27434 | 5.7532 | 172.0588 | 130.4994 | 2.9602 | 172.0983 | 130.4998
Line_2 | 0.12686 | 1.0184 | 0.66459 | 0.12542 | 1.0174 | 0.66399 | 1.4649 | 11.7589 | 7.674 | 1.4482 | 11.7479 | 7.6671 | -1.1168 | 4.8856 | 0.58944 | 1.2599 | -3.2516 | -0.38796 | -1.5928 | 0.412 | 3.1058 | 1.6133 | -0.27281 | -2.0673 | 130.7892 | 167.2384 | 51.2455 | -49.0521 | -12.6976 | -128.8715 |  | 1.328 | 0.41695 | 0.41194 | 1.4134 | 0.27776 | 0.27434 | 5.7532 | 172.0588 | 130.4994 | 2.9602 | 172.0983 | 130.4998
Line_3 | 0.00067256 | 0.00067256 | 0.00067256 | 0.00067256 | 0.00067256 | 0.00067256 | 0.0077661 | 0.0077661 | 0.0077661 | 0.0077661 | 0.0077661 | 0.0077661 | -0.0055308 | 0.0023342 | 0.0031966 | -0.0055308 | 0.0023342 | 0.0031966 | -0.0087049 | 0.0022443 | 0.00012927 | -0.0087049 | 0.0022443 | 0.00012927 | 128.1836 | 128.1836 | 128.1836 | 128.1836 | 128.1836 | 128.1836 |  | 1.328 | 0.41695 | 0.41194 | 1.328 | 0.41695 | 0.41194 | 5.7532 | 172.0588 | 130.4994 | 5.7532 | 172.0588 | 130.4994

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12713 | 0.68621 | 0.60255 | 0.12711 | 0.68662 | 0.60347 | 1.468 | 7.9237 | 6.9577 | 1.4678 | 7.9284 | 6.9683 | 1.9452 | -1.5484 | -5.3625 | -1.8386 | 2.4986 | 5.7946 | -0.39431 | -6.9338 | -2.5352 | 0.29337 | 6.9877 | 3.3669 | 10.6568 | -15.1618 | -102.4677 | -169.7894 | 164.7629 | 77.567 |  | 1.352 | 0.89662 | 0.85253 | 1.2685 | 0.936 | 0.96175 | -0.80235 | -117.7499 | 102.8349 | 1.1448 | -124.9129 | 107.7255
Line_1 | 0.063799 | 0.34381 | 0.30225 | 0.063557 | 0.34331 | 0.30174 | 0.73669 | 3.9699 | 3.49 | 0.73389 | 3.9642 | 3.4841 | -0.89652 | 1.4868 | 3.0113 | 0.91929 | -1.2493 | -2.8973 | 0.11645 | 3.5125 | 1.8903 | -0.14668 | -3.4938 | -1.6834 | -170.375 | 164.682 | 77.6565 | 10.2106 | -15.2371 | -102.433 |  | 1.2272 | 0.96078 | 1.0187 | 1.2685 | 0.936 | 0.96175 | 2.2243 | -128.2602 | 109.7747 | 1.1448 | -124.9129 | 107.7255
Line_2 | 0.063799 | 0.34381 | 0.30225 | 0.063557 | 0.34331 | 0.30174 | 0.73669 | 3.9699 | 3.49 | 0.73389 | 3.9642 | 3.4841 | -0.89652 | 1.4868 | 3.0113 | 0.91929 | -1.2493 | -2.8973 | 0.11645 | 3.5125 | 1.8903 | -0.14668 | -3.4938 | -1.6834 | -170.375 | 164.682 | 77.6565 | 10.2106 | -15.2371 | -102.433 |  | 1.2272 | 0.96078 | 1.0187 | 1.2685 | 0.936 | 0.96175 | 2.2243 | -128.2602 | 109.7747 | 1.1448 | -124.9129 | 107.7255
Line_3 | 0.0003148 | 0.0003148 | 0.0003148 | 0.0003148 | 0.0003148 | 0.0003148 | 0.003635 | 0.003635 | 0.003635 | 0.003635 | 0.003635 | 0.003635 | -0.0028122 | -0.00063248 | 0.0034447 | -0.0028122 | -0.00063248 | 0.0034447 | -0.0034627 | 0.0034347 | -0.0013591 | -0.0034627 | 0.0034347 | -0.0013591 | 131.3061 | 131.3061 | 131.3061 | 131.3061 | 131.3061 | 131.3061 |  | 1.2272 | 0.96078 | 1.0187 | 1.2272 | 0.96078 | 1.0187 | 2.2243 | -128.2602 | 109.7747 | 2.2243 | -128.2602 | 109.7747

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12713 | 0.68621 | 0.60255 | 0.12711 | 0.68662 | 0.60347 | 1.468 | 7.9237 | 6.9577 | 1.4678 | 7.9284 | 6.9683 | 1.9452 | -1.5484 | -5.3625 | -1.8386 | 2.4986 | 5.7946 | -0.39431 | -6.9338 | -2.5352 | 0.29337 | 6.9877 | 3.3669 | 10.6568 | -15.1618 | -102.4677 | -169.7894 | 164.7629 | 77.567 |  | 1.352 | 0.89662 | 0.85253 | 1.2685 | 0.936 | 0.96175 | -0.80235 | -117.7499 | 102.8349 | 1.1448 | -124.9129 | 107.7255
Line_1 | 0.063799 | 0.34381 | 0.30225 | 0.063557 | 0.34331 | 0.30174 | 0.73669 | 3.9699 | 3.49 | 0.73389 | 3.9642 | 3.4841 | -0.89652 | 1.4868 | 3.0113 | 0.91929 | -1.2493 | -2.8973 | 0.11645 | 3.5125 | 1.8903 | -0.14668 | -3.4938 | -1.6834 | -170.375 | 164.682 | 77.6565 | 10.2106 | -15.2371 | -102.433 |  | 1.2272 | 0.96078 | 1.0187 | 1.2685 | 0.936 | 0.96175 | 2.2243 | -128.2602 | 109.7747 | 1.1448 | -124.9129 | 107.7255
Line_2 | 0.063799 | 0.34381 | 0.30225 | 0.063557 | 0.34331 | 0.30174 | 0.73669 | 3.9699 | 3.49 | 0.73389 | 3.9642 | 3.4841 | -0.89652 | 1.4868 | 3.0113 | 0.91929 | -1.2493 | -2.8973 | 0.11645 | 3.5125 | 1.8903 | -0.14668 | -3.4938 | -1.6834 | -170.375 | 164.682 | 77.6565 | 10.2106 | -15.2371 | -102.433 |  | 1.2272 | 0.96078 | 1.0187 | 1.2685 | 0.936 | 0.96175 | 2.2243 | -128.2602 | 109.7747 | 1.1448 | -124.9129 | 107.7255
Line_3 | 0.0003148 | 0.0003148 | 0.0003148 | 0.0003148 | 0.0003148 | 0.0003148 | 0.003635 | 0.003635 | 0.003635 | 0.003635 | 0.003635 | 0.003635 | -0.0028122 | -0.00063248 | 0.0034447 | -0.0028122 | -0.00063248 | 0.0034447 | -0.0034627 | 0.0034347 | -0.0013591 | -0.0034627 | 0.0034347 | -0.0013591 | 131.3061 | 131.3061 | 131.3061 | 131.3061 | 131.3061 | 131.3061 |  | 1.2272 | 0.96078 | 1.0187 | 1.2272 | 0.96078 | 1.0187 | 2.2243 | -128.2602 | 109.7747 | 2.2243 | -128.2602 | 109.7747

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24603 | 1.5845 | 0.8418 | 0.24752 | 1.5846 | 0.84292 | 2.8409 | 18.2964 | 9.7203 | 2.8581 | 18.2972 | 9.7332 | 2.4945 | -2.124e-11 | -6.7918e-12 | -1.8489 | 6.3942 | -0.099248 | 3.2279 | -2.537e-11 | -1.6409e-11 | -2.8744 | -0.51004 | 2.5974 | -53.996 | 3.4376 | -134.2073 | 125.8024 | -176.6248 | 45.8823 |  | 1.436 | 0 | 0 | 1.1958 | 0.35057 | 0.26705 | -1.6926 | 0 | 0 | 3.053 | 178.8146 | 138.0706
Line_1 | 0.12467 | 0.79278 | 0.42162 | 0.12376 | 0.79229 | 0.42146 | 1.4396 | 9.1542 | 4.8684 | 1.4291 | 9.1486 | 4.8666 | -0.76693 | 4.8014 | -0.069728 | 0.92443 | -3.1971 | 0.049624 | -1.3516 | -0.3824 | 1.9515 | 1.4372 | 0.25502 | -1.2987 | 125.8028 | -176.6802 | 46.0041 | -54.1976 | 3.3752 | -134.1177 |  | 1.0795 | 0.52616 | 0.4011 | 1.1958 | 0.35057 | 0.26705 | 6.232 | 178.7662 | 138.0505 | 3.053 | 178.8146 | 138.0706
Line_2 | 0.12467 | 0.79278 | 0.42162 | 0.12376 | 0.79229 | 0.42146 | 1.4396 | 9.1542 | 4.8684 | 1.4291 | 9.1486 | 4.8666 | -0.76693 | 4.8014 | -0.069728 | 0.92443 | -3.1971 | 0.049624 | -1.3516 | -0.3824 | 1.9515 | 1.4372 | 0.25502 | -1.2987 | 125.8028 | -176.6802 | 46.0041 | -54.1976 | 3.3752 | -134.1177 |  | 1.0795 | 0.52616 | 0.4011 | 1.1958 | 0.35057 | 0.26705 | 6.232 | 178.7662 | 138.0505 | 3.053 | 178.8146 | 138.0706
Line_3 | 0.00038627 | 0.00038627 | 0.00038627 | 0.00038627 | 0.00038627 | 0.00038627 | 0.0044603 | 0.0044603 | 0.0044603 | 0.0044603 | 0.0044603 | 0.0044603 | -0.0037771 | 0.0020144 | 0.0017626 | -0.0037771 | 0.0020144 | 0.0017626 | -0.0029863 | 0.001204 | -0.00030604 | -0.0029863 | 0.001204 | -0.00030604 | 147.9004 | 147.9004 | 147.9004 | 147.9004 | 147.9004 | 147.9004 |  | 1.0795 | 0.52616 | 0.4011 | 1.0795 | 0.52616 | 0.4011 | 6.232 | 178.7662 | 138.0505 | 6.232 | 178.7662 | 138.0505

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24603 | 1.5845 | 0.8418 | 0.24752 | 1.5846 | 0.84292 | 2.8409 | 18.2964 | 9.7203 | 2.8581 | 18.2972 | 9.7332 | 2.4945 | -2.124e-11 | -6.7918e-12 | -1.8489 | 6.3942 | -0.099248 | 3.2279 | -2.537e-11 | -1.6409e-11 | -2.8744 | -0.51004 | 2.5974 | -53.996 | 3.4376 | -134.2073 | 125.8024 | -176.6248 | 45.8823 |  | 1.436 | 0 | 0 | 1.1958 | 0.35057 | 0.26705 | -1.6926 | 0 | 0 | 3.053 | 178.8146 | 138.0706
Line_1 | 0.12467 | 0.79278 | 0.42162 | 0.12376 | 0.79229 | 0.42146 | 1.4396 | 9.1542 | 4.8684 | 1.4291 | 9.1486 | 4.8666 | -0.76693 | 4.8014 | -0.069728 | 0.92443 | -3.1971 | 0.049624 | -1.3516 | -0.3824 | 1.9515 | 1.4372 | 0.25502 | -1.2987 | 125.8028 | -176.6802 | 46.0041 | -54.1976 | 3.3752 | -134.1177 |  | 1.0795 | 0.52616 | 0.4011 | 1.1958 | 0.35057 | 0.26705 | 6.232 | 178.7662 | 138.0505 | 3.053 | 178.8146 | 138.0706
Line_2 | 0.12467 | 0.79278 | 0.42162 | 0.12376 | 0.79229 | 0.42146 | 1.4396 | 9.1542 | 4.8684 | 1.4291 | 9.1486 | 4.8666 | -0.76693 | 4.8014 | -0.069728 | 0.92443 | -3.1971 | 0.049624 | -1.3516 | -0.3824 | 1.9515 | 1.4372 | 0.25502 | -1.2987 | 125.8028 | -176.6802 | 46.0041 | -54.1976 | 3.3752 | -134.1177 |  | 1.0795 | 0.52616 | 0.4011 | 1.1958 | 0.35057 | 0.26705 | 6.232 | 178.7662 | 138.0505 | 3.053 | 178.8146 | 138.0706
Line_3 | 0.00038627 | 0.00038627 | 0.00038627 | 0.00038627 | 0.00038627 | 0.00038627 | 0.0044603 | 0.0044603 | 0.0044603 | 0.0044603 | 0.0044603 | 0.0044603 | -0.0037771 | 0.0020144 | 0.0017626 | -0.0037771 | 0.0020144 | 0.0017626 | -0.0029863 | 0.001204 | -0.00030604 | -0.0029863 | 0.001204 | -0.00030604 | 147.9004 | 147.9004 | 147.9004 | 147.9004 | 147.9004 | 147.9004 |  | 1.0795 | 0.52616 | 0.4011 | 1.0795 | 0.52616 | 0.4011 | 6.232 | 178.7662 | 138.0505 | 6.232 | 178.7662 | 138.0505

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18572 | 0.39562 | 0.35583 | 0.18645 | 0.39552 | 0.35676 | 2.1445 | 4.5682 | 4.1088 | 2.1529 | 4.5671 | 4.1195 | 1.7648 | -1.7701 | -2.825 | -1.4665 | 2.4064 | 3.314 | 1.9617 | -3.1767 | 0.0097784 | -1.8546 | 2.9254 | 0.47444 | -50.8529 | 5.2631 | -79.2336 | 128.96 | -174.8734 | 100.7358 |  | 1.2304 | 0.79607 | 0.68756 | 1.0982 | 0.82942 | 0.81267 | -2.8278 | -113.8637 | 100.5681 | 0.62438 | -124.3138 | 108.8829
Line_1 | 0.093716 | 0.19797 | 0.17886 | 0.093223 | 0.19776 | 0.17838 | 1.0821 | 2.2859 | 2.0652 | 1.0765 | 2.2835 | 2.0598 | -0.66095 | 1.3627 | 1.7831 | 0.73327 | -1.2032 | -1.657 | -0.90255 | 1.403 | 0.35743 | 0.92729 | -1.4627 | -0.23722 | 128.9089 | -175.0054 | 100.7869 | -51.04 | 5.1266 | -79.2642 |  | 1.0338 | 0.85563 | 0.88054 | 1.0982 | 0.82942 | 0.81267 | 2.6928 | -129.1713 | 112.122 | 0.62438 | -124.3138 | 108.8829
Line_2 | 0.093716 | 0.19797 | 0.17886 | 0.093223 | 0.19776 | 0.17838 | 1.0821 | 2.2859 | 2.0652 | 1.0765 | 2.2835 | 2.0598 | -0.66095 | 1.3627 | 1.7831 | 0.73327 | -1.2032 | -1.657 | -0.90255 | 1.403 | 0.35743 | 0.92729 | -1.4627 | -0.23722 | 128.9089 | -175.0054 | 100.7869 | -51.04 | 5.1266 | -79.2642 |  | 1.0338 | 0.85563 | 0.88054 | 1.0982 | 0.82942 | 0.81267 | 2.6928 | -129.1713 | 112.122 | 0.62438 | -124.3138 | 108.8829
Line_3 | 0.00021221 | 0.00021221 | 0.00021221 | 0.00021221 | 0.00021221 | 0.00021221 | 0.0024504 | 0.0024504 | 0.0024504 | 0.0024504 | 0.0024504 | 0.0024504 | -0.0019024 | 1.9842e-05 | 0.0018826 | -0.0019024 | 1.9842e-05 | 0.0018826 | -0.0016726 | 0.0020965 | -0.0010542 | -0.0016726 | 0.0020965 | -0.0010542 | 141.3709 | 141.3709 | 141.3709 | 141.3709 | 141.3709 | 141.3709 |  | 1.0338 | 0.85563 | 0.88054 | 1.0338 | 0.85563 | 0.88054 | 2.6928 | -129.1713 | 112.122 | 2.6928 | -129.1713 | 112.122

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18572 | 0.39562 | 0.35583 | 0.18645 | 0.39552 | 0.35676 | 2.1445 | 4.5682 | 4.1088 | 2.1529 | 4.5671 | 4.1195 | 1.7648 | -1.7701 | -2.825 | -1.4665 | 2.4064 | 3.314 | 1.9617 | -3.1767 | 0.0097784 | -1.8546 | 2.9254 | 0.47444 | -50.8529 | 5.2631 | -79.2336 | 128.96 | -174.8734 | 100.7358 |  | 1.2304 | 0.79607 | 0.68756 | 1.0982 | 0.82942 | 0.81267 | -2.8278 | -113.8637 | 100.5681 | 0.62438 | -124.3138 | 108.8829
Line_1 | 0.093716 | 0.19797 | 0.17886 | 0.093223 | 0.19776 | 0.17838 | 1.0821 | 2.2859 | 2.0652 | 1.0765 | 2.2835 | 2.0598 | -0.66095 | 1.3627 | 1.7831 | 0.73327 | -1.2032 | -1.657 | -0.90255 | 1.403 | 0.35743 | 0.92729 | -1.4627 | -0.23722 | 128.9089 | -175.0054 | 100.7869 | -51.04 | 5.1266 | -79.2642 |  | 1.0338 | 0.85563 | 0.88054 | 1.0982 | 0.82942 | 0.81267 | 2.6928 | -129.1713 | 112.122 | 0.62438 | -124.3138 | 108.8829
Line_2 | 0.093716 | 0.19797 | 0.17886 | 0.093223 | 0.19776 | 0.17838 | 1.0821 | 2.2859 | 2.0652 | 1.0765 | 2.2835 | 2.0598 | -0.66095 | 1.3627 | 1.7831 | 0.73327 | -1.2032 | -1.657 | -0.90255 | 1.403 | 0.35743 | 0.92729 | -1.4627 | -0.23722 | 128.9089 | -175.0054 | 100.7869 | -51.04 | 5.1266 | -79.2642 |  | 1.0338 | 0.85563 | 0.88054 | 1.0982 | 0.82942 | 0.81267 | 2.6928 | -129.1713 | 112.122 | 0.62438 | -124.3138 | 108.8829
Line_3 | 0.00021221 | 0.00021221 | 0.00021221 | 0.00021221 | 0.00021221 | 0.00021221 | 0.0024504 | 0.0024504 | 0.0024504 | 0.0024504 | 0.0024504 | 0.0024504 | -0.0019024 | 1.9842e-05 | 0.0018826 | -0.0019024 | 1.9842e-05 | 0.0018826 | -0.0016726 | 0.0020965 | -0.0010542 | -0.0016726 | 0.0020965 | -0.0010542 | 141.3709 | 141.3709 | 141.3709 | 141.3709 | 141.3709 | 141.3709 |  | 1.0338 | 0.85563 | 0.88054 | 1.0338 | 0.85563 | 0.88054 | 2.6928 | -129.1713 | 112.122 | 2.6928 | -129.1713 | 112.122