## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6698e-16 | -2.7644e-15 | -5.6273e-15 | 3.8332e-15 | 0 | 0 | 3.1662e-15 | 1.0923e-14 | -1.2754e-16 | -2.4993e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -6.6698e-16 | -2.7644e-15 | -5.6273e-15 | 3.8332e-15 | 0 | 0 | 3.1662e-15 | 1.0923e-14 | -1.2754e-16 | -2.4993e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1513e-15 | -3.9307e-15 | 5.9832e-15 | 3.8159e-18 | 9.2145e-15 | -2.9916e-15 | 2.7593e-15 | 3.1736e-15 | 5.579e-15 | -2.765e-15 | -5.0423e-15 | -2.7895e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.1513e-15 | -3.9307e-15 | 5.9832e-15 | 3.8159e-18 | 9.2145e-15 | -2.9916e-15 | 2.7593e-15 | 3.1736e-15 | 5.579e-15 | -2.765e-15 | -5.0423e-15 | -2.7895e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2545e-15 | -7.0388e-16 | 1.6969e-15 | -1.1898e-14 | 4.3736e-15 | -1.6969e-15 | 2.8929e-16 | 2.9658e-15 | -8.504e-15 | -5.3185e-15 | -5.2278e-15 | 8.504e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.2545e-15 | -7.0388e-16 | 1.6969e-15 | -1.1898e-14 | 4.3736e-15 | -1.6969e-15 | 2.8929e-16 | 2.9658e-15 | -8.504e-15 | -5.3185e-15 | -5.2278e-15 | 8.504e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.443e-16 | -5.3428e-15 | -2.0359e-16 | -7.2048e-16 | 5.7428e-15 | 3.8001e-15 | 7.5108e-18 | 8.5315e-15 | 3.7321e-16 | -1.1973e-15 | -6.6042e-15 | 1.359e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 4.443e-16 | -5.3428e-15 | -2.0359e-16 | -7.2048e-16 | 5.7428e-15 | 3.8001e-15 | 7.5108e-18 | 8.5315e-15 | 3.7321e-16 | -1.1973e-15 | -6.6042e-15 | 1.359e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7657 | 0.67919 | 0.79128 | 1.7685 | 0.6822 | 0.79334 | 20.3891 | 7.8426 | 9.1369 | 20.4208 | 7.8774 | 9.1607 | 7.3251e-11 | -3.4727 | 15.4447 | 7.5112 | 5.8143 | -12.3894 | -7.7302e-11 | 10.3968 | -0.70272 | 3.7278 | -8.9804 | 0.93958 | 117.2122 | 105.2272 | 136.9181 | -62.8391 | -74.8548 | -43.2563 |  | 0 | 1.3977 | 1.6921 | 0.41063 | 1.3581 | 1.3563 | 0 | -146.3024 | 134.313 | -36.4438 | -131.9342 | 132.4069
Line_1 | 0.88644 | 0.34332 | 0.39863 | 0.88425 | 0.3411 | 0.39667 | 10.2358 | 3.9643 | 4.6029 | 10.2104 | 3.9387 | 4.5803 | 5.6529 | 3.5085 | -5.4456 | -3.7556 | -2.9071 | 6.1947 | 2.8054 | -4.1533 | 0.5278 | -1.8639 | 4.4902 | -0.46979 | -62.8609 | -74.8337 | -43.4079 | 117.1609 | 105.1452 | 136.7437 |  | 0.61654 | 1.3714 | 1.1886 | 0.41063 | 1.3581 | 1.3563 | -36.4665 | -124.6438 | 131.0562 | -36.4438 | -131.9342 | 132.4069
Line_2 | 0.88644 | 0.34332 | 0.39863 | 0.88425 | 0.3411 | 0.39667 | 10.2358 | 3.9643 | 4.6029 | 10.2104 | 3.9387 | 4.5803 | 5.6529 | 3.5085 | -5.4456 | -3.7556 | -2.9071 | 6.1947 | 2.8054 | -4.1533 | 0.5278 | -1.8639 | 4.4902 | -0.46979 | -62.8609 | -74.8337 | -43.4079 | 117.1609 | 105.1452 | 136.7437 |  | 0.61654 | 1.3714 | 1.1886 | 0.41063 | 1.3581 | 1.3563 | -36.4665 | -124.6438 | 131.0562 | -36.4438 | -131.9342 | 132.4069
Line_3 | 0.0010074 | 0.0010074 | 0.0010074 | 0.0010074 | 0.0010074 | 0.0010074 | 0.011633 | 0.011633 | 0.011633 | 0.011633 | 0.011633 | 0.011633 | 0.0065424 | 0.0069968 | -0.013539 | 0.0065424 | 0.0069968 | -0.013539 | 0.0029388 | -0.014338 | -0.0028068 | 0.0029388 | -0.014338 | -0.0028068 | -60.6559 | -60.6559 | -60.6559 | -60.6559 | -60.6559 | -60.6559 |  | 0.61654 | 1.3714 | 1.1886 | 0.61654 | 1.3714 | 1.1886 | -36.4665 | -124.6438 | 131.0562 | -36.4665 | -124.6438 | 131.0562

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7657 | 0.67919 | 0.79128 | 1.7685 | 0.6822 | 0.79334 | 20.3891 | 7.8426 | 9.1369 | 20.4208 | 7.8774 | 9.1607 | 7.3251e-11 | -3.4727 | 15.4447 | 7.5112 | 5.8143 | -12.3894 | -7.7302e-11 | 10.3968 | -0.70272 | 3.7278 | -8.9804 | 0.93958 | 117.2122 | 105.2272 | 136.9181 | -62.8391 | -74.8548 | -43.2563 |  | 0 | 1.3977 | 1.6921 | 0.41063 | 1.3581 | 1.3563 | 0 | -146.3024 | 134.313 | -36.4438 | -131.9342 | 132.4069
Line_1 | 0.88644 | 0.34332 | 0.39863 | 0.88425 | 0.3411 | 0.39667 | 10.2358 | 3.9643 | 4.6029 | 10.2104 | 3.9387 | 4.5803 | 5.6529 | 3.5085 | -5.4456 | -3.7556 | -2.9071 | 6.1947 | 2.8054 | -4.1533 | 0.5278 | -1.8639 | 4.4902 | -0.46979 | -62.8609 | -74.8337 | -43.4079 | 117.1609 | 105.1452 | 136.7437 |  | 0.61654 | 1.3714 | 1.1886 | 0.41063 | 1.3581 | 1.3563 | -36.4665 | -124.6438 | 131.0562 | -36.4438 | -131.9342 | 132.4069
Line_2 | 0.88644 | 0.34332 | 0.39863 | 0.88425 | 0.3411 | 0.39667 | 10.2358 | 3.9643 | 4.6029 | 10.2104 | 3.9387 | 4.5803 | 5.6529 | 3.5085 | -5.4456 | -3.7556 | -2.9071 | 6.1947 | 2.8054 | -4.1533 | 0.5278 | -1.8639 | 4.4902 | -0.46979 | -62.8609 | -74.8337 | -43.4079 | 117.1609 | 105.1452 | 136.7437 |  | 0.61654 | 1.3714 | 1.1886 | 0.41063 | 1.3581 | 1.3563 | -36.4665 | -124.6438 | 131.0562 | -36.4438 | -131.9342 | 132.4069
Line_3 | 0.0010074 | 0.0010074 | 0.0010074 | 0.0010074 | 0.0010074 | 0.0010074 | 0.011633 | 0.011633 | 0.011633 | 0.011633 | 0.011633 | 0.011633 | 0.0065424 | 0.0069968 | -0.013539 | 0.0065424 | 0.0069968 | -0.013539 | 0.0029388 | -0.014338 | -0.0028068 | 0.0029388 | -0.014338 | -0.0028068 | -60.6559 | -60.6559 | -60.6559 | -60.6559 | -60.6559 | -60.6559 |  | 0.61654 | 1.3714 | 1.1886 | 0.61654 | 1.3714 | 1.1886 | -36.4665 | -124.6438 | 131.0562 | -36.4665 | -124.6438 | 131.0562

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72971 | 0.11851 | 0.3838 | 0.73072 | 0.1195 | 0.38416 | 8.4259 | 1.3684 | 4.4317 | 8.4376 | 1.3799 | 4.4359 | -3.9252 | -1.5342 | 4.2338 | 4.9855 | 1.5992 | -3.7484 | -5.1689 | 0.74069 | -3.8637 | 5.8823 | -0.60954 | 3.7666 | 120.8975 | 76.5843 | 170.1902 | -59.1331 | -103.2116 | -9.9618 |  | 0.77029 | 1.245 | 1.2933 | 0.91387 | 1.2403 | 1.1979 | -6.315 | -129.1867 | 127.8072 | -9.4161 | -124.0762 | 124.8996
Line_1 | 0.36612 | 0.060298 | 0.19258 | 0.36536 | 0.059751 | 0.19208 | 4.2276 | 0.69626 | 2.2237 | 4.2188 | 0.68994 | 2.218 | 2.7638 | 0.81842 | -1.759 | -2.4928 | -0.7996 | 1.8742 | 3.1239 | -0.27857 | 1.8602 | -2.9411 | 0.30477 | -1.8833 | -59.1331 | -102.7097 | -10.1326 | 120.8669 | 76.7884 | 170.0382 |  | 0.98662 | 1.2417 | 1.1513 | 0.91387 | 1.2403 | 1.1979 | -10.6338 | -121.5068 | 123.2651 | -9.4161 | -124.0762 | 124.8996
Line_2 | 0.36612 | 0.060298 | 0.19258 | 0.36536 | 0.059751 | 0.19208 | 4.2276 | 0.69626 | 2.2237 | 4.2188 | 0.68994 | 2.218 | 2.7638 | 0.81842 | -1.759 | -2.4928 | -0.7996 | 1.8742 | 3.1239 | -0.27857 | 1.8602 | -2.9411 | 0.30477 | -1.8833 | -59.1331 | -102.7097 | -10.1326 | 120.8669 | 76.7884 | 170.0382 |  | 0.98662 | 1.2417 | 1.1513 | 0.91387 | 1.2403 | 1.1979 | -10.6338 | -121.5068 | 123.2651 | -9.4161 | -124.0762 | 124.8996
Line_3 | 0.00034399 | 0.00034399 | 0.00034399 | 0.00034399 | 0.00034399 | 0.00034399 | 0.003972 | 0.003972 | 0.003972 | 0.003972 | 0.003972 | 0.003972 | 0.0031072 | 0.0014149 | -0.0045221 | 0.0031072 | 0.0014149 | -0.0045221 | 0.0023881 | -0.0047247 | 0.0006804 | 0.0023881 | -0.0047247 | 0.0006804 | -48.1783 | -48.1783 | -48.1783 | -48.1783 | -48.1783 | -48.1783 |  | 0.98662 | 1.2417 | 1.1513 | 0.98662 | 1.2417 | 1.1513 | -10.6338 | -121.5068 | 123.2651 | -10.6338 | -121.5068 | 123.2651

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.72971 | 0.11851 | 0.3838 | 0.73072 | 0.1195 | 0.38416 | 8.4259 | 1.3684 | 4.4317 | 8.4376 | 1.3799 | 4.4359 | -3.9252 | -1.5342 | 4.2338 | 4.9855 | 1.5992 | -3.7484 | -5.1689 | 0.74069 | -3.8637 | 5.8823 | -0.60954 | 3.7666 | 120.8975 | 76.5843 | 170.1902 | -59.1331 | -103.2116 | -9.9618 |  | 0.77029 | 1.245 | 1.2933 | 0.91387 | 1.2403 | 1.1979 | -6.315 | -129.1867 | 127.8072 | -9.4161 | -124.0762 | 124.8996
Line_1 | 0.36612 | 0.060298 | 0.19258 | 0.36536 | 0.059751 | 0.19208 | 4.2276 | 0.69626 | 2.2237 | 4.2188 | 0.68994 | 2.218 | 2.7638 | 0.81842 | -1.759 | -2.4928 | -0.7996 | 1.8742 | 3.1239 | -0.27857 | 1.8602 | -2.9411 | 0.30477 | -1.8833 | -59.1331 | -102.7097 | -10.1326 | 120.8669 | 76.7884 | 170.0382 |  | 0.98662 | 1.2417 | 1.1513 | 0.91387 | 1.2403 | 1.1979 | -10.6338 | -121.5068 | 123.2651 | -9.4161 | -124.0762 | 124.8996
Line_2 | 0.36612 | 0.060298 | 0.19258 | 0.36536 | 0.059751 | 0.19208 | 4.2276 | 0.69626 | 2.2237 | 4.2188 | 0.68994 | 2.218 | 2.7638 | 0.81842 | -1.759 | -2.4928 | -0.7996 | 1.8742 | 3.1239 | -0.27857 | 1.8602 | -2.9411 | 0.30477 | -1.8833 | -59.1331 | -102.7097 | -10.1326 | 120.8669 | 76.7884 | 170.0382 |  | 0.98662 | 1.2417 | 1.1513 | 0.91387 | 1.2403 | 1.1979 | -10.6338 | -121.5068 | 123.2651 | -9.4161 | -124.0762 | 124.8996
Line_3 | 0.00034399 | 0.00034399 | 0.00034399 | 0.00034399 | 0.00034399 | 0.00034399 | 0.003972 | 0.003972 | 0.003972 | 0.003972 | 0.003972 | 0.003972 | 0.0031072 | 0.0014149 | -0.0045221 | 0.0031072 | 0.0014149 | -0.0045221 | 0.0023881 | -0.0047247 | 0.0006804 | 0.0023881 | -0.0047247 | 0.0006804 | -48.1783 | -48.1783 | -48.1783 | -48.1783 | -48.1783 | -48.1783 |  | 0.98662 | 1.2417 | 1.1513 | 0.98662 | 1.2417 | 1.1513 | -10.6338 | -121.5068 | 123.2651 | -10.6338 | -121.5068 | 123.2651

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1064 | 0.57419 | 0.50496 | 1.1081 | 0.57598 | 0.50669 | 12.776 | 6.6302 | 5.8308 | 12.7952 | 6.6509 | 5.8507 | -2.4555e-11 | 2.5514 | 9.2927 | 6.165 | 0.34709 | -6.8193 | 6.1582e-12 | 8.2118 | -0.24219 | 1.3311 | -7.585 | 0.69391 | 139.1844 | 135.8987 | 137.7197 | -40.9327 | -44.3167 | -42.5315 |  | 0 | 1.297 | 1.5943 | 0.49293 | 1.1416 | 1.1716 | 0 | -151.3612 | 136.2267 | -28.7491 | -131.6966 | 131.6583
Line_1 | 0.55541 | 0.28939 | 0.25472 | 0.55405 | 0.28799 | 0.25334 | 6.4133 | 3.3415 | 2.9412 | 6.3976 | 3.3254 | 2.9253 | 4.6391 | 0.90581 | -2.7969 | -3.0825 | -0.17355 | 3.4096 | 1.0032 | -3.6441 | 0.46533 | -0.66554 | 3.7925 | -0.34695 | -40.9934 | -44.4171 | -42.6552 | 139.0673 | 135.6833 | 137.4685 |  | 0.74007 | 1.1237 | 0.964 | 0.49293 | 1.1416 | 1.1716 | -28.7913 | -120.458 | 127.8989 | -28.7491 | -131.6966 | 131.6583
Line_2 | 0.55541 | 0.28939 | 0.25472 | 0.55405 | 0.28799 | 0.25334 | 6.4133 | 3.3415 | 2.9412 | 6.3976 | 3.3254 | 2.9253 | 4.6391 | 0.90581 | -2.7969 | -3.0825 | -0.17355 | 3.4096 | 1.0032 | -3.6441 | 0.46533 | -0.66554 | 3.7925 | -0.34695 | -40.9934 | -44.4171 | -42.6552 | 139.0673 | 135.6833 | 137.4685 |  | 0.74007 | 1.1237 | 0.964 | 0.49293 | 1.1416 | 1.1716 | -28.7913 | -120.458 | 127.8989 | -28.7491 | -131.6966 | 131.6583
Line_3 | 0.00062932 | 0.00062932 | 0.00062932 | 0.00062932 | 0.00062932 | 0.00062932 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0052296 | 0.0016729 | -0.0069025 | 0.0052296 | 0.0016729 | -0.0069025 | 0.0012544 | -0.0079927 | 0.001195 | 0.0012544 | -0.0079927 | 0.001195 | -42.2794 | -42.2794 | -42.2794 | -42.2794 | -42.2794 | -42.2794 |  | 0.74007 | 1.1237 | 0.964 | 0.74007 | 1.1237 | 0.964 | -28.7913 | -120.458 | 127.8989 | -28.7913 | -120.458 | 127.8989

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1064 | 0.57419 | 0.50496 | 1.1081 | 0.57598 | 0.50669 | 12.776 | 6.6302 | 5.8308 | 12.7952 | 6.6509 | 5.8507 | -2.4555e-11 | 2.5514 | 9.2927 | 6.165 | 0.34709 | -6.8193 | 6.1582e-12 | 8.2118 | -0.24219 | 1.3311 | -7.585 | 0.69391 | 139.1844 | 135.8987 | 137.7197 | -40.9327 | -44.3167 | -42.5315 |  | 0 | 1.297 | 1.5943 | 0.49293 | 1.1416 | 1.1716 | 0 | -151.3612 | 136.2267 | -28.7491 | -131.6966 | 131.6583
Line_1 | 0.55541 | 0.28939 | 0.25472 | 0.55405 | 0.28799 | 0.25334 | 6.4133 | 3.3415 | 2.9412 | 6.3976 | 3.3254 | 2.9253 | 4.6391 | 0.90581 | -2.7969 | -3.0825 | -0.17355 | 3.4096 | 1.0032 | -3.6441 | 0.46533 | -0.66554 | 3.7925 | -0.34695 | -40.9934 | -44.4171 | -42.6552 | 139.0673 | 135.6833 | 137.4685 |  | 0.74007 | 1.1237 | 0.964 | 0.49293 | 1.1416 | 1.1716 | -28.7913 | -120.458 | 127.8989 | -28.7491 | -131.6966 | 131.6583
Line_2 | 0.55541 | 0.28939 | 0.25472 | 0.55405 | 0.28799 | 0.25334 | 6.4133 | 3.3415 | 2.9412 | 6.3976 | 3.3254 | 2.9253 | 4.6391 | 0.90581 | -2.7969 | -3.0825 | -0.17355 | 3.4096 | 1.0032 | -3.6441 | 0.46533 | -0.66554 | 3.7925 | -0.34695 | -40.9934 | -44.4171 | -42.6552 | 139.0673 | 135.6833 | 137.4685 |  | 0.74007 | 1.1237 | 0.964 | 0.49293 | 1.1416 | 1.1716 | -28.7913 | -120.458 | 127.8989 | -28.7491 | -131.6966 | 131.6583
Line_3 | 0.00062932 | 0.00062932 | 0.00062932 | 0.00062932 | 0.00062932 | 0.00062932 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0072668 | 0.0052296 | 0.0016729 | -0.0069025 | 0.0052296 | 0.0016729 | -0.0069025 | 0.0012544 | -0.0079927 | 0.001195 | 0.0012544 | -0.0079927 | 0.001195 | -42.2794 | -42.2794 | -42.2794 | -42.2794 | -42.2794 | -42.2794 |  | 0.74007 | 1.1237 | 0.964 | 0.74007 | 1.1237 | 0.964 | -28.7913 | -120.458 | 127.8989 | -28.7913 | -120.458 | 127.8989

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42707 | 0.22163 | 0.19491 | 0.42771 | 0.22232 | 0.19557 | 4.9313 | 2.5591 | 2.2506 | 4.9388 | 2.5671 | 2.2583 | -2.4586 | 0.13087 | 2.6611 | 3.3771 | 0.30759 | -2.2993 | -1.775 | 2.7772 | -0.57031 | 1.981 | -2.6877 | 0.63382 | 142.2491 | 138.9635 | 140.7845 | -37.8679 | -41.2519 | -39.4667 |  | 0.61491 | 1.0864 | 1.2093 | 0.79276 | 1.0538 | 1.0561 | -1.9232 | -133.7344 | 128.6881 | -7.4724 | -124.7231 | 125.1221
Line_1 | 0.21438 | 0.1117 | 0.098318 | 0.21385 | 0.11116 | 0.097786 | 2.4754 | 1.2898 | 1.1353 | 2.4694 | 1.2836 | 1.1291 | 1.9225 | 0.26488 | -1.0624 | -1.6886 | -0.1538 | 1.1497 | 1.0443 | -1.3253 | 0.33459 | -0.9905 | 1.3439 | -0.31691 | -37.9286 | -41.3523 | -39.5904 | 142.1321 | 138.7481 | 140.5333 |  | 0.88382 | 1.0479 | 0.98115 | 0.79276 | 1.0538 | 1.0561 | -9.4185 | -120.0497 | 122.9287 | -7.4724 | -124.7231 | 125.1221
Line_2 | 0.21438 | 0.1117 | 0.098318 | 0.21385 | 0.11116 | 0.097786 | 2.4754 | 1.2898 | 1.1353 | 2.4694 | 1.2836 | 1.1291 | 1.9225 | 0.26488 | -1.0624 | -1.6886 | -0.1538 | 1.1497 | 1.0443 | -1.3253 | 0.33459 | -0.9905 | 1.3439 | -0.31691 | -37.9286 | -41.3523 | -39.5904 | 142.1321 | 138.7481 | 140.5333 |  | 0.88382 | 1.0479 | 0.98115 | 0.79276 | 1.0538 | 1.0561 | -9.4185 | -120.0497 | 122.9287 | -7.4724 | -124.7231 | 125.1221
Line_3 | 0.00024291 | 0.00024291 | 0.00024291 | 0.00024291 | 0.00024291 | 0.00024291 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0021513 | 0.00046813 | -0.0026194 | 0.0021513 | 0.00046813 | -0.0026194 | 0.0012318 | -0.0029016 | 0.00084386 | 0.0012318 | -0.0029016 | 0.00084386 | -39.2146 | -39.2146 | -39.2146 | -39.2146 | -39.2146 | -39.2146 |  | 0.88382 | 1.0479 | 0.98115 | 0.88382 | 1.0479 | 0.98115 | -9.4185 | -120.0497 | 122.9287 | -9.4185 | -120.0497 | 122.9287

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.42707 | 0.22163 | 0.19491 | 0.42771 | 0.22232 | 0.19557 | 4.9313 | 2.5591 | 2.2506 | 4.9388 | 2.5671 | 2.2583 | -2.4586 | 0.13087 | 2.6611 | 3.3771 | 0.30759 | -2.2993 | -1.775 | 2.7772 | -0.57031 | 1.981 | -2.6877 | 0.63382 | 142.2491 | 138.9635 | 140.7845 | -37.8679 | -41.2519 | -39.4667 |  | 0.61491 | 1.0864 | 1.2093 | 0.79276 | 1.0538 | 1.0561 | -1.9232 | -133.7344 | 128.6881 | -7.4724 | -124.7231 | 125.1221
Line_1 | 0.21438 | 0.1117 | 0.098318 | 0.21385 | 0.11116 | 0.097786 | 2.4754 | 1.2898 | 1.1353 | 2.4694 | 1.2836 | 1.1291 | 1.9225 | 0.26488 | -1.0624 | -1.6886 | -0.1538 | 1.1497 | 1.0443 | -1.3253 | 0.33459 | -0.9905 | 1.3439 | -0.31691 | -37.9286 | -41.3523 | -39.5904 | 142.1321 | 138.7481 | 140.5333 |  | 0.88382 | 1.0479 | 0.98115 | 0.79276 | 1.0538 | 1.0561 | -9.4185 | -120.0497 | 122.9287 | -7.4724 | -124.7231 | 125.1221
Line_2 | 0.21438 | 0.1117 | 0.098318 | 0.21385 | 0.11116 | 0.097786 | 2.4754 | 1.2898 | 1.1353 | 2.4694 | 1.2836 | 1.1291 | 1.9225 | 0.26488 | -1.0624 | -1.6886 | -0.1538 | 1.1497 | 1.0443 | -1.3253 | 0.33459 | -0.9905 | 1.3439 | -0.31691 | -37.9286 | -41.3523 | -39.5904 | 142.1321 | 138.7481 | 140.5333 |  | 0.88382 | 1.0479 | 0.98115 | 0.79276 | 1.0538 | 1.0561 | -9.4185 | -120.0497 | 122.9287 | -7.4724 | -124.7231 | 125.1221
Line_3 | 0.00024291 | 0.00024291 | 0.00024291 | 0.00024291 | 0.00024291 | 0.00024291 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0028049 | 0.0021513 | 0.00046813 | -0.0026194 | 0.0021513 | 0.00046813 | -0.0026194 | 0.0012318 | -0.0029016 | 0.00084386 | 0.0012318 | -0.0029016 | 0.00084386 | -39.2146 | -39.2146 | -39.2146 | -39.2146 | -39.2146 | -39.2146 |  | 0.88382 | 1.0479 | 0.98115 | 0.88382 | 1.0479 | 0.98115 | -9.4185 | -120.0497 | 122.9287 | -9.4185 | -120.0497 | 122.9287

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21732 | 2.0293 | 1.3334 | 0.21899 | 2.03 | 1.3349 | 2.5094 | 23.4323 | 15.3973 | 2.5287 | 23.4399 | 15.4143 | 2.7688 | 3.6748e-11 | 2.3077e-11 | -2.2557 | 6.4075 | 0.79365 | 2.7895 | -1.3012e-11 | -1.0491e-11 | -2.703 | 0.5594 | 4.1113 | -47.0429 | -12.6605 | -128.9648 | 132.6295 | 167.2839 | 51.0982 |  | 1.5662 | 0 | 0 | 1.3923 | 0.2744 | 0.27164 | -1.8302 | 0 | 0 | 2.7831 | 172.2734 | 130.1721
Line_1 | 0.1109 | 1.0159 | 0.66805 | 0.10949 | 1.015 | 0.66746 | 1.2806 | 11.7308 | 7.714 | 1.2643 | 11.72 | 7.7071 | -1.0059 | 4.8136 | 0.60256 | 1.1279 | -3.2038 | -0.39683 | -1.3411 | 0.42224 | 3.0882 | 1.3515 | -0.2797 | -2.0556 | 132.4276 | 167.2206 | 51.2126 | -47.3705 | -12.7161 | -128.9018 |  | 1.3091 | 0.41191 | 0.40789 | 1.3923 | 0.2744 | 0.27164 | 5.5558 | 172.2338 | 130.1719 | 2.7831 | 172.2734 | 130.1721
Line_2 | 0.1109 | 1.0159 | 0.66805 | 0.10949 | 1.015 | 0.66746 | 1.2806 | 11.7308 | 7.714 | 1.2643 | 11.72 | 7.7071 | -1.0059 | 4.8136 | 0.60256 | 1.1279 | -3.2038 | -0.39683 | -1.3411 | 0.42224 | 3.0882 | 1.3515 | -0.2797 | -2.0556 | 132.4276 | 167.2206 | 51.2126 | -47.3705 | -12.7161 | -128.9018 |  | 1.3091 | 0.41191 | 0.40789 | 1.3923 | 0.2744 | 0.27164 | 5.5558 | 172.2338 | 130.1719 | 2.7831 | 172.2734 | 130.1721
Line_3 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0076394 | 0.0076394 | 0.0076394 | 0.0076394 | 0.0076394 | 0.0076394 | -0.0053697 | 0.0022558 | 0.0031139 | -0.0053697 | 0.0022558 | 0.0031139 | -0.0084369 | 0.0021939 | 0.00011642 | -0.0084369 | 0.0021939 | 0.00011642 | 128.0308 | 128.0308 | 128.0308 | 128.0308 | 128.0308 | 128.0308 |  | 1.3091 | 0.41191 | 0.40789 | 1.3091 | 0.41191 | 0.40789 | 5.5558 | 172.2338 | 130.1719 | 5.5558 | 172.2338 | 130.1719

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21732 | 2.0293 | 1.3334 | 0.21899 | 2.03 | 1.3349 | 2.5094 | 23.4323 | 15.3973 | 2.5287 | 23.4399 | 15.4143 | 2.7688 | 3.6748e-11 | 2.3077e-11 | -2.2557 | 6.4075 | 0.79365 | 2.7895 | -1.3012e-11 | -1.0491e-11 | -2.703 | 0.5594 | 4.1113 | -47.0429 | -12.6605 | -128.9648 | 132.6295 | 167.2839 | 51.0982 |  | 1.5662 | 0 | 0 | 1.3923 | 0.2744 | 0.27164 | -1.8302 | 0 | 0 | 2.7831 | 172.2734 | 130.1721
Line_1 | 0.1109 | 1.0159 | 0.66805 | 0.10949 | 1.015 | 0.66746 | 1.2806 | 11.7308 | 7.714 | 1.2643 | 11.72 | 7.7071 | -1.0059 | 4.8136 | 0.60256 | 1.1279 | -3.2038 | -0.39683 | -1.3411 | 0.42224 | 3.0882 | 1.3515 | -0.2797 | -2.0556 | 132.4276 | 167.2206 | 51.2126 | -47.3705 | -12.7161 | -128.9018 |  | 1.3091 | 0.41191 | 0.40789 | 1.3923 | 0.2744 | 0.27164 | 5.5558 | 172.2338 | 130.1719 | 2.7831 | 172.2734 | 130.1721
Line_2 | 0.1109 | 1.0159 | 0.66805 | 0.10949 | 1.015 | 0.66746 | 1.2806 | 11.7308 | 7.714 | 1.2643 | 11.72 | 7.7071 | -1.0059 | 4.8136 | 0.60256 | 1.1279 | -3.2038 | -0.39683 | -1.3411 | 0.42224 | 3.0882 | 1.3515 | -0.2797 | -2.0556 | 132.4276 | 167.2206 | 51.2126 | -47.3705 | -12.7161 | -128.9018 |  | 1.3091 | 0.41191 | 0.40789 | 1.3923 | 0.2744 | 0.27164 | 5.5558 | 172.2338 | 130.1719 | 2.7831 | 172.2734 | 130.1721
Line_3 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0006616 | 0.0076394 | 0.0076394 | 0.0076394 | 0.0076394 | 0.0076394 | 0.0076394 | -0.0053697 | 0.0022558 | 0.0031139 | -0.0053697 | 0.0022558 | 0.0031139 | -0.0084369 | 0.0021939 | 0.00011642 | -0.0084369 | 0.0021939 | 0.00011642 | 128.0308 | 128.0308 | 128.0308 | 128.0308 | 128.0308 | 128.0308 |  | 1.3091 | 0.41191 | 0.40789 | 1.3091 | 0.41191 | 0.40789 | 5.5558 | 172.2338 | 130.1719 | 5.5558 | 172.2338 | 130.1719

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12547 | 0.67113 | 0.57996 | 0.12524 | 0.6715 | 0.58078 | 1.4488 | 7.7495 | 6.6968 | 1.4462 | 7.7538 | 6.7063 | 1.7205 | -1.9022 | -5.1233 | -1.6464 | 2.7702 | 5.4806 | -0.86049 | -6.6978 | -2.7014 | 0.75116 | 6.764 | 3.4565 | 26.0364 | -13.2045 | -103.8546 | -154.3657 | 166.7249 | 76.1834 |  | 1.3278 | 0.89846 | 0.86487 | 1.2513 | 0.94266 | 0.9662 | -0.5347 | -119.0594 | 103.9467 | 1.1092 | -125.5465 | 108.4225
Line_1 | 0.062701 | 0.33621 | 0.29083 | 0.062622 | 0.33575 | 0.29039 | 0.72401 | 3.8822 | 3.3582 | 0.7231 | 3.8769 | 3.3531 | -0.8084 | 1.6022 | 2.835 | 0.82318 | -1.3851 | -2.7403 | 0.34383 | 3.4034 | 1.9159 | -0.37558 | -3.382 | -1.7283 | -154.9443 | 166.649 | 76.2742 | 25.6343 | -13.2751 | -103.8166 |  | 1.2134 | 0.96894 | 1.0189 | 1.2513 | 0.94266 | 0.9662 | 2.0148 | -128.5599 | 110.3252 | 1.1092 | -125.5465 | 108.4225
Line_2 | 0.062701 | 0.33621 | 0.29083 | 0.062622 | 0.33575 | 0.29039 | 0.72401 | 3.8822 | 3.3582 | 0.7231 | 3.8769 | 3.3531 | -0.8084 | 1.6022 | 2.835 | 0.82318 | -1.3851 | -2.7403 | 0.34383 | 3.4034 | 1.9159 | -0.37558 | -3.382 | -1.7283 | -154.9443 | 166.649 | 76.2742 | 25.6343 | -13.2751 | -103.8166 |  | 1.2134 | 0.96894 | 1.0189 | 1.2513 | 0.94266 | 0.9662 | 2.0148 | -128.5599 | 110.3252 | 1.1092 | -125.5465 | 108.4225
Line_3 | 0.00028898 | 0.00028898 | 0.00028898 | 0.00028898 | 0.00028898 | 0.00028898 | 0.0033368 | 0.0033368 | 0.0033368 | 0.0033368 | 0.0033368 | 0.0033368 | -0.002674 | -0.00045507 | 0.0031291 | -0.002674 | -0.00045507 | 0.0031291 | -0.0030401 | 0.003201 | -0.0013298 | -0.0030401 | 0.003201 | -0.0013298 | 133.3489 | 133.3489 | 133.3489 | 133.3489 | 133.3489 | 133.3489 |  | 1.2134 | 0.96894 | 1.0189 | 1.2134 | 0.96894 | 1.0189 | 2.0148 | -128.5599 | 110.3252 | 2.0148 | -128.5599 | 110.3252

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12547 | 0.67113 | 0.57996 | 0.12524 | 0.6715 | 0.58078 | 1.4488 | 7.7495 | 6.6968 | 1.4462 | 7.7538 | 6.7063 | 1.7205 | -1.9022 | -5.1233 | -1.6464 | 2.7702 | 5.4806 | -0.86049 | -6.6978 | -2.7014 | 0.75116 | 6.764 | 3.4565 | 26.0364 | -13.2045 | -103.8546 | -154.3657 | 166.7249 | 76.1834 |  | 1.3278 | 0.89846 | 0.86487 | 1.2513 | 0.94266 | 0.9662 | -0.5347 | -119.0594 | 103.9467 | 1.1092 | -125.5465 | 108.4225
Line_1 | 0.062701 | 0.33621 | 0.29083 | 0.062622 | 0.33575 | 0.29039 | 0.72401 | 3.8822 | 3.3582 | 0.7231 | 3.8769 | 3.3531 | -0.8084 | 1.6022 | 2.835 | 0.82318 | -1.3851 | -2.7403 | 0.34383 | 3.4034 | 1.9159 | -0.37558 | -3.382 | -1.7283 | -154.9443 | 166.649 | 76.2742 | 25.6343 | -13.2751 | -103.8166 |  | 1.2134 | 0.96894 | 1.0189 | 1.2513 | 0.94266 | 0.9662 | 2.0148 | -128.5599 | 110.3252 | 1.1092 | -125.5465 | 108.4225
Line_2 | 0.062701 | 0.33621 | 0.29083 | 0.062622 | 0.33575 | 0.29039 | 0.72401 | 3.8822 | 3.3582 | 0.7231 | 3.8769 | 3.3531 | -0.8084 | 1.6022 | 2.835 | 0.82318 | -1.3851 | -2.7403 | 0.34383 | 3.4034 | 1.9159 | -0.37558 | -3.382 | -1.7283 | -154.9443 | 166.649 | 76.2742 | 25.6343 | -13.2751 | -103.8166 |  | 1.2134 | 0.96894 | 1.0189 | 1.2513 | 0.94266 | 0.9662 | 2.0148 | -128.5599 | 110.3252 | 1.1092 | -125.5465 | 108.4225
Line_3 | 0.00028898 | 0.00028898 | 0.00028898 | 0.00028898 | 0.00028898 | 0.00028898 | 0.0033368 | 0.0033368 | 0.0033368 | 0.0033368 | 0.0033368 | 0.0033368 | -0.002674 | -0.00045507 | 0.0031291 | -0.002674 | -0.00045507 | 0.0031291 | -0.0030401 | 0.003201 | -0.0013298 | -0.0030401 | 0.003201 | -0.0013298 | 133.3489 | 133.3489 | 133.3489 | 133.3489 | 133.3489 | 133.3489 |  | 1.2134 | 0.96894 | 1.0189 | 1.2134 | 0.96894 | 1.0189 | 2.0148 | -128.5599 | 110.3252 | 2.0148 | -128.5599 | 110.3252

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21749 | 1.5811 | 0.85038 | 0.21895 | 1.5812 | 0.85148 | 2.5114 | 18.2574 | 9.8193 | 2.5282 | 18.2582 | 9.8321 | 2.1848 | -2.3707e-11 | -8.2762e-12 | -1.6275 | 6.3079 | -0.060872 | 2.7896 | -2.5642e-11 | -1.7116e-11 | -2.4913 | -0.4767 | 2.5962 | -53.7626 | 3.2875 | -133.8705 | 126.0111 | -176.7739 | 46.2161 |  | 1.4109 | 0 | 0 | 1.177 | 0.34647 | 0.26413 | -1.831 | 0 | 0 | 2.8556 | 178.9044 | 137.5593
Line_1 | 0.11037 | 0.79108 | 0.42591 | 0.10948 | 0.7906 | 0.42574 | 1.2744 | 9.1346 | 4.9179 | 1.2641 | 9.1291 | 4.916 | -0.6783 | 4.7365 | -0.04104 | 0.81374 | -3.1539 | 0.030436 | -1.1738 | -0.35742 | 1.9505 | 1.2456 | 0.23835 | -1.2981 | 126.0087 | -176.8285 | 46.3344 | -53.9889 | 3.2261 | -133.7839 |  | 1.0638 | 0.52 | 0.3967 | 1.177 | 0.34647 | 0.26413 | 5.9864 | 178.8561 | 137.5397 | 2.8556 | 178.9044 | 137.5593
Line_2 | 0.11037 | 0.79108 | 0.42591 | 0.10948 | 0.7906 | 0.42574 | 1.2744 | 9.1346 | 4.9179 | 1.2641 | 9.1291 | 4.916 | -0.6783 | 4.7365 | -0.04104 | 0.81374 | -3.1539 | 0.030436 | -1.1738 | -0.35742 | 1.9505 | 1.2456 | 0.23835 | -1.2981 | 126.0087 | -176.8285 | 46.3344 | -53.9889 | 3.2261 | -133.7839 |  | 1.0638 | 0.52 | 0.3967 | 1.177 | 0.34647 | 0.26413 | 5.9864 | 178.8561 | 137.5397 | 2.8556 | 178.9044 | 137.5593
Line_3 | 0.00037953 | 0.00037953 | 0.00037953 | 0.00037953 | 0.00037953 | 0.00037953 | 0.0043824 | 0.0043824 | 0.0043824 | 0.0043824 | 0.0043824 | 0.0043824 | -0.0036623 | 0.0019514 | 0.0017109 | -0.0036623 | 0.0019514 | 0.0017109 | -0.0028845 | 0.0011769 | -0.00030853 | -0.0028845 | 0.0011769 | -0.00030853 | 147.762 | 147.762 | 147.762 | 147.762 | 147.762 | 147.762 |  | 1.0638 | 0.52 | 0.3967 | 1.0638 | 0.52 | 0.3967 | 5.9864 | 178.8561 | 137.5397 | 5.9864 | 178.8561 | 137.5397

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.21749 | 1.5811 | 0.85038 | 0.21895 | 1.5812 | 0.85148 | 2.5114 | 18.2574 | 9.8193 | 2.5282 | 18.2582 | 9.8321 | 2.1848 | -2.3707e-11 | -8.2762e-12 | -1.6275 | 6.3079 | -0.060872 | 2.7896 | -2.5642e-11 | -1.7116e-11 | -2.4913 | -0.4767 | 2.5962 | -53.7626 | 3.2875 | -133.8705 | 126.0111 | -176.7739 | 46.2161 |  | 1.4109 | 0 | 0 | 1.177 | 0.34647 | 0.26413 | -1.831 | 0 | 0 | 2.8556 | 178.9044 | 137.5593
Line_1 | 0.11037 | 0.79108 | 0.42591 | 0.10948 | 0.7906 | 0.42574 | 1.2744 | 9.1346 | 4.9179 | 1.2641 | 9.1291 | 4.916 | -0.6783 | 4.7365 | -0.04104 | 0.81374 | -3.1539 | 0.030436 | -1.1738 | -0.35742 | 1.9505 | 1.2456 | 0.23835 | -1.2981 | 126.0087 | -176.8285 | 46.3344 | -53.9889 | 3.2261 | -133.7839 |  | 1.0638 | 0.52 | 0.3967 | 1.177 | 0.34647 | 0.26413 | 5.9864 | 178.8561 | 137.5397 | 2.8556 | 178.9044 | 137.5593
Line_2 | 0.11037 | 0.79108 | 0.42591 | 0.10948 | 0.7906 | 0.42574 | 1.2744 | 9.1346 | 4.9179 | 1.2641 | 9.1291 | 4.916 | -0.6783 | 4.7365 | -0.04104 | 0.81374 | -3.1539 | 0.030436 | -1.1738 | -0.35742 | 1.9505 | 1.2456 | 0.23835 | -1.2981 | 126.0087 | -176.8285 | 46.3344 | -53.9889 | 3.2261 | -133.7839 |  | 1.0638 | 0.52 | 0.3967 | 1.177 | 0.34647 | 0.26413 | 5.9864 | 178.8561 | 137.5397 | 2.8556 | 178.9044 | 137.5593
Line_3 | 0.00037953 | 0.00037953 | 0.00037953 | 0.00037953 | 0.00037953 | 0.00037953 | 0.0043824 | 0.0043824 | 0.0043824 | 0.0043824 | 0.0043824 | 0.0043824 | -0.0036623 | 0.0019514 | 0.0017109 | -0.0036623 | 0.0019514 | 0.0017109 | -0.0028845 | 0.0011769 | -0.00030853 | -0.0028845 | 0.0011769 | -0.00030853 | 147.762 | 147.762 | 147.762 | 147.762 | 147.762 | 147.762 |  | 1.0638 | 0.52 | 0.3967 | 1.0638 | 0.52 | 0.3967 | 5.9864 | 178.8561 | 137.5397 | 5.9864 | 178.8561 | 137.5397

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15521 | 0.38945 | 0.33371 | 0.15587 | 0.38936 | 0.33457 | 1.7922 | 4.497 | 3.8534 | 1.7998 | 4.4959 | 3.8632 | 1.5259 | -1.9987 | -2.7285 | -1.3015 | 2.5799 | 3.123 | 1.5228 | -2.9294 | -0.093515 | -1.4459 | 2.7123 | 0.52925 | -46.9943 | 8.6211 | -80.0692 | 132.8003 | -171.5049 | 99.9118 |  | 1.2028 | 0.78859 | 0.70849 | 1.0809 | 0.83259 | 0.81991 | -2.0529 | -115.6837 | 101.8938 | 0.81103 | -125.0714 | 109.5303
Line_1 | 0.078381 | 0.19487 | 0.1677 | 0.077934 | 0.19468 | 0.16728 | 0.90507 | 2.2501 | 1.9365 | 0.89991 | 2.248 | 1.9316 | -0.59683 | 1.4358 | 1.6634 | 0.65073 | -1.2899 | -1.5615 | -0.70547 | 1.3047 | 0.37264 | 0.72297 | -1.3561 | -0.26463 | 132.7422 | -171.6266 | 99.972 | -47.1997 | 8.4951 | -80.0882 |  | 1.021 | 0.86217 | 0.8803 | 1.0809 | 0.83259 | 0.81991 | 2.5107 | -129.3656 | 112.5989 | 0.81103 | -125.0714 | 109.5303
Line_2 | 0.078381 | 0.19487 | 0.1677 | 0.077934 | 0.19468 | 0.16728 | 0.90507 | 2.2501 | 1.9365 | 0.89991 | 2.248 | 1.9316 | -0.59683 | 1.4358 | 1.6634 | 0.65073 | -1.2899 | -1.5615 | -0.70547 | 1.3047 | 0.37264 | 0.72297 | -1.3561 | -0.26463 | 132.7422 | -171.6266 | 99.972 | -47.1997 | 8.4951 | -80.0882 |  | 1.021 | 0.86217 | 0.8803 | 1.0809 | 0.83259 | 0.81991 | 2.5107 | -129.3656 | 112.5989 | 0.81103 | -125.0714 | 109.5303
Line_3 | 0.00019282 | 0.00019282 | 0.00019282 | 0.00019282 | 0.00019282 | 0.00019282 | 0.0022264 | 0.0022264 | 0.0022264 | 0.0022264 | 0.0022264 | 0.0022264 | -0.0017972 | 0.00013783 | 0.0016593 | -0.0017972 | 0.00013783 | 0.0016593 | -0.0013919 | 0.0019146 | -0.001043 | -0.0013919 | 0.0019146 | -0.001043 | 144.752 | 144.752 | 144.752 | 144.752 | 144.752 | 144.752 |  | 1.021 | 0.86217 | 0.8803 | 1.021 | 0.86217 | 0.8803 | 2.5107 | -129.3656 | 112.5989 | 2.5107 | -129.3656 | 112.5989

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15521 | 0.38945 | 0.33371 | 0.15587 | 0.38936 | 0.33457 | 1.7922 | 4.497 | 3.8534 | 1.7998 | 4.4959 | 3.8632 | 1.5259 | -1.9987 | -2.7285 | -1.3015 | 2.5799 | 3.123 | 1.5228 | -2.9294 | -0.093515 | -1.4459 | 2.7123 | 0.52925 | -46.9943 | 8.6211 | -80.0692 | 132.8003 | -171.5049 | 99.9118 |  | 1.2028 | 0.78859 | 0.70849 | 1.0809 | 0.83259 | 0.81991 | -2.0529 | -115.6837 | 101.8938 | 0.81103 | -125.0714 | 109.5303
Line_1 | 0.078381 | 0.19487 | 0.1677 | 0.077934 | 0.19468 | 0.16728 | 0.90507 | 2.2501 | 1.9365 | 0.89991 | 2.248 | 1.9316 | -0.59683 | 1.4358 | 1.6634 | 0.65073 | -1.2899 | -1.5615 | -0.70547 | 1.3047 | 0.37264 | 0.72297 | -1.3561 | -0.26463 | 132.7422 | -171.6266 | 99.972 | -47.1997 | 8.4951 | -80.0882 |  | 1.021 | 0.86217 | 0.8803 | 1.0809 | 0.83259 | 0.81991 | 2.5107 | -129.3656 | 112.5989 | 0.81103 | -125.0714 | 109.5303
Line_2 | 0.078381 | 0.19487 | 0.1677 | 0.077934 | 0.19468 | 0.16728 | 0.90507 | 2.2501 | 1.9365 | 0.89991 | 2.248 | 1.9316 | -0.59683 | 1.4358 | 1.6634 | 0.65073 | -1.2899 | -1.5615 | -0.70547 | 1.3047 | 0.37264 | 0.72297 | -1.3561 | -0.26463 | 132.7422 | -171.6266 | 99.972 | -47.1997 | 8.4951 | -80.0882 |  | 1.021 | 0.86217 | 0.8803 | 1.0809 | 0.83259 | 0.81991 | 2.5107 | -129.3656 | 112.5989 | 0.81103 | -125.0714 | 109.5303
Line_3 | 0.00019282 | 0.00019282 | 0.00019282 | 0.00019282 | 0.00019282 | 0.00019282 | 0.0022264 | 0.0022264 | 0.0022264 | 0.0022264 | 0.0022264 | 0.0022264 | -0.0017972 | 0.00013783 | 0.0016593 | -0.0017972 | 0.00013783 | 0.0016593 | -0.0013919 | 0.0019146 | -0.001043 | -0.0013919 | 0.0019146 | -0.001043 | 144.752 | 144.752 | 144.752 | 144.752 | 144.752 | 144.752 |  | 1.021 | 0.86217 | 0.8803 | 1.021 | 0.86217 | 0.8803 | 2.5107 | -129.3656 | 112.5989 | 2.5107 | -129.3656 | 112.5989