## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.7394 | 1.7394 | 4.0301 | 0 | 60.2556 | 60.2556 | -1e-07 | 4.72 | -1e-07 | 5.3553 | 107.5423 | -72.4577 | 0 | 0.11847 | 0 | -23.8492
Line_1 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_2 | 0.86972 | 0.86972 | 0 | 0 | 30.1278 | 30.1278 | 3.54 | -2.36 | 4.0165 | -2.6777 | -72.4577 | 107.5423 | 0.1777 | 0.11847 | -23.8492 | -23.8492
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.1777 | 0.1777 | -23.8492 | -23.8492

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.51746 | 0.51746 | 1.048 | 0 | 17.9254 | 17.9254 | -10.4881 | 10.9059 | -13.3195 | 13.7934 | 120.4894 | -59.5106 | 0.94576 | 0.98095 | -7.7285 | -7.8425
Line_1 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_2 | 0.25873 | 0.25873 | 0 | 0 | 8.9627 | 8.9627 | 5.5574 | -5.4529 | 7.0152 | -6.8967 | -59.5106 | 120.4894 | 0.99855 | 0.98095 | -7.8965 | -7.8425
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.99855 | 0.99855 | -7.8965 | -7.8965

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 1.3783 | 1.3783 | 3.412 | 0 | 47.7473 | 47.7473 | -1e-07 | 5.6904 | -1e-07 | 3.3627 | 114.7975 | -65.2025 | 0 | 0.13843 | 0 | -34.6217
Line_1 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_2 | 0.68917 | 0.68917 | 0 | 0 | 23.8737 | 23.8737 | 4.2678 | -2.8452 | 2.522 | -1.6814 | -65.2025 | 114.7975 | 0.20765 | 0.13843 | -34.6217 | -34.6217
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.20765 | 0.20765 | -34.6217 | -34.6217

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.30266 | 0.30266 | 0.74922 | 0 | 10.4846 | 10.4846 | -7.5715 | 7.8458 | -3.9965 | 4.1586 | 144.5132 | -35.4868 | 0.81658 | 0.84694 | -7.6601 | -7.5613
Line_1 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_2 | 0.15133 | 0.15133 | 0 | 0 | 5.2423 | 5.2423 | 3.9915 | -3.9229 | 2.1199 | -2.0793 | -35.4868 | 144.5132 | 0.86212 | 0.84694 | -7.5145 | -7.5613
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.86212 | 0.86212 | -7.5145 | -7.5145

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8261e-16 | 1.2665e-14 | 0 | -1.1382e-14 | -1.2167e-14 | -1.2002e-14 | -1.6882e-14 | 2.6679e-15 | 0 | 5.3723e-15 | 1.0664e-14 | -7.6866e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.32048 | 1.5098 | 1.3931 | 0.32048 | 1.5098 | 1.3931 | 3.7006 | 17.4334 | 16.0862 | 3.7006 | 17.4334 | 16.0862 | -2.2014 | -10.0544 | 8.9537 | 2.2548 | 11.2397 | -7.9445 | -3.6682 | 0.67371 | -2.5078 | 3.7288 | 0.67115 | 3.6529 | 122.5535 | 5.4174 | -162.7693 | -57.4465 | -174.5826 | 17.2307 | 1.1561 | 0.57803 | 0.57803 | 1.1775 | 0.64587 | 0.54357 | 1.5839 | -178.4161 | -178.4161 | 1.3918 | -171.1654 | 172.538
Line_1 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_2 | 0.16024 | 0.75489 | 0.69655 | 0.16024 | 0.75489 | 0.69655 | 1.8503 | 8.7167 | 8.0431 | 1.8503 | 8.7167 | 8.0431 | 1.1408 | 5.9162 | -3.72 | -1.1274 | -5.6199 | 3.9723 | 1.8795 | 0.67179 | 2.1127 | -1.8644 | -0.33558 | -1.8264 | -57.4465 | -174.5826 | 17.2307 | 122.5535 | 5.4174 | -162.7693 | 1.1883 | 0.68308 | 0.53189 | 1.1775 | 0.64587 | 0.54357 | 1.2983 | -168.1044 | 167.6371 | 1.3918 | -171.1654 | 172.538
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.8261e-16 | 1.2665e-14 | 0 | -1.1382e-14 | -1.2167e-14 | -1.2002e-14 | -1.6882e-14 | 2.6679e-15 | 0 | 5.3723e-15 | 1.0664e-14 | -7.6866e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1883 | 0.68308 | 0.53189 | 1.1883 | 0.68308 | 0.53189 | 1.2983 | -168.1044 | 167.6371 | 1.2983 | -168.1044 | 167.6371

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7574e-15 | 1.714e-14 | 2.0308e-15 | -2.7726e-15 | -1.4177e-15 | -6.9439e-15 | -5.5339e-15 | -7.8454e-15 | 4.5255e-15 | 5.5262e-15 | -4.8489e-15 | -3.843e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.23496 | 0.62005 | 0.6638 | 0.23496 | 0.62005 | 0.6638 | 2.7131 | 7.1597 | 7.6649 | 2.7131 | 7.1597 | 7.6649 | -0.87371 | -6.4592 | -0.64541 | 0.90242 | 6.6591 | 0.87454 | -2.9829 | -3.0836 | -5.9544 | 3.0155 | 3.3104 | 6.2144 | 106.904 | 17.0933 | -142.1771 | -73.096 | -162.9067 | 37.8229 | 1.1456 | 0.99969 | 0.78139 | 1.1602 | 1.0387 | 0.81874 | 0.57818 | -137.3873 | 121.6367 | 0.24336 | -136.4737 | 119.8124
Line_1 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_2 | 0.11748 | 0.31003 | 0.3319 | 0.11748 | 0.31003 | 0.3319 | 1.3565 | 3.5799 | 3.8325 | 1.3565 | 3.5799 | 3.8325 | 0.45839 | 3.3796 | 0.49455 | -0.45121 | -3.3296 | -0.43727 | 1.5159 | 1.7119 | 3.1722 | -1.5077 | -1.6552 | -3.1072 | -73.096 | -162.9067 | 37.8229 | 106.904 | 17.0933 | -142.1771 | 1.1674 | 1.0583 | 0.83771 | 1.1602 | 1.0387 | 0.81874 | 0.079071 | -136.0422 | 118.9617 | 0.24336 | -136.4737 | 119.8124
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.7574e-15 | 1.714e-14 | 2.0308e-15 | -2.7726e-15 | -1.4177e-15 | -6.9439e-15 | -5.5339e-15 | -7.8454e-15 | 4.5255e-15 | 5.5262e-15 | -4.8489e-15 | -3.843e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1674 | 1.0583 | 0.83771 | 1.1674 | 1.0583 | 0.83771 | 0.079071 | -136.0422 | 118.9617 | 0.079071 | -136.0422 | 118.9617

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0324e-15 | 1.4829e-15 | -8.4844e-16 | 3.8572e-16 | -7.7903e-16 | 5.6115e-15 | 9.7691e-15 | 3.5194e-16 | 4.252e-15 | -9.6726e-15 | -3.3178e-15 | -1.5331e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.14393 | 1.2145 | 1.0782 | 0.14393 | 1.2145 | 1.0782 | 1.662 | 14.0243 | 12.4494 | 1.662 | 14.0243 | 12.4494 | -1.664 | -6.8035 | 5.9715 | 1.6847 | 8.2762 | -4.811 | -0.085413 | 1.7696 | -1.8123 | 0.097635 | -0.89926 | 2.4981 | 178.781 | 16.2989 | -161.3982 | -1.219 | -163.7011 | 18.6018 | 1.0025 | 0.50126 | 0.50126 | 1.0154 | 0.59361 | 0.43543 | 1.7195 | -178.2805 | -178.2805 | 2.0979 | -169.9023 | 171.1612
Line_1 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_2 | 0.071965 | 0.60727 | 0.53908 | 0.071965 | 0.60727 | 0.53908 | 0.83098 | 7.0121 | 6.2247 | 0.83098 | 7.0121 | 6.2247 | 0.8475 | 4.5063 | -2.1153 | -0.84233 | -4.1381 | 2.4055 | 0.051873 | -0.23205 | 1.4205 | -0.048818 | 0.44963 | -1.2491 | -1.219 | -163.7011 | 18.6018 | 178.781 | 16.2989 | -161.3982 | 1.0218 | 0.6435 | 0.40934 | 1.0154 | 0.59361 | 0.43543 | 2.2836 | -166.649 | 164.7195 | 2.0979 | -169.9023 | 171.1612
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.0324e-15 | 1.4829e-15 | -8.4844e-16 | 3.8572e-16 | -7.7903e-16 | 5.6115e-15 | 9.7691e-15 | 3.5194e-16 | 4.252e-15 | -9.6726e-15 | -3.3178e-15 | -1.5331e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0218 | 0.6435 | 0.40934 | 1.0218 | 0.6435 | 0.40934 | 2.2836 | -166.649 | 164.7195 | 2.2836 | -166.649 | 164.7195

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0804e-16 | 5.8322e-16 | 3.6983e-15 | -1.6291e-15 | -3.8211e-15 | -3.1893e-15 | 2.3721e-15 | 5.7484e-16 | 3.2251e-16 | -2.754e-17 | 5.4322e-15 | -1.2555e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.053172 | 0.44869 | 0.3983 | 0.053172 | 0.44869 | 0.3983 | 0.61398 | 5.181 | 4.5992 | 0.61398 | 5.181 | 4.5992 | -0.55942 | -4.4702 | -0.65138 | 0.56224 | 4.6712 | 0.80977 | 0.2469 | -0.04336 | -3.0398 | -0.24523 | 0.16214 | 3.1334 | -155.5905 | 41.9274 | -135.7696 | 24.4095 | -138.0726 | 44.2304 | 0.99594 | 0.86284 | 0.67595 | 0.99906 | 0.90214 | 0.70368 | 0.59555 | -137.5168 | 122.1359 | 0.84456 | -136.0846 | 119.7405
Line_1 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_2 | 0.026586 | 0.22434 | 0.19915 | 0.026586 | 0.22434 | 0.19915 | 0.30699 | 2.5905 | 2.2996 | 0.30699 | 2.5905 | 2.2996 | 0.28183 | 2.3858 | 0.44448 | -0.28112 | -2.3356 | -0.40488 | -0.1222 | 0.11076 | 1.5901 | 0.12261 | -0.081069 | -1.5667 | 24.4095 | -138.0726 | 44.2304 | -155.5905 | 41.9274 | -135.7696 | 1.0006 | 0.92199 | 0.71798 | 0.99906 | 0.90214 | 0.70368 | 0.96848 | -135.4145 | 118.6132 | 0.84456 | -136.0846 | 119.7405
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0804e-16 | 5.8322e-16 | 3.6983e-15 | -1.6291e-15 | -3.8211e-15 | -3.1893e-15 | 2.3721e-15 | 5.7484e-16 | 3.2251e-16 | -2.754e-17 | 5.4322e-15 | -1.2555e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0006 | 0.92199 | 0.71798 | 1.0006 | 0.92199 | 0.71798 | 0.96848 | -135.4145 | 118.6132 | 0.96848 | -135.4145 | 118.6132

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7734 | 0.75326 | 0.86666 | 1.7763 | 0.75642 | 0.86893 | 20.4775 | 8.6979 | 10.0073 | 20.5106 | 8.7343 | 10.0336 | 6.2505e-11 | -3.4091 | 17.418 | 7.882 | 6.1744 | -13.8762 | -6.7822e-11 | 12.1005 | 0.31232 | 3.7789 | -10.4685 | 0.12022 | 118.0042 | 106.2907 | 134.5241 | -62.0506 | -73.791 | -45.637 |  | 0 | 1.4454 | 1.7408 | 0.42617 | 1.3915 | 1.383 | 0 | -147.975 | 135.5514 | -36.4361 | -133.2588 | 133.8666
Line_1 | 0.89044 | 0.38054 | 0.43657 | 0.88813 | 0.37821 | 0.43447 | 10.2819 | 4.3942 | 5.0411 | 10.2553 | 4.3672 | 5.0168 | 5.9326 | 3.7956 | -6.0679 | -3.941 | -3.0872 | 6.9381 | 2.8445 | -4.8447 | 0.16668 | -1.8894 | 5.2343 | -0.06011 | -62.0752 | -73.7767 | -45.7707 | 117.9494 | 106.209 | 134.363 |  | 0.63989 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.459 | -125.7001 | 132.6559 | -36.4361 | -133.2588 | 133.8666
Line_2 | 0.89044 | 0.38054 | 0.43657 | 0.88813 | 0.37821 | 0.43447 | 10.2819 | 4.3942 | 5.0411 | 10.2553 | 4.3672 | 5.0168 | 5.9326 | 3.7956 | -6.0679 | -3.941 | -3.0872 | 6.9381 | 2.8445 | -4.8447 | 0.16668 | -1.8894 | 5.2343 | -0.06011 | -62.0752 | -73.7767 | -45.7707 | 117.9494 | 106.209 | 134.363 |  | 0.63989 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.459 | -125.7001 | 132.6559 | -36.4361 | -133.2588 | 133.8666
Line_3 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.0071507 | 0.0071984 | -0.014349 | 0.0071507 | 0.0071984 | -0.014349 | 0.0031943 | -0.015558 | -0.0033617 | 0.0031943 | -0.015558 | -0.0033617 | -60.5296 | -60.5296 | -60.5296 | -60.5296 | -60.5296 | -60.5296 |  | 0.63989 | 1.4006 | 1.2041 | 0.63989 | 1.4006 | 1.2041 | -36.459 | -125.7001 | 132.6559 | -36.459 | -125.7001 | 132.6559

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7734 | 0.75326 | 0.86666 | 1.7763 | 0.75642 | 0.86893 | 20.4775 | 8.6979 | 10.0073 | 20.5106 | 8.7343 | 10.0336 | 6.2505e-11 | -3.4091 | 17.418 | 7.882 | 6.1744 | -13.8762 | -6.7822e-11 | 12.1005 | 0.31232 | 3.7789 | -10.4685 | 0.12022 | 118.0042 | 106.2907 | 134.5241 | -62.0506 | -73.791 | -45.637 |  | 0 | 1.4454 | 1.7408 | 0.42617 | 1.3915 | 1.383 | 0 | -147.975 | 135.5514 | -36.4361 | -133.2588 | 133.8666
Line_1 | 0.89044 | 0.38054 | 0.43657 | 0.88813 | 0.37821 | 0.43447 | 10.2819 | 4.3942 | 5.0411 | 10.2553 | 4.3672 | 5.0168 | 5.9326 | 3.7956 | -6.0679 | -3.941 | -3.0872 | 6.9381 | 2.8445 | -4.8447 | 0.16668 | -1.8894 | 5.2343 | -0.06011 | -62.0752 | -73.7767 | -45.7707 | 117.9494 | 106.209 | 134.363 |  | 0.63989 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.459 | -125.7001 | 132.6559 | -36.4361 | -133.2588 | 133.8666
Line_2 | 0.89044 | 0.38054 | 0.43657 | 0.88813 | 0.37821 | 0.43447 | 10.2819 | 4.3942 | 5.0411 | 10.2553 | 4.3672 | 5.0168 | 5.9326 | 3.7956 | -6.0679 | -3.941 | -3.0872 | 6.9381 | 2.8445 | -4.8447 | 0.16668 | -1.8894 | 5.2343 | -0.06011 | -62.0752 | -73.7767 | -45.7707 | 117.9494 | 106.209 | 134.363 |  | 0.63989 | 1.4006 | 1.2041 | 0.42617 | 1.3915 | 1.383 | -36.459 | -125.7001 | 132.6559 | -36.4361 | -133.2588 | 133.8666
Line_3 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.0010599 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.012239 | 0.0071507 | 0.0071984 | -0.014349 | 0.0071507 | 0.0071984 | -0.014349 | 0.0031943 | -0.015558 | -0.0033617 | 0.0031943 | -0.015558 | -0.0033617 | -60.5296 | -60.5296 | -60.5296 | -60.5296 | -60.5296 | -60.5296 |  | 0.63989 | 1.4006 | 1.2041 | 0.63989 | 1.4006 | 1.2041 | -36.459 | -125.7001 | 132.6559 | -36.459 | -125.7001 | 132.6559

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76702 | 0.15968 | 0.40997 | 0.76813 | 0.16087 | 0.41044 | 8.8568 | 1.8439 | 4.7339 | 8.8696 | 1.8575 | 4.7394 | -3.8526 | -1.8596 | 5.0871 | 5.0895 | 1.9954 | -4.4997 | -5.3322 | 1.3878 | -3.651 | 6.1179 | -1.2024 | 3.5614 | 120.2914 | 86.0371 | 164.3376 | -59.7437 | -93.8785 | -15.8174 |  | 0.74275 | 1.2584 | 1.3227 | 0.89723 | 1.2542 | 1.2108 | -5.5577 | -130.6966 | 128.6707 | -9.5011 | -124.9525 | 125.8218
Line_1 | 0.38491 | 0.081148 | 0.20581 | 0.38406 | 0.080433 | 0.20522 | 4.4446 | 0.93702 | 2.3765 | 4.4348 | 0.92876 | 2.3697 | 2.8605 | 1.0349 | -2.1098 | -2.5448 | -0.99768 | 2.2499 | 3.2604 | -0.56216 | 1.7593 | -3.0589 | 0.60122 | -1.7807 | -59.7475 | -93.5585 | -15.9859 | 120.2563 | 86.1215 | 164.1826 |  | 0.97588 | 1.2569 | 1.1559 | 0.89723 | 1.2542 | 1.2108 | -11.0098 | -122.0697 | 124.1911 | -9.5011 | -124.9525 | 125.8218
Line_2 | 0.38491 | 0.081148 | 0.20581 | 0.38406 | 0.080433 | 0.20522 | 4.4446 | 0.93702 | 2.3765 | 4.4348 | 0.92876 | 2.3697 | 2.8605 | 1.0349 | -2.1098 | -2.5448 | -0.99768 | 2.2499 | 3.2604 | -0.56216 | 1.7593 | -3.0589 | 0.60122 | -1.7807 | -59.7475 | -93.5585 | -15.9859 | 120.2563 | 86.1215 | 164.1826 |  | 0.97588 | 1.2569 | 1.1559 | 0.89723 | 1.2542 | 1.2108 | -11.0098 | -122.0697 | 124.1911 | -9.5011 | -124.9525 | 125.8218
Line_3 | 0.00038348 | 0.00038348 | 0.00038348 | 0.00038348 | 0.00038348 | 0.00038348 | 0.004428 | 0.004428 | 0.004428 | 0.004428 | 0.004428 | 0.004428 | 0.0033319 | 0.0017651 | -0.005097 | 0.0033319 | 0.0017651 | -0.005097 | 0.0027516 | -0.0052781 | 0.0004682 | 0.0027516 | -0.0052781 | 0.0004682 | -50.5605 | -50.5605 | -50.5605 | -50.5605 | -50.5605 | -50.5605 |  | 0.97588 | 1.2569 | 1.1559 | 0.97588 | 1.2569 | 1.1559 | -11.0098 | -122.0697 | 124.1911 | -11.0098 | -122.0697 | 124.1911

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.76702 | 0.15968 | 0.40997 | 0.76813 | 0.16087 | 0.41044 | 8.8568 | 1.8439 | 4.7339 | 8.8696 | 1.8575 | 4.7394 | -3.8526 | -1.8596 | 5.0871 | 5.0895 | 1.9954 | -4.4997 | -5.3322 | 1.3878 | -3.651 | 6.1179 | -1.2024 | 3.5614 | 120.2914 | 86.0371 | 164.3376 | -59.7437 | -93.8785 | -15.8174 |  | 0.74275 | 1.2584 | 1.3227 | 0.89723 | 1.2542 | 1.2108 | -5.5577 | -130.6966 | 128.6707 | -9.5011 | -124.9525 | 125.8218
Line_1 | 0.38491 | 0.081148 | 0.20581 | 0.38406 | 0.080433 | 0.20522 | 4.4446 | 0.93702 | 2.3765 | 4.4348 | 0.92876 | 2.3697 | 2.8605 | 1.0349 | -2.1098 | -2.5448 | -0.99768 | 2.2499 | 3.2604 | -0.56216 | 1.7593 | -3.0589 | 0.60122 | -1.7807 | -59.7475 | -93.5585 | -15.9859 | 120.2563 | 86.1215 | 164.1826 |  | 0.97588 | 1.2569 | 1.1559 | 0.89723 | 1.2542 | 1.2108 | -11.0098 | -122.0697 | 124.1911 | -9.5011 | -124.9525 | 125.8218
Line_2 | 0.38491 | 0.081148 | 0.20581 | 0.38406 | 0.080433 | 0.20522 | 4.4446 | 0.93702 | 2.3765 | 4.4348 | 0.92876 | 2.3697 | 2.8605 | 1.0349 | -2.1098 | -2.5448 | -0.99768 | 2.2499 | 3.2604 | -0.56216 | 1.7593 | -3.0589 | 0.60122 | -1.7807 | -59.7475 | -93.5585 | -15.9859 | 120.2563 | 86.1215 | 164.1826 |  | 0.97588 | 1.2569 | 1.1559 | 0.89723 | 1.2542 | 1.2108 | -11.0098 | -122.0697 | 124.1911 | -9.5011 | -124.9525 | 125.8218
Line_3 | 0.00038348 | 0.00038348 | 0.00038348 | 0.00038348 | 0.00038348 | 0.00038348 | 0.004428 | 0.004428 | 0.004428 | 0.004428 | 0.004428 | 0.004428 | 0.0033319 | 0.0017651 | -0.005097 | 0.0033319 | 0.0017651 | -0.005097 | 0.0027516 | -0.0052781 | 0.0004682 | 0.0027516 | -0.0052781 | 0.0004682 | -50.5605 | -50.5605 | -50.5605 | -50.5605 | -50.5605 | -50.5605 |  | 0.97588 | 1.2569 | 1.1559 | 0.97588 | 1.2569 | 1.1559 | -11.0098 | -122.0697 | 124.1911 | -11.0098 | -122.0697 | 124.1911

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1063 | 0.63943 | 0.5759 | 1.108 | 0.64138 | 0.57783 | 12.7744 | 7.3835 | 6.6499 | 12.7938 | 7.406 | 6.6723 | -1.9179e-11 | 3.0889 | 10.9903 | 6.4855 | 0.33888 | -7.9914 | 5.5394e-12 | 9.497 | 0.46087 | 1.1661 | -8.6794 | 0.22509 | 141.3824 | 134.6519 | 135.1001 | -38.7452 | -45.5496 | -45.125 |  | 0 | 1.3526 | 1.6541 | 0.51505 | 1.1728 | 1.1982 | 0 | -153.3654 | 137.5013 | -28.5518 | -133.3137 | 133.2616
Line_1 | 0.55541 | 0.32218 | 0.2904 | 0.55399 | 0.32069 | 0.28892 | 6.4133 | 3.7202 | 3.3533 | 6.3969 | 3.703 | 3.3361 | 4.8807 | 1.0348 | -3.2515 | -3.2427 | -0.16944 | 3.9957 | 0.87997 | -4.1442 | 0.2898 | -0.58307 | 4.3397 | -0.11254 | -38.8153 | -45.6396 | -45.2271 | 141.2548 | 134.4504 | 134.875 |  | 0.7733 | 1.1482 | 0.9735 | 0.51505 | 1.1728 | 1.1982 | -28.5949 | -121.6191 | 129.6797 | -28.5518 | -133.3137 | 133.2616
Line_2 | 0.55541 | 0.32218 | 0.2904 | 0.55399 | 0.32069 | 0.28892 | 6.4133 | 3.7202 | 3.3533 | 6.3969 | 3.703 | 3.3361 | 4.8807 | 1.0348 | -3.2515 | -3.2427 | -0.16944 | 3.9957 | 0.87997 | -4.1442 | 0.2898 | -0.58307 | 4.3397 | -0.11254 | -38.8153 | -45.6396 | -45.2271 | 141.2548 | 134.4504 | 134.875 |  | 0.7733 | 1.1482 | 0.9735 | 0.51505 | 1.1728 | 1.1982 | -28.5949 | -121.6191 | 129.6797 | -28.5518 | -133.3137 | 133.2616
Line_3 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0057917 | 0.0016392 | -0.007431 | 0.0057917 | 0.0016392 | -0.007431 | 0.0014116 | -0.0086979 | 0.0010481 | 0.0014116 | -0.0086979 | 0.0010481 | -42.2921 | -42.2921 | -42.2921 | -42.2921 | -42.2921 | -42.2921 |  | 0.7733 | 1.1482 | 0.9735 | 0.7733 | 1.1482 | 0.9735 | -28.5949 | -121.6191 | 129.6797 | -28.5949 | -121.6191 | 129.6797

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.1063 | 0.63943 | 0.5759 | 1.108 | 0.64138 | 0.57783 | 12.7744 | 7.3835 | 6.6499 | 12.7938 | 7.406 | 6.6723 | -1.9179e-11 | 3.0889 | 10.9903 | 6.4855 | 0.33888 | -7.9914 | 5.5394e-12 | 9.497 | 0.46087 | 1.1661 | -8.6794 | 0.22509 | 141.3824 | 134.6519 | 135.1001 | -38.7452 | -45.5496 | -45.125 |  | 0 | 1.3526 | 1.6541 | 0.51505 | 1.1728 | 1.1982 | 0 | -153.3654 | 137.5013 | -28.5518 | -133.3137 | 133.2616
Line_1 | 0.55541 | 0.32218 | 0.2904 | 0.55399 | 0.32069 | 0.28892 | 6.4133 | 3.7202 | 3.3533 | 6.3969 | 3.703 | 3.3361 | 4.8807 | 1.0348 | -3.2515 | -3.2427 | -0.16944 | 3.9957 | 0.87997 | -4.1442 | 0.2898 | -0.58307 | 4.3397 | -0.11254 | -38.8153 | -45.6396 | -45.2271 | 141.2548 | 134.4504 | 134.875 |  | 0.7733 | 1.1482 | 0.9735 | 0.51505 | 1.1728 | 1.1982 | -28.5949 | -121.6191 | 129.6797 | -28.5518 | -133.3137 | 133.2616
Line_2 | 0.55541 | 0.32218 | 0.2904 | 0.55399 | 0.32069 | 0.28892 | 6.4133 | 3.7202 | 3.3533 | 6.3969 | 3.703 | 3.3361 | 4.8807 | 1.0348 | -3.2515 | -3.2427 | -0.16944 | 3.9957 | 0.87997 | -4.1442 | 0.2898 | -0.58307 | 4.3397 | -0.11254 | -38.8153 | -45.6396 | -45.2271 | 141.2548 | 134.4504 | 134.875 |  | 0.7733 | 1.1482 | 0.9735 | 0.51505 | 1.1728 | 1.1982 | -28.5949 | -121.6191 | 129.6797 | -28.5518 | -133.3137 | 133.2616
Line_3 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0006676 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0077088 | 0.0057917 | 0.0016392 | -0.007431 | 0.0057917 | 0.0016392 | -0.007431 | 0.0014116 | -0.0086979 | 0.0010481 | 0.0014116 | -0.0086979 | 0.0010481 | -42.2921 | -42.2921 | -42.2921 | -42.2921 | -42.2921 | -42.2921 |  | 0.7733 | 1.1482 | 0.9735 | 0.7733 | 1.1482 | 0.9735 | -28.5949 | -121.6191 | 129.6797 | -28.5949 | -121.6191 | 129.6797

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45668 | 0.26396 | 0.23773 | 0.45738 | 0.26476 | 0.23853 | 5.2733 | 3.0479 | 2.7451 | 5.2813 | 3.0572 | 2.7543 | -2.3262 | -0.028761 | 3.4479 | 3.4304 | 0.62058 | -2.9436 | -2.0459 | 3.3207 | -0.2674 | 2.2529 | -3.1846 | 0.37924 | 139.7888 | 133.0583 | 133.5065 | -40.3389 | -47.1432 | -46.7187 |  | 0.58747 | 1.0895 | 1.2598 | 0.77708 | 1.0613 | 1.0775 | 1.1197 | -136.4455 | 129.0719 | -7.044 | -126.1162 | 125.94
Line_1 | 0.22927 | 0.133 | 0.11988 | 0.22869 | 0.13238 | 0.11927 | 2.6474 | 1.5357 | 1.3842 | 2.6407 | 1.5286 | 1.3772 | 1.996 | 0.46041 | -1.3493 | -1.7152 | -0.31029 | 1.4718 | 1.1811 | -1.5625 | 0.21928 | -1.1264 | 1.5923 | -0.18962 | -40.4089 | -47.2332 | -46.8207 | 139.6611 | 132.8568 | 133.2813 |  | 0.87605 | 1.0607 | 0.98757 | 0.77708 | 1.0613 | 1.0775 | -9.7951 | -120.8148 | 123.9487 | -7.044 | -126.1162 | 125.94
Line_2 | 0.22927 | 0.133 | 0.11988 | 0.22869 | 0.13238 | 0.11927 | 2.6474 | 1.5357 | 1.3842 | 2.6407 | 1.5286 | 1.3772 | 1.996 | 0.46041 | -1.3493 | -1.7152 | -0.31029 | 1.4718 | 1.1811 | -1.5625 | 0.21928 | -1.1264 | 1.5923 | -0.18962 | -40.4089 | -47.2332 | -46.8207 | 139.6611 | 132.8568 | 133.2813 |  | 0.87605 | 1.0607 | 0.98757 | 0.77708 | 1.0613 | 1.0775 | -9.7951 | -120.8148 | 123.9487 | -7.044 | -126.1162 | 125.94
Line_3 | 0.00027559 | 0.00027559 | 0.00027559 | 0.00027559 | 0.00027559 | 0.00027559 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0023087 | 0.00076336 | -0.0030721 | 0.0023087 | 0.00076336 | -0.0030721 | 0.0015626 | -0.0032879 | 0.00066228 | 0.0015626 | -0.0032879 | 0.00066228 | -43.8857 | -43.8857 | -43.8857 | -43.8857 | -43.8857 | -43.8857 |  | 0.87605 | 1.0607 | 0.98757 | 0.87605 | 1.0607 | 0.98757 | -9.7951 | -120.8148 | 123.9487 | -9.7951 | -120.8148 | 123.9487

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.45668 | 0.26396 | 0.23773 | 0.45738 | 0.26476 | 0.23853 | 5.2733 | 3.0479 | 2.7451 | 5.2813 | 3.0572 | 2.7543 | -2.3262 | -0.028761 | 3.4479 | 3.4304 | 0.62058 | -2.9436 | -2.0459 | 3.3207 | -0.2674 | 2.2529 | -3.1846 | 0.37924 | 139.7888 | 133.0583 | 133.5065 | -40.3389 | -47.1432 | -46.7187 |  | 0.58747 | 1.0895 | 1.2598 | 0.77708 | 1.0613 | 1.0775 | 1.1197 | -136.4455 | 129.0719 | -7.044 | -126.1162 | 125.94
Line_1 | 0.22927 | 0.133 | 0.11988 | 0.22869 | 0.13238 | 0.11927 | 2.6474 | 1.5357 | 1.3842 | 2.6407 | 1.5286 | 1.3772 | 1.996 | 0.46041 | -1.3493 | -1.7152 | -0.31029 | 1.4718 | 1.1811 | -1.5625 | 0.21928 | -1.1264 | 1.5923 | -0.18962 | -40.4089 | -47.2332 | -46.8207 | 139.6611 | 132.8568 | 133.2813 |  | 0.87605 | 1.0607 | 0.98757 | 0.77708 | 1.0613 | 1.0775 | -9.7951 | -120.8148 | 123.9487 | -7.044 | -126.1162 | 125.94
Line_2 | 0.22927 | 0.133 | 0.11988 | 0.22869 | 0.13238 | 0.11927 | 2.6474 | 1.5357 | 1.3842 | 2.6407 | 1.5286 | 1.3772 | 1.996 | 0.46041 | -1.3493 | -1.7152 | -0.31029 | 1.4718 | 1.1811 | -1.5625 | 0.21928 | -1.1264 | 1.5923 | -0.18962 | -40.4089 | -47.2332 | -46.8207 | 139.6611 | 132.8568 | 133.2813 |  | 0.87605 | 1.0607 | 0.98757 | 0.77708 | 1.0613 | 1.0775 | -9.7951 | -120.8148 | 123.9487 | -7.044 | -126.1162 | 125.94
Line_3 | 0.00027559 | 0.00027559 | 0.00027559 | 0.00027559 | 0.00027559 | 0.00027559 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0031822 | 0.0023087 | 0.00076336 | -0.0030721 | 0.0023087 | 0.00076336 | -0.0030721 | 0.0015626 | -0.0032879 | 0.00066228 | 0.0015626 | -0.0032879 | 0.00066228 | -43.8857 | -43.8857 | -43.8857 | -43.8857 | -43.8857 | -43.8857 |  | 0.87605 | 1.0607 | 0.98757 | 0.87605 | 1.0607 | 0.98757 | -9.7951 | -120.8148 | 123.9487 | -9.7951 | -120.8148 | 123.9487

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24849 | 2.034 | 1.3266 | 0.25022 | 2.0347 | 1.3281 | 2.8693 | 23.4867 | 15.3185 | 2.8893 | 23.4946 | 15.3357 | 3.1133 | 3.1158e-11 | 1.9525e-11 | -2.517 | 6.5013 | 0.77586 | 3.3412 | -8.859e-12 | -7.4596e-12 | -3.2143 | 0.54632 | 4.1341 | -48.6962 | -12.6407 | -128.9386 | 131.0248 | 167.3029 | 51.1259 |  | 1.5916 | 0 | 0 | 1.413 | 0.27769 | 0.27428 | -1.6746 | 0 | 0 | 2.962 | 172.1063 | 130.4966
Line_1 | 0.12655 | 1.0183 | 0.66466 | 0.12511 | 1.0173 | 0.66406 | 1.4613 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8842 | 0.58939 | 1.2585 | -3.2507 | -0.38793 | -1.587 | 0.41252 | 3.1054 | 1.6071 | -0.27316 | -2.067 | 130.865 | 167.2389 | 51.2429 | -48.9752 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27428 | 5.7544 | 172.0667 | 130.4963 | 2.962 | 172.1063 | 130.4966
Line_2 | 0.12655 | 1.0183 | 0.66466 | 0.12511 | 1.0173 | 0.66406 | 1.4613 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8842 | 0.58939 | 1.2585 | -3.2507 | -0.38793 | -1.587 | 0.41252 | 3.1054 | 1.6071 | -0.27316 | -2.067 | 130.865 | 167.2389 | 51.2429 | -48.9752 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27428 | 5.7544 | 172.0667 | 130.4963 | 2.962 | 172.1063 | 130.4966
Line_3 | 0.00067233 | 0.00067233 | 0.00067233 | 0.00067233 | 0.00067233 | 0.00067233 | 0.0077634 | 0.0077634 | 0.0077634 | 0.0077634 | 0.0077634 | 0.0077634 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0086989 | 0.0022432 | 0.00012886 | -0.0086989 | 0.0022432 | 0.00012886 | 128.1864 | 128.1864 | 128.1864 | 128.1864 | 128.1864 | 128.1864 |  | 1.3276 | 0.41686 | 0.41184 | 1.3276 | 0.41686 | 0.41184 | 5.7544 | 172.0667 | 130.4963 | 5.7544 | 172.0667 | 130.4963

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24849 | 2.034 | 1.3266 | 0.25022 | 2.0347 | 1.3281 | 2.8693 | 23.4867 | 15.3185 | 2.8893 | 23.4946 | 15.3357 | 3.1133 | 3.1158e-11 | 1.9525e-11 | -2.517 | 6.5013 | 0.77586 | 3.3412 | -8.859e-12 | -7.4596e-12 | -3.2143 | 0.54632 | 4.1341 | -48.6962 | -12.6407 | -128.9386 | 131.0248 | 167.3029 | 51.1259 |  | 1.5916 | 0 | 0 | 1.413 | 0.27769 | 0.27428 | -1.6746 | 0 | 0 | 2.962 | 172.1063 | 130.4966
Line_1 | 0.12655 | 1.0183 | 0.66466 | 0.12511 | 1.0173 | 0.66406 | 1.4613 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8842 | 0.58939 | 1.2585 | -3.2507 | -0.38793 | -1.587 | 0.41252 | 3.1054 | 1.6071 | -0.27316 | -2.067 | 130.865 | 167.2389 | 51.2429 | -48.9752 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27428 | 5.7544 | 172.0667 | 130.4963 | 2.962 | 172.1063 | 130.4966
Line_2 | 0.12655 | 1.0183 | 0.66466 | 0.12511 | 1.0173 | 0.66406 | 1.4613 | 11.7583 | 7.6748 | 1.4446 | 11.7473 | 7.6679 | -1.1158 | 4.8842 | 0.58939 | 1.2585 | -3.2507 | -0.38793 | -1.587 | 0.41252 | 3.1054 | 1.6071 | -0.27316 | -2.067 | 130.865 | 167.2389 | 51.2429 | -48.9752 | -12.6971 | -128.8741 |  | 1.3276 | 0.41686 | 0.41184 | 1.413 | 0.27769 | 0.27428 | 5.7544 | 172.0667 | 130.4963 | 2.962 | 172.1063 | 130.4966
Line_3 | 0.00067233 | 0.00067233 | 0.00067233 | 0.00067233 | 0.00067233 | 0.00067233 | 0.0077634 | 0.0077634 | 0.0077634 | 0.0077634 | 0.0077634 | 0.0077634 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0055273 | 0.0023326 | 0.0031947 | -0.0086989 | 0.0022432 | 0.00012886 | -0.0086989 | 0.0022432 | 0.00012886 | 128.1864 | 128.1864 | 128.1864 | 128.1864 | 128.1864 | 128.1864 |  | 1.3276 | 0.41686 | 0.41184 | 1.3276 | 0.41686 | 0.41184 | 5.7544 | 172.0667 | 130.4963 | 5.7544 | 172.0667 | 130.4963

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12725 | 0.68605 | 0.60194 | 0.12723 | 0.68645 | 0.60286 | 1.4694 | 7.9218 | 6.9507 | 1.4691 | 7.9265 | 6.9613 | 1.944 | -1.5576 | -5.3582 | -1.8379 | 2.5066 | 5.7883 | -0.40594 | -6.929 | -2.5367 | 0.30463 | 6.9835 | 3.3668 | 11.0061 | -15.11 | -102.4805 | -169.4389 | 164.8148 | 77.5544 |  | 1.3515 | 0.8965 | 0.85292 | 1.2681 | 0.93606 | 0.96193 | -0.78876 | -117.7794 | 102.8533 | 1.15 | -124.9299 | 107.7389
Line_1 | 0.063854 | 0.34372 | 0.30194 | 0.063615 | 0.34323 | 0.30143 | 0.73732 | 3.969 | 3.4865 | 0.73456 | 3.9632 | 3.4806 | -0.89632 | 1.4905 | 3.0077 | 0.91895 | -1.2533 | -2.8942 | 0.122 | 3.5106 | 1.8898 | -0.15231 | -3.4917 | -1.6834 | -170.0241 | 164.734 | 77.644 | 10.5611 | -15.1852 | -102.4456 |  | 1.2268 | 0.96092 | 1.0188 | 1.2681 | 0.93606 | 0.96193 | 2.2247 | -128.2705 | 109.7867 | 1.15 | -124.9299 | 107.7389
Line_2 | 0.063854 | 0.34372 | 0.30194 | 0.063615 | 0.34323 | 0.30143 | 0.73732 | 3.969 | 3.4865 | 0.73456 | 3.9632 | 3.4806 | -0.89632 | 1.4905 | 3.0077 | 0.91895 | -1.2533 | -2.8942 | 0.122 | 3.5106 | 1.8898 | -0.15231 | -3.4917 | -1.6834 | -170.0241 | 164.734 | 77.644 | 10.5611 | -15.1852 | -102.4456 |  | 1.2268 | 0.96092 | 1.0188 | 1.2681 | 0.93606 | 0.96193 | 2.2247 | -128.2705 | 109.7867 | 1.15 | -124.9299 | 107.7389
Line_3 | 0.00031431 | 0.00031431 | 0.00031431 | 0.00031431 | 0.00031431 | 0.00031431 | 0.0036293 | 0.0036293 | 0.0036293 | 0.0036293 | 0.0036293 | 0.0036293 | -0.0028117 | -0.00062634 | 0.0034381 | -0.0028117 | -0.00062634 | 0.0034381 | -0.0034526 | 0.0034308 | -0.001361 | -0.0034526 | 0.0034308 | -0.001361 | 131.3833 | 131.3833 | 131.3833 | 131.3833 | 131.3833 | 131.3833 |  | 1.2268 | 0.96092 | 1.0188 | 1.2268 | 0.96092 | 1.0188 | 2.2247 | -128.2705 | 109.7867 | 2.2247 | -128.2705 | 109.7867

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.12725 | 0.68605 | 0.60194 | 0.12723 | 0.68645 | 0.60286 | 1.4694 | 7.9218 | 6.9507 | 1.4691 | 7.9265 | 6.9613 | 1.944 | -1.5576 | -5.3582 | -1.8379 | 2.5066 | 5.7883 | -0.40594 | -6.929 | -2.5367 | 0.30463 | 6.9835 | 3.3668 | 11.0061 | -15.11 | -102.4805 | -169.4389 | 164.8148 | 77.5544 |  | 1.3515 | 0.8965 | 0.85292 | 1.2681 | 0.93606 | 0.96193 | -0.78876 | -117.7794 | 102.8533 | 1.15 | -124.9299 | 107.7389
Line_1 | 0.063854 | 0.34372 | 0.30194 | 0.063615 | 0.34323 | 0.30143 | 0.73732 | 3.969 | 3.4865 | 0.73456 | 3.9632 | 3.4806 | -0.89632 | 1.4905 | 3.0077 | 0.91895 | -1.2533 | -2.8942 | 0.122 | 3.5106 | 1.8898 | -0.15231 | -3.4917 | -1.6834 | -170.0241 | 164.734 | 77.644 | 10.5611 | -15.1852 | -102.4456 |  | 1.2268 | 0.96092 | 1.0188 | 1.2681 | 0.93606 | 0.96193 | 2.2247 | -128.2705 | 109.7867 | 1.15 | -124.9299 | 107.7389
Line_2 | 0.063854 | 0.34372 | 0.30194 | 0.063615 | 0.34323 | 0.30143 | 0.73732 | 3.969 | 3.4865 | 0.73456 | 3.9632 | 3.4806 | -0.89632 | 1.4905 | 3.0077 | 0.91895 | -1.2533 | -2.8942 | 0.122 | 3.5106 | 1.8898 | -0.15231 | -3.4917 | -1.6834 | -170.0241 | 164.734 | 77.644 | 10.5611 | -15.1852 | -102.4456 |  | 1.2268 | 0.96092 | 1.0188 | 1.2681 | 0.93606 | 0.96193 | 2.2247 | -128.2705 | 109.7867 | 1.15 | -124.9299 | 107.7389
Line_3 | 0.00031431 | 0.00031431 | 0.00031431 | 0.00031431 | 0.00031431 | 0.00031431 | 0.0036293 | 0.0036293 | 0.0036293 | 0.0036293 | 0.0036293 | 0.0036293 | -0.0028117 | -0.00062634 | 0.0034381 | -0.0028117 | -0.00062634 | 0.0034381 | -0.0034526 | 0.0034308 | -0.001361 | -0.0034526 | 0.0034308 | -0.001361 | 131.3833 | 131.3833 | 131.3833 | 131.3833 | 131.3833 | 131.3833 |  | 1.2268 | 0.96092 | 1.0188 | 1.2268 | 0.96092 | 1.0188 | 2.2247 | -128.2705 | 109.7867 | 2.2247 | -128.2705 | 109.7867

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24544 | 1.5844 | 0.84201 | 0.24693 | 1.5845 | 0.84313 | 2.8341 | 18.2953 | 9.7227 | 2.8513 | 18.296 | 9.7356 | 2.4901 | -2.1299e-11 | -6.8076e-12 | -1.846 | 6.3924 | -0.098801 | 3.2172 | -2.5372e-11 | -1.643e-11 | -2.8652 | -0.50895 | 2.5973 | -53.9494 | 3.4352 | -134.204 | 125.8484 | -176.6271 | 45.8856 |  | 1.4354 | 0 | 0 | 1.1954 | 0.35049 | 0.26698 | -1.6891 | 0 | 0 | 3.0547 | 178.8207 | 138.0641
Line_1 | 0.12438 | 0.79273 | 0.42172 | 0.12347 | 0.79224 | 0.42156 | 1.4362 | 9.1537 | 4.8696 | 1.4257 | 9.148 | 4.8678 | -0.76594 | 4.8 | -0.069396 | 0.92302 | -3.1962 | 0.049401 | -1.3474 | -0.38158 | 1.9514 | 1.4326 | 0.25448 | -1.2986 | 125.8486 | -176.6825 | 46.0073 | -54.1516 | 3.3729 | -134.1144 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26698 | 6.2323 | 178.7723 | 138.044 | 3.0547 | 178.8207 | 138.0641
Line_2 | 0.12438 | 0.79273 | 0.42172 | 0.12347 | 0.79224 | 0.42156 | 1.4362 | 9.1537 | 4.8696 | 1.4257 | 9.148 | 4.8678 | -0.76594 | 4.8 | -0.069396 | 0.92302 | -3.1962 | 0.049401 | -1.3474 | -0.38158 | 1.9514 | 1.4326 | 0.25448 | -1.2986 | 125.8486 | -176.6825 | 46.0073 | -54.1516 | 3.3729 | -134.1144 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26698 | 6.2323 | 178.7723 | 138.044 | 3.0547 | 178.8207 | 138.0641
Line_3 | 0.00038613 | 0.00038613 | 0.00038613 | 0.00038613 | 0.00038613 | 0.00038613 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | -0.0037746 | 0.0020132 | 0.0017614 | -0.0037746 | 0.0020132 | 0.0017614 | -0.002984 | 0.0012033 | -0.00030615 | -0.002984 | 0.0012033 | -0.00030615 | 147.9039 | 147.9039 | 147.9039 | 147.9039 | 147.9039 | 147.9039 |  | 1.0792 | 0.52604 | 0.40098 | 1.0792 | 0.52604 | 0.40098 | 6.2323 | 178.7723 | 138.044 | 6.2323 | 178.7723 | 138.044

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.24544 | 1.5844 | 0.84201 | 0.24693 | 1.5845 | 0.84313 | 2.8341 | 18.2953 | 9.7227 | 2.8513 | 18.296 | 9.7356 | 2.4901 | -2.1299e-11 | -6.8076e-12 | -1.846 | 6.3924 | -0.098801 | 3.2172 | -2.5372e-11 | -1.643e-11 | -2.8652 | -0.50895 | 2.5973 | -53.9494 | 3.4352 | -134.204 | 125.8484 | -176.6271 | 45.8856 |  | 1.4354 | 0 | 0 | 1.1954 | 0.35049 | 0.26698 | -1.6891 | 0 | 0 | 3.0547 | 178.8207 | 138.0641
Line_1 | 0.12438 | 0.79273 | 0.42172 | 0.12347 | 0.79224 | 0.42156 | 1.4362 | 9.1537 | 4.8696 | 1.4257 | 9.148 | 4.8678 | -0.76594 | 4.8 | -0.069396 | 0.92302 | -3.1962 | 0.049401 | -1.3474 | -0.38158 | 1.9514 | 1.4326 | 0.25448 | -1.2986 | 125.8486 | -176.6825 | 46.0073 | -54.1516 | 3.3729 | -134.1144 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26698 | 6.2323 | 178.7723 | 138.044 | 3.0547 | 178.8207 | 138.0641
Line_2 | 0.12438 | 0.79273 | 0.42172 | 0.12347 | 0.79224 | 0.42156 | 1.4362 | 9.1537 | 4.8696 | 1.4257 | 9.148 | 4.8678 | -0.76594 | 4.8 | -0.069396 | 0.92302 | -3.1962 | 0.049401 | -1.3474 | -0.38158 | 1.9514 | 1.4326 | 0.25448 | -1.2986 | 125.8486 | -176.6825 | 46.0073 | -54.1516 | 3.3729 | -134.1144 |  | 1.0792 | 0.52604 | 0.40098 | 1.1954 | 0.35049 | 0.26698 | 6.2323 | 178.7723 | 138.044 | 3.0547 | 178.8207 | 138.0641
Line_3 | 0.00038613 | 0.00038613 | 0.00038613 | 0.00038613 | 0.00038613 | 0.00038613 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | 0.0044586 | -0.0037746 | 0.0020132 | 0.0017614 | -0.0037746 | 0.0020132 | 0.0017614 | -0.002984 | 0.0012033 | -0.00030615 | -0.002984 | 0.0012033 | -0.00030615 | 147.9039 | 147.9039 | 147.9039 | 147.9039 | 147.9039 | 147.9039 |  | 1.0792 | 0.52604 | 0.40098 | 1.0792 | 0.52604 | 0.40098 | 6.2323 | 178.7723 | 138.044 | 6.2323 | 178.7723 | 138.044

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18513 | 0.39566 | 0.35531 | 0.18585 | 0.39556 | 0.35624 | 2.1377 | 4.5686 | 4.1027 | 2.1461 | 4.5675 | 4.1135 | 1.7626 | -1.7758 | -2.8233 | -1.4658 | 2.4117 | 3.3101 | 1.951 | -3.172 | 0.0095862 | -1.8446 | 2.9215 | 0.47375 | -50.7037 | 5.3437 | -79.2215 | 129.1087 | -174.7926 | 100.7481 |  | 1.23 | 0.79569 | 0.68815 | 1.0979 | 0.8294 | 0.8129 | -2.8006 | -113.8987 | 100.5839 | 0.63583 | -124.3323 | 108.8931
Line_1 | 0.093419 | 0.19798 | 0.17859 | 0.092927 | 0.19778 | 0.17812 | 1.0787 | 2.2861 | 2.0622 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3652 | 1.7805 | 0.73291 | -1.2058 | -1.6551 | -0.89773 | 1.4012 | 0.35686 | 0.92229 | -1.4607 | -0.23688 | 129.0574 | -174.9242 | 100.7994 | -50.8913 | 5.2074 | -79.2519 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.8129 | 2.6947 | -129.1792 | 112.1326 | 0.63583 | -124.3323 | 108.8931
Line_2 | 0.093419 | 0.19798 | 0.17859 | 0.092927 | 0.19778 | 0.17812 | 1.0787 | 2.2861 | 2.0622 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3652 | 1.7805 | 0.73291 | -1.2058 | -1.6551 | -0.89773 | 1.4012 | 0.35686 | 0.92229 | -1.4607 | -0.23688 | 129.0574 | -174.9242 | 100.7994 | -50.8913 | 5.2074 | -79.2519 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.8129 | 2.6947 | -129.1792 | 112.1326 | 0.63583 | -124.3323 | 108.8931
Line_3 | 0.00021187 | 0.00021187 | 0.00021187 | 0.00021187 | 0.00021187 | 0.00021187 | 0.0024465 | 0.0024465 | 0.0024465 | 0.0024465 | 0.0024465 | 0.0024465 | -0.001902 | 2.4165e-05 | 0.0018778 | -0.001902 | 2.4165e-05 | 0.0018778 | -0.0016658 | 0.0020934 | -0.0010559 | -0.0016658 | 0.0020934 | -0.0010559 | 141.4822 | 141.4822 | 141.4822 | 141.4822 | 141.4822 | 141.4822 |  | 1.0335 | 0.85575 | 0.88059 | 1.0335 | 0.85575 | 0.88059 | 2.6947 | -129.1792 | 112.1326 | 2.6947 | -129.1792 | 112.1326

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.18513 | 0.39566 | 0.35531 | 0.18585 | 0.39556 | 0.35624 | 2.1377 | 4.5686 | 4.1027 | 2.1461 | 4.5675 | 4.1135 | 1.7626 | -1.7758 | -2.8233 | -1.4658 | 2.4117 | 3.3101 | 1.951 | -3.172 | 0.0095862 | -1.8446 | 2.9215 | 0.47375 | -50.7037 | 5.3437 | -79.2215 | 129.1087 | -174.7926 | 100.7481 |  | 1.23 | 0.79569 | 0.68815 | 1.0979 | 0.8294 | 0.8129 | -2.8006 | -113.8987 | 100.5839 | 0.63583 | -124.3323 | 108.8931
Line_1 | 0.093419 | 0.19798 | 0.17859 | 0.092927 | 0.19778 | 0.17812 | 1.0787 | 2.2861 | 2.0622 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3652 | 1.7805 | 0.73291 | -1.2058 | -1.6551 | -0.89773 | 1.4012 | 0.35686 | 0.92229 | -1.4607 | -0.23688 | 129.0574 | -174.9242 | 100.7994 | -50.8913 | 5.2074 | -79.2519 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.8129 | 2.6947 | -129.1792 | 112.1326 | 0.63583 | -124.3323 | 108.8931
Line_2 | 0.093419 | 0.19798 | 0.17859 | 0.092927 | 0.19778 | 0.17812 | 1.0787 | 2.2861 | 2.0622 | 1.073 | 2.2838 | 2.0567 | -0.66096 | 1.3652 | 1.7805 | 0.73291 | -1.2058 | -1.6551 | -0.89773 | 1.4012 | 0.35686 | 0.92229 | -1.4607 | -0.23688 | 129.0574 | -174.9242 | 100.7994 | -50.8913 | 5.2074 | -79.2519 |  | 1.0335 | 0.85575 | 0.88059 | 1.0979 | 0.8294 | 0.8129 | 2.6947 | -129.1792 | 112.1326 | 0.63583 | -124.3323 | 108.8931
Line_3 | 0.00021187 | 0.00021187 | 0.00021187 | 0.00021187 | 0.00021187 | 0.00021187 | 0.0024465 | 0.0024465 | 0.0024465 | 0.0024465 | 0.0024465 | 0.0024465 | -0.001902 | 2.4165e-05 | 0.0018778 | -0.001902 | 2.4165e-05 | 0.0018778 | -0.0016658 | 0.0020934 | -0.0010559 | -0.0016658 | 0.0020934 | -0.0010559 | 141.4822 | 141.4822 | 141.4822 | 141.4822 | 141.4822 | 141.4822 |  | 1.0335 | 0.85575 | 0.88059 | 1.0335 | 0.85575 | 0.88059 | 2.6947 | -129.1792 | 112.1326 | 2.6947 | -129.1792 | 112.1326