## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2418e-14 | -1.214e-14 | -1.0551e-14 | -5.8489e-15 | 1.0123e-14 | 0 | -6.4354e-15 | 1.7039e-15 | 5.8641e-15 | 5.4579e-15 | -1.0887e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.2418e-14 | -1.214e-14 | -1.0551e-14 | -5.8489e-15 | 1.0123e-14 | 0 | -6.4354e-15 | 1.7039e-15 | 5.8641e-15 | 5.4579e-15 | -1.0887e-14 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0866e-15 | 1.7407e-15 | 5.1297e-15 | -1.388e-15 | 1.2546e-14 | -8.1888e-15 | -5.61e-15 | 1.5682e-15 | -9.8858e-16 | -1.9334e-17 | -1.3926e-14 | -1.082e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -4.0866e-15 | 1.7407e-15 | 5.1297e-15 | -1.388e-15 | 1.2546e-14 | -8.1888e-15 | -5.61e-15 | 1.5682e-15 | -9.8858e-16 | -1.9334e-17 | -1.3926e-14 | -1.082e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5017e-15 | 4.4024e-15 | -2.0423e-16 | -7.5017e-15 | 7.435e-15 | 2.211e-15 | -4.5654e-15 | 8.5748e-15 | -4.4219e-15 | 4.5654e-15 | -1.7986e-14 | -1.0212e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7.5017e-15 | 4.4024e-15 | -2.0423e-16 | -7.5017e-15 | 7.435e-15 | 2.211e-15 | -4.5654e-15 | 8.5748e-15 | -4.4219e-15 | 4.5654e-15 | -1.7986e-14 | -1.0212e-16 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4916e-16 | -4.6033e-15 | 3.7285e-15 | -1.1447e-15 | 2.6662e-15 | 1.8804e-15 | 2.3937e-15 | 6.4986e-15 | 2.3975e-16 | -2.4053e-15 | -2.916e-15 | 2.8132e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 5.4916e-16 | -4.6033e-15 | 3.7285e-15 | -1.1447e-15 | 2.6662e-15 | 1.8804e-15 | 2.3937e-15 | 6.4986e-15 | 2.3975e-16 | -2.4053e-15 | -2.916e-15 | 2.8132e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0229 | 0.89114 | 0.80003 | 2.0201 | 0.89411 | 0.80242 | 23.3587 | 10.29 | 9.238 | 23.3262 | 10.3243 | 9.2655 | 2.9782 | -9.4372 | 13.1097 | 1.0539e-10 | 9.5503 | -13.1607 | 2.6445 | 9.877 | 1.894 | -8.2693e-11 | -9.6363 | -1.5354 | -72.8888 | 91.5992 | 124.7027 | 107.1393 | -88.4137 | -55.4254 |  | 0.17051 | 1.3276 | 1.4338 | 0 | 1.3141 | 1.43 | -31.2851 | -134.7053 | 132.9234 | 0 | -133.6704 | 131.2289
Line_1 | 1.1412 | 0.44978 | 0.40358 | 1.1385 | 0.44706 | 0.40121 | 13.177 | 5.1936 | 4.6601 | 13.146 | 5.1622 | 4.6328 | 3.0284 | 5.7463 | -5.6665 | 6.1085e-11 | -4.7752 | 6.5803 | 1.4582 | -4.2508 | -0.74421 | -4.4367e-11 | 4.8181 | 0.76769 | -75.011 | -88.3934 | -55.6167 | 105.013 | 91.5863 | 124.5746 |  | 0.25508 | 1.3763 | 1.2264 | 0 | 1.3141 | 1.43 | -49.2999 | -124.8853 | 131.8654 | 0 | -133.6704 | 131.2289
Line_2 | 1.1412 | 0.44978 | 0.40358 | 1.1385 | 0.44706 | 0.40121 | 13.177 | 5.1936 | 4.6601 | 13.146 | 5.1622 | 4.6328 | 3.0284 | 5.7463 | -5.6665 | 6.1085e-11 | -4.7752 | 6.5803 | 1.4582 | -4.2508 | -0.74421 | -4.4367e-11 | 4.8181 | 0.76769 | -75.011 | -88.3934 | -55.6167 | 105.013 | 91.5863 | 124.5746 |  | 0.25508 | 1.3763 | 1.2264 | 0 | 1.3141 | 1.43 | -49.2999 | -124.8853 | 131.8654 | 0 | -133.6704 | 131.2289
Line_3 | 0.0012344 | 0.0012344 | 0.0012344 | 0.0012344 | 0.0012344 | 0.0012344 | 0.014253 | 0.014253 | 0.014253 | 0.014253 | 0.014253 | 0.014253 | 0.0032995 | 0.012412 | -0.015711 | 0.0032995 | 0.012412 | -0.015711 | 0.0015271 | -0.01519 | -0.0076634 | 0.0015271 | -0.01519 | -0.0076634 | -74.1363 | -74.1363 | -74.1363 | -74.1363 | -74.1363 | -74.1363 |  | 0.25508 | 1.3763 | 1.2264 | 0.25508 | 1.3763 | 1.2264 | -49.2999 | -124.8853 | 131.8654 | -49.2999 | -124.8853 | 131.8654

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0229 | 0.89114 | 0.80003 | 2.0201 | 0.89411 | 0.80242 | 23.3587 | 10.29 | 9.238 | 23.3262 | 10.3243 | 9.2655 | 2.9782 | -9.4372 | 13.1097 | 1.0539e-10 | 9.5503 | -13.1607 | 2.6445 | 9.877 | 1.894 | -8.2693e-11 | -9.6363 | -1.5354 | -72.8888 | 91.5992 | 124.7027 | 107.1393 | -88.4137 | -55.4254 |  | 0.17051 | 1.3276 | 1.4338 | 0 | 1.3141 | 1.43 | -31.2851 | -134.7053 | 132.9234 | 0 | -133.6704 | 131.2289
Line_1 | 1.1412 | 0.44978 | 0.40358 | 1.1385 | 0.44706 | 0.40121 | 13.177 | 5.1936 | 4.6601 | 13.146 | 5.1622 | 4.6328 | 3.0284 | 5.7463 | -5.6665 | 6.1085e-11 | -4.7752 | 6.5803 | 1.4582 | -4.2508 | -0.74421 | -4.4367e-11 | 4.8181 | 0.76769 | -75.011 | -88.3934 | -55.6167 | 105.013 | 91.5863 | 124.5746 |  | 0.25508 | 1.3763 | 1.2264 | 0 | 1.3141 | 1.43 | -49.2999 | -124.8853 | 131.8654 | 0 | -133.6704 | 131.2289
Line_2 | 1.1412 | 0.44978 | 0.40358 | 1.1385 | 0.44706 | 0.40121 | 13.177 | 5.1936 | 4.6601 | 13.146 | 5.1622 | 4.6328 | 3.0284 | 5.7463 | -5.6665 | 6.1085e-11 | -4.7752 | 6.5803 | 1.4582 | -4.2508 | -0.74421 | -4.4367e-11 | 4.8181 | 0.76769 | -75.011 | -88.3934 | -55.6167 | 105.013 | 91.5863 | 124.5746 |  | 0.25508 | 1.3763 | 1.2264 | 0 | 1.3141 | 1.43 | -49.2999 | -124.8853 | 131.8654 | 0 | -133.6704 | 131.2289
Line_3 | 0.0012344 | 0.0012344 | 0.0012344 | 0.0012344 | 0.0012344 | 0.0012344 | 0.014253 | 0.014253 | 0.014253 | 0.014253 | 0.014253 | 0.014253 | 0.0032995 | 0.012412 | -0.015711 | 0.0032995 | 0.012412 | -0.015711 | 0.0015271 | -0.01519 | -0.0076634 | 0.0015271 | -0.01519 | -0.0076634 | -74.1363 | -74.1363 | -74.1363 | -74.1363 | -74.1363 | -74.1363 |  | 0.25508 | 1.3763 | 1.2264 | 0.25508 | 1.3763 | 1.2264 | -49.2999 | -124.8853 | 131.8654 | -49.2999 | -124.8853 | 131.8654

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5029 | 0.19007 | 0.35379 | 0.50209 | 0.19085 | 0.35421 | 5.807 | 2.1947 | 4.0853 | 5.7977 | 2.2038 | 4.09 | 4.2415 | -2.5583 | 3.4015 | -4.0371 | 2.5756 | -3.3912 | 2.7647 | 0.84887 | -3.4986 | -2.6025 | -0.86217 | 3.5925 | -41.6401 | 74.6635 | 171.9383 | 138.4142 | -105.1817 | -8.1983 |  | 0.87187 | 1.2282 | 1.1944 | 0.82849 | 1.2325 | 1.2079 | -8.5426 | -123.6925 | 126.1323 | -8.778 | -123.6895 | 125.151
Line_1 | 0.43518 | 0.096082 | 0.17758 | 0.43432 | 0.095427 | 0.1771 | 5.025 | 1.1095 | 2.0505 | 5.0151 | 1.1019 | 2.045 | 2.9326 | 1.3249 | -1.587 | -2.5574 | -1.2878 | 1.6956 | 3.5051 | -0.37655 | 1.7527 | -3.2747 | 0.43108 | -1.7962 | -60.7978 | -104.8507 | -8.4295 | 119.2102 | 74.8183 | 171.8017 |  | 0.90947 | 1.2415 | 1.1531 | 0.82849 | 1.2325 | 1.2079 | -10.7157 | -120.7161 | 123.7307 | -8.778 | -123.6895 | 125.151
Line_2 | 0.43518 | 0.096082 | 0.17758 | 0.43432 | 0.095427 | 0.1771 | 5.025 | 1.1095 | 2.0505 | 5.0151 | 1.1019 | 2.045 | 2.9326 | 1.3249 | -1.587 | -2.5574 | -1.2878 | 1.6956 | 3.5051 | -0.37655 | 1.7527 | -3.2747 | 0.43108 | -1.7962 | -60.7978 | -104.8507 | -8.4295 | 119.2102 | 74.8183 | 171.8017 |  | 0.90947 | 1.2415 | 1.1531 | 0.82849 | 1.2325 | 1.2079 | -10.7157 | -120.7161 | 123.7307 | -8.778 | -123.6895 | 125.151
Line_3 | 0.00038871 | 0.00038871 | 0.00038871 | 0.00038871 | 0.00038871 | 0.00038871 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0029752 | 0.0021961 | -0.0051713 | 0.0029752 | 0.0021961 | -0.0051713 | 0.002795 | -0.0051213 | 0.00021154 | 0.002795 | -0.0051213 | 0.00021154 | -53.9269 | -53.9269 | -53.9269 | -53.9269 | -53.9269 | -53.9269 |  | 0.90947 | 1.2415 | 1.1531 | 0.90947 | 1.2415 | 1.1531 | -10.7157 | -120.7161 | 123.7307 | -10.7157 | -120.7161 | 123.7307

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.5029 | 0.19007 | 0.35379 | 0.50209 | 0.19085 | 0.35421 | 5.807 | 2.1947 | 4.0853 | 5.7977 | 2.2038 | 4.09 | 4.2415 | -2.5583 | 3.4015 | -4.0371 | 2.5756 | -3.3912 | 2.7647 | 0.84887 | -3.4986 | -2.6025 | -0.86217 | 3.5925 | -41.6401 | 74.6635 | 171.9383 | 138.4142 | -105.1817 | -8.1983 |  | 0.87187 | 1.2282 | 1.1944 | 0.82849 | 1.2325 | 1.2079 | -8.5426 | -123.6925 | 126.1323 | -8.778 | -123.6895 | 125.151
Line_1 | 0.43518 | 0.096082 | 0.17758 | 0.43432 | 0.095427 | 0.1771 | 5.025 | 1.1095 | 2.0505 | 5.0151 | 1.1019 | 2.045 | 2.9326 | 1.3249 | -1.587 | -2.5574 | -1.2878 | 1.6956 | 3.5051 | -0.37655 | 1.7527 | -3.2747 | 0.43108 | -1.7962 | -60.7978 | -104.8507 | -8.4295 | 119.2102 | 74.8183 | 171.8017 |  | 0.90947 | 1.2415 | 1.1531 | 0.82849 | 1.2325 | 1.2079 | -10.7157 | -120.7161 | 123.7307 | -8.778 | -123.6895 | 125.151
Line_2 | 0.43518 | 0.096082 | 0.17758 | 0.43432 | 0.095427 | 0.1771 | 5.025 | 1.1095 | 2.0505 | 5.0151 | 1.1019 | 2.045 | 2.9326 | 1.3249 | -1.587 | -2.5574 | -1.2878 | 1.6956 | 3.5051 | -0.37655 | 1.7527 | -3.2747 | 0.43108 | -1.7962 | -60.7978 | -104.8507 | -8.4295 | 119.2102 | 74.8183 | 171.8017 |  | 0.90947 | 1.2415 | 1.1531 | 0.82849 | 1.2325 | 1.2079 | -10.7157 | -120.7161 | 123.7307 | -8.778 | -123.6895 | 125.151
Line_3 | 0.00038871 | 0.00038871 | 0.00038871 | 0.00038871 | 0.00038871 | 0.00038871 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0044884 | 0.0029752 | 0.0021961 | -0.0051713 | 0.0029752 | 0.0021961 | -0.0051713 | 0.002795 | -0.0051213 | 0.00021154 | 0.002795 | -0.0051213 | 0.00021154 | -53.9269 | -53.9269 | -53.9269 | -53.9269 | -53.9269 | -53.9269 |  | 0.90947 | 1.2415 | 1.1531 | 0.90947 | 1.2415 | 1.1531 | -10.7157 | -120.7161 | 123.7307 | -10.7157 | -120.7161 | 123.7307

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7871 | 0.7822 | 0.67084 | 1.7849 | 0.78434 | 0.67284 | 20.6356 | 9.032 | 7.7462 | 20.6107 | 9.0567 | 7.7693 | 4.4416 | -2.2649 | 9.9374 | -5.181e-11 | 2.3529 | -9.9792 | 1.7741 | 10.0438 | 1.2446 | 1.5599e-13 | -9.6481 | -0.91731 | -60.9696 | 119.9053 | 124.8989 | 119.0772 | -60.2037 | -55.2435 |  | 0.23178 | 1.1399 | 1.2929 | 0 | 1.0965 | 1.2899 | -39.1961 | -137.3868 | 132.0376 | 0 | -136.4986 | 130.0084
Line_1 | 0.8719 | 0.39415 | 0.33833 | 0.86986 | 0.39217 | 0.33642 | 10.0678 | 4.5513 | 3.9067 | 10.0443 | 4.5284 | 3.8847 | 3.5671 | 2.6313 | -3.7929 | -2.5212e-11 | -1.1764 | 4.9896 | 0.99526 | -4.5938 | -0.36594 | -1.355e-12 | 4.8241 | 0.45865 | -64.2185 | -60.3276 | -55.4164 | 115.8284 | 119.7963 | 124.7565 |  | 0.36784 | 1.1632 | 0.97539 | 0 | 1.0965 | 1.2899 | -48.6288 | -120.524 | 130.0944 | 0 | -136.4986 | 130.0084
Line_2 | 0.8719 | 0.39415 | 0.33833 | 0.86986 | 0.39217 | 0.33642 | 10.0678 | 4.5513 | 3.9067 | 10.0443 | 4.5284 | 3.8847 | 3.5671 | 2.6313 | -3.7929 | -2.5212e-11 | -1.1764 | 4.9896 | 0.99526 | -4.5938 | -0.36594 | -1.355e-12 | 4.8241 | 0.45865 | -64.2185 | -60.3276 | -55.4164 | 115.8284 | 119.7963 | 124.7565 |  | 0.36784 | 1.1632 | 0.97539 | 0 | 1.0965 | 1.2899 | -48.6288 | -120.524 | 130.0944 | 0 | -136.4986 | 130.0084
Line_3 | 0.00091688 | 0.00091688 | 0.00091688 | 0.00091688 | 0.00091688 | 0.00091688 | 0.010587 | 0.010587 | 0.010587 | 0.010587 | 0.010587 | 0.010587 | 0.0037979 | 0.0063213 | -0.010119 | 0.0037979 | 0.0063213 | -0.010119 | 0.00086142 | -0.010569 | -0.0020592 | 0.00086142 | -0.010569 | -0.0020592 | -61.4081 | -61.4081 | -61.4081 | -61.4081 | -61.4081 | -61.4081 |  | 0.36784 | 1.1632 | 0.97539 | 0.36784 | 1.1632 | 0.97539 | -48.6288 | -120.524 | 130.0944 | -48.6288 | -120.524 | 130.0944

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7871 | 0.7822 | 0.67084 | 1.7849 | 0.78434 | 0.67284 | 20.6356 | 9.032 | 7.7462 | 20.6107 | 9.0567 | 7.7693 | 4.4416 | -2.2649 | 9.9374 | -5.181e-11 | 2.3529 | -9.9792 | 1.7741 | 10.0438 | 1.2446 | 1.5599e-13 | -9.6481 | -0.91731 | -60.9696 | 119.9053 | 124.8989 | 119.0772 | -60.2037 | -55.2435 |  | 0.23178 | 1.1399 | 1.2929 | 0 | 1.0965 | 1.2899 | -39.1961 | -137.3868 | 132.0376 | 0 | -136.4986 | 130.0084
Line_1 | 0.8719 | 0.39415 | 0.33833 | 0.86986 | 0.39217 | 0.33642 | 10.0678 | 4.5513 | 3.9067 | 10.0443 | 4.5284 | 3.8847 | 3.5671 | 2.6313 | -3.7929 | -2.5212e-11 | -1.1764 | 4.9896 | 0.99526 | -4.5938 | -0.36594 | -1.355e-12 | 4.8241 | 0.45865 | -64.2185 | -60.3276 | -55.4164 | 115.8284 | 119.7963 | 124.7565 |  | 0.36784 | 1.1632 | 0.97539 | 0 | 1.0965 | 1.2899 | -48.6288 | -120.524 | 130.0944 | 0 | -136.4986 | 130.0084
Line_2 | 0.8719 | 0.39415 | 0.33833 | 0.86986 | 0.39217 | 0.33642 | 10.0678 | 4.5513 | 3.9067 | 10.0443 | 4.5284 | 3.8847 | 3.5671 | 2.6313 | -3.7929 | -2.5212e-11 | -1.1764 | 4.9896 | 0.99526 | -4.5938 | -0.36594 | -1.355e-12 | 4.8241 | 0.45865 | -64.2185 | -60.3276 | -55.4164 | 115.8284 | 119.7963 | 124.7565 |  | 0.36784 | 1.1632 | 0.97539 | 0 | 1.0965 | 1.2899 | -48.6288 | -120.524 | 130.0944 | 0 | -136.4986 | 130.0084
Line_3 | 0.00091688 | 0.00091688 | 0.00091688 | 0.00091688 | 0.00091688 | 0.00091688 | 0.010587 | 0.010587 | 0.010587 | 0.010587 | 0.010587 | 0.010587 | 0.0037979 | 0.0063213 | -0.010119 | 0.0037979 | 0.0063213 | -0.010119 | 0.00086142 | -0.010569 | -0.0020592 | 0.00086142 | -0.010569 | -0.0020592 | -61.4081 | -61.4081 | -61.4081 | -61.4081 | -61.4081 | -61.4081 |  | 0.36784 | 1.1632 | 0.97539 | 0.36784 | 1.1632 | 0.97539 | -48.6288 | -120.524 | 130.0944 | -48.6288 | -120.524 | 130.0944

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57175 | 0.25025 | 0.21462 | 0.57106 | 0.25094 | 0.21527 | 6.602 | 2.8896 | 2.4783 | 6.594 | 2.8975 | 2.4857 | 3.7634 | -0.66587 | 2.5985 | -3.3073 | 0.67977 | -2.6091 | 3.3153 | 2.9749 | -0.52519 | -3.1272 | -2.9389 | 0.55669 | -48.972 | 131.9029 | 136.8965 | 131.0748 | -48.2062 | -43.246 |  | 0.75967 | 1.055 | 1.0697 | 0.69027 | 1.041 | 1.0733 | -7.5944 | -125.4806 | 125.4701 | -5.5288 | -125.1825 | 124.7097
Line_1 | 0.27895 | 0.1261 | 0.10824 | 0.2783 | 0.12547 | 0.10763 | 3.221 | 1.4561 | 1.2499 | 3.2135 | 1.4488 | 1.2428 | 1.8902 | 0.49203 | -1.1875 | -1.5228 | -0.33989 | 1.3045 | 1.7198 | -1.4503 | 0.28727 | -1.6129 | 1.4694 | -0.27835 | -52.2209 | -48.33 | -43.4188 | 127.8259 | 131.7938 | 136.754 |  | 0.79337 | 1.0518 | 0.97753 | 0.69027 | 1.041 | 1.0733 | -9.9234 | -119.5903 | 122.9824 | -5.5288 | -125.1825 | 124.7097
Line_2 | 0.27895 | 0.1261 | 0.10824 | 0.2783 | 0.12547 | 0.10763 | 3.221 | 1.4561 | 1.2499 | 3.2135 | 1.4488 | 1.2428 | 1.8902 | 0.49203 | -1.1875 | -1.5228 | -0.33989 | 1.3045 | 1.7198 | -1.4503 | 0.28727 | -1.6129 | 1.4694 | -0.27835 | -52.2209 | -48.33 | -43.4188 | 127.8259 | 131.7938 | 136.754 |  | 0.79337 | 1.0518 | 0.97753 | 0.69027 | 1.041 | 1.0733 | -9.9234 | -119.5903 | 122.9824 | -5.5288 | -125.1825 | 124.7097
Line_3 | 0.00029334 | 0.00029334 | 0.00029334 | 0.00029334 | 0.00029334 | 0.00029334 | 0.0033872 | 0.0033872 | 0.0033872 | 0.0033872 | 0.0033872 | 0.0033872 | 0.002074 | 0.001208 | -0.0032819 | 0.002074 | 0.001208 | -0.0032819 | 0.0017089 | -0.0033516 | 0.00043831 | 0.0017089 | -0.0033516 | 0.00043831 | -49.4106 | -49.4106 | -49.4106 | -49.4106 | -49.4106 | -49.4106 |  | 0.79337 | 1.0518 | 0.97753 | 0.79337 | 1.0518 | 0.97753 | -9.9234 | -119.5903 | 122.9824 | -9.9234 | -119.5903 | 122.9824

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57175 | 0.25025 | 0.21462 | 0.57106 | 0.25094 | 0.21527 | 6.602 | 2.8896 | 2.4783 | 6.594 | 2.8975 | 2.4857 | 3.7634 | -0.66587 | 2.5985 | -3.3073 | 0.67977 | -2.6091 | 3.3153 | 2.9749 | -0.52519 | -3.1272 | -2.9389 | 0.55669 | -48.972 | 131.9029 | 136.8965 | 131.0748 | -48.2062 | -43.246 |  | 0.75967 | 1.055 | 1.0697 | 0.69027 | 1.041 | 1.0733 | -7.5944 | -125.4806 | 125.4701 | -5.5288 | -125.1825 | 124.7097
Line_1 | 0.27895 | 0.1261 | 0.10824 | 0.2783 | 0.12547 | 0.10763 | 3.221 | 1.4561 | 1.2499 | 3.2135 | 1.4488 | 1.2428 | 1.8902 | 0.49203 | -1.1875 | -1.5228 | -0.33989 | 1.3045 | 1.7198 | -1.4503 | 0.28727 | -1.6129 | 1.4694 | -0.27835 | -52.2209 | -48.33 | -43.4188 | 127.8259 | 131.7938 | 136.754 |  | 0.79337 | 1.0518 | 0.97753 | 0.69027 | 1.041 | 1.0733 | -9.9234 | -119.5903 | 122.9824 | -5.5288 | -125.1825 | 124.7097
Line_2 | 0.27895 | 0.1261 | 0.10824 | 0.2783 | 0.12547 | 0.10763 | 3.221 | 1.4561 | 1.2499 | 3.2135 | 1.4488 | 1.2428 | 1.8902 | 0.49203 | -1.1875 | -1.5228 | -0.33989 | 1.3045 | 1.7198 | -1.4503 | 0.28727 | -1.6129 | 1.4694 | -0.27835 | -52.2209 | -48.33 | -43.4188 | 127.8259 | 131.7938 | 136.754 |  | 0.79337 | 1.0518 | 0.97753 | 0.69027 | 1.041 | 1.0733 | -9.9234 | -119.5903 | 122.9824 | -5.5288 | -125.1825 | 124.7097
Line_3 | 0.00029334 | 0.00029334 | 0.00029334 | 0.00029334 | 0.00029334 | 0.00029334 | 0.0033872 | 0.0033872 | 0.0033872 | 0.0033872 | 0.0033872 | 0.0033872 | 0.002074 | 0.001208 | -0.0032819 | 0.002074 | 0.001208 | -0.0032819 | 0.0017089 | -0.0033516 | 0.00043831 | 0.0017089 | -0.0033516 | 0.00043831 | -49.4106 | -49.4106 | -49.4106 | -49.4106 | -49.4106 | -49.4106 |  | 0.79337 | 1.0518 | 0.97753 | 0.79337 | 1.0518 | 0.97753 | -9.9234 | -119.5903 | 122.9824 | -9.9234 | -119.5903 | 122.9824

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40927 | 3.7246 | 3.7283 | 0.4116 | 3.7248 | 3.7276 | 4.7258 | 43.0083 | 43.0503 | 4.7528 | 43.0105 | 43.043 | 0.49499 | 7.849 | 6.8152 | -0.52784 | 9.3658e-11 | 1.2247e-10 | 6.8751 | 7.0834 | 9.405 | -6.889 | -8.3005e-11 | 1.4223e-11 | -85.0592 | -173.3044 | 17.7394 | 94.9249 | 6.7314 | -162.2953 |  | 1.4586 | 0.24583 | 0.26979 | 1.4537 | 0 | 0 | 0.8227 | -131.2394 | 71.8107 | 0.54342 | 0 | 0
Line_1 | 0.20793 | 1.1239 | 0.92901 | 0.2058 | 1.1227 | 0.92745 | 2.401 | 12.9776 | 10.7273 | 2.3764 | 12.964 | 10.7092 | 0.053833 | 2.2928 | 1.005 | 0.26392 | 3.705e-11 | 2.5968e-11 | -3.2753 | -0.20543 | 1.971 | 3.4445 | -7.0812e-12 | -1.6329e-11 | 94.9702 | 155.9112 | 56.5799 | -85.0751 | -23.9979 | -123.5097 |  | 1.3643 | 0.17738 | 0.20624 | 1.4537 | 0 | 0 | 5.9119 | 150.7913 | 119.5642 | 0.54342 | 0 | 0
Line_2 | 0.20793 | 1.1239 | 0.92901 | 0.2058 | 1.1227 | 0.92745 | 2.401 | 12.9776 | 10.7273 | 2.3764 | 12.964 | 10.7092 | 0.053833 | 2.2928 | 1.005 | 0.26392 | 3.705e-11 | 2.5968e-11 | -3.2753 | -0.20543 | 1.971 | 3.4445 | -7.0812e-12 | -1.6329e-11 | 94.9702 | 155.9112 | 56.5799 | -85.0751 | -23.9979 | -123.5097 |  | 1.3643 | 0.17738 | 0.20624 | 1.4537 | 0 | 0 | 5.9119 | 150.7913 | 119.5642 | 0.54342 | 0 | 0
Line_3 | 0.00096782 | 0.00096782 | 0.00096782 | 0.00096782 | 0.00096782 | 0.00096782 | 0.011175 | 0.011175 | 0.011175 | 0.011175 | 0.011175 | 0.011175 | -0.0037815 | 0.0015069 | 0.0022746 | -0.0037815 | 0.0015069 | 0.0022746 | -0.01477 | 0.0012879 | 0.00037215 | -0.01477 | 0.0012879 | 0.00037215 | 110.2724 | 110.2724 | 110.2724 | 110.2724 | 110.2724 | 110.2724 |  | 1.3643 | 0.17738 | 0.20624 | 1.3643 | 0.17738 | 0.20624 | 5.9119 | 150.7913 | 119.5642 | 5.9119 | 150.7913 | 119.5642

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40927 | 3.7246 | 3.7283 | 0.4116 | 3.7248 | 3.7276 | 4.7258 | 43.0083 | 43.0503 | 4.7528 | 43.0105 | 43.043 | 0.49499 | 7.849 | 6.8152 | -0.52784 | 9.3658e-11 | 1.2247e-10 | 6.8751 | 7.0834 | 9.405 | -6.889 | -8.3005e-11 | 1.4223e-11 | -85.0592 | -173.3044 | 17.7394 | 94.9249 | 6.7314 | -162.2953 |  | 1.4586 | 0.24583 | 0.26979 | 1.4537 | 0 | 0 | 0.8227 | -131.2394 | 71.8107 | 0.54342 | 0 | 0
Line_1 | 0.20793 | 1.1239 | 0.92901 | 0.2058 | 1.1227 | 0.92745 | 2.401 | 12.9776 | 10.7273 | 2.3764 | 12.964 | 10.7092 | 0.053833 | 2.2928 | 1.005 | 0.26392 | 3.705e-11 | 2.5968e-11 | -3.2753 | -0.20543 | 1.971 | 3.4445 | -7.0812e-12 | -1.6329e-11 | 94.9702 | 155.9112 | 56.5799 | -85.0751 | -23.9979 | -123.5097 |  | 1.3643 | 0.17738 | 0.20624 | 1.4537 | 0 | 0 | 5.9119 | 150.7913 | 119.5642 | 0.54342 | 0 | 0
Line_2 | 0.20793 | 1.1239 | 0.92901 | 0.2058 | 1.1227 | 0.92745 | 2.401 | 12.9776 | 10.7273 | 2.3764 | 12.964 | 10.7092 | 0.053833 | 2.2928 | 1.005 | 0.26392 | 3.705e-11 | 2.5968e-11 | -3.2753 | -0.20543 | 1.971 | 3.4445 | -7.0812e-12 | -1.6329e-11 | 94.9702 | 155.9112 | 56.5799 | -85.0751 | -23.9979 | -123.5097 |  | 1.3643 | 0.17738 | 0.20624 | 1.4537 | 0 | 0 | 5.9119 | 150.7913 | 119.5642 | 0.54342 | 0 | 0
Line_3 | 0.00096782 | 0.00096782 | 0.00096782 | 0.00096782 | 0.00096782 | 0.00096782 | 0.011175 | 0.011175 | 0.011175 | 0.011175 | 0.011175 | 0.011175 | -0.0037815 | 0.0015069 | 0.0022746 | -0.0037815 | 0.0015069 | 0.0022746 | -0.01477 | 0.0012879 | 0.00037215 | -0.01477 | 0.0012879 | 0.00037215 | 110.2724 | 110.2724 | 110.2724 | 110.2724 | 110.2724 | 110.2724 |  | 1.3643 | 0.17738 | 0.20624 | 1.3643 | 0.17738 | 0.20624 | 5.9119 | 150.7913 | 119.5642 | 5.9119 | 150.7913 | 119.5642

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066532 | 0.79529 | 0.75578 | 0.066658 | 0.79559 | 0.75532 | 0.76825 | 9.1832 | 8.727 | 0.7697 | 9.1867 | 8.7217 | 0.9556 | 7.9367 | 4.4061 | -0.96247 | -7.5898 | -4.1041 | -0.13179 | 2.7378 | 6.979 | 0.12853 | -2.4548 | -6.5473 | 9.6118 | -141.4323 | 49.8447 | -171.1197 | 38.6255 | -130.2105 |  | 1.2556 | 0.91424 | 0.94574 | 1.2615 | 0.86831 | 0.88598 | 1.7596 | -122.4005 | 107.5787 | 1.2738 | -123.4514 | 107.7081
Line_1 | 0.033553 | 0.39882 | 0.3658 | 0.033329 | 0.39831 | 0.36519 | 0.38744 | 4.6052 | 4.2239 | 0.38485 | 4.5993 | 4.2169 | -0.47089 | 1.5368 | 3.3538 | 0.48123 | -1.2315 | -3.181 | 0.03945 | 3.8025 | 2.2426 | -0.064267 | -3.799 | -1.9594 | -172.4074 | 164.4237 | 76.1527 | 8.8803 | -15.4905 | -103.9242 |  | 1.2197 | 0.89059 | 0.95514 | 1.2615 | 0.86831 | 0.88598 | 2.8038 | -127.5826 | 109.9219 | 1.2738 | -123.4514 | 107.7081
Line_2 | 0.033553 | 0.39882 | 0.3658 | 0.033329 | 0.39831 | 0.36519 | 0.38744 | 4.6052 | 4.2239 | 0.38485 | 4.5993 | 4.2169 | -0.47089 | 1.5368 | 3.3538 | 0.48123 | -1.2315 | -3.181 | 0.03945 | 3.8025 | 2.2426 | -0.064267 | -3.799 | -1.9594 | -172.4074 | 164.4237 | 76.1527 | 8.8803 | -15.4905 | -103.9242 |  | 1.2197 | 0.89059 | 0.95514 | 1.2615 | 0.86831 | 0.88598 | 2.8038 | -127.5826 | 109.9219 | 1.2738 | -123.4514 | 107.7081
Line_3 | 0.00035545 | 0.00035545 | 0.00035545 | 0.00035545 | 0.00035545 | 0.00035545 | 0.0041044 | 0.0041044 | 0.0041044 | 0.0041044 | 0.0041044 | 0.0041044 | -0.0027243 | -0.0010469 | 0.0037712 | -0.0027243 | -0.0010469 | 0.0037712 | -0.0041998 | 0.0035022 | -0.0010709 | -0.0041998 | 0.0035022 | -0.0010709 | 125.774 | 125.774 | 125.774 | 125.774 | 125.774 | 125.774 |  | 1.2197 | 0.89059 | 0.95514 | 1.2197 | 0.89059 | 0.95514 | 2.8038 | -127.5826 | 109.9219 | 2.8038 | -127.5826 | 109.9219

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.066532 | 0.79529 | 0.75578 | 0.066658 | 0.79559 | 0.75532 | 0.76825 | 9.1832 | 8.727 | 0.7697 | 9.1867 | 8.7217 | 0.9556 | 7.9367 | 4.4061 | -0.96247 | -7.5898 | -4.1041 | -0.13179 | 2.7378 | 6.979 | 0.12853 | -2.4548 | -6.5473 | 9.6118 | -141.4323 | 49.8447 | -171.1197 | 38.6255 | -130.2105 |  | 1.2556 | 0.91424 | 0.94574 | 1.2615 | 0.86831 | 0.88598 | 1.7596 | -122.4005 | 107.5787 | 1.2738 | -123.4514 | 107.7081
Line_1 | 0.033553 | 0.39882 | 0.3658 | 0.033329 | 0.39831 | 0.36519 | 0.38744 | 4.6052 | 4.2239 | 0.38485 | 4.5993 | 4.2169 | -0.47089 | 1.5368 | 3.3538 | 0.48123 | -1.2315 | -3.181 | 0.03945 | 3.8025 | 2.2426 | -0.064267 | -3.799 | -1.9594 | -172.4074 | 164.4237 | 76.1527 | 8.8803 | -15.4905 | -103.9242 |  | 1.2197 | 0.89059 | 0.95514 | 1.2615 | 0.86831 | 0.88598 | 2.8038 | -127.5826 | 109.9219 | 1.2738 | -123.4514 | 107.7081
Line_2 | 0.033553 | 0.39882 | 0.3658 | 0.033329 | 0.39831 | 0.36519 | 0.38744 | 4.6052 | 4.2239 | 0.38485 | 4.5993 | 4.2169 | -0.47089 | 1.5368 | 3.3538 | 0.48123 | -1.2315 | -3.181 | 0.03945 | 3.8025 | 2.2426 | -0.064267 | -3.799 | -1.9594 | -172.4074 | 164.4237 | 76.1527 | 8.8803 | -15.4905 | -103.9242 |  | 1.2197 | 0.89059 | 0.95514 | 1.2615 | 0.86831 | 0.88598 | 2.8038 | -127.5826 | 109.9219 | 1.2738 | -123.4514 | 107.7081
Line_3 | 0.00035545 | 0.00035545 | 0.00035545 | 0.00035545 | 0.00035545 | 0.00035545 | 0.0041044 | 0.0041044 | 0.0041044 | 0.0041044 | 0.0041044 | 0.0041044 | -0.0027243 | -0.0010469 | 0.0037712 | -0.0027243 | -0.0010469 | 0.0037712 | -0.0041998 | 0.0035022 | -0.0010709 | -0.0041998 | 0.0035022 | -0.0010709 | 125.774 | 125.774 | 125.774 | 125.774 | 125.774 | 125.774 |  | 1.2197 | 0.89059 | 0.95514 | 1.2197 | 0.89059 | 0.95514 | 2.8038 | -127.5826 | 109.9219 | 2.8038 | -127.5826 | 109.9219

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46146 | 3.1674 | 3.1131 | 0.46332 | 3.1678 | 3.1123 | 5.3285 | 36.5741 | 35.9471 | 5.35 | 36.5788 | 35.9374 | 2.9846 | 10.5378 | 9.55 | -3.0241 | -1.0859e-10 | -1.51e-11 | 6.1643 | 4.2727 | 7.4108 | -6.0932 | -8.3228e-11 | -1.3491e-10 | -64.3804 | -166.2727 | 27.0438 | 115.5207 | 13.7631 | -152.99 |  | 1.2853 | 0.31091 | 0.33628 | 1.2715 | 0 | 0 | -0.21571 | -144.2022 | 64.855 | -0.87454 | 0 | 0
Line_1 | 0.2333 | 0.96401 | 0.62238 | 0.23166 | 0.9632 | 0.62115 | 2.6939 | 11.1314 | 7.1866 | 2.675 | 11.1221 | 7.1725 | -0.90206 | 3.0326 | 0.84131 | 1.512 | -1.6754e-11 | -1.7438e-11 | -2.8486 | -0.70651 | 1.7438 | 3.0466 | -3.8077e-11 | -2.0737e-11 | 115.4375 | 164.8937 | 60.7902 | -64.4793 | -15.0192 | -119.3151 |  | 1.1092 | 0.27973 | 0.26942 | 1.2715 | 0 | 0 | 7.8661 | 151.7793 | 125.0354 | -0.87454 | 0 | 0
Line_2 | 0.2333 | 0.96401 | 0.62238 | 0.23166 | 0.9632 | 0.62115 | 2.6939 | 11.1314 | 7.1866 | 2.675 | 11.1221 | 7.1725 | -0.90206 | 3.0326 | 0.84131 | 1.512 | -1.6754e-11 | -1.7438e-11 | -2.8486 | -0.70651 | 1.7438 | 3.0466 | -3.8077e-11 | -2.0737e-11 | 115.4375 | 164.8937 | 60.7902 | -64.4793 | -15.0192 | -119.3151 |  | 1.1092 | 0.27973 | 0.26942 | 1.2715 | 0 | 0 | 7.8661 | 151.7793 | 125.0354 | -0.87454 | 0 | 0
Line_3 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0082019 | 0.0082019 | 0.0082019 | 0.0082019 | 0.0082019 | 0.0082019 | -0.0042734 | 0.002064 | 0.0022095 | -0.0042734 | 0.002064 | 0.0022095 | -0.008031 | 0.001002 | -3.2733e-05 | -0.008031 | 0.001002 | -3.2733e-05 | 125.8842 | 125.8842 | 125.8842 | 125.8842 | 125.8842 | 125.8842 |  | 1.1092 | 0.27973 | 0.26942 | 1.1092 | 0.27973 | 0.26942 | 7.8661 | 151.7793 | 125.0354 | 7.8661 | 151.7793 | 125.0354

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46146 | 3.1674 | 3.1131 | 0.46332 | 3.1678 | 3.1123 | 5.3285 | 36.5741 | 35.9471 | 5.35 | 36.5788 | 35.9374 | 2.9846 | 10.5378 | 9.55 | -3.0241 | -1.0859e-10 | -1.51e-11 | 6.1643 | 4.2727 | 7.4108 | -6.0932 | -8.3228e-11 | -1.3491e-10 | -64.3804 | -166.2727 | 27.0438 | 115.5207 | 13.7631 | -152.99 |  | 1.2853 | 0.31091 | 0.33628 | 1.2715 | 0 | 0 | -0.21571 | -144.2022 | 64.855 | -0.87454 | 0 | 0
Line_1 | 0.2333 | 0.96401 | 0.62238 | 0.23166 | 0.9632 | 0.62115 | 2.6939 | 11.1314 | 7.1866 | 2.675 | 11.1221 | 7.1725 | -0.90206 | 3.0326 | 0.84131 | 1.512 | -1.6754e-11 | -1.7438e-11 | -2.8486 | -0.70651 | 1.7438 | 3.0466 | -3.8077e-11 | -2.0737e-11 | 115.4375 | 164.8937 | 60.7902 | -64.4793 | -15.0192 | -119.3151 |  | 1.1092 | 0.27973 | 0.26942 | 1.2715 | 0 | 0 | 7.8661 | 151.7793 | 125.0354 | -0.87454 | 0 | 0
Line_2 | 0.2333 | 0.96401 | 0.62238 | 0.23166 | 0.9632 | 0.62115 | 2.6939 | 11.1314 | 7.1866 | 2.675 | 11.1221 | 7.1725 | -0.90206 | 3.0326 | 0.84131 | 1.512 | -1.6754e-11 | -1.7438e-11 | -2.8486 | -0.70651 | 1.7438 | 3.0466 | -3.8077e-11 | -2.0737e-11 | 115.4375 | 164.8937 | 60.7902 | -64.4793 | -15.0192 | -119.3151 |  | 1.1092 | 0.27973 | 0.26942 | 1.2715 | 0 | 0 | 7.8661 | 151.7793 | 125.0354 | -0.87454 | 0 | 0
Line_3 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0007103 | 0.0082019 | 0.0082019 | 0.0082019 | 0.0082019 | 0.0082019 | 0.0082019 | -0.0042734 | 0.002064 | 0.0022095 | -0.0042734 | 0.002064 | 0.0022095 | -0.008031 | 0.001002 | -3.2733e-05 | -0.008031 | 0.001002 | -3.2733e-05 | 125.8842 | 125.8842 | 125.8842 | 125.8842 | 125.8842 | 125.8842 |  | 1.1092 | 0.27973 | 0.26942 | 1.1092 | 0.27973 | 0.26942 | 7.8661 | 151.7793 | 125.0354 | 7.8661 | 151.7793 | 125.0354

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19244 | 0.76988 | 0.80574 | 0.19311 | 0.77015 | 0.80523 | 2.2221 | 8.8898 | 9.3038 | 2.2299 | 8.8929 | 9.298 | 1.4169 | 6.4156 | 4.2449 | -1.4206 | -5.8075 | -3.5524 | 2.0027 | 3.4596 | 6.2892 | -1.9916 | -3.2613 | -5.7452 | -54.4446 | -150.3802 | 50.8664 | 125.4532 | 29.6722 | -129.1733 |  | 1.104 | 0.81992 | 0.81555 | 1.0971 | 0.74897 | 0.72647 | 0.27606 | -122.0446 | 106.8488 | -0.046161 | -121.0108 | 109.0971
Line_1 | 0.097159 | 0.26264 | 0.22209 | 0.096555 | 0.26233 | 0.2215 | 1.1219 | 3.0327 | 2.5644 | 1.1149 | 3.0291 | 2.5577 | -0.61431 | 1.1171 | 1.9284 | 0.71029 | -0.83598 | -1.7422 | -0.97397 | 2.0282 | 0.83992 | 0.99581 | -2.1091 | -0.64585 | 125.3548 | 170.4922 | 88.8158 | -54.5468 | -9.3889 | -91.2427 |  | 1.0264 | 0.76351 | 0.82021 | 1.0971 | 0.74897 | 0.72647 | 3.114 | -128.3538 | 112.3516 | -0.046161 | -121.0108 | 109.0971
Line_2 | 0.097159 | 0.26264 | 0.22209 | 0.096555 | 0.26233 | 0.2215 | 1.1219 | 3.0327 | 2.5644 | 1.1149 | 3.0291 | 2.5577 | -0.61431 | 1.1171 | 1.9284 | 0.71029 | -0.83598 | -1.7422 | -0.97397 | 2.0282 | 0.83992 | 0.99581 | -2.1091 | -0.64585 | 125.3548 | 170.4922 | 88.8158 | -54.5468 | -9.3889 | -91.2427 |  | 1.0264 | 0.76351 | 0.82021 | 1.0971 | 0.74897 | 0.72647 | 3.114 | -128.3538 | 112.3516 | -0.046161 | -121.0108 | 109.0971
Line_3 | 0.00026566 | 0.00026566 | 0.00026566 | 0.00026566 | 0.00026566 | 0.00026566 | 0.0030676 | 0.0030676 | 0.0030676 | 0.0030676 | 0.0030676 | 0.0030676 | -0.0019779 | -0.00039126 | 0.0023691 | -0.0019779 | -0.00039126 | 0.0023691 | -0.0024498 | 0.0023093 | -0.00084725 | -0.0024498 | 0.0023093 | -0.00084725 | 132.0297 | 132.0297 | 132.0297 | 132.0297 | 132.0297 | 132.0297 |  | 1.0264 | 0.76351 | 0.82021 | 1.0264 | 0.76351 | 0.82021 | 3.114 | -128.3538 | 112.3516 | 3.114 | -128.3538 | 112.3516

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19244 | 0.76988 | 0.80574 | 0.19311 | 0.77015 | 0.80523 | 2.2221 | 8.8898 | 9.3038 | 2.2299 | 8.8929 | 9.298 | 1.4169 | 6.4156 | 4.2449 | -1.4206 | -5.8075 | -3.5524 | 2.0027 | 3.4596 | 6.2892 | -1.9916 | -3.2613 | -5.7452 | -54.4446 | -150.3802 | 50.8664 | 125.4532 | 29.6722 | -129.1733 |  | 1.104 | 0.81992 | 0.81555 | 1.0971 | 0.74897 | 0.72647 | 0.27606 | -122.0446 | 106.8488 | -0.046161 | -121.0108 | 109.0971
Line_1 | 0.097159 | 0.26264 | 0.22209 | 0.096555 | 0.26233 | 0.2215 | 1.1219 | 3.0327 | 2.5644 | 1.1149 | 3.0291 | 2.5577 | -0.61431 | 1.1171 | 1.9284 | 0.71029 | -0.83598 | -1.7422 | -0.97397 | 2.0282 | 0.83992 | 0.99581 | -2.1091 | -0.64585 | 125.3548 | 170.4922 | 88.8158 | -54.5468 | -9.3889 | -91.2427 |  | 1.0264 | 0.76351 | 0.82021 | 1.0971 | 0.74897 | 0.72647 | 3.114 | -128.3538 | 112.3516 | -0.046161 | -121.0108 | 109.0971
Line_2 | 0.097159 | 0.26264 | 0.22209 | 0.096555 | 0.26233 | 0.2215 | 1.1219 | 3.0327 | 2.5644 | 1.1149 | 3.0291 | 2.5577 | -0.61431 | 1.1171 | 1.9284 | 0.71029 | -0.83598 | -1.7422 | -0.97397 | 2.0282 | 0.83992 | 0.99581 | -2.1091 | -0.64585 | 125.3548 | 170.4922 | 88.8158 | -54.5468 | -9.3889 | -91.2427 |  | 1.0264 | 0.76351 | 0.82021 | 1.0971 | 0.74897 | 0.72647 | 3.114 | -128.3538 | 112.3516 | -0.046161 | -121.0108 | 109.0971
Line_3 | 0.00026566 | 0.00026566 | 0.00026566 | 0.00026566 | 0.00026566 | 0.00026566 | 0.0030676 | 0.0030676 | 0.0030676 | 0.0030676 | 0.0030676 | 0.0030676 | -0.0019779 | -0.00039126 | 0.0023691 | -0.0019779 | -0.00039126 | 0.0023691 | -0.0024498 | 0.0023093 | -0.00084725 | -0.0024498 | 0.0023093 | -0.00084725 | 132.0297 | 132.0297 | 132.0297 | 132.0297 | 132.0297 | 132.0297 |  | 1.0264 | 0.76351 | 0.82021 | 1.0264 | 0.76351 | 0.82021 | 3.114 | -128.3538 | 112.3516 | 3.114 | -128.3538 | 112.3516