## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 4.283 | 4.283 | 0 | 9.0614 | 148.3662 | 148.3662 | 28.6163 | -1e-07 | 32.4685 | -1e-07 | -77.7798 | 102.2202 | 0.29171 | 0 | -29.1714 | 0
Line_1 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_2 | 0.9515 | 0.9515 | 0 | 1.8972 | 32.9609 | 32.9609 | 1.4123 | -1e-07 | 1.6025 | -1e-07 | -72.853 | 107.147 | 0.064805 | 0 | -24.2445 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.064805 | 0.064805 | -24.2445 | -24.2445

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.8763 | 0.8763 | 0 | 1.9596 | 30.3558 | 30.3558 | 22.4252 | -21.2272 | 19.1954 | -17.8362 | -47.233 | 132.767 | 0.97242 | 0.91337 | -6.6703 | -7.1943
Line_1 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_2 | 0.31157 | 0.31157 | 0 | 0.57123 | 10.793 | 10.793 | 6.2226 | -6.0711 | 7.9384 | -7.7666 | -59.1798 | 120.8202 | 0.93455 | 0.91337 | -7.271 | -7.1943
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.93455 | 0.93455 | -7.271 | -7.271

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6016 | 3.6016 | 0 | 6.8561 | 124.7634 | 124.7634 | 38.8525 | -1e-07 | 22.9597 | -1e-07 | -69.6723 | 110.3277 | 0.36172 | 0 | -39.0915 | 0
Line_1 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_2 | 0.77473 | 0.77473 | 0 | 1.4748 | 26.8374 | 26.8374 | 1.7977 | -1e-07 | 1.0624 | -1e-07 | -70.2749 | 109.7251 | 0.077808 | 0 | -39.6941 | 0
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.077808 | 0.077808 | -39.6941 | -39.6941

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.88201 | 0.88201 | 0 | 1.679 | 30.5537 | 30.5537 | 19.072 | -16.7419 | 18.0132 | -16.6363 | -50.7266 | 129.2734 | 0.85861 | 0.77248 | -7.3619 | -5.9079
Line_1 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_2 | 0.18973 | 0.18973 | 0 | 0.36117 | 6.5723 | 6.5723 | 3.6713 | -3.5635 | 3.68 | -3.6162 | -51.3292 | 128.6708 | 0.79091 | 0.77248 | -6.2614 | -5.9079
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.79091 | -6.2614 | -6.2614

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1111e-14 | 1.8054e-14 | 5.3934e-15 | -1.7156e-14 | -9.3958e-16 | -1.0551e-14 | -6.0444e-15 | -1.0776e-15 | -2.3539e-16 | 5.0669e-15 | 8.8702e-15 | 5.8641e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.35595 | 3.6314 | 3.7936 | 0.35595 | 3.6314 | 3.7936 | 4.1102 | 41.9321 | 43.8052 | 4.1102 | 41.9321 | 43.8052 | -2.8809 | 31.035 | -18.1673 | 2.9468 | -24.1776 | 25.651 | -3.7882 | 2.3326 | 12.0075 | 3.8629 | 5.4478 | -3.5164 | 129.3592 | -165.2802 | 9.8274 | -50.6408 | 14.7198 | -170.1726 | 1.1579 | 0.74221 | 0.49713 | 1.1821 | 0.59105 | 0.59105 | 2.1065 | -160.9818 | 156.365 | 2.0217 | -177.9783 | -177.9783
Line_1 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_2 | 0.17798 | 0.82688 | 0.74081 | 0.17798 | 0.82688 | 0.74081 | 2.0551 | 9.548 | 8.5541 | 2.0551 | 9.548 | 8.5541 | 1.4899 | 5.9918 | -4.6142 | -1.4734 | -5.6362 | 4.8995 | 1.9502 | 0.12158 | 1.5713 | -1.9315 | 0.28182 | -1.2476 | -50.6408 | -175.1159 | 16.3071 | 129.3592 | 4.8841 | -163.6929 | 1.1942 | 0.62767 | 0.56983 | 1.1821 | 0.59105 | 0.59105 | 1.9805 | -173.9534 | 177.501 | 2.0217 | -177.9783 | -177.9783
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -1.1111e-14 | 1.8054e-14 | 5.3934e-15 | -1.7156e-14 | -9.3958e-16 | -1.0551e-14 | -6.0444e-15 | -1.0776e-15 | -2.3539e-16 | 5.0669e-15 | 8.8702e-15 | 5.8641e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1942 | 0.62767 | 0.56983 | 1.1942 | 0.62767 | 0.56983 | 1.9805 | -173.9534 | 177.501 | 1.9805 | -173.9534 | 177.501

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9306e-15 | 1.7407e-15 | -4.0944e-15 | -9.7933e-15 | 6.9628e-15 | 6.1183e-15 | -1.1065e-14 | 1.5682e-15 | -5.4099e-16 | 5.4166e-15 | 6.2729e-15 | 4.1411e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.25737 | 1.3967 | 1.3626 | 0.25737 | 1.3967 | 1.3626 | 2.9719 | 16.1276 | 15.7336 | 2.9719 | 16.1276 | 15.7336 | -1.5571 | 16.583 | -0.024169 | 1.5915 | -15.5686 | 0.9896 | -3.0312 | 1.2162 | 13.0202 | 3.0703 | -0.065208 | -11.9248 | 118.302 | -138.8076 | 30.5822 | -61.698 | 41.1924 | -149.4178 | 1.1467 | 1.031 | 0.82754 | 1.1637 | 0.96535 | 0.76053 | 1.1134 | -134.6132 | 120.6885 | 0.90162 | -138.5676 | 125.3261
Line_1 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_2 | 0.12869 | 0.3798 | 0.37361 | 0.12869 | 0.3798 | 0.37361 | 1.4859 | 4.3855 | 4.314 | 1.4859 | 4.3855 | 4.314 | 0.80437 | 3.8907 | 0.077321 | -0.79576 | -3.8157 | -0.0047391 | 1.5449 | 1.9191 | 3.3633 | -1.5351 | -1.834 | -3.2809 | -61.698 | -164.2384 | 35.4088 | 118.302 | 15.7616 | -144.5912 | 1.1722 | 0.98922 | 0.77982 | 1.1637 | 0.96535 | 0.76053 | 0.79804 | -137.9837 | 124.0918 | 0.90162 | -138.5676 | 125.3261
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.9306e-15 | 1.7407e-15 | -4.0944e-15 | -9.7933e-15 | 6.9628e-15 | 6.1183e-15 | -1.1065e-14 | 1.5682e-15 | -5.4099e-16 | 5.4166e-15 | 6.2729e-15 | 4.1411e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.1722 | 0.98922 | 0.77982 | 1.1722 | 0.98922 | 0.77982 | 0.79804 | -137.9837 | 124.0918 | 0.79804 | -137.9837 | 124.0918

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4335e-15 | 4.2874e-15 | -2.4152e-15 | -2.2324e-15 | -1.0248e-15 | 2.0423e-16 | -1.0057e-16 | -2.2012e-15 | -4.3198e-15 | -4.9676e-15 | -2.8077e-15 | 4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.15892 | 3.0486 | 3.19 | 0.15892 | 3.0486 | 3.19 | 1.8351 | 35.2024 | 36.8347 | 1.8351 | 35.2024 | 36.8347 | -1.8248 | 26.2892 | -7.7754 | 1.8501 | -17.01 | 17.935 | -0.28017 | -0.30937 | 11.6491 | 0.29507 | 5.7929 | -5.6453 | 173.1413 | -158.99 | 19.6756 | -6.8587 | 21.01 | -160.3244 | 1.0061 | 0.74685 | 0.38023 | 1.0209 | 0.51046 | 0.51046 | 1.8699 | -159.6642 | 143.3972 | 2.2033 | -177.7967 | -177.7967
Line_1 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_2 | 0.079461 | 0.67052 | 0.59523 | 0.079461 | 0.67052 | 0.59523 | 0.91753 | 7.7425 | 6.8731 | 0.91753 | 7.7425 | 6.8731 | 0.93133 | 4.3581 | -3.093 | -0.92503 | -3.9093 | 3.4467 | 0.15126 | -0.3159 | 0.86397 | -0.14754 | 0.58117 | -0.65493 | -6.8587 | -169.3408 | 12.9622 | 173.1413 | 10.6592 | -167.0378 | 1.0283 | 0.56436 | 0.46725 | 1.0209 | 0.51046 | 0.51046 | 2.3664 | -173.4866 | 177.3556 | 2.2033 | -177.7967 | -177.7967
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | -2.4335e-15 | 4.2874e-15 | -2.4152e-15 | -2.2324e-15 | -1.0248e-15 | 2.0423e-16 | -1.0057e-16 | -2.2012e-15 | -4.3198e-15 | -4.9676e-15 | -2.8077e-15 | 4.4219e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0283 | 0.56436 | 0.46725 | 1.0283 | 0.56436 | 0.46725 | 2.3664 | -173.4866 | 177.3556 | 2.3664 | -173.4866 | 177.3556

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8329e-15 | 1.0935e-15 | 0 | -1.7866e-15 | -3.645e-16 | 9.2407e-16 | -2.3473e-15 | 9.9981e-16 | 0 | -3.4773e-17 | -3.3327e-16 | -1.2867e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.064112 | 1.2299 | 1.2869 | 0.064112 | 1.2299 | 1.2869 | 0.7403 | 14.2014 | 14.8599 | 0.7403 | 14.2014 | 14.8599 | -0.73023 | 12.9507 | 1.4179 | 0.73434 | -11.4405 | 0.23553 | 0.11457 | 1.7681 | 10.7707 | -0.11214 | -0.87564 | -9.7936 | -170.3183 | -142.4496 | 36.216 | 9.6817 | 37.5504 | -143.784 | 0.99846 | 0.92039 | 0.73107 | 1.0034 | 0.80795 | 0.65925 | 0.76513 | -134.6755 | 118.7162 | 0.99898 | -138.0728 | 127.5936
Line_1 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_2 | 0.032056 | 0.2705 | 0.24013 | 0.032056 | 0.2705 | 0.24013 | 0.37015 | 3.1235 | 2.7727 | 0.37015 | 3.1235 | 2.7727 | 0.36819 | 2.5137 | -0.19971 | -0.36717 | -2.4407 | 0.25728 | -0.055465 | 0.68473 | 1.8438 | 0.056071 | -0.64156 | -1.8097 | 9.6817 | -152.8004 | 29.5025 | -170.3183 | 27.1996 | -150.4975 | 1.0059 | 0.83411 | 0.66885 | 1.0034 | 0.80795 | 0.65925 | 1.115 | -137.563 | 125.6845 | 0.99898 | -138.0728 | 127.5936
Line_3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.8329e-15 | 1.0935e-15 | 0 | -1.7866e-15 | -3.645e-16 | 9.2407e-16 | -2.3473e-15 | 9.9981e-16 | 0 | -3.4773e-17 | -3.3327e-16 | -1.2867e-15 | 0 | 0 | 0 | 0 | 0 | 0 | 1.0059 | 0.83411 | 0.66885 | 1.0059 | 0.83411 | 0.66885 | 1.115 | -137.563 | 125.6845 | 1.115 | -137.563 | 125.6845

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0276 | 0.8828 | 0.80541 | 2.0247 | 0.8858 | 0.8078 | 23.4127 | 10.1938 | 9.3001 | 23.3794 | 10.2283 | 9.3276 | 3.076 | -9.3307 | 13.1409 | 1.0901e-10 | 9.3727 | -13.1905 | 2.4476 | 10.0831 | 1.7003 | -7.9575e-11 | -9.7502 | -1.2243 | -74.8622 | 92.8822 | 126.3292 | 105.1615 | -87.1312 | -53.8001 |  | 0.1679 | 1.3477 | 1.4248 | 0 | 1.3223 | 1.4202 | -36.3529 | -134.3375 | 133.7018 | 0 | -133.262 | 131.5028
Line_1 | 1.1397 | 0.44561 | 0.40624 | 1.137 | 0.4429 | 0.4039 | 13.1596 | 5.1455 | 4.6909 | 13.1286 | 5.1142 | 4.6638 | 3.0111 | 5.6503 | -5.6772 | 6.1215e-11 | -4.6864 | 6.5953 | 1.478 | -4.3234 | -0.60037 | -4.4686e-11 | 4.8751 | 0.61216 | -74.8606 | -87.1141 | -53.9947 | 105.1619 | 92.8688 | 126.1999 |  | 0.2549 | 1.3827 | 1.217 | 0 | 1.3223 | 1.4202 | -48.7166 | -124.5362 | 132.042 | 0 | -133.262 | 131.5028
Line_2 | 1.1397 | 0.44561 | 0.40624 | 1.137 | 0.4429 | 0.4039 | 13.1596 | 5.1455 | 4.6909 | 13.1286 | 5.1142 | 4.6638 | 3.0111 | 5.6503 | -5.6772 | 6.1215e-11 | -4.6864 | 6.5953 | 1.478 | -4.3234 | -0.60037 | -4.4686e-11 | 4.8751 | 0.61216 | -74.8606 | -87.1141 | -53.9947 | 105.1619 | 92.8688 | 126.1999 |  | 0.2549 | 1.3827 | 1.217 | 0 | 1.3223 | 1.4202 | -48.7166 | -124.5362 | 132.042 | 0 | -133.262 | 131.5028
Line_3 | 0.0012317 | 0.0012317 | 0.0012317 | 0.0012317 | 0.0012317 | 0.0012317 | 0.014222 | 0.014222 | 0.014222 | 0.014222 | 0.014222 | 0.014222 | 0.0032942 | 0.012337 | -0.015631 | 0.0032942 | 0.012337 | -0.015631 | 0.0015134 | -0.015314 | -0.0074336 | 0.0015134 | -0.015314 | -0.0074336 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 |  | 0.2549 | 1.3827 | 1.217 | 0.2549 | 1.3827 | 1.217 | -48.7166 | -124.5362 | 132.042 | -48.7166 | -124.5362 | 132.042

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 2.0276 | 0.8828 | 0.80541 | 2.0247 | 0.8858 | 0.8078 | 23.4127 | 10.1938 | 9.3001 | 23.3794 | 10.2283 | 9.3276 | 3.076 | -9.3307 | 13.1409 | 1.0901e-10 | 9.3727 | -13.1905 | 2.4476 | 10.0831 | 1.7003 | -7.9575e-11 | -9.7502 | -1.2243 | -74.8622 | 92.8822 | 126.3292 | 105.1615 | -87.1312 | -53.8001 |  | 0.1679 | 1.3477 | 1.4248 | 0 | 1.3223 | 1.4202 | -36.3529 | -134.3375 | 133.7018 | 0 | -133.262 | 131.5028
Line_1 | 1.1397 | 0.44561 | 0.40624 | 1.137 | 0.4429 | 0.4039 | 13.1596 | 5.1455 | 4.6909 | 13.1286 | 5.1142 | 4.6638 | 3.0111 | 5.6503 | -5.6772 | 6.1215e-11 | -4.6864 | 6.5953 | 1.478 | -4.3234 | -0.60037 | -4.4686e-11 | 4.8751 | 0.61216 | -74.8606 | -87.1141 | -53.9947 | 105.1619 | 92.8688 | 126.1999 |  | 0.2549 | 1.3827 | 1.217 | 0 | 1.3223 | 1.4202 | -48.7166 | -124.5362 | 132.042 | 0 | -133.262 | 131.5028
Line_2 | 1.1397 | 0.44561 | 0.40624 | 1.137 | 0.4429 | 0.4039 | 13.1596 | 5.1455 | 4.6909 | 13.1286 | 5.1142 | 4.6638 | 3.0111 | 5.6503 | -5.6772 | 6.1215e-11 | -4.6864 | 6.5953 | 1.478 | -4.3234 | -0.60037 | -4.4686e-11 | 4.8751 | 0.61216 | -74.8606 | -87.1141 | -53.9947 | 105.1619 | 92.8688 | 126.1999 |  | 0.2549 | 1.3827 | 1.217 | 0 | 1.3223 | 1.4202 | -48.7166 | -124.5362 | 132.042 | 0 | -133.262 | 131.5028
Line_3 | 0.0012317 | 0.0012317 | 0.0012317 | 0.0012317 | 0.0012317 | 0.0012317 | 0.014222 | 0.014222 | 0.014222 | 0.014222 | 0.014222 | 0.014222 | 0.0032942 | 0.012337 | -0.015631 | 0.0032942 | 0.012337 | -0.015631 | 0.0015134 | -0.015314 | -0.0074336 | 0.0015134 | -0.015314 | -0.0074336 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 | -73.3918 |  | 0.2549 | 1.3827 | 1.217 | 0.2549 | 1.3827 | 1.217 | -48.7166 | -124.5362 | 132.042 | -48.7166 | -124.5362 | 132.042

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50255 | 0.1819 | 0.36071 | 0.50171 | 0.18269 | 0.36114 | 5.803 | 2.1004 | 4.1652 | 5.7932 | 2.1095 | 4.1701 | 4.1832 | -2.4384 | 3.3878 | -3.9751 | 2.4469 | -3.3695 | 2.8502 | 0.88435 | -3.606 | -2.7052 | -0.89623 | 3.7171 | -43.3113 | 76.453 | 173.1486 | 136.7377 | -103.384 | -6.9856 |  | 0.87228 | 1.2349 | 1.1879 | 0.82998 | 1.2353 | 1.2031 | -9.0428 | -123.4817 | 126.3615 | -9.0257 | -123.5004 | 125.2064
Line_1 | 0.43463 | 0.092003 | 0.18104 | 0.43377 | 0.091344 | 0.18057 | 5.0186 | 1.0624 | 2.0905 | 5.0088 | 1.0548 | 2.085 | 2.9779 | 1.2593 | -1.5734 | -2.6049 | -1.2234 | 1.6848 | 3.4733 | -0.39695 | 1.8151 | -3.2398 | 0.44812 | -1.8585 | -60.2322 | -103.0419 | -7.2118 | 119.7742 | 76.616 | 173.0144 |  | 0.91163 | 1.2429 | 1.1491 | 0.82998 | 1.2353 | 1.2031 | -10.8408 | -120.5376 | 123.7085 | -9.0257 | -123.5004 | 125.2064
Line_2 | 0.43463 | 0.092003 | 0.18104 | 0.43377 | 0.091344 | 0.18057 | 5.0186 | 1.0624 | 2.0905 | 5.0088 | 1.0548 | 2.085 | 2.9779 | 1.2593 | -1.5734 | -2.6049 | -1.2234 | 1.6848 | 3.4733 | -0.39695 | 1.8151 | -3.2398 | 0.44812 | -1.8585 | -60.2322 | -103.0419 | -7.2118 | 119.7742 | 76.616 | 173.0144 |  | 0.91163 | 1.2429 | 1.1491 | 0.82998 | 1.2353 | 1.2031 | -10.8408 | -120.5376 | 123.7085 | -9.0257 | -123.5004 | 125.2064
Line_3 | 0.00038835 | 0.00038835 | 0.00038835 | 0.00038835 | 0.00038835 | 0.00038835 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0030504 | 0.0020916 | -0.005142 | 0.0030504 | 0.0020916 | -0.005142 | 0.0027215 | -0.005166 | 0.00033363 | 0.0027215 | -0.005166 | 0.00033363 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 |  | 0.91163 | 1.2429 | 1.1491 | 0.91163 | 1.2429 | 1.1491 | -10.8408 | -120.5376 | 123.7085 | -10.8408 | -120.5376 | 123.7085

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.50255 | 0.1819 | 0.36071 | 0.50171 | 0.18269 | 0.36114 | 5.803 | 2.1004 | 4.1652 | 5.7932 | 2.1095 | 4.1701 | 4.1832 | -2.4384 | 3.3878 | -3.9751 | 2.4469 | -3.3695 | 2.8502 | 0.88435 | -3.606 | -2.7052 | -0.89623 | 3.7171 | -43.3113 | 76.453 | 173.1486 | 136.7377 | -103.384 | -6.9856 |  | 0.87228 | 1.2349 | 1.1879 | 0.82998 | 1.2353 | 1.2031 | -9.0428 | -123.4817 | 126.3615 | -9.0257 | -123.5004 | 125.2064
Line_1 | 0.43463 | 0.092003 | 0.18104 | 0.43377 | 0.091344 | 0.18057 | 5.0186 | 1.0624 | 2.0905 | 5.0088 | 1.0548 | 2.085 | 2.9779 | 1.2593 | -1.5734 | -2.6049 | -1.2234 | 1.6848 | 3.4733 | -0.39695 | 1.8151 | -3.2398 | 0.44812 | -1.8585 | -60.2322 | -103.0419 | -7.2118 | 119.7742 | 76.616 | 173.0144 |  | 0.91163 | 1.2429 | 1.1491 | 0.82998 | 1.2353 | 1.2031 | -10.8408 | -120.5376 | 123.7085 | -9.0257 | -123.5004 | 125.2064
Line_2 | 0.43463 | 0.092003 | 0.18104 | 0.43377 | 0.091344 | 0.18057 | 5.0186 | 1.0624 | 2.0905 | 5.0088 | 1.0548 | 2.085 | 2.9779 | 1.2593 | -1.5734 | -2.6049 | -1.2234 | 1.6848 | 3.4733 | -0.39695 | 1.8151 | -3.2398 | 0.44812 | -1.8585 | -60.2322 | -103.0419 | -7.2118 | 119.7742 | 76.616 | 173.0144 |  | 0.91163 | 1.2429 | 1.1491 | 0.82998 | 1.2353 | 1.2031 | -10.8408 | -120.5376 | 123.7085 | -9.0257 | -123.5004 | 125.2064
Line_3 | 0.00038835 | 0.00038835 | 0.00038835 | 0.00038835 | 0.00038835 | 0.00038835 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0044842 | 0.0030504 | 0.0020916 | -0.005142 | 0.0030504 | 0.0020916 | -0.005142 | 0.0027215 | -0.005166 | 0.00033363 | 0.0027215 | -0.005166 | 0.00033363 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 | -52.5792 |  | 0.91163 | 1.2429 | 1.1491 | 0.91163 | 1.2429 | 1.1491 | -10.8408 | -120.5376 | 123.7085 | -10.8408 | -120.5376 | 123.7085

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7807 | 0.78221 | 0.67397 | 1.7785 | 0.78439 | 0.676 | 20.5622 | 9.0322 | 7.7824 | 20.5359 | 9.0573 | 7.8058 | 4.4523 | -2.1227 | 9.953 | -5.1857e-11 | 2.2083 | -9.9814 | 1.4443 | 10.3251 | 1.1542 | -1.5145e-12 | -9.7592 | -0.67388 | -62.8705 | 121.2745 | 126.6102 | 117.1729 | -58.8356 | -53.5342 |  | 0.22764 | 1.167 | 1.2875 | 0 | 1.1047 | 1.2816 | -44.8977 | -137.1084 | 133.2252 | 0 | -136.0854 | 130.3283
Line_1 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 |  | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_2 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 |  | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_3 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.0037904 | 0.0062563 | -0.010047 | 0.0037904 | 0.0062563 | -0.010047 | 0.00084896 | -0.010653 | -0.0019282 | 0.00084896 | -0.010653 | -0.0019282 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 |  | 0.36742 | 1.1686 | 0.96768 | 0.36742 | 1.1686 | 0.96768 | -48.0077 | -120.2074 | 130.2321 | -48.0077 | -120.2074 | 130.2321

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.7807 | 0.78221 | 0.67397 | 1.7785 | 0.78439 | 0.676 | 20.5622 | 9.0322 | 7.7824 | 20.5359 | 9.0573 | 7.8058 | 4.4523 | -2.1227 | 9.953 | -5.1857e-11 | 2.2083 | -9.9814 | 1.4443 | 10.3251 | 1.1542 | -1.5145e-12 | -9.7592 | -0.67388 | -62.8705 | 121.2745 | 126.6102 | 117.1729 | -58.8356 | -53.5342 |  | 0.22764 | 1.167 | 1.2875 | 0 | 1.1047 | 1.2816 | -44.8977 | -137.1084 | 133.2252 | 0 | -136.0854 | 130.3283
Line_1 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 |  | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_2 | 0.86925 | 0.39417 | 0.33988 | 0.86721 | 0.39219 | 0.338 | 10.0372 | 4.5515 | 3.9246 | 10.0136 | 4.5287 | 3.9029 | 3.5436 | 2.5587 | -3.7888 | -2.5265e-11 | -1.1042 | 4.9907 | 1.0217 | -4.663 | -0.26117 | -1.2762e-12 | 4.8796 | 0.33694 | -64.0912 | -58.9623 | -53.7111 | 115.9542 | 121.1644 | 126.4658 |  | 0.36742 | 1.1686 | 0.96768 | 0 | 1.1047 | 1.2816 | -48.0077 | -120.2074 | 130.2321 | 0 | -136.0854 | 130.3283
Line_3 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.00091554 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.010572 | 0.0037904 | 0.0062563 | -0.010047 | 0.0037904 | 0.0062563 | -0.010047 | 0.00084896 | -0.010653 | -0.0019282 | 0.00084896 | -0.010653 | -0.0019282 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 | -60.6323 |  | 0.36742 | 1.1686 | 0.96768 | 0.36742 | 1.1686 | 0.96768 | -48.0077 | -120.2074 | 130.2321 | -48.0077 | -120.2074 | 130.2321

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57151 | 0.25104 | 0.2163 | 0.57078 | 0.25174 | 0.21695 | 6.5992 | 2.8988 | 2.4977 | 6.5908 | 2.9068 | 2.5052 | 3.7113 | -0.57634 | 2.5874 | -3.2509 | 0.58996 | -2.5969 | 3.3387 | 3.0325 | -0.61089 | -3.1834 | -2.979 | 0.65861 | -50.2647 | 133.8802 | 139.216 | 129.7786 | -46.2299 | -40.9284 |  | 0.75646 | 1.0648 | 1.0644 | 0.69036 | 1.0447 | 1.0694 | -8.2902 | -125.3587 | 125.9316 | -5.8231 | -125.028 | 124.8404
Line_1 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 |  | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_2 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 |  | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_3 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0021255 | 0.0011395 | -0.003265 | 0.0021255 | 0.0011395 | -0.003265 | 0.0016609 | -0.0033866 | 0.00051729 | 0.0016609 | -0.0033866 | 0.00051729 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 |  | 0.79505 | 1.0532 | 0.97433 | 0.79505 | 1.0532 | 0.97433 | -10.0216 | -119.4296 | 122.9708 | -10.0216 | -119.4296 | 122.9708

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.57151 | 0.25104 | 0.2163 | 0.57078 | 0.25174 | 0.21695 | 6.5992 | 2.8988 | 2.4977 | 6.5908 | 2.9068 | 2.5052 | 3.7113 | -0.57634 | 2.5874 | -3.2509 | 0.58996 | -2.5969 | 3.3387 | 3.0325 | -0.61089 | -3.1834 | -2.979 | 0.65861 | -50.2647 | 133.8802 | 139.216 | 129.7786 | -46.2299 | -40.9284 |  | 0.75646 | 1.0648 | 1.0644 | 0.69036 | 1.0447 | 1.0694 | -8.2902 | -125.3587 | 125.9316 | -5.8231 | -125.028 | 124.8404
Line_1 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 |  | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_2 | 0.27898 | 0.1265 | 0.10908 | 0.27832 | 0.12587 | 0.10848 | 3.2213 | 1.4607 | 1.2596 | 3.2138 | 1.4534 | 1.2526 | 1.9192 | 0.4479 | -1.1801 | -1.5518 | -0.29498 | 1.2984 | 1.6958 | -1.4717 | 0.3367 | -1.5856 | 1.4895 | -0.32931 | -51.4855 | -46.3565 | -41.1054 | 128.5599 | 133.7701 | 139.0716 |  | 0.79505 | 1.0532 | 0.97433 | 0.69036 | 1.0447 | 1.0694 | -10.0216 | -119.4296 | 122.9708 | -5.8231 | -125.028 | 124.8404
Line_3 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.00029383 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0033929 | 0.0021255 | 0.0011395 | -0.003265 | 0.0021255 | 0.0011395 | -0.003265 | 0.0016609 | -0.0033866 | 0.00051729 | 0.0016609 | -0.0033866 | 0.00051729 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 | -48.0266 |  | 0.79505 | 1.0532 | 0.97433 | 0.79505 | 1.0532 | 0.97433 | -10.0216 | -119.4296 | 122.9708 | -10.0216 | -119.4296 | 122.9708

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40504 | 3.6863 | 3.7684 | 0.40739 | 3.6864 | 3.7678 | 4.677 | 42.5654 | 43.5137 | 4.7041 | 42.5671 | 43.5067 | 0.61096 | 7.3886 | 7.322 | -0.66988 | 9.3588e-11 | 1.2496e-10 | 6.8203 | 6.7174 | 9.7462 | -6.7985 | -8.2844e-11 | 1.3982e-11 | -83.523 | -173.5042 | 17.8194 | 96.4563 | 6.5323 | -162.2153 |  | 1.4641 | 0.2346 | 0.28015 | 1.4522 | 0 | 0 | 1.3582 | -131.2285 | 70.9028 | 0.82887 | 0 | 0
Line_1 | 0.20582 | 1.1246 | 0.92825 | 0.20369 | 1.1234 | 0.92669 | 2.3767 | 12.986 | 10.7185 | 2.3521 | 12.9723 | 10.7005 | -0.017239 | 2.2968 | 0.99559 | 0.33494 | 3.7385e-11 | 2.6137e-11 | -3.2389 | -0.19761 | 1.9704 | 3.3992 | -7.2956e-12 | -1.6528e-11 | 96.4892 | 155.9693 | 56.567 | -83.5437 | -23.9402 | -123.5231 |  | 1.3628 | 0.17752 | 0.20596 | 1.4522 | 0 | 0 | 6.1842 | 151.0518 | 119.7601 | 0.82887 | 0 | 0
Line_2 | 0.20582 | 1.1246 | 0.92825 | 0.20369 | 1.1234 | 0.92669 | 2.3767 | 12.986 | 10.7185 | 2.3521 | 12.9723 | 10.7005 | -0.017239 | 2.2968 | 0.99559 | 0.33494 | 3.7385e-11 | 2.6137e-11 | -3.2389 | -0.19761 | 1.9704 | 3.3992 | -7.2956e-12 | -1.6528e-11 | 96.4892 | 155.9693 | 56.567 | -83.5437 | -23.9402 | -123.5231 |  | 1.3628 | 0.17752 | 0.20596 | 1.4522 | 0 | 0 | 6.1842 | 151.0518 | 119.7601 | 0.82887 | 0 | 0
Line_3 | 0.00096682 | 0.00096682 | 0.00096682 | 0.00096682 | 0.00096682 | 0.00096682 | 0.011164 | 0.011164 | 0.011164 | 0.011164 | 0.011164 | 0.011164 | -0.0037769 | 0.0015071 | 0.0022698 | -0.0037769 | 0.0015071 | 0.0022698 | -0.014738 | 0.0012869 | 0.00036771 | -0.014738 | 0.0012869 | 0.00036771 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 |  | 1.3628 | 0.17752 | 0.20596 | 1.3628 | 0.17752 | 0.20596 | 6.1842 | 151.0518 | 119.7601 | 6.1842 | 151.0518 | 119.7601

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.40504 | 3.6863 | 3.7684 | 0.40739 | 3.6864 | 3.7678 | 4.677 | 42.5654 | 43.5137 | 4.7041 | 42.5671 | 43.5067 | 0.61096 | 7.3886 | 7.322 | -0.66988 | 9.3588e-11 | 1.2496e-10 | 6.8203 | 6.7174 | 9.7462 | -6.7985 | -8.2844e-11 | 1.3982e-11 | -83.523 | -173.5042 | 17.8194 | 96.4563 | 6.5323 | -162.2153 |  | 1.4641 | 0.2346 | 0.28015 | 1.4522 | 0 | 0 | 1.3582 | -131.2285 | 70.9028 | 0.82887 | 0 | 0
Line_1 | 0.20582 | 1.1246 | 0.92825 | 0.20369 | 1.1234 | 0.92669 | 2.3767 | 12.986 | 10.7185 | 2.3521 | 12.9723 | 10.7005 | -0.017239 | 2.2968 | 0.99559 | 0.33494 | 3.7385e-11 | 2.6137e-11 | -3.2389 | -0.19761 | 1.9704 | 3.3992 | -7.2956e-12 | -1.6528e-11 | 96.4892 | 155.9693 | 56.567 | -83.5437 | -23.9402 | -123.5231 |  | 1.3628 | 0.17752 | 0.20596 | 1.4522 | 0 | 0 | 6.1842 | 151.0518 | 119.7601 | 0.82887 | 0 | 0
Line_2 | 0.20582 | 1.1246 | 0.92825 | 0.20369 | 1.1234 | 0.92669 | 2.3767 | 12.986 | 10.7185 | 2.3521 | 12.9723 | 10.7005 | -0.017239 | 2.2968 | 0.99559 | 0.33494 | 3.7385e-11 | 2.6137e-11 | -3.2389 | -0.19761 | 1.9704 | 3.3992 | -7.2956e-12 | -1.6528e-11 | 96.4892 | 155.9693 | 56.567 | -83.5437 | -23.9402 | -123.5231 |  | 1.3628 | 0.17752 | 0.20596 | 1.4522 | 0 | 0 | 6.1842 | 151.0518 | 119.7601 | 0.82887 | 0 | 0
Line_3 | 0.00096682 | 0.00096682 | 0.00096682 | 0.00096682 | 0.00096682 | 0.00096682 | 0.011164 | 0.011164 | 0.011164 | 0.011164 | 0.011164 | 0.011164 | -0.0037769 | 0.0015071 | 0.0022698 | -0.0037769 | 0.0015071 | 0.0022698 | -0.014738 | 0.0012869 | 0.00036771 | -0.014738 | 0.0012869 | 0.00036771 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 | 110.5578 |  | 1.3628 | 0.17752 | 0.20596 | 1.3628 | 0.17752 | 0.20596 | 6.1842 | 151.0518 | 119.7601 | 6.1842 | 151.0518 | 119.7601

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073961 | 0.78321 | 0.76772 | 0.074066 | 0.78349 | 0.76728 | 0.85403 | 9.0437 | 8.8649 | 0.85524 | 9.047 | 8.8598 | 1.0547 | 7.7687 | 4.5147 | -1.0598 | -7.4581 | -4.1763 | -0.196 | 2.6659 | 7.128 | 0.19624 | -2.4017 | -6.6805 | 12.6084 | -141.5149 | 49.7553 | -168.0576 | 38.545 | -130.3004 |  | 1.2561 | 0.90819 | 0.95178 | 1.2602 | 0.86606 | 0.88924 | 2.081 | -122.5744 | 107.4063 | 1.4518 | -123.6048 | 107.6884
Line_1 | 0.037231 | 0.40116 | 0.36324 | 0.037033 | 0.40064 | 0.36263 | 0.42991 | 4.6322 | 4.1943 | 0.42762 | 4.6262 | 4.1873 | -0.51861 | 1.5805 | 3.3519 | 0.52989 | -1.2714 | -3.1835 | 0.071332 | 3.8066 | 2.2131 | -0.098118 | -3.7995 | -1.9314 | -169.2291 | 164.8116 | 76.5228 | 11.9424 | -15.104 | -103.556 |  | 1.2177 | 0.88978 | 0.95763 | 1.2602 | 0.86606 | 0.88924 | 2.9393 | -127.7363 | 109.9575 | 1.4518 | -123.6048 | 107.6884
Line_2 | 0.037231 | 0.40116 | 0.36324 | 0.037033 | 0.40064 | 0.36263 | 0.42991 | 4.6322 | 4.1943 | 0.42762 | 4.6262 | 4.1873 | -0.51861 | 1.5805 | 3.3519 | 0.52989 | -1.2714 | -3.1835 | 0.071332 | 3.8066 | 2.2131 | -0.098118 | -3.7995 | -1.9314 | -169.2291 | 164.8116 | 76.5228 | 11.9424 | -15.104 | -103.556 |  | 1.2177 | 0.88978 | 0.95763 | 1.2602 | 0.86606 | 0.88924 | 2.9393 | -127.7363 | 109.9575 | 1.4518 | -123.6048 | 107.6884
Line_3 | 0.00035561 | 0.00035561 | 0.00035561 | 0.00035561 | 0.00035561 | 0.00035561 | 0.0041062 | 0.0041062 | 0.0041062 | 0.0041062 | 0.0041062 | 0.0041062 | -0.0027941 | -0.00096722 | 0.0037613 | -0.0027941 | -0.00096722 | 0.0037613 | -0.0041465 | 0.0035233 | -0.0011468 | -0.0041465 | 0.0035233 | -0.0011468 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 |  | 1.2177 | 0.88978 | 0.95763 | 1.2177 | 0.88978 | 0.95763 | 2.9393 | -127.7363 | 109.9575 | 2.9393 | -127.7363 | 109.9575

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.073961 | 0.78321 | 0.76772 | 0.074066 | 0.78349 | 0.76728 | 0.85403 | 9.0437 | 8.8649 | 0.85524 | 9.047 | 8.8598 | 1.0547 | 7.7687 | 4.5147 | -1.0598 | -7.4581 | -4.1763 | -0.196 | 2.6659 | 7.128 | 0.19624 | -2.4017 | -6.6805 | 12.6084 | -141.5149 | 49.7553 | -168.0576 | 38.545 | -130.3004 |  | 1.2561 | 0.90819 | 0.95178 | 1.2602 | 0.86606 | 0.88924 | 2.081 | -122.5744 | 107.4063 | 1.4518 | -123.6048 | 107.6884
Line_1 | 0.037231 | 0.40116 | 0.36324 | 0.037033 | 0.40064 | 0.36263 | 0.42991 | 4.6322 | 4.1943 | 0.42762 | 4.6262 | 4.1873 | -0.51861 | 1.5805 | 3.3519 | 0.52989 | -1.2714 | -3.1835 | 0.071332 | 3.8066 | 2.2131 | -0.098118 | -3.7995 | -1.9314 | -169.2291 | 164.8116 | 76.5228 | 11.9424 | -15.104 | -103.556 |  | 1.2177 | 0.88978 | 0.95763 | 1.2602 | 0.86606 | 0.88924 | 2.9393 | -127.7363 | 109.9575 | 1.4518 | -123.6048 | 107.6884
Line_2 | 0.037231 | 0.40116 | 0.36324 | 0.037033 | 0.40064 | 0.36263 | 0.42991 | 4.6322 | 4.1943 | 0.42762 | 4.6262 | 4.1873 | -0.51861 | 1.5805 | 3.3519 | 0.52989 | -1.2714 | -3.1835 | 0.071332 | 3.8066 | 2.2131 | -0.098118 | -3.7995 | -1.9314 | -169.2291 | 164.8116 | 76.5228 | 11.9424 | -15.104 | -103.556 |  | 1.2177 | 0.88978 | 0.95763 | 1.2602 | 0.86606 | 0.88924 | 2.9393 | -127.7363 | 109.9575 | 1.4518 | -123.6048 | 107.6884
Line_3 | 0.00035561 | 0.00035561 | 0.00035561 | 0.00035561 | 0.00035561 | 0.00035561 | 0.0041062 | 0.0041062 | 0.0041062 | 0.0041062 | 0.0041062 | 0.0041062 | -0.0027941 | -0.00096722 | 0.0037613 | -0.0027941 | -0.00096722 | 0.0037613 | -0.0041465 | 0.0035233 | -0.0011468 | -0.0041465 | 0.0035233 | -0.0011468 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 | 126.9129 |  | 1.2177 | 0.88978 | 0.95763 | 1.2177 | 0.88978 | 0.95763 | 2.9393 | -127.7363 | 109.9575 | 2.9393 | -127.7363 | 109.9575

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46036 | 3.1349 | 3.1471 | 0.46224 | 3.1353 | 3.1463 | 5.3158 | 36.1989 | 36.3395 | 5.3375 | 36.2031 | 36.33 | 3.0618 | 9.8781 | 10.2584 | -3.1185 | -1.0756e-10 | -1.5738e-11 | 6.1684 | 3.9503 | 7.6627 | -6.0201 | -8.2705e-11 | -1.367e-10 | -63.0971 | -166.4583 | 27.0873 | 116.8013 | 13.5785 | -152.9468 |  | 1.2955 | 0.2939 | 0.35235 | 1.2702 | 0 | 0 | 0.50502 | -144.6618 | 63.8459 | -0.58344 | 0 | 0
Line_1 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 |  | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_2 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 |  | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_3 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0080123 | 0.00099975 | -3.5376e-05 | -0.0080123 | 0.00099975 | -3.5376e-05 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 |  | 1.1078 | 0.2798 | 0.26893 | 1.1078 | 0.2798 | 0.26893 | 8.1405 | 152.0283 | 125.2554 | 8.1405 | 152.0283 | 125.2554

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46036 | 3.1349 | 3.1471 | 0.46224 | 3.1353 | 3.1463 | 5.3158 | 36.1989 | 36.3395 | 5.3375 | 36.2031 | 36.33 | 3.0618 | 9.8781 | 10.2584 | -3.1185 | -1.0756e-10 | -1.5738e-11 | 6.1684 | 3.9503 | 7.6627 | -6.0201 | -8.2705e-11 | -1.367e-10 | -63.0971 | -166.4583 | 27.0873 | 116.8013 | 13.5785 | -152.9468 |  | 1.2955 | 0.2939 | 0.35235 | 1.2702 | 0 | 0 | 0.50502 | -144.6618 | 63.8459 | -0.58344 | 0 | 0
Line_1 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 |  | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_2 | 0.23275 | 0.96415 | 0.62176 | 0.23112 | 0.96334 | 0.62055 | 2.6876 | 11.1331 | 7.1794 | 2.6688 | 11.1237 | 7.1654 | -0.94823 | 3.0361 | 0.82989 | 1.5593 | -1.6893e-11 | -1.7488e-11 | -2.8224 | -0.69688 | 1.7433 | 3.0101 | -3.8112e-11 | -2.0753e-11 | 116.7111 | 164.9555 | 60.7121 | -63.1987 | -14.9577 | -119.394 |  | 1.1078 | 0.2798 | 0.26893 | 1.2702 | 0 | 0 | 8.1405 | 152.0283 | 125.2554 | -0.58344 | 0 | 0
Line_3 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.00070961 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | 0.0081938 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0042665 | 0.0020632 | 0.0022033 | -0.0080123 | 0.00099975 | -3.5376e-05 | -0.0080123 | 0.00099975 | -3.5376e-05 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 | 126.1753 |  | 1.1078 | 0.2798 | 0.26893 | 1.1078 | 0.2798 | 0.26893 | 8.1405 | 152.0283 | 125.2554 | 8.1405 | 152.0283 | 125.2554

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19234 | 0.75952 | 0.81596 | 0.19302 | 0.75978 | 0.81546 | 2.221 | 8.7702 | 9.4219 | 2.2289 | 8.7732 | 9.4161 | 1.4794 | 6.2591 | 4.3618 | -1.4853 | -5.7082 | -3.6055 | 1.965 | 3.3874 | 6.3964 | -1.9417 | -3.2095 | -5.8434 | -52.3314 | -150.5201 | 50.7302 | 127.5638 | 29.5347 | -129.311 |  | 1.1075 | 0.81149 | 0.82171 | 1.0968 | 0.74645 | 0.7292 | 0.69356 | -122.0977 | 106.4398 | 0.15003 | -121.1179 | 109.0137
Line_1 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 |  | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_2 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 |  | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_3 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | -0.002022 | -0.00033998 | 0.002362 | -0.002022 | -0.00033998 | 0.002362 | -0.0024155 | 0.0023206 | -0.00089669 | -0.0024155 | 0.0023206 | -0.00089669 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 |  | 1.0249 | 0.76312 | 0.82202 | 1.0249 | 0.76312 | 0.82202 | 3.2442 | -128.4895 | 112.3871 | 3.2442 | -128.4895 | 112.3871

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.19234 | 0.75952 | 0.81596 | 0.19302 | 0.75978 | 0.81546 | 2.221 | 8.7702 | 9.4219 | 2.2289 | 8.7732 | 9.4161 | 1.4794 | 6.2591 | 4.3618 | -1.4853 | -5.7082 | -3.6055 | 1.965 | 3.3874 | 6.3964 | -1.9417 | -3.2095 | -5.8434 | -52.3314 | -150.5201 | 50.7302 | 127.5638 | 29.5347 | -129.311 |  | 1.1075 | 0.81149 | 0.82171 | 1.0968 | 0.74645 | 0.7292 | 0.69356 | -122.0977 | 106.4398 | 0.15003 | -121.1179 | 109.0137
Line_1 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 |  | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_2 | 0.097114 | 0.26466 | 0.22032 | 0.096512 | 0.26435 | 0.21974 | 1.1214 | 3.0561 | 2.5441 | 1.1144 | 3.0524 | 2.5374 | -0.64628 | 1.1463 | 1.9251 | 0.74264 | -0.86041 | -1.7421 | -0.95043 | 2.031 | 0.81697 | 0.97085 | -2.1098 | -0.62317 | 127.4592 | 170.9513 | 89.3917 | -52.4362 | -8.9312 | -90.6689 |  | 1.0249 | 0.76312 | 0.82202 | 1.0968 | 0.74645 | 0.7292 | 3.2442 | -128.4895 | 112.3871 | 0.15003 | -121.1179 | 109.0137
Line_3 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.00026617 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | 0.0030734 | -0.002022 | -0.00033998 | 0.002362 | -0.002022 | -0.00033998 | 0.002362 | -0.0024155 | 0.0023206 | -0.00089669 | -0.0024155 | 0.0023206 | -0.00089669 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 | 133.1758 |  | 1.0249 | 0.76312 | 0.82202 | 1.0249 | 0.76312 | 0.82202 | 3.2442 | -128.4895 | 112.3871 | 3.2442 | -128.4895 | 112.3871