## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8805 | 0.93332 | 0.77 | 1.878 | 0.93568 | 0.77236 | 21.7137 | 10.7771 | 8.8912 | 21.6852 | 10.8043 | 8.9184 | 5.4002 | -12.2528 | 10.8997 | -3.0981 | 12.5529 | -10.8327 | 4.77 | 8.1117 | 2.578 | -2.4212 | -7.8182 | -2.2937 | -76.0535 | 86.4256 | 120.4647 | 103.9477 | -93.5311 | -59.5898 |  | 0.33183 | 1.3635 | 1.2597 | 0.18132 | 1.3688 | 1.2416 | -34.5995 | -127.08 | 133.7717 | -38.0437 | -125.4467 | 132.3654
Line_1 | 1.6273 | 0.49291 | 0.39192 | 1.6299 | 0.49036 | 0.38943 | 18.7908 | 5.6917 | 4.5255 | 18.8209 | 5.6622 | 4.4967 | 8.2204e-11 | 6.6095 | -5.6452 | 2.6927 | -6.7696 | 5.3588 | -5.9434e-11 | -3.9467 | -1.5571 | 2.0966 | 3.7732 | 1.5663 | 104.0614 | -96.2393 | -64.0501 | -75.9492 | 83.6877 | 116.0721 |  | 0 | 1.3525 | 1.294 | 0.18132 | 1.3688 | 1.2416 | 0 | -127.0819 | 131.3704 | -38.0437 | -125.4467 | 132.3654
Line_2 | 0.24564 | 0.44889 | 0.38747 | 0.24807 | 0.44653 | 0.38517 | 2.8364 | 5.1833 | 4.4741 | 2.8645 | 5.1561 | 4.4476 | -0.50968 | 6.1398 | -5.1938 | 0.40543 | -5.7833 | 5.4739 | -0.33444 | -3.8096 | -0.66421 | 0.32466 | 4.045 | 0.72738 | 103.2523 | -90.3935 | -55.3259 | -76.7304 | 89.5233 | 124.7962 |  | 0.21493 | 1.394 | 1.1703 | 0.18132 | 1.3688 | 1.2416 | -43.4758 | -122.2118 | 131.9618 | -38.0437 | -125.4467 | 132.3654
Line_3 | 1.3805 | 0.065544 | 0.059787 | 1.3831 | 0.064321 | 0.058748 | 15.9411 | 0.75683 | 0.69036 | 15.9705 | 0.74272 | 0.67836 | 6.9613e-11 | 0.99827 | 0.088452 | 2.9004 | -0.9752 | -0.11771 | -5.0591e-11 | 0.22649 | -0.88895 | 1.8356 | -0.34782 | 0.78512 | 104.2015 | -139.8652 | -144.3119 | -75.8053 | 38.1586 | 33.4354 |  | 0 | 1.3525 | 1.294 | 0.21493 | 1.394 | 1.1703 | 0 | -127.0819 | 131.3704 | -43.4758 | -122.2118 | 131.9618

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8805 | 0.93332 | 0.77 | 1.878 | 0.93568 | 0.77236 | 21.7137 | 10.7771 | 8.8912 | 21.6852 | 10.8043 | 8.9184 | 5.4002 | -12.2528 | 10.8997 | -3.0981 | 12.5529 | -10.8327 | 4.77 | 8.1117 | 2.578 | -2.4212 | -7.8182 | -2.2937 | -76.0535 | 86.4256 | 120.4647 | 103.9477 | -93.5311 | -59.5898 |  | 0.33183 | 1.3635 | 1.2597 | 0.18132 | 1.3688 | 1.2416 | -34.5995 | -127.08 | 133.7717 | -38.0437 | -125.4467 | 132.3654
Line_1 | 1.6273 | 0.49291 | 0.39192 | 1.6299 | 0.49036 | 0.38943 | 18.7908 | 5.6917 | 4.5255 | 18.8209 | 5.6622 | 4.4967 | 8.2204e-11 | 6.6095 | -5.6452 | 2.6927 | -6.7696 | 5.3588 | -5.9434e-11 | -3.9467 | -1.5571 | 2.0966 | 3.7732 | 1.5663 | 104.0614 | -96.2393 | -64.0501 | -75.9492 | 83.6877 | 116.0721 |  | 0 | 1.3525 | 1.294 | 0.18132 | 1.3688 | 1.2416 | 0 | -127.0819 | 131.3704 | -38.0437 | -125.4467 | 132.3654
Line_2 | 0.24564 | 0.44889 | 0.38747 | 0.24807 | 0.44653 | 0.38517 | 2.8364 | 5.1833 | 4.4741 | 2.8645 | 5.1561 | 4.4476 | -0.50968 | 6.1398 | -5.1938 | 0.40543 | -5.7833 | 5.4739 | -0.33444 | -3.8096 | -0.66421 | 0.32466 | 4.045 | 0.72738 | 103.2523 | -90.3935 | -55.3259 | -76.7304 | 89.5233 | 124.7962 |  | 0.21493 | 1.394 | 1.1703 | 0.18132 | 1.3688 | 1.2416 | -43.4758 | -122.2118 | 131.9618 | -38.0437 | -125.4467 | 132.3654
Line_3 | 1.3805 | 0.065544 | 0.059787 | 1.3831 | 0.064321 | 0.058748 | 15.9411 | 0.75683 | 0.69036 | 15.9705 | 0.74272 | 0.67836 | 6.9613e-11 | 0.99827 | 0.088452 | 2.9004 | -0.9752 | -0.11771 | -5.0591e-11 | 0.22649 | -0.88895 | 1.8356 | -0.34782 | 0.78512 | 104.2015 | -139.8652 | -144.3119 | -75.8053 | 38.1586 | 33.4354 |  | 0 | 1.3525 | 1.294 | 0.21493 | 1.394 | 1.1703 | 0 | -127.0819 | 131.3704 | -43.4758 | -122.2118 | 131.9618

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46398 | 0.21646 | 0.34366 | 0.46321 | 0.21695 | 0.34421 | 5.3576 | 2.4995 | 3.9683 | 5.3487 | 2.5051 | 3.9746 | 4.2423 | -2.9645 | 3.075 | -4.0848 | 2.9906 | -3.0537 | 2.6026 | 0.8197 | -3.3073 | -2.4571 | -0.82167 | 3.3857 | -41.3524 | 74.7203 | 172.4008 | 138.6683 | -105.1164 | -7.6937 |  | 0.92895 | 1.2306 | 1.138 | 0.89121 | 1.238 | 1.1471 | -9.824 | -120.7361 | 125.3166 | -10.3038 | -120.4795 | 124.3554
Line_1 | 0.44933 | 0.12015 | 0.16826 | 0.45015 | 0.11957 | 0.16771 | 5.1884 | 1.3874 | 1.9429 | 5.1979 | 1.3807 | 1.9365 | -3.4884 | 1.6618 | -1.6044 | 3.7192 | -1.657 | 1.564 | -2.6011 | -0.45433 | 1.6096 | 2.7617 | 0.41993 | -1.5775 | 133.1228 | -105.9646 | -10.6132 | -46.9001 | 73.7415 | 169.6024 |  | 0.83868 | 1.2418 | 1.1697 | 0.89121 | 1.238 | 1.1471 | -10.1671 | -121.2554 | 124.2943 | -10.3038 | -120.4795 | 124.3554
Line_2 | 0.046131 | 0.097911 | 0.17741 | 0.046245 | 0.097428 | 0.17687 | 0.53268 | 1.1306 | 2.0485 | 0.53399 | 1.125 | 2.0423 | -0.36226 | 1.3494 | -1.4538 | 0.36562 | -1.3336 | 1.4897 | 0.31925 | -0.38888 | 1.8108 | -0.30463 | 0.40174 | -1.8081 | -149.5434 | -103.3541 | -5.3133 | 29.4972 | 76.2854 | 174.87 |  | 0.90648 | 1.2421 | 1.1336 | 0.89121 | 1.238 | 1.1471 | -10.9323 | -119.4306 | 123.4454 | -10.3038 | -120.4795 | 124.3554
Line_3 | 0.44113 | 0.02292 | 0.018482 | 0.44195 | 0.022524 | 0.018223 | 5.0937 | 0.26465 | 0.21341 | 5.1032 | 0.26009 | 0.21042 | -3.1464 | 0.32744 | -0.081903 | 3.4482 | -0.32298 | 0.072056 | -2.8897 | -0.028027 | -0.23581 | 3.0837 | 0.0071274 | 0.22739 | 127.2679 | -116.3631 | -126.552 | -52.7385 | 61.8336 | 51.0279 |  | 0.83868 | 1.2418 | 1.1697 | 0.90648 | 1.2421 | 1.1336 | -10.1671 | -121.2554 | 124.2943 | -10.9323 | -119.4306 | 123.4454

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46398 | 0.21646 | 0.34366 | 0.46321 | 0.21695 | 0.34421 | 5.3576 | 2.4995 | 3.9683 | 5.3487 | 2.5051 | 3.9746 | 4.2423 | -2.9645 | 3.075 | -4.0848 | 2.9906 | -3.0537 | 2.6026 | 0.8197 | -3.3073 | -2.4571 | -0.82167 | 3.3857 | -41.3524 | 74.7203 | 172.4008 | 138.6683 | -105.1164 | -7.6937 |  | 0.92895 | 1.2306 | 1.138 | 0.89121 | 1.238 | 1.1471 | -9.824 | -120.7361 | 125.3166 | -10.3038 | -120.4795 | 124.3554
Line_1 | 0.44933 | 0.12015 | 0.16826 | 0.45015 | 0.11957 | 0.16771 | 5.1884 | 1.3874 | 1.9429 | 5.1979 | 1.3807 | 1.9365 | -3.4884 | 1.6618 | -1.6044 | 3.7192 | -1.657 | 1.564 | -2.6011 | -0.45433 | 1.6096 | 2.7617 | 0.41993 | -1.5775 | 133.1228 | -105.9646 | -10.6132 | -46.9001 | 73.7415 | 169.6024 |  | 0.83868 | 1.2418 | 1.1697 | 0.89121 | 1.238 | 1.1471 | -10.1671 | -121.2554 | 124.2943 | -10.3038 | -120.4795 | 124.3554
Line_2 | 0.046131 | 0.097911 | 0.17741 | 0.046245 | 0.097428 | 0.17687 | 0.53268 | 1.1306 | 2.0485 | 0.53399 | 1.125 | 2.0423 | -0.36226 | 1.3494 | -1.4538 | 0.36562 | -1.3336 | 1.4897 | 0.31925 | -0.38888 | 1.8108 | -0.30463 | 0.40174 | -1.8081 | -149.5434 | -103.3541 | -5.3133 | 29.4972 | 76.2854 | 174.87 |  | 0.90648 | 1.2421 | 1.1336 | 0.89121 | 1.238 | 1.1471 | -10.9323 | -119.4306 | 123.4454 | -10.3038 | -120.4795 | 124.3554
Line_3 | 0.44113 | 0.02292 | 0.018482 | 0.44195 | 0.022524 | 0.018223 | 5.0937 | 0.26465 | 0.21341 | 5.1032 | 0.26009 | 0.21042 | -3.1464 | 0.32744 | -0.081903 | 3.4482 | -0.32298 | 0.072056 | -2.8897 | -0.028027 | -0.23581 | 3.0837 | 0.0071274 | 0.22739 | 127.2679 | -116.3631 | -126.552 | -52.7385 | 61.8336 | 51.0279 |  | 0.83868 | 1.2418 | 1.1697 | 0.90648 | 1.2421 | 1.1336 | -10.1671 | -121.2554 | 124.2943 | -10.9323 | -119.4306 | 123.4454

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6771 | 0.80682 | 0.68528 | 1.6752 | 0.80867 | 0.68712 | 19.365 | 9.3163 | 7.9129 | 19.3437 | 9.3377 | 7.9342 | 7.8337 | -6.3193 | 7.9332 | -4.4131 | 6.7022 | -7.7361 | 3.9635 | 8.839 | 2.097 | -2.0553 | -8.6178 | -1.9195 | -65.0813 | 110.1341 | 116.7143 | 114.9214 | -69.8604 | -63.2969 |  | 0.45336 | 1.1663 | 1.037 | 0.25167 | 1.1692 | 1.0046 | -38.2438 | -124.3037 | 131.5211 | -40.1066 | -121.9876 | 130.6379
Line_1 | 1.4016 | 0.42962 | 0.36337 | 1.4036 | 0.42756 | 0.36132 | 16.184 | 4.9608 | 4.1958 | 16.2072 | 4.937 | 4.1722 | -3.9808e-11 | 3.7336 | -4.2286 | 3.6898 | -4.0154 | 3.9081 | 2.5113e-13 | -4.3291 | -1.6379 | 1.7386 | 4.1466 | 1.5145 | 114.6834 | -76.0766 | -70.5886 | -65.3354 | 103.9337 | 109.4548 |  | 0 | 1.1524 | 1.0808 | 0.25167 | 1.1692 | 1.0046 | 0 | -125.3004 | 130.585 | -40.1066 | -121.9876 | 130.6379
Line_2 | 0.2699 | 0.3882 | 0.33363 | 0.27171 | 0.38639 | 0.33184 | 3.1165 | 4.4825 | 3.8524 | 3.1374 | 4.4616 | 3.8317 | -0.88582 | 3.1965 | -3.4321 | 0.72331 | -2.6868 | 3.828 | -0.33584 | -4.3154 | -0.30873 | 0.31669 | 4.4712 | 0.40495 | 116.2456 | -62.9921 | -55.4441 | -63.7521 | 117.0098 | 124.5993 |  | 0.30398 | 1.1981 | 0.8945 | 0.25167 | 1.1692 | 1.0046 | -42.991 | -116.4637 | 129.696 | -40.1066 | -121.9876 | 130.6379
Line_3 | 1.1309 | 0.10202 | 0.096632 | 1.1329 | 0.10115 | 0.09574 | 13.0589 | 1.1781 | 1.1158 | 13.0813 | 1.1679 | 1.1055 | -3.2122e-11 | 1.3373 | -0.09886 | 3.6679 | -1.317 | 0.078609 | -1.0302e-14 | 0.23392 | -1.2019 | 1.5356 | -0.4726 | 0.98575 | 114.3036 | -135.2223 | -134.7128 | -65.7081 | 43.7965 | 44.2554 |  | 0 | 1.1524 | 1.0808 | 0.30398 | 1.1981 | 0.8945 | 0 | -125.3004 | 130.585 | -42.991 | -116.4637 | 129.696

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6771 | 0.80682 | 0.68528 | 1.6752 | 0.80867 | 0.68712 | 19.365 | 9.3163 | 7.9129 | 19.3437 | 9.3377 | 7.9342 | 7.8337 | -6.3193 | 7.9332 | -4.4131 | 6.7022 | -7.7361 | 3.9635 | 8.839 | 2.097 | -2.0553 | -8.6178 | -1.9195 | -65.0813 | 110.1341 | 116.7143 | 114.9214 | -69.8604 | -63.2969 |  | 0.45336 | 1.1663 | 1.037 | 0.25167 | 1.1692 | 1.0046 | -38.2438 | -124.3037 | 131.5211 | -40.1066 | -121.9876 | 130.6379
Line_1 | 1.4016 | 0.42962 | 0.36337 | 1.4036 | 0.42756 | 0.36132 | 16.184 | 4.9608 | 4.1958 | 16.2072 | 4.937 | 4.1722 | -3.9808e-11 | 3.7336 | -4.2286 | 3.6898 | -4.0154 | 3.9081 | 2.5113e-13 | -4.3291 | -1.6379 | 1.7386 | 4.1466 | 1.5145 | 114.6834 | -76.0766 | -70.5886 | -65.3354 | 103.9337 | 109.4548 |  | 0 | 1.1524 | 1.0808 | 0.25167 | 1.1692 | 1.0046 | 0 | -125.3004 | 130.585 | -40.1066 | -121.9876 | 130.6379
Line_2 | 0.2699 | 0.3882 | 0.33363 | 0.27171 | 0.38639 | 0.33184 | 3.1165 | 4.4825 | 3.8524 | 3.1374 | 4.4616 | 3.8317 | -0.88582 | 3.1965 | -3.4321 | 0.72331 | -2.6868 | 3.828 | -0.33584 | -4.3154 | -0.30873 | 0.31669 | 4.4712 | 0.40495 | 116.2456 | -62.9921 | -55.4441 | -63.7521 | 117.0098 | 124.5993 |  | 0.30398 | 1.1981 | 0.8945 | 0.25167 | 1.1692 | 1.0046 | -42.991 | -116.4637 | 129.696 | -40.1066 | -121.9876 | 130.6379
Line_3 | 1.1309 | 0.10202 | 0.096632 | 1.1329 | 0.10115 | 0.09574 | 13.0589 | 1.1781 | 1.1158 | 13.0813 | 1.1679 | 1.1055 | -3.2122e-11 | 1.3373 | -0.09886 | 3.6679 | -1.317 | 0.078609 | -1.0302e-14 | 0.23392 | -1.2019 | 1.5356 | -0.4726 | 0.98575 | 114.3036 | -135.2223 | -134.7128 | -65.7081 | 43.7965 | 44.2554 |  | 0 | 1.1524 | 1.0808 | 0.30398 | 1.1981 | 0.8945 | 0 | -125.3004 | 130.585 | -42.991 | -116.4637 | 129.696

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53887 | 0.25925 | 0.22019 | 0.53827 | 0.25984 | 0.22078 | 6.2223 | 2.9935 | 2.5426 | 6.2155 | 3.0004 | 2.5494 | 4.2164 | -1.1429 | 2.4608 | -3.8596 | 1.1834 | -2.445 | 3.1408 | 2.9556 | -0.48304 | -2.9406 | -2.9375 | 0.50294 | -46.9199 | 128.2955 | 134.8756 | 133.0827 | -51.699 | -45.1356 |  | 0.84496 | 1.0586 | 0.98631 | 0.78066 | 1.0555 | 0.97913 | -10.2375 | -120.5627 | 123.7698 | -9.6137 | -119.7562 | 123.2408
Line_1 | 0.45035 | 0.13804 | 0.11676 | 0.451 | 0.13738 | 0.1161 | 5.2002 | 1.594 | 1.3482 | 5.2077 | 1.5863 | 1.3406 | -2.8384 | 0.76283 | -1.3472 | 3.2227 | -0.78992 | 1.3088 | -2.2945 | -1.5002 | 0.088163 | 2.4783 | 1.4764 | -0.10014 | 132.8448 | -57.9153 | -52.4273 | -47.1741 | 122.0951 | 127.6162 |  | 0.70187 | 1.0558 | 1.0014 | 0.78066 | 1.0555 | 0.97913 | -8.2038 | -120.9624 | 123.8285 | -9.6137 | -119.7562 | 123.2408
Line_2 | 0.086723 | 0.12474 | 0.1072 | 0.087305 | 0.12415 | 0.10662 | 1.0014 | 1.4403 | 1.2379 | 1.0081 | 1.4336 | 1.2312 | -0.64989 | 0.44669 | -1.0997 | 0.63688 | -0.39349 | 1.1362 | -0.46146 | -1.4497 | 0.41457 | 0.46233 | 1.4611 | -0.4028 | 134.407 | -44.8308 | -37.2828 | -45.5908 | 135.1712 | 142.7606 |  | 0.79595 | 1.0532 | 0.94941 | 0.78066 | 1.0555 | 0.97913 | -10.2159 | -117.7054 | 122.0613 | -9.6137 | -119.7562 | 123.2408
Line_3 | 0.36339 | 0.032782 | 0.03105 | 0.36401 | 0.0325 | 0.030763 | 4.1961 | 0.37854 | 0.35853 | 4.2032 | 0.37528 | 0.35522 | -2.278 | 0.39874 | -0.17745 | 2.6602 | -0.39525 | 0.17043 | -1.8666 | -0.027194 | -0.31211 | 2.0288 | -0.002323 | 0.29102 | 132.4649 | -117.0609 | -116.5514 | -47.5467 | 61.9579 | 62.4168 |  | 0.70187 | 1.0558 | 1.0014 | 0.79595 | 1.0532 | 0.94941 | -8.2038 | -120.9624 | 123.8285 | -10.2159 | -117.7054 | 122.0613

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.53887 | 0.25925 | 0.22019 | 0.53827 | 0.25984 | 0.22078 | 6.2223 | 2.9935 | 2.5426 | 6.2155 | 3.0004 | 2.5494 | 4.2164 | -1.1429 | 2.4608 | -3.8596 | 1.1834 | -2.445 | 3.1408 | 2.9556 | -0.48304 | -2.9406 | -2.9375 | 0.50294 | -46.9199 | 128.2955 | 134.8756 | 133.0827 | -51.699 | -45.1356 |  | 0.84496 | 1.0586 | 0.98631 | 0.78066 | 1.0555 | 0.97913 | -10.2375 | -120.5627 | 123.7698 | -9.6137 | -119.7562 | 123.2408
Line_1 | 0.45035 | 0.13804 | 0.11676 | 0.451 | 0.13738 | 0.1161 | 5.2002 | 1.594 | 1.3482 | 5.2077 | 1.5863 | 1.3406 | -2.8384 | 0.76283 | -1.3472 | 3.2227 | -0.78992 | 1.3088 | -2.2945 | -1.5002 | 0.088163 | 2.4783 | 1.4764 | -0.10014 | 132.8448 | -57.9153 | -52.4273 | -47.1741 | 122.0951 | 127.6162 |  | 0.70187 | 1.0558 | 1.0014 | 0.78066 | 1.0555 | 0.97913 | -8.2038 | -120.9624 | 123.8285 | -9.6137 | -119.7562 | 123.2408
Line_2 | 0.086723 | 0.12474 | 0.1072 | 0.087305 | 0.12415 | 0.10662 | 1.0014 | 1.4403 | 1.2379 | 1.0081 | 1.4336 | 1.2312 | -0.64989 | 0.44669 | -1.0997 | 0.63688 | -0.39349 | 1.1362 | -0.46146 | -1.4497 | 0.41457 | 0.46233 | 1.4611 | -0.4028 | 134.407 | -44.8308 | -37.2828 | -45.5908 | 135.1712 | 142.7606 |  | 0.79595 | 1.0532 | 0.94941 | 0.78066 | 1.0555 | 0.97913 | -10.2159 | -117.7054 | 122.0613 | -9.6137 | -119.7562 | 123.2408
Line_3 | 0.36339 | 0.032782 | 0.03105 | 0.36401 | 0.0325 | 0.030763 | 4.1961 | 0.37854 | 0.35853 | 4.2032 | 0.37528 | 0.35522 | -2.278 | 0.39874 | -0.17745 | 2.6602 | -0.39525 | 0.17043 | -1.8666 | -0.027194 | -0.31211 | 2.0288 | -0.002323 | 0.29102 | 132.4649 | -117.0609 | -116.5514 | -47.5467 | 61.9579 | 62.4168 |  | 0.70187 | 1.0558 | 1.0014 | 0.79595 | 1.0532 | 0.94941 | -8.2038 | -120.9624 | 123.8285 | -10.2159 | -117.7054 | 122.0613

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.503 | 3.0845 | 3.2578 | 0.50493 | 3.0844 | 3.2574 | 5.8081 | 35.6165 | 37.6175 | 5.8304 | 35.6155 | 37.6135 | -1.8332 | 10.4506 | 8.4727 | 1.8869 | -5.1124 | -3.2181 | 7.8666 | 6.8909 | 14.2825 | -7.8432 | -1.8864 | -7.3029 | -98.34 | -169.2413 | 22.8792 | 81.7458 | 10.7972 | -157.1567 |  | 1.3907 | 0.35147 | 0.44146 | 1.3836 | 0.153 | 0.21217 | 4.7779 | -135.8415 | 82.2017 | 5.2726 | -148.9497 | 89.0617
Line_1 | 0.27291 | 2.3544 | 2.4385 | 0.27084 | 2.3545 | 2.4393 | 3.1513 | 27.1863 | 28.1578 | 3.1273 | 27.1872 | 28.1664 | 1.2394 | 6.2904e-11 | 8.4789e-11 | -1.3339 | 3.754 | 2.8219 | -4.2572 | -5.5147e-11 | -5.3544e-12 | 4.1163 | 1.7919 | 5.2679 | 77.4782 | 5.5876 | -152.8098 | -102.6821 | -174.4661 | 27.239 |  | 1.407 | 0 | 0 | 1.3836 | 0.153 | 0.21217 | 3.7096 | 0 | 0 | 5.2726 | -148.9497 | 89.0617
Line_2 | 0.23778 | 0.77115 | 0.8464 | 0.23583 | 0.77072 | 0.84622 | 2.7456 | 8.9045 | 9.7734 | 2.7231 | 8.8995 | 9.7714 | 0.67488 | -1.0853 | 0.14469 | -0.55299 | 1.3584 | 0.39622 | -3.6561 | 0.64841 | -2.0094 | 3.7269 | 0.094486 | 2.035 | 86.9871 | 27.2204 | -170.0589 | -93.1673 | -152.9286 | 10.0795 |  | 1.3541 | 0.14198 | 0.20614 | 1.3836 | 0.153 | 0.21217 | 7.4455 | 176.365 | 104.0595 | 5.2726 | -148.9497 | 89.0617
Line_3 | 0.055173 | 1.6617 | 1.6491 | 0.054395 | 1.6622 | 1.65 | 0.63708 | 19.1874 | 19.0423 | 0.6281 | 19.1937 | 19.0529 | 0.783 | 5.0382e-11 | 5.6129e-11 | -0.78114 | 2.725 | 1.466 | -0.43637 | -3.0782e-11 | -1.2271e-11 | 0.3365 | 0.031665 | 3.6436 | 32.8407 | -4.2293 | -144.0907 | -149.2492 | 175.6993 | 35.9766 |  | 1.407 | 0 | 0 | 1.3541 | 0.14198 | 0.20614 | 3.7096 | 0 | 0 | 7.4455 | 176.365 | 104.0595

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.503 | 3.0845 | 3.2578 | 0.50493 | 3.0844 | 3.2574 | 5.8081 | 35.6165 | 37.6175 | 5.8304 | 35.6155 | 37.6135 | -1.8332 | 10.4506 | 8.4727 | 1.8869 | -5.1124 | -3.2181 | 7.8666 | 6.8909 | 14.2825 | -7.8432 | -1.8864 | -7.3029 | -98.34 | -169.2413 | 22.8792 | 81.7458 | 10.7972 | -157.1567 |  | 1.3907 | 0.35147 | 0.44146 | 1.3836 | 0.153 | 0.21217 | 4.7779 | -135.8415 | 82.2017 | 5.2726 | -148.9497 | 89.0617
Line_1 | 0.27291 | 2.3544 | 2.4385 | 0.27084 | 2.3545 | 2.4393 | 3.1513 | 27.1863 | 28.1578 | 3.1273 | 27.1872 | 28.1664 | 1.2394 | 6.2904e-11 | 8.4789e-11 | -1.3339 | 3.754 | 2.8219 | -4.2572 | -5.5147e-11 | -5.3544e-12 | 4.1163 | 1.7919 | 5.2679 | 77.4782 | 5.5876 | -152.8098 | -102.6821 | -174.4661 | 27.239 |  | 1.407 | 0 | 0 | 1.3836 | 0.153 | 0.21217 | 3.7096 | 0 | 0 | 5.2726 | -148.9497 | 89.0617
Line_2 | 0.23778 | 0.77115 | 0.8464 | 0.23583 | 0.77072 | 0.84622 | 2.7456 | 8.9045 | 9.7734 | 2.7231 | 8.8995 | 9.7714 | 0.67488 | -1.0853 | 0.14469 | -0.55299 | 1.3584 | 0.39622 | -3.6561 | 0.64841 | -2.0094 | 3.7269 | 0.094486 | 2.035 | 86.9871 | 27.2204 | -170.0589 | -93.1673 | -152.9286 | 10.0795 |  | 1.3541 | 0.14198 | 0.20614 | 1.3836 | 0.153 | 0.21217 | 7.4455 | 176.365 | 104.0595 | 5.2726 | -148.9497 | 89.0617
Line_3 | 0.055173 | 1.6617 | 1.6491 | 0.054395 | 1.6622 | 1.65 | 0.63708 | 19.1874 | 19.0423 | 0.6281 | 19.1937 | 19.0529 | 0.783 | 5.0382e-11 | 5.6129e-11 | -0.78114 | 2.725 | 1.466 | -0.43637 | -3.0782e-11 | -1.2271e-11 | 0.3365 | 0.031665 | 3.6436 | 32.8407 | -4.2293 | -144.0907 | -149.2492 | 175.6993 | 35.9766 |  | 1.407 | 0 | 0 | 1.3541 | 0.14198 | 0.20614 | 3.7096 | 0 | 0 | 7.4455 | 176.365 | 104.0595

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.048051 | 0.72288 | 0.69192 | 0.048599 | 0.72295 | 0.69172 | 0.55485 | 8.347 | 7.9897 | 0.56117 | 8.348 | 7.9873 | 0.64995 | 7.4303 | 4.1397 | -0.65824 | -7.1358 | -3.8977 | 0.18067 | 1.9048 | 6.8332 | -0.18736 | -1.6454 | -6.496 | -12.0253 | -139.108 | 50.5569 | 167.3729 | 40.9508 | -129.5027 |  | 1.2158 | 0.91895 | 0.99997 | 1.2196 | 0.87722 | 0.94845 | 3.5095 | -124.7296 | 109.3485 | 3.2612 | -126.0648 | 109.5331
Line_1 | 0.022484 | 0.57355 | 0.57145 | 0.021748 | 0.57354 | 0.57181 | 0.25963 | 6.6227 | 6.5985 | 0.25112 | 6.6227 | 6.6027 | -0.24087 | -5.0486 | -3.5432 | 0.23033 | 5.2878 | 3.7165 | -0.21231 | -2.3379 | -4.6986 | 0.20185 | 2.4063 | 5.0403 | 141.2458 | 29.5466 | -124.1349 | -37.9689 | -150.5329 | 55.9364 |  | 1.2367 | 0.84008 | 0.89184 | 1.2196 | 0.87722 | 0.94845 | 2.6399 | -125.605 | 108.8453 | 3.2612 | -126.0648 | 109.5331
Line_2 | 0.030797 | 0.19777 | 0.13408 | 0.030404 | 0.1973 | 0.13395 | 0.35562 | 2.2836 | 1.5482 | 0.35107 | 2.2782 | 1.5467 | -0.42886 | -1.8161 | -0.1527 | 0.42791 | 1.8479 | 0.1812 | 0.0027604 | 0.82449 | -1.4691 | -0.014492 | -0.76088 | 1.4557 | -175.9718 | 76.4796 | -153.6828 | 5.2008 | -103.6857 | 26.6284 |  | 1.206 | 0.87339 | 0.95405 | 1.2196 | 0.87722 | 0.94845 | 3.6594 | -127.938 | 110.3833 | 3.2612 | -126.0648 | 109.5331
Line_3 | 0.020989 | 0.46151 | 0.45945 | 0.020742 | 0.46179 | 0.45985 | 0.24236 | 5.3291 | 5.3052 | 0.23951 | 5.3323 | 5.3099 | 0.19565 | -3.2718 | -3.3602 | -0.19986 | 3.5254 | 3.506 | -0.22705 | -3.0558 | -3.3309 | 0.20853 | 3.0432 | 3.6568 | 51.8882 | 11.3495 | -115.9044 | -130.1241 | -168.7401 | 64.1775 |  | 1.2367 | 0.84008 | 0.89184 | 1.206 | 0.87339 | 0.95405 | 2.6399 | -125.605 | 108.8453 | 3.6594 | -127.938 | 110.3833

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.048051 | 0.72288 | 0.69192 | 0.048599 | 0.72295 | 0.69172 | 0.55485 | 8.347 | 7.9897 | 0.56117 | 8.348 | 7.9873 | 0.64995 | 7.4303 | 4.1397 | -0.65824 | -7.1358 | -3.8977 | 0.18067 | 1.9048 | 6.8332 | -0.18736 | -1.6454 | -6.496 | -12.0253 | -139.108 | 50.5569 | 167.3729 | 40.9508 | -129.5027 |  | 1.2158 | 0.91895 | 0.99997 | 1.2196 | 0.87722 | 0.94845 | 3.5095 | -124.7296 | 109.3485 | 3.2612 | -126.0648 | 109.5331
Line_1 | 0.022484 | 0.57355 | 0.57145 | 0.021748 | 0.57354 | 0.57181 | 0.25963 | 6.6227 | 6.5985 | 0.25112 | 6.6227 | 6.6027 | -0.24087 | -5.0486 | -3.5432 | 0.23033 | 5.2878 | 3.7165 | -0.21231 | -2.3379 | -4.6986 | 0.20185 | 2.4063 | 5.0403 | 141.2458 | 29.5466 | -124.1349 | -37.9689 | -150.5329 | 55.9364 |  | 1.2367 | 0.84008 | 0.89184 | 1.2196 | 0.87722 | 0.94845 | 2.6399 | -125.605 | 108.8453 | 3.2612 | -126.0648 | 109.5331
Line_2 | 0.030797 | 0.19777 | 0.13408 | 0.030404 | 0.1973 | 0.13395 | 0.35562 | 2.2836 | 1.5482 | 0.35107 | 2.2782 | 1.5467 | -0.42886 | -1.8161 | -0.1527 | 0.42791 | 1.8479 | 0.1812 | 0.0027604 | 0.82449 | -1.4691 | -0.014492 | -0.76088 | 1.4557 | -175.9718 | 76.4796 | -153.6828 | 5.2008 | -103.6857 | 26.6284 |  | 1.206 | 0.87339 | 0.95405 | 1.2196 | 0.87722 | 0.94845 | 3.6594 | -127.938 | 110.3833 | 3.2612 | -126.0648 | 109.5331
Line_3 | 0.020989 | 0.46151 | 0.45945 | 0.020742 | 0.46179 | 0.45985 | 0.24236 | 5.3291 | 5.3052 | 0.23951 | 5.3323 | 5.3099 | 0.19565 | -3.2718 | -3.3602 | -0.19986 | 3.5254 | 3.506 | -0.22705 | -3.0558 | -3.3309 | 0.20853 | 3.0432 | 3.6568 | 51.8882 | 11.3495 | -115.9044 | -130.1241 | -168.7401 | 64.1775 |  | 1.2367 | 0.84008 | 0.89184 | 1.206 | 0.87339 | 0.95405 | 2.6399 | -125.605 | 108.8453 | 3.6594 | -127.938 | 110.3833

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58401 | 2.5045 | 2.6709 | 0.58558 | 2.5044 | 2.6705 | 6.7436 | 28.919 | 30.8406 | 6.7617 | 28.9184 | 30.836 | 0.46742 | 12.7517 | 11.7354 | -0.28966 | -6.1154 | -4.769 | 7.8178 | 2.681 | 11.4823 | -7.7576 | 0.26071 | -6.3837 | -81.0246 | -159.6562 | 36.2616 | 99.0107 | 20.3804 | -143.7717 |  | 1.1614 | 0.45058 | 0.53236 | 1.1481 | 0.21166 | 0.25841 | 5.5538 | -147.7827 | 80.6369 | 6.8724 | -162.0607 | 89.4663
Line_1 | 0.31869 | 1.9172 | 1.9798 | 0.31692 | 1.9171 | 1.9806 | 3.6799 | 22.1383 | 22.8603 | 3.6595 | 22.137 | 22.87 | 0.15437 | -6.774e-11 | -3.086e-11 | -0.32865 | 4.678 | 3.7903 | -4.3836 | -4.6562e-11 | -8.0187e-11 | 4.1886 | 0.26715 | 4.5343 | 92.4355 | 14.7242 | -140.6869 | -87.614 | -165.3292 | 39.3588 |  | 1.1919 | 0 | 0 | 1.1481 | 0.21166 | 0.25841 | 4.4524 | 0 | 0 | 6.8724 | -162.0607 | 89.4663
Line_2 | 0.27478 | 0.62686 | 0.70119 | 0.27323 | 0.62653 | 0.70122 | 3.1729 | 7.2384 | 8.0966 | 3.155 | 7.2346 | 8.097 | -0.34918 | -1.0658 | -0.35341 | 0.6183 | 1.4374 | 0.97872 | -3.4552 | 1.2637 | -2.106 | 3.569 | -0.52786 | 1.8494 | 106.7541 | 38.2441 | -152.7733 | -73.2991 | -141.8963 | 27.355 |  | 1.0945 | 0.22838 | 0.26374 | 1.1481 | 0.21166 | 0.25841 | 10.9834 | 168.3893 | 107.7006 | 6.8724 | -162.0607 | 89.4663
Line_3 | 0.085937 | 1.3652 | 1.3023 | 0.085274 | 1.3656 | 1.3031 | 0.99231 | 15.7638 | 15.0371 | 0.98466 | 15.7682 | 15.0465 | 0.95509 | -4.1365e-11 | -2.6087e-11 | -0.94643 | 3.4662 | 1.8702 | -0.69769 | -4.141e-11 | -5.0136e-11 | 0.51552 | -0.97677 | 3.5 | 40.6008 | 4.1963 | -134.2469 | -140.4396 | -175.8728 | 45.8182 |  | 1.1919 | 0 | 0 | 1.0945 | 0.22838 | 0.26374 | 4.4524 | 0 | 0 | 10.9834 | 168.3893 | 107.7006

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58401 | 2.5045 | 2.6709 | 0.58558 | 2.5044 | 2.6705 | 6.7436 | 28.919 | 30.8406 | 6.7617 | 28.9184 | 30.836 | 0.46742 | 12.7517 | 11.7354 | -0.28966 | -6.1154 | -4.769 | 7.8178 | 2.681 | 11.4823 | -7.7576 | 0.26071 | -6.3837 | -81.0246 | -159.6562 | 36.2616 | 99.0107 | 20.3804 | -143.7717 |  | 1.1614 | 0.45058 | 0.53236 | 1.1481 | 0.21166 | 0.25841 | 5.5538 | -147.7827 | 80.6369 | 6.8724 | -162.0607 | 89.4663
Line_1 | 0.31869 | 1.9172 | 1.9798 | 0.31692 | 1.9171 | 1.9806 | 3.6799 | 22.1383 | 22.8603 | 3.6595 | 22.137 | 22.87 | 0.15437 | -6.774e-11 | -3.086e-11 | -0.32865 | 4.678 | 3.7903 | -4.3836 | -4.6562e-11 | -8.0187e-11 | 4.1886 | 0.26715 | 4.5343 | 92.4355 | 14.7242 | -140.6869 | -87.614 | -165.3292 | 39.3588 |  | 1.1919 | 0 | 0 | 1.1481 | 0.21166 | 0.25841 | 4.4524 | 0 | 0 | 6.8724 | -162.0607 | 89.4663
Line_2 | 0.27478 | 0.62686 | 0.70119 | 0.27323 | 0.62653 | 0.70122 | 3.1729 | 7.2384 | 8.0966 | 3.155 | 7.2346 | 8.097 | -0.34918 | -1.0658 | -0.35341 | 0.6183 | 1.4374 | 0.97872 | -3.4552 | 1.2637 | -2.106 | 3.569 | -0.52786 | 1.8494 | 106.7541 | 38.2441 | -152.7733 | -73.2991 | -141.8963 | 27.355 |  | 1.0945 | 0.22838 | 0.26374 | 1.1481 | 0.21166 | 0.25841 | 10.9834 | 168.3893 | 107.7006 | 6.8724 | -162.0607 | 89.4663
Line_3 | 0.085937 | 1.3652 | 1.3023 | 0.085274 | 1.3656 | 1.3031 | 0.99231 | 15.7638 | 15.0371 | 0.98466 | 15.7682 | 15.0465 | 0.95509 | -4.1365e-11 | -2.6087e-11 | -0.94643 | 3.4662 | 1.8702 | -0.69769 | -4.141e-11 | -5.0136e-11 | 0.51552 | -0.97677 | 3.5 | 40.6008 | 4.1963 | -134.2469 | -140.4396 | -175.8728 | 45.8182 |  | 1.1919 | 0 | 0 | 1.0945 | 0.22838 | 0.26374 | 4.4524 | 0 | 0 | 10.9834 | 168.3893 | 107.7006

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20943 | 0.69496 | 0.73489 | 0.20999 | 0.6949 | 0.73474 | 2.4183 | 8.0247 | 8.4857 | 2.4247 | 8.024 | 8.484 | 1.1436 | 6.2657 | 4.3493 | -1.1246 | -5.7424 | -3.8195 | 2.247 | 2.2953 | 6.216 | -2.2407 | -2.0774 | -5.812 | -60.1721 | -146.5636 | 54.4979 | 119.8538 | 33.483 | -125.5448 |  | 1.0426 | 0.83154 | 0.89403 | 1.034 | 0.76104 | 0.81974 | 2.8554 | -126.4443 | 109.5175 | 3.2017 | -126.6283 | 111.1436
Line_1 | 0.11361 | 0.53926 | 0.54719 | 0.11298 | 0.53928 | 0.54751 | 1.3119 | 6.2269 | 6.3184 | 1.3046 | 6.2271 | 6.3221 | -0.48604 | -3.8372 | -2.8661 | 0.45951 | 4.2425 | 3.166 | -1.2947 | -2.1151 | -3.7093 | 1.2683 | 2.1119 | 4.103 | 113.1487 | 26.9752 | -121.2591 | -66.8824 | -153.0921 | 58.7983 |  | 1.0541 | 0.70365 | 0.7419 | 1.034 | 0.76104 | 0.81974 | 2.5716 | -124.1609 | 111.0482 | 3.2017 | -126.6283 | 111.1436
Line_2 | 0.099231 | 0.17084 | 0.19332 | 0.098678 | 0.17073 | 0.1933 | 1.1458 | 1.9726 | 2.2322 | 1.1394 | 1.9714 | 2.2321 | -0.63331 | -1.4743 | -0.59604 | 0.66511 | 1.4999 | 0.6535 | -0.96187 | 0.10469 | -1.7415 | 0.97245 | -0.03444 | 1.709 | 127.6053 | 54.8701 | -138.0955 | -52.4279 | -125.313 | 42.0694 |  | 1.0051 | 0.74928 | 0.82457 | 1.034 | 0.76104 | 0.81974 | 4.244 | -129.1917 | 113.0103 | 3.2017 | -126.6283 | 111.1436
Line_3 | 0.030382 | 0.39626 | 0.36638 | 0.030139 | 0.39646 | 0.36671 | 0.35083 | 4.5756 | 4.2306 | 0.34802 | 4.5779 | 4.2344 | 0.20488 | -2.4496 | -2.2745 | -0.20732 | 2.792 | 2.4498 | -0.30787 | -2.0895 | -2.1629 | 0.28172 | 1.9926 | 2.4879 | 58.9292 | 15.3752 | -112.5106 | -122.1057 | -164.7065 | 67.5677 |  | 1.0541 | 0.70365 | 0.7419 | 1.0051 | 0.74928 | 0.82457 | 2.5716 | -124.1609 | 111.0482 | 4.244 | -129.1917 | 113.0103

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20943 | 0.69496 | 0.73489 | 0.20999 | 0.6949 | 0.73474 | 2.4183 | 8.0247 | 8.4857 | 2.4247 | 8.024 | 8.484 | 1.1436 | 6.2657 | 4.3493 | -1.1246 | -5.7424 | -3.8195 | 2.247 | 2.2953 | 6.216 | -2.2407 | -2.0774 | -5.812 | -60.1721 | -146.5636 | 54.4979 | 119.8538 | 33.483 | -125.5448 |  | 1.0426 | 0.83154 | 0.89403 | 1.034 | 0.76104 | 0.81974 | 2.8554 | -126.4443 | 109.5175 | 3.2017 | -126.6283 | 111.1436
Line_1 | 0.11361 | 0.53926 | 0.54719 | 0.11298 | 0.53928 | 0.54751 | 1.3119 | 6.2269 | 6.3184 | 1.3046 | 6.2271 | 6.3221 | -0.48604 | -3.8372 | -2.8661 | 0.45951 | 4.2425 | 3.166 | -1.2947 | -2.1151 | -3.7093 | 1.2683 | 2.1119 | 4.103 | 113.1487 | 26.9752 | -121.2591 | -66.8824 | -153.0921 | 58.7983 |  | 1.0541 | 0.70365 | 0.7419 | 1.034 | 0.76104 | 0.81974 | 2.5716 | -124.1609 | 111.0482 | 3.2017 | -126.6283 | 111.1436
Line_2 | 0.099231 | 0.17084 | 0.19332 | 0.098678 | 0.17073 | 0.1933 | 1.1458 | 1.9726 | 2.2322 | 1.1394 | 1.9714 | 2.2321 | -0.63331 | -1.4743 | -0.59604 | 0.66511 | 1.4999 | 0.6535 | -0.96187 | 0.10469 | -1.7415 | 0.97245 | -0.03444 | 1.709 | 127.6053 | 54.8701 | -138.0955 | -52.4279 | -125.313 | 42.0694 |  | 1.0051 | 0.74928 | 0.82457 | 1.034 | 0.76104 | 0.81974 | 4.244 | -129.1917 | 113.0103 | 3.2017 | -126.6283 | 111.1436
Line_3 | 0.030382 | 0.39626 | 0.36638 | 0.030139 | 0.39646 | 0.36671 | 0.35083 | 4.5756 | 4.2306 | 0.34802 | 4.5779 | 4.2344 | 0.20488 | -2.4496 | -2.2745 | -0.20732 | 2.792 | 2.4498 | -0.30787 | -2.0895 | -2.1629 | 0.28172 | 1.9926 | 2.4879 | 58.9292 | 15.3752 | -112.5106 | -122.1057 | -164.7065 | 67.5677 |  | 1.0541 | 0.70365 | 0.7419 | 1.0051 | 0.74928 | 0.82457 | 2.5716 | -124.1609 | 111.0482 | 4.244 | -129.1917 | 113.0103