## LLL_max_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 3.6358 | 3.6358 | 0 | 0 | 125.9486 | 125.9486 | 36.0342 | -15.4122 | 41.0034 | -17.6054 | -73.0863 | 106.9137 | 0.43341 | 0.18578 | -24.3956 | -24.2861
Line_1 | 2.7277 | 2.7277 | 5.405 | 0 | 94.4895 | 94.4895 | -1e-07 | 11.6068 | -1e-07 | 13.1692 | 107.1055 | -72.8945 | 0 | 0.18578 | 0 | -24.2861
Line_2 | 0.90821 | 0.90821 | 0 | 0 | 31.4612 | 31.4612 | -2.5187 | 3.8055 | -2.9762 | 4.4362 | 106.3378 | -73.6622 | 0.12393 | 0.18578 | -23.9029 | -24.2861
Line_3 | 1.8196 | 1.8196 | 3.5617 | 0 | 63.0325 | 63.0325 | -1e-07 | 5.165 | -1e-07 | 5.8603 | 107.4886 | -72.5114 | 0 | 0.12393 | 0 | -23.9029

## LLL_max_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_max_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79728 | 0.79728 | 0 | 0 | 27.6185 | 27.6185 | 20.9759 | -19.9843 | 17.3767 | -16.2516 | -45.7967 | 134.2033 | 0.98624 | 0.93264 | -6.158 | -6.6781
Line_1 | 0.63574 | 0.63574 | 1.3036 | 0 | 22.0228 | 22.0228 | -14.7741 | 15.4046 | -12.8701 | 13.5855 | 131.9124 | -48.0876 | 0.8897 | 0.93264 | -7.0275 | -6.6781
Line_2 | 0.16402 | 0.16402 | 0 | 0 | 5.6819 | 5.6819 | -4.5378 | 4.5797 | -2.6184 | 2.6661 | 143.1163 | -36.8837 | 0.92205 | 0.93264 | -6.8973 | -6.6781
Line_3 | 0.47591 | 0.47591 | 0.9321 | 0 | 16.4861 | 16.4861 | -10.3898 | 10.7431 | -10.3535 | 10.7544 | 128.0726 | -51.9274 | 0.8897 | 0.92205 | -7.0275 | -6.8973

## LLL_min_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 2.9516 | 2.9516 | 0 | 0 | 102.2474 | 102.2474 | 45.756 | -19.6615 | 26.7104 | -11.29 | -61.5111 | 118.4889 | 0.51817 | 0.22174 | -31.2365 | -31.6459
Line_1 | 2.2078 | 2.2078 | 3.9682 | 0 | 76.4821 | 76.4821 | -1e-07 | 14.6004 | -1e-07 | 8.628 | 117.7734 | -62.2266 | 0 | 0.22174 | 0 | -31.6459
Line_2 | 0.74446 | 0.74446 | 0 | 0 | 25.7889 | 25.7889 | -3.4011 | 5.0611 | -1.681 | 2.6619 | 120.6115 | -59.3885 | 0.14711 | 0.22174 | -33.0879 | -31.6459
Line_3 | 1.4648 | 1.4648 | 2.6326 | 0 | 50.7409 | 50.7409 | -1e-07 | 6.4263 | -1e-07 | 3.7976 | 116.3313 | -63.6687 | 0 | 0.14711 | 0 | -33.0879

## LLL_min_fault_6
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LLL_min_fault_10
name | pf_ikss_from_ka | pf_ikss_to_ka | pf_ip_from_ka | pf_ip_to_ka | pf_skss_from_mw | pf_skss_to_mw | pf_p_from_mw | pf_p_to_mw | pf_q_from_mvar | pf_q_to_mvar | pf_ikss_from_degree | pf_ikss_to_degree | pf_vm_from_pu | pf_vm_to_pu | pf_va_from_degree | pf_va_to_degree
Line_0 | 0.79717 | 0.79717 | 0 | 0 | 27.6148 | 27.6148 | 18.6059 | -16.7025 | 15.5964 | -14.4716 | -47.0211 | 132.9789 | 0.87917 | 0.80029 | -7.0497 | -6.1144
Line_1 | 0.59629 | 0.59629 | 1.0717 | 0 | 20.6561 | 20.6561 | -11.2925 | 12.3575 | -10.3507 | 10.9801 | 132.2633 | -47.7367 | 0.7416 | 0.80029 | -5.2282 | -6.1144
Line_2 | 0.20106 | 0.20106 | 0 | 0 | 6.965 | 6.965 | -4.2239 | 4.345 | -3.4199 | 3.4915 | 135.1015 | -44.8985 | 0.78031 | 0.80029 | -5.9028 | -6.1144
Line_3 | 0.3956 | 0.3956 | 0.71101 | 0 | 13.704 | 13.704 | -7.3166 | 7.7854 | -7.0534 | 7.3304 | 130.8213 | -49.1787 | 0.7416 | 0.78031 | -5.2282 | -5.9028

## LL_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.36184 | 3.0849 | 3.2334 | 0.36184 | 3.0849 | 3.2334 | 4.1781 | 35.621 | 37.3363 | 4.1781 | 35.621 | 37.3363 | -3.0459 | 29.02 | -12.393 | 3.114 | -24.0714 | 17.8296 | -3.7564 | 3.1835 | 15.3596 | 3.8336 | 2.4312 | -9.1912 | 131.2748 | -159.9336 | 14.078 | -48.7252 | 20.0664 | -165.922 | 1.1575 | 0.81957 | 0.5286 | 1.1821 | 0.6792 | 0.53726 | 2.2371 | -153.6732 | 142.9765 | 2.188 | -165.7008 | 166.8068
Line_1 | 0.18371 | 2.3133 | 2.3918 | 0.18371 | 2.3133 | 2.3918 | 2.1213 | 26.7118 | 27.6179 | 2.1213 | 26.7118 | 27.6179 | 1.6145 | -15.3112 | 16.1185 | -1.597 | 18.0939 | -13.1438 | 1.9532 | 4.4866 | -3.51 | -1.9333 | -1.3293 | 6.8851 | -48.254 | 18.5008 | -165.5462 | 131.746 | -161.4992 | 14.4538 | 1.1946 | 0.5973 | 0.5973 | 1.1821 | 0.6792 | 0.53726 | 2.1688 | -177.8312 | -177.8312 | 2.188 | -165.7008 | 166.8068
Line_2 | 0.17814 | 0.77501 | 0.84184 | 0.17814 | 0.77501 | 0.84184 | 2.057 | 8.949 | 9.7207 | 2.057 | 8.949 | 9.7207 | 1.5335 | -5.6651 | 5.0543 | -1.517 | 5.9775 | -4.6858 | 1.919 | 1.4563 | -1.8879 | -1.9003 | -1.1019 | 2.306 | -49.2111 | 24.7439 | -166.9899 | 130.7889 | -155.2561 | 13.0101 | 1.1942 | 0.65363 | 0.55504 | 1.1821 | 0.6792 | 0.53726 | 2.1597 | -169.6723 | 172.5282 | 2.188 | -165.7008 | 166.8068
Line_3 | 0.006339 | 1.5452 | 1.5504 | 0.006339 | 1.5452 | 1.5504 | 0.073197 | 17.8424 | 17.902 | 0.073197 | 17.8424 | 17.902 | 0.080827 | -10.3755 | 10.4159 | -0.080806 | 11.6171 | -9.166 | 0.03336 | 2.4346 | -2.4179 | -0.033337 | -1.0259 | 3.836 | -20.2589 | 15.3742 | -164.7623 | 159.7411 | -164.6258 | 15.2377 | 1.1946 | 0.5973 | 0.5973 | 1.1942 | 0.65363 | 0.55504 | 2.1688 | -177.8312 | -177.8312 | 2.1597 | -169.6723 | 172.5282

## LL_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.26649 | 1.2614 | 1.2336 | 0.26649 | 1.2614 | 1.2336 | 3.0772 | 14.5653 | 14.2444 | 3.0772 | 14.5653 | 14.2444 | -1.7911 | 15.2178 | 0.28699 | 1.8281 | -14.3904 | 0.50433 | -3.0409 | 0.78464 | 12.1494 | 3.0828 | 0.15412 | -11.2516 | 121.7957 | -136.1541 | 31.6491 | -58.2043 | 43.8459 | -148.3509 | 1.1469 | 1.0462 | 0.85317 | 1.1647 | 0.98805 | 0.79069 | 1.2969 | -133.2025 | 120.296 | 1.1282 | -136.7676 | 124.2156
Line_1 | 0.13441 | 0.95605 | 0.94778 | 0.13441 | 0.95605 | 0.94778 | 1.552 | 11.0395 | 10.944 | 1.552 | 11.0395 | 10.944 | 0.95258 | -10.4164 | 0.79274 | -0.94319 | 10.8917 | -0.32563 | 1.5527 | -0.049073 | -8.1172 | -1.542 | 0.58835 | 8.6472 | -57.42 | 40.1404 | -147.941 | 122.58 | -139.8596 | 32.059 | 1.1737 | 0.94357 | 0.74523 | 1.1647 | 0.98805 | 0.79069 | 1.051 | -139.5897 | 127.6369 | 1.1282 | -136.7676 | 124.2156
Line_2 | 0.13211 | 0.31349 | 0.28593 | 0.13211 | 0.31349 | 0.28593 | 1.5255 | 3.6199 | 3.3016 | 1.5255 | 3.6199 | 3.3016 | 0.89397 | -3.4476 | 0.22121 | -0.88489 | 3.4987 | -0.1787 | 1.5511 | 0.80045 | -2.5562 | -1.5408 | -0.74246 | 2.6044 | -59.0022 | 55.2134 | -149.7095 | 120.9978 | -124.7866 | 30.2905 | 1.1735 | 0.97774 | 0.77712 | 1.1647 | 0.98805 | 0.79069 | 1.0404 | -137.8576 | 125.2365 | 1.1282 | -136.7676 | 124.2156
Line_3 | 0.0043354 | 0.65841 | 0.66204 | 0.0043354 | 0.65841 | 0.66204 | 0.050061 | 7.6027 | 7.6446 | 0.050061 | 7.6027 | 7.6446 | 0.058746 | -7.1142 | 0.47813 | -0.058736 | 7.3396 | -0.25021 | 0.0012086 | -0.92175 | -5.6769 | -0.0011976 | 1.1775 | 5.9355 | -0.1276 | 33.0278 | -147.1774 | 179.8724 | -146.9722 | 32.8226 | 1.1737 | 0.94357 | 0.74523 | 1.1735 | 0.97774 | 0.77712 | 1.051 | -139.5897 | 127.6369 | 1.0404 | -137.8576 | 125.2365

## LL_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.1573 | 2.5018 | 2.6288 | 0.1573 | 2.5018 | 2.6288 | 1.8163 | 28.8882 | 30.3543 | 1.8163 | 28.8882 | 30.3543 | -1.8033 | 24.2039 | -2.0881 | 1.828 | -17.955 | 8.9874 | -0.29968 | -0.52181 | 13.6286 | 0.31428 | 4.2146 | -9.5515 | 172.4103 | -150.363 | 27.5625 | -7.5897 | 29.637 | -152.4375 | 1.0064 | 0.83804 | 0.45422 | 1.0212 | 0.63843 | 0.43207 | 1.8461 | -151.598 | 126.2732 | 2.1658 | -163.5729 | 160.8196
Line_1 | 0.080807 | 1.868 | 1.9334 | 0.080807 | 1.868 | 1.9334 | 0.93307 | 21.5701 | 22.3245 | 0.93307 | 21.5701 | 22.3245 | 0.9414 | -10.0168 | 10.4875 | -0.93488 | 13.5007 | -6.7556 | 0.18797 | 4.7735 | -4.6795 | -0.18412 | -2.7146 | 6.8848 | -8.9755 | 27.7962 | -153.6375 | 171.0245 | -152.2038 | 26.3625 | 1.0288 | 0.51442 | 0.51442 | 1.0212 | 0.63843 | 0.43207 | 2.3162 | -177.6838 | -177.6838 | 2.1658 | -163.5729 | 160.8196
Line_2 | 0.07654 | 0.63756 | 0.697 | 0.07654 | 0.63756 | 0.697 | 0.88381 | 7.3619 | 8.0483 | 0.88381 | 7.3619 | 8.0483 | 0.89894 | -4.0484 | 2.7169 | -0.89309 | 4.4543 | -2.2318 | 0.13362 | 1.7398 | -2.3801 | -0.13017 | -1.4999 | 2.6667 | -6.1266 | 35.0378 | -149.1073 | 173.8734 | -144.9622 | 30.8927 | 1.0283 | 0.59855 | 0.44878 | 1.0212 | 0.63843 | 0.43207 | 2.3283 | -168.2174 | 169.6733 | 2.1658 | -163.5729 | 160.8196
Line_3 | 0.0057872 | 1.2382 | 1.2398 | 0.0057872 | 1.2382 | 1.2398 | 0.066825 | 14.2971 | 14.3155 | 0.066825 | 14.2971 | 14.3155 | 0.041958 | -6.8307 | 6.8517 | -0.041925 | 8.3613 | -5.3171 | 0.054463 | 2.7263 | -2.6991 | -0.054444 | -1.8218 | 3.6059 | -50.0733 | 24.0746 | -156.1827 | 129.9267 | -155.9254 | 23.8173 | 1.0288 | 0.51442 | 0.51442 | 1.0283 | 0.59855 | 0.44878 | 2.3162 | -177.6838 | -177.6838 | 2.3283 | -168.2174 | 169.6733

## LL_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LL_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.068597 | 1.091 | 1.1464 | 0.068597 | 1.091 | 1.1464 | 0.79209 | 12.5981 | 13.2375 | 0.79209 | 12.5981 | 13.2375 | -0.78949 | 11.8666 | 2.206 | 0.79419 | -10.6782 | -0.89388 | 0.059138 | 0.94684 | 9.8501 | -0.056362 | -0.24454 | -9.0747 | -174.893 | -137.6663 | 40.2592 | 5.107 | 42.3337 | -139.7408 | 0.99951 | 0.94493 | 0.76254 | 1.0052 | 0.84783 | 0.68885 | 0.82315 | -133.1043 | 117.6357 | 1.0476 | -136.3544 | 124.6336
Line_1 | 0.03524 | 0.81464 | 0.84313 | 0.03524 | 0.81464 | 0.84313 | 0.40691 | 9.4067 | 9.7357 | 0.40691 | 9.4067 | 9.7357 | 0.40981 | -7.3006 | 0.19224 | -0.40857 | 7.9632 | 0.5175 | -0.018346 | -0.047078 | -6.267 | 0.019079 | 0.43863 | 6.6864 | 3.7212 | 40.4929 | -140.9408 | -176.2788 | -139.5071 | 39.0592 | 1.0081 | 0.77612 | 0.64402 | 1.0052 | 0.84783 | 0.68885 | 1.1579 | -139.1377 | 130.8161 | 1.0476 | -136.3544 | 124.6336
Line_2 | 0.033379 | 0.27804 | 0.30396 | 0.033379 | 0.27804 | 0.30396 | 0.38543 | 3.2105 | 3.5098 | 0.38543 | 3.2105 | 3.5098 | 0.38673 | -2.6378 | -0.28414 | -0.38562 | 2.715 | 0.37638 | -0.036626 | 0.23969 | -2.3338 | 0.037283 | -0.19408 | 2.3883 | 6.5701 | 47.7344 | -136.4106 | -173.4299 | -132.2656 | 43.5894 | 1.0079 | 0.82502 | 0.66983 | 1.0052 | 0.84783 | 0.68885 | 1.1599 | -137.4576 | 126.6478 | 1.0476 | -136.3544 | 124.6336
Line_3 | 0.0025238 | 0.53996 | 0.54066 | 0.0025238 | 0.53996 | 0.54066 | 0.029142 | 6.2349 | 6.243 | 0.029142 | 6.2349 | 6.243 | 0.022981 | -4.8268 | 0.30161 | -0.022975 | 5.1178 | -0.0097645 | 0.018303 | -0.34522 | -4.0093 | -0.018299 | 0.51724 | 4.1817 | -37.3766 | 36.7713 | -143.486 | 142.6234 | -143.2287 | 36.514 | 1.0081 | 0.77612 | 0.64402 | 1.0079 | 0.82502 | 0.66983 | 1.1579 | -139.1377 | 130.8161 | 1.1599 | -137.4576 | 126.6478

## LG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8933 | 0.92698 | 0.77109 | 1.8908 | 0.92936 | 0.77346 | 21.8617 | 10.7038 | 8.9038 | 21.833 | 10.7313 | 8.9311 | 5.546 | -12.2129 | 10.8784 | -3.1512 | 12.4606 | -10.8259 | 4.7122 | 8.2249 | 2.4737 | -2.4234 | -7.8992 | -2.1382 | -76.9179 | 87.0911 | 121.4651 | 103.0808 | -92.8642 | -58.59 |  | 0.33289 | 1.3756 | 1.253 | 0.18208 | 1.3748 | 1.2356 | -36.5652 | -126.8674 | 134.2759 | -39.3582 | -125.2362 | 132.5825
Line_1 | 1.6359 | 0.48944 | 0.39182 | 1.6385 | 0.48689 | 0.38933 | 18.89 | 5.6516 | 4.5243 | 18.9202 | 5.6221 | 4.4956 | 8.366e-11 | 6.5488 | -5.6447 | 2.7434 | -6.7259 | 5.3518 | -5.9102e-11 | -3.9691 | -1.4595 | 2.0836 | 3.8084 | 1.4875 | 103.4344 | -95.6433 | -63.0751 | -76.5742 | 84.2834 | 117.05 |  | 0 | 1.355 | 1.2887 | 0.18208 | 1.3748 | 1.2356 | 0 | -126.8624 | 131.4216 | -39.3582 | -125.2362 | 132.5825
Line_2 | 0.25004 | 0.44609 | 0.38868 | 0.25248 | 0.44373 | 0.38639 | 2.8872 | 5.151 | 4.4881 | 2.9153 | 5.1238 | 4.4616 | -0.50724 | 6.0818 | -5.1947 | 0.40782 | -5.7347 | 5.4741 | -0.36093 | -3.8525 | -0.58046 | 0.33978 | 4.0908 | 0.65074 | 100.7949 | -89.651 | -54.321 | -79.1584 | 90.2658 | 125.8032 |  | 0.21562 | 1.3976 | 1.1646 | 0.18208 | 1.3748 | 1.2356 | -43.7707 | -122.0029 | 132.0548 | -39.3582 | -125.2362 | 132.5825
Line_3 | 1.385 | 0.065723 | 0.059975 | 1.3876 | 0.064531 | 0.058967 | 15.9927 | 0.7589 | 0.69253 | 16.0221 | 0.74514 | 0.68089 | 7.0414e-11 | 1.0007 | 0.09355 | 2.9192 | -0.97782 | -0.12273 | -5.0618e-11 | 0.23639 | -0.88752 | 1.8475 | -0.35842 | 0.78344 | 103.906 | -140.153 | -144.5955 | -76.0994 | 37.8667 | 33.1511 |  | 0 | 1.355 | 1.2887 | 0.21562 | 1.3976 | 1.1646 | 0 | -126.8624 | 131.4216 | -43.7707 | -122.0029 | 132.0548

## LG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.8933 | 0.92698 | 0.77109 | 1.8908 | 0.92936 | 0.77346 | 21.8617 | 10.7038 | 8.9038 | 21.833 | 10.7313 | 8.9311 | 5.546 | -12.2129 | 10.8784 | -3.1512 | 12.4606 | -10.8259 | 4.7122 | 8.2249 | 2.4737 | -2.4234 | -7.8992 | -2.1382 | -76.9179 | 87.0911 | 121.4651 | 103.0808 | -92.8642 | -58.59 |  | 0.33289 | 1.3756 | 1.253 | 0.18208 | 1.3748 | 1.2356 | -36.5652 | -126.8674 | 134.2759 | -39.3582 | -125.2362 | 132.5825
Line_1 | 1.6359 | 0.48944 | 0.39182 | 1.6385 | 0.48689 | 0.38933 | 18.89 | 5.6516 | 4.5243 | 18.9202 | 5.6221 | 4.4956 | 8.366e-11 | 6.5488 | -5.6447 | 2.7434 | -6.7259 | 5.3518 | -5.9102e-11 | -3.9691 | -1.4595 | 2.0836 | 3.8084 | 1.4875 | 103.4344 | -95.6433 | -63.0751 | -76.5742 | 84.2834 | 117.05 |  | 0 | 1.355 | 1.2887 | 0.18208 | 1.3748 | 1.2356 | 0 | -126.8624 | 131.4216 | -39.3582 | -125.2362 | 132.5825
Line_2 | 0.25004 | 0.44609 | 0.38868 | 0.25248 | 0.44373 | 0.38639 | 2.8872 | 5.151 | 4.4881 | 2.9153 | 5.1238 | 4.4616 | -0.50724 | 6.0818 | -5.1947 | 0.40782 | -5.7347 | 5.4741 | -0.36093 | -3.8525 | -0.58046 | 0.33978 | 4.0908 | 0.65074 | 100.7949 | -89.651 | -54.321 | -79.1584 | 90.2658 | 125.8032 |  | 0.21562 | 1.3976 | 1.1646 | 0.18208 | 1.3748 | 1.2356 | -43.7707 | -122.0029 | 132.0548 | -39.3582 | -125.2362 | 132.5825
Line_3 | 1.385 | 0.065723 | 0.059975 | 1.3876 | 0.064531 | 0.058967 | 15.9927 | 0.7589 | 0.69253 | 16.0221 | 0.74514 | 0.68089 | 7.0414e-11 | 1.0007 | 0.09355 | 2.9192 | -0.97782 | -0.12273 | -5.0618e-11 | 0.23639 | -0.88752 | 1.8475 | -0.35842 | 0.78344 | 103.906 | -140.153 | -144.5955 | -76.0994 | 37.8667 | 33.1511 |  | 0 | 1.355 | 1.2887 | 0.21562 | 1.3976 | 1.1646 | 0 | -126.8624 | 131.4216 | -43.7707 | -122.0029 | 132.0548

## LG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46566 | 0.21148 | 0.34648 | 0.46488 | 0.21197 | 0.34703 | 5.377 | 2.442 | 4.0008 | 5.368 | 2.4476 | 4.0072 | 4.2369 | -2.8978 | 3.0481 | -4.0748 | 2.9184 | -3.0246 | 2.6593 | 0.82449 | -3.36 | -2.5208 | -0.82713 | 3.4469 | -42.1929 | 75.2891 | 173.1871 | 137.8246 | -104.5412 | -6.9067 |  | 0.93032 | 1.2338 | 1.1339 | 0.89261 | 1.2393 | 1.1444 | -10.0782 | -120.5931 | 125.4007 | -10.4336 | -120.3651 | 124.3596
Line_1 | 0.45081 | 0.11765 | 0.16954 | 0.45163 | 0.11708 | 0.16899 | 5.2055 | 1.3585 | 1.9577 | 5.215 | 1.3519 | 1.9513 | -3.4873 | 1.6244 | -1.5893 | 3.7213 | -1.6213 | 1.5493 | -2.638 | -0.45622 | 1.6431 | 2.7965 | 0.42219 | -1.6082 | 132.663 | -105.4683 | -9.7856 | -47.3575 | 74.2308 | 170.4283 |  | 0.84002 | 1.242 | 1.1677 | 0.89261 | 1.2393 | 1.1444 | -10.2303 | -121.1561 | 124.2608 | -10.4336 | -120.3651 | 124.3596
Line_2 | 0.043345 | 0.095436 | 0.17894 | 0.043496 | 0.094955 | 0.1784 | 0.50051 | 1.102 | 2.0662 | 0.50225 | 1.0964 | 2.06 | -0.35053 | 1.3116 | -1.4385 | 0.35352 | -1.2971 | 1.4753 | 0.28919 | -0.39282 | 1.843 | -0.27569 | 0.40494 | -1.8387 | -151.4721 | -102.6564 | -4.5638 | 27.5158 | 76.973 | 175.6177 |  | 0.90793 | 1.2424 | 1.1315 | 0.89261 | 1.2393 | 1.1444 | -10.9955 | -119.3289 | 123.4099 | -10.4336 | -120.3651 | 124.3596
Line_3 | 0.44184 | 0.022946 | 0.018509 | 0.44266 | 0.022561 | 0.018261 | 5.102 | 0.26496 | 0.21373 | 5.1114 | 0.26051 | 0.21087 | -3.1565 | 0.32795 | -0.081808 | 3.4593 | -0.32361 | 0.07202 | -2.899 | -0.027174 | -0.23578 | 3.0936 | 0.0062262 | 0.22747 | 127.2043 | -116.4195 | -126.6037 | -52.8007 | 61.7733 | 50.9787 |  | 0.84002 | 1.242 | 1.1677 | 0.90793 | 1.2424 | 1.1315 | -10.2303 | -121.1561 | 124.2608 | -10.9955 | -119.3289 | 123.4099

## LG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.46566 | 0.21148 | 0.34648 | 0.46488 | 0.21197 | 0.34703 | 5.377 | 2.442 | 4.0008 | 5.368 | 2.4476 | 4.0072 | 4.2369 | -2.8978 | 3.0481 | -4.0748 | 2.9184 | -3.0246 | 2.6593 | 0.82449 | -3.36 | -2.5208 | -0.82713 | 3.4469 | -42.1929 | 75.2891 | 173.1871 | 137.8246 | -104.5412 | -6.9067 |  | 0.93032 | 1.2338 | 1.1339 | 0.89261 | 1.2393 | 1.1444 | -10.0782 | -120.5931 | 125.4007 | -10.4336 | -120.3651 | 124.3596
Line_1 | 0.45081 | 0.11765 | 0.16954 | 0.45163 | 0.11708 | 0.16899 | 5.2055 | 1.3585 | 1.9577 | 5.215 | 1.3519 | 1.9513 | -3.4873 | 1.6244 | -1.5893 | 3.7213 | -1.6213 | 1.5493 | -2.638 | -0.45622 | 1.6431 | 2.7965 | 0.42219 | -1.6082 | 132.663 | -105.4683 | -9.7856 | -47.3575 | 74.2308 | 170.4283 |  | 0.84002 | 1.242 | 1.1677 | 0.89261 | 1.2393 | 1.1444 | -10.2303 | -121.1561 | 124.2608 | -10.4336 | -120.3651 | 124.3596
Line_2 | 0.043345 | 0.095436 | 0.17894 | 0.043496 | 0.094955 | 0.1784 | 0.50051 | 1.102 | 2.0662 | 0.50225 | 1.0964 | 2.06 | -0.35053 | 1.3116 | -1.4385 | 0.35352 | -1.2971 | 1.4753 | 0.28919 | -0.39282 | 1.843 | -0.27569 | 0.40494 | -1.8387 | -151.4721 | -102.6564 | -4.5638 | 27.5158 | 76.973 | 175.6177 |  | 0.90793 | 1.2424 | 1.1315 | 0.89261 | 1.2393 | 1.1444 | -10.9955 | -119.3289 | 123.4099 | -10.4336 | -120.3651 | 124.3596
Line_3 | 0.44184 | 0.022946 | 0.018509 | 0.44266 | 0.022561 | 0.018261 | 5.102 | 0.26496 | 0.21373 | 5.1114 | 0.26051 | 0.21087 | -3.1565 | 0.32795 | -0.081808 | 3.4593 | -0.32361 | 0.07202 | -2.899 | -0.027174 | -0.23578 | 3.0936 | 0.0062262 | 0.22747 | 127.2043 | -116.4195 | -126.6037 | -52.8007 | 61.7733 | 50.9787 |  | 0.84002 | 1.242 | 1.1677 | 0.90793 | 1.2424 | 1.1315 | -10.2303 | -121.1561 | 124.2608 | -10.9955 | -119.3289 | 123.4099

## LG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6883 | 0.80345 | 0.68296 | 1.6864 | 0.80533 | 0.68483 | 19.4943 | 9.2775 | 7.8861 | 19.4726 | 9.2991 | 7.9078 | 8.0264 | -6.2968 | 7.8549 | -4.49 | 6.6337 | -7.69 | 3.8545 | 8.9595 | 2.0471 | -2.0401 | -8.6814 | -1.815 | -65.7013 | 110.8204 | 117.6085 | 114.2993 | -69.1727 | -62.402 |  | 0.45675 | 1.1804 | 1.0293 | 0.25326 | 1.1749 | 0.99917 | -40.0498 | -124.0799 | 132.216 | -41.2648 | -121.7884 | 130.8779
Line_1 | 1.4092 | 0.42738 | 0.36148 | 1.4112 | 0.42532 | 0.35943 | 16.2716 | 4.935 | 4.174 | 16.2949 | 4.9111 | 4.1504 | -4.0209e-11 | 3.6873 | -4.2139 | 3.7548 | -3.9856 | 3.8809 | -4.0841e-14 | -4.3355 | -1.5652 | 1.7125 | 4.1725 | 1.4615 | 114.2351 | -75.4863 | -69.8032 | -65.7822 | 104.5242 | 110.2418 |  | 0 | 1.1533 | 1.077 | 0.25326 | 1.1749 | 0.99917 | 0 | -125.1054 | 130.5742 | -41.2648 | -121.7884 | 130.8779
Line_2 | 0.27339 | 0.38724 | 0.33337 | 0.2752 | 0.38542 | 0.33157 | 3.1568 | 4.4715 | 3.8494 | 3.1778 | 4.4505 | 3.8286 | -0.89208 | 3.1512 | -3.4167 | 0.73514 | -2.6481 | 3.8091 | -0.36262 | -4.3449 | -0.24991 | 0.32758 | 4.5089 | 0.35346 | 114.7 | -62.2165 | -54.4688 | -65.283 | 117.7859 | 125.5763 |  | 0.30505 | 1.2003 | 0.88996 | 0.25326 | 1.1749 | 0.99917 | -43.1788 | -116.2647 | 129.7147 | -41.2648 | -121.7884 | 130.8779
Line_3 | 1.1349 | 0.10237 | 0.09696 | 1.1369 | 0.10151 | 0.096089 | 13.1049 | 1.1821 | 1.1196 | 13.1272 | 1.1722 | 1.1095 | -3.2383e-11 | 1.3413 | -0.095129 | 3.6938 | -1.3211 | 0.074955 | -1.006e-13 | 0.24387 | -1.202 | 1.5464 | -0.48414 | 0.98459 | 114.1153 | -135.4103 | -134.9007 | -65.8952 | 43.6092 | 44.0681 |  | 0 | 1.1533 | 1.077 | 0.30505 | 1.2003 | 0.88996 | 0 | -125.1054 | 130.5742 | -43.1788 | -116.2647 | 129.7147

## LG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 1.6883 | 0.80345 | 0.68296 | 1.6864 | 0.80533 | 0.68483 | 19.4943 | 9.2775 | 7.8861 | 19.4726 | 9.2991 | 7.9078 | 8.0264 | -6.2968 | 7.8549 | -4.49 | 6.6337 | -7.69 | 3.8545 | 8.9595 | 2.0471 | -2.0401 | -8.6814 | -1.815 | -65.7013 | 110.8204 | 117.6085 | 114.2993 | -69.1727 | -62.402 |  | 0.45675 | 1.1804 | 1.0293 | 0.25326 | 1.1749 | 0.99917 | -40.0498 | -124.0799 | 132.216 | -41.2648 | -121.7884 | 130.8779
Line_1 | 1.4092 | 0.42738 | 0.36148 | 1.4112 | 0.42532 | 0.35943 | 16.2716 | 4.935 | 4.174 | 16.2949 | 4.9111 | 4.1504 | -4.0209e-11 | 3.6873 | -4.2139 | 3.7548 | -3.9856 | 3.8809 | -4.0841e-14 | -4.3355 | -1.5652 | 1.7125 | 4.1725 | 1.4615 | 114.2351 | -75.4863 | -69.8032 | -65.7822 | 104.5242 | 110.2418 |  | 0 | 1.1533 | 1.077 | 0.25326 | 1.1749 | 0.99917 | 0 | -125.1054 | 130.5742 | -41.2648 | -121.7884 | 130.8779
Line_2 | 0.27339 | 0.38724 | 0.33337 | 0.2752 | 0.38542 | 0.33157 | 3.1568 | 4.4715 | 3.8494 | 3.1778 | 4.4505 | 3.8286 | -0.89208 | 3.1512 | -3.4167 | 0.73514 | -2.6481 | 3.8091 | -0.36262 | -4.3449 | -0.24991 | 0.32758 | 4.5089 | 0.35346 | 114.7 | -62.2165 | -54.4688 | -65.283 | 117.7859 | 125.5763 |  | 0.30505 | 1.2003 | 0.88996 | 0.25326 | 1.1749 | 0.99917 | -43.1788 | -116.2647 | 129.7147 | -41.2648 | -121.7884 | 130.8779
Line_3 | 1.1349 | 0.10237 | 0.09696 | 1.1369 | 0.10151 | 0.096089 | 13.1049 | 1.1821 | 1.1196 | 13.1272 | 1.1722 | 1.1095 | -3.2383e-11 | 1.3413 | -0.095129 | 3.6938 | -1.3211 | 0.074955 | -1.006e-13 | 0.24387 | -1.202 | 1.5464 | -0.48414 | 0.98459 | 114.1153 | -135.4103 | -134.9007 | -65.8952 | 43.6092 | 44.0681 |  | 0 | 1.1533 | 1.077 | 0.30505 | 1.2003 | 0.88996 | 0 | -125.1054 | 130.5742 | -43.1788 | -116.2647 | 129.7147

## LG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54132 | 0.25762 | 0.21898 | 0.54072 | 0.25822 | 0.21958 | 6.2507 | 2.9747 | 2.5286 | 6.2437 | 2.9817 | 2.5355 | 4.2323 | -1.1044 | 2.4291 | -3.8649 | 1.1399 | -2.4167 | 3.1699 | 2.9614 | -0.51697 | -2.9803 | -2.9376 | 0.54254 | -47.3892 | 129.1324 | 135.9206 | 132.6113 | -50.8606 | -44.0899 |  | 0.84595 | 1.0625 | 0.98217 | 0.78167 | 1.0568 | 0.97687 | -10.5565 | -120.4149 | 123.9059 | -9.7526 | -119.6529 | 123.2573
Line_1 | 0.45183 | 0.13704 | 0.1159 | 0.45248 | 0.13637 | 0.11525 | 5.2173 | 1.5823 | 1.3383 | 5.2248 | 1.5747 | 1.3308 | -2.8412 | 0.73995 | -1.334 | 3.2307 | -0.76869 | 1.2944 | -2.3183 | -1.4977 | 0.11017 | 2.4985 | 1.476 | -0.12 | 132.5471 | -57.1742 | -51.4911 | -47.4701 | 122.8363 | 128.5538 |  | 0.70285 | 1.0557 | 1.0001 | 0.78167 | 1.0568 | 0.97687 | -8.2408 | -120.8824 | 123.7877 | -9.7526 | -119.6529 | 123.2573
Line_2 | 0.087659 | 0.12417 | 0.10689 | 0.088242 | 0.12358 | 0.10631 | 1.0122 | 1.4337 | 1.2343 | 1.0189 | 1.427 | 1.2276 | -0.64657 | 0.42342 | -1.0863 | 0.63425 | -0.37119 | 1.1223 | -0.48255 | -1.4495 | 0.4351 | 0.48175 | 1.4616 | -0.42254 | 133.012 | -43.9044 | -36.1567 | -46.9709 | 136.098 | 143.8884 |  | 0.79707 | 1.0532 | 0.94808 | 0.78167 | 1.0568 | 0.97687 | -10.2529 | -117.6204 | 122.0154 | -9.7526 | -119.6529 | 123.2573
Line_3 | 0.3639 | 0.032824 | 0.031089 | 0.36452 | 0.03255 | 0.03081 | 4.202 | 0.37902 | 0.35899 | 4.2091 | 0.37585 | 0.35576 | -2.2844 | 0.39927 | -0.17747 | 2.6677 | -0.39585 | 0.1705 | -1.8719 | -0.026409 | -0.31211 | 2.0345 | -0.0031666 | 0.29102 | 132.4273 | -117.0982 | -116.5887 | -47.5832 | 61.9212 | 62.3801 |  | 0.70285 | 1.0557 | 1.0001 | 0.79707 | 1.0532 | 0.94808 | -8.2408 | -120.8824 | 123.7877 | -10.2529 | -117.6204 | 122.0154

## LG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.54132 | 0.25762 | 0.21898 | 0.54072 | 0.25822 | 0.21958 | 6.2507 | 2.9747 | 2.5286 | 6.2437 | 2.9817 | 2.5355 | 4.2323 | -1.1044 | 2.4291 | -3.8649 | 1.1399 | -2.4167 | 3.1699 | 2.9614 | -0.51697 | -2.9803 | -2.9376 | 0.54254 | -47.3892 | 129.1324 | 135.9206 | 132.6113 | -50.8606 | -44.0899 |  | 0.84595 | 1.0625 | 0.98217 | 0.78167 | 1.0568 | 0.97687 | -10.5565 | -120.4149 | 123.9059 | -9.7526 | -119.6529 | 123.2573
Line_1 | 0.45183 | 0.13704 | 0.1159 | 0.45248 | 0.13637 | 0.11525 | 5.2173 | 1.5823 | 1.3383 | 5.2248 | 1.5747 | 1.3308 | -2.8412 | 0.73995 | -1.334 | 3.2307 | -0.76869 | 1.2944 | -2.3183 | -1.4977 | 0.11017 | 2.4985 | 1.476 | -0.12 | 132.5471 | -57.1742 | -51.4911 | -47.4701 | 122.8363 | 128.5538 |  | 0.70285 | 1.0557 | 1.0001 | 0.78167 | 1.0568 | 0.97687 | -8.2408 | -120.8824 | 123.7877 | -9.7526 | -119.6529 | 123.2573
Line_2 | 0.087659 | 0.12417 | 0.10689 | 0.088242 | 0.12358 | 0.10631 | 1.0122 | 1.4337 | 1.2343 | 1.0189 | 1.427 | 1.2276 | -0.64657 | 0.42342 | -1.0863 | 0.63425 | -0.37119 | 1.1223 | -0.48255 | -1.4495 | 0.4351 | 0.48175 | 1.4616 | -0.42254 | 133.012 | -43.9044 | -36.1567 | -46.9709 | 136.098 | 143.8884 |  | 0.79707 | 1.0532 | 0.94808 | 0.78167 | 1.0568 | 0.97687 | -10.2529 | -117.6204 | 122.0154 | -9.7526 | -119.6529 | 123.2573
Line_3 | 0.3639 | 0.032824 | 0.031089 | 0.36452 | 0.03255 | 0.03081 | 4.202 | 0.37902 | 0.35899 | 4.2091 | 0.37585 | 0.35576 | -2.2844 | 0.39927 | -0.17747 | 2.6677 | -0.39585 | 0.1705 | -1.8719 | -0.026409 | -0.31211 | 2.0345 | -0.0031666 | 0.29102 | 132.4273 | -117.0982 | -116.5887 | -47.5832 | 61.9212 | 62.3801 |  | 0.70285 | 1.0557 | 1.0001 | 0.79707 | 1.0532 | 0.94808 | -8.2408 | -120.8824 | 123.7877 | -10.2529 | -117.6204 | 122.0154

## LLG_max_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49904 | 3.0658 | 3.2778 | 0.50099 | 3.0657 | 3.2775 | 5.7624 | 35.4005 | 37.8489 | 5.7849 | 35.3992 | 37.8451 | -1.771 | 10.1397 | 8.8387 | 1.7994 | -4.9918 | -3.3578 | 7.8409 | 6.6337 | 14.5617 | -7.8034 | -1.7929 | -7.4248 | -97.5545 | -169.3987 | 22.9548 | 82.5328 | 10.6403 | -157.0813 |  | 1.395 | 0.34228 | 0.45006 | 1.3843 | 0.14983 | 0.21532 | 5.1729 | -136.2046 | 81.6978 | 5.5174 | -149.6027 | 88.5841
Line_1 | 0.27064 | 2.3433 | 2.4515 | 0.26855 | 2.3434 | 2.4522 | 3.125 | 27.0586 | 28.3074 | 3.101 | 27.0597 | 28.3159 | 1.191 | 6.2999e-11 | 8.5727e-11 | -1.2947 | 3.6737 | 2.9287 | -4.2278 | -5.5151e-11 | -5.6037e-12 | 4.0929 | 1.7155 | 5.3475 | 78.1227 | 5.4194 | -152.756 | -102.0368 | -174.6347 | 27.2927 |  | 1.4056 | 0 | 0 | 1.3843 | 0.14983 | 0.21532 | 3.856 | 0 | 0 | 5.5174 | -149.6027 | 88.5841
Line_2 | 0.23623 | 0.7636 | 0.85333 | 0.23426 | 0.76319 | 0.85315 | 2.7277 | 8.8173 | 9.8534 | 2.7051 | 8.8125 | 9.8513 | 0.62296 | -1.0662 | 0.13298 | -0.50462 | 1.3182 | 0.42912 | -3.6389 | 0.65029 | -2.0388 | 3.7105 | 0.077379 | 2.0773 | 87.9244 | 27.189 | -169.8819 | -92.2271 | -152.9623 | 10.2557 |  | 1.3535 | 0.14164 | 0.20735 | 1.3843 | 0.14983 | 0.21532 | 7.6389 | 175.8104 | 103.8498 | 5.5174 | -149.6027 | 88.5841
Line_3 | 0.055458 | 1.6582 | 1.6549 | 0.054704 | 1.6587 | 1.6558 | 0.64037 | 19.1468 | 19.109 | 0.63167 | 19.1533 | 19.1195 | 0.79065 | 5.057e-11 | 5.6633e-11 | -0.78884 | 2.7129 | 1.4954 | -0.43013 | -3.0869e-11 | -1.2492e-11 | 0.3296 | 0.012417 | 3.6716 | 32.4035 | -4.3803 | -144.057 | -149.6844 | 175.5482 | 36.0101 |  | 1.4056 | 0 | 0 | 1.3535 | 0.14164 | 0.20735 | 3.856 | 0 | 0 | 7.6389 | 175.8104 | 103.8498

## LLG_max_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.49904 | 3.0658 | 3.2778 | 0.50099 | 3.0657 | 3.2775 | 5.7624 | 35.4005 | 37.8489 | 5.7849 | 35.3992 | 37.8451 | -1.771 | 10.1397 | 8.8387 | 1.7994 | -4.9918 | -3.3578 | 7.8409 | 6.6337 | 14.5617 | -7.8034 | -1.7929 | -7.4248 | -97.5545 | -169.3987 | 22.9548 | 82.5328 | 10.6403 | -157.0813 |  | 1.395 | 0.34228 | 0.45006 | 1.3843 | 0.14983 | 0.21532 | 5.1729 | -136.2046 | 81.6978 | 5.5174 | -149.6027 | 88.5841
Line_1 | 0.27064 | 2.3433 | 2.4515 | 0.26855 | 2.3434 | 2.4522 | 3.125 | 27.0586 | 28.3074 | 3.101 | 27.0597 | 28.3159 | 1.191 | 6.2999e-11 | 8.5727e-11 | -1.2947 | 3.6737 | 2.9287 | -4.2278 | -5.5151e-11 | -5.6037e-12 | 4.0929 | 1.7155 | 5.3475 | 78.1227 | 5.4194 | -152.756 | -102.0368 | -174.6347 | 27.2927 |  | 1.4056 | 0 | 0 | 1.3843 | 0.14983 | 0.21532 | 3.856 | 0 | 0 | 5.5174 | -149.6027 | 88.5841
Line_2 | 0.23623 | 0.7636 | 0.85333 | 0.23426 | 0.76319 | 0.85315 | 2.7277 | 8.8173 | 9.8534 | 2.7051 | 8.8125 | 9.8513 | 0.62296 | -1.0662 | 0.13298 | -0.50462 | 1.3182 | 0.42912 | -3.6389 | 0.65029 | -2.0388 | 3.7105 | 0.077379 | 2.0773 | 87.9244 | 27.189 | -169.8819 | -92.2271 | -152.9623 | 10.2557 |  | 1.3535 | 0.14164 | 0.20735 | 1.3843 | 0.14983 | 0.21532 | 7.6389 | 175.8104 | 103.8498 | 5.5174 | -149.6027 | 88.5841
Line_3 | 0.055458 | 1.6582 | 1.6549 | 0.054704 | 1.6587 | 1.6558 | 0.64037 | 19.1468 | 19.109 | 0.63167 | 19.1533 | 19.1195 | 0.79065 | 5.057e-11 | 5.6633e-11 | -0.78884 | 2.7129 | 1.4954 | -0.43013 | -3.0869e-11 | -1.2492e-11 | 0.3296 | 0.012417 | 3.6716 | 32.4035 | -4.3803 | -144.057 | -149.6844 | 175.5482 | 36.0101 |  | 1.4056 | 0 | 0 | 1.3535 | 0.14164 | 0.20735 | 3.856 | 0 | 0 | 7.6389 | 175.8104 | 103.8498

## LLG_max_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.05067 | 0.71694 | 0.698 | 0.051189 | 0.71701 | 0.69781 | 0.58509 | 8.2786 | 8.0598 | 0.59108 | 8.2793 | 8.0576 | 0.69781 | 7.3448 | 4.2071 | -0.70608 | -7.0664 | -3.9484 | 0.13685 | 1.88 | 6.9118 | -0.14203 | -1.6316 | -6.5649 | -7.391 | -139.2501 | 50.6188 | 171.9963 | 40.8099 | -129.4409 |  | 1.2154 | 0.91581 | 1.0039 | 1.2185 | 0.87596 | 0.95075 | 3.7044 | -124.8926 | 109.2907 | 3.3701 | -126.1887 | 109.5349
Line_1 | 0.022774 | 0.57062 | 0.57484 | 0.022069 | 0.57063 | 0.57518 | 0.26297 | 6.589 | 6.6376 | 0.25483 | 6.5891 | 6.6417 | -0.26449 | -5.0175 | -3.5692 | 0.25368 | 5.2511 | 3.75 | -0.18861 | -2.3324 | -4.734 | 0.17906 | 2.3957 | 5.0804 | 147.2079 | 29.3673 | -124.1042 | -31.8459 | -150.7126 | 55.9671 |  | 1.2353 | 0.83976 | 0.8932 | 1.2185 | 0.87596 | 0.95075 | 2.7014 | -125.7016 | 108.8815 | 3.3701 | -126.1887 | 109.5349
Line_2 | 0.032632 | 0.19519 | 0.13656 | 0.032261 | 0.19473 | 0.13642 | 0.37681 | 2.2539 | 1.5768 | 0.37252 | 2.2485 | 1.5753 | -0.45318 | -1.7856 | -0.16856 | 0.4524 | 1.8153 | 0.19834 | 0.025232 | 0.82694 | -1.4974 | -0.037024 | -0.76411 | 1.4845 | -173.0833 | 76.8071 | -153.1607 | 8.0487 | -103.3617 | 27.145 |  | 1.2046 | 0.87305 | 0.95561 | 1.2185 | 0.87596 | 0.95075 | 3.7299 | -128.0429 | 110.4163 | 3.3701 | -126.1887 | 109.5349
Line_3 | 0.021043 | 0.46138 | 0.46013 | 0.020806 | 0.46167 | 0.46053 | 0.24299 | 5.3276 | 5.3131 | 0.24025 | 5.3309 | 5.3177 | 0.19654 | -3.2698 | -3.3707 | -0.20082 | 3.5237 | 3.5176 | -0.22687 | -3.0535 | -3.3405 | 0.20838 | 3.0404 | 3.6674 | 51.7986 | 11.257 | -115.8608 | -130.2119 | -168.832 | 64.2213 |  | 1.2353 | 0.83976 | 0.8932 | 1.2046 | 0.87305 | 0.95561 | 2.7014 | -125.7016 | 108.8815 | 3.7299 | -128.0429 | 110.4163

## LLG_max_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.05067 | 0.71694 | 0.698 | 0.051189 | 0.71701 | 0.69781 | 0.58509 | 8.2786 | 8.0598 | 0.59108 | 8.2793 | 8.0576 | 0.69781 | 7.3448 | 4.2071 | -0.70608 | -7.0664 | -3.9484 | 0.13685 | 1.88 | 6.9118 | -0.14203 | -1.6316 | -6.5649 | -7.391 | -139.2501 | 50.6188 | 171.9963 | 40.8099 | -129.4409 |  | 1.2154 | 0.91581 | 1.0039 | 1.2185 | 0.87596 | 0.95075 | 3.7044 | -124.8926 | 109.2907 | 3.3701 | -126.1887 | 109.5349
Line_1 | 0.022774 | 0.57062 | 0.57484 | 0.022069 | 0.57063 | 0.57518 | 0.26297 | 6.589 | 6.6376 | 0.25483 | 6.5891 | 6.6417 | -0.26449 | -5.0175 | -3.5692 | 0.25368 | 5.2511 | 3.75 | -0.18861 | -2.3324 | -4.734 | 0.17906 | 2.3957 | 5.0804 | 147.2079 | 29.3673 | -124.1042 | -31.8459 | -150.7126 | 55.9671 |  | 1.2353 | 0.83976 | 0.8932 | 1.2185 | 0.87596 | 0.95075 | 2.7014 | -125.7016 | 108.8815 | 3.3701 | -126.1887 | 109.5349
Line_2 | 0.032632 | 0.19519 | 0.13656 | 0.032261 | 0.19473 | 0.13642 | 0.37681 | 2.2539 | 1.5768 | 0.37252 | 2.2485 | 1.5753 | -0.45318 | -1.7856 | -0.16856 | 0.4524 | 1.8153 | 0.19834 | 0.025232 | 0.82694 | -1.4974 | -0.037024 | -0.76411 | 1.4845 | -173.0833 | 76.8071 | -153.1607 | 8.0487 | -103.3617 | 27.145 |  | 1.2046 | 0.87305 | 0.95561 | 1.2185 | 0.87596 | 0.95075 | 3.7299 | -128.0429 | 110.4163 | 3.3701 | -126.1887 | 109.5349
Line_3 | 0.021043 | 0.46138 | 0.46013 | 0.020806 | 0.46167 | 0.46053 | 0.24299 | 5.3276 | 5.3131 | 0.24025 | 5.3309 | 5.3177 | 0.19654 | -3.2698 | -3.3707 | -0.20082 | 3.5237 | 3.5176 | -0.22687 | -3.0535 | -3.3405 | 0.20838 | 3.0404 | 3.6674 | 51.7986 | 11.257 | -115.8608 | -130.2119 | -168.832 | 64.2213 |  | 1.2353 | 0.83976 | 0.8932 | 1.2046 | 0.87305 | 0.95561 | 2.7014 | -125.7016 | 108.8815 | 3.7299 | -128.0429 | 110.4163

## LLG_min_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58119 | 2.4915 | 2.6854 | 0.58278 | 2.4915 | 2.685 | 6.711 | 28.7699 | 31.0083 | 6.7294 | 28.769 | 31.004 | 0.47951 | 12.4062 | 12.1711 | -0.33793 | -5.9881 | -4.9336 | 7.816 | 2.4606 | 11.7008 | -7.725 | 0.33784 | -6.4836 | -80.3672 | -159.8346 | 36.3456 | 99.6702 | 20.203 | -143.6884 |  | 1.1668 | 0.43962 | 0.54448 | 1.1491 | 0.20848 | 0.26278 | 6.1221 | -148.6163 | 80.2169 | 7.1654 | -163.0261 | 89.0428
Line_1 | 0.31689 | 1.9102 | 1.9888 | 0.31511 | 1.9101 | 1.9897 | 3.6591 | 22.0568 | 22.9649 | 3.6386 | 22.0558 | 22.9746 | 0.12301 | -6.7507e-11 | -3.128e-11 | -0.31104 | 4.5938 | 3.9121 | -4.3537 | -4.6588e-11 | -8.0605e-11 | 4.1694 | 0.19947 | 4.5982 | 92.9485 | 14.5414 | -140.6119 | -87.101 | -165.5124 | 39.4339 |  | 1.1903 | 0 | 0 | 1.1491 | 0.20848 | 0.26278 | 4.5668 | 0 | 0 | 7.1654 | -163.0261 | 89.0428
Line_2 | 0.27397 | 0.62105 | 0.70666 | 0.27241 | 0.62074 | 0.70668 | 3.1636 | 7.1713 | 8.1598 | 3.1455 | 7.1676 | 8.1601 | -0.38423 | -1.0494 | -0.36785 | 0.64897 | 1.3943 | 1.0214 | -3.4378 | 1.2606 | -2.1341 | 3.5557 | -0.53731 | 1.8854 | 107.5613 | 38.191 | -152.6376 | -72.4909 | -141.9519 | 27.4906 |  | 1.0935 | 0.22873 | 0.26539 | 1.1491 | 0.20848 | 0.26278 | 11.1841 | 167.9669 | 107.5825 | 7.1654 | -163.0261 | 89.0428
Line_3 | 0.086446 | 1.3638 | 1.3058 | 0.085799 | 1.3642 | 1.3066 | 0.99819 | 15.7484 | 15.0785 | 0.99073 | 15.7528 | 15.0878 | 0.96463 | -4.1334e-11 | -2.6345e-11 | -0.95594 | 3.4633 | 1.899 | -0.69369 | -4.1486e-11 | -5.0286e-11 | 0.50968 | -0.99381 | 3.5253 | 40.2877 | 4.0469 | -134.1715 | -140.7505 | -176.0221 | 45.8935 |  | 1.1903 | 0 | 0 | 1.0935 | 0.22873 | 0.26539 | 4.5668 | 0 | 0 | 11.1841 | 167.9669 | 107.5825

## LLG_min_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.58119 | 2.4915 | 2.6854 | 0.58278 | 2.4915 | 2.685 | 6.711 | 28.7699 | 31.0083 | 6.7294 | 28.769 | 31.004 | 0.47951 | 12.4062 | 12.1711 | -0.33793 | -5.9881 | -4.9336 | 7.816 | 2.4606 | 11.7008 | -7.725 | 0.33784 | -6.4836 | -80.3672 | -159.8346 | 36.3456 | 99.6702 | 20.203 | -143.6884 |  | 1.1668 | 0.43962 | 0.54448 | 1.1491 | 0.20848 | 0.26278 | 6.1221 | -148.6163 | 80.2169 | 7.1654 | -163.0261 | 89.0428
Line_1 | 0.31689 | 1.9102 | 1.9888 | 0.31511 | 1.9101 | 1.9897 | 3.6591 | 22.0568 | 22.9649 | 3.6386 | 22.0558 | 22.9746 | 0.12301 | -6.7507e-11 | -3.128e-11 | -0.31104 | 4.5938 | 3.9121 | -4.3537 | -4.6588e-11 | -8.0605e-11 | 4.1694 | 0.19947 | 4.5982 | 92.9485 | 14.5414 | -140.6119 | -87.101 | -165.5124 | 39.4339 |  | 1.1903 | 0 | 0 | 1.1491 | 0.20848 | 0.26278 | 4.5668 | 0 | 0 | 7.1654 | -163.0261 | 89.0428
Line_2 | 0.27397 | 0.62105 | 0.70666 | 0.27241 | 0.62074 | 0.70668 | 3.1636 | 7.1713 | 8.1598 | 3.1455 | 7.1676 | 8.1601 | -0.38423 | -1.0494 | -0.36785 | 0.64897 | 1.3943 | 1.0214 | -3.4378 | 1.2606 | -2.1341 | 3.5557 | -0.53731 | 1.8854 | 107.5613 | 38.191 | -152.6376 | -72.4909 | -141.9519 | 27.4906 |  | 1.0935 | 0.22873 | 0.26539 | 1.1491 | 0.20848 | 0.26278 | 11.1841 | 167.9669 | 107.5825 | 7.1654 | -163.0261 | 89.0428
Line_3 | 0.086446 | 1.3638 | 1.3058 | 0.085799 | 1.3642 | 1.3066 | 0.99819 | 15.7484 | 15.0785 | 0.99073 | 15.7528 | 15.0878 | 0.96463 | -4.1334e-11 | -2.6345e-11 | -0.95594 | 3.4633 | 1.899 | -0.69369 | -4.1486e-11 | -5.0286e-11 | 0.50968 | -0.99381 | 3.5253 | 40.2877 | 4.0469 | -134.1715 | -140.7505 | -176.0221 | 45.8935 |  | 1.1903 | 0 | 0 | 1.0935 | 0.22873 | 0.26539 | 4.5668 | 0 | 0 | 11.1841 | 167.9669 | 107.5825

## LLG_min_fault_6
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20771 | 0.69119 | 0.73929 | 0.20828 | 0.69111 | 0.73915 | 2.3985 | 7.9811 | 8.5366 | 2.405 | 7.9803 | 8.535 | 1.1598 | 6.2025 | 4.4165 | -1.1455 | -5.6983 | -3.8616 | 2.2156 | 2.2755 | 6.2696 | -2.2052 | -2.0716 | -5.8553 | -59.2625 | -146.777 | 54.5784 | 120.7653 | 33.2704 | -125.4651 |  | 1.0427 | 0.8278 | 0.89837 | 1.0332 | 0.75977 | 0.8218 | 3.1066 | -126.6309 | 109.4163 | 3.3162 | -126.7508 | 111.1298
Line_1 | 0.11258 | 0.53748 | 0.54959 | 0.11195 | 0.53751 | 0.54991 | 1.3 | 6.2063 | 6.3462 | 1.2927 | 6.2067 | 6.3498 | -0.49735 | -3.8205 | -2.8829 | 0.46926 | 4.2192 | 3.1929 | -1.2753 | -2.1151 | -3.7291 | 1.2505 | 2.1061 | 4.1274 | 113.9162 | 26.7904 | -121.2031 | -66.1146 | -153.2771 | 58.8544 |  | 1.053 | 0.70362 | 0.74273 | 1.0332 | 0.75977 | 0.8218 | 2.611 | -124.2405 | 111.0894 | 3.3162 | -126.7508 | 111.1298
Line_2 | 0.098616 | 0.16874 | 0.19527 | 0.098061 | 0.16864 | 0.19525 | 1.1387 | 1.9484 | 2.2548 | 1.1323 | 1.9473 | 2.2546 | -0.64522 | -1.4563 | -0.60842 | 0.67621 | 1.4791 | 0.66876 | -0.94366 | 0.10315 | -1.7594 | 0.95473 | -0.034424 | 1.7279 | 128.6574 | 54.769 | -137.8756 | -51.3747 | -125.4175 | 42.288 |  | 1.0039 | 0.74928 | 0.82564 | 1.0332 | 0.75977 | 0.8218 | 4.2954 | -129.2827 | 113.0488 | 3.3162 | -126.7508 | 111.1298
Line_3 | 0.030461 | 0.39629 | 0.36676 | 0.030224 | 0.39649 | 0.36708 | 0.35173 | 4.576 | 4.235 | 0.349 | 4.5783 | 4.2387 | 0.20577 | -2.4499 | -2.2798 | -0.20824 | 2.7929 | 2.456 | -0.30795 | -2.0892 | -2.1671 | 0.28175 | 1.9918 | 2.4931 | 58.8605 | 15.3038 | -112.4588 | -122.173 | -164.7774 | 67.6197 |  | 1.053 | 0.70362 | 0.74273 | 1.0039 | 0.74928 | 0.82564 | 2.611 | -124.2405 | 111.0894 | 4.2954 | -129.2827 | 113.0488

## LLG_min_fault_10
name | pf_ikss_a_from_ka | pf_ikss_b_from_ka | pf_ikss_c_from_ka | pf_ikss_a_to_ka | pf_ikss_b_to_ka | pf_ikss_c_to_ka | pf_skss_a_from_mw | pf_skss_b_from_mw | pf_skss_c_from_mw | pf_skss_a_to_mw | pf_skss_b_to_mw | pf_skss_c_to_mw | pf_p_a_from_mw | pf_p_b_from_mw | pf_p_c_from_mw | pf_p_a_to_mw | pf_p_b_to_mw | pf_p_c_to_mw | pf_q_a_from_mvar | pf_q_b_from_mvar | pf_q_c_from_mvar | pf_q_a_to_mvar | pf_q_b_to_mvar | pf_q_c_to_mvar | pf_ikss_a_from_degree | pf_ikss_b_from_degree | pf_ikss_c_from_degree | pf_ikss_a_to_degree | pf_ikss_b_to_degree | pf_ikss_c_to_degree | 3xI0 | pf_vm_a_from_pu | pf_vm_b_from_pu | pf_vm_c_from_pu | pf_vm_a_to_pu | pf_vm_b_to_pu | pf_vm_c_to_pu | pf_va_a_from_degree | pf_va_b_from_degree | pf_va_c_from_degree | pf_va_a_to_degree | pf_va_b_to_degree | pf_va_c_to_degree
Line_0 | 0.20771 | 0.69119 | 0.73929 | 0.20828 | 0.69111 | 0.73915 | 2.3985 | 7.9811 | 8.5366 | 2.405 | 7.9803 | 8.535 | 1.1598 | 6.2025 | 4.4165 | -1.1455 | -5.6983 | -3.8616 | 2.2156 | 2.2755 | 6.2696 | -2.2052 | -2.0716 | -5.8553 | -59.2625 | -146.777 | 54.5784 | 120.7653 | 33.2704 | -125.4651 |  | 1.0427 | 0.8278 | 0.89837 | 1.0332 | 0.75977 | 0.8218 | 3.1066 | -126.6309 | 109.4163 | 3.3162 | -126.7508 | 111.1298
Line_1 | 0.11258 | 0.53748 | 0.54959 | 0.11195 | 0.53751 | 0.54991 | 1.3 | 6.2063 | 6.3462 | 1.2927 | 6.2067 | 6.3498 | -0.49735 | -3.8205 | -2.8829 | 0.46926 | 4.2192 | 3.1929 | -1.2753 | -2.1151 | -3.7291 | 1.2505 | 2.1061 | 4.1274 | 113.9162 | 26.7904 | -121.2031 | -66.1146 | -153.2771 | 58.8544 |  | 1.053 | 0.70362 | 0.74273 | 1.0332 | 0.75977 | 0.8218 | 2.611 | -124.2405 | 111.0894 | 3.3162 | -126.7508 | 111.1298
Line_2 | 0.098616 | 0.16874 | 0.19527 | 0.098061 | 0.16864 | 0.19525 | 1.1387 | 1.9484 | 2.2548 | 1.1323 | 1.9473 | 2.2546 | -0.64522 | -1.4563 | -0.60842 | 0.67621 | 1.4791 | 0.66876 | -0.94366 | 0.10315 | -1.7594 | 0.95473 | -0.034424 | 1.7279 | 128.6574 | 54.769 | -137.8756 | -51.3747 | -125.4175 | 42.288 |  | 1.0039 | 0.74928 | 0.82564 | 1.0332 | 0.75977 | 0.8218 | 4.2954 | -129.2827 | 113.0488 | 3.3162 | -126.7508 | 111.1298
Line_3 | 0.030461 | 0.39629 | 0.36676 | 0.030224 | 0.39649 | 0.36708 | 0.35173 | 4.576 | 4.235 | 0.349 | 4.5783 | 4.2387 | 0.20577 | -2.4499 | -2.2798 | -0.20824 | 2.7929 | 2.456 | -0.30795 | -2.0892 | -2.1671 | 0.28175 | 1.9918 | 2.4931 | 58.8605 | 15.3038 | -112.4588 | -122.173 | -164.7774 | 67.6197 |  | 1.053 | 0.70362 | 0.74273 | 1.0039 | 0.74928 | 0.82564 | 2.611 | -124.2405 | 111.0894 | 4.2954 | -129.2827 | 113.0488